## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 24-00130 | 13398333 | 09/30/2024 07:00 | 11/01/2024 17:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, WOLM
3 | 24-00033 | 11346147 | 09/30/2024 07:00 | 10/04/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY: PCB A-56 | GEN, TCLA, WOM
4 | 23-00048 | 10030258 | 09/30/2024 08:00 | 10/04/2024 18:30 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1553 | COI, NWACI, PDCI, LOAD
5 | 24-00040 | 11350726 | 10/07/2024 07:30 | 10/22/2024 11:30 | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
6 | 24-00070 | 13038420 | 10/07/2024 08:00 | 10/10/2024 16:00 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1553 | LOAD, COR
7 | 24-00015 | 9567061 | 10/14/2024 06:00 | 10/25/2024 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
8 | 24-00038 | 11350736 | 10/22/2024 12:00 | 10/30/2024 16:00 | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
9 | 24-00053 |  | 10/24/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | COI
10 | 22-06087 | 12192475 | 10/27/2024 22:00 | 10/27/2024 22:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
11 | 24-00101 | 13140906 | 10/28/2024 07:30 | 10/28/2024 08:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
12 | 23-00049 | 10388102 | 10/28/2024 08:00 | 10/31/2024 18:30 | CANBY TAP TO MALIN-HILLTOP NO 1 230KV LINE (UNGROUNDED) | CANBY TAP TO MALIN-HILLTOP NO 1 230KV LINE (UNGROUNDED), CANBY: PCB A-1391, CANBY: 230/69KV TRANSFORMER 1, CANBY TAP TO MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI, LOAD
13 | 24-00039 | 11350746 | 10/31/2024 07:30 | 10/31/2024 16:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP, BENTON-FRANKLIN NO 2 115KV LINE, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE | TCLA, WOM, LOAD
14 | 24-00102 | 13140873 | 10/31/2024 18:30 | 10/31/2024 19:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI