## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 24-00119 | 13115079 | 06/24/2024 08:00 | 08/31/2024 18:00 | SCL Broad St - SCL Union St Tap 115kV Cable, SCL Union St - SCL Union St Tap 115kV Cable, SCL Massachusetts St - SCL Union St Tap 115kV Cable, SCL Broad St Bank 66B, SCL Broad St Bank 66A, SCL Broad St BKR 120-55, SCL Broad St BKR 120-58, SCL Union St BKR 120-65 | SCL Broad St - SCL Union St Tap 115kV Cable, SCL Union St - SCL Union St Tap 115kV Cable, SCL Massachusetts St - SCL Union St Tap 115kV Cable, SCL Broad St Bank 66B, SCL Broad St Bank 66A, SCL Broad St BKR 120-55, SCL Broad St BKR 120-58, SCL Union St BKR 120-65 | SOC, NOEL
3 | 24-00092 |  | 07/22/2024 08:00 | 08/30/2024 16:00 | -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE, -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | SOA
4 | 24-00028 | 10941480 | 08/05/2024 05:00 | 08/05/2024 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, LITTLE GOOSE: PCB 4348, LITTLE GOOSE: PCB 4350 | WOLM
5 | 24-00029 | 10941486 | 08/09/2024 05:00 | 08/09/2024 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, LITTLE GOOSE: PCB 4348, LITTLE GOOSE: PCB 4350, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | WOLM, GEN
6 | 23-03283 | 12971216 | 08/14/2024 07:01 | 08/14/2024 16:00 | WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215 | WHITE BLUFFS: 115KV MAIN BUS SECTION 2, WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215, WHITE BLUFFS: PCB B-215, WHITE BLUFFS: PCB B-263, WHITE BLUFFS-451B NO 1 115KV LINE, WHITE BLUFFS: PCB B-1362, WHITE BLUFFS: CAP GROUP 1, WHITE BLUFFS: PCB B-271, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA, LOAD, GEN
7 | 23-04136 | 13044104 | 08/16/2024 17:01 | 09/27/2024 07:00 | WHITE BLUFFS BAY B-263 (PCB AND DISCs) | WHITE BLUFFS: PCB B-263, WHITE BLUFFS BAY B-263 (PCB AND DISCs), WHITE BLUFFS: B-263 MAIN BUS DISC, WHITE BLUFFS: B-263 LINE SIDE DISC, WHITE BLUFFS: B-263 AUX BUS DISC, WHITE BLUFFS-451B NO 1 115KV LINE | GEN, TCLA, LOAD
8 | 23-00110 | 11597850 | 08/18/2024 22:00 | 08/18/2024 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
9 | 23-04135 | 13044385 | 08/19/2024 06:00 | 08/19/2024 17:00 | WHITE BLUFFS-451B NO 1 115kV LINE INCLUDING WHITE BLUFFS 115kV MAIN BUS SECTION 2, PCB B-263 AND THE 115kV AUXILARY BUS | WHITE BLUFFS-451B NO 1 115KV LINE, WHITE BLUFFS-451B NO 1 115kV LINE INCLUDING WHITE BLUFFS 115kV MAIN BUS SECTION 2, PCB B-263 AND THE 115kV AUXILARY BUS, WHITE BLUFFS: 115KV MAIN BUS SECTION 2, WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, WHITE BLUFFS: PCB B-263, WHITE BLUFFS: PCB B-1362, WHITE BLUFFS: PCB B-215, WHITE BLUFFS: PCB B-271, WHITE BLUFFS: 115KV CAP GROUP 1 | GEN, TCLA, LOAD