## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
3 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
4 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
5 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
6 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
7 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
8 | 23-18384 | 14832241 | 12/13/2023 15:00 | 06/20/2024 17:00 | MCNARY: B-986 TERMINAL OF THE UMATILLA ELECTRIC CO-OP 115KV FEEDER 2 | MCNARY: PCB B-986, MCNARY: B-986 TERMINAL OF THE UMATILLA ELECTRIC CO-OP 115KV FEEDER 2, MCNARY: UMATILLA E COOP 115KV FEEDER 2
9 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
10 | 24-02998 |  | 01/11/2024 08:00 | 07/09/2024 15:00 | ALVEY: PCB B-586 | ALVEY: PCB B-586
11 | 24-03109 | 15099463 | 01/13/2024 13:30 | 06/27/2024 18:00 | WALTON-MAPLETON SECTION OF LANE-WENDSON NO 1 115KV LINE | WALTON-MAPLETON SECTION OF LANE-WENDSON NO 1 115KV LINE | LOAD, SCORC
12 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
13 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
14 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
15 | 24-03452 | 15316693 | 02/27/2024 00:01 | 06/27/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
16 | 24-06116 |  | 03/12/2024 07:00 | 06/29/2024 17:00 | BOARDMAN - MCNARY SEGMENT OF THE ROSS - FRANKLIN FIBER LINE
17 | 24-06648 |  | 03/20/2024 13:25 | 06/28/2024 15:00 | PG&E - PACIRAS CONTROLLER B
18 | 24-06769 | 15469956 | 04/01/2024 07:00 | 06/01/2024 17:00 | VALHALLA: B-274 TERMINAL OF VALHALLA-RAPIDS NO 1 115KV LINE | VALHALLA: PCB B-274, VALHALLA-HANNA SECTION OF VALHALLA-RAPIDS NO 1 115KV LINE | CI
19 | 24-07641 | 15564307 | 04/17/2024 13:00 | 07/18/2024 17:00 | FOSTER: B-188 TERMINAL OF FOSTER TAP TO GREEN PETER-LEBANON NO 1 115KV LINE | NORTH BUTTE-FOSTER PH SECTION OF FOSTER TAP TO GREEN PETER-LEBANON NO 1 115KV LINE
20 | 24-05411 |  | 04/24/2024 10:00 | 06/28/2024 15:00 | B-2190 TERMINAL OF GOOSE PRAIRIE TAP TO THE MIDWAY-MOXEE NO 1 115KV LINE | GOOSE PRAIRIE TAP TO MIDWAY-MOXEE NO 1 115KV LINE
21 | 23-02863 | 12908992 | 04/29/2024 07:00 | 06/28/2024 16:00 | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC, GARRISON: PCB A-880 | MT-NW
22 | 23-02776 | 12908900 | 04/29/2024 07:00 | 06/28/2024 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
23 | 24-07228 | 15528231 | 05/01/2024 13:00 | 06/17/2024 17:00 | UEC COTTONWOOD SWITCHYARD: 230KV RING BUS | COTTONWOOD SWYD: PCB TL-CY1
24 | 24-07762 |  | 05/02/2024 08:00 | 07/03/2024 15:00 | SALEM: B-58 TERMINAL OF THE 115KV PACW FEEDER 1 TO DALLAS | SALEM: PCB B-58, SALEM: PACIFICORP (PACW) 115KV FEEDER 1
25 | 24-06181 | 15390711 | 05/06/2024 07:00 | 06/12/2024 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 |  | SOC, NOEL
26 | 24-01248 | 14743762 | 05/06/2024 07:00 | 07/14/2024 09:00 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
27 | 24-02687 | 15023881 | 05/10/2024 15:01 | 08/26/2024 16:00 | OLYMPIA: CHEHALIS-OLYMPIA NO 1 LINE INCLUDING PCB A-220 | OLYMPIA: CHEHALIS-OLYMPIA NO 1 LINE INCLUDING PCB A-220, CHEHALIS-OLYMPIA NO 1 230KV LINE, OLYMPIA: PCB A-220 | RP, LOAD, NOEL, SOC, WOCN
28 | 23-01561 | 12689661 | 05/10/2024 16:00 | 07/08/2024 16:00 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: MOD 4719 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: MOD 4719 | COI, PDCI, NWACI
29 | 24-05957 |  | 05/20/2024 07:00 | 07/02/2024 16:00 | GRAND COULEE-NILLES CORNER SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE |  | OKLA
30 | 24-06147 | 15376981 | 05/22/2024 07:29 | 06/04/2024 16:01 | -MITIGATION-, BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | RED MOUNTAIN: PCB B-1974, RED MOUNTAIN: PCB B-1978 | GEN, TCLA, LOAD
31 | 24-00893 | 14483347 | 05/27/2024 22:00 | 06/11/2024 06:30 | GRAND COULEE: PCB 6286 | GRAND COULEE: PCB 6286 | NOH, WOCN
32 | 24-02714 | 14996564 | 05/28/2024 07:00 | 06/13/2024 17:00 | ALLSTON: PCB A-1360 | ALLSTON: PCB A-1360 | SOA, NOPE
33 | 24-00807 | 14676235 | 05/28/2024 08:00 | 06/06/2024 15:00 | BOARDMAN: PCB B-313 RELAYS | BOARDMAN: PCB B-313 RELAYS, BOARDMAN: PCB B-313
34 | 24-06162 |  | 05/31/2024 22:00 | 06/01/2024 06:00 | CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE INCLUDING HATTON TAP, SHANO TAP, BLANTON ROAD TAP, CONNELL PCB B-1695 AND 115KV CAP GROUP 1 | CONNELL TAP-HATTON TAP SECTION OF CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, BLANTON ROAD TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, HATTON TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, SHANO TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE | TCLA
35 | 24-05568 | 15321527 | 06/01/2024 08:00 | 06/09/2024 16:00 | SLATT: 5004/5005 TERMINAL OF GRASSLAND-SLATT NO 1 500KV LINE | SLATT: 5004/5005 TERMINAL OF GRASSLAND-SLATT NO 1 500KV LINE, SLATT: PCB 5003, SLATT: PCB 5006, GRASSLAND-SLATT NO 1 500KV LINE | GEN, NWACI, WOS
36 | 24-00574 |  | 06/02/2024 22:00 | 06/07/2024 17:00 | GRAND COULEE: PCB'S 2192 & 2196 INCLUDING PH G-21 | GRAND COULEE: PCB'S 2192 & 2196 INCLUDING PH G-21, GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
37 | 24-00090 | 13077971 | 06/03/2024 06:00 | 06/07/2024 16:00 | CONKELLEY: A-478 TERMINAL OF THE HUNGRY HORSE-CONKELLEY #1 | CONKELLEY: A-478 TERMINAL OF THE HUNGRY HORSE-CONKELLEY #1 , HUNGRY HORSE PH: PCB 2482, HUNGRY HORSE PH: PCB 2182, HUNGRY HORSE-CONKELLEY NO 1 230KV LINE, CONKELLEY: PCB A-478 | WOH, GEN, MT-NW
38 | 24-04972 | 14655807 | 06/03/2024 06:00 | 06/17/2024 10:00 | PG&E- Round Mountain #1-500/230kV Bank and #2-500kV Bus Cleared | PG&E- Round Mountain #1-500/230kV Bank and #2-500kV Bus Cleared
39 | 24-00148 | 13588264 | 06/03/2024 07:00 | 06/06/2024 16:00 | BELL: PCB A-375 | BELL: PCB A-375 | MT-NW, WOH
40 | 24-00982 | 14531592 | 06/03/2024 07:00 | 06/04/2024 16:00 | COYOTE SPRINGS: PCB 5184 | COYOTE SPRINGS: PCB 5184 | WOLM, WOM
41 | 24-05456 | 15375768 | 06/03/2024 07:00 | 06/10/2024 17:00 | MURRAY-CUSTER NO 1 23OKV LINE INCLUDING THE SEDRO WOOLLEY TAP | MURRAY-CUSTER NO 1 230KV LINE, SEDRO WOOLLEY TAP TO MURRAY-CUSTER NO 1 230KV LINE | NOEL, SOC
42 | 24-02279 | 14908216 | 06/03/2024 07:30 | 06/05/2024 16:30 | CHIEF JOSEPH: PCB 4588 | CHIEF JOSEPH: PCB 4588 | BCHT, BCHW, NOH, WOCN, NWACI
43 | 24-00922 | 14531799 | 06/03/2024 07:30 | 06/06/2024 15:00 | RAVER: PCB 4314 BFR | RAVER: PCB 4314 | NOEL, RP, SOC, WOCN
44 | 23-00722 | 15184029 | 06/03/2024 07:30 | 09/30/2024 16:00 | PORT ANGELES: B-1206 TERMINAL OF THE CLALLAM CO PUD 115KV FEEDER 1 | PORT ANGELES: B-1206 TERMINAL OF THE CLALLAM CO PUD 115KV FEEDER 1 , PORT ANGELES: PCB B-1206, PORT ANGELES: CLALLAM CO PUD 115KV FEEDER 1
45 | 24-00606 | 14694220 | 06/03/2024 08:00 | 06/10/2024 15:00 | WAUTOMA: 500KV REACTOR 1, INCLUDING PCB 5236 | WAUTOMA: 500KV REACTOR 1, WAUTOMA: PCB 5236, INCLUDING PCB 5236
46 | 24-07358 | 15542445 | 06/03/2024 08:00 | 06/04/2024 15:00 | TUCANNON RIVER: PCB B-2039 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2
47 | 24-02357 | 14981385 | 06/03/2024 08:00 | 06/03/2024 16:00 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | IROL, NOEL, NOH, SOC, WOCN
48 | 24-03665 | 15114651 | 06/03/2024 08:00 | 06/06/2024 15:00 | WAPA - OLINDA: 500/230KV BANK KT1A | WAPA - OLINDA: 500/230KV BANK KT1A | COI
49 | 24-04409 |  | 06/03/2024 08:00 | 06/11/2024 15:00 | INTALCO: CUSTER #1 230KV LINE RELAY SET 1 AND 2
50 | 24-04532 | 15231294 | 06/03/2024 08:00 | 06/07/2024 19:00 | BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | WOCS, FCRPS
51 | 24-00826 | 14450224 | 06/03/2024 08:00 | 06/06/2024 15:00 | ALVEY: PCB 5084 | ALVEY: PCB 5084 | NWACI, COI, SCORC
52 | 24-00582 | 15528843 | 06/03/2024 08:00 | 06/06/2024 15:00 | PONDEROSA: 230KV NORTH GIS BUS AND PACW FEEDER NO.1 DIFFERENTIAL RELAYS | PONDEROSA: PCB A-384, PONDEROSA: PCB A-395, PONDEROSA: PACIFICORP (PACW) 230KV FEEDER 1, PONDEROSA: 230KV GIS NORTH BUS SECTION | COR, NWACI, LOAD
53 | 24-00465 | 15184009 | 06/03/2024 08:00 | 06/13/2024 15:00 | CHEMAWA: 230/115KV TRANSFORMER 2 | CHEMAWA: 230/115KV TRANSFORMER 2, CHEMAWA: PCB A-339, CHEMAWA: PCB B-108 | WOCS, LOAD, SLAL
54 | 24-00503 | 14203928 | 06/03/2024 08:00 | 06/11/2024 17:00 | GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 1 500KV LINE | GRAND COULEE-SCHULTZ NO 1 500KV LINE, COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1 | NOEL, NOH, SOC, WOCN, GEN, IROL, SIG, FCRPS
55 | 24-05405 | 15308297 | 06/03/2024 08:00 | 06/06/2024 16:00 | -EWEB- MCKENZIE: 230/115KV TRANSFORMER 2 INCLUDING PCB 6692 | MCKENZIE EWEB: 230/115KV TRANSFORMER 2, -EWEB- MCKENZIE: 230/115KV TRANSFORMER 2 INCLUDING PCB 6692, MCKENZIE EWEB: PCB 6692 | EWEB, NWACI, PDCI, COI
56 | 23-00039 | 10030207 | 06/03/2024 08:00 | 06/13/2024 17:30 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1553 | LOAD, COR, NWACI
57 | 24-01965 | 15204524 | 06/03/2024 08:00 | 06/06/2024 15:00 | CARLTON-TILLAMOOK NO 1 230KV LINE | CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2, TILLAMOOK: PCB B-1098, CARLTON: PCB A-315 | LOAD, SOA, NOPE, NWACI
58 | 24-03919 | 15205989 | 06/03/2024 08:00 | 06/07/2024 16:00 | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | RED MOUNTAIN: PCB B-1978, BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, RED MOUNTAIN: PCB B-1974 | GEN, TCLA, LOAD
59 | 24-00504 | 14203931 | 06/03/2024 08:00 | 06/11/2024 17:00 | GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 2 500KV LINE | GRAND COULEE-SCHULTZ NO 2 500KV LINE, COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2 | NOH, SOC, WOCN, GEN, IROL, FCRPS, NOEL, SIG
60 | 24-00488 | 15029651 | 06/03/2024 08:00 | 06/06/2024 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, INCLUDING PCB'S 4188 & 4189 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN: PCB 4188, INCLUDING PCB'S 4188 & 4189, MALIN: PCB 4189 | COI, NWACI
61 | 24-04848 | 15336828 | 06/03/2024 08:00 | 06/08/2024 15:00 | PE ELL-HOLCOMB SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | PE ELL-HOLCOMB SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD, SOA, NOPE
62 | 24-05960 | 15363300 | 06/03/2024 08:00 | 06/07/2024 18:00 | PSE - BOTHELL-SAMMMAMISH 230KV LINE |  | SOC, NOEL
63 | 24-03916 | 15370557 | 06/03/2024 09:00 | 06/06/2024 15:00 | HARNEY: 115KV REACTIVE GROUP 1 REACTOR 1, HARNEY: PCB B-1709
64 | 24-01315 | 14765731 | 06/03/2024 17:00 | 07/25/2024 08:00 | JOHN DAY: MOD 4136, INCLUDING PCB 4137 | JOHN DAY: MOD 4136, JOHN DAY: PCB 4137, INCLUDING PCB 4137 | NWACI, WOJD, PDCI
65 | 24-07744 | 15575662 | 06/04/2024 07:00 | 06/04/2024 16:00 | PAUL: 500KV REACTOR 1 INCLUDING PCB 4808 | PAUL: 500KV REACTOR 1, PAUL: PCB 4808
66 | 24-07780 |  | 06/04/2024 07:00 | 06/04/2024 14:00 | UNITY: PCB B-1750
67 | 24-02358 | 14981382 | 06/04/2024 08:00 | 06/04/2024 16:00 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 4693 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 4693 | IROL, NOEL, NOH, SOC, WOCN
68 | 24-00864 | 14477735 | 06/04/2024 08:00 | 06/04/2024 15:00 | TUCANNON RIVER: PCB B-2018 | TUCANNON RIVER: PCB B-2018
69 | 24-04516 | 15213765 | 06/04/2024 08:00 | 06/05/2024 16:00 | KALISPELL: 115KV CAP GROUP 1 SECTION 3 RELAYS | KALISPELL: 115KV CAP GROUP 1 SECTION 3 RELAYS, KALISPELL: 115KV CAP GROUP 1 SECTION 3, KALISPELL: PCB B-1963 | FLAT
70 | 24-06307 | 15411377 | 06/04/2024 08:00 | 06/04/2024 16:00 | ALVEY: PCB A-332 & A-247 BFRs | ALVEY: PCB A-247, ALVEY: PCB A-332 | EWEB, NWACI
71 | 24-06013 |  | 06/04/2024 19:00 | 08/09/2024 18:00 | OLYMPIA: PCB A-208 INCLUDING A-208 M/B DISCCONNECT
72 | 24-04763 | 15312830 | 06/05/2024 07:00 | 06/05/2024 11:00 | SHELTON: PCB A-1664 | SHELTON: PCB A-1664 | RP
73 | 24-02206 | 14893225 | 06/05/2024 07:00 | 06/05/2024 15:00 | MONROE: PCB 5505 | MONROE: PCB 5505, MONROE: PCB 4526 | BCHT, BCHW, NI, NOEL, SOC, WOCN
74 | 24-00983 | 14694247 | 06/05/2024 07:00 | 06/06/2024 16:00 | COYOTE SPRINGS: PCB 5190 | COYOTE SPRINGS: PCB 5190 | WOLM, WOM
75 | 24-00870 | 14489962 | 06/05/2024 08:00 | 06/05/2024 15:00 | TUCANNON RIVER: PCB B-2038 INCLUDING THE 115KV CAP GROUP 1 SECTION 1 | TUCANNON RIVER: PCB B-2038 INCLUDING THE 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: PCB B-2038
76 | 24-05392 | 15312910 | 06/05/2024 11:30 | 06/05/2024 15:00 | SHELTON: PCB A-1667 | SHELTON: PCB A-1667 | RP
77 | 24-04981 |  | 06/05/2024 23:00 | 06/06/2024 03:00 | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS, FLATHEAD: 230KV MAIN BUS, FLATHEAD: 230KV AUX BUS, FLATHEAD: PCB A-276, FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 2 | MT-NW, FLAT, GEN, LOAD
78 | 24-01066 | 14558956 | 06/06/2024 06:00 | 06/06/2024 10:00 | GRAND COULEE: PCB'S 6782 & 6382 | GRAND COULEE: PCB'S 6782 & 6382, GRAND COULEE: PCB 6782, GRAND COULEE: PCB 6382 | NOH, WOCN
79 | 24-02207 | 14893207 | 06/06/2024 07:00 | 06/06/2024 15:00 | MONROE: PCB 5502 | MONROE: PCB 5502, MONROE: PCB 4522 | BCHT, BCHW, NI, NOEL, SOC, WOCN
80 | 24-02281 | 14908310 | 06/06/2024 08:00 | 06/06/2024 15:00 | CHIEF JOSEPH: PCB 4728 | CHIEF JOSEPH: PCB 4728 | NOEL, NOH, SOC, WOCN, NWACI
81 | 24-00871 | 14490235 | 06/06/2024 08:00 | 06/06/2024 15:00 | TUCANNON RIVER: PCB B-2039 INCLUDING THE 115KV CAP GROUP 1 SECTION 2 | TUCANNON RIVER: PCB B-2039 INCLUDING THE 115KV CAP GROUP 1 SECTION 2, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2, TUCANNON RIVER: PCB B-2039
82 | 24-01529 | 14840797 | 06/06/2024 09:00 | 06/06/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
83 | 24-01530 | 14840801 | 06/06/2024 10:00 | 06/06/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
84 | 24-03018 | 15079058 | 06/06/2024 11:00 | 06/06/2024 12:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
85 | 24-00898 | 14531879 | 06/06/2024 15:00 | 06/06/2024 16:00 | RAVER: PCB 4311 | RAVER: PCB 4314, RAVER: PCB 4311 | NOEL, RP, SOC, WOCN
86 | 24-04849 | 15352205 | 06/09/2024 08:00 | 06/13/2024 15:00 | HOLCOMB-RAYMOND SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | HOLCOMB-RAYMOND SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD
87 | 24-00576 |  | 06/09/2024 22:00 | 06/14/2024 17:00 | GRAND COULEE: PCB'S 2292 & 2296 INCLUDING PH G-22 | GRAND COULEE: PCB'S 2292 & 2296 INCLUDING PH G-22, GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
88 | 24-00091 | 13077769 | 06/10/2024 06:00 | 06/14/2024 16:00 | COLUMBIA FALLS: A-311 TERMINAL OF THE HUNGRY HORSE-COLUMBIA FALLS #1 230KV LINE | COLUMBIA FALLS: A-311 TERMINAL OF THE HUNGRY HORSE-COLUMBIA FALLS #1 230KV LINE, HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2482, HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE, COLUMBIA FALLS: PCB A-311 | WOH, GEN, MT-NW
89 | 24-05847 | 15411386 | 06/10/2024 06:30 | 06/10/2024 07:00 | MCNARY PH-MCNARY NO 2 230KV LINE |  | GEN, FCRPS, WOM
90 | 24-00466 | 14344327 | 06/10/2024 07:00 | 06/17/2024 15:00 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | GEN, MT-NW, FLAT
91 | 24-02378 | 14989678 | 06/10/2024 07:00 | 06/10/2024 16:00 | RAVER: PCB 4299 | RAVER: PCB 4299 | NOEL, RP, SOC, WOCN
92 | 24-06047 | 15409170 | 06/10/2024 07:00 | 06/10/2024 16:00 | USK: PCB A-953 |  | SOB
93 | 24-04779 | 15272097 | 06/10/2024 07:00 | 06/11/2024 16:00 | MORROW FLAT: PCB A-1864 | MORROW FLAT: PCB A-1864 | WOM
94 | 24-02282 | 14908320 | 06/10/2024 07:30 | 06/12/2024 16:30 | CHIEF JOSEPH: PCB 4732 | CHIEF JOSEPH: PCB 4732 | NOH, WOCN, SOA, NOPE, NWACI
95 | 24-01895 | 14841101 | 06/10/2024 08:00 | 06/13/2024 15:00 | OSTRANDER: 500KV REACTOR #1 AND #2 INCLUDING PCB 4838 | OSTRANDER: 500KV REACTOR #1 AND #2 INCLUDING PCB 4838, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2, OSTRANDER: PCB 4838 | WOCS
96 | 24-04372 | 15398646 | 06/10/2024 08:00 | 06/11/2024 15:00 | TWO MILE - LANGLOIS SECTION OF BANDON-ROGUE NO 1 115KV LINE | TWO MILE-LANGLOIS SECTION OF BANDON-ROGUE NO 1 115KV LINE | NWACI/PDCI
97 | 24-05054 | 15491245 | 06/10/2024 08:00 | 06/13/2024 15:00 | FAIRMOUNT: 230/115KV TRANSFORMER 2 |  | RP, LOAD
98 | 24-04036 | 15206046 | 06/10/2024 08:00 | 06/10/2024 15:00 | FRANKLIN-KENNEWICK SECTION OF THE FRANKLIN-BADGER CANYON NO 2 115KV LINE INCLUDING GUM STREET TAP | FRANKLIN-GUM STREET SECTION OF FRANKLIN-BADGER CANYON NO 2 115KV LINE, FRANKLIN-KENNEWICK SECTION OF THE FRANKLIN-BADGER CANYON NO 2 115KV LINE INCLUDING GUM STREET TAP, GUM STREET-KENNEWICK SECTION OF FRANKLIN-BADGER CANYON NO 2 115KV LINE, GUM STREET: BENTON CO PUD 115KV FEEDER 1, HEDGES: BENTON CO PUD 115KV FEEDER 1 | TCLA
99 | 24-00907 | 15568833 | 06/10/2024 08:00 | 06/11/2024 15:00 | MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3 RELAY SETS 1 AND 2 | MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3 | NOEL, SOC, WOCN, NI
100 | 24-00793 | 14531277 | 06/10/2024 08:00 | 06/14/2024 16:00 | CENTRAL FERRY: 500/230KV TRANSFORMER 1, INCLUDING 34.5KV/480V PRIMARY STATION SERVICE TRANSFORMER | MULLAN-CENTRAL FERRY 230KV LINE, CENTRAL FERRY: 500/230KV TRANSFORMER 1, INCLUDING 34.5KV/480V PRIMARY STATION SERVICE TRANSFORMER, PHALEN GULCH-CENTRAL FERRY 230KV LINE, CENTRAL FERRY: PCB A-1780, CENTRAL FERRY: PCB A-1762, CENTRAL FERRY: PCB A-1766, CENTRAL FERRY: 230KV NORTH BUS, CENTRAL FERRY: 230KV SOUTH BUS | WOH, WOLM
101 | 24-01370 | 14743156 | 06/10/2024 08:00 | 06/13/2024 15:00 | COLVILLE: PCB B-1770 RELAYS | COLVILLE: PCB B-1770 RELAYS, COLVILLE: PCB B-1770, ADDY-COLVILLE NO 1 115KV LINE
102 | 24-02723 | 15072581 | 06/10/2024 08:00 | 06/10/2024 16:30 | BIG EDDY: PCB A-828 BFR | BIG EDDY: PCB A-828 BFR, BIG EDDY: PCB A-828, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY: 500/230KV TRANSFORMER 5, BIG EDDY: PCB A-834 | PDCI, WOJD, NWACI, GEN, SIG, FCRPS, BGEDY
103 | 24-06017 |  | 06/10/2024 08:00 | 06/16/2024 16:00 | -PGE- CARVER-GRESHAM NO 1 230KV LINE |  | SOA, WOCS, NOPE
104 | 24-02301 | 14893750 | 06/10/2024 08:00 | 06/11/2024 15:00 | PAUL: PCB 4804 | PAUL: PCB 4804, PAUL-PSE TONO NO 1 500KV LINE | RP, SIG, WOCS, SOA, NOPE, LOAD
105 | 24-00825 | 14531366 | 06/10/2024 08:00 | 06/13/2024 15:00 | ALVEY: PCB 5087 CT | ALVEY: PCB 5087 CT, ALVEY: PCB 5087 | NWACI, COI, SCORC
106 | 24-03876 | 15497240 | 06/10/2024 08:00 | 06/13/2024 18:30 | CASCADE LOCKS-HOOD RIVER SECTION OF BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE | HOOD RIVER: PCB B-1680 | GEN
107 | 24-06816 | 15472209 | 06/10/2024 08:00 | 06/13/2024 16:00 | -HEW- DOE A-8 - DOE A-6 SECTION OF THE MIDWAY-HEW #2 230KV LINE | A-8-A-6 SECTION OF MIDWAY-HEW NO 2 230KV LINE | TCLA
108 | 24-06048 | 15409186 | 06/11/2024 07:00 | 06/11/2024 16:00 | USK: PCB A-955 |  | SOB
109 | 24-01508 | 15578341 | 06/11/2024 08:00 | 06/11/2024 16:00 | MCMINNVILLE: PCB B-381 | BAKER CREEK: MCMINNVILLE W&L 115KV FEEDER 1
110 | 24-07666 | 15570984 | 06/11/2024 08:00 | 06/11/2024 16:00 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 2, INCLUDING PCB A-1427 | MONROE: PCB A-1427 | WOCN, NOEL, SOC, BCHT, BCHW
111 | 24-04420 | 15371401 | 06/11/2024 10:00 | 06/11/2024 15:00 | CUSTER-INTALCO #1 230kV LINE, INCLUDING CUSTER PCBS A-1238 AND A-1242, INTALCO PCBS A-1036 AND A-1012 | CUSTER: PCB A-1238, CUSTER: PCB A-1242, CUSTER-INTALCO NO 1 230KV LINE | BCHT, BCHW, NOEL, SOC, NI, LOAD
112 | 24-05871 | 15365097 | 06/12/2024 06:30 | 06/12/2024 17:00 | GRAND COULEE: PCB 5582, GRAND COULEE: PCB 7382
113 | 24-06050 | 15409197 | 06/12/2024 07:00 | 06/12/2024 16:00 | USK: PCB A-958 |  | SOB
114 | 24-04780 | 15272016 | 06/12/2024 07:00 | 06/13/2024 16:00 | MORROW FLAT: PCB A-1851 | MORROW FLAT: PCB A-1851 | WOM
115 | 24-04709 |  | 06/12/2024 08:00 | 06/12/2024 15:00 | BADGER CANYON-TAPTEAL SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING VISTA TAP | BADGER CANYON-TAPTEAL SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING VISTA TAP | TCLA
116 | 24-02380 | 14908201 | 06/12/2024 08:00 | 06/13/2024 15:00 | RAVER: PCB A-1832 | RAVER: PCB A-1832 | NOEL, SOC, WOCN
117 | 24-01509 | 15578167 | 06/12/2024 08:00 | 06/12/2024 16:00 | MCMINNVILLE: PCB B-1310 | WINDISHAR-MCMINNVILLE SECTION OF CARLTON-MCMINNVILLE NO 1 115KV LINE | LOAD
118 | 24-02302 | 14893765 | 06/12/2024 08:00 | 06/13/2024 15:00 | PAUL: PCB 4554 | PAUL: PCB 4554 | RP, WOCS, SOA, NOPE
119 | 24-00909 | 15568843 | 06/12/2024 08:00 | 06/13/2024 15:00 | MAPLE VALLEY: 230 CAP GROUP 1 SECTION 4 RELAY SETS 1 AND 2 | MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4 | NOEL, SOC, WOCN, NI
120 | 24-06218 | 15396220 | 06/12/2024 08:00 | 06/21/2024 17:30 | MURRAY-CUSTER NO 1 23OKV LINE INCLUDING THE SEDRO WOOLLEY TAP | MURRAY-CUSTER NO 1 230KV LINE, SEDRO WOOLLEY TAP TO MURRAY-CUSTER NO 1 230KV LINE | NOEL, SOC
121 | 24-01311 | 14853646 | 06/13/2024 07:00 | 06/13/2024 11:00 | LOWER MONUMENTAL: PCB 4290 | LOWER MONUMENTAL: PCB 4290 | WOLM
122 | 24-06051 | 15417278 | 06/13/2024 07:00 | 06/13/2024 16:00 | USK: PEND ORIELLE PUD 230KV FEEDER 1 INCLUDING 230KV LINE CT AND A-960 DISC | USK: PEND OREILLE PUD 230KV FEEDER 1, USK: PCB A-958, USK: PCB A-953 | SOB
123 | 24-05989 | 15368956 | 06/13/2024 07:00 | 06/13/2024 15:00 | MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-1433 | MONROE: PCB A-1433, MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1 | WOCN, NOEL, SIG, SOC
124 | 24-02278 | 14908432 | 06/13/2024 07:30 | 06/13/2024 16:30 | CHIEF JOSEPH: PCB 4586 | CHIEF JOSEPH: PCB 4586 | BCHT, BCHW, NOH, WOCN, NWACI
125 | 24-00822 | 14694323 | 06/13/2024 08:00 | 06/13/2024 11:00 | LITTLE GOOSE: PCB 4348 | LITTLE GOOSE: PCB 4348 | WOLM
126 | 24-00626 | 14400262 | 06/13/2024 08:00 | 06/13/2024 15:00 | RED MOUNTAIN: PCB B-1976 | RED MOUNTAIN: PCB B-1976
127 | 24-00824 |  | 06/13/2024 08:00 | 06/13/2024 15:00 | LITTLE GOOSE: RAS ACA LLL CKT 7D19 AND RAS ACB LLL CKT 7D10 | LITTLE GOOSE: RAS ACA LLL CKT 7D19 AND RAS ACB LLL CKT 7D10
128 | 24-00505 | 14203968 | 06/13/2024 08:00 | 06/14/2024 17:00 | HATWAI-DWORSHAK NO 1 500KV LINE |  | MT-NW, NOH, SIG, WOH, WOLM, FCRPS
129 | 24-00823 | 14694562 | 06/13/2024 11:00 | 06/13/2024 14:00 | LITTLE GOOSE: PCB 4626 | LITTLE GOOSE: PCB 4626 | WOLM
130 | 24-02084 | 14853657 | 06/13/2024 11:00 | 06/13/2024 15:00 | LOWER MONUMENTAL: PCB 4259 | LOWER MONUMENTAL: PCB 4259 | WOLM
131 | 24-04551 | 15226116 | 06/13/2024 13:00 | 06/13/2024 16:00 | CONKELLEY: PCB A-1208 | CONKELLEY: PCB A-1208, CONKELLEY: 230/13.8KV TRANSFORMER 4, CONKELLEY: COL FALLS ALUM CO 13.8KV FEEDER 4 | MT-NW, FLAT
132 | 24-00127 | 14694577 | 06/14/2024 07:00 | 08/07/2024 17:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, WOLM
133 | 24-06183 | 13115079 | 06/15/2024 08:00 | 08/31/2024 18:00 | SCL- MASSACHUSETTS ST-UNION ST-BROAD ST 115KV LINES, BROAD ST BKR 120-55, BKR 120-58, BANK 66A, BANK 66, AND UNION ST BKR 120-65 |  | SOC, NOEL
134 | 24-00903 | 14484079 | 06/16/2024 22:00 | 06/30/2024 22:00 | GRAND COULEE: PCB 6382 | GRAND COULEE: PCB 6382
135 | 24-05996 | 15490200 | 06/17/2024 07:00 | 06/17/2024 16:00 | SNO-KING: 230KV AUX BUS INCLUDING PCB A-1206 AND THE A-1206/230KV MB STUB BUS | SNO-KING: PCB A-1206, SNO-KING: MOD A-1206 AUX BUS, SNO-KING: A-1209 MAIN BUS SECTION 3 DISC, SNO-KING: MOD A-1203 MAIN BUS SECTIONALIZING, SNO-KING: 230KV AUX BUS
136 | 24-00667 | 14475604 | 06/17/2024 07:00 | 11/14/2024 15:00 | -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT, MT-NW
137 | 24-00613 | 14344448 | 06/17/2024 07:00 | 07/01/2024 14:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | GEN, MT-NW, FLAT
138 | 24-03952 | 15226054 | 06/17/2024 07:00 | 06/18/2024 15:30 | DORENA-LATHAM SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE | DORENA-LATHAM SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE
139 | 24-04810 | 15272111 | 06/17/2024 07:00 | 06/17/2024 16:00 | MORROW FLAT: PCB A-1874 | MORROW FLAT: PCB A-1874
140 | 24-04190 | 15564687 | 06/17/2024 08:00 | 06/27/2024 17:00 | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, (GROUNDED AT MAPLE VALLEY) |  | CI, IROL, NOEL, NOH, SOC, WOCN
141 | 24-02339 |  | 06/17/2024 08:00 | 06/21/2024 15:00 | AVANGRID- KLONDIKE I, II, III, HAY CANYON, STAR POINT, WYEAST AND PGE- BIGLOW CANYON GENERATION | AVANGRID- KLONDIKE I, II, III, HAY CANYON, STAR POINT, WYEAST AND PGE- BIGLOW CANYON GENERATION
142 | 24-04402 | 15490261 | 06/17/2024 08:00 | 06/18/2024 16:30 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
143 | 24-02306 | 14894404 | 06/17/2024 08:00 | 06/21/2024 15:00 | JOHN DAY: 500/230KV TRANSFORMER 1, INCLUDING SPARE PHASE AND 34.5KV/480V STATION SERVICE TRANSFORMER | JOHN DAY: 500/230KV TRANSFORMER 1, JOHN DAY: PCB A-1725, JOHN DAY: PCB A-1728, INCLUDING SPARE PHASE AND 34.5KV/480V STATION SERVICE TRANSFORMER | GEN, JDAY, WOJD, NWACI
144 | 24-00507 | 14203981 | 06/17/2024 08:00 | 06/28/2024 17:00 | DWORSHAK-TAFT NO 1 500KV LINE | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, NOH, WOH, WOLM, FCRPS
145 | 24-06814 |  | 06/17/2024 08:00 | 06/20/2024 16:00 | MIDWAY: A-114 TERMINAL OF THE MIDWAY-HEW #2 230KV LINE | MIDWAY: PCB A-114, MIDWAY-A-8 SECTION OF MIDWAY-HEW NO 2 230KV LINE | WOM, TCLA
146 | 24-04408 | 15225298 | 06/17/2024 08:00 | 06/18/2024 15:00 | BIG EDDY-CHEMAWA NO 1 230KV LINE | BIG EDDY-CHEMAWA NO 1 230KV LINE, CHEMAWA: PCB A-670, BIG EDDY: PCB A-822 | PDCI, WOCS, WOJD, NWACI, SLAL
147 | 24-02381 | 14908202 | 06/17/2024 08:00 | 06/18/2024 15:00 | RAVER: PCB A-1835 | RAVER: PCB A-1835 | NOEL, SOC, WOCN
148 | 24-00627 | 14400308 | 06/17/2024 08:00 | 06/17/2024 15:00 | RED MOUNTAIN: PCB B-1978 | RED MOUNTAIN: PCB B-1978
149 | 24-02338 |  | 06/17/2024 08:00 | 06/21/2024 15:00 | JOHN DAY: MOD A-1726, AND A-1727 | JOHN DAY: MOD A-1726, AND A-1727
150 | 24-05428 |  | 06/17/2024 08:00 | 06/21/2024 15:00 | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | NWACI
151 | 24-04417 |  | 06/17/2024 08:00 | 06/18/2024 15:00 | -FIBER- REEDSPORT-FAIRVIEW SEGMENT OF THE LANE-FAIRVIEW FIBER SYSTEM #TC 02(REEDSPORT-FAIRVIEW NO 1 115KV LINE, 1-39 MILE)
152 | 24-06386 | 15410765 | 06/17/2024 08:00 | 06/27/2024 15:00 | -CPUD- EAST KELSO SUBSTATION | WEST KELSO-EAST KELSO 115KV LINE, SHAWNEE-EAST KELSO 115KV LINE, EAST KELSO-SOUTH KELSO 115KV LINE, 7TH AVE-EAST KELSO 115KV LINE, EAST KELSO: PCB 115K1, EAST KELSO: PCB 115K2, EAST KELSO: PCB 115K6, EAST KELSO: PCB 115K5 | LOAD
153 | 24-00365 | 14154216 | 06/17/2024 09:00 | 06/17/2024 11:00 | JOHN DAY: PCB 4167 | JOHN DAY: PCB 4167 | JDAY, NWACI, WOCS, WOJD
154 | 24-00366 | 14154230 | 06/17/2024 11:00 | 06/17/2024 13:00 | JOHN DAY: PCB 4170 | JOHN DAY: PCB 4170 | NWACI, WOCS, WOJD
155 | 24-01039 | 14736796 | 06/18/2024 08:00 | 06/18/2024 15:00 | SCHULTZ: PCB 5176 BFR | SCHULTZ: PCB 5176, SCHULTZ: PCB 5176 BFR | WOCN, NOEL
156 | 24-01412 | 14758454 | 06/18/2024 08:00 | 06/18/2024 15:00 | LITTLE GOOSE: PCB 4632 | LITTLE GOOSE: PCB 4632 | WOLM
157 | 24-01042 | 14736804 | 06/18/2024 15:00 | 06/18/2024 16:00 | SCHULTZ: PCB 5179 | SCHULTZ: PCB 5179 | NOH, WOCN
158 | 24-01333 | 14735533 | 06/19/2024 08:00 | 06/25/2024 16:00 | GRIZZLY: 4047/4049 TERMINALS AND MALIN: 4071/4073/4341 TERMINALS OF GRIZZLY-MALIN 2 500KV LINE | GRIZZLY: 4047/4049 TERMINALS AND MALIN: 4071/4073/4341 TERMINALS OF GRIZZLY-MALIN 2 500KV LINE , GRIZZLY-MALIN PGE NO 2 500KV LINE, GRIZZLY: PCB 4046, GRIZZLY: PCB 4048, MALIN: PCB 4037, MALIN: PCB 4070, MALIN: PCB 4072 | BCHT, BCHW, NI, NWACI, SIG, WOJD, COI
159 | 24-01041 | 14736812 | 06/20/2024 08:00 | 06/20/2024 15:00 | SCHULTZ: PCB 5182 BFR | SCHULTZ: PCB 5182 BFR, SCHULTZ: PCB 5182 | WOCN, NOEL
160 | 24-01396 | 14758791 | 06/20/2024 08:30 | 06/20/2024 15:00 | LITTLE GOOSE-CENTRAL FERRY 2 500kV LINE, INCLUDING LITTLE GOOSE: PCBS 4350 AND 4632 | LITTLE GOOSE: PCB 4632, LITTLE GOOSE-CENTRAL FERRY 2 500kV LINE, INCLUDING LITTLE GOOSE: PCBS 4350 AND 4632, LITTLE GOOSE: PCB 4350, LITTLE GOOSE-CENTRAL FERRY NO 2 500KV LINE | WOLM, MT-NW, WOH
161 | 24-01940 | 14840822 | 06/20/2024 09:00 | 06/20/2024 10:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
162 | 24-01941 | 14840825 | 06/20/2024 10:00 | 06/20/2024 11:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
163 | 24-07709 | 15570771 | 06/20/2024 10:00 | 06/20/2024 21:00 | CELILO: PACIFIC HVDC PROBING SIGNAL TEST | CHIEF JOSEPH: BRAKING RESISTOR | NOH, SIG, NWACI
164 | 24-01942 | 14840842 | 06/20/2024 11:00 | 06/20/2024 12:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
165 | 24-03019 | 15079135 | 06/20/2024 12:30 | 06/20/2024 13:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
166 | 24-01043 | 14736833 | 06/20/2024 15:00 | 06/20/2024 16:00 | SCHULTZ: PCB 5179 | SCHULTZ: PCB 5179 | NOH, WOCN
167 | 24-07027 | 15490711 | 06/22/2024 03:00 | 06/23/2024 21:00 | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE, CELILO: 9054/9092 TERMINAL OF RICE FLATS ELECTRODE, BIG EDDY: 4214 TERMINAL OF BIG EDDY-CELILO #1 500KV LINE, BIG EDDY: 4207 TERMINAL OF BIG EDDY-CELILO #2 500KV LINE | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG, BGEDY, NWACI
168 | 24-04448 | 15391615 | 06/24/2024 07:00 | 06/24/2024 14:00 | CATTLE CREEK - GOSHEN #1 115KV LINE INCLUDING CATTLE CREEK 115KV WEST BUS AND PCBS B-2095 AND B-2107 | CATTLE CREEK SW STA: 115KV WEST BUS, CATTLE CREEK SW STA: PCB B-2095, CATTLE CREEK SW STA: PCB B-2107, CATTLE CREEK-GOSHEN NO 1 115KV LINE | SEIL, GEN
169 | 24-04792 | 15272088 | 06/24/2024 07:00 | 06/25/2024 16:00 | MORROW FLAT: PCB A-1861 | MORROW FLAT: PCB A-1861 | WOM
170 | 24-01203 | 15121588 | 06/24/2024 07:30 | 06/24/2024 16:00 | ASHE: ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898 | ASHE: ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898, ASHE-HANFORD NO 1 500KV LINE, ASHE: PCB 4901, ASHE: PCB 4898, HANFORD: PCB 4107, HANFORD: PCB 4104 | NOH, SIG, NWACI, FCRPS, WOM, WOS
171 | 24-07804 | 15577668 | 06/24/2024 07:30 | 06/28/2024 16:30 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
172 | 24-01298 | 14734618 | 06/24/2024 07:30 | 06/27/2024 15:30 | MARTIN CREEK: 230/115KV TRANSFORMER 1 | MARTIN CREEK: 230/115KV TRANSFORMER 1 | SCORC
173 | 24-00438 | 14168421 | 06/24/2024 07:30 | 07/03/2024 16:00 | NORTH BONNEVILLE-ROSS NO 1 230KV LINE | NORTH BONNEVILLE-ROSS NO 1 230KV LINE, ROSS: PCB A-34, NORTH BONNEVILLE: PCB A-13, SIFTON: PCB A-163, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE, SIFTON: PCB B-1500, SIFTON: 230/115KV TRANSFORMER 2, SIFTON: 230KV EAST MAIN BUS | GEN, LOAD, WOCS, FCRPS, SOA
174 | 24-01398 | 14758816 | 06/24/2024 08:00 | 06/25/2024 15:00 | LITTLE GOOSE-LOWER GRANITE 1 500KV LINE INCLUDING LITTLE GOOSE: PCBS 4626 AND 4630 | LITTLE GOOSE-LOWER GRANITE NO 1 500KV LINE, LITTLE GOOSE-LOWER GRANITE 1 500KV LINE INCLUDING LITTLE GOOSE: PCBS 4626 AND 4630, LITTLE GOOSE: PCB 4630, LITTLE GOOSE: PCB 4626 | MT-NW, WOH, WOLM
175 | 24-02287 | 14929787 | 06/24/2024 08:00 | 06/26/2024 16:30 | SICKLER: PCB 4334 | SICKLER: PCB 4334 | BCHT, BCHW, CI, GEN, NOH, WOCN
176 | 24-00729 | 14398994 | 06/24/2024 08:00 | 06/27/2024 15:00 | HATWAI: PCB 4708 | PCB 4708 BREAKER RELAYS, HATWAI: PCB 4708 | MT-NW, NOH, WOH, WOLM
177 | 24-07243 |  | 06/24/2024 08:00 | 06/28/2024 15:00 | HILLTOP: NVE 345/230KV TRANSFORMER #1 | HILLTOP: SOUTH BUS, HILLTOP: CCVT 20H
178 | 24-04376 | 15490235 | 06/24/2024 08:00 | 06/24/2024 16:00 | HAUSER-SUMNER SECTION OF THE REEDSPORT-FAIRVIEW NO 1 115KV LINE INCLUDING THE GLASGOW TAP | HAUSER-GLASGOW SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE, GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE, GLASGOW TAP TO REEDSPORT-FAIRVIEW NO 1 115KV LINE, GLASGOW: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC
179 | 24-07102 | 15514233 | 06/24/2024 12:00 | 06/24/2024 17:00 | WENDSON: 230KV AUX BUS | WENDSON: PCB A-1580 | LOAD, SCORC
180 | 24-03851 | 15396603 | 06/25/2024 06:30 | 06/25/2024 16:00 | BURBANK-WORDEN SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE |  | TCLA, WAWA, GEN
181 | 24-04449 | 15226069 | 06/25/2024 07:00 | 06/25/2024 14:00 | PALISADES - CATTLE CREEK #1 115KV LINE INCLUDING CATTLE CREEK 115KV EAST BUS, PCBS B-2092 AND B-2095, AND PRI S.S. XFMR | PALISADES - CATTLE CREEK #1 115KV LINE INCLUDING CATTLE CREEK 115KV EAST BUS, PCBS B-2092 AND B-2095, AND PRI S.S. XFMR, PALISADES PH: PCB 662, PALISADES-CATTLE CREEK NO 1 115KV LINE | SEIL, GEN
182 | 24-07165 |  | 06/25/2024 07:00 | 06/25/2024 15:00 | COLUMBIA FALLS: 115KV MAIN BUS INCLUDING PCB B-1034 | COLUMBIA FALLS: 115KV MAIN BUS, COLUMBIA FALLS: 115/34.5KV TRANSFORMER 1, COLUMBIA FALLS: 230/115KV TRANSFORMER 2, COLUMBIA FALLS: 230/115KV TRANSFORMER 3, COLUMBIA FALLS: PCB B-1034, COLUMBIA FALLS: PCB B-1036, COLUMBIA FALLS: PCB B-1037, COLUMBIA FALLS: PCB B-1038, COLUMBIA FALLS: PCB B-1040, COLUMBIA FALLS: PCB B-1041, COLUMBIA FALLS: PCB B-1055, COLUMBIA FALLS: PCB B-1049, COLUMBIA FALLS: 115KV CAP GROUP 1 SECTION 1, COLUMBIA FALLS: 115KV CAP GROUP 1 SECTION 2, COLUMBIA FALLS: FLATHEAD E COOP 34.5KV FEEDER 1, COLUMBIA FALLS: FLATHEAD E COOP 34.5KV FEEDER 2, COLUMBIA FALLS: 34.5KV PCB L-1142, COLUMBIA FALLS: 34.5KV PCB L-1144 | LOAD, FLAT, WOCN
183 | 24-06563 | 15490387 | 06/25/2024 08:00 | 06/26/2024 16:30 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
184 | 24-05837 | 15410416 | 06/25/2024 08:00 | 06/27/2024 17:00 | BEAVER-TILLAMOOK SECTION OF BOYER-TILLAMOOK NO 1 115KV LINE | BOYER-TILLAMOOK NO 1 115KV LINE | SOA, LOAD, NOPE
185 | 24-00413 | 15101035 | 06/25/2024 08:00 | 06/27/2024 15:00 | PEARL: PCB A-1170 INCLUDING 230KV CAP GROUP 2 | PEARL: PCB A-1170 INCLUDING 230KV CAP GROUP 2, PEARL: 230KV CAP GROUP 2, PEARL: PCB A-1170 | SOA, WOCS, NOPE
186 | 24-04050 | 15514347 | 06/25/2024 08:00 | 08/08/2024 17:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs A-1578, B-1784 AND THE A-1578 A/B & B-1784 A/B DISCS | WENDSON: PCB A-1578, WENDSON: PCB B-1784, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC
187 | 24-05108 | 15285338 | 06/25/2024 08:00 | 06/25/2024 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, DWORSHAK: PCB 4765, INCLUDING PCB 4765 | MT-NW, WOH, WOLM
188 | 24-00228 | 13938644 | 06/25/2024 08:00 | 06/25/2024 15:00 | MARION: PCB 4365 | MARION: PCB 4365 | NWACI
189 | 24-04794 | 15272120 | 06/26/2024 07:00 | 06/27/2024 16:00 | MORROW FLAT: PCB A-1867 | MORROW FLAT: PCB A-1867 | WOM
190 | 24-02420 | 14908349 | 06/26/2024 07:00 | 06/26/2024 16:00 | -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 | BONNEVILLE PH: PCB XW102, -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 , BONNEVILLE PH: PCB XW106, BONNEVILLE PH: PCB XW151, BONNEVILLE PH: PCB XW174, BONNEVILLE PH: PCB XW176, BONNEVILLE PH: PCB XW178
191 | 24-04462 | 15536708 | 06/26/2024 08:00 | 06/26/2024 14:00 | CATTLE CREEK - HORSE BUTTE #1 115KV LINE INCLUDING CATTLE CREEK 115KV EAST BUS, PCB B-2107 AND PRI S.S. XFMR | CATTLE CREEK SW STA: PCB B-2107, CATTLE CREEK SW STA: UAMPS 115KV FEEDER 1 TO HORSE BUTTE
192 | 24-00227 | 13938630 | 06/26/2024 08:00 | 06/26/2024 15:00 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020, MARION: 500KV REACTOR 2, MARION: PCB 4020 | NWACI
193 | 24-07711 | 15570795 | 06/26/2024 10:00 | 06/26/2024 21:00 | CELILO: PACIFIC HVDC PROBING SIGNAL TEST, (ALTERNATE DATE) | CHIEF JOSEPH: BRAKING RESISTOR | NOH, SIG, NWACI
194 | 23-03265 | 12970172 | 06/27/2024 06:00 | 06/27/2024 16:00 | WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215 AND THE 115KV AUXILARY BUS | WHITE BLUFFS: 115KV MAIN BUS SECTION 2, WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215 AND THE 115KV AUXILARY BUS, WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS: PCB B-215, WHITE BLUFFS: PCB B-263, WHITE BLUFFS-451B NO 1 115KV LINE, WHITE BLUFFS: PCB B-1362, WHITE BLUFFS: CAP GROUP 1, WHITE BLUFFS: PCB B-271, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA, LOAD, GEN
195 | 24-02288 | 14935580 | 06/27/2024 07:30 | 06/27/2024 11:30 | SICKLER: PCB 4336 | SICKLER: PCB 4336 | CI, GEN, NOH, WOCN
196 | 24-05363 | 15571319 | 06/27/2024 08:00 | 06/27/2024 15:00 | MAPLE VALLEY: PCB A-1108 |  | NOEL, SOC
197 | 24-01409 | 14758832 | 06/27/2024 08:30 | 06/27/2024 15:00 | LITTLE GOOSE: PCB 4348 | LITTLE GOOSE: PCB 4348 | WOLM
198 | 24-02289 | 14935588 | 06/27/2024 11:30 | 06/27/2024 16:30 | SICKLER: PCB 4340 | SICKLER: PCB 4340 | CI, GEN, NOH, WOCN
199 | 23-03258 | 12970585 | 06/27/2024 16:01 | 08/14/2024 07:00 | WHITE BLUFFS: PCB B-215 INCLUDING B-215 MB AND AB DISC'S | WHITE BLUFFS: PCB B-215, WHITE BLUFFS: PCB B-215 INCLUDING B-215 MB AND AB DISC'S, WHITE BLUFFS: B-215 MAIN BUS DISC, WHITE BLUFFS: B-215 AUX BUS DISC
200 | 24-00858 | 14701373 | 06/28/2024 08:00 | 06/28/2024 15:00 | CAPTAIN JACK-MALIN NO 1 500KV LINE INCLUDING; CAPTAIN JACK: PCB 4993, 4996; MALIN: PCB 4064, 4066 | CAPTAIN JACK-MALIN NO 1 500KV LINE, CAPTAIN JACK-MALIN NO 1 500KV LINE INCLUDING; CAPTAIN JACK: PCB 4993, 4996; MALIN: PCB 4064, 4066 , CAPTAIN JACK: PCB 4993, CAPTAIN JACK: PCB 4996, MALIN: PCB 4064, MALIN: PCB 4066, MALIN: 500KV REACTOR 1, MALIN: PCB 4327 | NWACI, SIG, COI
201 | 24-01070 | 14564644 | 06/29/2024 06:30 | 06/29/2024 15:00 | -USBR- GRAND COULEE: PCB'S 6182 & 6382 | -USBR- GRAND COULEE: PCB'S 6182 & 6382, GRAND COULEE: PCB 6182, GRAND COULEE: PCB 6382 | NOH, WOCN
202 | 24-00904 | 14484529 | 06/30/2024 22:00 | 07/03/2024 19:00 | GRAND COULEE: PCB 6382 INCLUDING THE 230KV AUX BUS SECTION 2 | GRAND COULEE: PCB 6382 INCLUDING THE 230KV AUX BUS SECTION 2, GRAND COULEE: PCB 6382, GRAND COULEE: 230KV AUX BUS SECTION 2