## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
3 | 22-14444 | 14231667 | 11/28/2022 08:00 | 05/31/2024 15:00 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576, ALVEY-CURRIN NO 1 115KV LINE, CURRIN-HAYDEN BRIDGE SWITCHING STATION 115KV LINE, CURRIN-LAUREL 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB, SCORC
4 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
5 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
6 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
7 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
8 | 24-02998 |  | 01/11/2024 08:00 | 07/09/2024 15:00 | ALVEY: PCB B-586 | ALVEY: PCB B-586
9 | 24-03075 |  | 01/12/2024 15:00 | 05/31/2024 17:00 | BENTON: 230/115KV TRANSFORMER 1 |  | TCLA, GEN, LOAD
10 | 24-03109 | 15099463 | 01/13/2024 13:30 | 06/27/2024 18:00 | WALTON-MAPLETON SECTION OF LANE-WENDSON NO 1 115KV LINE | WALTON-MAPLETON SECTION OF LANE-WENDSON NO 1 115KV LINE | LOAD, SCORC
11 | 24-03602 | 15110880 | 01/13/2024 20:07 | 05/01/2024 15:00 | HAYDEN BRIDGE SWITCHING STATION-WEYCO 3 115KV LINE | HAYDEN BRIDGE SWITCHING STATION-WEYCO 3 115KV LINE | EWEB
12 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
13 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
14 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
15 | 24-04370 |  | 02/12/2024 08:00 | 05/02/2024 15:00 | MIDWAY: PCB A-66 ALL RELAY, CONTORL, AND ALARM CIRCUITS | MIDWAY: PCB A-66 ALL RELAY, CONTORL, AND ALARM CIRCUITS
16 | 24-03452 | 15316693 | 02/27/2024 00:01 | 06/27/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
17 | 24-05346 |  | 02/27/2024 08:00 | 05/10/2024 15:00 | OLYMPIA: PCB B-686, RELAYS AND ASSOCIATED WIRING | OLYMPIA: PCB B-686, RELAYS AND ASSOCIATED WIRING
18 | 24-00653 | 14356003 | 02/28/2024 08:00 | 05/08/2024 15:00 | OLYMPIA: PCB B-686 INCLUDING THE B-686 M/B AND A/B DISCS | OLYMPIA: PCB B-686 INCLUDING THE B-686 M/B AND A/B DISCS, OLYMPIA: PCB B-686
19 | 24-00118 | 13115076 | 03/01/2024 08:00 | 05/02/2024 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
20 | 24-05922 |  | 03/12/2024 08:00 | 06/27/2024 18:00 | WALTON-MAPLETON SECTION OF LANE-WENDSON NO 1 115KV LINE |  | LOAD, SCORC
21 | 24-06567 | 15437157 | 03/19/2024 11:30 | 05/01/2024 17:00 | FAIRMOUNT: 230KV CAP GROUP 2 INLCUDING LBD A-1628 | FAIRMOUNT: 230KV CAP GROUP 2, FAIRMOUNT: LBD A-1628 | RP
22 | 24-06648 |  | 03/20/2024 13:25 | 06/28/2024 15:00 | PG&E - PACIRAS CONTROLLER B
23 | 24-06769 | 15469956 | 04/01/2024 07:00 | 06/01/2024 17:00 | VALHALLA: B-274 TERMINAL OF VALHALLA-RAPIDS NO 1 115KV LINE | VALHALLA: PCB B-274, VALHALLA-HANNA SECTION OF VALHALLA-RAPIDS NO 1 115KV LINE | CI
24 | 24-00960 | 14524193 | 04/04/2024 17:00 | 05/29/2024 15:00 | JOHN DAY: MOD 4135 INCLUDING PCB 4134 | JOHN DAY: PCB 4134, JOHN DAY: MOD 4135 INCLUDING PCB 4134 | NWACI, WOJD, GRZN
25 | 24-06354 | 15409047 | 04/15/2024 08:00 | 05/13/2024 16:00 | -EWEB- HYUNDAI: PCBS 6750, 6760, 6790 AND 115KV BUS | HYUNDAI: PCB 6750, HYUNDAI: PCB 6760, HYUNDAI: PCB 6790, HYUNDAI-WILLOW CREEK NO 1 115KV LINE, HYUNDAI-WILLOW CREEK NO 2 115KV LINE | EWEB
26 | 24-02640 | 14980122 | 04/18/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5028 | GRIZZLY: PCB 5028 | NWACI, WOJD
27 | 24-00067 | 14694554 | 04/18/2024 08:00 | 05/08/2024 16:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE, SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-MARION NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, WOM, WOS, WOCS
28 | 24-02209 | 14881071 | 04/18/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5028, GRIZZLY: PCB 5031 | GRIZZLY: PCB 5028, GRIZZLY: PCB 5031 | NWACI, WOJD
29 | 24-02633 | 14980118 | 04/18/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5031 |  | NWACI, WOJD
30 | 24-06365 | 15409804 | 04/22/2024 06:30 | 05/02/2024 16:00 | LEXINGTON: B-1470 TERMINAL OF THE LEXINGTON COWLITZ # 2 115KV LINE | LEXINGTON: COWLITZ CO PUD 115KV FEEDER 2
31 | 24-06374 | 15410766 | 04/22/2024 06:30 | 05/09/2024 17:00 | GRAND COULEE: PCB 1172 | GRAND COULEE: PCB 1172
32 | 24-01182 | 14654110 | 04/22/2024 07:00 | 05/02/2024 16:00 | BELL: PCB A-572 | BELL: PCB A-572 | MT-NW, WOH
33 | 24-00444 | 14156390 | 04/22/2024 08:00 | 05/02/2024 18:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE
34 | 24-01138 | 14736957 | 04/22/2024 08:00 | 05/02/2024 15:00 | ST JOHNS-KEELER NO 2 115KV LINE | ST JOHNS-KEELER NO 2 115KV LINE | LOAD, SOA, NOPE
35 | 24-01134 | 14767418 | 04/22/2024 08:00 | 05/02/2024 15:00 | ROSS-ST JOHNS NO 1 230KV LINE | ROSS-ST JOHNS NO 1 230KV LINE, ST JOHNS: PCB B-48, ROSS: PCB A-32, ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE, NOEL, SOC
36 | 24-06737 | 15471978 | 04/22/2024 08:00 | 05/03/2024 17:00 | LANE-WENDSON NO 2 230KV LINE |  | LOAD, SCORC
37 | 24-05411 |  | 04/24/2024 10:00 | 06/28/2024 15:00 | B-2190 TERMINAL OF GOOSE PRAIRIE TAP TO THE MIDWAY-MOXEE NO 1 115KV LINE | GOOSE PRAIRIE TAP TO MIDWAY-MOXEE NO 1 115KV LINE
38 | 23-16097 | 14027816 | 04/25/2024 07:00 | 05/11/2024 18:00 | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | COI
39 | 24-04231 | 15190917 | 04/25/2024 08:00 | 05/08/2024 15:00 | THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING RICHLAND PCB B-502 | THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING RICHLAND PCB B-502, RICHLAND: PCB B-502 | TCLA
40 | 24-04341 |  | 04/26/2024 14:00 | 05/14/2024 08:00 | WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS | WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS | WOCN
41 | 24-00358 | 14063176 | 04/29/2024 07:00 | 05/01/2024 15:00 | PAUL: PCB 4530 | PAUL: PCB 4530 | RP, GEN, PA, WOCS
42 | 24-04299 | 15199473 | 04/29/2024 07:00 | 05/02/2024 15:00 | SHELTON:B-1140 RELAYS | SHELTON:B-1140 RELAYS, SHELTON: PCB B-1140, SHELTON: 115KV AUX BUS | SOA
43 | 23-02776 | 12908900 | 04/29/2024 07:00 | 06/28/2024 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
44 | 24-01018 | 14531242 | 04/29/2024 07:00 | 05/02/2024 16:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, (GROUNDED) | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, ALVEY: PCB 5103, (GROUNDED) | NWACI, COI, SCORC
45 | 23-02863 | 12908992 | 04/29/2024 07:00 | 06/28/2024 16:00 | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC, GARRISON: PCB A-880 | MT-NW
46 | 24-01019 |  | 04/29/2024 07:00 | 05/02/2024 16:00 | ALVEY: MARION 1-500KV LINE SERIES CAP GROUP 1 RELAY SETS A AND B | ALVEY: MARION 1-500KV LINE SERIES CAP GROUP 1 RELAY SETS A AND B, ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, ALVEY: PROGRAMMABLE LOGIC CONTROLLER (PLC) - A, ALVEY: PROGRAMMABLE LOGIC CONTROLLER (PLC) - B, ALVEY: PCB 5103 | NWACI, COI, SCORC
47 | 24-01200 | 14854016 | 04/29/2024 07:30 | 05/02/2024 15:00 | FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2 | FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2, FRANKLIN: 115KV CAP GROUP 1 SECTION 2, FRANKLIN: PCB B-2113, FRANKLIN: PCB B-2114, FRANKLIN: 115KV AUX BUS, FRANKLIN: PCB B-2112 | TCLA
48 | 24-03875 | 15405065 | 04/29/2024 07:30 | 05/02/2024 16:00 | MIDWAY: 230KV MAIN BUS SECTION 1 INCLUDING MIDWAY-PRIEST RAPIDS NO 2 230kV LINE, MIDWAY-A-8 SECTION OF THE MIDWAY HEW NO 2 230KV LINE, PCB A-66, PCB A-114, PCB A-1000 AND THE 230KV AUX BUS SECTION 1 | MIDWAY: 230KV MAIN BUS SECTION 1, MIDWAY: 230KV AUX BUS SECTION 1, MIDWAY: PCB A-1000, MIDWAY-POTHOLES NO 1 230KV LINE, OUTLOOK-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, MIDWAY-A-8 SECTION OF MIDWAY-HEW NO 2 230KV LINE, MIDWAY-PRIEST RAPIDS NO 2 230KV LINE | WOM, GEN, NOH, WOCS, TCLA
49 | 24-00069 | 12858157 | 04/29/2024 08:00 | 05/03/2024 16:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE, REDMOND: PCB A-252 | NWACI, PDCI, COI, LOAD
50 | 24-06012 |  | 04/29/2024 08:00 | 05/08/2024 13:00 | -PACW- DIAMOND HILL-EWEB MCKENZIE SECTION OF BPA ALVEY-DIAMOND HILL 230KV LINE | MCKENZIE-DIAMOND HILL SECTION OF ALVEY-DIAMOND HILL NO 3 230KV LINE | EWEB, NWACI
51 | 24-00709 | 14407864 | 04/29/2024 08:00 | 05/02/2024 17:00 | SCHULTZ: PCB 5160 | SCHULTZ: PCB 5160 | WOCN
52 | 24-00830 | 14484178 | 04/29/2024 08:00 | 05/02/2024 15:00 | PAUL: PCB 4554 SEL-352 BFR | PAUL: PCB 4554 SEL-352 BFR, PAUL: PCB 4554 | RP, WOCS, SOA
53 | 24-03247 | 15163375 | 04/29/2024 08:00 | 05/09/2024 15:00 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | NWACI
54 | 24-02340 | 14996481 | 04/29/2024 08:00 | 05/03/2024 15:00 | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | LOAD, PA
55 | 24-00926 | 14525021 | 04/29/2024 08:00 | 05/02/2024 15:00 | TAFT: 500KV REACTOR #1 RELAYS, INCLUDING PCB 4145 BFR | TAFT: PCB 4145, TAFT: 500KV REACTOR #1 RELAYS, INCLUDING PCB 4145 BFR | MT-NW, WOH
56 | 24-00757 | 14484144 | 04/29/2024 08:00 | 05/01/2024 15:00 | CENTRAL FERRY: PCB 5412 | CENTRAL FERRY: PCB 5412 | WOH, WOLM
57 | 24-03906 | 15449816 | 04/29/2024 09:00 | 05/02/2024 15:00 | CGS BACKUP BANK-451B SECTION OF BENTON-451B NO 1 115KV LINE
58 | 24-05415 |  | 04/29/2024 09:00 | 05/10/2024 12:00 | -PACW- PILOT BUTTE: 230/69KV TRANSFORMER 2 | -PACW- PILOT BUTTE: 230/69KV TRANSFORMER 2
59 | 24-00135 | 14855684 | 04/30/2024 07:30 | 05/10/2024 16:00 | HORN RAPIDS-WHITE BLUFFS SECTION OF THE RED MOUNTAIN-WHITE BLUFFS NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-207 | HORN RAPIDS-WHITE BLUFFS SECTION OF RED MOUNTAIN-WHITE BLUFFS NO 1 115KV LINE, WHITE BLUFFS: PCB B-207 | TCLA
60 | 24-02181 | 14881080 | 04/30/2024 08:00 | 05/13/2024 15:00 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236, WAUTOMA: 500KV REACTOR 1, WAUTOMA: 500KV EAST BUS, WAUTOMA: PCB 5236 | NOH, WOCN
61 | 23-12784 | 15225471 | 04/30/2024 17:00 | 05/20/2024 07:00 | WHITE BLUFFS: PCB B-247 INCLUDING MAIN, LINE, AND AUX DISCONECTS (BAY12) | WHITE BLUFFS: PCB B-247, WHITE BLUFFS: PCB B-247 INCLUDING MAIN, LINE, AND AUX DISCONECTS (BAY12)
62 | 24-02164 | 14881027 | 05/01/2024 07:00 | 05/02/2024 17:00 | ALLSTON: PCB 4470 | ALLSTON: PCB 4470 | SOA, NOPE
63 | 24-04105 | 15199006 | 05/01/2024 07:00 | 05/01/2024 16:00 | COSMOPOLIS: PCB B-1326 | COSMOPOLIS: PCB B-1326, ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | RP
64 | 24-01927 | 14792697 | 05/01/2024 08:00 | 05/01/2024 11:00 | MARION: PCB 4365 | MARION: PCB 4365 | NWACI, WOCS
65 | 24-04824 | 15322194 | 05/01/2024 08:00 | 05/02/2024 15:00 | FAIRMOUNT: 230KV CAP GRP 2 SECT 1 INCLUDING LBD A-1628 | FAIRMOUNT: 230KV CAP GRP 2 SECT 1 INCLUDING LBD A-1628, FAIRMOUNT: 230KV CAP GROUP 2, FAIRMOUNT: LBD A-1628 | RP
66 | 24-06562 | 15436823 | 05/01/2024 09:00 | 05/02/2024 16:00 | MCKENZIE EWEB: PCB 6670 | COBURG (EWEB)-MCKENZIE (EWEB) 115KV LINE | EWEB
67 | 24-04634 | 15233825 | 05/01/2024 09:00 | 05/01/2024 16:00 | CHEHALIS-COVINGTON NO 1 230KV LINE | CHEHALIS-COVINGTON NO 1 230KV LINE, COVINGTON: PCB A-80, COVINGTON: CHEHALIS 1 230KV LINE MWTT CKT 7068, CHEHALIS: PCB A-46, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | RP, NOEL, SOC, LOAD
68 | 24-01928 | 14792706 | 05/01/2024 11:00 | 05/01/2024 14:00 | MARION: PCB 4368 | MARION: PCB 4368 | NWACI, WOCS
69 | 24-03988 | 15395662 | 05/01/2024 23:55 | 05/02/2024 06:00 | WINTHROP-TWISP NO 1 115KV LINE INCLUDING WINTHROP: 115/13.2KV TRANSFORMER 1, PCB L-211, LBD B-454, LBD B-455, 115KV CAP GROUP 1 SECTION 1 & 2 | WINTHROP: OKANOGAN EL COOP 13.2KV FEEDER 1 BY OKANOGAN CO PUD, WINTHROP-TWISP NO 1 115KV LINE, WINTHROP: 115/12.5KV TRANSFORMER 1, WINTHROP: 115KV CAP GROUP 1 SECTION 1, WINTHROP: 115KV CAP GROUP 1 SECTION 2, WINTHROP: 13.2KV PCB L-211, WINTHROP: LBD B-454, WINTHROP: LBD B-455 | OKLA
70 | 24-00340 | 13989680 | 05/02/2024 08:00 | 05/02/2024 16:00 | MARION: 4384/4385 TERMINALS OF MARION-SANTIAM #1 500KV LINE | MARION: 4384/4385 TERMINALS OF MARION-SANTIAM #1 500KV LINE, MARION-SANTIAM NO 1 500KV LINE, SANTIAM: 500/230KV TRANSFORMER 4 | NWACI, SIG, EWEB, SCORC, WOCS
71 | 24-00249 | 14056688 | 05/02/2024 08:00 | 05/02/2024 16:00 | MARION-SANTIAM NO. 1 500KV LINE INCLUDING SANTIAM 500/230KV BANK 4, 230KV AUX BUS, AND PCB A-542 (UNGROUNDED) | MARION-SANTIAM NO. 1 500KV LINE INCLUDING SANTIAM 500/230KV BANK 4, 230KV AUX BUS, AND PCB A-542 (UNGROUNDED), SANTIAM: 230KV AUX BUS, SANTIAM: PCB A-530, SANTIAM: PCB A-542 | SLAL, SCORC, NWACI, WOCS
72 | 24-02022 | 14950388 | 05/02/2024 08:00 | 05/03/2024 15:00 | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GEN, TCLA, LOAD
73 | 24-06269 | 15410757 | 05/02/2024 08:00 | 05/02/2024 10:00 | UNITY: PCB B-1728 | UNITY-PACIFIC SECTION OF UNITY-WEST BURLEY NO 1 138KV LINE
74 | 24-06275 | 15410318 | 05/02/2024 10:00 | 05/02/2024 11:00 | UNITY: PCB B-1750 | UNITY-HEYBURN NO 1 138KV LINE
75 | 24-06276 | 15410235 | 05/02/2024 11:00 | 05/02/2024 12:00 | UNITY: PCB B-1765 | EAST HILLS-UNITY SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE
76 | 24-00838 | 14484192 | 05/02/2024 15:05 | 05/02/2024 15:30 | PAUL: PCB 4550 | PAUL: PCB 4550 | WOCS, SOA
77 | 24-06129 | 15371773 | 05/02/2024 16:00 | 05/09/2024 15:00 | -EWEB- ENID RD-PRAIRIE(EWEB)-SPRING CREEK (EWEB) 115KV LINE INCLUDING ENID RD PCB 6900 | ENID RD-PRAIRIE (EWEB)-SPRING CREEK (EWEB) 115KV LINE, ENID RD: PCB 6900 | EWEB
78 | 24-03898 | 15170282 | 05/03/2024 07:00 | 05/04/2024 15:00 | BENTON-CGS BACKUP BANK SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE | BENTON-CGS BACKUP BANK SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE, BENTON-WHITE BLUFFS NO 2 115KV LINE, CGS BACKUP BANK TAP TO BENTON-WHITE BLUFFS NO 2 115KV LINE, CGS EOF: ENERGY NORTHWEST 115KV FEEDER 1, CGS BACKUP BANK: ENERGY NORTHWEST 115KV FEEDER 1, HANFORD NO.2 CONSTRUCTION: ENERGY NORTHWEST 115KV FEEDER 1, BENTON: PCB B-537
79 | 24-06184 | 15391046 | 05/03/2024 07:00 | 05/05/2024 20:00 | SNO-KING: A-1198 TERMINAL AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY #1 230kV LINE | SNO-KING-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC, SIG
80 | 23-00083 | 11346150 | 05/03/2024 07:00 | 05/15/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE | MIDWAY: PCB A-56, BENTON: 230/115KV TRANSFORMER 1, BENTON: PCB B-525 | GEN, TCLA, WOM, LOAD
81 | 24-06185 | 15391043 | 05/03/2024 07:00 | 05/05/2024 20:00 | SNO-KING: A-1417 TERMINAL AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY #2 230kV LINE | SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, SIG
82 | 24-04553 | 15211595 | 05/03/2024 12:00 | 05/03/2024 12:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6 | GEN, FCRPS
83 | 24-04554 | 15211411 | 05/03/2024 13:00 | 05/03/2024 13:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE | THE DALLES PH-BIG EDDY NO 1 115KV LINE, THE DALLES PH: 115/13.8KV TRANSFORMER T1, THE DALLES PH: 115/13.8KV TRANSFORMER TA | GEN, SOA, FCRPS, NOPE
84 | 24-04577 | 15411361 | 05/06/2024 05:00 | 05/06/2024 15:00 | LIBBY PH: LINE 1 RELAY POTENTIAL | LIBBY PH-LIBBY NO 1 230KV LINE, LIBBY: LIBBY PH 1 230KV LINE MWTT CKT 7238, LIBBY PH: 230/13.8KV BANK T1 | GEN, FCRPS, FLAT
85 | 24-04219 | 15189573 | 05/06/2024 07:00 | 05/06/2024 16:00 | SATSOP: PCB A-622 | SATSOP: PCB A-622 | GEN, LOAD
86 | 24-06181 | 15390711 | 05/06/2024 07:00 | 06/12/2024 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 |  | SOC, NOEL
87 | 24-02065 | 14854191 | 05/06/2024 07:00 | 05/10/2024 16:00 | GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE | GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE, CHIEF JOSEPH: PCB A-590 | GEN, NOH, FCRPS, WOCN
88 | 24-03847 | 15205243 | 05/06/2024 07:00 | 05/23/2024 15:00 | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE | GEN, TCLA, WAWA
89 | 24-00467 | 14196117 | 05/06/2024 07:00 | 05/23/2024 14:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | GEN, MT-NW
90 | 24-06861 |  | 05/06/2024 07:00 | 05/24/2024 15:00 | COLBERT-TUM TUM SECTION OF BELL-ADDY NO 1 115KV LINE INCLUDING COLBERT AND HALF MOON TAPS | MEAD-COLBERT SECTION OF BELL-ADDY NO 1 115KV LINE, COLBERT-HALF MOON SECTION OF BELL-ADDY NO 1 115KV LINE, HALF MOON-TUM TUM SECTION OF BELL-ADDY NO 1 115KV LINE, COLBERT TAP TO BELL-ADDY NO 1 115KV LINE, HALF MOON TAP TO BELL-ADDY NO 1 115KV LINE
91 | 24-04832 | 15272646 | 05/06/2024 07:30 | 05/07/2024 15:00 | PORT ANGELES: PCB B-648 INCLUDING 115KV CAP GROUP 1 SECTION 1 INCLUDING LBD B-1883 | PORT ANGELES: PCB B-648 INCLUDING 115KV CAP GROUP 1 SECTION 1 INCLUDING LBD B-1883, PORT ANGELES: 115KV CAP GROUP 1 SECTION 1, PORT ANGELES: 115KV CAP GROUP 1 SECTION 2, PORT ANGELES: PCB B-648, PORT ANGELES: LBD B-1883, PORT ANGELES: LBD B-645 | WOCN
92 | 24-01094 | 14695408 | 05/06/2024 08:00 | 05/07/2024 15:00 | KNIGHT: PCB 5483 | KNIGHT: PCB 5483 | WOCS, WOJD, WOCN
93 | 23-00036 | 10031105 | 05/06/2024 08:00 | 05/16/2024 17:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | PILOT BUTTE-LAPINE NO 1 230KV LINE, LAPINE: PCB A-1552 | COR, NWACI
94 | 24-01075 | 14693721 | 05/06/2024 08:00 | 05/07/2024 17:00 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5363 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5363 | NWACI, COI, WOJD
95 | 24-00445 | 14156394 | 05/06/2024 08:00 | 05/16/2024 18:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE
96 | 24-04290 | 15205322 | 05/06/2024 08:00 | 05/09/2024 16:30 | BETTAS ROAD: A-3041, A-3042 AND PRIMARY STATION SERVICE PANEL PDP MAIN ACB TERMINALS OF THE COVINGTON-BETTAS ROAD NO 1 230KV LINE | BETTAS ROAD: PCB A-3043, BETTAS ROAD: A-3041, A-3042 AND PRIMARY STATION SERVICE PANEL PDP MAIN ACB TERMINALS OF THE COVINGTON-BETTAS ROAD NO 1 230KV LINE , BETTAS ROAD: PCB A-3040 | NOEL, SOC, WOCN
97 | 24-03908 | 15149163 | 05/06/2024 08:00 | 05/07/2024 15:00 | MCNARY: PCB 5211 | MCNARY: PCB 5211 | WOCS, WOJD, WOM, NWACI
98 | 24-02341 | 14973727 | 05/06/2024 08:00 | 05/16/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
99 | 24-00712 | 14407872 | 05/06/2024 08:00 | 05/09/2024 17:00 | SCHULTZ: PCB 5167 | SCHULTZ: PCB 5167 | WOCN
100 | 24-01130 | 14790529 | 05/06/2024 08:00 | 05/06/2024 15:00 | CUSTER: PCB A-1254 | CUSTER: PCB A-1254 | BCHT, BCHW, NOEL, SOC, NI
101 | 24-04180 | 15190637 | 05/06/2024 08:00 | 05/09/2024 16:30 | COVINGTON-BETTAS ROAD NO 1 230KV LINE | COVINGTON-BETTAS ROAD NO 1 230KV LINE | NOEL, SOC, WOCN, IROL
102 | 24-01197 | 14623455 | 05/06/2024 08:00 | 05/06/2024 16:30 | MCMINNVILLE: MCMINNVILLE-PGE SWITCH 11523 SECTION OF MCMINNVILLE-PGE DAYTON NO 1 115KV LINE | MCMINNVILLE: PCB B-1314, MCMINNVILLE: MCMINNVILLE-PGE SWITCH 11523 SECTION OF MCMINNVILLE-PGE DAYTON NO 1 115KV LINE, MCMINNVILLE-PGE DAYTON NO 1 115KV LINE | LOAD, SOA
103 | 24-01045 | 14757973 | 05/06/2024 23:00 | 05/10/2024 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
104 | 24-03680 | 15127077 | 05/07/2024 07:00 | 05/09/2024 16:00 | MCNARY: 230/115KV TRANSFORMER 11 | MCNARY: 230/115KV TRANSFORMER 11, MCNARY: PCB A-403, MCNARY: PCB B-997 | WOM, TCLA
105 | 24-04227 | 15189580 | 05/07/2024 07:00 | 05/07/2024 16:00 | SATSOP: PCB A-616 | SATSOP: PCB A-616 | GEN, LOAD
106 | 24-05577 | 15329212 | 05/07/2024 07:00 | 05/07/2024 16:00 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, INCLUDING PCB A-1431 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, MONROE: PCB A-1431, INCLUDING PCB A-1431 | WOCN, NOEL, SOC
107 | 24-06282 | 15436692 | 05/07/2024 08:00 | 05/07/2024 10:00 | UNITY: PCB B-1728 | UNITY-PACIFIC SECTION OF UNITY-WEST BURLEY NO 1 138KV LINE
108 | 24-02017 | 15066871 | 05/07/2024 08:00 | 05/07/2024 15:00 | PEARL: PCB A-1192 | PEARL: PCB A-1192 | SOA, NOPE
109 | 24-00758 | 14484222 | 05/07/2024 08:00 | 05/09/2024 15:00 | CENTRAL FERRY: PCB 5391 | CENTRAL FERRY: PCB 5391 | GEN, WOLM
110 | 24-00486 |  | 05/07/2024 08:00 | 05/08/2024 15:00 | HILLTOP: PCB A-1537 INCLUDING 230KV CAP GROUP #1 | HILLTOP: PCB A-1537 INCLUDING 230KV CAP GROUP #1, HILLTOP: PCB A-1537, HILLTOP: 230KV CAP GROUP 1 | RATS, NWACI
111 | 24-03676 | 15115340 | 05/07/2024 08:00 | 05/08/2024 15:00 | WAPA- OLINDA: 500KV NORTH BUS |  | COI
112 | 24-02949 | 15066549 | 05/07/2024 08:00 | 05/09/2024 16:00 | NASELLE: 115KV CAP GROUP 1 SECTIONS 1, 2 & 3 INCLUDING LBD'S B-1718, B-1719, B-1722 AND THE 115KV REACTIVE BUS | NASELLE: 115KV CAP GROUP 1 SECTIONS 1, 2 & 3 INCLUDING LBD'S B-1718, B-1719, B-1722 AND THE 115KV REACTIVE BUS, NASELLE: LBD B-1718, NASELLE: LBD B-1719, NASELLE: LBD B-1722
113 | 24-01888 | 14799711 | 05/07/2024 08:00 | 05/07/2024 15:00 | SATSOP: GRAYS HARBOR NO.1 230KV LINE INCLUDING PCB A-678 AND PCB A-681 | SATSOP: GRAYS HARBOR NO.1 230KV LINE INCLUDING PCB A-678 AND PCB A-681 | PA
114 | 24-04482 | 15329631 | 05/07/2024 08:00 | 05/08/2024 16:00 | COLUMBIA FALLS: 115kV CAP GROUP 1 SECTION 2 RELAYS | COLUMBIA FALLS: PCB B-1049, COLUMBIA FALLS: 115kV CAP GROUP 1 SECTION 2 RELAYS, COLUMBIA FALLS: 115KV CAP GROUP 1 SECTION 2 | FLAT
115 | 24-06283 | 15436696 | 05/07/2024 10:00 | 05/07/2024 11:00 | UNITY: PCB B-1750 | UNITY-HEYBURN NO 1 138KV LINE
116 | 24-06285 | 15436821 | 05/07/2024 11:00 | 05/07/2024 12:00 | UNITY: PCB B-1765 | EAST HILLS-UNITY SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE
117 | 24-04715 | 15239824 | 05/08/2024 07:00 | 05/08/2024 09:30 | SHELTON: PCB A-79 | SHELTON: PCB A-79 | RP
118 | 24-02731 | 15066855 | 05/08/2024 07:00 | 05/08/2024 16:00 | OLYMPIA: 115KV WEST MAIN BUS AND 115 KV WEST AUX BUS INCLUDING PCB B-686 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, OLYMPIA: 115KV WEST MAIN BUS AND 115 KV WEST AUX BUS INCLUDING PCB B-686, OLYMPIA-SHELTON NO 1 115KV LINE, OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: PCB B-690, OLYMPIA: PCB B-688, OLYMPIA: PCB B-682, OLYMPIA: PCB B-652 | LOAD, SI, RP, WOCN
119 | 24-04834 | 15278955 | 05/08/2024 07:30 | 05/09/2024 15:00 | PORT ANGELES: 115KV LBD B-645 INCLUDING 115KV CAP GROUP 1 SECTION 2 | PORT ANGELES: 115KV LBD B-645 INCLUDING 115KV CAP GROUP 1 SECTION 2, PORT ANGELES: LBD B-645, PORT ANGELES: 115KV CAP GROUP 1 SECTION 2 | WOCN
120 | 24-01077 | 14694572 | 05/08/2024 08:00 | 05/09/2024 17:00 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 5367 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 5367 | NWACI, COI, WOJD
121 | 24-01096 | 14695438 | 05/08/2024 08:00 | 05/09/2024 15:00 | KNIGHT: PCB 5492 | KNIGHT: PCB 5492 | WOCS, WOJD, WOCN
122 | 24-03909 | 15149177 | 05/08/2024 08:00 | 05/09/2024 15:00 | MCNARY: PCB 5214 | MCNARY: PCB 5214 | WOM, NWACI
123 | 24-04795 | 15239887 | 05/08/2024 10:00 | 05/08/2024 14:30 | SHELTON: PCB A-976 | SHELTON: PCB A-976 | RP
124 | 24-03490 | 15121209 | 05/08/2024 10:00 | 05/08/2024 11:00 | CHIEF JOSEPH: SNOHOMISH 3 230KV LINE MWTT CKT 7001 | CHIEF JOSEPH: SNOHOMISH 3 230KV LINE MWTT CKT 7001, CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: PCB A-586, CHIEF JOSEPH: 13.8KV PCB L-126, SNOHOMISH: PCB A-190, SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
125 | 24-03492 | 15121195 | 05/08/2024 11:00 | 05/08/2024 12:00 | CHIEF JOSEPH: SNOHOMISH 4 345KV LINE MWTT CKT 7354 | CHIEF JOSEPH: SNOHOMISH 4 345KV LINE MWTT CKT 7354, SNOHOMISH: 345/230KV TRANSFORMER 6, CHIEF JOSEPH: 345/230KV TRANSFORMER 2, CHIEF JOSEPH: PCB A-600, SNOHOMISH: PCB A-194, CHIEF JOSEPH-SNOHOMISH NO 4 345KV LINE | NOEL, SOC, WOCN, GEN, IROL, NOH, FCRPS, NI
126 | 24-04555 | 15211414 | 05/08/2024 12:00 | 05/08/2024 12:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE | THE DALLES PH-BIG EDDY NO 1 115KV LINE, THE DALLES PH: 115/13.8KV TRANSFORMER T1, THE DALLES PH: 115/13.8KV TRANSFORMER TA | GEN, SOA, FCRPS, NOPE
127 | 24-04556 | 15212384 | 05/08/2024 13:00 | 05/08/2024 13:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6 | GEN, FCRPS
128 | 24-02698 | 15022730 | 05/09/2024 07:00 | 05/09/2024 15:00 | OLYMPIA: 230KV WEST AUX BUS | OLYMPIA: PCB A-216, OLYMPIA: 230KV WEST AUX BUS | NOEL, RP, SOC, WOCN
129 | 24-04374 | 15199123 | 05/09/2024 08:00 | 05/10/2024 15:00 | WHITE BLUFFS: PCBs B-247 & B-215 | WHITE BLUFFS: PCB B-247, WHITE BLUFFS: PCBs B-247 & B-215, WHITE BLUFFS: PCB B-215, WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE, WHTIE BLUFFS: RICHLAND #1 MWTT SET 1 CKT 7040, WHITE BLUFFS: 115KV AUX BUS | TCLA
130 | 22-01237 | 12879339 | 05/09/2024 08:00 | 05/09/2024 16:00 | GRIZZLY: 500KV SOUTH BUS INCLUDING PCB 4720, 500KV REACTOR 2 | GRIZZLY: 500KV SOUTH BUS, GRIZZLY: 500KV SOUTH BUS INCLUDING PCB 4720, 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4222, GRIZZLY: 500KV REACTOR 1 | NWACI, COI, PDCI
131 | 24-04459 | 15199986 | 05/09/2024 08:00 | 05/17/2024 18:00 | SCL - BOTHELL: 240/120KV BANK 61 & PCB 120-1 | SCL - BOTHELL: 240/120KV BANK 61 & PCB 120-1 | SOC, NOEL
132 | 24-06299 | 15436963 | 05/09/2024 08:00 | 05/09/2024 10:00 | UNITY: PCB B-1728 | UNITY-PACIFIC SECTION OF UNITY-WEST BURLEY NO 1 138KV LINE
133 | 24-04232 | 15190907 | 05/09/2024 08:00 | 05/10/2024 15:00 | RICHLAND: PCB B-502 AND B-312 | RICHLAND: PCB B-502 AND B-312, RICHLAND: PCB B-312, RICHLAND: PCB B-502, FIRST STREET-STEVENS DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA
134 | 24-06800 |  | 05/09/2024 08:00 | 05/09/2024 15:00 | FRANKLIN: 115KV REACTIVE BUS INCLUDING PCBS B-2112, B-2113, B-2114, 115KV CAP GROUP 1 SECTIONS 1 AND 2 | FRANKLIN: PCB B-2112, FRANKLIN: PCB B-2113, FRANKLIN: PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA
135 | 24-01520 | 14799530 | 05/09/2024 08:00 | 05/09/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
136 | 24-01521 | 14799539 | 05/09/2024 09:00 | 05/09/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
137 | 24-06300 | 15443196 | 05/09/2024 10:00 | 05/09/2024 11:00 | UNITY: PCB B-1750 | UNITY-HEYBURN NO 1 138KV LINE
138 | 24-01522 | 14799546 | 05/09/2024 10:00 | 05/09/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
139 | 24-06301 | 15437096 | 05/09/2024 11:00 | 05/09/2024 12:00 | UNITY: PCB B-1765 | EAST HILLS-UNITY SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE
140 | 24-03016 | 15078991 | 05/09/2024 11:00 | 05/09/2024 12:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
141 | 24-02657 | 15038999 | 05/10/2024 07:00 | 05/10/2024 15:00 | OLYMPIA: 230KV WEST MAIN BUS INCLUDING PCB A-220 AND CHEHALIS-OLYMPIA NO.1 230KV LINE | OLYMPIA-SHELTON NO 4 230KV LINE, OLYMPIA: 230KV WEST MAIN BUS INCLUDING PCB A-220 AND CHEHALIS-OLYMPIA NO.1 230KV LINE, OLYMPIA: 230KV CAP GROUP 2 SECTION 2, OLYMPIA: 230KV CAP GROUP 2 SECTION 1, OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: 230KV WEST MAIN BUS, OLYMPIA-SATSOP NO 2 230KV LINE, CHEHALIS-OLYMPIA NO 1 230KV LINE, OLYMPIA: PCB A-216 | LOAD, SOA, NOPE, NOEL, SOC, WOCN, RP, SI
142 | 23-17252 | 15358799 | 05/10/2024 08:00 | 05/10/2024 16:00 | CARLTON: 230KV M/B INCUDING THE CARL-PGE SHERWOOD #1 230KV LINE | CARLTON-TILLAMOOK NO 1 230KV LINE, CARLTON: 230KV M/B INCUDING THE CARL-PGE SHERWOOD #1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2, CARLTON: 230/115KV TRANSFORMER 1, CARLTON: PCB A-315, CARLTON: PCB A-318, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CASCADE STEEL TAP TO CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON: 230KV MAIN BUS, CARLTON-SHERWOOD NO 1 230KV LINE | LOAD, SOA, NOPE, NWACI
143 | 24-02687 | 15023881 | 05/10/2024 15:01 | 08/26/2024 16:00 | OLYMPIA: CHEHALIS-OLYMPIA NO 1 LINE INCLUDING PCB A-220 | OLYMPIA: CHEHALIS-OLYMPIA NO 1 LINE INCLUDING PCB A-220, CHEHALIS-OLYMPIA NO 1 230KV LINE, OLYMPIA: PCB A-220 | RP, LOAD, NOEL, SOC, WOCN
144 | 23-01561 | 12689661 | 05/10/2024 16:00 | 07/08/2024 16:00 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: MOD 4719 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: MOD 4719 | COI, PDCI, NWACI
145 | 24-00107 | 13115234 | 05/11/2024 08:00 | 05/24/2024 17:00 | SUMMER LAKE: 4953/4956 TERMINAL OF, HEMINGWAY-SUMMER LAKE NO 1 500KV LINE | SUMMER LAKE: 4953/4956 TERMINAL OF, SUMMER LAKE: PCB 4957, HEMINGWAY-SUMMER LAKE NO 1 500KV LINE, SUMMER LAKE: PCB 4958 | ID-NW, NWACI, SIG
146 | 24-02312 | 14893154 | 05/13/2024 07:00 | 05/16/2024 17:00 | ALLSTON: PCB B-1901 | ALLSTON: PCB B-1901
147 | 24-04261 | 15205365 | 05/13/2024 07:00 | 05/13/2024 16:00 | OLYMPIA: 230KV CAP GROUP 2 SECTIONS 1 & 2 INCLUDING LBD A-223 & LBD A-225 | OLYMPIA: 230KV CAP GROUP 2 SECTIONS 1 & 2 INCLUDING LBD A-223 & LBD A-225, OLYMPIA: 230KV CAP GROUP 2 SECTION 1, OLYMPIA: 230KV CAP GROUP 2 SECTION 2, OLYMPIA: LBD A-223, OLYMPIA: LBD A-225, OLYMPIA: PCB A-210 | NOEL, SOC, WOCN, RP
148 | 23-01675 | 12841272 | 05/13/2024 07:00 | 05/16/2024 16:00 | ROSS: 230/115KV TRANSFORMER 1 | ROSS: 230/115KV TRANSFORMER 1, ROSS: PCB A-26, ROSS: PCB B-2, ROSS: 13.2KV PCB L-25 | LOAD, SOA, NOPE
149 | 24-00719 | 14406432 | 05/13/2024 07:00 | 05/16/2024 15:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 1, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3, COVINGTON: 230KV REACTIVE GROUP 1 REACTOR 1, COVINGTON: PCB A-999, COVINGTON: PCB A-1005, COVINGTON: PCB A-1007, COVINGTON: PCB A-1003, COVINGTON: PCB A-1004 | NOEL, SOC, WOCN, LOAD, RP
150 | 24-02066 | 14854306 | 05/13/2024 07:30 | 05/17/2024 16:00 | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE, CHIEF JOSEPH: PCB A-578 | GEN, NOH, FCRPS, WOCN
151 | 24-04317 | 15205340 | 05/13/2024 08:00 | 05/16/2024 16:30 | BETTAS ROAD: A-3041, A-3042 AND PRIMARY STATION SERVICE PANEL PDP MAIN ACB TERMINALS OF THE COVINGTON-BETTAS ROAD NO 1 230KV LINE | BETTAS ROAD: PCB A-3043, BETTAS ROAD: A-3041, A-3042 AND PRIMARY STATION SERVICE PANEL PDP MAIN ACB TERMINALS OF THE COVINGTON-BETTAS ROAD NO 1 230KV LINE , BETTAS ROAD: PCB A-3040 | NOEL, SOC, WOCN
152 | 24-04181 | 15190753 | 05/13/2024 08:00 | 05/16/2024 16:30 | COVINGTON-BETTAS ROAD NO 1 230KV LINE | COVINGTON-BETTAS ROAD NO 1 230KV LINE | NOEL, SOC, WOCN, IROL, SOA, NOPE
153 | 24-00462 | 14189198 | 05/13/2024 08:00 | 05/16/2024 15:00 | GRIZZLY: PCB 4046 | GRIZZLY: PCB 4046 | NWACI, WOJD, COI, GRZN
154 | 24-03911 | 15161444 | 05/13/2024 08:00 | 05/14/2024 15:00 | MCNARY: PCB 5217 | MCNARY: PCB 5217 | WOCS, WOJD, WOM, NWACI
155 | 24-03639 | 15113891 | 05/13/2024 08:00 | 05/13/2024 09:00 | CAPTAIN JACK: PCB 4977, CAPTAIN JACK: PCB 4980 | CAPTAIN JACK: PCB 4977, CAPTAIN JACK: PCB 4980 | NWACI, COI
156 | 24-00980 | 15030112 | 05/13/2024 08:00 | 05/17/2024 15:00 | MALIN: PCB 4582 | MALIN: PCB 4582 | NWACI, COI
157 | 24-00713 | 14407878 | 05/13/2024 08:00 | 05/16/2024 17:00 | SCHULTZ: PCB 5182 | SCHULTZ: PCB 5182 | WOCN
158 | 24-00759 | 14484240 | 05/13/2024 08:00 | 05/15/2024 15:00 | CENTRAL FERRY: PCB 5415 | CENTRAL FERRY: PCB 5415 | WOH, WOLM
159 | 24-01416 | 14974054 | 05/13/2024 08:00 | 05/13/2024 15:00 | LEBANON: 115KV MAIN BUS INCLUDING PCB'S B-848, B-850, B-1950, B-1951 AND THE 115KV CAP GROUP NO 1 | LEBANON: 115KV MAIN BUS INCLUDING PCB'S B-848, B-850, B-1950, B-1951 AND THE 115KV CAP GROUP NO 1, LEBANON: 115KV CAP GROUP 1, LEBANON: PCB B-1950, LEBANON: PCB B-1951, LEBANON: PCB B-850, LEBANON: PCB B-848, FOSTER TAP-LEBANON SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE | SLAL
160 | 24-02355 | 14895450 | 05/13/2024 08:00 | 05/16/2024 15:00 | KEELER-ALLSTON NO 1 500KV LINE INCLUDING ALLSTON: PCB'S 4502 & 4504 | KEELER: PCB 4394, KEELER-ALLSTON NO 1 500KV LINE INCLUDING ALLSTON: PCB'S 4502 & 4504, KEELER: PCB 4324, ALLSTON: PCB 4502, ALLSTON: PCB 4504, KEELER-ALLSTON NO 1 500KV LINE | SOA, NOPE, SIG, WOCS
161 | 24-01097 | 14695445 | 05/13/2024 08:00 | 05/14/2024 15:00 | KNIGHT: PCB 5489 | KNIGHT: PCB 5489 | WOCS, WOJD, WOCN
162 | 24-03636 | 15113781 | 05/13/2024 08:00 | 05/17/2024 15:00 | CAPTAIN JACK: 4974/4975 TERMINAL OF CAPTAIN JACK-OLINDA 1 500KV LINE | CAPTAIN JACK: 4974/4975 TERMINAL OF CAPTAIN JACK-OLINDA 1 500KV LINE, CAPTAIN JACK-OLINDA NO 1 500KV LINE | BCHT, BCHW, COI, NI, NWACI
163 | 24-06430 | 15470826 | 05/13/2024 09:00 | 05/27/2024 15:00 | SOUTH TACOMA: A-1099/A-1100 TERMINAL OF FREDERICKSON-SOUTH TACOMA 1 230KV LINE (GROUNDED) | FREDERICKSON-SOUTH TACOMA NO 1 230KV LINE | GEN
164 | 24-04557 | 15212400 | 05/13/2024 16:30 | 05/13/2024 17:00 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6 | GEN, FCRPS
165 | 24-01065 | 14558458 | 05/14/2024 06:00 | 05/14/2024 17:00 | -USBR- GRAND COULEE: PCB'S 6382 AND 6782 | GRAND COULEE: PCB 6382, -USBR- GRAND COULEE: PCB'S 6382 AND 6782, GRAND COULEE: PCB 6782 | NOH, WOCN
166 | 24-01334 | 14736574 | 05/14/2024 07:00 | 05/14/2024 17:30 | ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1 | ALVEY: PCB A-247, ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1, ALVEY: PCB A-332, ALVEY: PCB A-246, ALVEY: PCB A-242, ALVEY: PCB A-241, ALVEY: PCB A-236, ALVEY: PCB A-476, SANTIAM-ALVEY NO 1&2 230KV LINE, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: 230KV REACTOR 1, ALVEY: 230KV SOUTH MAIN BUS | EWEB, NWACI, SLAL, SCORC, PDCI
167 | 24-00553 | 14285204 | 05/14/2024 08:00 | 05/14/2024 15:00 | TACOMA: 230KV CAP GROUP 3 SECTIONS 1 & 2, INCLUDING 230KV REACTIVE BUS & LBD'S A-1078, A-1079 | TACOMA: LBD A-1078, TACOMA: 230KV CAP GROUP 3 SECTIONS 1 & 2, INCLUDING 230KV REACTIVE BUS & LBD'S A-1078, A-1079, TACOMA: LBD A-1079, TACOMA: 230KV CAP GROUP 3 SECTION 2, TACOMA: 230KV REACTIVE BUS, TACOMA: 230KV CAP GROUP 3 SECTION 1 | NOEL, RP, SOC, WOCN
168 | 24-04022 | 15170135 | 05/14/2024 08:00 | 05/15/2024 16:00 | QUENETT CREEK: PCB'S A-1914 AND A-1911 | QUENETT CREEK: PCB A-1914, QUENETT CREEK: PCB'S A-1914 AND A-1911, QUENETT CREEK: PCB A-1911, QUENETT CREEK: TAYLOR LAKE 230KV FEEDER #2
169 | 24-00720 | 14524877 | 05/15/2024 07:00 | 05/15/2024 15:00 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104, MAPLE VALLEY: LBD A-1101, MAPLE VALLEY: LBD A-1102, MAPLE VALLEY: LBD A-1103, MAPLE VALLEY: LBD A-1104, MAPLE VALLEY: PCB A-1146, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4 | NOEL, SOC, WOCN, NI
170 | 24-01427 | 15306693 | 05/15/2024 08:00 | 05/15/2024 15:00 | GREEN PETER: PCB B-1342 | GREEN PETER: PCB B-1342, GREEN PETER-FOSTER TAP SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE
171 | 24-01349 | 14744004 | 05/16/2024 07:00 | 05/16/2024 11:00 | BELL: PCB 5301 | BELL: PCB 5301 | MT-NW, WOH
172 | 24-02386 | 14901390 | 05/16/2024 08:00 | 05/23/2024 16:00 | CALPINE: PCB 52-3 BFR | CALPINE: PCB 52-3 BFR, CALPINE: PCB 52-3
173 | 24-02385 | 14901395 | 05/16/2024 08:00 | 05/23/2024 16:00 | CALPINE: PCB 52-4 BFR | CALPINE: PCB 52-4 BFR, CALPINE: PCB 52-4 | GEN
174 | 24-00768 | 14530849 | 05/16/2024 08:00 | 05/16/2024 13:00 | RAVER: 500KV CAP GROUP 1 SECTIONS 1, 2, 3 INCLUDING PCB'S 4917, 4919, 4722 AND CAP GROUP 1 REACTIVE BUS | RAVER: PCB 4919, RAVER: 500KV CAP GROUP 1 SECTIONS 1, 2, 3 INCLUDING PCB'S 4917, 4919, 4722 AND CAP GROUP 1 REACTIVE BUS, RAVER: PCB 4917, RAVER: PCB 4722, RAVER: 500KV CAP GROUP 1 SECTION 1, RAVER: 500KV CAP GROUP 1 SECTION 2, RAVER: 500KV CAP GROUP 1 SECTION 3 | NOEL, RP, SOC, IROL, WOCN
175 | 24-01411 | 14757246 | 05/16/2024 08:30 | 05/16/2024 15:00 | LITTLE GOOSE: PCB 4630 | LITTLE GOOSE: PCB 4630 | WOLM
176 | 24-01350 | 14744034 | 05/16/2024 12:00 | 05/16/2024 15:00 | BELL: PCB 5304 | BELL: PCB 5304 | MT-NW, WOH
177 | 24-06514 | 14833080 | 05/17/2024 07:00 | 05/28/2024 17:30 | PGE - HORIZON-ST MARYS-TROJAN 230KV LINE |  | SOA
178 | 24-00173 | 14798791 | 05/17/2024 08:00 | 05/31/2024 16:00 | KEELER-FOREST GROVE NO 1 115KV LINE | KEELER-FOREST GROVE NO 1 115KV LINE | LOAD, SOA, NOPE
179 | 24-00174 | 14798799 | 05/17/2024 08:00 | 05/31/2024 16:00 | KEELER-FOREST GROVE NO 2 115KV LINE |  | LOAD, SOA, NOPE
180 | 24-00769 | 14531145 | 05/17/2024 08:00 | 05/17/2024 10:00 | ECHO LAKE: 500KV CAP GROUP 1, INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GROUP 1, ECHO LAKE: PCB 5125, INCLUDING PCB 5125 | IROL, NOEL, SOC, WOCN, NI, BCHT, BCHW
181 | 24-06553 |  | 05/17/2024 08:00 | 05/28/2024 15:00 | -PGE- HORIZON-ST MARYS-TROJAN 230KV LINE
182 | 24-00771 | 14531111 | 05/17/2024 10:00 | 05/17/2024 12:00 | ECHO LAKE: 500KV CAP GROUP 2, INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GROUP 2, ECHO LAKE: PCB 5127, INCLUDING PCB 5127 | BCHW, IROL, WOCN, NI, NOEL, SOC, BCHT
183 | 24-03640 | 15113937 | 05/17/2024 14:00 | 05/17/2024 15:00 | CAPTAIN JACK: PCB 4977, CAPTAIN JACK: PCB 4980 | CAPTAIN JACK: PCB 4977, CAPTAIN JACK: PCB 4980 | NWACI, COI
184 | 24-04461 | 15200011 | 05/18/2024 08:00 | 05/24/2024 18:00 | SCL - BOTHELL: 240/120KV BANK 62 & PCB 120-1 | SCL - BOTHELL: 240/120KV BANK 62 & PCB 120-1 | SOC, NOEL
185 | 24-04174 | 15238313 | 05/18/2024 09:00 | 05/19/2024 19:30 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP | SCHULTZ-WAUTOMA NO 1 500KV LINE, WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
186 | 24-06942 | 15234111 | 05/19/2024 07:00 | 05/20/2024 17:00 | PG&E - ROUND MOUNTAIN: 500KV BUS 1 (FORCES OUT MALIN-ROUND MOUNTAIN 1 500KV LINE) | MALIN-ROUND MOUNTAIN NO 1 500KV LINE | BCHT, BCHW, NI, COI
187 | 23-01364 | 12672586 | 05/20/2024 06:30 | 05/30/2024 12:30 | THE DALLES PH: 230/13.2KV BANK 4 | THE DALLES PH: 230/13.2KV BANK 4
188 | 24-00372 | 14074926 | 05/20/2024 06:30 | 05/20/2024 07:00 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, BIG EDDY: PCB A-812 | GEN, FCRPS, PDCI, WOJD, BGEDY
189 | 24-06366 | 15410424 | 05/20/2024 07:00 | 05/20/2024 17:00 | WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE INCLUDING WHITE BLUFFS 115KV AUX BUS AND PCB B-247 | WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE, WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS: PCB B-247 | TCLA
190 | 24-02167 | 14881033 | 05/20/2024 07:00 | 05/21/2024 17:00 | ALLSTON: PCB 4502 | ALLSTON: PCB 4502 | SOA, NOPE
191 | 24-04840 | 15246129 | 05/20/2024 07:00 | 05/21/2024 16:00 | SLATT: PCB A-1791 | SLATT: PCB A-1791 | WOJD, NWACI
192 | 24-01049 | 14694071 | 05/20/2024 07:00 | 05/23/2024 16:30 | ALVEY: 500/230KV TRANSFORMER 5, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | ALVEY: 500/230KV TRANSFORMER 5, ALVEY 500/230KV TIE LINE NO 1 500KV LINE, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | NWACI, COI, SCORC
193 | 24-05957 |  | 05/20/2024 07:00 | 07/02/2024 16:00 | GRAND COULEE-NILLES CORNER SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE |  | OKLA
194 | 24-06060 | 15376928 | 05/20/2024 07:00 | 05/20/2024 16:00 | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING SPIRIT: B-483 LINE SECTIONALIZING DISCONNECT | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE, COLVILLE: PCB B-1766 | SOB
195 | 24-02286 | 14908109 | 05/20/2024 07:30 | 05/23/2024 16:30 | CHIEF JOSEPH: PCB A-598 | CHIEF JOSEPH: PCB A-598
196 | 24-00762 | 14531190 | 05/20/2024 08:00 | 05/21/2024 15:00 | CENTRAL FERRY: PCB A-1766 | CENTRAL FERRY: PCB A-1766
197 | 24-05459 | 15315320 | 05/20/2024 08:00 | 05/20/2024 15:00 | COSMOPOLIS: PCB B-1330 | COSMOPOLIS: PCB B-1330, RAYMOND-COSMOPOLIS NO 1 115KV LINE | LOAD
198 | 24-01029 | 14537876 | 05/20/2024 08:00 | 05/23/2024 18:00 | BIG EDDY-QUENETT CREEK NO 1 230KV LINE | BIG EDDY-QUENETT CREEK NO 1 230KV LINE, BIG EDDY: PCB A-1310, QUENETT CREEK: PCB A-1921, QUENETT CREEK: PCB A-1924 | GEN, BGEDY, COI, NWACI, PDCI, WOJD, TCLA
199 | 24-00978 | 14881103 | 05/20/2024 08:00 | 05/22/2024 15:00 | MALIN: PCB 4072 |  | NWACI, COI
200 | 24-04170 |  | 05/20/2024 08:00 | 05/21/2024 18:00 | WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS | SCHULTZ-WAUTOMA NO 1 500KV LINE, WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
201 | 24-02014 | 15225979 | 05/20/2024 08:00 | 05/21/2024 15:00 | PEARL: PCB 5455 BFR | PEARL: PCB 5455 BFR, PEARL: PCB 5455 | SOA, NOPE
202 | 24-04509 | 15320497 | 05/20/2024 08:00 | 05/21/2024 16:00 | KALISPELL: PCB B-1297 115KV CAP GROUP 1 SECTION 1 RELAYS | KALISPELL: PCB B-1297 115KV CAP GROUP 1 SECTION 1 RELAYS, KALISPELL: 115KV CAP GROUP 1 SECTION 1, KALISPELL: PCB B-1297 | FLAT
203 | 24-06372 | 15409864 | 05/20/2024 08:00 | 05/23/2024 15:00 | -CPUD- SOUTH KELSO SUBSTATION | EAST KELSO-SOUTH KELSO 115KV LINE, SOUTH KELSO-CARROLLS SECTION OF SOUTH KELSO-CARDWELL 115KV LINE, SOUTH KELSO: PCB 115SK3, SOUTH KELSO: PCB 115SK1 | LOAD
204 | 23-00038 | 10044832 | 05/20/2024 08:00 | 05/23/2024 17:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | PILOT BUTTE-LAPINE NO 1 230KV LINE, LAPINE: PCB A-1552 | COR, NWACI
205 | 24-00714 | 14531183 | 05/20/2024 08:00 | 05/20/2024 17:00 | SCHULTZ: 500KV REACTOR 1, INCLUDING PCB 5106 | SCHULTZ: 500KV REACTOR 1, SCHULTZ: PCB 5106, INCLUDING PCB 5106 | WOCN
206 | 24-02550 | 14973685 | 05/20/2024 08:00 | 05/20/2024 15:00 | BELL: PCB 5304 | BELL: PCB 5304 | MT-NW, WOH
207 | 24-02343 | 14973991 | 05/20/2024 08:00 | 05/24/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
208 | 24-02149 | 14887499 | 05/20/2024 08:30 | 05/20/2024 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING BAKEOVEN: 500KV SERIES CAP GROUP 1 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1 | NWACI, WOJD, PDCI, BCHT, BCHW, NI, SIG, GRZN
209 | 24-05915 | 15371404 | 05/20/2024 09:00 | 05/30/2024 15:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 INCLUDING PCB B-2038 | TUCANNON RIVER: PCB B-2038, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1
210 | 24-00902 | 14490537 | 05/21/2024 06:30 | 05/24/2024 19:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2 INCLUDING PCB'S 6382 AND 6486 AND THE ROCKY FORD-GRAND COULEE NO 1 230KV LINE | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2 INCLUDING PCB'S 6382 AND 6486 AND THE ROCKY FORD-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: 230KV AUX BUS SECTION 2, GRAND COULEE: PCB 6382, GRAND COULEE: PCB 6486, ROCKY FORD-GRAND COULEE NO 1 230KV LINE | NOH, WOCN
211 | 24-00931 |  | 05/21/2024 06:30 | 05/24/2024 19:00 | WESTSIDE: R-634 AND R-534 TERMINALS OF THE GRAND COULEE-AVA WESTSIDE NO 1 230KV LINE | WESTSIDE: R-634 AND R-534 TERMINALS OF THE GRAND COULEE-AVA WESTSIDE NO 1 230KV LINE
212 | 24-06373 | 15410191 | 05/21/2024 07:00 | 05/21/2024 17:00 | WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE INCLUDING WHITE BLUFFS: 115KV MAIN BUS SECTION 1 AND PCB B-247 | WHITE BLUFFS: 115KV MAIN BUS SECTION 1, WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE, WHITE BLUFFS: PCB B-247 | GEN, TCLA, LOAD
213 | 24-02203 | 14881178 | 05/21/2024 07:00 | 05/22/2024 15:00 | MONROE: PCB 5050 | MONROE: PCB 5050 | BCHT, BCHW, NOEL, SOC, WOCN, NI
214 | 24-00715 | 14531222 | 05/21/2024 08:00 | 05/21/2024 17:00 | SCHULTZ: ECHO LAKE 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5142 | SCHULTZ: ECHO LAKE 1 500KV LINE SERIES CAP GROUP 1, SCHULTZ: PCB 5142, INCLUDING PCB 5142 | IROL, NOEL, SOC, WOCN
215 | 24-03678 | 15115397 | 05/21/2024 08:00 | 05/24/2024 15:00 | WAPA- OLINDA: 500KV SOUTH BUS | WAPA- OLINDA: 500KV SOUTH BUS | COI
216 | 24-04963 | 15370242 | 05/21/2024 08:00 | 05/21/2024 16:00 | HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING THE B-975 LINE SECTIONALIZING DISCONNECT | HARRISBURG: B-975 LSD, HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE
217 | 24-06110 | 15377027 | 05/21/2024 08:00 | 05/21/2024 15:00 | SPIRIT-BOX CANYON SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING SPIRIT: B-481 LINE SECTIONALIZING DISCONNECT | SPIRIT-BOX CANYON SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
218 | 24-05872 | 15364857 | 05/22/2024 06:30 | 05/22/2024 17:00 | GRAND COULEE: PCB 5582, GRAND COULEE: PCB 7382
219 | 24-02170 | 14881053 | 05/22/2024 07:00 | 05/23/2024 17:00 | ALLSTON: PCB 4690 | ALLSTON: PCB 4690 | SOA, NOPE
220 | 24-01257 | 14944399 | 05/22/2024 07:00 | 05/23/2024 12:00 | MONROE: 500KV CAP GROUP 4 INCLUDING PCB 4508, PCB 4513, PCB 4516, AND 4508 BFR | MONROE: 500KV CAP GROUP 4 INCLUDING PCB 4508, PCB 4513, PCB 4516, AND 4508 BFR, MONROE: PCB 4508, MONROE: PCB 4516, MONROE: PCB 4513 | NOEL, STCON, WOCS, BCHT, BCHW, SOC, NI, WOCN
221 | 24-04777 | 15245808 | 05/22/2024 07:00 | 05/23/2024 16:00 | MORROW FLAT: PCB A-1854 | MORROW FLAT: PCB A-1854 | WOM
222 | 24-06147 | 15376981 | 05/22/2024 07:29 | 06/04/2024 16:01 | -MITIGATION-, BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | RED MOUNTAIN: PCB B-1974, RED MOUNTAIN: PCB B-1978 | GEN, TCLA, LOAD
223 | 24-01278 | 14855520 | 05/22/2024 07:30 | 05/22/2024 15:00 | FRANKLIN: PCB B-1524 INCLUDING THE 115KV AUX BUS AND THE FRANKLIN-HEDGES NO 1 115KV LINE | FRANKLIN: 115KV AUX BUS, FRANKLIN: PCB B-1524 INCLUDING THE 115KV AUX BUS AND THE FRANKLIN-HEDGES NO 1 115KV LINE , FRANKLIN-HEDGES NO 1 115KV LINE, FRANKLIN: PCB B-1524, HEDGES TAP TO FRANKLIN-BADGER CANYON NO 2 115KV LINE | TCLA
224 | 24-05988 | 15365392 | 05/22/2024 07:30 | 05/22/2024 16:00 | RAINIER-ALLSTON SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE |  | SOA, NOPE
225 | 24-02015 | 15225992 | 05/22/2024 08:00 | 05/23/2024 11:30 | PEARL: PCB 5452 BFR | PEARL: PCB 5452 BFR, PEARL: PCB 5452 | SOA, NOPE
226 | 24-06115 |  | 05/22/2024 08:00 | 05/22/2024 16:00 | SPIRIT-METALINE FALLS SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOX CANYON TAP | BOX CANYON-METALINE FALLS SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE, SPIRIT-BOX CANYON SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
227 | 24-05412 | 15417525 | 05/22/2024 08:00 | 05/22/2024 15:00 | FOSSIL: PCB B-1370 | CONDON-FOSSIL SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE, FOSSIL: 115/69KV TRANSFORMER 1 | BGEDY
228 | 24-00763 | 14531243 | 05/22/2024 08:00 | 05/23/2024 15:00 | CENTRAL FERRY: PCB A-1762 | CENTRAL FERRY: PCB A-1762
229 | 24-01237 | 14840761 | 05/22/2024 08:00 | 05/22/2024 12:00 | LOWER MONUMENTAL: PCB 4247 | LOWER MONUMENTAL: PCB 4247 | WOLM
230 | 24-00610 | 14361230 | 05/22/2024 08:00 | 05/22/2024 15:00 | BENTON: 115KV CAP GROUP 1 INCLUDING PCB B-523 | BENTON: 115KV CAP GROUP 1 INCLUDING PCB B-523, BENTON: 115KV CAP GROUP 1 | TCLA
231 | 24-00716 | 14531231 | 05/22/2024 08:00 | 05/22/2024 17:00 | SCHULTZ: RAVER 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5163 | SCHULTZ: RAVER 1 500KV LINE SERIES CAP GROUP 1, SCHULTZ: PCB 5163, INCLUDING PCB 5163 | IROL, NOEL, NWACI, SOC, WOCN, SIG
232 | 24-02074 | 14840775 | 05/22/2024 12:00 | 05/22/2024 15:00 | LOWER MONUMENTAL: PCB 4251 | LOWER MONUMENTAL: PCB 4251 | WOLM
233 | 24-01277 | 14855019 | 05/23/2024 07:30 | 05/23/2024 15:00 | FRANKLIN: PCB B-616 INCLUDING THE 115 KV AUX BUS AND THE B-616 MAIN BUS DISCONNECT | FRANKLIN: 115KV AUX BUS, FRANKLIN: PCB B-616 INCLUDING THE 115 KV AUX BUS AND THE B-616 MAIN BUS DISCONNECT, FRANKLIN: PCB B-616
234 | 24-00816 | 14484310 | 05/23/2024 08:00 | 05/23/2024 11:00 | LITTLE GOOSE: PCB 4630 | LITTLE GOOSE: PCB 4630 | WOLM
235 | 24-01524 | 14799600 | 05/23/2024 08:00 | 05/23/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
236 | 24-01525 | 14799611 | 05/23/2024 09:00 | 05/23/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
237 | 24-01526 | 14799619 | 05/23/2024 10:00 | 05/23/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
238 | 24-03017 | 15078998 | 05/23/2024 11:00 | 05/23/2024 12:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
239 | 24-00817 | 14484329 | 05/23/2024 11:00 | 05/23/2024 14:00 | LITTLE GOOSE: PCB 4632 | LITTLE GOOSE: PCB 4632 | WOLM
240 | 24-04337 | 15225324 | 05/23/2024 11:30 | 05/23/2024 15:00 | PEARL: PCB 5455 | PEARL: PCB 5455 | SOA, NOPE
241 | 24-04464 | 15200079 | 05/25/2024 08:00 | 05/27/2024 18:00 | SCL - BOTHELL: 240/120KV BANK 63 & PCB 120-1 | SCL - BOTHELL: 240/120KV BANK 63 & PCB 120-1 | SOC, NOEL
242 | 24-05427 |  | 05/27/2024 10:00 | 05/31/2024 14:00 | -PACW- ANTELOPE: CB 167 | -PACW- ANTELOPE: CB 167
243 | 24-04778 | 15272018 | 05/28/2024 07:00 | 05/29/2024 16:00 | MORROW FLAT: PCB A-1857 | MORROW FLAT: PCB A-1857 | WOM
244 | 24-02555 | 14979124 | 05/28/2024 07:00 | 05/30/2024 16:00 | BELL: 500KV REACTOR 1 INCLUDING PCB 4559 | BELL: 500KV REACTOR 1, BELL: 500KV REACTOR 1 INCLUDING PCB 4559, BELL: PCB 4559 | MT-NW, WOH
245 | 24-04615 | 15272446 | 05/28/2024 07:00 | 05/31/2024 17:00 | ROSS-LEXINGTON NO 1 230KV LINE INCLUDING SWIFT TAP | ROSS-LEXINGTON NO 1 230KV LINE INCLUDING SWIFT TAP, LEXINGTON: PCB A-213, ROSS: PCB A-24, ROSS-WOODLAND SECTION OF ROSS-LEXINGTON NO 1 230KV LINE, WOODLAND-LEXINGTON SECTION OF ROSS-LEXINGTON NO 1 230KV LINE, SWIFT 2 (PAC)-WOODLAND TAP 230KV LINE | SOA, LOAD, NOPE, GEN
246 | 24-02204 | 14881192 | 05/28/2024 07:00 | 05/28/2024 15:00 | MONROE: PCB 4672 | MONROE: PCB 4672 | BCHT, BCHW, NOEL, SOC, NI, WOCN
247 | 24-02714 | 14996564 | 05/28/2024 07:00 | 06/13/2024 17:00 | ALLSTON: PCB A-1360 | ALLSTON: PCB A-1360 | SOA, NOPE
248 | 24-05558 | 15336684 | 05/28/2024 08:00 | 05/28/2024 17:00 | FAIRMOUNT-PORT ANGELES NO 1 230KV LINE | FAIRMOUNT-PORT ANGELES NO 1 230KV LINE | RP
249 | 24-02034 | 14936680 | 05/28/2024 08:00 | 05/28/2024 12:00 | QUENETT CREEK: PCB A-1921 | QUENETT CREEK: PCB A-1921
250 | 24-02307 | 14930399 | 05/28/2024 08:00 | 05/29/2024 15:00 | WAUTOMA-ROCK CREEK #1 500 KV LINE INCLUDING ROCK CREEK: PCB'S 5294 AND 5288 | WAUTOMA-ROCK CREEK #1 500 KV LINE INCLUDING ROCK CREEK: PCB'S 5294 AND 5288, ROCK CREEK: MOD 5293, ROCK CREEK: MOD 5287, ROCK CREEK: PCB 5294, ROCK CREEK: PCB 5288, WAUTOMA-ROCK CREEK NO 1 500KV LINE | RKCR, NOH, BCHT, BCHW, NI, SIG, WOJD, WOM
251 | 24-02347 | 14973757 | 05/28/2024 08:00 | 05/30/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
252 | 24-00487 | 14881248 | 05/28/2024 08:00 | 05/30/2024 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN: PCB 4188, MALIN: PCB 4189 | COI, NWACI
253 | 24-01263 | 14751049 | 05/28/2024 08:00 | 05/28/2024 15:00 | WINE COUNTRY: PCB A-1744 | WINE COUNTRY: PCB A-1744 | WOJD, NOH
254 | 24-04411 |  | 05/28/2024 08:00 | 05/30/2024 15:00 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
255 | 24-00825 | 14531366 | 05/28/2024 08:00 | 05/30/2024 15:00 | ALVEY: PCB 5087 CT | ALVEY: PCB 5087 CT, ALVEY: PCB 5087 | NWACI, COI, SCORC
256 | 24-00807 | 14676235 | 05/28/2024 08:00 | 06/06/2024 15:00 | BOARDMAN: PCB B-313 RELAYS | BOARDMAN: PCB B-313 RELAYS, BOARDMAN: PCB B-313
257 | 24-00764 | 14531254 | 05/28/2024 08:00 | 05/30/2024 15:00 | CENTRAL FERRY: PCB 5430, INCLUDING 500KV CAP GROUP 1 | CENTRAL FERRY: PCB 5430, INCLUDING 500KV CAP GROUP 1 | WOH, WOLM
258 | 24-02311 | 14936685 | 05/28/2024 12:01 | 05/28/2024 16:00 | QUENETT CREEK: PCB A-1924 | QUENETT CREEK: PCB A-1924
259 | 24-04968 |  | 05/29/2024 06:30 | 05/29/2024 16:30 | LOOKOUT POINT-DEXTER SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE |  | GEN
260 | 24-05191 |  | 05/29/2024 07:00 | 05/30/2024 14:00 | SWAN VALLEY - GOSHEN #1 161KV LINE INCLUDING SWAN VALLEY 161/115 XFMR #3, PRI S.S. XFMR AND PCB B-1688 | SWAN VALLEY: PCB B-1688, GOSHEN: PCB B-309, SWAN VALLEY: 161/115KV TRANSFORMER 3, SWAN VALLEY-GOSHEN NO 1 161KV LINE | SEIL, GEN, LOAD
261 | 24-02036 | 14813485 | 05/29/2024 07:00 | 05/31/2024 17:30 | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON #1 230KV LINE | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON #1 230KV LINE, KEELER: PCB A-870, KEELER-PGE HORIZON NO 1 230KV LINE | SOA, NOPE
262 | 24-03174 | 15431703 | 05/29/2024 07:00 | 05/30/2024 19:00 | MORROW FLAT-JONES CANYON NO 1 230KV LINE INCLUDING THE BOARDMAN AND THE DALREED TAPS | DALREED: PACIFICORP (PACW) 230KV FEEDER 1, BOARDMAN-DALREED SECTION OF MORROW FLAT-JONES CANYON NO 1 230KV LINE, DALREED-JONES CANYON SECTION OF MORROW FLAT-JONES CANYON NO 1 230KV LINE, MORROW FLAT-BOARDMAN SECTION OF MORROW FLAT-JONES CANYON NO 1 230KV LINE, BOARDMAN TAP TO MORROW FLAT-JONES CANYON NO 1 230KV LINE, DALREED TAP TO MORROW FLAT-JONES CANYON NO 1 230KV LINE | COI, NWACI, PDCI, WOM
263 | 24-02205 | 14881217 | 05/29/2024 07:00 | 05/29/2024 15:00 | MONROE: PCB 4714 | MONROE: PCB 4714 | BCHT, BCHW, NOEL, SOC, NI, WOCN
264 | 24-04843 | 15246134 | 05/29/2024 07:00 | 05/30/2024 16:00 | SLATT: PCB A-1788 | SLATT: PCB A-1788 | WOJD, NWACI
265 | 24-05559 | 15336648 | 05/29/2024 08:00 | 05/30/2024 17:00 | FAIRMOUNT-HAPPY VALLEY SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE | FAIRMOUNT-HAPPY VALLEY SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE | SOA, RP, NOPE
266 | 24-01264 | 14847835 | 05/29/2024 08:00 | 05/29/2024 15:00 | WINE COUNTRY: PCB A-1747 | WINE COUNTRY: PCB A-1747 | WOJD, NOH
267 | 24-04514 | 15320864 | 05/29/2024 08:00 | 05/30/2024 16:00 | KALISPELL: PCB B-1962 115KV CAP GROUP 1 SECTION 2 RELAYS | KALISPELL: PCB B-1962 115KV CAP GROUP 1 SECTION 2 RELAYS, KALISPELL: 115KV CAP GROUP 1 SECTION 2, KALISPELL: PCB B-1962 | FLAT
268 | 24-02112 | 14854291 | 05/29/2024 09:00 | 05/29/2024 12:00 | BIG EDDY-QUENETT CREEK NO 1 230KV LINE | BIG EDDY-QUENETT CREEK NO 1 230KV LINE, QUENETT CREEK: PCB A-1921, QUENETT CREEK: PCB A-1924, BIG EDDY: PCB A-1310 | GEN, BGEDY, COI, NWACI, PDCI, WOJD, TCLA
269 | 24-04639 | 15226670 | 05/29/2024 09:00 | 05/29/2024 09:15 | -PSE- SOUTH BREMERTON: PCB 7124 | SHELTON-SOUTH BREMERTON NO 1 230KV LINE, -PSE- SOUTH BREMERTON: PCB 7124 | LOAD, PA
270 | 24-04844 | 15240710 | 05/30/2024 07:00 | 05/30/2024 17:00 | LAPINE: A-1553 TERMINAL OF THE LAPINE-CHILOQUIN NO1 230KV LINE | LAPINE: A-1553 TERMINAL OF THE LAPINE-CHILOQUIN NO1 230KV LINE, LAPINE: PCB A-1553 | COR, NWACI
271 | 24-01313 | 14760125 | 05/30/2024 08:00 | 05/30/2024 17:00 | JOHN DAY: 500KV WEST BUS INCLUDING PCB 4134 | JOHN DAY: 500KV WEST BUS INCLUDING PCB 4134, JOHN DAY: 500KV WEST BUS, JOHN DAY: PCB 4134 | WOJD, NWACI, PDCI
272 | 24-02280 | 14980130 | 05/30/2024 08:00 | 05/30/2024 17:00 | CHIEF JOSEPH: PCB 4724 | CHIEF JOSEPH: PCB 4724 | NOEL, NOH, SOC, WOCN, NWACI
273 | 24-01262 | 14847859 | 05/30/2024 08:00 | 05/30/2024 15:00 | WINE COUNTRY: PCB A-1741 | WINE COUNTRY: PCB A-1741 | WOJD, NOH
274 | 24-01202 | 14736779 | 05/30/2024 08:00 | 05/30/2024 15:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING WAUTOMA: PCB 5250. | HANFORD-WAUTOMA NO 1 500KV LINE, WAUTOMA: MOD 5251, INCLUDING WAUTOMA: PCB 5250., WAUTOMA: PCB 5250 | NOH, SIG, WOCN
275 | 24-00373 | 14075476 | 05/30/2024 12:00 | 05/30/2024 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, BIG EDDY: PCB A-812 | GEN, FCRPS, PDCI, WOJD, BGEDY
276 | 24-05560 | 15336637 | 05/31/2024 08:00 | 05/31/2024 15:00 | HAPPY VALLEY-PORT ANGELES SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE | HAPPY VALLEY-PORT ANGELES SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE | RP
277 | 24-06162 |  | 05/31/2024 22:00 | 06/01/2024 06:00 | CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE INCLUDING HATTON TAP, SHANO TAP, BLANTON ROAD TAP, CONNELL PCB B-1695 AND 115KV CAP GROUP 1 | CONNELL TAP-HATTON TAP SECTION OF CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, BLANTON ROAD TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, HATTON TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE, SHANO TAP TO CONNELL TAP TO BENTON-SCOOTENEY NO 1 115KV LINE | TCLA