## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
3 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
4 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
5 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
6 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
7 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
8 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
9 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
10 | 24-05901 | 15358908 | 10/01/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | COI
11 | 24-00053 | 15359522 | 10/30/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | COI
12 | 24-02794 |  | 11/25/2024 09:00 | 01/27/2025 14:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: 13.8KV PCB L-126 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: 13.8KV PCB L-126 | NOEL, NOH, SOC, WOCN, FCRPS, NI
13 | 24-00048 | 12888922 | 11/30/2024 20:00 | 12/09/2024 18:00 | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE | PDCI, SIG, PDCI, SIG
14 | 24-03270 | 15226644 | 12/02/2024 07:00 | 12/04/2024 00:00 | FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE | FRANKLIN: PCB B-1528, FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE, ICE HARBOR-FRANKLIN NO 1 115KV LINE | GEN, TCLA
15 | 24-03963 | 15390294 | 12/02/2024 08:00 | 12/05/2024 15:00 | ECHO LAKE: PCB 5114, BFR |  | BCHT, BCHW, NOEL, SOC, WOCN, NI
16 | 24-07351 |  | 12/02/2024 08:00 | 12/05/2024 15:00 | TAFT: PCB 4028 |  | MT-NW, NOH, WOH
17 | 24-02786 | 15038975 | 12/02/2024 08:00 | 12/07/2024 16:00 | SMITHSON-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | SMITHSON-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
18 | 24-02787 | 15039615 | 12/09/2024 08:00 | 12/09/2024 16:00 | SMITHSON-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, INCLUDING EAST ELLENSBURG TAP TO B-665 DISCONNECT | SMITHSON-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, INCLUDING EAST ELLENSBURG TAP TO B-665 DISCONNECT, SMITHSON-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, EAST ELLENSBURG TAP TO COLUMBIA-ELLENSBURG NO 1 115KV LINE, EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, EAST ELLENSBURG: CITY OF ELLENSBRG 115KV FEEDER 1, HELENA AVENUE: CITY OF ELLENSBRG 115KV FEEDER 1 | TCLA
19 | 24-02988 | 15038471 | 12/09/2024 08:00 | 12/10/2024 15:00 | LEXINGTON: SCADA RTU CKT 6440 | LEXINGTON: SCADA RTU CKT 6440
20 | 24-07038 | 15490659 | 12/09/2024 08:00 | 12/09/2024 17:00 | ROCK CREEK: PCB 5294 |  | RKCR, NOH
21 | 24-02788 | 15045096 | 12/10/2024 08:00 | 12/14/2024 16:00 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
22 | 24-00225 | 14278354 | 12/16/2024 06:00 | 12/19/2024 17:00 | JOHN DAY: 4138/4139 TERMINAL OF JOHN DAY PH-JOHN DAY NO 1 500KV LINE | JOHN DAY: 4138/4139 TERMINAL OF JOHN DAY PH-JOHN DAY NO 1 500KV LINE, JOHN DAY PH-JOHN DAY NO 1 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD
23 | 24-02789 | 15045174 | 12/16/2024 08:00 | 12/16/2024 16:00 | JENKINS-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE INCLUDING SMITHSON TAP | JENKINS-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE INCLUDING SMITHSON TAP, JENKINS-SMITHSON SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, SMITHSON-EAST ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, SMITHSON TAP TO COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
24 | 24-07352 |  | 12/16/2024 08:00 | 12/19/2024 15:00 | TAFT: PCB 4145 |  | MT-NW, WOH
25 | 24-03272 | 15226657 | 12/17/2024 07:00 | 12/19/2024 17:00 | FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE | FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-1528, ICE HARBOR-FRANKLIN NO 1 115KV LINE | GEN, TCLA
26 | 24-02790 | 15045135 | 12/17/2024 08:00 | 12/21/2024 16:00 | JENKINS-SMITHSON SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | JENKINS-SMITHSON SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
27 | 24-00031 | 11036036 | 12/17/2024 09:00 | 12/17/2024 17:00 | DWORSHAK PH: PCB XJ-7 | DWORSHAK PH: PCB XJ-7, DWORSHAK PH: PCB XJ-7
28 | 24-00976 | 14881049 | 12/18/2024 07:30 | 12/18/2024 15:00 | CAPTAIN JACK-MALIN NO 2 500KV LINE INCLUDING CAPTAIN JACK: PCB 4924 | CAPTAIN JACK-MALIN NO 2 500KV LINE, CAPTAIN JACK-MALIN NO 2 500KV LINE INCLUDING CAPTAIN JACK: PCB 4924 , CAPTAIN JACK: PCB 4924 | NWACI, SIG, COI