## 2023-2024
Agriculture Utility Distribution System Transformer De-Energization Report April 15, 2024
For xxxxxxx Electric Cooperative Winter Season 2023-2024 | [6 empty] | kWh losses per day
Utility Contact Name: | Tom Osborn |  |  | 6.06 | 1.04 | 1.4 | 1.98 | 2.73 | 3.34 | 4.5 | 6.06 | 6.5 | 7.78 | 9.1 | 10.56
Phone Number: | 509-527-6211
Please enter data in yellow. Add rows as needed. Ensure totals add all rows.
# of Transformers by Size (in kVA)
Meter #, ID, or Acct # | Consumer or Farm Name | Transformer Size (kVA) (use pulldown) | Transformer Losses from RTF (kWh/day) | 100 | 10 | 15 | 25 | 37.5 | 50 | 75 | 100 | 112.5 | 150 | 167.5 | 225 | Utility Specified Transformer Losses (kWh/day) | Transformer Quantity | Disconnect Date | Reconnect Date | Calc days off | Site Savings (kWh) | Busbar Savings (kWh) | BPA EEI Incentive (at $0.03)
1234 | Ima Farmer | 37.5 | 2.73 | [12 empty] | 0 | 3 | 2023-11-14 | 2024-04-18 | 156 | 1277.64 | 1409.4924 | 42.2848
2345 | Ura Farmer Two | 10 | 1.04 | [12 empty] | 0 | 3 | 2021-11-15 | 2024-04-19 | 180 | 561.6 | 619.5571 | 18.5867
3456 | Outstanding in the Field Farms | 15 | 1.4 | [12 empty] | 0 | 3 | 2023-11-16 | 2024-04-20 | 156 | 655.2 | 722.8166 | 21.6845
45566 | Big O Ranch | 37.5 | 2.73 | [12 empty] | 0 | 3 | 2023-11-17 | 2024-04-21 | 156 | 1277.64 | 1409.4924 | 42.2848
52800 | Under water farms | 225 | 10.56 | [12 empty] | 0 | 3 | 2023-11-18 | 2024-04-22 | 156 | 4942.08 | 5452.1027 | 163.5631
abc 123 | Goat head Ranch | 500 | 21.6 | [12 empty] | 4 | 1 | 2023-11-19 | 2024-04-23 | 156 | 624 | 688.3968 | 20.6519
196600 | Mr Hay Company | 300 | 12 | 37.5 | 7.5 | 7.5 | 7.5 | [5 empty] | 3 |  |  | 0 | 1 | 2023-11-20 | 2024-04-24 | 156 | 1872 | 2065.1904 | 61.9557
|  |  |  | 37.5 | 7.5 | 7.5 | 7.5 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0
[21 empty] | 11210.16 | 12367.0485 | 371.0115
Note: Enter transformer size using pulldown
Standby losses based on Regional Technical Forum Protocol (Feb 2013) for liquid filled transformers.
Utility can input actual losses for their size, vintage, and type of transformer. Must supply documentation.
Leave Column Q with zeros unless otherwise specified.
In order to qualify as seasonal, disconnect days off are maxed out at 180.
ENTER THE FOLLOWING VALUES IN THE DEEMED MEASURE UPLOAD TEMPLATE:
| UES REFERENCE NUMBER | AUDTR40195
| QUANTITY | 12367.0485 | busbar kWh
| CALCULATOR SAVINGS PER UNIT | 1
| Project costs | 9999 | [21 empty] | Trans Size | Trans Loss
| CALCULATOR BC Ratio | 1.2368 | [21 empty] | Pick a value…
[24 empty] | 7.5 | 0.775
[24 empty] | 10 | 1.04
[24 empty] | 15 | 1.4
[24 empty] | 25 | 1.98
[24 empty] | 37.5 | 2.73
[24 empty] | 50 | 3.34
[24 empty] | 75 | 4.5
[24 empty] | 100 | 6.06
[24 empty] | 112.5 | 6.5
[24 empty] | 150 | 7.78
[24 empty] | 167.5 | 9.1
[24 empty] | 225 | 10.56
[24 empty] | 300 | 12
[24 empty] | 500 | 21.6