## 2014-2015
Agriculture Utility Distribution System Transformer De-Energization Report April 15, 2020
For xxxxxxx Electric Cooperative Winter Season 2019-2020 | [6 empty] | kWh losses per day
Utility Contact Name: |  |  |  | 6.06 | 1.04 | 1.4 | 1.98 | 2.73 | 3.34 | 4.5 | 6.06 | 6.5 | 7.78 | 9.1 | 10.56
Phone Number:
Please enter data in yellow. Add rows as needed. Ensure totals add all rows.
# of Transformers by Size (in kVA)
Meter #, ID, or Acct # | Consumer or Farm Name | Transformer Size (kVA) (use pulldown) | Transformer Losses from RTF (kWh/day) | 100 | 10 | 15 | 25 | 37.5 | 50 | 75 | 100 | 112.5 | 150 | 167.5 | 225 | Utility Specified Transformer Losses (kWh/day) | Transformer Quantity | Disconnect Date | Reconnect Date | Calc days off | Site Savings (kWh) | Busbar Savings (kWh) | BPA EEI Incentive (at $0.03)
1234 | Ima Farmer | 25 | 1.98 | [12 empty] | 0 | 3 | 2013-11-14 | 2014-04-18 | 155 | 920.7 | 1004.0786 | 30.1224
2345 | Ura Farmer Two | 50 | 3.34 | [12 empty] | 0 | 3 | 2013-11-14 | 2014-02-28 | 106 | 1062.12 | 1158.3056 | 34.7492
3456 | Outstanding in the Field Farms | 25 | 1.98 | [12 empty] | 0 | 3 | 2013-12-13 | 2014-04-23 | 131 | 778.14 | 848.6084 | 25.4583
45566 | Big O Ranch | 75 | 4.5 | [12 empty] | 0 | 3 | 2013-12-13 | 2014-04-23 | 131 | 1768.5 | 1928.6554 | 57.8597
52800 | Under water farms | 25 | 1.98 | [12 empty] | 0 | 3 | 2013-11-07 | 2014-04-09 | 153 | 908.82 | 991.1227 | 29.7337
abc 123 | Goat head Ranch | 25 | 1.98 | [12 empty] | 4 | 1 | 2013-11-07 | 2014-04-09 | 153 | 612 | 667.4227 | 20.0227
196600 | Mr Hay Company | 25 | 1.98 | 37.5 | 7.5 | 7.5 | 7.5 | [5 empty] | 3 |  |  | 0 | 1 | 2013-11-13 | 2014-04-23 | 161 | 318.78 | 347.6487 | 10.4295
|  |  |  | 37.5 | 7.5 | 7.5 | 7.5 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0
[21 empty] | 6369.06 | 6945.8421 | 208.3753
Note: Enter transformer size using pulldown
Standby losses based on Regional Technical Forum Protocol (Feb 2013) for liquid filled transformers.
Utility can input actual losses for their vintage and type of transformer. Must supply documentation.
Leave Column Q with zeros unless otherwise specified.
In order to qualify as seasonal, disconnect days off are maxed out at 180.
ENTER THE FOLLOWING VALUES IN THE DEEMED MEASURE UPLOAD TEMPLATE:
| REFERENCE NUMBER (COLUMN C)= | AUDTR40195
| QUANTITY (COLUMN D)= | 6945.8421 | busbar kWh
| CALCULATOR SAVINGS PER UNIT (COLUMN R) | 1
[24 empty] | Trans Size | Trans Loss
Pick a value…
[24 empty] | 7.5 | 0.775
[24 empty] | 10 | 1.04
[24 empty] | 15 | 1.4
[24 empty] | 25 | 1.98
[24 empty] | 37.5 | 2.73
[24 empty] | 50 | 3.34
[24 empty] | 75 | 4.5
[24 empty] | 100 | 6.06
[24 empty] | 112.5 | 6.5
[24 empty] | 150 | 7.78
[24 empty] | 167.5 | 9.1
[24 empty] | 225 | 10.56