## List of Standards
Sector | Product | Initial Federal Legislation | Last Standard Issued | Effective Date of Last Standard | Issued By: | Updated DOE Standard Due | Potential Effective Date | State Standard in OR and/or WA | DOE NIA Exists | Went into effect in 2005 to 2014 | Expected update to go into effect by 2014 | Was this product explicitly modeled in 5th Plan? | Was this product explicitly modeled in 6th Plan? | Was most recent standard included in 5th Plan Baseline? | Was most recent standard included in 6th Plan Baseline? | Addressed in Supply Curve or Forecast? | Addressed Explicitly in Residential Building Codes ( not completed at this point) | Addressed Explicitly in Non-residential Building Codes (includes residential over floors) | Magnitude of National Primary Source Savings Potential (In Quadrillion BTU, Per LBNL) | Potential End-Use Group | Notes | 6P Source Data | Priority Tier | Prioritization Notes
Commercial/Industrial | Automatic Commercial Ice Makers | EPACT 2005 | 2014 | 2017 | Congress |  |  |  | X | X |  | Yes | Yes | ASHRAE 2001 | ASHRAE 2010 | Supply Curve Only | none | none | 0.14 | Icemakers | 6P Baseline is WA, OR, 2010 Fed standard | PC-Pack Refrig Equip-6P-D3.xls | 4 | Low savings potential
Residential | Battery Chargers | EPACT 2005 | None | None | N/A | 2013 | 2017 | X |  |  |  | No | No | No | No | N/A | none | none | Not applicable, see notes | Battery Chargers | Did not go into effect in 2005-2014 | not modeled | 4 | Did not go into effect in 2005-2014
Residential | Boilers | NAECA 1987 | 2007 | 2012 | Congress | 2015 | 2020 |  | X | X |  | No | No | No | No | Added to Forecast in May, 2012 | direcly OR and WA2009, not WA2012. OR requires buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency boiler is one option. | directly | 0.54 | Res HVAC |  | not modeled | 4 | HVAC end-use group with gas standards.
Lighting | Candelabra & Intermediate Base Incandescent Lamps | None | 2007 | 2012 | Congress | 2013 | 2020 |  |  | X |  | No | Yes | No | Yes, 2006 | Both | ID, MT (iecc2009) and WA2009: 50% of lamps must be high efficacy (lamps >40W ->60l/W, lamps 15-40W ->50l/W , lamps <= 15W -> 40 l/W).. IECC 2012 and WA2012 will move goal post to 75%. OR requires 50% of lamps to be greated than 40l/W. | same as General Service Incandescent Lamps | 0 | Res Lighting/Non-Res Lighting | Product should be included in the residential lighting LPD baseline. Source of savings from DOE March 2009 EISA 2007 Technical Support Document. | EStarLighting_ExistingFY09v1_1.xls | 1 | Lighting end-use group, though the product has low savings, it should be modeled with the other lighting products for completeness
Lighting | Ceiling Fan Light Kits | EPACT 2005 | 2005 | 2007 | Congress | 2013 | 2016 |  |  | X |  | No | No | No | N/A | N/A | none | none | 4.57 | Res Lighting | Cannot find 6P workbook related to this product, 6th plan report indicated that the 2007 standard is included in the supply curve |  | 1 | Lighting end-use group. This product does not compete with other lighting products, but has high potential savings.
Residential | Central Air Conditioners | EPACT 1992 | 2011 | 2016 | DOE |  |  |  | X |  |  | Yes | Yes | No | No, 2006 | Both | direcly OR and WA2009, not WA2012 | directly - does not distinguish except by single phase vs. three phase |  | Res HVAC |  | PNWResSpaceConditioningCurve_6thPlanv1_8.xls | 4 | HVAC end-use group with low regional savings due to low AC usage.
Commercial/Industrial | Commercial CAC and HPs (Air-Cooled, Large) | EPACT 1992 | 2010 | 2016 | Congress | 2015 | 2019 |  |  | X |  | Yes | Yes | ASHRAE 2001 | ASHRAE 2010 | Supply Curve Only, Added to Forecast in May, 2012 | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 1.72 | Non-Res HVAC |  | PC-HVACEQUIP-6P-D7.xls | 1 | HVAC end-use group
Commercial/Industrial | Commercial CAC and HPs (Air-Cooled, Small) | EPACT 1992 | 2008 | 2016 | Congress | 2015 | 2019 |  |  | X |  | Yes | Yes | ASHRAE 2001 | ASHRAE 2010 | Supply Curve Only, Added to Forecast in May, 2012 | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 3.03 | Non-Res HVAC |  | PC-HVACEQUIP-6P-D7.xls | 1 | HVAC end-use group
Commercial/Industrial | Commercial CAC and HPs (Air-Cooled, Very Large) | EPACT 1992 | 2010 | 2016 | Congress | 2015 | 2019 |  |  | X |  | Yes | Yes | ASHRAE 2001 | ASHRAE 2010 | Supply Curve Only, Added to Forecast in May, 2012 | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 0.43 | Non-Res HVAC |  | PC-HVACEQUIP-6P-D7.xls | 1 | HVAC end-use group
Commercial/Industrial | Commercial CAC and HPs (Water- and Evaporatively-Cooled) | EPACT 1992 | 2012 | 2013 | DOE | 2020 | 2023 |  |  | X |  | Yes | Yes | ASHRAE 2001 | ASHRAE 2010 | Supply Curve Only | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 0.012 | Non-Res HVAC | The magnitude of savings includes VRF water-source HPs and Computer Room ACs | PC-HVACEQUIP-6P-D7.xls | 1 | HVAC end-use group
Commercial/Industrial | Commercial Clothes Washers | EPACT 2005 | 2010 | 2018 | DOE |  |  | X | X | X |  | No | No | No | No | N/A | none | Seattle code (1475) requires energy star | 0.2 | Non-Res Clothes Washers |  | not modeled | 2 | Product not modeled in the plans
Commercial/Industrial | Commercial Packaged Boilers | EPACT 1992 | 2009 | 2012 | DOE | 2017 | 2020 |  |  | X |  | No | No | No | No | N/A | direcly OR and WA2009, not WA2012. OR requires buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency boiler is one option. | directly | 0.11 | Non-Res HVAC |  | not modeled | 4 | HVAC end-use group with gas standards.
Commercial/Industrial | Commercial Prerinse Spray Valves | EPACT 2005 | 2005 | 2006 | Congress | 2013 | 2016 |  |  | X |  | Yes - Retrofit | Yes - Retrofit | unclear | EPACT 2005 | Supply Curve Only | none | none | 1.4 | Prerinse Spray Valves | EPACT 2005 Standard is 1.6 gpm. Measure flow on the 1.6 gpm heads is 1.2 gpm per AWWA study. | PC-Spray Head-6P-D1.xls | 2 | Product modeled in the plans and have relatively high standard impact
Commercial/Industrial | Commercial Refrigeration Equipment | EPACT 2005 | 2014 | 2017 | DOE |  |  |  | X |  |  | Yes | Yes | No | EPACT 2005 | Both | none | In WA, beyond walk-in (as discussed above) and refrigerated warehouse, condenser heat recovery is required to water heat in smaller and to water and space heat is most grocery. (2009 1436.4, 2012 C403.2.6.3 ) | 2.9 | Non-Res Refrigeration |  | PC-Pack Refrig Equip-6P-D3.xls | 2 | Product modeled in the plans and have relatively high standard impact
Commercial/Industrial | Commercial Warm Air Furnaces | EPACT 1992 | 2004 | [8 empty] | No | No | No | No | N/A | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency furnace is one option. | directly | Not applicable, see notes | Non-Res HVAC | Did not go into effect in 2005-2014, update on standard in 2004 involves test procedures only | not modeled | 4 | Did not go into effect in 2005-2014
Commercial/Industrial | Commercial Water Heating Equipment | EPACT 1992 | 2001 | 2003 | DOE | None | None |  | X |  |  | No | No | No | No | N/A | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency DHW is one option. | directly in current ID, MT, OR and in the soon to be adopted WSEC | Not applicable, see notes | Non-Res Water Heating | Did not go into effect in 2005-2014 | not modeled | 4 | Did not go into effect in 2005-2014
Residential | Compact Audio Equipment | None | [5 empty] | X |  | X |  | No | No | No | No | N/A | none | none | Savings potential analysis not available | Audio | Oregon Standard went into effect in 2009, all compact audio products may not use more than 2 watts in standby passive mode. | not modeled | 3 | Savings estimate not available, savings not expected to be substantial
Residential | Cooking Ranges and Ovens | NAECA 1987 | 2009 | 2012 | DOE | 2017 | 2020 |  |  | X |  | No | Yes | No | Yes, Effective Date, 2012 | Supply Curve Only, Added to Forecast in May, 2012 | none | none | 0.18 | Res Cooking |  | Resoven_MicrowaveFY09v1_0.xls | 4 | Low savings potential
Residential | Dehumidifiers | EPACT 2005 | 2007 | 2012 | Congress | 2015 | 2018 |  | X | X |  | No | Yes | No | EPACT 2005 | Forecast only | none | none | 0.57 | Dehumidifiers |  | forecast only | 3 | Modeled in the plans with relatively low savings
Residential | Direct Heating Equipment | NAECA 1987 | 2010 | 2013 | DOE | 2018 | 2021 |  |  | X |  | No | No | No | No | N/A | none | none | 0.26 | Res HVAC |  | not modeled | 4 | This product was not modeled in the plan, but the standards are gas standards so there is no electric savings
Residential | Dishwashers | NAECA 1987 | 2012 | 2013 | DOE | 2014 | 2019 |  |  | X |  | No | Yes | No | No, 2007 | Both | none | Seattle code (1475) requires energy star | 0.73 | Dishwashers |  | EStarResDishwasherFY09v1_0.xls | 2 | Product modeled in the plans and have relatively high standard impact
Commercial/Industrial | Distribution Transformers: Liquid-Immersed and Medium-Voltage, Dry-Type | EPACT 1992 | 2007 | 2010 | DOE | 2012 | 2016 |  | X | X |  | No | No | No | No | N/A | none | OR 507.1 requires NEMA class 1 though has several exceptions | 5.89 | Distribution Transformers |  | not modeled | 2 | Product not modeled in the plans
Commercial/Industrial | Distribution Transformers: Low-Voltage Dry-Type | EPACT 2005 | 2005 | 2007 | Congress | 2013 | 2016 |  | X | X |  | No | Yes | No | Yes, Fed 2007 | Supply Curve Only | none | OR 507.1 and WA (2009 1540, 2012 C405.9) regulate transformers, OR more extensively, WA "minimum efficiency of a low voltage drytype distribution transformer shall be the class I efficiency levels specified in "Guide for Determining Energy Efficiency for Distribution Transformers" published by the National Electrical Manufacturers Association (NEMA TP-1-2002" | 1.28 | Distribution Transformers | Distribution Transformers is in the industrial supply curve, but there is no stock model for this product. | Industrial_tool_111209.xls | 2 | Product modeled in the plans and have relatively high standard impact
Residential | DVD Players and Recorders | None | [5 empty] | X |  | X |  | No | No | No | No | N/A | none | none | Savings potential analysis not available | Entertainment | Oregon Standard went into effect in 2009, all DVD products may not use more than 3 watts in standby passive mode. | not modeled | 3 | Savings estimate not available, savings not expected to be substantial
Commercial/Industrial | Electric Motors | EPACT 1992 | 2014 | 2016 | Congress |  |  |  | X | X |  | Yes | Yes | EPACT 1997 | Yes, 2010 | Both | Indirect: WA2012 and IECC2012 regulate Watts/ cfm in hvac fans | directly in 2009 WA code in all standard motors, indirectly in ID, MT, OR and 2012 WA (no more direct impact) through fan motor power limits. Fractional HP motors required to be ECM in all instances in WA and in series fan powered terminals in OR. | 0.14 | Motors | This model is In the Industrial Supply Curve, no stock model available | Industrial_tool_111209.xls | 3 | Modeled in the plans with relatively low savings
Residential | External Power Supplies | EPACT 2005 | 2014 | 2016 | DOE | [6 empty] | No | Yes | No | No | Forecast only | none | none | 3.8 | Power Supplies | The 6th plan assumes a 5% increase in efficiency for this product. The actual standard was added to the model in May, 2012 which will be incorporated into the 7th plan. | forecast only | 2 | Product modeled in the plans and have relatively high standard impact. Expansion to include new products in 2014
Lighting | Fluorescent Lamp Ballasts | NAECA 1988 | 2011 | 2014 | DOE | 2019 | 2022 |  |  | X |  | No | No | No | No, 2009 and phasing through July 2010 | Supply Curve | none | indirectly through LPD requirements. WSEC is below 90.1-2010. 90.1 assumed linear fluorescent efficacy on par with high performance T8 | 6.72 | Non-Res Lighting | Cannot find 6P workbook related to this product, standard sourced from 6th plan report |  | 1 | Lighting end-use group
Residential | Furnaces | NAECA 1987 | 2011 (revoked) | 2013 | DOE | 2019 | 2024 |  | X | X |  | No | No | No | No | N/A | direcly OR and WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency furnace is one option. | directly | Not applicable, see notes | Res HVAC | This standard has been revoked | not modeled | 4 | Did not go into effect in 2005-2014
Residential | Furnace Fans | None | 2014 | 2019 | DOE |  |  |  | X |  |  | No | No | No | No | N/A |  | none | 3.99 | Res HVAC |  | not modeled | 4 | Did not go into effect in 2005-2014
Lighting | General Service Fluorescent Lamps | EPACT 1992 | 2015 | 2018 | DOE |  |  |  | X | X |  | Yes | Yes | No | No | Both | none | indirectly through LPD requirements. WSEC is below 90.1-2010. 90.1 assumed linear fluorescent efficacy on par with high performance T8 | 6.885 | Non-Res Lighting | The magnitude of savings sourced from 2009 DOE Final Rule | PC-LPDPackage-6P-D16.xls | 1 | Lighting end-use group
Lighting | General Service Incandescent Lamps | EISA 2007 | 2007 | 2012 | Congress | 2017 | 2020 |  | X | X |  | Yes | Yes | No | Yes, 2012 and phasing through 2014 | Both | ID, MT (iecc2009) and WA2009: 50% of lamps must be high efficacy (lamps >40W ->60l/W, lamps 15-40W ->50l/W , lamps <= 15W -> 40 l/W).. IECC 2012 and WA2012 will move goal post to 75%. OR requires 50% of lamps to be greated than 40l/W. | Directly through exterior lighting and dwelling unit (generally multifamily over 3 stories not hotel) minimum efficacy requirements, and indirectly through LPD requirements. The 2009 IECC (currently in ID and MT) limits exterior lamps over 100 watts to high efficacy sources (60 lumens/W). ID, MT, OR, and WA require dwelling units to pursue full compliance with lighting code including controls ( really not tenable) or to install a percentage of high efficacy lamps (lamps >40W ->60l/W, lamps 15-40W ->50l/W , lamps <= 15W -> 40 l/W). ID, MT, and OR require 50% of the permanently installed interior dwelling unit fixtures to be fitted with high efficacy lamps . WA requires dwelling units to have 75% of the permanently installed lamps be high-efficacy. LPD requirements are pushing to levels that require incandescent conversion or changes to the fixture mix to get higher average fixture efficiency. The WSEC in particular is below 90.1-2010 and therefor assumes some portion of incandescent lighting is converted to higher efficacy source or fixture efficiencies improve in other lighting types. | 13.5 | Res Lighting/Non-Res Lighting |  | PC-LPDPackage-6P-D16.xls | 1 | Lighting end-use group
Residential | Heat Pumps | EPACT 1992 |  | 2006 | DOE | 2011 | 2015 |  | X | X |  | Yes | Yes | Yes, 2006 | Yes, 2006 | Both | OR and WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 2.0675 | Res HVAC | The magnitude of the national savings potential is estimated using LBNL's estimate of 8.27 for both Central AC and Heat Pumps, then scaling using the approximate shipments ratio derived from the 2011 DOE shipments analysis of 3:1. | PNWResSpaceConditioningCurve_6thPlanv1_8.xls | 1 | HVAC end-use group
Lighting | High Intensity Discharge Lamps | not till 2017 | [6 empty] | X |  |  | No | No | No | No | N/A | none | indirectly through interior and exterior LPD requirements and in WA requirements for OS control in warehouses. | Not applicable, see notes | Non-Res Lighting | Did not go into effect in 2005-2014 | not modeled | 1 | Lighting end-use group, though the product did not go into effect in 2005-2014, it should be modeled with the other lighting products for completeness
Commercial/Industrial | Hot Food Holding Cabinets | None | [5 empty] | X |  | X |  | No | Yes | No | N/A | Supply Curve Only | none | Seattle code (1475) requires energy star | Savings potential analysis not available | Hot Food Holding Cabinets | Oregon standard went into effect in 2009, all hot food holding cabinets shall have a maximum idle energy rate of 40 watts per cubic foot of interior volume. | PC-Cooking-6P-D2.xls | 3 | Savings estimate not available, savings not expected to be substantial
Lighting | Illuminated Exit Signs | EPACT 2005 | 2005 | 2006 | Congress | 2013 | 2016 |  |  | X |  | Yes | Yes Retro Only | No | Yes, Effective Date 2006 | Supply Curve Only | none | All states limit exits to 5 watts per side. | 0.72 | Exit Signs |  | PC-Exit Sign-6P-D2.xls | 2 | Product modeled in the plans and have relatively high standard impact
Lighting | Incandescent Reflector Lamps | EPACT 1992 | 2015 | 2018 | DOE |  |  |  | X | X |  | Yes | Yes | No | No, Effective Date 2008 | Supply Curve Only | ID, MT (iecc2009) and WA2009: 50% of lamps must be high efficacy (lamps >40W ->60l/W, lamps 15-40W ->50l/W , lamps <= 15W -> 40 l/W).. IECC 2012 and WA2012 will move goal post to 75%. OR requires 50% of lamps to be greated than 40l/W. | same as General Service Incandescent Lamps | 1.665 | Res Lighting/Non-Res Lighting | The magnitude of savings sourced from the DOE 2009 final rule. Standard sourced from 6th plan report, product should be included in lighting LPD. | EStarLighting_ExistingFY09v1_1.xls | 1 | Lighting end-use group
Lighting | Medium Base Compact Fluorescent Lamps | EPACT 2005 | 2005 | 2006 | Congress | 2013 | 2016 |  | X | X |  | No | Yes | No | Yes, 2006 | Both | ID, MT (iecc2009) and WA2009: 50% of lamps must be high efficacy (lamps >40W ->60l/W, lamps 15-40W ->50l/W , lamps <= 15W -> 40 l/W).. IECC 2012 and WA2012 will move goal post to 75%. OR requires 50% of lamps to be greated than 40l/W. | Most codes regulate the installed watts, which for a screw-in fixture is the wattage of the housing which is a large number. So in new construction CFL lamps are uniformly pin-based. Screw base CFL lamps are limited to retrofit and bulb changing does not trigger code. | 0 | Res Lighting/Non-Res Lighting | Product should be included in the residential lighting LPD baseline. | EStarLighting_ExistingFY09v1_1.xls | 1 | Lighting end-use group, though the product has low savings, it should be modeled with the other lighting products for completeness
Lighting | Mercury Vapor Lamp Ballasts | EPACT 2005 | 2005 | 2008 | Congress | None | None |  |  | X |  | No | No | No | No | N/A | none | indirectly through interior and exterior LPD requirements and in WA requirements for OS control in warehouses. Not seen in new construction. If light code triggered would be changed. | 0 | Non-Res Lighting | This product has been made illegal | not modeled | 1 | Lighting end-use group, though the product has low savings, it should be modeled with the other lighting products for completeness
Lighting | Metal Halide Lamp Fixtures | EISA 2007 | 2014 | 2017 | DOE |  |  |  | X |  |  | Yes | Yes | No | EPACT 2005 | Supply Curve Only | none | indirectly through LPD requirements. WSEC is below 90.1-2010. 90.1 assumed linear fluorescent efficacy on par with high performance T8 | 6.44 +.49 | Non-Res Lighting |  | PC-LPDPackage-6P-D16.xls | 1 | Lighting end-use group
Residential | Microwave Ovens | NAECA 1987 | 2013 | 2016 | DOE | [6 empty] | No | No | No | No | Added to Forecast in May, 2012 | none | none | Not applicable, see notes | Cooking | Did not go into effect in 2005-2014 | not modeled | 4 | Did not go into effect in 2005-2014
Commercial/Industrial | Packaged Terminal AC and HP | EPACT 1992 | 2008 | 2012 | DOE | 2016 | 2019 |  | X | X |  | Yes | Yes | No | ASHRAE 2010 | Supply Curve Only, Added to Forecast in May, 2012 | OR and WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency heat pump is one option. | directly | 0.04 | Non-Res HVAC |  | PC-HVACEQUIP-6P-D7.xls | 1 | HVAC end-use group
Commercial/Industrial | Single Package Vertical Air Conditioners & Single Package Vertical Heat Pumps | EISA 2007 | 2009 | 2010 | DOE | 2014 | 2019 |  |  |  |  | No | No | No | No | N/A | none | directly | Savings potential analysis not available | Non-Res HVAC | Used to be covered under small, large, and very large commercial package air-conditioning and heating equipment
Residential | Pool Heaters | NAECA 1987 | 2010 | 2013 | DOE | 2018 | 2021 |  | X | X |  | No | No | No | No | N/A | WA2009, WA2012 bans pilot lights but no efficiency levels | Directly. Table 504.2 or in WA Table C404.2 | 0.02 | Pool Heaters |  | not modeled | 4 | Low savings potential
Residential | Pool Pumps | None | [5 empty] | X |  | X |  | No | No | No | No | N/A | WA2009, WA2012 | none | Savings potential analysis not available | Pool Pumps | Washington standard went into effect in 2010. All replacement residential pool pumps purchased of 1 hp or larger must be two-speed, or variable-speed. | not modeled | 3 | Savings estimate not available, savings not expected to be substantial
Residential | Portable Electric Spas | None | [5 empty] | X |  | X |  | No | No | No | No | N/A | WA2009 | none | Savings potential analysis not available | Spas | Oregon standard went into effect in 2009, all portable electric spas may not have a standby power greater than 5 (V2/3) watts | not modeled | 3 | Savings estimate not available, savings not expected to be substantial
Commercial/Industrial | Refrigerated Beverage Vending Machines | EPACT 2005 | 2009 | 2012 | DOE | 2017 | 2020 |  | X | X |  | Yes | Yes | No | No, 2010 | Supply Curve Only | none | none | 0.19 | Vending Machines |  | PC-Pack Refrig Equip-6P-D3.xls | 4 | Low savings potential
Residential | Residential Ceiling Fans | EPACT 2005 | 2005 | 2007 | Congress |  |  |  |  | X |  | No | Yes | No | Yes, EPACT 2005 | Forecast only | none | none | Savings potential analysis not available | Res Ceiling Fans |  |  | 4 | Savings estimate not available, savings not expected to be substantial
Residential | Residential Clothes Dryers | NAECA 1987 | 2011 | 2015 | DOE | 2019 | 2022 |  | X |  |  | No | Yes | No | 2010 | Both | none | none | Not applicable, see notes | Res Clothes Dryers | Did not go into effect in 2005-2014 | EStarWasher_DryerSingleFamily_FY09v1_1.xls;EStarWasher_DryerMultiFamily_FY09v1_1.xls | 4 | Did not go into effect in 2005-2014
Residential | Residential Clothes Washers | NAECA 1987 | 2012 | 2015 | DOE | 2020 | 2023 |  |  |  |  | Yes | Yes | 2007 | 2007 | Both | none | none | 0.7 | Res Clothes Washers | The magnitude of the national savings potential is estimated using the total estimate energy savings of the 2001 rule (5.52 quads) multiplied by the fraction of units affected (.98) multiplied by the incremental improvement over the 2004 requirements (.13). http://www.gpo.gov/fdsys/pkg/FR-2001-01-12/pdf/01-611.pdf | EStarWasher_DryerSingleFamily_FY09v1_1.xls;EStarWasher_DryerMultiFamily_FY09v1_1.xls | 2 | Product modeled in the plans and have relatively high standard impact
Residential | Residential Refrigerators and Freezers | NAECA 1987 | 2011 | 2014 | DOE | 2019 | 2022 |  | X | X |  | Yes | Yes | No | No, Effective Date, 2010 | Both | none | none | 7.65 | Res Refrigeration |  | EStarRefrigeratorFY09v1_0.xls; EStarResFreezersFY09v1_0.xls | 2 | Product modeled in the plans and have relatively high standard impact
Residential | Residential Room Air Conditioners | NAECA 1987 | 2011 | 2014 | DOE | 2019 | 2022 |  | X | X |  | Yes | Yes | No, 2000 | No, Effective Date, 2010 | Both | WA2009 only | directly - does not distinguish except by single phase vs. three phase | 0.28 | Res HVAC |  | PNWResSpaceConditioningCurve_6thPlanv1_8.xls | 4 | HVAC end-use group with low regional savings due to low AC usage.
Residential | Residential Water Heaters | NAECA 1987 | 2010 | 2015 | DOE | 2018 | 2021 |  |  |  |  | Yes | Yes | 2004 | 2010 | Both | WA2009. OR and WA2012 require buildings select one or more extra efficency options depending upon building size and the option savings. High efficiency DHW is one option. | directly in current ID, MT, OR and in the soon to be adopted WSEC | Not applicable, see notes | Res Water Heating | Did not go into effect in 2005-2014 | RESDHWFY09v1_1.xls | 2 | The standard for residential hotwater heater did not go into effect between the 2005-2014 timeframe, however, the current practice might be significantly above code due to manufacturer incentives.
Lighting | Torchieres | EPACT 2005 | 2005 | 2006 | Congress | 2013 | 2016 |  |  | X |  | No | No | No | N/A | N/A | none | none | 2.78 | Res Lighting | Cannot find 6P workbook related to this product, 6th plan report indicated that the 2007 standard is included in the supply curve |  | 1 | Lighting end-use group. This product does not compete with other lighting products, but has high potential savings.
Lighting | Traffic Signal Modules and Pedestrian Modules | EPACT 2005 | 2005 | 2006 | Congress | 2013 | 2016 |  |  | X |  | Yes | Yes | unclear | EPACT 2005 | Supply Curve Only | none | X - this X was here. I did not put it here. I would say the building code has no impact on this (i.e. "none") | 0.31 | Lighting-Traffic |  | PC-Traffic Signals-6P-D1.xls | 3 | Modeled in the plans with relatively low savings
Commercial/Industrial | Unit Heaters | EPACT 2005 | 2005 | 2008 | Congress | 2013 | 2016 |  |  | X |  | No | No | No | No | N/A | none | directly though IECC (ID,MT) does not include text requiring electronic pilot and flue dampers/power combustion | 1.25 | Non-Res HVAC |  | not modeled | 4 | This product was not modeled in the plan, but the standards are gas standards so there is no electric savings
Commercial/Industrial | Walk-In Coolers and Freezers | EISA 2007 | 2014 | 2017 | Congress |  |  |  | X |  |  | No | No | No | No | N/A | none | Proposed WA code (C402.5, C403.5, & C405.10) to take effect July 2013. Walls, roof, and door of R25 for coolers and R32 for freezers, R28 for freezer floors. Also has door closing, glazing, mech (ECM motors, anti-sweat limits and controls, and lighting requirements ( high efficacy, timer/OS) | 3.1 | Non-Res Walk-in Refrigeration |  | not modeled | 2 | Product not modeled in the plans
Commercial/Industrial | Water Dispensers | None | [5 empty] | X |  | X |  | No | No | No | No | N/A | none | none | Savings potential analysis not available | Water Dispensers | Oregon standard went into effect in 2009, bottle-type water dispensers may not have standby energy consumption greater than 1.2 kWh per day | not modeled | 3 | Savings estimate not available, savings not expected to be substantial
Note on B27: Angie Lee: move up
Note on B54: Angie Lee: Move up
Note on D17: Angie Lee: update on test procedure only
Note on P4: Angie Lee: The 6th power plan report mentioned about the incorporation of this product, but the code write-up did not have this product, and baseline analysis spreadsheets do not have this product either
Note on R2: Mike Kennedy: There is not Seattle residential code. Any item attributed to WA is applicable inSeattle too. This is primarily focusd on new consturction and reach of code into retorfits is not well understood.
Note on S2: Mike Kennedy: In most cases, energy codes only apply to new construction and major remodel work. Lamp changing does not typically trigger code. Comments here primarily apply to new consturction and do not address situations where code is not triggered. They also do not address the Oregon Reach code. If that is desired we can add a column for it. The difficulty is that it has provissions for everything but you only have to pick a certain number so it is hard to say what is required. Also, NEEA codes people indicate almost nobody is opting to comply with the Oregon Reach which is optional. Any provision attributed to WA code is also applicable to Seattle. Seattle is strictly in addition to state code.
Note on V30: Angie Lee: https://www.acca.org/archives/news-and-media/news-room/press-releases/8232