## Sheet1
SCADA Digital Events
From 9/1/2019 12:00:00 AM To 10/1/2020 12:00:00 AM Stations: TRUMB_CR Devices: ALL Events: ALL
Date | Station | Description | Nominal Voltage | Device Type | Point ID | Event Type | Event Description | Event
2020-01-07 09:49 | TRUMB_CR | 1F7 | 230 | DSC | 35003 | STTS | STTS | CLOSED
2020-01-07 09:50 | TRUMB_CR | 544 | 230 | DSC | 35005 | STTS | STTS | TRIPPED
2020-01-07 15:46 | TRUMB_CR | 544 | 230 | DSC | 35005 | STTS | STTS | CLOSED
2020-01-07 15:46 | TRUMB_CR | 1F7 | 230 | DSC | 35003 | STTS | STTS | TRIPPED
2020-01-17 14:58 | TRUMB_CR | 1F7 | 230 | DSC | 35003 | STTS | STTS | CLOSED
2020-01-17 14:58 | TRUMB_CR | 544 | 230 | DSC | 35005 | STTS | STTS | TRIPPED
2020-01-17 14:58 | TRUMB_CR | 543 | 230 | LBD | 35004 | STTS | STTS | TRIPPED
2020-01-19 11:39 | TRUMB_CR | 543 | 230 | LBD | 35004 | STTS | STTS | CLOSED
2020-01-19 11:39 | TRUMB_CR | 544 | 230 | DSC | 35005 | STTS | STTS | CLOSED
2020-01-19 11:39 | TRUMB_CR | 1F7 | 230 | DSC | 35003 | STTS | STTS | TRIPPED