IMPORTANT NOTE:

Attachment A to Appendix 1 may be provided at the same time as submitting the Request.

However, it may be submitted separately at any time, but no later than when the Interconnection Customer executes the Feasibility Study Agreement.

Attachment A to Appendix 1

Interconnection Request

LARGE GENERATING FACILITY DATA

UNIT RATINGS

kVA                           	 °F                   	Voltage _____________

Power Factor

Speed (RPM)	                  				Connection (e.g. Wye) _____________

Short Circuit Ratio ________			Frequency, Hertz ____________

Stator Amperes at Rated kVA                    	Field Volts _______________

Max Turbine MW                          °F ______

COMBINED TURBINE-GENERATOR-EXCITER INERTIA DATA

Inertia Constant, H =	                                           kW sec/kVA

Moment-of-Inertia, WR2 =	 ____________________ lb. ft.2

REACTANCE DATA (PER UNIT-RATED KVA)

DIRECT AXIS	QUADRATURE AXIS

Synchronous – saturated		Xdv	              	Xqv	_______

Synchronous – unsaturated		Xdi	              	Xqi	_______

Transient – saturated		X'dv	              	X'qv	_______

Transient – unsaturated		X'di	              	X'qi	_______

Subtransient – saturated		X"dv	              	X"qv	_______

Subtransient – unsaturated		X"di	              	X"qi	_______

Negative Sequence – saturated	X2v

Negative Sequence – unsaturated	X2i

Zero Sequence – saturated		X0v

Zero Sequence – unsaturated	X0i

Leakage Reactance			Xlm

FIELD TIME CONSTANT DATA (SEC)

Open Circuit					T'do	                	T'qo	_______

Three-Phase Short Circuit Transient	T'd3	                	T'q	_______

Line to Line Short Circuit Transient	T'd2

Line to Neutral Short Circuit Transient	T'd1

Short Circuit Subtransient			T"d	                 	T"q	_______

Open Circuit Subtransient			T"do	                	T"qo	_______

ARMATURE TIME CONSTANT DATA (SEC)

Three Phase Short Circuit		Ta3	_______

Line to Line Short Circuit		Ta2	_______

Line to Neutral Short Circuit	Ta1	_______

NOTE: If requested information is not applicable, indicate by marking "N/A."

MW CAPABILITY AND PLANT CONFIGURATION

LARGE GENERATING FACILITY DATA

ARMATURE WINDING RESISTANCE DATA (PER UNIT)

Positive		R1	_______

Negative		R2	_______

Zero			R0	_______

Rotor Short Time Thermal Capacity I22t = _______

Field Current at Rated kVA, Armature Voltage and PF =                   amps

Field Current at Rated kVA and Armature Voltage, 0 PF =                   amps

Three Phase Armature Winding Capacitance =                 microfarad

Field Winding Resistance = _______ ohms _____ °C

Armature Winding Resistance (Per Phase) =                ohms            °C

CURVES

Provide Saturation, Vee, Reactive Capability, Capacity Temperature Correction curves.  Designate normal and emergency Hydrogen Pressure operating range for multiple curves.

GENERATOR STEP-UP TRANSFORMER DATA RATINGS

Capacity		Self-cooled/

Maximum Nameplate

/                                kVA

Voltage Ratio(Generator Side/System side/Tertiary)

/                              /                             kV

Winding Connections (Low V/High V/Tertiary V (Delta or Wye))

/______________/_______________

Fixed Taps Available _____________________________________________________

Present Tap Setting _______________________________________________________

IMPEDANCE

Positive 	 Z1 (on self-cooled kVA rating)                              %                  X/R

Zero 		 Z0 (on self-cooled kVA rating)                              %                  X/R

EXCITATION SYSTEM DATA

Identify appropriate IEEE model block diagram of excitation system and power system stabilizer (PSS) for computer representation in power system stability simulations and the corresponding excitation system and PSS constants for use in the model.

GOVERNOR SYSTEM DATA

Identify appropriate IEEE model block diagram of governor system for computer representation in power system stability simulations and the corresponding governor system constants for use in the model.

WIND GENERATORS

Number of generators to be interconnected pursuant to this Interconnection Request:

_____________

Elevation: _____________   	 _____ Single Phase	 _____ Three Phase

Inverter manufacturer, model name, number, and version:

_________________________________________________________________

List of adjustable setpoints for the protective equipment or software:

_________________________________________________________________

Note: A completed General Electric Company Power Systems Load Flow (PSLF) data sheet or other compatible formats, such as IEEE and PTI power flow models, must be supplied with the Interconnection Request.  If other data sheets are more appropriate to the proposed device, then they shall be provided and discussed at Scoping Meeting.

INDUCTION GENERATORS

(*) Field Volts: _________________

(*) Field Amperes: ______________

(*) Motoring Power (kW): ________

(*) Neutral Grounding Resistor (If Applicable): ____________

(*) I22t or K (Heating Time Constant): ____________

(*) Rotor Resistance: ____________

(*) Stator Resistance: ____________

(*) Stator Reactance: _____________

(*) Rotor Reactance: _____________

(*) Magnetizing Reactance: ___________

(*) Short Circuit Reactance: ___________

(*) Exciting Current: ________________

(*) Temperature Rise: ________________

(*) Frame Size: _______________

(*) Design Letter: _____________

(*) Reactive Power Required In Vars (No Load): ________

(*) Reactive Power Required In Vars (Full Load): ________

(*) Total Rotating Inertia, H: ________Per Unit on KVA Base

Note: Please consult Transmission Provider prior to submitting the Interconnection Request to determine if the information designated by (*) is required.