## SearchResults
Row | Dart | RC West ID | Start Time | Stop Time | Description | Paths
1 | 1368608 | OTS Ticket # 5734 To RC West ID: 8533796 | 2020-01-22 10:30 | 2023-03-31 17:00 | DETROIT: A-329 TERMINAL | GEN
2 | 1421102 | To RC West ID: 9741845 | 2021-02-03 09:00 | 2023-02-28 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | BCHT,BCHW,IROL,NOEL,NOH,RP,SOC,WOCN,OKLA,PA
3 | 1441502 | From RC West ID: 10090918 | 2021-04-29 13:02 | 2022-06-01 12:00 | ROUND MOUNTAIN-TABLE MOUNTAIN 1 (TABLE MOUNTAIN SCAP)
4 | 1444850 | From RC West ID: 10352172 | 2021-06-28 05:44 | 2022-09-02 23:59 | PSE - TONO 500¦115KV BANK | RP
5 | 1445350 | From RC West ID: 10358851 | 2021-06-29 12:00 | 2022-09-02 16:00 | TONO 500¦115KV BANK
6 | 1473178 |  | 2021-12-14 13:00 | 2022-07-29 18:00 | BCH- INGLEDOW 230KV REACTOR 1 (ING 2RX1) | BCHT,BCHW,NI
7 | 1479430 |  | 2022-01-25 19:08 | 2023-01-31 23:59 | AVA MOSCOW 230/115KV TRANSFORMER OOS
8 | 1465798 | OTS Ticket # 11120 To RC West ID: 10911315 | 2022-02-28 06:00 | 2022-06-24 15:00 | HUNGRY HORSE PH: PCB 2382, PCB 2182
9 | 1482326 | From RC West ID: 11356204 | 2022-03-05 03:30 | 2022-05-20 18:00 | LADWP - VICTORVILLE: 500/287KV BANK K | PDCI
10 | 1461100 | To RC West ID: 10852268 | 2022-03-21 07:30 | 2022-05-20 16:00 | LAPINE: 230/115KV TRANSFORMER 2
11 | 1435846 | To RC West ID: 10180700 | 2022-03-28 12:30 | 2022-06-10 16:00 | SPRING CREEK-MABTON SECTION OF SPRING CREEK-WINE COUNTRY NO 1 230KV LINE | GEN,NWACI,PDCI,WOJD
12 | 1470214 | To RC West ID: 11179237 | 2022-04-05 11:00 | 2022-05-04 12:00 | BAKERS CORNER-LONGVIEW SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE INCLUDING LONGVIEW: PCB B-326 AND B-326 M/B, L/S, A/B DISC'S | LOAD
13 | 1387822 | To RC West ID: 8830448 | 2022-04-18 07:00 | 2022-05-26 16:00 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCBS A-376 AND L-482 | MT-NW,WOH
14 | 1464248 | OTS Ticket # 11367 To RC West ID: 10971533 | 2022-04-18 07:00 | 2022-05-06 15:30 | FRANKLIN: PCB B-608 INCLUDING ICE HARBOR-FRANKLIN NO 3 115KV LINE | GEN,TCLA
15 | 1452744 | To RC West ID: 10977416 | 2022-04-18 07:00 | 2022-05-27 15:30 | MCNARY-FRANKLIN NO 2 230KV LINE INCLUDING FRANKLIN: PCB B-622 AND 230/115KV TRANSFORMER 4 AND 115KV AUX BUS | WOM
16 | 1403422 | To RC West ID: 9551791 | 2022-04-18 07:30 | 2022-06-03 16:00 | HANFORD: PCB 4107 | GEN,NJD,NWACI,PDCI,WOLM
17 | 1484702 | To RC West ID: 11437309 | 2022-04-18 07:30 | 2022-05-06 15:00 | TAHKENITCH: PCB B-1566
18 | 1482408 |  | 2022-04-18 08:00 | 2022-05-11 16:00 | BCH - MERIDIAN-INGLEDOW 500KV LINE (5L44) | NI
19 | 1473798 | OTS Ticket # 11908 To RC West ID: 11131641 | 2022-04-20 13:00 | 2022-05-11 17:00 | GRAND COULEE: PCB 7886 | GEN,NOH
20 | 1480210 | To RC West ID: 11309980 | 2022-04-22 15:30 | 2022-05-13 16:30 | FAIRVIEW: 230/115KV TRANSFORMER 1 INCLUDING 13.2KV STATION SERVICE PCB 1W AND STATION SERVICE TRANSFORMERS | SWORE,LOAD
21 | 1480660 | To RC West ID: 11319713 | 2022-04-25 07:00 | 2022-05-04 16:00 | TRENTWOOD: PCB B-1638
22 | 1473114 | To RC West ID: 11125446 | 2022-04-25 08:00 | 2022-05-13 15:00 | CARDWELL: PCB B-1539 RELAY
23 | 1472950 | To RC West ID: 11134973 | 2022-04-25 08:00 | 2022-05-05 16:00 | CLATSOP: 230/115KV TRANSFORMER 1 INCLUDING 13.8KV STATION SERVICE TRANSFORMER, 13.8KV PT'S, 230 KV CTS, 115 KV CTS, 230KV AUX BUS, 115KV AUX BUS, AND PACIFICORP (PACW) 115KV FEEDER 1 | LOAD,PA,SOA
24 | 1431064 | From RC West ID: 10004150 | 2022-04-25 08:00 | 2022-05-15 16:00 | REDMOND BPA-ROUND BUTTE 230KV LINE | COI,NJD,NWACI,PDCI
25 | 1452496 | To RC West ID: 10534668 | 2022-04-25 08:00 | 2022-06-09 12:00 | SALEM: 230/115KV TRANSFORMER 1 | WOCS
26 | 1474786 | To RC West ID: 11159830 | 2022-04-25 08:00 | 2022-06-02 16:00 | SANTIAM: A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI,NWACI,PDCI,LOAD,WOCS
27 | 1370586 | To RC West ID: 8250366 | 2022-04-30 08:00 | 2022-05-03 15:30 | BRASADA-CHRISTMAS VALLEY SECTION OF BRASADA-HARNEY NO 1 115KV LINE | ID-NW
28 | 1478880 | To RC West ID: 11272394 | 2022-05-02 06:00 | 2022-05-06 18:00 | MONROE-CUSTER NO 1 500KV LINE | BCHT,BCHW,IROL,NI,NOEL,SIG,SOC
29 | 1468158 | To RC West ID: 10977755 | 2022-05-02 07:00 | 2022-05-02 08:00 | CUSTER: PCB'S A-1238 & A-1242 | BCHT,BCHW,NOEL,SOC
30 | 1467678 | To RC West ID: 10977753 | 2022-05-02 07:00 | 2022-05-02 16:00 | CUSTER-INTALCO NO 1 230KV LINE INCLUDING INTALCO: PCB'S A-1012 & A-1036 | LOAD,NOEL,SOC,BCHT,BCHW
31 | 1436208 | To RC West ID: 10170373 | 2022-05-02 07:00 | 2022-06-30 12:00 | GARRISON: 500KV REACTOR 5 INCLUDING PCB 4362 | MT-NW
32 | 1463408 | To RC West ID: 10857432 | 2022-05-02 07:00 | 2022-05-04 17:30 | SICKLER: PCB 4340 | CI,GEN,NOH,NWACI,PDCI,WOCN
33 | 1462738 | To RC West ID: 10810556 | 2022-05-02 07:30 | 2022-05-02 15:00 | MONROE: 500KV CAP GROUP 2 INCLUDING PCB 4715 | IROL,NI,NOEL,SOC,WOCN
34 | 1479800 | To RC West ID: 11309860 | 2022-05-02 07:30 | 2022-05-03 16:00 | SATSOP: PCB A-616 | GEN,LOAD,PA,RP
35 | 1484998 | To RC West ID: 11454194 | 2022-05-02 07:30 | 2022-05-02 16:30 | SOUTH TACOMA-CANYON NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCB A-1298, PCB A-1301 (UNGROUNDED) | RP
36 | 1474160 | To RC West ID: 11314269 | 2022-05-02 08:00 | 2022-05-04 14:00 | DWORSHAK: PCB 4666 | FCRPS,GEN,MT-NW,NOH,WOH,WOLM
37 | 1476112 | To RC West ID: 11201599 | 2022-05-02 08:00 | 2022-05-02 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 1 INCLUDING PCB B-1379 | SOA
38 | 1465234 | To RC West ID: 10895130 | 2022-05-02 08:00 | 2022-05-17 16:00 | GRIZZLY: 4047/4049 TERMINALS AND MALIN: 4071/4073/4341 TERMINALS OF GRIZZLY-MALIN 2 500KV LINE (UNGROUNDED) | BCHT,BCHW,NWACI,PDCI,SIG,NI
39 | 1483816 | To RC West ID: 11434599 | 2022-05-02 08:00 | 2022-05-02 15:00 | KEELER: 230/115KV TRANSFORMER 3 INCLUDING PCB 3W | LOAD,SOA
40 | 1409448 | To RC West ID: 10725604 | 2022-05-02 08:00 | 2022-05-05 16:30 | LAPINE: 230/115KV TRANSFORMER 2
41 | 1479964 | To RC West ID: 11300477 | 2022-05-02 08:00 | 2022-05-02 16:30 | LOOKOUT POINT-DEXTER SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE INCLUDING DEXTER: B-1008 LSD (UNGROUNDED) | GEN
42 | 1476532 | To RC West ID: 11287869 | 2022-05-02 08:00 | 2022-05-12 16:00 | REDMOND: B-2036
43 | 1485050 | From RC West ID: 11260442 | 2022-05-02 08:00 | 2022-05-11 18:00 | SCL- NORTH - UNIVERSITY 115KV LINE | NOEL,SOC
44 | 1469928 | To RC West ID: 11035082 | 2022-05-02 08:30 | 2022-05-02 10:00 | HARVALUM: 230KV CAP GROUP 1 | WOM
45 | 1480360 | To RC West ID: 11314643 | 2022-05-02 08:30 | 2022-05-05 15:00 | SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 | COI,NWACI,PDCI,WOJD,WOS
46 | 1465006 | To RC West ID: 10983184 | 2022-05-02 08:30 | 2022-05-02 15:30 | WAUTOMA: PCB 5247 | WOCN
47 | 1476414 | To RC West ID: 11402319 | 2022-05-02 09:00 | 2022-05-05 15:30 | GOSHEN-DRUMMOND NO 1 161KV LINE | GEN,LOAD,SEIL
48 | 1422010 | From RC West ID: 9764090 | 2022-05-02 09:00 | 2022-07-01 14:30 | PACW- DIXONVILLE: ALVEY 1 500KV LINE SERIES CAP | NWACI,PDCI
49 | 1456276 | To RC West ID: 10700811 | 2022-05-02 09:30 | 2022-05-02 10:30 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1719 | RKCR
50 | 1456278 | To RC West ID: 10700819 | 2022-05-02 10:30 | 2022-05-02 11:30 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 INCLUDING PCB A-1720 | RKCR
51 | 1468160 | To RC West ID: 10977756 | 2022-05-02 15:30 | 2022-05-02 16:00 | CUSTER: PCB'S A-1238 & A-1242 | BCHT,BCHW,NOEL,SOC
52 | 1479268 | OTS Ticket # 12158 To RC West ID: 11286414 | 2022-05-03 06:00 | 2022-05-04 15:00 | PALISADES-SNAKE RIVER NO 1 115KV LINE | GEN,SEIL
53 | 1468138 | To RC West ID: 10977181 | 2022-05-03 07:00 | 2022-05-03 08:00 | CUSTER: PCB'S A-1250 & A-1546 | BCHT,BCHW,NOEL,SOC
54 | 1467680 | To RC West ID: 10977196 | 2022-05-03 07:00 | 2022-05-03 16:00 | CUSTER-INTALCO NO 2 230KV LINE INCLUDING INTALCO PCB'S A-1016 AND A-1020 | LOAD,NOEL,SOC,BCHT,BCHW
55 | 1479972 | To RC West ID: 11300568 | 2022-05-03 07:00 | 2022-05-03 16:30 | DEXTER-PLEASANT HILL SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE INCLUDING DEXTER: B-1010 LSD (UNGROUNDED) | GEN
56 | 1433164 |  | 2022-05-03 07:00 | 2022-05-28 16:00 | -IPCO- WEST JOHN DAY-HINES 138 KV LINE
57 | 1481528 | To RC West ID: 11346099 | 2022-05-03 07:00 | 2022-05-03 14:00 | SNOHOMISH: PCB B-1699
58 | 1469308 | To RC West ID: 11013519 | 2022-05-03 07:30 | 2022-05-04 15:00 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 2, INCLUDING PCB A-1427 | WOCN,NOEL,SOC
59 | 1485000 | To RC West ID: 11454204 | 2022-05-03 07:30 | 2022-05-03 16:30 | ST CLAIR-SOUTH TACOMA NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCB A-1090, PCB A-1087 (UNGROUNDED) | RP
60 | 1468414 | To RC West ID: 10983186 | 2022-05-03 07:30 | 2022-05-03 15:00 | WAUTOMA: PCB 5250 | WOCN
61 | 1466114 | To RC West ID: 11434332 | 2022-05-03 08:00 | 2022-05-03 12:00 | BIG EDDY-CHEMAWA NO 1 230KV LINE | NWACI,PDCI,WOCS,COI,WOJD
62 | 1476116 | To RC West ID: 11201602 | 2022-05-03 08:00 | 2022-05-03 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-1381 | SOA
63 | 1468142 | To RC West ID: 10977182 | 2022-05-03 15:30 | 2022-05-03 16:00 | CUSTER: PCB'S A-1250 & A-1546 | BCHT,BCHW,NOEL,SOC
64 | 1484944 | To RC West ID: 11443375 | 2022-05-04 06:30 | 2022-05-04 17:30 | FREDERICKSON-SOUTH TACOMA NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCB A-1092 AND PCB A-1098 (UNGROUNDED) | GEN,NOEL,SOC,RP
65 | 1479804 | To RC West ID: 11309866 | 2022-05-04 07:30 | 2022-05-05 16:00 | SATSOP: PCB A-622 | GEN,LOAD,PA,RP
66 | 1468416 | To RC West ID: 10983189 | 2022-05-04 07:30 | 2022-05-04 15:00 | WAUTOMA: PCB 5259 | WOCN
67 | 1476114 | To RC West ID: 11201605 | 2022-05-04 08:00 | 2022-05-04 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 3 INCLUDING PCB B-1383 | SOA
68 | 1469712 | To RC West ID: 11040109 | 2022-05-04 08:00 | 2022-05-05 16:00 | OSTRANDER: PCB 5134 | WOCS
69 | 1471748 | To RC West ID: 11188075 | 2022-05-04 08:00 | 2022-05-05 15:00 | WINE COUNTRY: PCB A-1741
70 | 1482704 | To RC West ID: 11427984 | 2022-05-05 07:00 | 2022-05-05 13:00 | SNOHOMISH: PCB B-1735 (SPLIT BUS) | NOEL,SOC
71 | 1475350 | To RC West ID: 11232805 | 2022-05-05 07:30 | 2022-05-05 15:00 | DRAIN: 115KV CAP GROUP 1 INCLUDING LBD B-509
72 | 1473122 | To RC West ID: 11134965 | 2022-05-05 07:30 | 2022-05-05 17:00 | LONGVIEW: 115KV SOUTH MAIN BUS INCLUDING PCB B-326 | PA,SOA,LOAD
73 | 1485002 | To RC West ID: 11454214 | 2022-05-05 07:30 | 2022-05-05 16:30 | SOUTH TACOMA-WHITE RIVER NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCB A-1095, PCB A-1098 (UNGROUNDED) | NOEL,RP,SOC,WOCN,GEN
74 | 1485038 | To RC West ID: 11444575 | 2022-05-05 08:00 | 2022-05-05 10:00 | ALBANY: 115KV CAP GROUP 1 SECTIONS 1 & 2, INCLUDING PCBS B-517, B-521, AND THE 115KV REACTIVE BUS | SLAL
75 | 1453194 | To RC West ID: 10541713 | 2022-05-05 08:00 | 2022-05-05 10:30 | CHIEF JOSEPH: PCB 4588 | BCHT,BCHW,GEN,NOH,NWACI,PDCI,WOCN
76 | 1476118 | To RC West ID: 11201607 | 2022-05-05 08:00 | 2022-05-05 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 4 INCLUDING PCB B-1385 | SOA
77 | 1480172 | To RC West ID: 11309375 | 2022-05-05 08:00 | 2022-05-05 16:00 | LANCASTER-NOXON NO 1 230KV LINE INCLUDING LANCASTER: PCB A-1184, PCB A-1186 | GEN,MT-NW,WOH
78 | 1470348 | To RC West ID: 11045343 | 2022-05-05 08:00 | 2022-05-05 10:30 | SICKLER: PCB 4334 | BCHT,BCHW,CI,GEN,NOH,NWACI,PDCI,WOCN
79 | 1453198 | To RC West ID: 10541715 | 2022-05-05 10:30 | 2022-05-05 13:00 | CHIEF JOSEPH: PCB 4586 | BCHT,BCHW,GEN,NOH,NWACI,PDCI,WOCN
80 | 1470350 | To RC West ID: 11045344 | 2022-05-05 10:30 | 2022-05-05 13:00 | SICKLER: PCB 4340 | CI,GEN,NOH,NWACI,PDCI,WOCN
81 | 1485034 | To RC West ID: 11444400 | 2022-05-05 11:00 | 2022-05-05 14:30 | ALVEY: 230KV CAP GROUP 2 SECTIONS 1, 2, AND 3 INCLUDING PCB'S A-235, A-237, A- 239AND THE 230KV REACTIVE BUS | COI,NWACI,PDCI
82 | 1485036 | To RC West ID: 11444475 | 2022-05-05 14:30 | 2022-05-05 16:00 | ALVEY: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING PCB'S B-1627, B-1661, AND THE 115KV REACTIVE BUS
83 | 1473072 | To RC West ID: 11134992 | 2022-05-05 15:00 | 2022-05-05 16:00 | ALLSTON-CLATSOP NO 1 230KV LINE | SOA
84 | 1485042 | To RC West ID: 11444472 | 2022-05-06 06:30 | 2022-05-06 08:00 | LANE: 230KV CAP GROUP 2 | COI,NWACI,PDCI
85 | 1479790 | OTS Ticket # 12301 To RC West ID: 11374247 | 2022-05-06 08:00 | 2022-05-06 18:00 | GRAND COULEE - B-1441 SECTION OF THE GRAND COULEE OKANOGAN #2 115 KV LINE INCLUDING THE KELLER TAP | LOAD
86 | 1485044 | To RC West ID: 11444468 | 2022-05-06 08:30 | 2022-05-06 10:00 | LANE: 115KV CAP GROUP 1 | EWEB
87 | 1485040 | To RC West ID: 11444572 | 2022-05-06 11:30 | 2022-05-06 13:00 | LEBANON: 115KV CAP GROUP 1 INCLUDING PCB B-1951 | COI,NWACI,PDCI,SLAL
88 | 1479576 | OTS Ticket # 12302 To RC West ID: 11374255 | 2022-05-06 18:00 | 2022-05-26 16:00 | NESPELEM-GOOSE LAKE SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE | LOAD
89 | 1473800 | OTS Ticket # 11909 | 2022-05-09 03:00 | 2022-05-11 17:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2, 230KV AUX BUS SECTION 1, GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE INCLUDING 230KV AUX BUS SECTION 3, PCB 5582, PCB 6382, PCB 7382 | GEN,NOH
90 | 1474240 | OTS Ticket # 11946 To RC West ID: 11141407 | 2022-05-09 06:00 | 2022-05-11 17:00 | CHIEF JOSEPH: A-590 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE | GEN,NOH,WOCN
91 | 1473806 | To RC West ID: 11131734 | 2022-05-09 06:30 | 2022-05-11 17:00 | CHIEF JOSEPH: PCB A-590 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE | GEN,NOH,WOCN
92 | 1478286 | From RC West ID: 11248571 | 2022-05-09 06:30 | 2022-05-12 18:30 | PAC - SADDLE MT-WALLA WALLA 1 230KV LINE (WALLA WALLA (PAC)-WANAPUM 230KV LINE) | WOH
93 | 1471866 | To RC West ID: 11095005 | 2022-05-09 07:00 | 2022-05-12 15:00 | CHEHALIS-OLYMPIA NO 1 230KV LINE | PA,RP
94 | 1470284 | To RC West ID: 11045346 | 2022-05-09 07:00 | 2022-05-10 16:00 | RAVER: PCB 4311 | NOEL,RP,SOC
95 | 1476846 | To RC West ID: 11228812 | 2022-05-09 07:00 | 2022-05-09 14:00 | SCHULTZ-ECHO LAKE NO 1 500KV LINE INCLUDING ECHO LAKE: 1 500KV LINE SERIES CAP GROUP 1 AND PCB 5142 | COI,IROL,NOEL,NOH,NWACI,PDCI,SIG,SOC,WOCN
96 | 1476854 | To RC West ID: 11228815 | 2022-05-09 07:00 | 2022-05-09 14:00 | SCHULTZ-RAVER NO 1 500KV LINE INCLUDING RAVER: 1 500KV LINE SERIES CAP GROUP 1 AND PCB 5163 | COI,IROL,NOEL,NOH,NWACI,PDCI,SIG,SOC,WOCN
97 | 1463412 | To RC West ID: 10857437 | 2022-05-09 07:00 | 2022-05-11 17:30 | SICKLER: PCB 4336 | CI,GEN,NOH,NWACI,WOCN
98 | 1465002 | To RC West ID: 10906588 | 2022-05-09 07:30 | 2022-05-11 15:30 | ASHE: PCB 4937 | NOH,NWACI,PDCI
99 | 1464258 | To RC West ID: 10875888 | 2022-05-09 07:30 | 2022-05-10 15:00 | ECHO LAKE: PCB 5127 | BCHT,NOEL,SOC,WOCN,BCHW,IROL
100 | 1462258 | To RC West ID: 10793216 | 2022-05-09 07:30 | 2022-05-10 15:00 | MONROE: PCB 5502 | BCHT,BCHW,NI,NOEL,SOC,WOCN
101 | 1484706 | To RC West ID: 11437310 | 2022-05-09 07:30 | 2022-05-10 17:00 | TAHKENITCH: PCB B-1568
102 | 1476578 | To RC West ID: 11206163 | 2022-05-09 08:00 | 2022-05-20 17:00 | DE MOSS-CONDON WIND SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE
103 | 1452334 | To RC West ID: 11091415 | 2022-05-09 08:00 | 2022-06-02 15:00 | HILLTOP-WARNER NO 1 230KV LINE INCLUDING WARNER: 230/115KV TRANSFORMER 1 (UNGROUNDED) | COI,NWACI,PDCI,RATS
104 | 1483496 | OTS Ticket # 12329 To RC West ID: 11402811 | 2022-05-09 08:00 | 2022-05-12 15:00 | MINIDOKA PH-CANAL SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE
105 | 1469992 | To RC West ID: 11080510 | 2022-05-09 08:00 | 2022-05-09 16:00 | PAUL: PCB 4548 | NWACI,PA,PDCI
106 | 1462980 | To RC West ID: 11369044 | 2022-05-09 08:00 | 2022-05-10 15:00 | PONDEROSA: PCB A-1844 | COI,PDCI
107 | 1481990 | To RC West ID: 11356160 | 2022-05-09 08:00 | 2022-05-09 15:00 | ST. JOHNS: PCB B-48
108 | 1472492 | To RC West ID: 11137066 | 2022-05-09 08:00 | 2022-05-09 17:00 | TOLEDO: PCB A-1472
109 | 1471766 | To RC West ID: 11188093 | 2022-05-09 08:00 | 2022-05-10 15:00 | WINE COUNTRY: PCB A-1747
110 | 1430490 | To RC West ID: 9993091 | 2022-05-09 08:30 | 2022-05-13 16:00 | JONES CANYON-TUMBLE CREEK SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE | GEN,WOCS,WOM
111 | 1412488 | To RC West ID: 11401481 | 2022-05-09 08:30 | 2022-05-09 17:00 | TILLAMOOK: 115KV MAIN BUS INCLUDING THE 115KV CAP GROUP 2 SECTIONS 1 & 2, THE MAIN BUS PT'S AND PCB'S B-1097, B-1093, B-1095, B-1288, B-1094, B-1096, B-1098, B-1100 AND B-1083 | LOAD,SOA
112 | 1484396 | To RC West ID: 11438791 | 2022-05-09 10:00 | 2022-05-12 15:00 | SNO-KING: PCB B-1581 INCLUDING THE B-1581 RELAYS AND BFR
113 | 1482890 | From RC West ID: 11378693 | 2022-05-10 07:30 | 2022-05-10 16:00 | HORIZON-KEELER BPA 230KV ==>> OOS | SOA
114 | 1431340 | From RC West ID: 10016615 | 2022-05-10 07:30 | 2022-05-10 16:00 | KEELER BPA-RIVERGATE 230KV | SOA
115 | 1403850 | To RC West ID: 9483031 | 2022-05-10 07:30 | 2022-05-10 16:00 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-860 | SOA,WOCS,WOCN
116 | 1484642 | To RC West ID: 11434123 | 2022-05-10 07:30 | 2022-05-10 15:00 | TACOMA: PCB A-1073 | BCHT,BCHW,NOEL,RP,SOC
117 | 1481992 | To RC West ID: 11356158 | 2022-05-10 08:00 | 2022-05-10 15:00 | ST. JOHNS: PCB B-40
118 | 1473992 | To RC West ID: 11368664 | 2022-05-10 08:00 | 2022-05-13 16:30 | TAHKENITCH: 115KV CAP GROUP 1 SECTION 1 & 2 INCLUDING PCBS: B-1574 & B-1569
119 | 1473908 | To RC West ID: 11135160 | 2022-05-10 08:00 | 2022-05-10 16:00 | TUCANNON RIVER: PCB B-2021
120 | 1485028 | To RC West ID: 11444392 | 2022-05-10 09:00 | 2022-05-10 11:00 | DRAIN: LBD B-509 INCLUDING 115KV CAP GROUP 1 | SWORE
121 | 1466152 | OTS Ticket # 11231 To RC West ID: 10918685 | 2022-05-10 10:15 | 2022-05-10 10:45 | GRAND COULEE: PCB 2092, PCB 2096 | GEN,NOH,WOCN
122 | 1466158 | OTS Ticket # 11232 To RC West ID: 10918686 | 2022-05-10 11:15 | 2022-05-10 11:45 | GRAND COULEE: PCB 2192, PCB 2196 | GEN,NOH,WOCN
123 | 1466174 | OTS Ticket # 11233 To RC West ID: 10918687 | 2022-05-10 12:45 | 2022-05-10 13:15 | GRAND COULEE: PCB 2296, PCB 2292 | GEN,NOH,WOCN
124 | 1466176 | OTS Ticket # 11235 To RC West ID: 10918692 | 2022-05-10 13:45 | 2022-05-10 14:15 | GRAND COULEE: PCB 2392, PCB 2396 | GEN,NOH,WOCN
125 | 1466178 | OTS Ticket # 11236 To RC West ID: 10918141 | 2022-05-10 14:45 | 2022-05-10 15:15 | GRAND COULEE: PCB 2492, PCB 2496 | GEN,NOH,WOCN
126 | 1464478 | To RC West ID: 10873885 | 2022-05-11 07:00 | 2022-05-12 14:00 | PORT ANGELES: PCB B-1205
127 | 1481994 | To RC West ID: 11369022 | 2022-05-11 07:00 | 2022-05-11 13:00 | ST. JOHNS: ROSS-ST JOHNS NO 1 230KV LINE INCLUDING ST. JOHNS 230/115KV TRANSFORMER 1 AND A-87 TRANSFORMER 1 DISC | LOAD,NOEL,SOA,SOC
128 | 1462264 | To RC West ID: 10793434 | 2022-05-11 07:30 | 2022-05-12 15:00 | MONROE: PCB 5505 | BCHT,BCHW,NI,NOEL,SOC,WOCN
129 | 1469052 | To RC West ID: 11007920 | 2022-05-11 07:30 | 2022-05-11 10:00 | RAVER: PCB 4849 | NOEL,RP,SOC,IROL,NOH,NWACI,PDCI,SIG,WOCN
130 | 1484996 | To RC West ID: 11454244 | 2022-05-11 07:30 | 2022-05-12 13:00 | SOUTH TACOMA: 230KV EAST BUS INCLUDING PCB'S A-1095, PCB A-1298, PCB A-1084 | NOEL,RP,SOC
131 | 1464260 | To RC West ID: 10875901 | 2022-05-11 08:00 | 2022-05-12 15:00 | ECHO LAKE: PCB 5125 | BCHT,NOEL,SOC,WOCN,BCHW,IROL
132 | 1469998 | To RC West ID: 11080796 | 2022-05-11 08:00 | 2022-05-11 16:00 | PAUL: PCB 4550 | NWACI,PA,PDCI
133 | 1462982 | To RC West ID: 11369037 | 2022-05-11 08:00 | 2022-05-12 15:00 | PONDEROSA: PCB A-1847 | COI,PDCI
134 | 1471774 | To RC West ID: 11187931 | 2022-05-11 08:00 | 2022-05-12 15:00 | WINE COUNTRY: PCB A-1744
135 | 1469286 | To RC West ID: 11007936 | 2022-05-11 10:30 | 2022-05-11 13:00 | RAVER: PCB 4858 | NOEL,RP,SOC,IROL,NOH,NWACI,PDCI,SIG,WOCN
136 | 1473804 | OTS Ticket # 11910 To RC West ID: 11131755 | 2022-05-12 03:00 | 2022-06-02 17:00 | -USBR- GRAND COULEE: PCB 8086
137 | 1465004 | To RC West ID: 10914248 | 2022-05-12 07:00 | 2022-05-12 14:00 | BENTON-BAXTER SECTION OF BENTON-FRANKLIN NO 1 115KV LINE INCLUDING BENTON: PCB B-542 (UNGROUNDED) | TCLA
138 | 1485048 | From RC West ID: 11260191 | 2022-05-12 08:00 | 2022-05-13 18:00 | SCL DIABLO - SCL BOTHELL 3 230KV LINE SCL BOTHELL BKR 240-70 | NOEL,SOC
139 | 1465702 | To RC West ID: 11401764 | 2022-05-12 08:30 | 2022-05-12 15:30 | KEELER: PCB 4322 | SOA
140 | 1470320 | To RC West ID: 11045311 | 2022-05-12 10:00 | 2022-05-12 12:30 | JOHN DAY: PCB 4179 | NWACI,PDCI,WOJD
141 | 1482894 | To RC West ID: 11461286 | 2022-05-12 12:30 | 2022-05-12 15:30 | BIG EDDY: PCB B-1696
142 | 1470322 | To RC West ID: 11045313 | 2022-05-12 12:30 | 2022-05-12 15:00 | JOHN DAY: PCB 4176 | NWACI,PDCI,WOJD
143 | 1454608 | To RC West ID: 10595576 | 2022-05-13 08:00 | 2022-05-13 12:00 | SCHULTZ: PCB 5145 | WOCN
144 | 1454614 | To RC West ID: 10595578 | 2022-05-13 12:00 | 2022-05-13 16:00 | SCHULTZ: PCB 5148 | WOCN
145 | 1478570 | From RC West ID: 11260224 | 2022-05-14 08:00 | 2022-05-15 18:00 | SCL - BOTHELL: 230/115KV TRANSFORMER 64 | LOAD,NOEL,SOC
146 | 1442308 | OTS Ticket # 9944 To RC West ID: 10388848 | 2022-05-16 03:00 | 2022-07-01 19:00 | GRAND COULEE: GRAND COULEE SWITCHYARD 230-500KV TIE NO 1 500KV LINE INCLUDING PCBS 6582, 1996 AND 8692 | NOH,WOCN,GEN
147 | 1465034 | To RC West ID: 10940703 | 2022-05-16 07:00 | 2022-05-16 16:30 | ASHE: 500KV NORTH BUS INCLUDING PCB 5327 AND PCB 5466 | GEN,NWACI,PDCI,WOLM,NOH,WOJD,WOM,WOS
148 | 1476274 | To RC West ID: 11210644 | 2022-05-16 07:00 | 2022-05-16 11:30 | CHEHALIS-PE ELL SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE INCLUDING PE ELL: B-661 LINE SECTIONALIZING DISC | LOAD,PA,RP,SOA
149 | 1466342 | To RC West ID: 10940500 | 2022-05-16 07:00 | 2022-05-16 16:00 | MONROE-CUSTER NO 2 500KV LINE INCLUDING CUSTER: PCB 4494, PCB 4496 | BCHT,BCHW,IROL,NOEL,SIG,SOC
150 | 1471288 | To RC West ID: 11233752 | 2022-05-16 07:00 | 2022-05-19 17:30 | NOXON-LIBBY NO 1 230KV LINE | WOH,MT-NW
151 | 1457296 | To RC West ID: 10670071 | 2022-05-16 07:00 | 2022-05-17 15:00 | PAUL: PCB 4530 | RP
152 | 1470290 | To RC West ID: 11045456 | 2022-05-16 07:00 | 2022-05-17 16:00 | RAVER: PCB 4846 | NOEL,RP,SOC
153 | 1436340 | To RC West ID: 10178155 | 2022-05-16 07:00 | 2022-05-16 16:00 | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE INCLUDING B-1597 LINE SECT DISCONNECT
154 | 1475448 | To RC West ID: 11368609 | 2022-05-16 07:30 | 2022-05-16 11:30 | HARRISBURG: PCB B-414
155 | 1459162 | To RC West ID: 11319238 | 2022-05-16 07:30 | 2022-05-19 15:30 | KEELER-ALLSTON NO 1 500KV LINE INCLUDING KEELER: PCB'S 4324 & 4394 AND ALLSTON: PCB'S 4502 & 4504 | NWACI,PDCI,SIG,SOA,WOCS,PA
156 | 1469994 | To RC West ID: 11059843 | 2022-05-16 07:30 | 2022-05-18 16:00 | OSTRANDER: PCB 4838 | WOCS
157 | 1458516 | To RC West ID: 11135813 | 2022-05-16 07:30 | 2022-05-19 17:00 | TAHKENITCH: 230/115KV TRANSFORMER 1 | SWORE,LOAD
158 | 1463172 | To RC West ID: 10851889 | 2022-05-16 08:00 | 2022-05-23 17:30 | BIG EDDY-REDMOND #1 230KV LINE INCLUDING MAUPIN: 230/69KV BANK #1 | NWACI,PDCI
159 | 1478572 | From RC West ID: 11260238 | 2022-05-16 08:00 | 2022-05-17 18:00 | BOTHELL-SNO-KING NO 2 230KV LINE | NOEL,SOC
160 | 1464262 | To RC West ID: 10880483 | 2022-05-16 08:00 | 2022-05-17 15:00 | ECHO LAKE: PCB 5121 | BCHT,BCHW,NOEL,SOC,WOCN
161 | 1483508 | To RC West ID: 11402328 | 2022-05-16 08:00 | 2022-05-16 15:00 | GOSHEN-DRUMMOND NO 1 161KV LINE | GEN,LOAD,SEIL
162 | 1471830 | To RC West ID: 11187924 | 2022-05-16 08:00 | 2022-05-18 12:00 | MOXEE: PCB B-904
163 | 1481224 | From RC West ID: 11336744 | 2022-05-16 08:00 | 2022-05-19 16:00 | PGE - CARVER-MCLOUGHLIN 1 230KV | SOA,WOCS
164 | 1411796 | From RC West ID: 9483928 | 2022-05-16 08:00 | 2022-05-20 17:30 | PILOT BUTTE-BPA LAPINE 230 KV LINE | NJD,NWACI,PDCI
165 | 1468350 | To RC West ID: 11044821 | 2022-05-16 08:00 | 2022-05-19 16:30 | TAHKENITCH-REEDSPORT NO 1 115KV LINE | SWORE
166 | 1480164 | To RC West ID: 11346348 | 2022-05-16 09:00 | 2022-05-23 17:30 | BIG EDDY: PCB A-814 | COI,NWACI,PDCI,WOJD
167 | 1476244 | To RC West ID: 11210655 | 2022-05-16 11:30 | 2022-05-16 15:30 | PE ELL-HOLCOMB SECTION OF CHEHALIS-RAYMOND NO.1 115KV LINE INCLUDING B-662 LINE SECTIONALIZING DISCONNECT | LOAD,SOA
168 | 1482382 | To RC West ID: 11364892 | 2022-05-17 06:30 | 2022-05-17 15:00 | GOSHEN-DRUMMOND NO 1 161KV LINE INCLUDING DRUMMOND: 161/115KV TRANSFORMER 4 | GEN,LOAD,SEIL
169 | 1465038 | To RC West ID: 10940714 | 2022-05-17 07:00 | 2022-05-17 16:30 | ASHE: 500KV SOUTH BUS INCLUDING PCB 5324, PCB 5463, PCB 4908, AND 500KV REACTOR 2 | GEN,NWACI,PDCI,NOH,COI
170 | 1467628 | To RC West ID: 10972392 | 2022-05-17 07:00 | 2022-05-17 15:00 | SHELTON: PCB B-1130 | SOA
171 | 1423982 | To RC West ID: 9831046 | 2022-05-17 07:00 | 2022-05-17 16:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE INCLUDING B-1598 LINE DISC | PA
172 | 1473692 | To RC West ID: 11136630 | 2022-05-17 08:00 | 2022-05-17 15:00 | DWORSHAK: 500KV REACTOR 2 INCLUDING PCB 4650 | GEN,MT-NW,WOH
173 | 1478814 | To RC West ID: 11318079 | 2022-05-17 22:00 | 2022-05-18 06:00 | CONYERS TAP TO ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING CONYERS-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE (UNGROUNDED) | PA,LOAD,SOA
174 | 1483376 | To RC West ID: 11401458 | 2022-05-18 06:30 | 2022-05-18 14:00 | SWAN VALLEY-GOSHEN NO 1 161KV LINE INCLUDING SWAN VALLEY:161/115KV TRANSFORMER 3, 13.2KV - 120/240V PRIMARY SS TRANSFORMER AND 115KV AUX BUS | GEN,LOAD,SEIL
175 | 1484990 | To RC West ID: 11454247 | 2022-05-18 07:30 | 2022-05-19 13:00 | SOUTH TACOMA: 230KV WEST BUS, PCB A-1092, PCB A-1301, PCB A-1090 | NOEL,RP,SOC,GEN
176 | 1482764 | To RC West ID: 11374422 | 2022-05-18 08:00 | 2022-05-22 15:30 | ALVEY: 5085/5086 TERMINAL ALVEY-DIXONVILLE NO 1 500KV LINE | BCHT,BCHW,COI,NI,NWACI,PDCI,SIG
177 | 1478576 | From RC West ID: 11260300 | 2022-05-18 08:00 | 2022-05-18 18:00 | BOTHELL-SNO-KING NO 2 230KV LINE AND SEDRO WOOLLEY-BOTHELL-HORSE RANCH TAP 230KV LINE | NOEL,SOC
178 | 1464268 | To RC West ID: 10880487 | 2022-05-18 08:00 | 2022-05-19 15:00 | ECHO LAKE: PCB 5117 | BCHT,BCHW,NOEL,SOC,WOCN
179 | 1478682 | To RC West ID: 11264630 | 2022-05-18 08:00 | 2022-06-24 16:00 | GRIZZLY: 4053/5039 TERMINAL OF GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | COI,NWACI,PDCI,SIG,WOJD
180 | 1470028 | To RC West ID: 11080850 | 2022-05-18 08:00 | 2022-05-18 16:00 | PAUL: PCB 4540 | NWACI,PA,PDCI
181 | 1424932 | To RC West ID: 9831109 | 2022-05-18 08:00 | 2022-05-19 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
182 | 1482760 | From RC West ID: 11374371 | 2022-05-18 09:00 | 2022-05-22 15:30 | ALVEY-DIXONVILLE (PACW) ==>> OOS | BCHT,BCHW,COI,NI,NWACI,PDCI,SIG
183 | 1481366 | To RC West ID: 11340761 | 2022-05-19 07:00 | 2022-05-19 16:30 | LONGVIEW: PCB B-456
184 | 1466600 | To RC West ID: 10981554 | 2022-05-19 07:30 | 2022-05-19 14:00 | ALVEY: PCB 5099 INCLUDING 500KV REACTOR 2
185 | 1481260 | To RC West ID: 11374234 | 2022-05-19 07:30 | 2022-05-19 15:00 | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE INCLUDING RED MOUNTAIN: PCB B-1974 (UNGROUNDED) | GEN,LOAD,TCLA
186 | 1465804 | To RC West ID: 10911318 | 2022-05-19 08:00 | 2022-05-19 15:00 | SANTIAM: PCB A-528 | COI,PDCI
187 | 1478580 | From RC West ID: 11260359 | 2022-05-19 08:00 | 2022-05-20 18:00 | SCL - SEDRO WOOLLEY-BOTHELL-HORSE RANCH TAP 230KV LINE | SOC,NOEL
188 | 1470790 | To RC West ID: 11108633 | 2022-05-19 09:30 | 2022-05-19 12:00 | PAUL: PCB 4548 | NWACI,PA,PDCI,SIG
189 | 1472340 | To RC West ID: 11108639 | 2022-05-19 12:01 | 2022-05-19 14:30 | PAUL: PCB 4550 | NWACI,PA,PDCI
190 | 1483974 | From RC West ID: 11412903 | 2022-05-20 08:00 | 2022-05-20 16:00 | PGE - BIG EDDY-MCLOUGHLIN NO 1&2 230KV LINE | COI,NWACI,PDCI,SOA,WOJD
191 | 1477944 | To RC West ID: 11282965 | 2022-05-21 23:00 | 2022-05-22 06:30 | SILVERADO FROM REMOVED JUMPERS ON SILVERADO SIDE OF B-1478 DISCONNECT-SAPPHO SECTION OF PORT ANGELES-SAPPHO NO 1 115KV LINE
192 | 1406326 | OTS Ticket # 7855 To RC West ID: 9547088 | 2022-05-23 06:30 | 2022-06-03 17:00 | GRAND COULEE: PCB 1992, PCB 1996 | COI,GEN,NJD,NOH,PDCI,WOCN,NWACI
193 | 1466344 | To RC West ID: 10940512 | 2022-05-23 07:00 | 2022-05-24 15:00 | CUSTER: PCB A-1254 | BCHT,BCHW,NOEL,SOC
194 | 1421848 | To RC West ID: 9760863 | 2022-05-23 07:00 | 2022-05-26 15:00 | MARION-ALVEY NO 1 500KV LINE | BCHT,BCHW,NWACI,PDCI,SIG
195 | 1465124 | To RC West ID: 10917630 | 2022-05-23 07:00 | 2022-05-26 15:00 | MONROE: PCB 5053 | BCHT,BCHW,NOEL,SOC,WOCN
196 | 1471870 | To RC West ID: 11095041 | 2022-05-23 07:00 | 2022-05-24 15:00 | SKOOKUM-SHELTON SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA,RP
197 | 1467252 | To RC West ID: 11136636 | 2022-05-23 07:30 | 2022-05-23 16:30 | ALLSTON: PCB 4500 | PA,SOA
198 | 1476760 | To RC West ID: 11210502 | 2022-05-23 07:30 | 2022-05-23 13:00 | CLAYTON-ADDY SECTION OF BELL-ADDY 1 115KV LINE INCLUDING LOON LAKE TAP (UNGROUNDED)
199 | 1442478 | To RC West ID: 10660761 | 2022-05-23 07:30 | 2022-05-24 16:00 | RAVER: PCB 4293 | NOEL,RP,SOC
200 | 1421858 | To RC West ID: 9760867 | 2022-05-23 08:00 | 2022-05-26 15:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5103 | NWACI,PDCI
201 | 1466180 | To RC West ID: 10946214 | 2022-05-23 08:00 | 2022-05-26 16:00 | BIG EDDY-OSTRANDER NO 1 500KV LINE | NWACI,PDCI,SIG,WOCS,WOJD
202 | 1474162 | To RC West ID: 11314272 | 2022-05-23 08:00 | 2022-05-25 14:00 | DWORSHAK: PCB 4656 | GEN,MT-NW,NOH,WOH,WOLM
203 | 1468356 | To RC West ID: 11044920 | 2022-05-23 08:00 | 2022-05-26 14:30 | FAIRVIEW-ROGUE NO 1 230KV LINE | SWORE
204 | 1465760 | To RC West ID: 11402024 | 2022-05-23 08:00 | 2022-05-26 15:00 | KEELER: PCB A-862 | SOA
205 | 1470020 | To RC West ID: 11059849 | 2022-05-23 08:00 | 2022-05-26 16:00 | OSTRANDER: RAS AC-A LLL KNIGHT 1 CKT 7C68, RAS AC-B LLL KNIGHT 1/RS CKT 7C67 AND KNIGHT 1 500KV LINE RELAY SETS 1 AND 2( FORCES OUT KNIGHT-OSTRANDER NO. 1 500KV LINE) | WOCS,NWACI,PDCI,SIG,WOJD,BCHT,BCHW,NI
206 | 1470030 | To RC West ID: 11080863 | 2022-05-23 08:00 | 2022-05-24 16:00 | PAUL: PCB 4818 | PA,RP
207 | 1411798 | From RC West ID: 9483929 | 2022-05-23 08:00 | 2022-05-27 17:30 | PILOT BUTTE-BPA LAPINE 230 KV LINE | NJD,NWACI,PDCI
208 | 1469342 | To RC West ID: 11020133 | 2022-05-23 08:00 | 2022-05-23 11:30 | SCHULTZ: PCB 5129 | WOCN
209 | 1470108 | To RC West ID: 11040160 | 2022-05-23 08:00 | 2022-05-23 11:30 | SICKLER: PCB 4334 | BCHT,BCHW,CI,GEN,NOH,NWACI,PDCI,WOCN
210 | 1479954 | To RC West ID: 11308807 | 2022-05-23 09:00 | 2022-05-26 14:00 | NASELLE-HAGEN SECTION OF NASELLE-TARLETT NO 2 115KV LINE | RP,SOA
211 | 1471292 | To RC West ID: 11090422 | 2022-05-23 09:00 | 2022-05-26 15:00 | RATTLESNAKE-GARRISON NO 1 230KV LINE | MT-NW
212 | 1469346 | To RC West ID: 11020135 | 2022-05-23 11:30 | 2022-05-23 16:30 | SCHULTZ: PCB 5132 | WOCN
213 | 1470110 | To RC West ID: 11040159 | 2022-05-23 11:30 | 2022-05-23 16:30 | SICKLER: PCB 4336 | CI,GEN,NOH,NWACI,WOCN
214 | 1477704 | OTS Ticket # 12095 To RC West ID: 11238458 | 2022-05-24 07:00 | 2022-05-26 17:00 | GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT,BCHW,COI,GEN,NI,NOH,NWACI,PDCI,SIG,WOCN
215 | 1467254 | To RC West ID: 11136640 | 2022-05-24 07:30 | 2022-05-24 16:30 | ALLSTON: PCB 4690 | PA,SOA
216 | 1483518 | To RC West ID: 11434592 | 2022-05-24 08:00 | 2022-05-26 15:30 | JOHN DAY: 230KV WEST BUS INCLUDING PCB'S A-1734, A-1735 AND 230KV CAP GROUP 2 SECTIONS 1 AND 2 AND (NEW) SECTION 3 | COI,JDAY,NWACI,PDCI,WOJD
217 | 1476130 | To RC West ID: 11201732 | 2022-05-24 08:30 | 2022-05-24 15:00 | KITSAP: PCB B-943 | SOA
218 | 1466930 | OTS Ticket # 11318 To RC West ID: 10946194 | 2022-05-24 10:15 | 2022-05-24 10:45 | GRAND COULEE: PCB 2096, PCB 2092 | GEN,NOH,WOCN
219 | 1466932 | OTS Ticket # 11319 To RC West ID: 10946195 | 2022-05-24 11:15 | 2022-05-24 11:45 | GRAND COULEE: PCB 2196, PCB 2192 | GEN,NOH,WOCN
220 | 1466934 | OTS Ticket # 11320 To RC West ID: 10946196 | 2022-05-24 12:45 | 2022-05-24 13:15 | GRAND COULEE: PCB 2296, PCB 2292 | GEN,NOH,WOCN
221 | 1466936 | OTS Ticket # 11321 To RC West ID: 10946197 | 2022-05-24 13:45 | 2022-05-24 14:15 | GRAND COULEE: PCB 2396, PCB 2392 | GEN,NOH,WOCN
222 | 1466938 | OTS Ticket # 11322 To RC West ID: 10946198 | 2022-05-24 14:45 | 2022-05-24 15:15 | GRAND COULEE: PCB 2496, PCB 2492 | GEN,WOCN,NOH
223 | 1471872 | To RC West ID: 11094910 | 2022-05-25 07:00 | 2022-05-26 15:00 | OLYMPIA-SKOOKUM SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA
224 | 1481584 | To RC West ID: 11346121 | 2022-05-25 07:00 | 2022-05-25 14:00 | SNOHOMISH: PCB A-298 | NOEL,SOC
225 | 1467256 | To RC West ID: 11136652 | 2022-05-25 07:30 | 2022-05-25 16:30 | ALLSTON: PCB 4696 | PA,SOA
226 | 1442476 | To RC West ID: 10660803 | 2022-05-25 07:30 | 2022-05-26 16:00 | RAVER: PCB 4220
227 | 1478586 | From RC West ID: 11260413 | 2022-05-25 08:00 | 2022-05-26 18:00 | SCL - BOTHELL: 230/115KV TRANSFORMER 62 | LOAD,NOEL,SOC
228 | 1476132 | To RC West ID: 11201734 | 2022-05-25 08:30 | 2022-05-25 15:00 | KITSAP: PCB B-945 | SOA
229 | 1467258 | To RC West ID: 11136659 | 2022-05-26 07:30 | 2022-05-26 16:30 | ALLSTON: PCB 4687 | PA,SOA
230 | 1470358 | To RC West ID: 11045320 | 2022-05-26 10:00 | 2022-05-26 12:30 | JOHN DAY: PCB 4197 | NWACI,PDCI,WOJD
231 | 1480452 | To RC West ID: 11317932 | 2022-05-26 11:00 | 2022-05-26 13:00 | SLATT: PCB A-1797 | COI,JDAY,NWACI,PDCI,WOS
232 | 1465132 | To RC West ID: 10917705 | 2022-05-26 12:00 | 2022-05-26 15:00 | MONROE: 500/230KV TRANSFORMER 1, INCLUDING PCB 5053, PCB 5050, PCB A-1421 | IROL,NOEL,SIG,SOC,BCHT,BCHW,WOCN
233 | 1470362 | To RC West ID: 11045323 | 2022-05-26 12:30 | 2022-05-26 15:00 | JOHN DAY: PCB 4194 | NOH,NWACI,PDCI,WOJD
234 | 1480454 | To RC West ID: 11317933 | 2022-05-26 13:00 | 2022-05-26 15:00 | SLATT: PCB A-1785 | COI,NWACI,PDCI,WOJD
235 | 1465126 | To RC West ID: 10917722 | 2022-05-26 15:00 | 2022-05-26 15:30 | MONROE: PCB 5050 | BCHT,BCHW,NOEL,SOC,WOCN
236 | 1468468 | OTS Ticket # 11467 To RC West ID: 10983212 | 2022-05-30 03:00 | 2022-05-30 03:30 | GRAND COULEE: PCB 2096, PCB 2092 | GEN,NOH,WOCN
237 | 1471874 | To RC West ID: 11094917 | 2022-05-30 07:00 | 2022-06-02 15:00 | OLYMPIA-SKOOKUM SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA
238 | 1473810 | OTS Ticket # 11911 To RC West ID: 11135019 | 2022-05-31 03:00 | 2022-06-02 17:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2, 230KV AUX BUS SECTION 1, GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE INCLUDING 230KV AUX BUS SECTION 3, PCB 5582, PCB 6382, PCB 7382 | GEN,NOH
239 | 1473824 | OTS Ticket # 11947 To RC West ID: 11141430 | 2022-05-31 06:00 | 2022-06-02 17:00 | CHIEF JOSEPH: A-578 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE | GEN,NOH,WOCN
240 | 1473820 | To RC West ID: 11131781 | 2022-05-31 06:30 | 2022-06-02 17:00 | CHIEF JOSEPH: PCB A-578 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE | GEN,NOH,WOCN
241 | 1484558 | OTS Ticket # 12199 | 2022-05-31 07:00 | 2022-06-13 17:00 | ALBENI FALLS: B-962 A/B, B-962 M/B DISC TERMINALS OF THE AMBENI FALLS PH-ALBENI FALLS NO 1 115KV LINE | SOB,GEN
242 | 1481454 | To RC West ID: 11345095 | 2022-05-31 07:00 | 2022-06-01 16:30 | BELL: PCB A-554 | MT-NW,WOH
243 | 1467052 | To RC West ID: 11035267 | 2022-05-31 07:30 | 2022-05-31 11:30 | ALVEY: PCB A-656 | COI,PDCI
244 | 1477022 | To RC West ID: 11239315 | 2022-05-31 08:00 | 2022-05-31 15:00 | HATWAI: PCB A-113 | WOH
245 | 1421850 | To RC West ID: 9760900 | 2022-05-31 08:00 | 2022-06-04 15:30 | MARION-LANE NO 1 500KV LINE INCLUDING MOD 4527 AND 500/230KV TRANSFORMER 3 (UNGROUNDED AT MARION) | NWACI,PDCI,SIG,COI,NJD
246 | 1468290 | To RC West ID: 11045025 | 2022-05-31 08:00 | 2022-06-02 16:30 | REEDSPORT-LAKESIDE SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | LOAD,SWORE
247 | 1478646 | To RC West ID: 11264209 | 2022-05-31 09:00 | 2022-05-31 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE AND PONDEROSA 500/230KV BANK 2 | BCHT,BCHW,NI,NWACI,PDCI,SIG,COI
248 | 1470760 | To RC West ID: 11121261 | 2022-05-31 09:00 | 2022-06-10 18:30 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN: 500KV SERIES CAP GROUP 1 - (UNGROUNDED) | BCHT,BCHW,NI,NWACI,PDCI,SIG,COI
249 | 1479958 | To RC West ID: 11313033 | 2022-05-31 09:30 | 2022-05-31 15:00 | RAYMOND-WILLAPA RIVER NO 1 115KV LINE
250 | 1467058 | To RC West ID: 11035475 | 2022-05-31 11:30 | 2022-05-31 15:30 | ALVEY: PCB A-660 | COI,PDCI