## Request List
Row | Request# | Start | End | CAISO# | Main Element Impacted | Path Affected
1 | 21-01711 | 02/03/2021 09:00 | 02/28/2023 17:00 | 9741845 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 21-01581 | 04/30/2021 16:15 | 03/31/2023 18:00 |  | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCHT, BCHW, NI
3 | 21-01767 | 06/30/2021 10:00 | 02/03/2023 16:00 | 10359382 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD, RP, SIG, PA
4 | 21-01773 | 08/25/2021 12:00 | 09/29/2022 23:59 | 10627358 | MAPLE VALLEY: 500/230KV TRANSFORMER 2 (DERATED) | IROL, NOEL, SIG, SOC, WOCN
5 | 21-01784 | 08/25/2021 12:00 | 12/31/2022 23:59 | 11699929 | GARRISON: 500/230KV TRANSFORMER 1 (DERATED) | MT-NW
6 | 21-01785 | 08/25/2021 12:00 | 10/31/2022 23:59 | 10627331 | HOT SPRINGS: 500/230KV TRANSFORMER 1 (DERATED) | GEN, MT-NW, WOH
7 | 21-01797 | 08/25/2021 12:00 | 09/29/2022 23:59 | 10627354 | MCNARY: 500/230KV TRANSFORMER 2 (DERATED) | COI, PDCI, SIG, WOJD, WOM, NWACI
8 | 22-06746 | 04/06/2022 06:30 | 12/30/2022 15:00 | 11593785 | CONKELLEY: LBD A-1575 INCLUDING 230KV CAP GROUP 2 SECTION 1 | MT-NW
9 | 22-06836 | 04/06/2022 12:25 | 12/31/2022 15:00 | 11597875 | OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8 | SIG, SOA, WOCS, SIG, WOCS, SOA
10 | 22-08527 | 06/01/2022 00:00 | 10/31/2022 23:59 | 11756807 | HAT ROCK TAP TO MCNARY-PACW WALLULA NO 1 230KV LINE | WOM
11 | 22-09321 | 06/01/2022 00:00 | 10/31/2022 23:59 | 11837919 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, (DERATED) | SOB, SOB
12 | 22-07562 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11662150 | COVINGTON: 500/230KV TRANSFORMER 5, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
13 | 22-07563 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11662212 | COVINGTON: 500/230KV TRANSFORMER 4, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
14 | 22-01027 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11164008 | RIVERGATE-KEELER NO 1&2 230KV LINE (SUMMER DERATE) | SOA
15 | 22-10498 | 06/21/2022 15:00 | 10/31/2022 23:59 | 11965261 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | LOAD, SI, PA, RP
16 | 22-06143 | 07/05/2022 09:00 | 09/02/2022 15:30 | 9826915 | PAC - MERIDIAN: DIXONVILLE 1 500KV LINE SERIES CAP SC-575 | NWACI/PDCI
17 | 22-01911 | 08/01/2022 07:00 | 09/16/2022 15:30 | 10699638 | MCNARY-ROSS NO 1 345KV LINE, MCNARY: 345/230KV TRANSFORMER 8, ROSS: 345/230KV TRANSFORMER 4 | SOA, WOCS, WOM, GEN, SOA, WOCS, WOM, SIG, SOA, WOCS, WOM, SOA, WOCS, WOM, SOA, WOCS
18 | 22-06187 | 08/15/2022 08:30 | 09/09/2022 15:00 | 11587862 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE | SOB, GEN, BCHT, GEN, MT-NW, SOB
19 | 22-02186 | 08/22/2022 04:30 | 09/09/2022 15:00 | 10907902 | LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE | GEN, FCRPS, MT-NW
20 | 22-01290 | 08/22/2022 07:30 | 09/16/2022 16:00 | 9878455 | SANTIAM-WREN SECTION OF SANTIAM-TOLEDO NO 1 230KV LINE INCLUDING SANTIAM: PCB A-524 AND 230KV AUX BUS | SWORE, LOAD, COI, PDCI, NWACI
21 | 22-05597 | 08/22/2022 08:00 | 11/18/2022 15:00 | 11493040 | BETTAS ROAD-COLUMBIA NO 1 230KV LINE INCLUDING BETTAS ROAD 230KV EAST BUS AND PCB A-3046 | NOEL, SOC, WOCN, WOCN, CI, NOEL, NOH, SOC, WOCN, IROL, NOEL, SOC, WOCN, NOEL, SOC, WOCN
22 | 22-00916 | 08/29/2022 07:00 | 10/28/2022 17:00 | 11238491 | HANFORD: MOD 4097, MOD 4099 CONTROL AND INDICATION CIRCUITS | GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
23 | 22-02658 | 08/29/2022 07:00 | 09/01/2022 16:00 | 11120714 | GARRISON: PCB 4418 | MT-NW
24 | 22-00817 | 08/29/2022 08:00 | 09/02/2022 15:30 | 11135857 | MOSSYROCK-CHEHALIS NO 1 230KV LINE (UNGROUNDED) | PA, RP, PA
25 | 22-04010 | 08/29/2022 08:00 | 09/09/2022 17:30 | 11337227 | VANTAGE: 500/230KV TRANSFORMER 2, VANTAGE SUBSTATION 500/230KV TIE NO 1 230KV LINE | GEN, NOH, NWACI, SIG, COI, RATS, WI
26 | 22-08685 | 08/29/2022 08:00 | 09/15/2022 16:00 | 11769222 | NORTH BONNEVILLE: A-11 TERMINAL OF THE BONNEVILLE PH-NORTH BONNEVILLE NO 4 230KV LINE | WOCS, GEN, FCRPS, WOCS
27 | 22-08238 | 08/29/2022 08:00 | 09/08/2022 16:00 | 11767832 | ALLSTON-CLATSOP NO 1 230KV LINE INCLUDING DRISCOLL TAP AND CLATSOP: 230KV AUX BUS, A-1256 LINE DISCONNECT, AND 230/115/13.8KV TRANSFORMER 1 | SOA, SOA, LOAD, SOA, LOAD, PA, SOA, LOAD, SOA
28 | 22-00917 | 08/29/2022 17:00 | 10/31/2022 07:30 | 11237862 | HANFORD: PCB 4098 INCLUDING MODS 4097 & 4099 | GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
29 | 22-04817 | 08/30/2022 06:30 | 09/02/2022 16:00 | 11363541 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE | IROL, NOEL, SIG, SOC, WOCN, IROL, NOEL, SIG, SOC, WOCN
30 | 22-09794 | 08/30/2022 08:00 | 09/01/2022 16:00 | 11901854 | SALEM: 230/115KV TRANSFORMER 1 | SLAL, WOCS
31 | 22-02479 | 08/31/2022 09:00 | 09/01/2022 10:00 | 11369604 | RAVER: PCB 4722 BFR | NOEL, RP, SOC, IROL, WOCN, NOEL, RP, SOC
32 | 22-04643 | 09/01/2022 07:00 | 09/01/2022 10:00 | 11369605 | RAVER: PCB 4921 | NOEL, RP, SOC
33 | 22-09773 | 09/01/2022 08:00 | 09/01/2022 20:00 |  | SCL- SOUTH SUBSTATION BUS 4 AND CRESTON-SOUTH 230KV LINE | SOC/NOEL
34 | 22-01184 | 09/01/2022 08:00 | 10/27/2022 14:00 | 10085244 | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, MIDWAY-SCOOTENEY TAP SECTION OF MIDWAY-BENTON NO 1 115KV LINE | TCLA, TCLA, GEN
35 | 22-08665 | 09/01/2022 09:00 | 09/01/2022 13:00 | 11768438 | NORTH BONNEVILLE: PCB A-6 OF THE BONNEVILLE PH-NORTH BONNEVILLE #2 115KV LINE | WOCS, GEN, WOCS, FCRPS
36 | 22-03824 | 09/01/2022 09:30 | 09/01/2022 10:30 | 11300215 | MALIN: PCB 4064 | NWACI, PDCI, COI
37 | 22-03823 | 09/01/2022 10:30 | 09/01/2022 11:30 | 11300223 | MALIN: PCB 4186 | NWACI, PDCI, RATS, COI
38 | 22-01210 | 09/05/2022 05:00 | 09/22/2022 17:30 | 9551422 | CHIEF JOSEPH: 4731/4734 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE | GEN, FCRPS, NOH
39 | 22-02408 | 09/05/2022 07:00 | 09/15/2022 17:00 | 10982948 | JOHN DAY: 4174/4175 TERMINAL OF JOHN DAY PH-JOHN DAY NO 4 500KV LINE | GEN, NWACI, COI, FCRPS, PDCI, SIG, WOJD
40 | 22-08955 | 09/05/2022 07:30 | 09/05/2022 16:00 | 11804170 | SLATT: PCB 5266 BFR | NWACI, WOJD, COI, PDCI
41 | 22-09139 | 09/06/2022 06:00 | 09/08/2022 17:00 | 11901192 | MURRAY-CUSTER NO 1 230KV LINE INCLUDING SEDRO WOOLLEY TAP | NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC
42 | 22-05202 | 09/06/2022 06:30 | 09/23/2022 17:00 | 11438861 | BELL: A-558 TERMINAL OF THE GRAND COULEE-BELL NO 3 230KV LINE (UNGROUNDED) | NOH, WOCN, COI, NWACI, PDCI, NOH, WOH, COI, NWACI, PDCI
43 | 22-05727 | 09/06/2022 07:00 | 09/06/2022 16:00 | 11508102 | COYOTE SPRINGS: PCB 5193 | GEN, NWACI, PDCI, WOLM, WOM, COI
44 | 22-02452 | 09/06/2022 07:00 | 09/08/2022 17:00 | 11034636 | MONROE: PCB 4513 INCLUDING 500KV CAP GROUP 4 AND PCB 4508 | BCHT, BCHW, NOEL, SOC, NI, IROL, NI, NOEL, SOC, WOCN, BCHT, NOEL, SOC, WOCN, NI
45 | 22-00812 | 09/06/2022 07:00 | 09/15/2022 16:00 | 11136746 | TAFT-BELL NO 1 500KV LINE INCLUDING BELL: 500KV LINE SERIES CAP GROUP 1 AND PCB 5320 | GEN, MT-NW, SIG, WOH, COI, NWACI, RATS, RP, MT-NW, WOH, WOH, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, WOH, GEN, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, WOH
46 | 22-06163 | 09/06/2022 07:30 | 09/08/2022 15:30 | 11576327 | PAUL: PCB 4550 | NWACI, PA, PDCI, COI, WOCS
47 | 22-07680 | 09/06/2022 07:30 | 09/08/2022 15:00 | 11696159 | SLATT: PCB 5266 BFR | NWACI, WOJD, COI, PDCI
48 | 22-09985 | 09/06/2022 08:00 | 09/09/2022 17:00 | 11912517 | JOHN DAY: 230 WEST BUS, INCLUDING PCB'S A-1734, A-1735, AND A-1736 AND 230KV CAP GROUP 2 SECT'S 1,2, & 3 | COI, PDCI, WOJD, NWACI, COI, JDAY, PDCI, WOJD, NWACI, COI, JDAY, PDCI, WOJD, NWACI
49 | 22-05359 | 09/06/2022 08:00 | 09/06/2022 09:00 | 12046441 | BONNEVILLE PH: IMACS BOPH0001 , BONNEVILLE PH 1-NORTH BONNEVILLE NO 1 230KV LINE, BONNEVILLE PH 1-NORTH BONNEVILLE NO 2 230KV LINE | GEN, WOCS, FCRPS, GEN, WOCS, FCRPS
50 | 22-00818 | 09/06/2022 08:00 | 09/09/2022 15:30 | 11135910 | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE (UNGROUNDED) | PA, RP, PA
51 | 22-01244 | 09/06/2022 08:00 | 09/07/2022 15:30 | 9708248 | KEELER: 230/115KV TRANSFORMER 1 INCLUDING SPARE PHASE | SOA, LOAD, SOA
52 | 22-02467 | 09/06/2022 08:00 | 09/07/2022 15:00 | 11079563 | MIDWAY: PCB A-112 | WOM, WOM
53 | 22-02872 | 09/06/2022 08:00 | 09/06/2022 15:00 | 11202072 | FAIRMOUNT: PCB A-1608 | PA, RP
54 | 22-03270 | 09/06/2022 08:00 | 09/08/2022 16:00 | 11895005 | KEELER-FOREST GROVE NO 2 115KV LINE | LOAD, SOA
55 | 22-02734 | 09/06/2022 08:15 | 09/06/2022 16:00 | 11120763 | JOHN DAY: PCB 4128 | NWACI, PDCI, WOJD, WOS, COI
56 | 22-06205 | 09/06/2022 09:00 | 09/08/2022 15:00 | 11562231 | JOHN DAY: PCB 5444 BFR & DIFFERENTIAL RELAYS, MCNARY 2 LINE LOR AND WEST BUS LOR SET 2 | NWACI, PDCI, WOJD, WOM, WOS, COI
57 | 22-10183 | 09/06/2022 09:00 | 09/06/2022 18:00 | 12036167 | BEST LANE TAP TO BRASADA-HARNEY NO 1 115KV LINE | NWACI, ID-NW
58 | 22-04884 | 09/07/2022 06:00 | 09/07/2022 16:00 | 11374268 | ALVEY: BANK #3 INCLUDING PCB'S A-242, B-584, 16W, BUS TIE PCB'S A-248 & B-586 & A-242 & B-584 BFR'S O.A.T., ALVEY: 230/115KV TRANSFORMER 3 | COI, PDCI, COI, PDCI, NWACI
59 | 22-10551 | 09/07/2022 06:30 | 09/07/2022 15:00 | 12007089 | Flathead - Lion Mountain Section of the Flathead - Hot Springs #1 230kV Line including Flathead: PCB A-219 and 230kV Aux Bus | MT-NW
60 | 22-05732 | 09/07/2022 07:00 | 09/07/2022 16:00 | 11508106 | COYOTE SPRINGS: PCB 5190 | NWACI, PDCI, WOLM, WOM, COI
61 | 22-02280 | 09/07/2022 07:30 | 09/07/2022 16:00 | 10940567 | CUSTER: PCB 4274 INCLUDING THE 500KV REACTOR 1 | BCHT, BCHW, NOEL, SOC, NI, NOEL, SOC
62 | 22-02737 | 09/07/2022 08:15 | 09/07/2022 16:00 | 11120764 | JOHN DAY: PCB 4822 | JDAY, NWACI, PDCI, WOJD
63 | 22-10552 | 09/08/2022 06:30 | 09/08/2022 15:00 | 12001975 | Columbia Falls - Flathead #1 230kV Line Including Flathead: PCB A-221 and 230kV Aux Bus | GEN, LOAD, MT-NW, FLAT
64 | 22-04816 | 09/08/2022 06:30 | 09/08/2022 16:00 | 11903539 | BELL-BOUNDARY NO 3 230KV LINE INCLUDING ADDY: 230KV NORTH MAIN BUS AND 230KV SOUTH MAIN BUS | BCHT, GEN, MT-NW, SOB, SOB, WOH, SOB, WOH
65 | 22-10177 | 09/08/2022 08:00 | 09/08/2022 18:00 | 11936370 | BRASADA-CHRISTMAS VALLEY SECT. OF BRASADA-HARNEY NO.1, 115KV LINE | ID-NW, NWACI
66 | 22-02738 | 09/08/2022 08:15 | 09/08/2022 16:00 | 11120767 | JOHN DAY: PCB 5444 | NWACI, PDCI, WOJD, WOM, WOS, COI
67 | 22-06258 | 09/08/2022 16:00 | 09/08/2022 16:30 | 11562247 | JOHN DAY: PCB 5441 | NWACI, PDCI, WOJD, WOM, WOS, COI
68 | 22-02506 | 09/08/2022 17:00 | 09/08/2022 17:30 | 11017851 | MCNARY: PCB A-420 OF THE PH-MCNARY NO 3&4 230KV LINE , MCNARY PH-MCNARY NO 3&4 230KV LINE | GEN, WOM
69 | 22-02507 | 09/12/2022 06:30 | 09/12/2022 07:00 | 11017963 | MCNARY: PCB A-434 OF THE PH-MCNARY NO 5 230KV LINE | WOM, GEN, FCRPS, WOM
70 | 22-10939 | 09/12/2022 06:30 | 09/12/2022 07:00 | 12012253 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS, COI, NWACI, PDCI, WOJD
71 | 22-08293 | 09/12/2022 07:00 | 09/15/2022 15:00 | 12045986 | CELILO: PCB 5515, INCLUDING BIG EDDY 1 LINE CAP GROUP 4 | PDCI
72 | 22-01064 | 09/12/2022 07:00 | 09/16/2022 17:00 | 11180236 | CHIEF JOSEPH-MONROE NO 1 500KV LINE | GEN, IROL, NOEL, NOH, SIG, SOC, WOCN, COI, NWACI, BCHT, BCHW, NI, NOEL, SOC, WOCN, BCHT, BCHW, NI, NOEL, SOC, WOCN, GEN, NOEL, SOC, WOCN, GEN, NOEL, SOC, WOCN
73 | 22-02633 | 09/12/2022 08:00 | 09/16/2022 18:00 | 11209505 | YEW AVENUE-BRASADA SECTION OF REDMOND-BRASADA NO 1 115KV LINE | ID-NW
74 | 22-02902 | 09/12/2022 08:00 | 09/15/2022 12:00 | 11706497 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | MT-NW, WOH, SLAL, WOLM, MT-NW, WOH, WOLM
75 | 22-05842 | 09/12/2022 08:00 | 09/13/2022 16:00 | 11524657 | LA GRANDE: PCB A-268 | ID-NW
76 | 22-07901 | 09/12/2022 08:00 | 09/30/2022 15:00 | 11700651 | WINE COUNTRY-MIDWAY NO 1 230KV LINE | WOJD, GEN
77 | 22-08216 | 09/12/2022 08:00 | 09/23/2022 17:30 | 11729769 | BIG EDDY-DE MOSS NO 1 115KV LINE | GEN
78 | 22-10473 | 09/12/2022 08:00 | 09/29/2022 16:00 | 11964575 | GRAND COULE: 6286 TERMINAL OF THE GRAND COULEE- AVA WESTSIDE NO 1 230KV LINE | NOH, WOCN, COI, NWACI, PDCI
79 | 22-10828 | 09/12/2022 08:30 | 09/12/2022 12:00 | 12005798 | USK: PCB A-953 | SOB
80 | 22-02573 | 09/12/2022 08:30 | 09/13/2022 16:00 | 11045003 | JOHN DAY: PCB 4167 | JDAY, NWACI, WOCS, WOJD, COI
81 | 22-10843 | 09/12/2022 12:00 | 09/12/2022 16:00 | 12006172 | USK: PCB A-955 | SOB
82 | 22-06405 | 09/13/2022 07:00 | 09/20/2022 16:00 | 12046453 | ALVEY: 115KV SOUTH MAIN BUS INCLUDING PCB B-582 | GEN, GEN, SLAL, SLAL, SLAL
83 | 22-02281 | 09/13/2022 07:30 | 09/13/2022 15:00 | 10940570 | CUSTER: PCB A-1546 | BCHT, BCHW, NOEL, SOC, NI
84 | 22-10219 | 09/13/2022 07:30 | 09/15/2022 16:00 | 11937258 | WAUTOMA: 500KV REACTOR 1, INCLUDING PCB 5236 | COI, NWACI
85 | 22-07682 | 09/13/2022 08:00 | 10/06/2022 15:00 | 11685020 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | GEN, SOA, WOCS, LOAD, GEN, LOAD, WOCS, FCRPS
86 | 22-07686 | 09/13/2022 08:00 | 10/06/2022 15:00 | 11684994 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS, WOCS
87 | 22-09822 | 09/13/2022 08:00 | 09/15/2022 15:00 | 11901509 | PEARL: A-1165 TERMNIAL OF THE PEARL TAP TO PGE MCLOUGHLIN - SHERWOOD #1 230KV LINE | SOA, SOA, WOCS
88 | 22-04966 | 09/13/2022 08:15 | 09/13/2022 08:45 | 11422380 | GRAND COULEE: PCB 1992, PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
89 | 22-10844 | 09/13/2022 08:30 | 09/13/2022 12:00 | 12006204 | USK: PCB A-958 | SOB
90 | 22-04961 | 09/13/2022 09:15 | 09/13/2022 09:45 | 11422382 | GRAND COULEE: PCB 2092, PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
91 | 22-04967 | 09/13/2022 10:15 | 09/13/2022 10:45 | 11422384 | GRAND COULEE: PCB 2292, PCB 2296 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
92 | 22-04968 | 09/13/2022 11:15 | 09/13/2022 11:45 | 11422385 | GRAND COULEE: PCB 2392, PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
93 | 22-00899 | 09/13/2022 12:00 | 09/13/2022 15:00 | 11136935 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 1 230KV LINE INCLUDING CHIEF JOSEPH: PCB A-576, PCB A-584 | GEN, NOH, FCRPS, WOCN
94 | 22-04969 | 09/13/2022 12:45 | 09/13/2022 13:15 | 11422388 | GRAND COULEE: PCB 2496, PCB 2492 | GEN, WOCN, COI, NOH, NWACI, PDCI, GEN, NOH, COI, NWACI, PDCI
95 | 22-02282 | 09/14/2022 07:30 | 09/14/2022 15:00 | 10940572 | CUSTER: PCB A-1250 | BCHT, BCHW, NOEL, SOC, NI
96 | 22-00981 | 09/14/2022 08:00 | 09/15/2022 16:00 | 11156434 | JOHN DAY: PCB 4131 | NWACI, PDCI, WOJD, WOS, COI
97 | 22-00903 | 09/15/2022 12:00 | 09/15/2022 15:00 | 11136982 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 2 230KV LINE INCLUDING CHIEF JOSEPH: PCB A-580, PCB A-584 | GEN, NOH, FCRPS, GEN, WOCN
98 | 22-03664 | 09/16/2022 22:30 | 09/16/2022 23:00 | 11289866 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN
99 | 22-07651 | 09/18/2022 01:00 | 09/18/2022 01:15 | 11824617 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
100 | 22-07652 | 09/18/2022 01:15 | 09/18/2022 01:30 | 11824652 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
101 | 22-07653 | 09/18/2022 01:30 | 09/18/2022 01:45 | 11824653 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, GEN, NOH, WOCN
102 | 22-07654 | 09/18/2022 01:45 | 09/18/2022 02:00 | 11824585 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, GEN, NOH, WOCN
103 | 22-07655 | 09/18/2022 02:00 | 09/18/2022 02:15 | 11824663 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
104 | 22-07656 | 09/18/2022 18:45 | 09/18/2022 19:00 | 11824690 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
105 | 22-07657 | 09/18/2022 19:00 | 09/18/2022 19:15 | 11824700 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
106 | 22-07658 | 09/18/2022 19:15 | 09/18/2022 19:30 | 11824714 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, GEN, NOH, WOCN
107 | 22-07659 | 09/18/2022 19:30 | 09/18/2022 19:45 | 11824721 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, GEN, NOH, WOCN
108 | 22-07660 | 09/18/2022 19:45 | 09/18/2022 20:00 | 11824737 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
109 | 22-02586 | 09/19/2022 01:00 | 09/23/2022 17:00 | 11045000 | GRAND COULEE: 500KV NORTH BUS INCLUDING PCB 1896, PCB 2092, PCB 2192, PCB 2292, PCB 2392, PCB 2492, PCB 1992, | MT-NW, WOH, COI, NOH, NWACI, PDCI, WOCN, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, COI, NOH, NWACI, PDCI, WOCN
110 | 22-02194 | 09/19/2022 07:00 | 09/19/2022 09:00 | 10928037 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
111 | 22-02693 | 09/19/2022 07:00 | 10/06/2022 15:00 | 11337686 | TAFT-HOT SPRINGS #1 500KV LINE (UNGROUNDED) INCLUDING: HOT SPRINGS: 500/230KV TRANSFORMER 1, 500KV REACTOR 1, PCB 4478, PCB 4562, TAFT-HOT SPRINGS NO 1 500KV LINE | GEN, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, SIG, WOH, MT-NW, WOH, GEN, MT-NW, WOH
112 | 22-04648 | 09/19/2022 07:00 | 10/06/2022 15:00 | 11337829 | HOT SPRINGS: PCB A-1478 | GEN, MT-NW
113 | 22-04649 | 09/19/2022 07:00 | 09/19/2022 08:00 | 11337753 | TAFT: 500KV BUS 1, PCB 4111, PCB 4122, PCB 4148 | MT-NW, WOH, GEN, MT-NW, NOH, WOH, GEN, MT-NW, WOH, GEN, MT-NW, WOH
114 | 22-07738 | 09/19/2022 07:00 | 10/02/2022 17:30 | 11683455 | ALVEY: A-656 TERMINAL OF ALVEY-DIXONVILLE NO 1 230KV LINE -UNGROUNDED- | COI, NWACI, PDCI, COI, PDCI, NWACI
115 | 22-00860 | 09/19/2022 07:30 | 09/22/2022 15:00 | 11140962 | PAUL-SATSOP NO 1 500KV LINE INCLUDING SATSOP: 500/230KV TRANSFORMER 1 AND PCB'S A-622 & A-625 | PA, RP, PA, RP, LOAD, PA, RP, SI, SIG, PA, RP, LOAD
116 | 22-03279 | 09/19/2022 07:30 | 09/22/2022 17:00 | 11282941 | VANTAGE-HANFORD NO 1 500KV LINE | BCHT, BCHW, NI, NOH, NWACI, PDCI, SIG, COI, WOCS, NOH, NWACI, PDCI, COI, WOM, WOS, NOH, NWACI, PDCI, COI, WOM, WOS, GEN, NOH, NWACI, PDCI, WOCN, COI, GEN, NOH, NWACI, PDCI, WOCN, COI
117 | 22-02451 | 09/19/2022 07:30 | 09/21/2022 14:00 | 11025434 | MONROE: PCB 4508, INCLUDING 500KV CAP GROUP 4 | IROL, NI, NOEL, SOC, WOCN
118 | 22-02897 | 09/19/2022 08:00 | 09/21/2022 12:00 | 11313552 | DWORSHAK: 500KV REACTOR 2 INCLUDING PCB 4650 | MT-NW, GEN, MT-NW, WOH
119 | 22-04836 | 09/19/2022 08:00 | 09/19/2022 16:00 | 11363911 | USK-BOUNDARY NO 1 230KV LINE INCLUDING ADDY-CUSICK NO 1 230KV LINE AND CUSICK: LBD A-153, LBD A-154, A-167 230KV CAP GROUP 1 SECTION 1 DISC, MOD A-155, MOD A-162 (UNGROUNDED) | SOB
120 | 22-06385 | 09/19/2022 08:00 | 09/28/2022 16:00 | 11563776 | REDMOND: A-262 TERMINAL OF THE REDMOND-PGE ROUND BUTTE #1 230KV LINE (UNGROUNDED) | COI, NWACI, PDCI, SIG
121 | 22-07863 | 09/19/2022 08:00 | 09/30/2022 15:00 | 12046333 | MAPLE VALLEY: 20KV SVC, INCLUDING PCB A-1141 | IROL, NOEL, SOC, WOCN, NOEL, SOC, WOCN
122 | 22-10968 | 09/19/2022 08:00 | 09/22/2022 15:00 | 12046513 | BIG EDDY: 230KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB A-839, LBD A-837 AND LBD A-841 | COI, NWACI, PDCI, WOJD
123 | 22-01039 | 09/19/2022 09:30 | 09/22/2022 14:00 | 11300305 | CAPTAIN JACK: PCB 4924 | NWACI, PDCI, COI
124 | 22-08870 | 09/19/2022 11:00 | 09/19/2022 15:00 | 11896497 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | NOEL, SOC, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI
125 | 22-03704 | 09/20/2022 06:00 | 09/24/2022 17:00 | 11313823 | MONROE-CUSTER NO 1 500KV LINE | BCHT, BCHW, IROL, NOEL, SIG, SOC, NI
126 | 22-04824 | 09/20/2022 07:00 | 09/20/2022 16:30 | 11364426 | CUSICK-BOUNDARY SECTION OF USK-BOUNDARY 1 230KV LINE INCLUDING BOUNDARY: PCB A-1235 AND 230KV AUX BUS (UNGROUNDED) | SOB, SOB
127 | 22-08841 | 09/20/2022 07:00 | 09/20/2022 11:00 | 11896436 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | NOEL, SOC, WOCN, NOEL, SOC, WOCN, NOEL, SOC, WOCN, LOAD, RP, RP, NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC
128 | 22-04897 | 09/20/2022 09:00 | 09/20/2022 16:00 | 11896367 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | COI, NWACI, PDCI, COI, NWACI, PDCI
129 | 22-04825 | 09/21/2022 06:00 | 09/21/2022 11:30 | 11364560 | BOUNDARY-NELWAY NO 1 230KV LINE INCLUDING BOUNDARY: PCB A-1220 AND 230KV AUX BUS | SOB, BCHT, GEN, NI, NOEL, SOC
130 | 22-02437 | 09/21/2022 06:30 | 09/29/2022 17:00 | 11034528 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
131 | 22-09745 | 09/21/2022 07:30 | 09/21/2022 11:00 | 12046068 | ALVEY: PCB 5081 | NWACI, PDCI, COI
132 | 22-06352 | 09/21/2022 08:00 | 09/21/2022 10:00 | 11591887 | ROCK CREEK: PCB 5294 | NWACI, PDCI, RKCR, COI
133 | 22-06216 | 09/21/2022 10:00 | 09/21/2022 12:00 | 11591882 | ROCK CREEK: PCB 5288 | NWACI, PDCI, RKCR, COI
134 | 22-04827 | 09/21/2022 11:30 | 09/21/2022 14:30 | 11364624 | BOUNDARY-SACHEEN NO 1 230KV LINE INCLUDING BOUNDARY: PCB A-1234 AND 230KV AUX BUS | SOB
135 | 22-09747 | 09/21/2022 11:30 | 09/21/2022 15:30 | 12046079 | ALVEY: PCB 5084 | NWACI, PDCI, COI
136 | 22-08266 | 09/22/2022 07:00 | 09/22/2022 16:00 | 11896520 | SNOHOMISH: 230/115KV TRANSFORMER 3, INCLUDING PCB'S A -196 AND B-480 | LOAD, NOEL, SOC, NOEL, SOC
137 | 22-04826 | 09/22/2022 07:00 | 09/22/2022 16:30 | 11364644 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY 3 230KV LINE INCLUDING BOUNDARY: PCB A-1222 AND 230KV AUX BUS | SOB, GEN, SOB, GEN, BCHT, GEN, MT-NW, SOB
138 | 22-04779 | 09/22/2022 07:30 | 09/22/2022 11:00 | 11345438 | SCHULTZ: PCB 5151 | WOCN
139 | 22-04780 | 09/22/2022 11:00 | 09/22/2022 15:30 | 11345439 | SCHULTZ: PCB 5148 | WOCN
140 | 22-02508 | 09/22/2022 16:30 | 09/22/2022 17:00 | 11017970 | MCNARY: PCB A-434 OF THE PH-MCNARY NO 5 230KV LINE | WOM, GEN, FCRPS, WOM
141 | 22-10937 | 09/22/2022 16:30 | 09/22/2022 17:00 | 12012281 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
142 | 22-02103 | 09/26/2022 01:00 | 10/07/2022 20:00 | 10879173 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
143 | 22-09446 | 09/26/2022 04:00 | 09/28/2022 17:00 | 11901497 | CHIEF JOSEPH: A-578 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH #2 230KV LINE | COI, NOH, NWACI, PDCI, GEN, NOH, FCRPS, WOCN
144 | 22-08676 | 09/26/2022 06:00 | 09/26/2022 12:00 | 11825637 | OLYMPIA: 500/230KV TRANSFORMER 5 INCLUDING PCB A-1772 AND THE 230KV EAST AUX BUS | PA, RP, WOCN
145 | 22-10576 | 09/26/2022 06:00 | 09/29/2022 16:00 | 11983780 | GARRISON: 500KV REACTOR 5, INCLUDING PCB 4362 | MT-NW
146 | 22-03186 | 09/26/2022 06:00 | 10/07/2022 22:00 | 11220346 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS, BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC
147 | 22-06513 | 09/26/2022 07:00 | 10/16/2022 16:00 | 11597287 | CHIEF JOSEPH: 500/230KV TRANSFORMER 3, INCLUDING PCB 4728 | NOEL, NOH, SOC, FCRPS, GEN, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, BCHT, BCHW, WOCN
148 | 22-09464 | 09/26/2022 07:00 | 09/26/2022 13:30 | 11890500 | BELLINGHAM-CUSTER NO 1 230KV LINE, INCLUDING CUSTER: PCB'S A-1238 AND A-1254 | BCHT, BCHW, NOEL, SOC, NI
149 | 22-02472 | 09/26/2022 07:30 | 09/27/2022 15:00 | 11025107 | RAVER: PCB 4914, BFR | NOEL, RP, SOC
150 | 22-02076 | 09/26/2022 07:30 | 09/29/2022 16:00 | 11603700 | REDMOND: 230/115KV TRANSFORMER 5 INCLUDING PCB B-1559 | COR
151 | 22-02901 | 09/26/2022 08:00 | 09/29/2022 15:30 | 11313555 | DWORSHAK: 500KV REACTOR 1 INCLUDING PCB 4665 | MT-NW, GEN, MT-NW, WOH
152 | 22-06520 | 09/26/2022 08:00 | 09/30/2022 16:00 | 11596836 | LOWER MONUMENTAL: 500KV WEST BUS INCLUDING PCB 4263 | WOLM, WOLM
153 | 22-09860 | 09/26/2022 08:00 | 09/29/2022 16:00 | 11907098 | ROGUE: 115/23KV SVC INCLUDING THE 115/23KV TRANSFORMER 3 AND THE 23KV PCB L-637 | SCORC, SWORE
154 | 22-09184 | 09/26/2022 08:00 | 09/30/2022 15:00 | 12046546 | SANTIAM: PCB A-530 | COI, PDCI, NWACI
155 | 22-07584 | 09/26/2022 08:00 | 09/26/2022 16:00 | 12001676 | CHEMAWA: 115KV NORTH AND SOUTH MAIN BUS | WOCS, LOAD
156 | 22-01219 | 09/26/2022 09:00 | 09/30/2022 17:30 | 10393605 | CAPTAIN JACK-OLINDA NO 1 500KV LINE, INCLUDING MOD 4974 | BCHT, BCHW, COI, NI, NWACI, PDCI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI
157 | 22-01041 | 09/26/2022 10:00 | 09/29/2022 15:00 | 11901520 | SYCAN: SUMMER LAKE-MALIN 1-500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5066 | COI, NWACI, PDCI, COI, NWACI, PDCI
158 | 22-02431 | 09/26/2022 10:00 | 09/29/2022 14:00 | 12034899 | KEELER: PCB 4394 | SOA
159 | 22-04894 | 09/26/2022 13:00 | 11/03/2022 12:00 | 11374283 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA: 500/230KV TRANSFORMER 5, PCB A-1772 AND PAUL PCB'S 4550 & 4554 | NWACI, PDCI, COI, WOCS, SOA, RP, WOCS, SOA, LOAD, PA, RP, SIG, LOAD, NOEL, PA, RP, SIG, IROL
160 | 22-04033 | 09/26/2022 13:00 | 09/26/2022 14:30 | 11323668 | BOUNDARY: 230KV BUS SECTIONALIZING PCB A-1233 | SOB
161 | 22-02458 | 09/27/2022 07:00 | 09/27/2022 15:30 | 11040341 | ECHO LAKE-MONROE NO 1 500KV LINE INCLUDING SNO-KING TAP AND MONROE: PCB'S 4522 & 4526, SNO-KING TAP TO ECHO LAKE-MONROE NO 1 500KV LINE, SNO-KING: 500/230KV TRANSFORMER 4 | IROL, NI, NOEL, SIG, SOC, WOCN, COI, NWACI, PDCI, BCHT, BCHW, NOEL, SIG, SOC, WOCN, IROL, NI, LOAD, NOEL, SIG, SOC, IROL, WOCN, BCHT, BCHW, NI, NOEL, SOC, WOCN
162 | 22-05807 | 09/27/2022 08:15 | 09/27/2022 08:45 | 11540621 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
163 | 22-04034 | 09/27/2022 09:00 | 09/27/2022 14:00 |  | BOUNDARY: SCL PCB'S 351, 352, & 353 (O.A.T.) | NOEL, SOC, NI, NOEL, SOC, NI, NOEL, SOC, NI
164 | 22-05808 | 09/27/2022 09:15 | 09/27/2022 09:45 | 11540626 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
165 | 22-05809 | 09/27/2022 10:15 | 09/27/2022 10:45 | 11540655 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
166 | 22-00913 | 09/27/2022 11:00 | 09/27/2022 14:00 | 11137184 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 3 230KV LINE RELAYS INCLUDING CHIEF JOSEPH: PCB A-592 AND PCB A-598 | GEN, NOH, FCRPS, GEN, WOCN
167 | 22-05810 | 09/27/2022 11:15 | 09/27/2022 11:45 | 11540661 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, COI, NWACI, PDCI, GEN, WOCN, COI, NOH, NWACI, PDCI
168 | 22-02671 | 09/28/2022 06:00 | 09/28/2022 15:00 | 12007144 | COSMOPOLIS-ABERDEEN NO 1 115KV LINE INCLUDING COSMOPOLIS: PCB B-1324, 115KV AUX BUS, AND ABERDEEN: PCB B-812 AND THE 115KV AUX BUS | PA, LOAD, SOA
169 | 22-01209 | 09/28/2022 07:30 | 09/28/2022 16:00 | 11755673 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-860 | SOA, SOA, WOCN, WOCS, LOAD, SOA, SOA, SOA, SOA, SOA, SOA, SOA, SOA, WOCS, SOA, SOA, WOCS, SOA, WOCS, SOA, LOAD, SOA, SOA
170 | 22-02474 | 09/28/2022 08:00 | 09/29/2022 15:00 | 11025111 | RAVER: PCB 4921, BFR | NOEL, RP, SOC
171 | 22-04039 | 09/28/2022 09:00 | 09/28/2022 14:00 |  | BOUNDARY: SCL PCB'S 354, 355, & 356 (O.A.T.) | NOEL, SOC, NI, NOEL, SOC, NI, NOEL, SOC, NI
172 | 22-04047 | 09/28/2022 12:00 | 09/28/2022 14:30 | 11323763 | BOUNDARY: PCB A-1228 & PCB B-1398 INCLUDING 230/115KV TRANSFORMER 1 AND METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
173 | 22-07939 | 09/29/2022 06:00 | 09/29/2022 07:00 | 12046139 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, INCLUDING PCB A-190 | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
174 | 22-00921 | 09/29/2022 12:00 | 09/29/2022 15:00 | 11137207 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 4 230KV LINE INCLUDING CHIEF JOSEPH: PCBS A-598, A-602 | GEN, NOH, FCRPS, GEN, WOCN
175 | 22-08284 | 09/29/2022 15:00 | 09/29/2022 16:00 | 12046145 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
176 | 22-06528 | 09/30/2022 16:01 | 10/24/2022 08:00 | 11596882 | LOWER MONUMENTAL: PCB 4263 AND MOD 4257 | WOLM
177 | 22-11129 | 09/30/2022 16:30 | 09/30/2022 17:00 | 12041374 | MCNARY: PCB A-420 OF THE MCNARY PH-MCNARY NO 3&4 230KV LINE | GEN