## Request List
Row | Request# | Start | End | CAISO# | Main Element Impacted | Path Affected
1 | 21-01711 | 02/03/2021 09:00 | 02/28/2023 17:00 | 9741845 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 21-01581 | 04/30/2021 16:15 | 03/31/2023 18:00 |  | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCHT, BCHW, NI
3 | 21-01767 | 06/30/2021 10:00 | 02/03/2023 16:00 | 10359382 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD, RP, SIG, PA
4 | 21-01784 | 08/25/2021 12:00 | 12/31/2022 23:59 | 11699929 | GARRISON: 500/230KV TRANSFORMER 1 (DERATED) | MT-NW
5 | 21-01773 | 08/25/2021 12:00 | 09/29/2022 23:59 | 10627358 | MAPLE VALLEY: 500/230KV TRANSFORMER 2 (DERATED) | IROL, NOEL, SIG, SOC, WOCN
6 | 21-01785 | 08/25/2021 12:00 | 10/31/2022 23:59 | 10627331 | HOT SPRINGS: 500/230KV TRANSFORMER 1 (DERATED) | GEN, MT-NW, WOH
7 | 21-01797 | 08/25/2021 12:00 | 09/29/2022 23:59 | 10627354 | MCNARY: 500/230KV TRANSFORMER 2 (DERATED) | COI, PDCI, SIG, WOJD, WOM, NWACI
8 | 22-06746 | 04/06/2022 06:30 | 12/30/2022 15:00 | 11593785 | CONKELLEY: LBD A-1575 INCLUDING 230KV CAP GROUP 2 SECTION 1 | MT-NW
9 | 22-06836 | 04/06/2022 12:25 | 12/31/2022 15:00 | 11597875 | OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8 | SIG, SOA, WOCS, SIG, WOCS, SOA
10 | 22-09321 | 06/01/2022 00:00 | 10/31/2022 23:59 | 11837919 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, (DERATED) | SOB, SOB
11 | 22-08527 | 06/01/2022 00:00 | 10/31/2022 23:59 | 11756807 | HAT ROCK TAP TO MCNARY-PACW WALLULA NO 1 230KV LINE | WOM
12 | 22-07562 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11662150 | COVINGTON: 500/230KV TRANSFORMER 5, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
13 | 22-07563 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11662212 | COVINGTON: 500/230KV TRANSFORMER 4, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
14 | 22-01027 | 06/01/2022 00:01 | 10/31/2022 23:59 | 11164008 | RIVERGATE-KEELER NO 1&2 230KV LINE (SUMMER DERATE) | SOA
15 | 22-10498 | 06/21/2022 15:00 | 10/31/2022 23:59 | 11965261 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | LOAD, SI, PA, RP
16 | 22-06143 | 07/05/2022 09:00 | 09/02/2022 15:30 | 9826915 | PAC - MERIDIAN: DIXONVILLE 1 500KV LINE SERIES CAP SC-575 | NWACI/PDCI
17 | 22-02600 | 07/25/2022 05:30 | 10/28/2022 15:00 | 11058752 | -USBR- HUNGRY HORSE PH: PCB 2382, PCB 2282 | WOH
18 | 22-01911 | 08/01/2022 07:00 | 09/16/2022 15:30 | 10699638 | MCNARY-ROSS NO 1 345KV LINE, MCNARY: 345/230KV TRANSFORMER 8, ROSS: 345/230KV TRANSFORMER 4 | SOA, WOCS, WOM, GEN, SOA, WOCS, WOM, SIG, SOA, WOCS, WOM, SOA, WOCS, WOM, SOA, WOCS
19 | 22-06187 | 08/15/2022 08:30 | 09/09/2022 15:00 | 11587862 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE | SOB, GEN, BCHT, GEN, MT-NW, SOB
20 | 22-02186 | 08/22/2022 04:30 | 09/09/2022 15:00 | 10907902 | LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE | GEN, FCRPS, MT-NW
21 | 22-01290 | 08/22/2022 07:30 | 09/16/2022 16:00 | 9878455 | SANTIAM-WREN SECTION OF SANTIAM-TOLEDO NO 1 230KV LINE INCLUDING SANTIAM: PCB A-524 AND 230KV AUX BUS | SWORE, LOAD, COI, PDCI, NWACI
22 | 22-05597 | 08/22/2022 08:00 | 11/18/2022 15:00 | 11493040 | BETTAS ROAD-COLUMBIA NO 1 230KV LINE INCLUDING BETTAS ROAD 230KV EAST BUS AND PCB A-3046 | NOEL, SOC, WOCN, WOCN, CI, NOEL, NOH, SOC, WOCN, IROL, NOEL, SOC, WOCN, NOEL, SOC, WOCN
23 | 22-00916 | 08/29/2022 07:00 | 10/28/2022 17:00 | 11238491 | HANFORD: MOD 4097, MOD 4099 CONTROL AND INDICATION CIRCUITS | GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
24 | 22-02658 | 08/29/2022 07:00 | 09/01/2022 16:00 | 11120714 | GARRISON: PCB 4418 | MT-NW
25 | 22-00817 | 08/29/2022 08:00 | 09/02/2022 15:30 | 11135857 | MOSSYROCK-CHEHALIS NO 1 230KV LINE (UNGROUNDED) | PA, RP, PA
26 | 22-08685 | 08/29/2022 08:00 | 09/15/2022 16:00 | 11769222 | NORTH BONNEVILLE: A-11 TERMINAL OF THE BONNEVILLE PH-NORTH BONNEVILLE NO 4 230KV LINE | WOCS, GEN, FCRPS, WOCS
27 | 22-04010 | 08/29/2022 08:00 | 09/09/2022 17:30 | 11337227 | VANTAGE: 500/230KV TRANSFORMER 2, VANTAGE SUBSTATION 500/230KV TIE NO 1 230KV LINE | GEN, NOH, NWACI, SIG, COI, RATS, WI
28 | 22-08238 | 08/29/2022 08:00 | 09/08/2022 16:00 | 11767832 | ALLSTON-CLATSOP NO 1 230KV LINE INCLUDING DRISCOLL TAP AND CLATSOP: 230KV AUX BUS, A-1256 LINE DISCONNECT, AND 230/115/13.8KV TRANSFORMER 1 | SOA, SOA, LOAD, SOA, LOAD, PA, SOA, LOAD, SOA
29 | 22-00917 | 08/29/2022 17:00 | 10/31/2022 07:30 | 11237862 | HANFORD: PCB 4098 INCLUDING MODS 4097 & 4099 | GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
30 | 22-04817 | 08/30/2022 06:30 | 09/02/2022 16:00 | 11363541 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE | IROL, NOEL, SIG, SOC, WOCN, IROL, NOEL, SIG, SOC, WOCN
31 | 22-09794 | 08/30/2022 08:00 | 09/01/2022 16:00 | 11901854 | SALEM: 230/115KV TRANSFORMER 1 | SLAL, WOCS
32 | 22-02479 | 08/31/2022 09:00 | 09/01/2022 10:00 | 11369604 | RAVER: PCB 4722 BFR | NOEL, RP, SOC, IROL, WOCN, NOEL, RP, SOC
33 | 22-04643 | 09/01/2022 07:00 | 09/01/2022 10:00 | 11369605 | RAVER: PCB 4921 | NOEL, RP, SOC
34 | 22-01184 | 09/01/2022 08:00 | 10/27/2022 14:00 | 10085244 | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE , MIDWAY-SCOOTENEY TAP SECTION OF MIDWAY-BENTON NO 1 115KV LINE | TCLA, TCLA, GEN
35 | 22-09773 | 09/01/2022 08:00 | 09/01/2022 20:00 |  | SCL- SOUTH SUBSTATION BUS 4 AND CRESTON-SOUTH 230KV LINE | SOC/NOEL
36 | 22-08665 | 09/01/2022 09:00 | 09/01/2022 13:00 | 11768438 | NORTH BONNEVILLE: PCB A-6 OF THE BONNEVILLE PH-NORTH BONNEVILLE #2 115KV LINE | WOCS, GEN, WOCS, FCRPS
37 | 22-03824 | 09/01/2022 09:30 | 09/01/2022 10:30 | 11300215 | MALIN: PCB 4064 | NWACI, PDCI, COI
38 | 22-03823 | 09/01/2022 10:30 | 09/01/2022 11:30 | 11300223 | MALIN: PCB 4186 | NWACI, PDCI, RATS, COI
39 | 22-01210 | 09/05/2022 05:00 | 09/22/2022 17:30 | 9551422 | CHIEF JOSEPH: 4731/4734 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE | GEN, FCRPS, NOH
40 | 22-02408 | 09/05/2022 07:00 | 09/15/2022 17:00 | 10982948 | JOHN DAY: 4174/4175 TERMINAL OF JOHN DAY PH-JOHN DAY NO 4 500KV LINE | GEN, NWACI, COI, FCRPS, PDCI, SIG, WOJD
41 | 22-08955 | 09/05/2022 07:30 | 09/05/2022 16:00 | 11804170 | SLATT: PCB 5266 BFR | NWACI, WOJD, COI, PDCI
42 | 22-09139 | 09/06/2022 06:00 | 09/08/2022 17:00 | 11901192 | MURRAY-CUSTER NO 1 230KV LINE INCLUDING SEDRO WOOLLEY TAP | NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC
43 | 22-05202 | 09/06/2022 06:30 | 09/23/2022 17:00 | 11438861 | BELL: A-558 TERMINAL OF THE GRAND COULEE-BELL NO 3 230KV LINE (UNGROUNDED) | NOH, WOCN, COI, NWACI, PDCI, NOH, WOH, COI, NWACI, PDCI
44 | 22-05727 | 09/06/2022 07:00 | 09/06/2022 16:00 | 11508102 | COYOTE SPRINGS: PCB 5193 | GEN, NWACI, PDCI, WOLM, WOM, COI
45 | 22-02452 | 09/06/2022 07:00 | 09/08/2022 17:00 | 11034636 | MONROE: PCB 4513 INCLUDING 500KV CAP GROUP 4 AND PCB 4508 | BCHT, BCHW, NOEL, SOC, NI, IROL, NI, NOEL, SOC, WOCN, BCHT, NOEL, SOC, WOCN, NI
46 | 22-00812 | 09/06/2022 07:00 | 09/15/2022 16:00 | 11136746 | TAFT-BELL NO 1 500KV LINE INCLUDING BELL: 500KV LINE SERIES CAP GROUP 1 AND PCB 5320 | GEN, MT-NW, SIG, WOH, COI, NWACI, RATS, RP, MT-NW, WOH, WOH, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, WOH, GEN, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, WOH
47 | 22-07680 | 09/06/2022 07:30 | 09/08/2022 15:00 | 11696159 | SLATT: PCB 5266 BFR | NWACI, WOJD, COI, PDCI
48 | 22-06163 | 09/06/2022 07:30 | 09/08/2022 15:30 | 11576327 | PAUL: PCB 4550 | NWACI, PA, PDCI, COI, WOCS
49 | 22-01244 | 09/06/2022 08:00 | 09/07/2022 15:30 | 9708248 | KEELER: 230/115KV TRANSFORMER 1 INCLUDING SPARE PHASE | SOA, LOAD, SOA
50 | 22-03270 | 09/06/2022 08:00 | 09/08/2022 16:00 | 11895005 | KEELER-FOREST GROVE NO 2 115KV LINE | LOAD, SOA
51 | 22-02872 | 09/06/2022 08:00 | 09/06/2022 15:00 | 11202072 | FAIRMOUNT: PCB A-1608 | PA, RP
52 | 22-09985 | 09/06/2022 08:00 | 09/09/2022 17:00 | 11912517 | JOHN DAY: 230 WEST BUS, INCLUDING PCB'S A-1734, A-1735, AND A-1736 AND 230KV CAP GROUP 2 SECT'S 1,2, & 3 | COI, PDCI, WOJD, NWACI, COI, JDAY, PDCI, WOJD, NWACI, COI, JDAY, PDCI, WOJD, NWACI
53 | 22-00818 | 09/06/2022 08:00 | 09/09/2022 15:30 | 11135910 | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE (UNGROUNDED) | PA, RP, PA
54 | 22-02734 | 09/06/2022 08:15 | 09/06/2022 16:00 | 11120763 | JOHN DAY: PCB 4128 | NWACI, PDCI, WOJD, WOS, COI
55 | 22-06205 | 09/06/2022 09:00 | 09/08/2022 15:00 | 11562231 | JOHN DAY: PCB 5444 BFR & DIFFERENTIAL RELAYS, MCNARY 2 LINE LOR AND WEST BUS LOR SET 2 | NWACI, PDCI, WOJD, WOM, WOS, COI
56 | 22-10183 | 09/06/2022 09:00 | 09/06/2022 18:00 | 12036167 | BEST LANE TAP TO BRASADA-HARNEY NO 1 115KV LINE | NWACI, ID-NW
57 | 22-04884 | 09/07/2022 06:00 | 09/07/2022 16:00 | 11374268 | ALVEY: BANK #3 INCLUDING PCB'S A-242, B-584, 16W, BUS TIE PCB'S A-248 & B-586 & A-242 & B-584 BFR'S O.A.T., ALVEY: 230/115KV TRANSFORMER 3 | COI, PDCI, COI, PDCI, NWACI
58 | 22-10551 | 09/07/2022 06:30 | 09/07/2022 15:00 | 12007089 | Flathead - Lion Mountain Section of the Flathead - Hot Springs #1 230kV Line including Flathead: PCB A-219 and 230kV Aux Bus | MT-NW
59 | 22-05732 | 09/07/2022 07:00 | 09/07/2022 16:00 | 11508106 | COYOTE SPRINGS: PCB 5190 | NWACI, PDCI, WOLM, WOM, COI
60 | 22-02280 | 09/07/2022 07:30 | 09/07/2022 16:00 | 10940567 | CUSTER: PCB 4274 INCLUDING THE 500KV REACTOR 1 | BCHT, BCHW, NOEL, SOC, NI, NOEL, SOC
61 | 22-02737 | 09/07/2022 08:15 | 09/07/2022 16:00 | 11120764 | JOHN DAY: PCB 4822 | JDAY, NWACI, PDCI, WOJD
62 | 22-10552 | 09/08/2022 06:30 | 09/08/2022 15:00 | 12001975 | Columbia Falls - Flathead #1 230kV Line Including Flathead: PCB A-221 and 230kV Aux Bus | GEN, LOAD, MT-NW, FLAT
63 | 22-04816 | 09/08/2022 06:30 | 09/08/2022 16:00 | 11903539 | BELL-BOUNDARY NO 3 230KV LINE INCLUDING ADDY: 230KV NORTH MAIN BUS AND 230KV SOUTH MAIN BUS | BCHT, GEN, MT-NW, SOB, SOB, WOH, SOB, WOH
64 | 22-10177 | 09/08/2022 08:00 | 09/08/2022 18:00 | 11936370 | BRASADA-CHRISTMAS VALLEY SECT. OF BRASADA-HARNEY NO.1, 115KV LINE | ID-NW, NWACI
65 | 22-02738 | 09/08/2022 08:15 | 09/08/2022 16:00 | 11120767 | JOHN DAY: PCB 5444 | NWACI, PDCI, WOJD, WOM, WOS, COI
66 | 22-06258 | 09/08/2022 16:00 | 09/08/2022 16:30 | 11562247 | JOHN DAY: PCB 5441 | NWACI, PDCI, WOJD, WOM, WOS, COI
67 | 22-02506 | 09/08/2022 17:00 | 09/08/2022 17:30 | 11017851 | MCNARY: PCB A-420 OF THE PH-MCNARY NO 3&4 230KV LINE , MCNARY PH-MCNARY NO 3&4 230KV LINE | GEN, WOM
68 | 22-02507 | 09/12/2022 06:30 | 09/12/2022 07:00 | 11017963 | MCNARY: PCB A-434 OF THE PH-MCNARY NO 5 230KV LINE | WOM, GEN, FCRPS, WOM
69 | 22-10939 | 09/12/2022 06:30 | 09/12/2022 07:00 | 12012253 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS, COI, NWACI, PDCI, WOJD
70 | 22-01064 | 09/12/2022 07:00 | 09/16/2022 17:00 | 11180236 | CHIEF JOSEPH-MONROE NO 1 500KV LINE | GEN, IROL, NOEL, NOH, SIG, SOC, WOCN, COI, NWACI, BCHT, BCHW, NI, NOEL, SOC, WOCN, BCHT, BCHW, NI, NOEL, SOC, WOCN, GEN, NOEL, SOC, WOCN, GEN, NOEL, SOC, WOCN
71 | 22-08293 | 09/12/2022 07:00 | 09/15/2022 15:00 | 12045986 | CELILO: PCB 5515, INCLUDING BIG EDDY 1 LINE CAP GROUP 4 | PDCI
72 | 22-07901 | 09/12/2022 08:00 | 09/30/2022 15:00 | 11700651 | WINE COUNTRY-MIDWAY NO 1 230KV LINE | WOJD, GEN
73 | 22-08216 | 09/12/2022 08:00 | 09/23/2022 17:30 | 11729769 | BIG EDDY-DE MOSS NO 1 115KV LINE | GEN
74 | 22-10473 | 09/12/2022 08:00 | 09/29/2022 16:00 | 11964575 | GRAND COULE: 6286 TERMINAL OF THE GRAND COULEE- AVA WESTSIDE NO 1 230KV LINE | NOH, WOCN, COI, NWACI, PDCI
75 | 22-02902 | 09/12/2022 08:00 | 09/15/2022 12:00 | 11706497 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | MT-NW, WOH, SLAL, WOLM, MT-NW, WOH, WOLM
76 | 22-02633 | 09/12/2022 08:00 | 09/16/2022 18:00 | 11209505 | YEW AVENUE-BRASADA SECTION OF REDMOND-BRASADA NO 1 115KV LINE | ID-NW
77 | 22-10828 | 09/12/2022 08:30 | 09/12/2022 12:00 | 12005798 | USK: PCB A-953 | SOB
78 | 22-02573 | 09/12/2022 08:30 | 09/13/2022 16:00 | 11045003 | JOHN DAY: PCB 4167 | JDAY, NWACI, WOCS, WOJD, COI
79 | 22-10843 | 09/12/2022 12:00 | 09/12/2022 16:00 | 12006172 | USK: PCB A-955 | SOB
80 | 22-06405 | 09/13/2022 07:00 | 09/20/2022 16:00 |  | ALVEY: 115KV SOUTH MAIN BUS INCLUDING PCB B-582 | GEN, GEN, SLAL, SLAL, SLAL
81 | 22-10219 | 09/13/2022 07:30 | 09/15/2022 16:00 | 11937258 | WAUTOMA: 500KV REACTOR 1, INCLUDING PCB 5236 | COI, NWACI
82 | 22-02281 | 09/13/2022 07:30 | 09/13/2022 15:00 | 10940570 | CUSTER: PCB A-1546 | BCHT, BCHW, NOEL, SOC, NI
83 | 22-09822 | 09/13/2022 08:00 | 09/15/2022 15:00 | 11901509 | PEARL: A-1165 TERMNIAL OF THE PEARL TAP TO PGE MCLOUGHLIN - SHERWOOD #1 230KV LINE | SOA, SOA, WOCS
84 | 22-07686 | 09/13/2022 08:00 | 10/06/2022 15:00 | 11684994 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS, WOCS
85 | 22-07682 | 09/13/2022 08:00 | 10/06/2022 15:00 | 11685020 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | GEN, SOA, WOCS, LOAD, GEN, LOAD, WOCS, FCRPS
86 | 22-04966 | 09/13/2022 08:15 | 09/13/2022 08:45 | 11422380 | GRAND COULEE: PCB 1992, PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
87 | 22-10844 | 09/13/2022 08:30 | 09/13/2022 12:00 | 12006204 | USK: PCB A-958 | SOB
88 | 22-04961 | 09/13/2022 09:15 | 09/13/2022 09:45 | 11422382 | GRAND COULEE: PCB 2092, PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
89 | 22-04967 | 09/13/2022 10:15 | 09/13/2022 10:45 | 11422384 | GRAND COULEE: PCB 2292, PCB 2296 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
90 | 22-04968 | 09/13/2022 11:15 | 09/13/2022 11:45 | 11422385 | GRAND COULEE: PCB 2392, PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
91 | 22-00899 | 09/13/2022 12:00 | 09/13/2022 15:00 | 11136935 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 1 230KV LINE INCLUDING CHIEF JOSEPH: PCB A-576, PCB A-584 | GEN, NOH, FCRPS, WOCN
92 | 22-04969 | 09/13/2022 12:45 | 09/13/2022 13:15 | 11422388 | GRAND COULEE: PCB 2496, PCB 2492 | GEN, WOCN, COI, NOH, NWACI, PDCI, GEN, NOH, COI, NWACI, PDCI
93 | 22-02282 | 09/14/2022 07:30 | 09/14/2022 15:00 | 10940572 | CUSTER: PCB A-1250 | BCHT, BCHW, NOEL, SOC, NI
94 | 22-00981 | 09/14/2022 08:00 | 09/15/2022 16:00 | 11156434 | JOHN DAY: PCB 4131 | NWACI, PDCI, WOJD, WOS, COI
95 | 22-00903 | 09/15/2022 12:00 | 09/15/2022 15:00 | 11136982 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 2 230KV LINE INCLUDING CHIEF JOSEPH: PCB A-580, PCB A-584 | GEN, NOH, FCRPS, GEN, WOCN
96 | 22-03664 | 09/16/2022 22:30 | 09/16/2022 23:00 | 11289866 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN
97 | 22-07651 | 09/18/2022 01:00 | 09/18/2022 01:15 | 11824617 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
98 | 22-07652 | 09/18/2022 01:15 | 09/18/2022 01:30 | 11824652 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
99 | 22-07653 | 09/18/2022 01:30 | 09/18/2022 01:45 | 11824653 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, GEN, NOH, WOCN
100 | 22-07654 | 09/18/2022 01:45 | 09/18/2022 02:00 | 11824585 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, GEN, NOH, WOCN
101 | 22-07655 | 09/18/2022 02:00 | 09/18/2022 02:15 | 11824663 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
102 | 22-07656 | 09/18/2022 18:45 | 09/18/2022 19:00 | 11824690 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
103 | 22-07657 | 09/18/2022 19:00 | 09/18/2022 19:15 | 11824700 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
104 | 22-07658 | 09/18/2022 19:15 | 09/18/2022 19:30 | 11824714 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, GEN, NOH, WOCN
105 | 22-07659 | 09/18/2022 19:30 | 09/18/2022 19:45 | 11824721 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, GEN, NOH, WOCN
106 | 22-07660 | 09/18/2022 19:45 | 09/18/2022 20:00 | 11824737 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
107 | 22-02586 | 09/19/2022 01:00 | 09/23/2022 17:00 | 11045000 | GRAND COULEE: 500KV NORTH BUS INCLUDING PCB 1896, PCB 2092, PCB 2192, PCB 2292, PCB 2392, PCB 2492, PCB 1992, | MT-NW, WOH, COI, NOH, NWACI, PDCI, WOCN, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, COI, NOH, NWACI, PDCI, WOCN
108 | 22-02693 | 09/19/2022 07:00 | 10/06/2022 15:00 | 11337686 | TAFT-HOT SPRINGS #1 500KV LINE (UNGROUNDED) INCLUDING: HOT SPRINGS: 500/230KV TRANSFORMER 1, 500KV REACTOR 1, PCB 4478, PCB 4562, TAFT-HOT SPRINGS NO 1 500KV LINE | GEN, MT-NW, WOH, MT-NW, WOH, GEN, MT-NW, SIG, WOH, MT-NW, WOH, GEN, MT-NW, WOH
109 | 22-04649 | 09/19/2022 07:00 | 09/19/2022 08:00 | 11337753 | TAFT: 500KV BUS 1, PCB 4111, PCB 4122, PCB 4148 | MT-NW, WOH, GEN, MT-NW, NOH, WOH, GEN, MT-NW, WOH, GEN, MT-NW, WOH
110 | 22-04648 | 09/19/2022 07:00 | 10/06/2022 15:00 | 11337829 | HOT SPRINGS: PCB A-1478 | GEN, MT-NW
111 | 22-02194 | 09/19/2022 07:00 | 09/19/2022 09:00 | 10928037 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
112 | 22-07738 | 09/19/2022 07:00 | 10/02/2022 17:30 | 11683455 | ALVEY: A-656 TERMINAL OF ALVEY-DIXONVILLE NO 1 230KV LINE -UNGROUNDED- | COI, NWACI, PDCI, COI, PDCI, NWACI
113 | 22-00860 | 09/19/2022 07:30 | 09/22/2022 15:00 | 11140962 | PAUL-SATSOP NO 1 500KV LINE INCLUDING SATSOP: 500/230KV TRANSFORMER 1 AND PCB'S A-622 & A-625 | PA, RP, PA, RP, LOAD, PA, RP, SI, SIG, PA, RP, LOAD
114 | 22-03279 | 09/19/2022 07:30 | 09/22/2022 17:00 | 11282941 | VANTAGE-HANFORD NO 1 500KV LINE | BCHT, BCHW, NI, NOH, NWACI, PDCI, SIG, COI, WOCS, NOH, NWACI, PDCI, COI, WOM, WOS, NOH, NWACI, PDCI, COI, WOM, WOS, GEN, NOH, NWACI, PDCI, WOCN, COI, GEN, NOH, NWACI, PDCI, WOCN, COI
115 | 22-02451 | 09/19/2022 07:30 | 09/21/2022 14:00 | 11025434 | MONROE: PCB 4508, INCLUDING 500KV CAP GROUP 4 | IROL, NI, NOEL, SOC, WOCN
116 | 22-06385 | 09/19/2022 08:00 | 09/28/2022 16:00 | 11563776 | REDMOND: A-262 TERMINAL OF THE REDMOND-PGE ROUND BUTTE #1 230KV LINE (UNGROUNDED) | COI, NWACI, PDCI, SIG
117 | 22-07863 | 09/19/2022 08:00 | 09/30/2022 15:00 | 12046333 | MAPLE VALLEY: 20KV SVC, INCLUDING PCB A-1141 | IROL, NOEL, SOC, WOCN
118 | 22-10968 | 09/19/2022 08:00 | 09/22/2022 15:00 |  | BIG EDDY: 230KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB A-839, LBD A-837 AND LBD A-841 | COI, NWACI, PDCI, WOJD
119 | 22-04836 | 09/19/2022 08:00 | 09/19/2022 16:00 | 11363911 | USK-BOUNDARY NO 1 230KV LINE INCLUDING ADDY-CUSICK NO 1 230KV LINE AND CUSICK: LBD A-153, LBD A-154, A-167 230KV CAP GROUP 1 SECTION 1 DISC, MOD A-155, MOD A-162 (UNGROUNDED) | SOB
120 | 22-02897 | 09/19/2022 08:00 | 09/21/2022 12:00 | 11313552 | DWORSHAK: 500KV REACTOR 2 INCLUDING PCB 4650 | MT-NW, GEN, MT-NW, WOH
121 | 22-01039 | 09/19/2022 09:30 | 09/22/2022 14:00 | 11300305 | CAPTAIN JACK: PCB 4924 | NWACI, PDCI, COI
122 | 22-08870 | 09/19/2022 11:00 | 09/19/2022 15:00 | 11896497 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | NOEL, SOC, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI, NOEL, SOC, WOCN, NI
123 | 22-03704 | 09/20/2022 06:00 | 09/24/2022 17:00 | 11313823 | MONROE-CUSTER NO 1 500KV LINE | BCHT, BCHW, IROL, NOEL, SIG, SOC, NI
124 | 22-04824 | 09/20/2022 07:00 | 09/20/2022 16:30 | 11364426 | CUSICK-BOUNDARY SECTION OF USK-BOUNDARY 1 230KV LINE INCLUDING BOUNDARY: PCB A-1235 AND 230KV AUX BUS (UNGROUNDED) | SOB, SOB
125 | 22-08841 | 09/20/2022 07:00 | 09/20/2022 11:00 | 11896436 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | NOEL, SOC, WOCN, NOEL, SOC, WOCN, NOEL, SOC, WOCN, LOAD, RP, RP, NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC, NOEL, SOC
126 | 22-04897 | 09/20/2022 09:00 | 09/20/2022 16:00 | 11896367 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | COI, NWACI, PDCI, COI, NWACI, PDCI
127 | 22-08853 | 09/20/2022 12:00 | 09/20/2022 16:30 | 12046105 | TACOMA: 230KV CAP GROUP 3 SECTION 1, & 2 INCLUDING LBD A-1078, LBD 1079 | NOEL, RP, SOC, WOCN
128 | 22-04825 | 09/21/2022 06:00 | 09/21/2022 11:30 | 11364560 | BOUNDARY-NELWAY NO 1 230KV LINE INCLUDING BOUNDARY: PCB A-1220 AND 230KV AUX BUS | SOB, BCHT, GEN, NI, NOEL, SOC
129 | 22-02437 | 09/21/2022 06:30 | 09/29/2022 17:00 | 11034528 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
130 | 22-09745 | 09/21/2022 07:30 | 09/21/2022 11:00 | 12046068 | ALVEY: PCB 5081 | NWACI, PDCI, COI
131 | 22-06352 | 09/21/2022 08:00 | 09/21/2022 10:00 | 11591887 | ROCK CREEK: PCB 5294 | NWACI, PDCI, RKCR, COI
132 | 22-06216 | 09/21/2022 10:00 | 09/21/2022 12:00 | 11591882 | ROCK CREEK: PCB 5288 | NWACI, PDCI, RKCR, COI
133 | 22-04827 | 09/21/2022 11:30 | 09/21/2022 14:30 | 11364624 | BOUNDARY-SACHEEN NO 1 230KV LINE INCLUDING BOUNDARY: PCB A-1234 AND 230KV AUX BUS | SOB
134 | 22-09747 | 09/21/2022 11:30 | 09/21/2022 15:30 | 12046079 | ALVEY: PCB 5084 | NWACI, PDCI, COI
135 | 22-04826 | 09/22/2022 07:00 | 09/22/2022 16:30 | 11364644 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY 3 230KV LINE INCLUDING BOUNDARY: PCB A-1222 AND 230KV AUX BUS | SOB, GEN, SOB, GEN, BCHT, GEN, MT-NW, SOB
136 | 22-08266 | 09/22/2022 07:00 | 09/22/2022 16:00 | 11896520 | SNOHOMISH: 230/115KV TRANSFORMER 3, INCLUDING PCB'S A -196 AND B-480 | LOAD, NOEL, SOC, NOEL, SOC
137 | 22-04779 | 09/22/2022 07:30 | 09/22/2022 11:00 | 11345438 | SCHULTZ: PCB 5151 | WOCN
138 | 22-04780 | 09/22/2022 11:00 | 09/22/2022 15:30 | 11345439 | SCHULTZ: PCB 5148 | WOCN
139 | 22-02508 | 09/22/2022 16:30 | 09/22/2022 17:00 | 11017970 | MCNARY: PCB A-434 OF THE PH-MCNARY NO 5 230KV LINE | WOM, GEN, FCRPS, WOM
140 | 22-10937 | 09/22/2022 16:30 | 09/22/2022 17:00 | 12012281 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
141 | 22-02103 | 09/26/2022 01:00 | 10/07/2022 20:00 | 10879173 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
142 | 22-09446 | 09/26/2022 04:00 | 09/28/2022 17:00 | 11901497 | CHIEF JOSEPH: A-578 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH #2 230KV LINE | COI, NOH, NWACI, PDCI, GEN, NOH, FCRPS, WOCN
143 | 22-08676 | 09/26/2022 06:00 | 09/26/2022 12:00 | 11825637 | OLYMPIA: 500/230KV TRANSFORMER 5 INCLUDING PCB A-1772 AND THE 230KV EAST AUX BUS | PA, RP, WOCN
144 | 22-03186 | 09/26/2022 06:00 | 10/07/2022 22:00 | 11220346 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS, BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC
145 | 22-10576 | 09/26/2022 06:00 | 09/29/2022 16:00 | 11983780 | GARRISON: 500KV REACTOR 5, INCLUDING PCB 4362 | MT-NW
146 | 22-06513 | 09/26/2022 07:00 | 10/16/2022 16:00 | 11597287 | CHIEF JOSEPH: 500/230KV TRANSFORMER 3, INCLUDING PCB 4728 | NOEL, NOH, SOC, FCRPS, GEN, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, BCHT, BCHW, WOCN
147 | 22-09464 | 09/26/2022 07:00 | 09/26/2022 13:30 | 11890500 | BELLINGHAM-CUSTER NO 1 230KV LINE, INCLUDING CUSTER: PCB'S A-1238 AND A-1254 | BCHT, BCHW, NOEL, SOC, NI
148 | 22-02076 | 09/26/2022 07:30 | 09/29/2022 16:00 | 11603700 | REDMOND: 230/115KV TRANSFORMER 5 INCLUDING PCB B-1559 | COR
149 | 22-02472 | 09/26/2022 07:30 | 09/27/2022 15:00 | 11025107 | RAVER: PCB 4914, BFR | NOEL, RP, SOC
150 | 22-06018 | 09/26/2022 08:00 | 09/27/2022 15:00 | 11797165 | TROUTDALE: PCB A-122 | WOCS
151 | 22-02901 | 09/26/2022 08:00 | 09/29/2022 15:30 | 11313555 | DWORSHAK: 500KV REACTOR 1 INCLUDING PCB 4665 | MT-NW, GEN, MT-NW, WOH
152 | 22-09860 | 09/26/2022 08:00 | 09/29/2022 16:00 | 11907098 | ROGUE: 115/23KV SVC INCLUDING THE 115/23KV TRANSFORMER 3 AND THE 23KV PCB L-637 | SCORC, SWORE
153 | 22-06520 | 09/26/2022 08:00 | 09/30/2022 16:00 | 11596836 | LOWER MONUMENTAL: 500KV WEST BUS INCLUDING PCB 4263 | WOLM, WOLM
154 | 22-07584 | 09/26/2022 08:00 | 09/26/2022 16:00 | 12001676 | CHEMAWA: 115KV NORTH AND SOUTH MAIN BUS | WOCS, LOAD
155 | 22-01219 | 09/26/2022 09:00 | 09/30/2022 17:30 | 10393605 | CAPTAIN JACK-OLINDA NO 1 500KV LINE, INCLUDING MOD 4974 | BCHT, BCHW, COI, NI, NWACI, PDCI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI
156 | 22-01041 | 09/26/2022 10:00 | 09/29/2022 15:00 | 11901520 | SYCAN: SUMMER LAKE-MALIN 1-500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5066 | COI, NWACI, PDCI, COI, NWACI, PDCI
157 | 22-02431 | 09/26/2022 10:00 | 09/29/2022 14:00 | 12034899 | KEELER: PCB 4394 RELAYS | SOA
158 | 22-04894 | 09/26/2022 13:00 | 11/03/2022 12:00 | 11374283 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA: 500/230KV TRANSFORMER 5, PCB A-1772 AND PAUL PCB'S 4550 & 4554 | NWACI, PDCI, COI, WOCS, SOA, RP, WOCS, SOA, LOAD, PA, RP, SIG, LOAD, NOEL, PA, RP, SIG, IROL
159 | 22-04033 | 09/26/2022 13:00 | 09/26/2022 14:30 | 11323668 | BOUNDARY: 230KV BUS SECTIONALIZING PCB A-1233 | SOB
160 | 22-02458 | 09/27/2022 07:00 | 09/27/2022 15:30 | 11040341 | ECHO LAKE-MONROE NO 1 500KV LINE INCLUDING SNO-KING TAP AND MONROE: PCB'S 4522 & 4526, SNO-KING TAP TO ECHO LAKE-MONROE NO 1 500KV LINE, SNO-KING: 500/230KV TRANSFORMER 4 | IROL, NI, NOEL, SIG, SOC, WOCN, COI, NWACI, PDCI, BCHT, BCHW, NOEL, SIG, SOC, WOCN, IROL, NI, LOAD, NOEL, SIG, SOC, IROL, WOCN, BCHT, BCHW, NI, NOEL, SOC, WOCN
161 | 22-05807 | 09/27/2022 08:15 | 09/27/2022 08:45 | 11540621 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
162 | 22-04034 | 09/27/2022 09:00 | 09/27/2022 14:00 |  | BOUNDARY: SCL PCB'S 351, 352, & 353 (O.A.T.) | NOEL, SOC, NI, NOEL, SOC, NI, NOEL, SOC, NI
163 | 22-05808 | 09/27/2022 09:15 | 09/27/2022 09:45 | 11540626 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
164 | 22-05809 | 09/27/2022 10:15 | 09/27/2022 10:45 | 11540655 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
165 | 22-00913 | 09/27/2022 11:00 | 09/27/2022 14:00 | 11137184 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 3 230KV LINE RELAYS INCLUDING CHIEF JOSEPH: PCB A-592 AND PCB A-598 | GEN, NOH, FCRPS, GEN, WOCN
166 | 22-05810 | 09/27/2022 11:15 | 09/27/2022 11:45 | 11540661 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, COI, NWACI, PDCI, GEN, WOCN, COI, NOH, NWACI, PDCI
167 | 22-02671 | 09/28/2022 06:00 | 09/28/2022 15:00 | 12007144 | COSMOPOLIS-ABERDEEN NO 1 115KV LINE INCLUDING COSMOPOLIS: PCB B-1324, 115KV AUX BUS, AND ABERDEEN: PCB B-812 AND THE 115KV AUX BUS | PA, LOAD, SOA
168 | 22-01209 | 09/28/2022 07:30 | 09/28/2022 16:00 | 11755673 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-860 | SOA, SOA, WOCN, WOCS, LOAD, SOA, SOA, SOA, SOA, SOA, SOA, SOA, SOA, WOCS, SOA, SOA, WOCS, SOA, WOCS, SOA, LOAD, SOA, SOA
169 | 22-02474 | 09/28/2022 08:00 | 09/29/2022 15:00 | 11025111 | RAVER: PCB 4921, BFR | NOEL, RP, SOC
170 | 22-04039 | 09/28/2022 09:00 | 09/28/2022 14:00 |  | BOUNDARY: SCL PCB'S 354, 355, & 356 (O.A.T.) | NOEL, SOC, NI, NOEL, SOC, NI, NOEL, SOC, NI
171 | 22-04047 | 09/28/2022 12:00 | 09/28/2022 14:30 | 11323763 | BOUNDARY: PCB A-1228 & PCB B-1398 INCLUDING 230/115KV TRANSFORMER 1 AND METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
172 | 22-07939 | 09/29/2022 06:00 | 09/29/2022 07:00 | 12046139 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, INCLUDING PCB A-190 | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
173 | 22-00921 | 09/29/2022 12:00 | 09/29/2022 15:00 | 11137207 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 4 230KV LINE INCLUDING CHIEF JOSEPH: PCBS A-598, A-602 | GEN, NOH, FCRPS, GEN, WOCN
174 | 22-08284 | 09/29/2022 15:00 | 09/29/2022 16:00 | 12046145 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
175 | 22-06528 | 09/30/2022 16:01 | 10/24/2022 08:00 | 11596882 | LOWER MONUMENTAL: PCB 4263 AND MOD 4257 | WOLM
176 | 22-11129 | 09/30/2022 16:30 | 09/30/2022 17:00 | 12041374 | MCNARY: PCB A-420 OF THE MCNARY PH-MCNARY NO 3&4 230KV LINE | GEN
177 | 22-06383 | 10/01/2022 07:00 | 10/01/2022 16:00 | 11563686 | CAPTAIN JACK-MALIN NO 1 500KV LINE | NWACI, PDCI, SIG, COI, COI, NWACI, PDCI, COI, NWACI, PDCI
178 | 22-06384 | 10/02/2022 07:00 | 10/02/2022 16:00 | 11563715 | GRIZZLY-CAPTAIN JACK 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAP GROUPS 1 | COI, PDCI, NWACI, BCHT, BCHW, NI, NWACI, PDCI, SIG, BCHT, BCHW, NI, NWACI, PDCI, SIG, COI, SIG, COI, NWACI, PDCI
179 | 22-02596 | 10/02/2022 22:00 | 10/07/2022 17:00 | 11285522 | CHIEF JOSEPH: 4578/4729 TERMINAL OF GRAND COULEE-CHIEF JOSEPH NO 3 500KV LINE | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, SIG, COI, FCRPS, MT-NW, NWACI, PDCI, WOCN, WOH, WOLM
180 | 22-06200 | 10/03/2022 07:00 | 10/06/2022 16:00 | 11575501 | BELL: PCB 5307 | GEN, MT-NW, WOH
181 | 22-06387 | 10/03/2022 07:00 | 10/04/2022 16:00 | 11563771 | MCNARY-JOHN DAY NO 2 500KV LINE | NWACI, PDCI, SIG, WOJD, WOM, WOS, COI, WOCS
182 | 22-02676 | 10/03/2022 07:00 | 10/06/2022 17:30 | 11233752 | NOXON-LIBBY NO 1 230KV LINE | MT-NW, WOH, FCRPS, GEN
183 | 22-01952 | 10/03/2022 07:00 | 11/17/2022 17:00 | 10821249 | LONGVIEW: 230KV CAP GROUP 6 SECTIONS 1 AND 2 INCLUDING PCB A-648, LBD'S A-1640 AND A-1641, AND ALL ASSOCIATED RELAYS AND WIRING | LOAD, SOA, LOAD, SOA, SOA
184 | 22-00836 | 10/03/2022 07:30 | 10/10/2022 14:00 | 10858155 | LAPINE: 115KV MAIN BUS INCLUDING PCB B-1280 AND 230/115KV TRANSFORMER 2 | LOAD, NWACI, COI, LOAD
185 | 22-07837 | 10/03/2022 07:30 | 10/03/2022 15:00 | 11699754 | SLATT: PCB 5003 | GEN, NWACI, PDCI, COI
186 | 22-02454 | 10/03/2022 07:30 | 10/04/2022 14:00 | 11040116 | MONROE: PCB 5047, INCLUDING 500KV CAP GROUP 3 | WOCN, NI, NOEL, SOC, IROL, NOEL, SOC, WOCN, NI
187 | 22-07321 | 10/03/2022 08:00 | 10/06/2022 15:00 | 11901524 | SCHULTZ-RAVER NO 3 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SIG, SOC, WOCN, COI
188 | 22-06014 | 10/03/2022 08:00 | 11/18/2022 17:00 | 11537545 | GRIZZLY: 500KV REACTOR 3 INCLUDING PCB 4038 | COI, NWACI, PDCI, COI, PDCI, NWACI
189 | 22-03703 | 10/03/2022 08:00 | 10/05/2022 15:00 | 11300375 | MALIN: PCB 4072 | NWACI, PDCI, COI
190 | 22-06347 | 10/03/2022 08:00 | 10/13/2022 15:00 | 11597384 | CAPTAIN JACK: PCB 4986 | NWACI, PDCI, COI
191 | 22-10475 | 10/03/2022 08:00 | 10/20/2022 16:00 | 11964596 | BELL: A-362 TERMINAL OF THE AVA WESTSIDE-BELL NO 1 230KV LINE | MT-NW, WOH, SOB
192 | 22-01958 | 10/03/2022 08:00 | 10/04/2022 15:00 | 10764208 | SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA: 500KV EAST BUS, PCBS 5241, 5244, 5253, 5262 AND SCHULTZ: PCBS 5170, 5173 | BCHT, BCHW, IROL, NI, NOH, NWACI, PDCI, SIG, WOCN, COI, WOCN, NOH, WOCN, NOH, WOCN, NWACI, COI, NOH, WOCN, WOCN, COI, NWACI, NOH, WOCN, WOCN
193 | 22-02115 | 10/03/2022 08:00 | 11/02/2022 16:00 |  | -PGE- BETHEL (PGE)-ROUND BUTTE 230KV LINE | COI, NWACI, PDCI, WOCS
194 | 22-07838 | 10/04/2022 07:30 | 10/04/2022 15:00 | 11804179 | SLATT: PCB 5021 | NWACI, PDCI, WOJD, COI
195 | 22-01229 | 10/04/2022 08:00 | 10/04/2022 16:30 |  | FOREST GROVE: 115KV NORTH AND SOUTH MAIN BUS, INCLUDING PCB'S B-650, B-1285, B-1286, B-1287, B-441, B-1284 | LOAD, LOAD, SOA, LOAD, SOA, LOAD, SOA, LOAD, SOA
196 | 22-01956 | 10/04/2022 15:00 | 11/09/2022 08:00 | 10764220 | SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA: PCBS 5241 & 5244 & BAY 2E TO REMOVED BUS BETWEEN MOD 5240 & PCB 5241 AND BAY 2E PORTION OF EAST BUS TO REMOVED BUS BETWEEN BAYS 2E (SCHULTZ #1) TO BAY 3E ( HANFORD #1) | BCHT, BCHW, IROL, NI, NOH, NWACI, PDCI, SIG, WOCN, COI, NOH, WOCN, NOH, WOCN, NOH, WOCN, WOCN
197 | 22-06388 | 10/05/2022 07:00 | 10/05/2022 16:00 | 11563893 | ROCK CREEK-JOHN DAY NO 1 500KV LINE | BCHT, BCHW, NI, NOH, NWACI, PDCI, SIG, WOJD, WOM
198 | 22-06390 | 10/06/2022 07:00 | 10/07/2022 16:00 | 11563960 | KNIGHT-OSTRANDER NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOCS, WOJD, COI, WOCN
199 | 22-02483 | 10/06/2022 07:30 | 10/06/2022 09:00 | 11034538 | RAVER: PCB 4299 | NOEL, RP, SOC
200 | 22-05964 | 10/06/2022 08:00 | 10/06/2022 16:00 |  | PSE- HORSE RANCH: 230KV PCB 7412 (FORCES OUT HORSE RANCH TAP TO MONROE-SNOHOMISH 1&2) | BCHT, BCHW, NOEL, SOC, SIG
201 | 22-08352 | 10/06/2022 08:00 | 10/06/2022 10:00 | 11735722 | ABERDEEN: PCB B-816 | SI
202 | 22-10334 | 10/06/2022 08:00 | 10/08/2022 20:00 |  | PAC- KLAMATH FALLS-SNOW GOOSE 230KV LINE | COI, NWACI
203 | 22-02484 | 10/06/2022 09:00 | 10/06/2022 11:00 | 11034543 | RAVER: PCB 4302 | NOEL, RP, SOC, WOCN
204 | 22-04650 | 10/06/2022 14:00 | 10/06/2022 15:00 | 11337774 | TAFT: 500KV BUS 1, PCB 4111, PCB 4122, PCB 4148 | MT-NW, WOH, GEN, MT-NW, NOH, WOH, GEN, MT-NW, WOH, GEN, MT-NW, WOH
205 | 22-05800 | 10/08/2022 07:00 | 10/16/2022 17:00 | 11537529 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028 | SIG, COI, NWACI, PDCI, BCHT, BCHW, NI, COI, PDCI, NWACI, COI, NWACI, PDCI, NWACI, WOJD, COI, NWACI, PDCI, COI, SIG, COI, NWACI, PDCI, COI, PDCI, NWACI, SIG, COI, NWACI, PDCI, BCHT, BCHW, NI
206 | 22-09596 | 10/10/2022 07:00 | 10/13/2022 16:00 | 11937295 | MCNARY: PCB 4231, BFR | NWACI, PDCI, WOM, COI
207 | 22-10340 | 10/10/2022 08:00 | 10/13/2022 20:00 |  | PAC- KLAMATH FALLS-SNOW GOOSE 230KV LINE | COI, NWACI
208 | 22-00837 | 10/10/2022 14:00 | 10/17/2022 17:00 | 10858433 | LAPINE: 115KV MAIN BUS INCLUDING PCB B-1279 AND 230/115KV TRANSFORMER 1 | LOAD, NWACI, COI, LOAD
209 | 22-03187 | 10/11/2022 06:00 | 10/21/2022 23:00 | 11220347 | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NWACI, PDCI, WOM, WOS, BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC
210 | 22-06624 | 10/11/2022 07:00 | 10/11/2022 16:00 | 11597412 | RAVER: PCB 4302 | NOEL, RP, SOC, WOCN
211 | 22-06407 | 10/11/2022 07:00 | 10/20/2022 17:30 |  | ALVEY: 115KV SOUTH MAIN BUS INCLUDING PCBs: B-570, B-572, and B-578 | GEN, SLAL, GEN, SLAL
212 | 22-07857 | 10/11/2022 07:00 | 10/11/2022 16:00 | 11693780 | SATSOP-ABERDEEN NO 3 230KV LINE INCLUDING SATSOP: PCBS A-616 AND A-619 | LOAD, PA, SI, PA, LOAD, GEN, LOAD, PA, GEN, LOAD, PA
213 | 22-04737 | 10/11/2022 07:00 | 10/13/2022 16:30 | 11342254 | BELL: PCB 5316 | GEN, MT-NW, WOH
214 | 22-09437 | 10/11/2022 08:00 | 10/11/2022 17:30 | 11901560 | CHIEF JOSEPH: PCB 4730 | NOEL, NOH, NWACI, PDCI, SOC, COI, WOCN
215 | 22-01217 | 10/11/2022 08:00 | 10/16/2022 17:30 | 11091486 | MALIN-HILLTOP NO 1 230KV LINE INCLUDING CANBY TAP (UNGROUNDED) | COI, PDCI, RATS, NWACI, COI, PDCI, RATS, NWACI, RATS, RATS, COI, PDCI, RATS, NWACI
216 | 22-10808 | 10/11/2022 08:00 | 10/12/2022 11:00 |  | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5363 | NWACI, PDCI, COI, WOJD
217 | 22-03706 | 10/11/2022 08:00 | 10/13/2022 15:00 | 11300484 | MALIN: PCB 4582 | NWACI, PDCI, COI
218 | 22-07156 | 10/11/2022 08:15 | 10/11/2022 08:45 | 11642175 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
219 | 22-07155 | 10/11/2022 09:15 | 10/11/2022 09:45 | 11642158 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
220 | 22-07157 | 10/11/2022 10:15 | 10/11/2022 10:45 | 11642156 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
221 | 22-07158 | 10/11/2022 11:15 | 10/11/2022 11:45 | 11642144 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
222 | 22-07159 | 10/11/2022 12:45 | 10/11/2022 13:15 | 11642139 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, COI, NWACI, PDCI, GEN, WOCN, COI, NOH, NWACI, PDCI
223 | 22-10811 | 10/12/2022 12:00 | 10/13/2022 15:00 |  | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 5367 | NWACI, PDCI, COI, WOJD
224 | 22-01754 | 10/13/2022 11:00 | 11/22/2022 15:00 | 11045396 | HINES-HARNEY NO 1 115KV LINE INCLUDING HARNEY: PCB B-1710 AND THE 115KV AUX BUS (UNGROUNDED) | ID-NW
225 | 22-04703 | 10/14/2022 15:00 | 10/14/2022 17:00 | 11337207 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
226 | 22-05458 | 10/15/2022 04:00 | 11/13/2022 21:00 |  | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE | PDCI, SIG
227 | 22-00105 | 10/16/2022 08:00 | 11/17/2022 17:00 | 9534877 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
228 | 22-02585 | 10/17/2022 01:00 | 10/28/2022 19:00 | 11044977 | GRAND COULEE: PCB 2396, PCB 2392 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
229 | 22-06204 | 10/17/2022 07:00 | 10/20/2022 16:00 | 11575518 | BELL: PCB 5310 | GEN, MT-NW, WOH
230 | 22-07283 | 10/17/2022 07:00 | 12/09/2022 17:00 | 11642141 | GRAND COULEE SWITCHYARD 230-500KV TIE NO 1 500KV LINE | GEN, NOH, GEN, NOH, WOCN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN
231 | 22-09598 | 10/17/2022 07:00 | 10/20/2022 16:00 | 11937299 | MCNARY: PCB 5217, BFR | NWACI, PDCI, WOCS, WOJD, WOM, COI
232 | 22-08155 | 10/17/2022 07:30 | 10/20/2022 15:00 | 11996068 | JOHN DAY: PCB 5441, PCB 5441 SEL-352 BFR AND PCB 5441 SEL-587 BKR DIFF RELAYS | NWACI, PDCI, WOJD, WOM, WOS, COI
233 | 22-05898 | 10/17/2022 08:00 | 10/18/2022 15:00 | 11540488 | OSTRANDER: PCB 4450 | WOCS
234 | 22-04679 | 10/17/2022 08:00 | 10/27/2022 15:00 | 11341784 | MALIN: PCB 4182 INCLUDING 500KV CAP GROUP 3 | COI, NWACI, PDCI, COI, NWACI, PDCI
235 | 22-03733 | 10/17/2022 08:00 | 10/19/2022 14:30 | 11300513 | LITTLE GOOSE: PCB 4626 | WOLM
236 | 22-08328 | 10/17/2022 08:00 | 11/08/2022 15:00 | 11755636 | MCNARY: 345/230KV TRANSFORMER 8 | SOA, WOCS, WOM
237 | 22-09615 | 10/17/2022 08:00 | 10/30/2022 17:00 |  | SUMMER LAKE: 4951/4952 TERMINAL OF , HEMINGWAY-SUMMER LAKE NO 1 500KV LINE | ID-NW, NWACI, SIG, COI
238 | 22-07931 | 10/17/2022 08:00 | 10/21/2022 15:00 |  | DRISCOLL: PCB A-1264 ALLSTON-CLATSOP-DRISCOLL TAP 1 230KV LINE | SOA, LOAD, SOA, SOA
239 | 22-08162 | 10/17/2022 08:00 | 11/08/2022 15:00 | 11755644 | ROSS: 345/230KV TRANSFORMER 4 | SOA, WOCS, WOM
240 | 22-08157 | 10/17/2022 08:00 | 10/21/2022 15:00 | 11755668 | MCNARY-ROSS NO 1 345KV LINE INCLUDING ROSS PCB A-142 AND MCNARY PCB A-432 | SOA, WOCS, SOA, WOCS, WOM, SOA, WOCS, WOM
241 | 22-07976 | 10/18/2022 05:00 | 10/18/2022 18:00 | 11942753 | TACOMA-TPWR NORTHEAST NO 3 230KV LINE, INCLUDING TACOMA 230KV SOUTH MAIN BUS, AND AUX BUS | PA, RP, NOEL, SOC
242 | 22-03646 | 10/18/2022 06:00 | 10/21/2022 16:00 | 11313791 | CUSTER: 500/230KV TRANSFORMER 2 INCLUDING STATION SERVICE 2 | NOEL, SIG, SOC, NI
243 | 22-02768 | 10/18/2022 07:00 | 10/27/2022 17:00 | 11120682 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE | GEN, NWACI, PDCI, SIG, WOLM, COI, GEN, NWACI, PDCI, WOLM, COI, FCRPS, NOH, GEN, NWACI, PDCI, COI, FCRPS, NOH
244 | 22-00923 | 10/18/2022 12:00 | 10/18/2022 15:00 | 11137273 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 5 500KV LINE INCLUDING CHIEF JOSEPH: PCB 4588, PCB 4724 | GEN, FCRPS, NOH, BCHT, BCHW, GEN, NOH, NWACI, PDCI, WOCN, COI, NOEL, NOH, NWACI, PDCI, SOC, WOCN
245 | 22-05899 | 10/19/2022 08:00 | 10/20/2022 15:00 | 11540510 | OSTRANDER: PCB 4445 | WOCS
246 | 22-02480 | 10/20/2022 07:00 | 10/20/2022 09:00 | 11034552 | RAVER: PCB 4876 | NOEL, RP, SOC
247 | 22-02481 | 10/20/2022 09:00 | 10/20/2022 11:00 | 11034555 | RAVER: PCB 4879 | NOEL, RP, SOC
248 | 22-03828 | 10/20/2022 09:30 | 10/20/2022 10:30 | 11300489 | MALIN: PCB 4072 | NWACI, PDCI, COI
249 | 22-03827 | 10/20/2022 10:30 | 10/20/2022 11:30 | 11300506 | MALIN: PCB 4582 | NWACI, PDCI, COI
250 | 22-00928 | 10/20/2022 12:00 | 10/20/2022 15:00 | 11137287 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE INCLUDING CHIEF JOSEPH: PCB 4598, PCB 4730 | GEN, FCRPS, NOH, GEN, NOEL, SOC, WOCN, GEN, NOEL, NOH, NWACI, PDCI, SOC, COI, WOCN
251 | 22-08214 | 10/20/2022 13:00 | 10/20/2022 15:00 | 11995397 | JOHN DAY: PCB 5444 | NWACI, PDCI, WOJD, WOM, WOS, COI
252 | 22-08325 | 10/21/2022 08:00 | 10/21/2022 15:00 |  | MCNARY: PCB A-437 | WOM
253 | 22-08243 | 10/21/2022 15:00 | 11/09/2022 08:00 | 11755980 | MCNARY-ROSS NO 1 345KV LINE | SOA, WOCS, WOM
254 | 22-03191 | 10/22/2022 06:00 | 10/23/2022 23:00 | 11220348 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NWACI, PDCI, WOM, WOS
255 | 22-06395 | 10/22/2022 08:00 | 10/22/2022 15:00 |  | PONDEROSA-PILOT BUTTE NO 1 230KV LINE | NWACI, PDCI, COI
256 | 22-06399 | 10/23/2022 08:00 | 10/23/2022 15:00 |  | LAPINE-FORT ROCK NO 1 115KV LINE | NWACI, COI, LOAD
257 | 22-09604 | 10/24/2022 07:00 | 10/25/2022 16:00 | 11937494 | MCNARY: PCB 4234, BFR | NWACI, PDCI, WOM, COI
258 | 22-01218 | 10/24/2022 08:00 | 10/28/2022 17:30 | 9430850 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | NWACI, PDCI, COI, LOAD
259 | 22-06522 | 10/24/2022 08:00 | 10/28/2022 15:00 | 11596932 | LOWER MONUMENTAL: 500KV WEST BUS INCLUDING PCB 4263 | WOLM, WOLM
260 | 22-05900 | 10/24/2022 08:00 | 10/25/2022 15:00 | 11540388 | OSTRANDER: 500KV CAP GROUP 1 INCLUDING PCB 5135 | NWACI, PDCI, WOCS, COI, WOCS, NWACI, PDCI, WOCS, COI, NWACI, PDCI, WOCS, COI
261 | 22-06514 | 10/25/2022 07:00 | 10/25/2022 16:00 | 11575091 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
262 | 22-10941 | 10/25/2022 08:00 | 10/26/2022 16:00 |  | GARRISON: HSGS 7885 (FORCES OUT GARRISON-TAFT 1 500KV LINE | MT-NW, SIG
263 | 22-00982 | 10/25/2022 08:00 | 11/17/2022 14:30 | 11455440 | NORTH BONNEVILLE-OUTLOOK SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE INCLUDING ALFALFA TAP, ALFALFA: 230/34.5KV TRANSFORMER 1, PCB A-1272 AND 34.5KV PCBS L-1456 & L-1458 AND YAKAMA POWER 34.5KV FEEDER #1 SATUS TO OPEN JUMPERS AT A001-1605, FEEDER #2 HARRAH TO OPEN JUMPERS AT A139-1605, NORTH BONNEVILLE-ALFALFA SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, ALFALFA TAP TO NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, ALFALFA-OUTLOOK SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, ALFALFA: YAKAMA POWER 34.5KV FEEDER 1, ALFALFA: YAKAMA POWER 34.5KV FEEDER 2, OUTLOOK: PACIFICORP (PACW) 230KV FEEDER 1 | WOCS, WOCS, NWACI, PDCI, WOCS, COI, WOCS
264 | 22-09961 | 10/25/2022 09:00 | 10/26/2022 16:00 | 11907730 | GARRISON-TAFT NO 1 500KV LINE, INCLUDING GARRISON: PCB'S 4418 & 4415, HSGS 7885, AND TAFT 1 LINE SERIES CAPS TAFT: PCB'S 4119 & 4114 AND HSGS 7879 | MT-NW, SIG, MT-NW, MT-NW, MT-NW, WOH, MT-NW, WOH
265 | 22-07415 | 10/25/2022 10:15 | 10/25/2022 10:45 | 11907633 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
266 | 22-07416 | 10/25/2022 11:15 | 10/25/2022 11:45 | 11907626 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
267 | 22-07417 | 10/25/2022 12:45 | 10/25/2022 13:15 | 11907608 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, GEN, NOH, WOCN
268 | 22-07418 | 10/25/2022 13:45 | 10/25/2022 14:15 | 11907617 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
269 | 22-09427 | 10/26/2022 07:00 | 10/28/2022 16:00 | 11971369 | MCNARY: PCB 4228, BFR & SYNC CHECK RELAYS | NWACI, PDCI, WOM, COI
270 | 22-06515 | 10/26/2022 07:00 | 10/26/2022 16:00 | 11575216 | JOHN DAY-GRIZZLY 1 500KV LINE INCLUDING BAKEOVEN 500KV SERIES CAP GROUP 1, . | NWACI, PDCI, COI, WOJD, BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD
271 | 22-06516 | 10/27/2022 07:00 | 10/28/2022 16:00 | 11575242 | JOHN DAY-MARION NO 1 500KV LINE | NWACI, PDCI, SIG, WOCS, WOJD, COI
272 | 22-08226 | 10/27/2022 08:00 | 10/27/2022 15:00 | 11907792 | JOHN DAY: 500KV CAP GROUP 1, INCLUDING PCB 4153 | COI, NWACI, PDCI, WOJD, NWACI, PDCI, WOJD, COI
273 | 22-11001 | 10/27/2022 08:00 | 10/27/2022 11:00 |  | BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
274 | 22-11002 | 10/27/2022 12:00 | 10/27/2022 15:00 |  | BIG EDDY: PCB 4205 | PDCI, WOCS, WOJD, BGEDY
275 | 22-01192 | 10/28/2022 06:00 | 10/28/2022 18:00 | 9965626 | BENTON: 115KV MAIN BUS INCLUDING BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY #1 115KV LINE INCLUDING PCB B-530 | GEN, TCLA, TCLA, TCLA, GEN, LOAD, TCLA, TCLA, TCLA, TCLA, GEN, GEN, TCLA, TCLA, GEN
276 | 22-06517 | 10/29/2022 07:00 | 11/01/2022 16:00 | 11575255 | JOHN DAY-BIG EDDY NO 2 500KV LINE | NWACI, PDCI, SIG, WOJD
277 | 22-05654 | 10/30/2022 22:00 | 11/18/2022 17:00 | 11497947 | BELL: A-382 TERMINAL OF THE GRAND COULEE-BELL NO 5 230KV LINE (UNGROUNDED) | MT-NW, WOH, WOH, COI, NOH, NWACI, PDCI, WOCN, NOH, WOH, COI, NWACI, PDCI
278 | 22-04979 | 10/31/2022 07:00 | 11/01/2022 16:00 | 11423286 | RAVER: PCB 4849 | NOEL, RP, SOC
279 | 22-00919 | 10/31/2022 07:30 | 11/04/2022 07:30 | 11242019 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE INCLUDING HANFORD: PCB'S 4098 & 4095 | NOH, NWACI, PDCI, SIG, WOLM, COI, GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS, GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
280 | 22-04681 | 10/31/2022 08:00 | 11/10/2022 15:00 | 11341843 | MALIN: PCB 4184 INCLUDING 500KV CAP GROUP 4 | COI, NWACI, PDCI
281 | 22-06303 | 10/31/2022 08:00 | 11/01/2022 15:30 |  | BIG EDDY: 500/230KV TIE NO 1 500KV LINE RELAYS | GEN, NWACI, PDCI, WOJD, COI, SIG, FCRPS, BGEDY, SOA
282 | 22-02093 | 10/31/2022 08:00 | 11/03/2022 15:00 | 10884869 | ECHO LAKE: PCB 5075 BFR | BCHT, BCHW, NOEL, SOC, WOCN, NI
283 | 22-04696 | 10/31/2022 08:00 | 11/02/2022 15:00 | 11356174 | ASHE: PCB 5463 | NOH, NWACI, PDCI, COI, FCRPS
284 | 22-08018 | 10/31/2022 08:30 | 11/04/2022 15:30 | 11704445 | LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE INCLUDING: LOMO PCB 4316 | WOLM, GEN
285 | 22-02763 | 11/01/2022 08:00 | 11/01/2022 11:00 | 11094962 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE RELAYS | GEN, MT-NW, MT-NW
286 | 22-06518 | 11/02/2022 07:00 | 11/02/2022 16:00 | 11592492 | BIG EDDY-DE MOSS NO 1 115KV LINE | GEN
287 | 22-10911 | 11/02/2022 07:00 | 11/02/2022 15:00 | 12011733 | OLYMPIA-SHELTON NO 3 230KV LINE INCLUDING OLYMPIA: PCB A-350 AND SHELTON: PCBS A-79 AND A-967 | LOAD, SOA, NOEL, PA, RP, SOC, WOCN
288 | 22-08617 | 11/02/2022 07:00 | 11/02/2022 15:00 | 11942982 | MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, INCLUDING PCB A-1140 | NOEL, SOC
289 | 22-09166 | 11/02/2022 08:00 | 11/03/2022 19:00 | 11908023 | ASHE-MARION NO 2 500KV LINE, (UNGROUNDED) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOCS, WOJD, WOM, COI
290 | 22-09169 | 11/02/2022 08:00 | 11/03/2022 19:00 | 11907993 | BUCKLEY-MARION NO 1 500KV LINE, (UNGROUNDED) | NWACI, PDCI, SIG, WOCS, WOJD, COI
291 | 22-06310 | 11/02/2022 08:00 | 11/03/2022 15:30 | 11597466 | BIG EDDY: 500/230 TIE NO. 2 500KV LINE RELAYS | GEN, NWACI, PDCI, WOJD, COI, GEN, PDCI, SIG, WOJD, FCRPS, NWACI, GEN, NWACI, PDCI, WOJD, COI, GEN, NWACI, PDCI, WOJD, COI, COI, NWACI, PDCI, WOJD
292 | 22-06819 | 11/02/2022 08:00 | 11/03/2022 15:30 | 11597631 | BIG EDDY: A-834 PCB, M/B, T/S & A/B DISCONNECTS | COI, NWACI, PDCI, WOJD
293 | 22-09085 | 11/03/2022 07:00 | 11/03/2022 16:00 | 11942765 | ECHO LAKE: PCB 5114 | BCHT, BCHW, NOEL, SOC, WOCN, NI
294 | 22-05215 | 11/03/2022 07:00 | 11/03/2022 08:30 | 11439883 | MONROE: PCB 4672 | BCHT, BCHW, NOEL, SOC, NI, WOCN
295 | 22-06519 | 11/03/2022 07:00 | 11/05/2022 16:00 | 11575492 | JOHN DAY-GRIZZLY 2 500KV LINE INCLUDING BAKEOVEN SERIES CAP GROUP 2, . | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, NWACI, PDCI, COI, WOJD
296 | 22-02556 | 11/03/2022 08:00 | 11/03/2022 12:00 | 11059854 | OSTRANDER: PCB 4432 | WOCS
297 | 22-07080 | 11/03/2022 08:00 | 11/03/2022 17:00 | 11637275 | VANTAGE: 230KV AUX. BUS SECT. 1&2, INCLUDING PCB'S A-1156 AND A-1160 | NOH, NOH
298 | 22-05214 | 11/03/2022 08:30 | 11/03/2022 10:00 | 11439904 | MONROE: PCB 4714 | BCHT, BCHW, NOEL, SOC, NI, WOCN
299 | 22-05221 | 11/03/2022 10:00 | 11/03/2022 11:30 | 11439990 | CUSTER: PCB 4494 | BCHT, BCHW, NOEL, SOC, NI
300 | 22-05220 | 11/03/2022 12:00 | 11/03/2022 13:30 | 11439996 | CUSTER: PCB 4496 | BCHT, BCHW, NOEL, SOC, NI
301 | 22-02557 | 11/03/2022 12:00 | 11/03/2022 16:00 | 11059855 | OSTRANDER: PCB 5139 | SOA, WOCS
302 | 22-00918 | 11/04/2022 07:30 | 11/04/2022 15:00 | 11238493 | HANFORD: 500KV NORTH BUS INCLUDING PCB 4098 | COI, NOH, NWACI, PDCI, WOM, WOS, GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
303 | 22-07009 | 11/04/2022 16:00 | 01/03/2023 08:00 | 11704577 | Lower Monumental: MOD 4317 including PCB 4316 | WOLM
304 | 22-03188 | 11/05/2022 06:00 | 11/06/2022 23:00 | 11220350 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATES) | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC
305 | 22-02240 | 11/07/2022 06:30 | 11/07/2022 07:00 | 10917434 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS, COI, NWACI, PDCI, WOJD
306 | 22-08588 | 11/07/2022 07:00 | 11/07/2022 16:00 | 11940970 | MCNARY: PCB 5199 | WOM, WOS, COI, NWACI, PDCI
307 | 22-04695 | 11/07/2022 08:00 | 11/09/2022 15:00 | 11356175 | ASHE: PCB 5466 | NOH, NWACI, PDCI, WOJD, WOM, WOS, COI, FCRPS
308 | 22-02060 | 11/07/2022 08:00 | 03/31/2023 16:00 | 10848035 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE (UNGROUNDED) | WOH, WOH
309 | 22-09153 | 11/07/2022 08:00 | 12/02/2022 15:00 | 11941078 | PAUL: PCB 4548, BFR | NWACI, PDCI, COI, WOCS, SOA
310 | 22-02196 | 11/07/2022 08:00 | 11/10/2022 15:00 |  | KEELER: PCB 4763, INCLUDING 500KV CAP GROUP 3 | COI, PDCI, SOA, WOCS, NWACI
311 | 22-07143 | 11/07/2022 08:00 | 11/07/2022 17:00 | 11637362 | VANTAGE: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-1147, A-1150, A-1152, A-1156, A-1153 AND A-1161 | NOH, NOH, NOH, NOH, NOH, GEN, WI, GEN, NOH, NWACI, SIG, COI, RATS, WI
312 | 22-02595 | 11/07/2022 08:30 | 11/07/2022 15:00 | 11232469 | ROCK CREEK: PCB 5294 | NWACI, PDCI, RKCR, COI
313 | 22-08291 | 11/07/2022 09:00 | 11/11/2022 15:00 | 11941407 | LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, INCLUDING PCBs 4348 & 4350 | WOLM, GEN
314 | 22-10629 | 11/08/2022 07:00 | 11/10/2022 16:00 | 11977601 | BIG EDDY-DE MOSS NO 1 115KV LINE | GEN
315 | 22-10138 | 11/08/2022 07:00 | 11/10/2022 18:00 | 11932322 | BIG EDDY: 115KV MAIN BUS SECTIONS 1 AND 2 | GEN, WOJD, BGEDY, SOA, FCRPS
316 | 22-07167 | 11/08/2022 08:00 | 11/08/2022 17:00 | 11637541 | VANTAGE: 230KV MAIN BUS SECT. #2, INCLUDING PCB'S A-1158, A-1160, A-1163, A-1164, A-1153, AND A-1161 | NOH, NOH, NOH, NOH, NOH, NOH, NOH, GEN, NOH, WI, GEN, WI, GEN, NOH, CI, SIG, GEN, NOH, NWACI, PDCI, SIG, COI, WI
317 | 22-08540 | 11/08/2022 10:15 | 11/08/2022 10:45 | 11907943 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, GEN, NOH, WOCN
318 | 22-08591 | 11/08/2022 11:00 | 11/08/2022 16:00 | 11825605 | MCNARY: PCB A-425 | WOM
319 | 22-08541 | 11/08/2022 11:15 | 11/08/2022 11:45 | 11907985 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, GEN, NOH, WOCN
320 | 22-08542 | 11/08/2022 12:45 | 11/08/2022 13:15 |  | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
321 | 22-08543 | 11/08/2022 13:45 | 11/08/2022 14:15 | 11942783 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, GEN, NOH, WOCN
322 | 22-08544 | 11/08/2022 14:45 | 11/08/2022 15:15 | 11942790 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, GEN, WOCN, NOH
323 | 22-09261 | 11/09/2022 07:00 | 11/11/2022 17:00 | 11901778 | WAUTOMA: 500KV REACTOR 1 | COI, NWACI, NWACI, COI
324 | 22-10331 | 11/09/2022 07:00 | 11/10/2022 14:00 | 11977367 | SPAR CANYON; 230KV MAIN BUS INCLUDING THE LOST RIVER-SPAR CANYON NO 1 230KV LINE | GEN, LOAD
325 | 22-08693 | 11/09/2022 08:00 | 11/09/2022 12:00 | 11907846 | DWORSHAK: PCB 4656 | MT-NW
326 | 22-01957 | 11/09/2022 08:00 | 11/11/2022 15:00 | 10764223 | SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA: 500KV EAST BUS, PCBS 5241, 5244, 5253, 5262 AND SCHULTZ: PCBS 5170, 5173 | BCHT, BCHW, IROL, NI, NOH, NWACI, PDCI, SIG, WOCN, COI, WOCN, NOH, WOCN, NOH, WOCN, NWACI, COI, NOH, WOCN, WOCN, COI, NWACI, NOH, WOCN, WOCN
327 | 22-08330 | 11/09/2022 08:00 | 11/10/2022 15:00 | 11757168 | MCNARY: PCB A-437 | SOA, WOM
328 | 22-08169 | 11/09/2022 08:00 | 11/10/2022 15:00 | 11755940 | MCNARY-ROSS NO 1 345KV LINE INCLUDING ROSS BANK 4 AND PCB A-142 AND MCNARY BANK 8 AND PCB A-432 | SOA, WOCS, SOA, WOCS, WOM, SOA, WOCS, WOM, SOA, WOCS, WOM, SOA, WOCS, WOM
329 | 22-07276 | 11/09/2022 08:00 | 11/09/2022 17:00 | 11740350 | VANTAGE-COLUMBIA NO 1 230KV LINE, INCLUDING VANTAGE: 230KV AUX BUS SECTION 2, AND PCB A-1163 | GEN, NOH, CI, SIG, NOH
330 | 22-08695 | 11/09/2022 12:00 | 11/09/2022 15:00 | 11907849 | DWORSHAK: PCB 4652 | MT-NW
331 | 22-03189 | 11/12/2022 07:00 | 11/13/2022 23:00 | 11220349 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC
332 | 22-07846 | 11/13/2022 22:00 | 11/14/2022 17:00 | 11942899 | COLUMBIA: 4039/4040 TERMINAL OF GRAND COULEE-SCHULTZ 2 500KV LINE (UNGROUNDED) | GEN, NOH, WOCN, IROL, NOEL, NWACI, PDCI, SOC, COI, FCRPS, SIG
333 | 22-09247 | 11/14/2022 07:00 | 11/15/2022 17:00 | 11907712 | WAUTOMA: PCB 5259 | WOCN
334 | 22-04981 | 11/14/2022 07:00 | 11/15/2022 16:00 | 11439016 | ECHO LAKE: PCB 5075 | BCHT, BCHW, NOEL, SOC, WOCN, NI
335 | 22-01824 | 11/14/2022 07:30 | 11/15/2022 15:00 | 11211082 | HANFORD: PCB 4083 | NOH, NWACI, PDCI, WOM, WOS
336 | 22-03702 | 11/14/2022 07:30 | 11/17/2022 15:00 | 11570019 | CAPTAIN JACK: PCB 4996 | NWACI, PDCI, COI
337 | 22-10940 | 11/14/2022 08:00 | 11/15/2022 15:00 |  | GARRISON: HSGS 7883 RELAY (FORCES OUT GARRISON-TAFT 2 500KV LINE) | MT-NW, SIG
338 | 22-07287 | 11/14/2022 08:00 | 11/14/2022 17:00 | 11642088 | VANTAGE: 500KV EAST BUS, INCLUDING PCB 5339. PCB 5345, 500/230KV TRANSFORMER 1, 230KV AUX BUS SECTION 2, AND PCB A-1164 | NOH, WOCN, GEN, NOH, NWACI, PDCI, SIG, COI, WI, NOH, GEN, NOH, NWACI, PDCI, WOCN, COI, GEN, NOH, NWACI, PDCI, WOCN, COI
339 | 22-07084 | 11/14/2022 08:00 | 11/15/2022 15:00 | 11942919 | TAFT: HSGS 7882 RELAY (FORCES OUT GARRISON-TAFT 2 500KV LINE) | MT-NW, SIG, WOH
340 | 22-09268 | 11/14/2022 08:00 | 11/17/2022 15:00 | 11942980 | CHIEF JOSEPH: PCB 4724, BFR & DIFFERENTIAL RELAY | NOEL, NOH, NWACI, PDCI, SOC, WOCN
341 | 22-08465 | 11/14/2022 08:00 | 11/15/2022 15:00 | 11942938 | CAPTAIN JACK: PCB 4926, BFR | COI, NWACI, PDCI
342 | 22-08597 | 11/14/2022 08:00 | 11/18/2022 16:00 | 11871415 | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, INCLUDING LOWER GRANITE PCB'S 4770 & 4772 | GEN, GEN, MT-NW, NOH, WOH, WOLM, GEN, MT-NW, WOH, WOLM
343 | 22-10486 | 11/15/2022 07:00 | 11/15/2022 15:00 | 11977140 | FAIRMOUNT: PCB A-1619 | PA, RP
344 | 22-07303 | 11/15/2022 08:00 | 11/15/2022 17:00 | 11642058 | VANTAGE: 500KV WEST BUS, INCLUDING PCB 5342, PCB 5351, AND 500/230KV TRANSFORMER 2 | NOH, WOCN, GEN, NOH, NWACI, PDCI, WOCN, COI, GEN, NOH, NWACI, PDCI, WOCN, COI, GEN, NOH, NWACI, SIG, COI, RATS, WI
345 | 22-07162 | 11/16/2022 06:00 | 11/16/2022 17:30 | 11740369 | VALHALLA: 115 KV WEST MAIN BUS INCLUDING PCB'S B-274, B-276, B-280, AND B-282 | CI, CI
346 | 22-04982 | 11/16/2022 07:00 | 11/17/2022 16:00 | 11439018 | ECHO LAKE: PCB 5078 | BCHT, BCHW, NOEL, SOC, WOCN, NI
347 | 22-09250 | 11/16/2022 07:00 | 11/17/2022 17:00 | 11907724 | WAUTOMA: PCB 5250 | WOCN
348 | 22-04792 | 11/16/2022 07:30 | 11/16/2022 11:30 | 11345692 | ALVEY: PCB A-248 | COI, PDCI
349 | 22-10532 | 11/16/2022 07:30 | 11/16/2022 15:30 | 11977187 | FAIRMOUNT: PCB A-1622 | PA, RP
350 | 22-07238 | 11/17/2022 07:00 | 11/17/2022 17:30 | 11740387 | VALHALLA: CHELAN CO PUD 115KV FEEDER 1 INCLUDING PCB B-288 AND THE 115KV AUX BUS | CI
351 | 22-09438 | 11/17/2022 07:00 | 11/17/2022 15:00 |  | ASHE: 500KV SOUTH BUS | COI, NOH, NWACI, PDCI, FCRPS
352 | 22-06629 | 11/17/2022 07:00 | 11/17/2022 15:00 |  | MONROE: 500/230KV TRANSFORMER 1 INCLUDING PCBS 5050, 5053, AND A-1421 | IROL, NOEL, SIG, SOC, NI, BCHT, BCHW, NOEL, SOC, WOCN, NI, BCHT, BCHW, NOEL, SOC, WOCN, NI, NOEL, SOC
353 | 22-02241 | 11/17/2022 16:30 | 11/17/2022 17:00 | 10917451 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS, COI, NWACI, PDCI, WOJD
354 | 22-08875 | 11/18/2022 07:00 | 11/21/2022 16:00 |  | BOARDMAN: PCB A-803 | GEN, LOAD
355 | 22-02195 | 11/18/2022 15:00 | 11/18/2022 17:00 | 10928040 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
356 | 22-09563 | 11/18/2022 16:00 | 01/09/2023 08:00 |  | LOWER GRANITE: PCB 4770, INCLUDING MOD 4771 | GEN, MT-NW, NOH, WOH, WOLM
357 | 22-06087 | 11/21/2022 01:00 | 11/21/2022 01:30 |  | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
358 | 22-07241 | 11/21/2022 06:00 | 11/21/2022 17:30 | 11832741 | VALHALLA: 115KV EAST MAIN BUS INCLUDING PCB'S B-284, B-286,B-288, AND THE 115 KV MAIN BUS PT'S | CI, NOH
359 | 22-09251 | 11/21/2022 07:00 | 11/22/2022 17:00 | 11907727 | WAUTOMA: PCB 5256 | NOH, WOCN
360 | 22-08466 | 11/21/2022 08:00 | 11/22/2022 15:00 | 11943083 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | COI, NWACI, PDCI
361 | 22-07859 | 11/21/2022 08:00 | 11/21/2022 12:00 | 11943080 | SCHULTZ-ECHO LAKE NO 1 500KV LINE, RELAYS AND ECOL LAKE PCBS 5075 & 5078 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL, NOH, NWACI, PDCI, SIG, COI
362 | 22-09443 | 11/21/2022 08:00 | 11/21/2022 15:00 | 12001528 | WAUTOMA: 500KV WEST BUS, INCLUDING PCB 5247 | WOCN
363 | 22-02265 | 11/21/2022 11:30 | 11/21/2022 17:00 | 10918122 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS, COI, NWACI, PDCI, WOJD
364 | 22-07621 | 11/22/2022 07:00 | 11/22/2022 16:00 | 12012107 | MCNARY: 115KV MAIN BUS SECTION 2 | WOM, GEN, FCRPS
365 | 22-09178 | 11/22/2022 10:15 | 11/22/2022 10:45 | 11942969 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
366 | 22-09179 | 11/22/2022 11:15 | 11/22/2022 11:45 | 11942988 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
367 | 22-09180 | 11/22/2022 12:45 | 11/22/2022 13:15 | 11942995 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
368 | 22-09181 | 11/22/2022 13:45 | 11/22/2022 14:15 | 11943004 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
369 | 22-05655 | 11/27/2022 22:00 | 12/16/2022 17:00 |  | COLUMBIA-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: PCB 5686 | CI, NOH, NOH, WOCN, COI, NWACI, PDCI
370 | 22-02207 | 11/28/2022 05:00 | 12/02/2022 17:00 | 10941417 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | GEN, WOLM, WOLM, WOLM
371 | 22-03245 | 11/28/2022 06:30 | 11/28/2022 17:30 | 11233802 | COLUMBIA: 115KV NORTH MAIN BUS INCLUDING 115KV CENTER MAIN BUS INCLUDING PCBS B-404, B-410, B-412 AND B-314 | LOAD, WOCN, CI, CI, CI, LOAD, WOCN, CI
372 | 22-09255 | 11/28/2022 07:00 | 11/29/2022 17:00 | 11907731 | WAUTOMA: PCB 5247 | WOCN
373 | 22-06349 | 11/28/2022 08:00 | 12/07/2022 15:00 | 11597716 | CAPTAIN JACK: PCB 4983 | NWACI, PDCI, COI
374 | 22-06371 | 11/28/2022 08:00 | 12/01/2022 15:30 | 11597728 | BIG EDDY: PCB 4860 BFR AND BREAKER DIFFERENTIAL RELAYS | NWACI, PDCI, WOJD, COI
375 | 22-08467 | 11/28/2022 08:00 | 11/29/2022 15:00 | 11943093 | CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1 | COI, NWACI, PDCI
376 | 22-09330 | 11/28/2022 08:00 | 12/01/2022 15:00 | 11943167 | OSTRANDER: PCB 5139 | SOA, WOCN
377 | 22-09258 | 11/30/2022 07:00 | 12/01/2022 17:00 | 11907732 | WAUTOMA: PCB 5253 | WOCN