## SearchResults
ID | DART | Foreign IDs | Start Time | Stop Time | Description | Paths
1 | 1400384 |  | 2020-10-10 08:00 | 2022-04-30 16:00 | BCH - MICA CREEK: 500KV REACTOR 4 (MCA 5RX4) | NI,BCHW,BCHT
2 | 1421102 | To RC West ID: 9741845 | 2021-02-03 09:00 | 2022-04-01 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | BCHT,BCHW,IROL,NOEL,NOH,RP,SOC,WOCN,OKLA,PA
3 | 1445410 | To RC West ID: 10359382 | 2021-06-30 10:00 | 2022-09-02 15:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD,RP,SIG
4 | 1456044 | To RC West ID: 10627354 | 2021-08-25 12:00 | 2022-09-29 23:59 | MCNARY: 500/230KV TRANSFORMER 2 (DERATED) | COI,PDCI,SIG,WOJD,WOM
5 | 1456052 | To RC West ID: 10627358 | 2021-08-25 12:00 | 2022-09-29 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2 (DERATED) | SOC,NOEL,NI
6 | 1456058 | To RC West ID: 10627369 | 2021-08-25 12:00 | 2022-07-11 07:30 | TROUTDALE: 500/230KV TRANSFORMER 8 (DERATED) | SOA,WOCS
7 | 1456064 | To RC West ID: 10798663 | 2021-08-25 12:00 | 2022-09-29 23:59 | PEARL: 500/230KV TRANSFORMER 1 (DERATED) | SOA,WOCS,LOAD,SIG
8 | 1456066 | To RC West ID: 10627247 | 2021-08-25 12:00 | 2022-04-28 23:59 | CUSTER: 500/230KV TRANSFORMER 1 (DERATED) | NOEL,SOC,SIG
9 | 1456068 | To RC West ID: 10627252 | 2021-08-25 12:00 | 2022-08-31 23:59 | CUSTER: 500/230KV TRANSFORMER 2 (DERATED) | NOEL,SOC,SIG
10 | 1456072 | To RC West ID: 10627268 | 2021-08-25 12:00 | 2022-04-28 23:59 | ALLSTON: 500/230KV TRANSFORMER 1 (DERATED) | SOA,SIG
11 | 1456074 | To RC West ID: 10627274 | 2021-08-25 12:00 | 2022-08-31 23:59 | SATSOP: 500/230KV TRANSFORMER 1 (DERATED) | SIG,PA,RP,SI
12 | 1456078 | To RC West ID: 10627307 | 2021-08-25 12:00 | 2022-06-30 23:59 | SICKLER: 500/230KV TRANSFORMER 1 (DERATED) | CI,COI,GEN,PDCI,SIG
13 | 1456080 | To RC West ID: 10627323 | 2021-08-25 12:00 | 2022-04-28 23:59 | GARRISON: 500/230KV TRANSFORMER 1 (DERATED) | MT-NW
14 | 1456082 | To RC West ID: 10627331 | 2021-08-25 12:00 | 2022-06-30 23:59 | HOT SPRINGS: 500/230KV TRANSFORMER 1 (DERATED) | MT-NW,WOH,GEN
15 | 1469616 | To RC West ID: 11018729 | 2021-11-18 17:02 | 2022-06-04 15:00 | WEYCO 1-WEYCO 3 115KV LINE | NWACI,PDCI
16 | 1419000 |  | 2021-11-29 08:00 | 2022-04-01 16:00 | -AVA- LOLO-OXBOW 230KV LINE | ID-NW
17 | 1473178 |  | 2021-12-14 13:00 | 2022-07-29 18:00 | BCH- INGLEDOW 230KV REACTOR 1 (ING 2RX1) | BCHT,BCHW,NI
18 | 1474688 | To RC West ID: 11156313 | 2021-12-22 08:30 | 2022-04-29 15:30 | GOLDENDALE: LBD B-494 | WOM
19 | 1403228 | To RC West ID: 9610658 | 2022-01-20 07:00 | 2022-04-14 06:30 | HANFORD: PCB 4092 INCLUDING MODS 4091 & 4093 | NJD,NOH,NWACI,PDCI
20 | 1448268 | To RC West ID: 10425515 | 2022-03-10 08:00 | 2022-04-15 16:00 | SANTIAM: A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI,PDCI,NWACI,WOCS
21 | 1474864 |  | 2022-03-21 08:00 | 2022-04-22 16:00 | BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | COI,NWACI,PDCI,SOA
22 | 1463040 | To RC West ID: 10924224 | 2022-03-28 06:30 | 2022-04-04 17:30 | BLUERIDGE-MORROW FLAT NO 1 230KV LINE | WOM,NWACI
23 | 1435846 | To RC West ID: 10180700 | 2022-03-28 12:30 | 2022-06-10 16:00 | SPRING CREEK-MABTON SECTION OF SPRING CREEK-WINE COUNTRY NO 1 230KV LINE | GEN,NWACI,PDCI,WOJD
24 | 1471668 | To RC West ID: 11109489 | 2022-03-30 11:45 | 2022-04-01 14:00 | LOWER MONUMENTAL: PCB 4316 | WOLM
25 | 1474902 | To RC West ID: 11163991 | 2022-04-01 00:01 | 2022-05-31 23:59 | RIVERGATE-KEELER NO 1&2 230KV LINE (SPRING DERATE) | SOA
26 | 1474906 | To RC West ID: 11164077 | 2022-04-01 00:01 | 2022-10-31 23:59 | KEELER: 500/230KV TRANSFORMER 2 (SPRING/SUMMER DERATE) | COI,NWACI,PDCI,SIG,SOA,WOCS
27 | 1474908 | To RC West ID: 11164086 | 2022-04-01 00:01 | 2022-05-31 23:59 | LANE: 500/230KV TRANSFORMER 3 (SPRING DERATE) | COI,NWACI,PDCI,SIG
28 | 1474912 | To RC West ID: 11164196 | 2022-04-01 00:01 | 2022-05-31 23:59 | SLATT: 500/230KV TRANSFORMER 1 (SPRING DERATE) | GEN
29 | 1474920 | To RC West ID: 11164244 | 2022-04-01 00:01 | 2022-05-31 23:59 | SNO-KING: 500/230KV TRANSFORMER 4 (SPRING DERATE) | IROL,LOAD,NOEL,SIG,SOC,WOCN
30 | 1391516 | OTS Ticket # 7076 To RC West ID: 8864973 | 2022-04-01 18:00 | 2022-04-01 19:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE) | BCHT,BCHW,IROL,NOEL,NOH,RP,SOC,WOCN,PA,OKLA,NJD
31 | 1476504 |  | 2022-04-02 08:00 | 2022-04-10 19:00 | SUMMER LAKE: PCB 4957 & 4958 (FORCES OUT HEMINGWAY-SUMMER LAKE NO 1 500KV LINE) | COI,ID-NW,NWACI,PDCI,SIG
32 | 1405216 | OTS Ticket # 7743 To RC West ID: 9556156 | 2022-04-04 05:00 | 2022-04-14 17:30 | CHIEF JOSEPH: A-592 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH NO 3 230KV LINE | GEN,NOH
33 | 1452254 | OTS Ticket # 10884 To RC West ID: 10972673 | 2022-04-04 07:00 | 2022-04-15 15:30 | FRANKLIN: 115KV EAST MAIN BUS INCLUDING PCB B-615, PCB B-618, PCB B-620, PCB B-622, PCB B-1524, PCB B-1526, PCB B-1528, PCB B-1541 AND PCB B-2112. | TCLA,GEN,WOM
34 | 1452852 | To RC West ID: 10540769 | 2022-04-04 07:00 | 2022-04-07 16:30 | TAFT-BELL NO 1 500KV LINE INCLUDING BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, PCB 5320, 500KV REACTOR 1, PCB 4559, PCB 5301, & PCB 5304 (UNGROUNDED) | MT-NW,WOH,GEN,SIG
35 | 1458668 | To RC West ID: 10715993 | 2022-04-04 07:00 | 2022-04-15 17:30 | CHIEF JOSEPH: 500/230KV TRANSFORMER 3 | NOEL,NOH,NWACI,PDCI,SOC
36 | 1466206 | To RC West ID: 10918736 | 2022-04-04 07:00 | 2022-04-04 15:00 | MCNARY: PCB 5198 | GEN,WOM,WOS
37 | 1470000 | To RC West ID: 11035850 | 2022-04-04 07:00 | 2022-04-04 15:00 | ASHE-MARION NO 2 500KV LINE | NWACI,PDCI,BCHT,BCHW,NI,SIG,WOCS,WOJD,WOM
38 | 1470012 | To RC West ID: 11035975 | 2022-04-04 07:00 | 2022-04-29 17:00 | BUCKLEY-MARION NO 1 500KV LINE | NWACI,PDCI,SIG,WOCS,WOJD,WOM,WOS
39 | 1442478 | To RC West ID: 10660761 | 2022-04-04 07:30 | 2022-04-05 16:00 | RAVER: PCB 4293 | NOEL,RP,SOC
40 | 1454794 | To RC West ID: 10595614 | 2022-04-04 07:30 | 2022-04-04 15:00 | SATSOP: PCB A-613 | GEN,LOAD,PA
41 | 1464270 | To RC West ID: 10879183 | 2022-04-04 07:30 | 2022-04-05 16:00 | SICKLER: PCB 4340 BFR | CI,GEN,NOH,NWACI,PDCI,WOCN
42 | 1466472 | To RC West ID: 11024320 | 2022-04-04 07:30 | 2022-04-06 16:00 | ASHE: 230KV EAST MAIN BUS | TCLA,COI,NOH,PDCI,GEN
43 | 1467050 | To RC West ID: 10973160 | 2022-04-04 07:30 | 2022-04-04 15:30 | ALVEY: PCB 5087 | NWACI,PDCI
44 | 1470026 | To RC West ID: 11036372 | 2022-04-04 07:30 | 2022-04-07 17:30 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | NWACI,PDCI
45 | 1473308 | To RC West ID: 11136574 | 2022-04-04 07:30 | 2022-04-14 12:00 | ALLSTON: 500/230KV TRANSFORMER 1, INCLUDING PCB 4470, PCB 4474 AND THE PRIMARY STATION SERVICE TRANSFORMER | SIG,SOA,PA
46 | 1423942 | To RC West ID: 10291491 | 2022-04-04 08:00 | 2022-04-07 15:00 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | COI,NWACI,PDCI
47 | 1440580 | To RC West ID: 10298282 | 2022-04-04 08:00 | 2022-04-07 16:00 | CAPTAIN JACK: 500KV CAP GROUP 2 INCLUDING PCB 4926 | COI,NWACI,PDCI
48 | 1471282 | To RC West ID: 11080357 | 2022-04-04 08:00 | 2022-04-08 15:00 | WALLA WALLA: 115/69KV TRANSFORMER 3 | GEN,WAWA
49 | 1449502 | To RC West ID: 10541287 | 2022-04-04 09:00 | 2022-04-07 15:00 | CENTRAL FERRY: PCB 5415 RELAYS | MT-NW,WOH,WOLM
50 | 1466476 | To RC West ID: 10928033 | 2022-04-04 09:00 | 2022-04-04 16:00 | KNIGHT: PCB 5483 | NWACI,PDCI,WOCN,WOCS,WOJD
51 | 1464744 | To RC West ID: 10893936 | 2022-04-04 11:00 | 2022-04-07 16:00 | SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1 INCLUDING PCB A-504 | COI,PDCI
52 | 1470002 | To RC West ID: 11035888 | 2022-04-04 15:00 | 2022-04-29 07:00 | FROM ASHE TO REMOVED JUMPERS AT XXX/X SECTION OF ASHE-MARION NO 2 500KV LINE | BCHT,BCHW,NI,NWACI,PDCI,SIG,WOCS,WOJD,WOM,NOH
53 | 1471210 | To RC West ID: 11104832 | 2022-04-05 06:00 | 2022-04-05 15:00 | COSMOPOLIS-ABERDEEN NO 1 115KV LINE INCLUDING COSMOPOLIS: PCB B-1324, 115KV AUX BUS, AND ABERDEEN: PCB B-812 AND THE 115KV AUX BUS | LOAD,PA
54 | 1456964 | To RC West ID: 10654149 | 2022-04-05 06:30 | 2022-04-05 16:00 | BENTON: 230/115KV TRANSFORMER 1 INCLUDING PCB B-525 AND 67KV/240V SS XFMR NO 2 | TCLA,GEN
55 | 1467032 | To RC West ID: 10973161 | 2022-04-05 07:30 | 2022-04-05 11:30 | ALVEY: PCB 5081 | COI,PDCI,NWACI
56 | 1468738 | To RC West ID: 11001189 | 2022-04-05 08:00 | 2022-04-12 16:00 | HARNEY: B-1710 TERMINAL OF HINES-HARNEY NO 1 115KV LINE -UNGROUNDED- | ID-NW
57 | 1474892 | To RC West ID: 11163838 | 2022-04-05 08:30 | 2022-04-05 15:30 | ROCK CREEK: PCB A-1737 BFR | RKCR,SIG
58 | 1471090 | To RC West ID: 11071446 | 2022-04-06 07:00 | 2022-04-06 12:00 | MORROW FLAT: 115KV CAP GRP 1 INCLUDING PCB B-2251 | WOM
59 | 1476262 | To RC West ID: 11201550 | 2022-04-09 08:00 | 2022-04-09 18:00 | MAPLE VALLEY: A-1138 AND SNO-KING: A-1198 TERMINALS OF SNO-KING-MAPLE VALLEY NO 1 230KV LINE (UNGROUNDED) | NOEL,SIG,SOC
60 | 1476266 | To RC West ID: 11201576 | 2022-04-09 08:00 | 2022-04-09 18:00 | MAPLE VALLEY: A-1124 TERMINAL AND SNO-KING: A-1417 TERMINAL OF SNO-KING-MAPLE VALLEY NO 2 230KV LINE (UNGROUNDED) | NOEL,SIG,SOC
61 | 1474116 | From RC West ID: 11137149 | 2022-04-11 05:30 | 2022-04-17 18:00 | SCL- SOUTH - EAST PINE 230KV LINE | NOEL,SOC
62 | 1466046 | OTS Ticket # 11176 To RC West ID: 10917278 | 2022-04-11 06:30 | 2022-04-11 07:00 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN,COI,NWACI,PDCI,WOJD
63 | 1452860 | OTS Ticket # 10316 To RC West ID: 10541479 | 2022-04-11 07:00 | 2022-04-12 16:00 | GRAND COULEE-BELL NO 6 500KV LINE INCLUDING BELL: PCB 5313 AND PCB 5316 | GEN,MT-NW,WOH,SIG
64 | 1471096 | To RC West ID: 11071449 | 2022-04-11 07:00 | 2022-04-11 11:00 | MORROW FLAT: PCB A-1851 | WOM
65 | 1403850 | To RC West ID: 9483031 | 2022-04-11 07:30 | 2022-04-11 16:00 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-860 | SOA,WOCS,WOCN
66 | 1418216 | To RC West ID: 10397616 | 2022-04-11 07:30 | 2022-04-12 16:00 | REDMOND: 230KV WEST MAIN BUS, 230KV CENTER MAIN BUS, INCLUDING PCB A-262, PCB A-252, PCB A-254, PCB A-256, PCB A-258, PCB A-260, PCB A-259 | COI,PDCI,NWACI
67 | 1431340 | From RC West ID: 10016615 | 2022-04-11 07:30 | 2022-04-11 16:00 | KEELER BPA-RIVERGATE 230KV LINE | SOA
68 | 1431350 | From RC West ID: 10016704 | 2022-04-11 07:30 | 2022-04-11 16:00 | HORIZON-KEELER BPA 230KV LINE | SOA
69 | 1442484 | To RC West ID: 10684468 | 2022-04-11 07:30 | 2022-04-12 16:00 | RAVER: PCB 4296 BFR | NOEL,RP,SOC
70 | 1459508 | To RC West ID: 10721193 | 2022-04-11 07:30 | 2022-04-11 09:00 | OSTRANDER: 500KV CAP GROUP 1 INCLUDING PCB 5135 | NWACI,PDCI,WOCS
71 | 1462032 | To RC West ID: 10783485 | 2022-04-11 07:30 | 2022-04-11 09:00 | NORTH BONNEVILLE: 115KV CAP GROUP 1 SECTION 1 INCLUDING PCB B-1960 | SOA
72 | 1468494 | To RC West ID: 11024374 | 2022-04-11 07:30 | 2022-04-13 16:00 | ASHE: 230KV WEST MAIN BUS | TCLA,COI,NOH,PDCI,GEN
73 | 1370562 | To RC West ID: 8250392 | 2022-04-11 08:00 | 2022-04-22 15:30 | REDMOND-PACW PILOT BUTTE NO 1 230KV LINE | NWACI,PDCI
74 | 1460706 | To RC West ID: 10851815 | 2022-04-11 08:00 | 2022-04-11 15:00 | ROSS: 115KV MAIN BUS INCLUDING PCB B-2 | LOAD,SOA,WOCS
75 | 1471620 |  | 2022-04-11 08:00 | 2022-04-15 15:00 | WARNER: PACIFICORP (PACW) 115KV FEEDER 1 INCLUDING PCB'S B-165, B-133, AND THE 115KV CAP GROUP 1 (UNGROUNDED) | COI,PDCI,RATS
76 | 1454932 | To RC West ID: 10905407 | 2022-04-11 08:30 | 2022-04-11 16:00 | KITSAP: 230/115KV TRANSFORMER 1 | PA,LOAD
77 | 1449434 | To RC West ID: 10541584 | 2022-04-11 09:00 | 2022-04-14 15:00 | CENTRAL FERRY: PCB 5412 RELAYS | MT-NW,WOH,WOLM
78 | 1459516 | To RC West ID: 10721203 | 2022-04-11 09:30 | 2022-04-11 11:00 | OSTRANDER: 500KV CAP GROUP 2 INCLUDING PCB 5138 | NWACI,PDCI,WOCS
79 | 1462034 | To RC West ID: 10783484 | 2022-04-11 09:30 | 2022-04-11 11:00 | NORTH BONNEVILLE: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-1961 | NWACI,SOA
80 | 1471098 | To RC West ID: 11071454 | 2022-04-11 11:00 | 2022-04-11 15:30 | MORROW FLAT: PCB A-1854 | WOM
81 | 1459524 | To RC West ID: 10721206 | 2022-04-11 11:30 | 2022-04-11 14:00 | OSTRANDER: 500KV CAP GROUP 3 INCLUDING PCB 5097 | NWACI,PDCI,WOCS
82 | 1458616 | To RC West ID: 10690056 | 2022-04-11 12:30 | 2022-04-11 14:30 | TROUTDALE: 230KV CAP GROUP 8 SECTIONS 1,2,3 INCLUDING , PCB A-293, LBD A-326, LBD A-327 | WOCS
83 | 1462252 | To RC West ID: 10793192 | 2022-04-12 07:00 | 2022-04-12 15:00 | MONROE: PCB 5050 | BCHT,BCHW,NOEL,SOC,WOCN
84 | 1471014 | To RC West ID: 11108507 | 2022-04-12 07:00 | 2022-04-13 16:00 | GARRISON: PCB 4457 INCLUDING 500KV REACTOR 4 | MT-NW
85 | 1471100 | To RC West ID: 11071450 | 2022-04-12 07:00 | 2022-04-12 11:00 | MORROW FLAT: PCB A-1857 | WOM
86 | 1458720 | To RC West ID: 10693588 | 2022-04-12 08:00 | 2022-04-12 09:30 | ROSS: 230KV CAP GROUP 2 SECTION'S 1, 2, 3, INCLUDING, LBD'S A-23, A-25, A-27 AND CAP GROUP 2 REACTIVE BUS | SOA
87 | 1462234 |  | 2022-04-12 08:00 | 2022-04-29 18:00 | -PGE- MURRAYHILL-SHERWOOD 1 230KV LINE | SOA
88 | 1471482 | From RC West ID: 10788125 | 2022-04-12 08:00 | 2022-04-29 16:00 | PGE - ST MARYS -TROJAN 230KV LINE | SOA
89 | 1475446 | To RC West ID: 11180724 | 2022-04-12 08:00 | 2022-04-15 17:00 | BIG EDDY-DE MOSS NO 1 115KV LINE | GEN
90 | 1476106 | To RC West ID: 11201485 | 2022-04-12 08:30 | 2022-04-13 15:00 | KITSAP: 115KV CAP GROUP 1 SECTION 1 INCLUDING LBD B-949 | SOA
91 | 1466148 | OTS Ticket # 11222 To RC West ID: 10918654 | 2022-04-12 10:15 | 2022-04-12 10:45 | GRAND COULEE: PCB 2092, PCB 2096 | GEN,NOH,WOCN
92 | 1471102 | To RC West ID: 11071455 | 2022-04-12 11:00 | 2022-04-12 15:30 | MORROW FLAT: PCB A-1861 | WOM
93 | 1466154 | OTS Ticket # 11223 To RC West ID: 10918657 | 2022-04-12 11:15 | 2022-04-12 11:45 | GRAND COULEE: PCB 2192, PCB 2196 | GEN,NOH,WOCN
94 | 1458604 | To RC West ID: 10689827 | 2022-04-12 12:00 | 2022-04-12 14:00 | ALCOA: 115KV CAP GROUP 1 | SOA
95 | 1466160 | OTS Ticket # 11224 To RC West ID: 10918658 | 2022-04-12 12:45 | 2022-04-12 13:15 | GRAND COULEE: PCB 2296, PCB 2292 | GEN,NOH,WOCN
96 | 1466164 | OTS Ticket # 11225 To RC West ID: 10918666 | 2022-04-12 13:45 | 2022-04-12 14:15 | GRAND COULEE: PCB 2396, PCB 2392 | GEN,NOH,WOCN
97 | 1466166 | OTS Ticket # 11226 To RC West ID: 10918139 | 2022-04-12 14:45 | 2022-04-12 15:15 | GRAND COULEE: PCB 2492, PCB 2496 | GEN,NOH,WOCN
98 | 1452862 | To RC West ID: 10541518 | 2022-04-13 07:00 | 2022-04-14 16:00 | BELL: 500/230KV TRANSFORMER 1 INCLUDING SPARE PHASE, PCB 5307 AND PCB 5310 | GEN,MT-NW,WOH
99 | 1471104 | To RC West ID: 11071460 | 2022-04-13 07:00 | 2022-04-13 11:00 | MORROW FLAT: PCB A-1864 | WOM
100 | 1475560 | To RC West ID: 11201551 | 2022-04-13 07:00 | 2022-04-13 12:00 | ALVEY: 230/115KV TRANSFORMER 4 INCLUDING:, PCBS A-248, A-652, B-586, AND , PCB B-586 | COI,NWACI,PDCI
101 | 1442486 | To RC West ID: 10716194 | 2022-04-13 07:30 | 2022-04-14 16:00 | RAVER: PCB 4305 BFR | NOEL,RP,SOC
102 | 1447024 | To RC West ID: 10397646 | 2022-04-13 07:30 | 2022-04-14 16:00 | REDMOND: 230KV EAST MAIN BUS, 230KV CENTER MAIN BUS, INCLUDING PCB A-250, PCB A-264, PCB A-265, PCB A-259 | COI,PDCI,NWACI
103 | 1471106 | To RC West ID: 11071463 | 2022-04-13 11:00 | 2022-04-13 15:30 | MORROW FLAT: PCB A-1867 | WOM
104 | 1403432 | To RC West ID: 9688385 | 2022-04-14 06:30 | 2022-04-14 16:00 | HANFORD-WAUTOMA NO 1 500KV LINE INCLUDING HANFORD PCB 4092 | NJD,NOH,NWACI,PDCI,SIG
105 | 1473360 | OTS Ticket # 11907 To RC West ID: 11130959 | 2022-04-18 03:00 | 2022-04-20 17:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 1, COLUMBIA-GRAND COULEE NO 3 230KV LINE INCLUDING 230KV AUX BUS SECTION 2, 230KV AUX BUS SECTION 3, PCB 5582, PCB 6382, PCB 7382 | CI,NOH
106 | 1473370 | To RC West ID: 11130988 | 2022-04-18 06:30 | 2022-04-20 17:00 | COLUMBIA: PCB A-164 TERMINAL OF THE COLUMBIA-GRAND COULEE NO3 230KV LINE | CI,NOH,WOCN
107 | 1387822 | To RC West ID: 8830448 | 2022-04-18 07:00 | 2022-05-26 16:00 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCBS A-376 AND L-482 | MT-NW,WOH
108 | 1452744 | To RC West ID: 10977416 | 2022-04-18 07:00 | 2022-05-27 15:30 | MCNARY-FRANKLIN NO 2 230KV LINE INCLUDING FRANKLIN: PCB B-622 AND 230/115KV TRANSFORMER 4 AND 115KV AUX BUS | WOM
109 | 1460452 | To RC West ID: 10743341 | 2022-04-18 07:00 | 2022-04-18 08:30 | SHELTON: 115KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB B-1130 | SOA
110 | 1460984 | To RC West ID: 10765434 | 2022-04-18 07:00 | 2022-04-21 16:00 | RAVER: 500KV SOUTH BUS INCLUDING PCBS 4921, 4789, 4308, 4299, 4220, 4876, 4858 | NOEL,RP,SOC,WOCN
111 | 1471392 | To RC West ID: 11103722 | 2022-04-18 07:00 | 2022-04-19 15:00 | CONKELLEY: 230KV PCB A-1210 | MT-NW
112 | 1403422 | To RC West ID: 9551791 | 2022-04-18 07:30 | 2022-06-03 16:00 | HANFORD: PCB 4107 | GEN,NJD,NWACI,PDCI,WOLM
113 | 1462254 | To RC West ID: 10793198 | 2022-04-18 07:30 | 2022-04-21 15:00 | MONROE: PCB 4672 | BCHT,BCHW,NOEL,SOC
114 | 1462742 | To RC West ID: 10815428 | 2022-04-18 07:30 | 2022-04-20 17:30 | CHIEF JOSEPH: PCB 4586 | BCHT,BCHW,GEN,NOH,NWACI,PDCI,WOCN
115 | 1466954 | To RC West ID: 11035235 | 2022-04-18 07:30 | 2022-04-18 15:30 | ALVEY: 230KV REACTOR 1 INCLUDING PCB A-241 | COI,PDCI
116 | 1460994 | To RC West ID: 10755273 | 2022-04-18 08:00 | 2022-04-18 16:00 | SIFTON: SIFTON-ROSS NO 1 115KV LINE INCLUDING SIFTON PCB'S B-1509, PCB B-1508 AND 115KV AUX BUS | SOA,WOCS
117 | 1460996 | To RC West ID: 10754448 | 2022-04-18 08:00 | 2022-04-18 16:00 | SIFTON-ROSS NO 1 115KV LINE INCLUDING, ROSS: PCB B-6, 115KV AUX BUS, AND SIFTON: PCB'S B-1508, B-1509, AND 115KV AUX BUS | SOA,WOCS
118 | 1460456 | To RC West ID: 10743368 | 2022-04-18 08:30 | 2022-04-18 10:00 | SHELTON: 230KV CAP GROUP 2 INCLUDING PCB A-984 | PA,RP
119 | 1464698 | To RC West ID: 10912152 | 2022-04-18 08:30 | 2022-04-21 16:00 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020 | NWACI,PDCI,COI
120 | 1459208 | To RC West ID: 10918135 | 2022-04-18 14:30 | 2022-04-18 16:00 | FAIRMOUNT: 230KV CAP GROUP 2 INCLUDING LBD A-1628 | PA,RP
121 | 1459210 | To RC West ID: 10918126 | 2022-04-18 16:00 | 2022-04-18 18:00 | FAIRMOUNT: 230KV CAP GROUP 3 INCLUDING PCB A-1632 | PA,RP
122 | 1458718 | To RC West ID: 10693526 | 2022-04-19 07:00 | 2022-04-19 11:00 | OLYMPIA: 115KV CAP GROUP 3 | SOA
123 | 1471028 | To RC West ID: 11108509 | 2022-04-19 07:00 | 2022-04-20 16:00 | GARRISON: PCB 4362 INCLUDING 500KV REACTOR 5 | MT-NW
124 | 1458716 | To RC West ID: 10693532 | 2022-04-19 07:30 | 2022-04-19 11:00 | OLYMPIA: 230KV CAP GROUP 2 SECTION 1 AND 2 INCLUDING LBD A-223, LBD A-225 AND 230KV REACTIVE BUS | NOEL,SOC,WOCN
125 | 1459150 | To RC West ID: 10711511 | 2022-04-19 07:30 | 2022-04-19 11:30 | PORT ANGELES: 115KV CAP GROUP 1 SECTION'S 1 & 2, INCLUDING PCB B-648, LBD'S B-1883 & B-645 AND 115KV REACTIVE BUS | WOCN
126 | 1458874 | To RC West ID: 10720150 | 2022-04-20 07:00 | 2022-04-20 11:00 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5320 | WOH,MT-NW
127 | 1461962 | To RC West ID: 10781705 | 2022-04-20 07:00 | 2022-04-20 09:00 | BELL: 230KV CAP GROUP 10 SECTION 1 AND SECTION 2 INCLUDING LBD'S A-925 AND A-926 | MT-NW,WOH
128 | 1464166 | To RC West ID: 10859402 | 2022-04-20 07:00 | 2022-04-21 14:00 | FAIRMOUNT: PCB A-1610 | PA,RP
129 | 1471398 | To RC West ID: 11103756 | 2022-04-20 07:00 | 2022-04-20 15:00 | CONKELLEY: 230KV CAP GROUP 1 SECT 3 AND 4 INCLUDING LBDS A-1573, A-1574 | MT-NW
130 | 1414088 | To RC West ID: 9875251 | 2022-04-20 09:00 | 2022-04-28 15:00 | SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266 | COI,NWACI,PDCI
131 | 1461966 | To RC West ID: 10781701 | 2022-04-20 09:00 | 2022-04-20 11:00 | BELL: 230KV CAP GROUP 9 SECTIONS 1, 2, AND 3 INCLUDING PCB'S A-931, A-932, AND A-933 | MT-NW,WOH
132 | 1461968 | To RC West ID: 10781697 | 2022-04-20 11:00 | 2022-04-20 13:00 | BELL: 230KV CAP GROUP 1, SECTION 1 | MT-NW,WOH
133 | 1473798 | OTS Ticket # 11908 To RC West ID: 11131641 | 2022-04-21 03:00 | 2022-05-11 17:00 | GRAND COULEE: PCB 7886 | GEN,NOH
134 | 1462744 | To RC West ID: 10815458 | 2022-04-21 07:30 | 2022-04-21 12:30 | CHIEF JOSEPH: PCB 4728 | GEN,NOEL,NOH,NWACI,PDCI,SOC,WOCN
135 | 1469016 | To RC West ID: 11008002 | 2022-04-21 08:30 | 2022-04-21 10:30 | JOHN DAY: PCB 4167 | JDAY,NWACI,WOCS,WOJD
136 | 1469018 | To RC West ID: 11008007 | 2022-04-21 10:30 | 2022-04-21 12:30 | JOHN DAY: PCB 4164 | NWACI,PDCI,WOJD
137 | 1462746 | To RC West ID: 10815463 | 2022-04-21 12:30 | 2022-04-21 17:30 | CHIEF JOSEPH: PCB 4724 | NOEL,NOH,NWACI,PDCI,SOC
138 | 1466048 | OTS Ticket # 11179 To RC West ID: 10917299 | 2022-04-21 16:30 | 2022-04-21 17:00 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN,COI,NWACI,PDCI,WOJD
139 | 1411862 | To RC West ID: 9551433 | 2022-04-25 07:00 | 2022-04-28 16:00 | CUSTER: 500/230KV TRANSFORMER 1 INCLUDING STATION SERVICE 1 | NOEL,SIG,SOC
140 | 1414182 | To RC West ID: 9551484 | 2022-04-25 07:00 | 2022-04-25 08:00 | CUSTER: PCB'S 4268, 4482, 4494, A-1242 & A-1246 | NOEL,SIG,SOC,BCHT,BCHW
141 | 1461512 | To RC West ID: 10765451 | 2022-04-25 07:00 | 2022-04-28 16:00 | RAVER: 500KV NORTH BUS INCLUDING PCBS 4844, 4914, 4792, 4314, 4305, 4296, 4846, 4849, AND 500KV REACTOR 2 | NOEL,RP,SOC,WOCN
142 | 1464158 | To RC West ID: 10858151 | 2022-04-25 07:00 | 2022-04-26 14:00 | FAIRMOUNT: PCB A-1608 | PA,RP
143 | 1462256 | To RC West ID: 10793202 | 2022-04-25 07:30 | 2022-04-28 15:00 | MONROE: PCB 4714 | BCHT,BCHW,NOEL,SOC
144 | 1470090 | To RC West ID: 11070651 | 2022-04-25 07:30 | 2022-04-29 14:30 | JOSO-WALLA WALLA SECTION OF THE FRANKLIN - WALLA WALLA NO 1 115KV LINE INCLUDING NINE MILE TAP | GEN,TCLA,WAWA
145 | 1431064 | From RC West ID: 10004150 | 2022-04-25 08:00 | 2022-05-15 16:00 | REDMOND BPA-ROUND BUTTE 230KV LINE | COI,NJD,NWACI,PDCI
146 | 1452496 | To RC West ID: 10534668 | 2022-04-25 08:00 | 2022-06-09 12:00 | SALEM: 230/115KV TRANSFORMER 1 | WOCS
147 | 1458992 | To RC West ID: 10700783 | 2022-04-25 08:00 | 2022-04-25 11:00 | BIG EDDY: 230KV CAP GROUP 1 SECTION 1 AND 2 INCLUDING LBD A-837 AND LBD A-841 | COI,PDCI,NWACI,WOJD
148 | 1464032 | To RC West ID: 10857651 | 2022-04-25 08:00 | 2022-05-15 16:00 | REDMOND: PCB A-262 TERMINAL | COI,NJD,PDCI,NWACI
149 | 1472950 | To RC West ID: 11134973 | 2022-04-25 08:00 | 2022-05-05 16:00 | CLATSOP: 230/115KV TRANSFORMER 1 INCLUDING 13.8KV STATION SERVICE TRANSFORMER, 13.8KV PT'S, 230 KV CTS, 115 KV CTS, 230KV AUX BUS, 115KV AUX BUS, AND PACIFICORP (PACW) 115KV FEEDER 1 | LOAD,PA,SOA
150 | 1474786 | To RC West ID: 11159830 | 2022-04-25 08:00 | 2022-06-02 16:00 | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI,NWACI,PDCI,LOAD,WOCS
151 | 1474838 | From RC West ID: 10431226 | 2022-04-25 08:00 | 2022-04-29 16:00 | PGE - BETHEL-MONITOR-MCLOUGHLIN 230KV LINE | COI,NWACI,PDCI,SOA
152 | 1458996 | To RC West ID: 10700807 | 2022-04-25 11:00 | 2022-04-25 14:00 | BIG EDDY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-818 | COI,PDCI,NWACI,WOJD
153 | 1457152 | To RC West ID: 10654848 | 2022-04-26 06:30 | 2022-04-26 07:30 | JOHN DAY: 230 KV WEST BUS INCL 230KV CAP GROUP 2 SECTION 1, 230KV CAP GROUP 2 SECTION 2 PCB A-1734, PCB A-1735 | COI,JDAY,PDCI,WOJD
154 | 1469918 | To RC West ID: 11035668 | 2022-04-26 08:00 | 2022-04-26 10:00 | JOHN DAY: 500KV CAP GROUP 1, INCLUDING PCB 4153 | NWACI,PDCI,WOJD
155 | 1466150 | OTS Ticket # 11227 To RC West ID: 10918662 | 2022-04-26 11:15 | 2022-04-26 11:45 | GRAND COULEE: PCB 2096, PCB 2092 | GEN,NOH,WOCN
156 | 1474248 | To RC West ID: 11141543 | 2022-04-26 12:00 | 2022-04-26 12:30 | CUSICK: 230KV CAP GROUP 1 | SOB
157 | 1466156 | OTS Ticket # 11228 To RC West ID: 10918671 | 2022-04-26 12:45 | 2022-04-26 13:15 | GRAND COULEE: PCB 2196, PCB 2192 | GEN,NOH,WOCN
158 | 1466162 | OTS Ticket # 11229 To RC West ID: 10918676 | 2022-04-26 13:45 | 2022-04-26 14:15 | GRAND COULEE: PCB 2292, PCB 2296 | GEN,NOH,WOCN
159 | 1472310 | OTS Ticket # 11857 To RC West ID: 11108511 | 2022-04-26 14:45 | 2022-04-26 15:15 | GRAND COULEE: PCB 2396, PCB 2392 | GEN,NOH,WOCN
160 | 1466168 | OTS Ticket # 11230 To RC West ID: 10918140 | 2022-04-26 15:45 | 2022-04-26 16:15 | GRAND COULEE: PCB 2496, PCB 2492 | GEN,WOCN,NOH
161 | 1462750 | To RC West ID: 10815476 | 2022-04-27 07:30 | 2022-04-28 17:30 | CHIEF JOSEPH: PCB A-578 | WOCN
162 | 1440870 | To RC West ID: 11108365 | 2022-04-27 08:00 | 2022-04-27 16:00 | -EWEB- WESTMORELAND STATION REBUILD | NWACI,PDCI
163 | 1476108 | To RC West ID: 11201589 | 2022-04-27 08:00 | 2022-04-27 15:00 | FAIRMOUNT: 230KV CAP GROUP 3 | PA,RP,SOA
164 | 1456472 | To RC West ID: 10650206 | 2022-04-27 09:00 | 2022-04-27 11:00 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5363 | NWACI,PDCI
165 | 1456474 | To RC West ID: 10650208 | 2022-04-27 11:00 | 2022-04-27 13:00 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 5367 | NWACI,PDCI
166 | 1473868 | To RC West ID: 11150658 | 2022-04-28 08:00 | 2022-04-28 16:00 | LOWER GRANITE: PCB 4776 | MT-NW,WOH,WOLM
167 | 1470004 | To RC West ID: 11035907 | 2022-04-29 07:00 | 2022-04-29 17:00 | ASHE-MARION NO 2 500KV LINE | NWACI,PDCI,BCHT,BCHW,NI,SIG,WOCS,WOJD,WOM
168 | 1436208 | To RC West ID: 10170373 | 2022-05-02 07:00 | 2022-06-30 12:00 | GARRISON: 500KV REACTOR 5 INCLUDING PCB 4362 | MT-NW
169 | 1463408 | To RC West ID: 10857432 | 2022-05-02 07:00 | 2022-05-04 17:30 | SICKLER: PCB 4340 | CI,GEN,NOH,NWACI,PDCI,WOCN
170 | 1467678 | To RC West ID: 10977753 | 2022-05-02 07:00 | 2022-05-02 16:00 | CUSTER-INTALCO NO 1 230KV LINE INCLUDING INTALCO: PCB'S A-1012 & A-1036 | LOAD,NOEL,SOC,BCHT,BCHW
171 | 1468158 | To RC West ID: 10977755 | 2022-05-02 07:00 | 2022-05-02 08:00 | CUSTER: PCB'S A-1238 & A-1242 | BCHT,BCHW,NOEL,SOC
172 | 1462258 | To RC West ID: 10793216 | 2022-05-02 07:30 | 2022-05-03 15:00 | MONROE: PCB 5502 | BCHT,BCHW,NI,NOEL,SOC,WOCN
173 | 1370586 | To RC West ID: 8250366 | 2022-05-02 08:00 | 2022-05-06 15:30 | BRASADA-CHRISTMAS VALLEY SECTION OF BRASADA-HARNEY NO 1 115KV LINE | ID-NW
174 | 1465234 | To RC West ID: 10895130 | 2022-05-02 08:00 | 2022-05-17 16:00 | GRIZZLY: 4047/4049 TERMINALS AND MALIN: 4071/4073/4341 TERMINALS OF GRIZZLY-MALIN 2 500KV LINE (UNGROUNDED) | BCHT,BCHW,NWACI,PDCI,SIG,NI
175 | 1471262 | To RC West ID: 11108528 | 2022-05-02 08:00 | 2022-05-05 15:00 | CENTRAL FERRY: PCB 5388 RELAYS | GEN
176 | 1476112 | To RC West ID: 11201599 | 2022-05-02 08:00 | 2022-05-02 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 1 INCLUDING PCB B-1379 | SOA
177 | 1430490 | To RC West ID: 9993091 | 2022-05-02 08:30 | 2022-06-03 16:00 | JONES CANYON-TUMBLE CREEK SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE | GEN,WOCS,WOM
178 | 1465006 | To RC West ID: 10983184 | 2022-05-02 08:30 | 2022-05-02 15:30 | WAUTOMA: PCB 5247 | WOCN
179 | 1469928 | To RC West ID: 11035082 | 2022-05-02 08:30 | 2022-05-02 10:00 | HARVALUM: 230KV CAP GROUP 1 | WOM
180 | 1473228 | To RC West ID: 11126777 | 2022-05-02 08:30 | 2022-05-03 15:00 | BAKERS CORNER-LONGVIEW SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE | LOAD,SOA
181 | 1422010 | From RC West ID: 9764090 | 2022-05-02 09:00 | 2022-07-01 14:30 | PACW- DIXONVILLE: ALVEY 1 500KV LINE SERIES CAP | NWACI,PDCI
182 | 1456276 | To RC West ID: 10700811 | 2022-05-02 09:30 | 2022-05-02 10:30 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1719 | RKCR
183 | 1456278 | To RC West ID: 10700819 | 2022-05-02 10:30 | 2022-05-02 11:30 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 INCLUDING PCB A-1720 | RKCR
184 | 1468160 | To RC West ID: 10977756 | 2022-05-02 15:30 | 2022-05-02 16:00 | CUSTER: PCB'S A-1238 & A-1242 | BCHT,BCHW,NOEL,SOC
185 | 1467680 | To RC West ID: 10977196 | 2022-05-03 07:00 | 2022-05-03 16:00 | CUSTER-INTALCO NO 2 230KV LINE INCLUDING INTALCO PCB'S A-1016 AND A-1020 | LOAD,NOEL,SOC,BCHT,BCHW
186 | 1468138 | To RC West ID: 10977181 | 2022-05-03 07:00 | 2022-05-03 08:00 | CUSTER: PCB'S A-1250 & A-1546 | BCHT,BCHW,NOEL,SOC
187 | 1468414 | To RC West ID: 10983186 | 2022-05-03 07:30 | 2022-05-03 15:00 | WAUTOMA: PCB 5250 | WOCN
188 | 1476116 | To RC West ID: 11201602 | 2022-05-03 08:00 | 2022-05-03 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-1381 | SOA
189 | 1469674 | To RC West ID: 11035036 | 2022-05-03 09:00 | 2022-05-03 16:00 | OSTRANDER: REACTIVE RAS AC-A AND AC-B CKTS 7C68 AND 7C67, PCB'S 4838, 5135, 5138 AND 5097 | NWACI,PDCI,WOCS
190 | 1468142 | To RC West ID: 10977182 | 2022-05-03 15:30 | 2022-05-03 16:00 | CUSTER: PCB'S A-1250 & A-1546 | BCHT,BCHW,NOEL,SOC
191 | 1462264 | To RC West ID: 10793434 | 2022-05-04 07:30 | 2022-05-05 15:00 | MONROE: PCB 5505 | BCHT,BCHW,NI,NOEL,SOC,WOCN
192 | 1467682 | To RC West ID: 10978429 | 2022-05-04 07:30 | 2022-05-04 16:00 | INTALCO: 230/13.8KV TRANSFORMER 1 INCLUDING PCB'S A-1012, A-1016, 13.8KV PCB'S L-507 AND L-515, CAP GROUP 1, GROUNDING BANK 1 AND FEEDER 1 METERING PT'S | BCHT,BCHW
193 | 1468416 | To RC West ID: 10983189 | 2022-05-04 07:30 | 2022-05-04 15:00 | WAUTOMA: PCB 5259 | WOCN
194 | 1469712 | To RC West ID: 11040109 | 2022-05-04 08:00 | 2022-05-05 16:00 | OSTRANDER: PCB 5134 SEL BFR | WOCS
195 | 1476114 | To RC West ID: 11201605 | 2022-05-04 08:00 | 2022-05-04 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 3 INCLUDING PCB B-1383 | SOA
196 | 1467684 | To RC West ID: 10978480 | 2022-05-05 07:30 | 2022-05-05 16:00 | INTALCO: 230/13.8KV TRANSFORMER 2 INCLUDING PCBS A-1032, A-1036, 13.8KV PCBS L-508 AND L-517, CAP GROUP 2, GROUNDING BANK 2 AND FEEDER 2 METERING PT'S | BCHT,BCHW
197 | 1453194 | To RC West ID: 10541713 | 2022-05-05 08:00 | 2022-05-05 10:30 | CHIEF JOSEPH: PCB 4588 | BCHT,BCHW,GEN,NOH,NWACI,PDCI,WOCN
198 | 1470348 | To RC West ID: 11045343 | 2022-05-05 08:00 | 2022-05-05 10:30 | SICKLER: PCB 4334 | BCHT,BCHW,CI,GEN,NOH,NWACI,PDCI,WOCN
199 | 1476118 | To RC West ID: 11201607 | 2022-05-05 08:00 | 2022-05-05 16:00 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 4 INCLUDING PCB B-1385 | SOA
200 | 1453198 | To RC West ID: 10541715 | 2022-05-05 10:30 | 2022-05-05 13:00 | CHIEF JOSEPH: PCB 4586 | BCHT,BCHW,GEN,NOH,NWACI,PDCI,WOCN
201 | 1470350 | To RC West ID: 11045344 | 2022-05-05 10:30 | 2022-05-05 13:00 | SICKLER: PCB 4340 | CI,GEN,NOH,NWACI,PDCI,WOCN
202 | 1473072 | To RC West ID: 11134992 | 2022-05-05 15:00 | 2022-05-05 16:00 | ALLSTON-CLATSOP NO 1 230KV LINE | SOA
203 | 1473800 | OTS Ticket # 11909 | 2022-05-09 03:00 | 2022-05-11 17:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2, 230KV AUX BUS SECTION 1, GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE INCLUDING 230KV AUX BUS SECTION 3, PCB 5582, PCB 6382, PCB 7382 | GEN,NOH
204 | 1473806 | To RC West ID: 11131734 | 2022-05-09 06:30 | 2022-05-11 17:00 | CHIEF JOSEPH: PCB A-590 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE | GEN,NOH,WOCN
205 | 1463412 | To RC West ID: 10857437 | 2022-05-09 07:00 | 2022-05-11 17:30 | SICKLER: PCB 4336 | CI,GEN,NOH,NWACI,WOCN
206 | 1470284 | To RC West ID: 11045346 | 2022-05-09 07:00 | 2022-05-10 16:00 | RAVER: PCB 4311 | NOEL,RP,SOC
207 | 1471866 | To RC West ID: 11095005 | 2022-05-09 07:00 | 2022-05-12 15:00 | CHEHALIS-OLYMPIA NO 1 230KV LINE | PA,RP
208 | 1462738 | To RC West ID: 10810556 | 2022-05-09 07:30 | 2022-05-09 15:00 | MONROE: 500KV CAP GROUP 2 INCLUDING PCB 4715 | IROL,NI,NOEL,SOC,WOCN
209 | 1464258 | To RC West ID: 10875888 | 2022-05-09 07:30 | 2022-05-10 15:00 | ECHO LAKE: PCB 5127 BFR | BCHT,NOEL,SOC,WOCN,BCHW,IROL
210 | 1465002 | To RC West ID: 10906588 | 2022-05-09 07:30 | 2022-05-11 15:30 | ASHE: PCB 4937 | NOH,NWACI,PDCI
211 | 1469990 | To RC West ID: 11059841 | 2022-05-09 07:30 | 2022-05-12 14:30 | OSTRANDER: 500KV REACTOR 1 AND 2 | WOCS
212 | 1452334 | To RC West ID: 11091415 | 2022-05-09 08:00 | 2022-06-02 15:00 | HILLTOP-WARNER NO 1 230KV LINE INCLUDING WARNER: 230/115KV TRANSFORMER 1 (UNGROUNDED) | COI,NWACI,PDCI,RATS
213 | 1462980 |  | 2022-05-09 08:00 | 2022-05-10 15:00 | PONDEROSA: PCB A-1844 | COI,PDCI
214 | 1467764 | To RC West ID: 10961908 | 2022-05-09 08:00 | 2022-05-13 15:00 | JOHN DAY: 500/230KV TRANSFORMER 1 | GEN,JDAY,WOJD
215 | 1469992 | To RC West ID: 11080510 | 2022-05-09 08:00 | 2022-05-09 16:00 | PAUL: 500KV PCB 4548 BFR | NWACI,PA,PDCI
216 | 1471324 | To RC West ID: 11110369 | 2022-05-09 08:00 | 2022-05-12 15:00 | CENTRAL FERRY: PCB 5391 RELAYS | GEN
217 | 1469308 | To RC West ID: 11013519 | 2022-05-10 07:30 | 2022-05-11 15:00 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 2, INCLUDING PCB A-1427 | WOCN,NOEL,SOC
218 | 1466152 | OTS Ticket # 11231 To RC West ID: 10918685 | 2022-05-10 10:15 | 2022-05-10 10:45 | GRAND COULEE: PCB 2092, PCB 2096 | GEN,NOH,WOCN
219 | 1466158 | OTS Ticket # 11232 To RC West ID: 10918686 | 2022-05-10 11:15 | 2022-05-10 11:45 | GRAND COULEE: PCB 2192, PCB 2196 | GEN,NOH,WOCN
220 | 1466174 | OTS Ticket # 11233 To RC West ID: 10918687 | 2022-05-10 12:45 | 2022-05-10 13:15 | GRAND COULEE: PCB 2296, PCB 2292 | GEN,NOH,WOCN
221 | 1466176 | OTS Ticket # 11235 To RC West ID: 10918692 | 2022-05-10 13:45 | 2022-05-10 14:15 | GRAND COULEE: PCB 2392, PCB 2396 | GEN,NOH,WOCN
222 | 1466178 | OTS Ticket # 11236 To RC West ID: 10918141 | 2022-05-10 14:45 | 2022-05-10 15:15 | GRAND COULEE: PCB 2492, PCB 2496 | GEN,NOH,WOCN
223 | 1467688 | To RC West ID: 10981569 | 2022-05-11 07:00 | 2022-05-11 16:00 | INTALCO: 230/13.8KV TRANSFORMER 4 INCLUDING PCB A-1020, PCB A-1024, PCB L-510, PCB L-521, CAP GROUP 4, GROUNDING TRANSFORMER 4, AND FEEDER 4 METERING PT'S | BCHT,BCHW
224 | 1469052 | To RC West ID: 11007920 | 2022-05-11 07:30 | 2022-05-11 10:00 | RAVER: PCB 4849 | NOEL,RP,SOC,IROL,NOH,NWACI,PDCI,SIG,WOCN
225 | 1462982 | To RC West ID: | 2022-05-11 08:00 | 2022-05-12 15:00 | PONDEROSA: PCB A-1847 | COI,PDCI
226 | 1464260 | To RC West ID: 10875901 | 2022-05-11 08:00 | 2022-05-12 15:00 | ECHO LAKE: PCB 5125 BFR | BCHT,NOEL,SOC,WOCN,BCHW,IROL
227 | 1469998 | To RC West ID: 11080796 | 2022-05-11 08:00 | 2022-05-11 16:00 | PAUL: 500KV PCB 4550 BFR | NWACI,PA,PDCI
228 | 1469286 | To RC West ID: 11007936 | 2022-05-11 10:30 | 2022-05-11 13:00 | RAVER: PCB 4858 | NOEL,RP,SOC,IROL,NOH,NWACI,PDCI,SIG,WOCN
229 | 1469338 | To RC West ID: 11013522 | 2022-05-12 07:00 | 2022-05-12 15:00 | MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, INCLUDING PCB A-1431 | WOCN
230 | 1470320 | To RC West ID: 11045311 | 2022-05-12 10:00 | 2022-05-12 12:30 | JOHN DAY: PCB 4179 | NWACI,PDCI,WOJD
231 | 1470322 | To RC West ID: 11045313 | 2022-05-12 12:30 | 2022-05-12 15:00 | JOHN DAY: PCB 4176 | NWACI,PDCI,WOJD
232 | 1454608 | To RC West ID: 10595576 | 2022-05-13 08:00 | 2022-05-13 12:00 | SCHULTZ: PCB 5145 | WOCN
233 | 1454614 | To RC West ID: 10595578 | 2022-05-13 12:00 | 2022-05-13 16:00 | SCHULTZ: PCB 5148 | WOCN
234 | 1442308 | OTS Ticket # 9944 To RC West ID: 10388848 | 2022-05-16 03:00 | 2022-07-01 19:00 | GRAND COULEE: GRAND COULEE SWITCHYARD 230-500KV TIE NO 1 500KV LINE INCLUDING PCBS 6582, 1996 AND 8692 | NOH,WOCN,GEN
235 | 1468462 | OTS Ticket # 11465 To RC West ID: 10983206 | 2022-05-16 03:00 | 2022-05-16 03:30 | GRAND COULEE: PCB 1996, PCB 1992 | GEN,NOH,WOCN
236 | 1457296 | To RC West ID: 10670071 | 2022-05-16 07:00 | 2022-05-17 15:00 | PAUL: PCB 4530 | RP
237 | 1465034 | To RC West ID: 10940703 | 2022-05-16 07:00 | 2022-05-16 16:30 | ASHE: 500KV NORTH BUS INCLUDING PCB 5327 AND PCB 5466 | GEN,NWACI,PDCI,WOLM,NOH,WOJD,WOM,WOS
238 | 1466342 | To RC West ID: 10940500 | 2022-05-16 07:00 | 2022-05-16 16:00 | MONROE-CUSTER NO 2 500KV LINE INCLUDING CUSTER: PCB 4494, PCB 4496 | BCHT,BCHW,IROL,NOEL,SIG,SOC
239 | 1470290 | To RC West ID: 11045456 | 2022-05-16 07:00 | 2022-05-17 16:00 | RAVER: PCB 4846 | NOEL,RP,SOC
240 | 1459162 | To RC West ID: 10716309 | 2022-05-16 07:30 | 2022-05-19 15:30 | KEELER-ALLSTON NO 1 500KV LINE INCLUDING ALLSTON: PCB'S 4502 & 4504 | NWACI,PDCI,SIG,SOA,WOCS,PA
241 | 1469994 | To RC West ID: 11059843 | 2022-05-16 07:30 | 2022-05-18 16:00 | OSTRANDER: PCB 4838 RELAYS AND BFR | WOCS
242 | 1411796 | From RC West ID: 9483928 | 2022-05-16 08:00 | 2022-05-20 17:30 | PILOT BUTTE-BPA LAPINE 230 KV LINE | NJD,NWACI,PDCI
243 | 1463172 | To RC West ID: 10851889 | 2022-05-16 08:00 | 2022-05-20 17:30 | MAUPIN-REDMOND NO 1 230KV LINE | NWACI,PDCI
244 | 1464262 | To RC West ID: 10880483 | 2022-05-16 08:00 | 2022-05-17 15:00 | ECHO LAKE: PCB 5121 BFR | BCHT,BCHW,NOEL,SOC,WOCN
245 | 1471364 | To RC West ID: 11110371 | 2022-05-16 08:00 | 2022-05-19 15:00 | CENTRAL FERRY: PCB 5418 RELAYS | MT-NW,WOH,WOLM
246 | 1423982 | To RC West ID: 9831046 | 2022-05-17 07:00 | 2022-05-17 16:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE INCLUDING B-1598 LINE DISC | PA
247 | 1465038 | To RC West ID: 10940714 | 2022-05-17 07:00 | 2022-05-17 16:30 | ASHE: 500KV SOUTH BUS INCLUDING PCB 5324, PCB 5463, PCB 4908, AND 500KV REACTOR 2 | GEN,NWACI,PDCI,NOH,COI
248 | 1473692 | To RC West ID: 11136630 | 2022-05-17 08:00 | 2022-05-17 15:00 | DWORSHAK: 500KV REACTOR 2 INCLUDING PCB 4650 | GEN,MT-NW,WOH
249 | 1424932 | To RC West ID: 9831109 | 2022-05-18 08:00 | 2022-05-19 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
250 | 1464268 | To RC West ID: 10880487 | 2022-05-18 08:00 | 2022-05-19 15:00 | ECHO LAKE: PCB 5117 BFR | BCHT,BCHW,NOEL,SOC,WOCN
251 | 1470028 | To RC West ID: 11080850 | 2022-05-18 08:00 | 2022-05-18 16:00 | PAUL: 500KV PCB 4540 BFR | NWACI,PA,PDCI
252 | 1470790 | To RC West ID: 11108633 | 2022-05-19 09:30 | 2022-05-19 12:00 | PAUL: PCB 4548 | NWACI,PA,PDCI,SIG
253 | 1472340 | To RC West ID: 11108639 | 2022-05-19 12:01 | 2022-05-19 14:30 | PAUL: PCB 4550 | NWACI,PA,PDCI
254 | 1468464 | OTS Ticket # 11466 To RC West ID: 10983209 | 2022-05-20 16:30 | 2022-05-20 17:00 | GRAND COULEE: PCB 1992, PCB 1996 | GEN,NOH,WOCN
255 | 1406326 | OTS Ticket # 7855 To RC West ID: 9547088 | 2022-05-23 06:30 | 2022-06-03 17:00 | GRAND COULEE: PCB 1992, PCB 1996 | COI,GEN,NJD,NOH,PDCI,WOCN,NWACI
256 | 1421848 | To RC West ID: 9760863 | 2022-05-23 07:00 | 2022-05-26 15:00 | MARION-ALVEY NO 1 500KV LINE | BCHT,BCHW,NWACI,PDCI,SIG
257 | 1465124 | To RC West ID: 10917630 | 2022-05-23 07:00 | 2022-05-26 15:00 | MONROE: PCB 5053 BFR | BCHT,BCHW,NOEL,SOC,WOCN
258 | 1466344 | To RC West ID: 10940512 | 2022-05-23 07:00 | 2022-05-24 15:00 | CUSTER: PCB A-1254 | BCHT,BCHW,NOEL,SOC
259 | 1469364 | To RC West ID: 11013527 | 2022-05-23 07:00 | 2022-05-23 15:30 | MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1, INCLUDING PCB A-1433 | WOCN
260 | 1471870 | To RC West ID: 11095041 | 2022-05-23 07:00 | 2022-05-24 15:00 | SKOOKUM-SHELTON SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA,RP
261 | 1467252 | To RC West ID: 11136636 | 2022-05-23 07:30 | 2022-05-23 16:30 | ALLSTON: PCB 4500 | PA,SOA
262 | 1411798 | From RC West ID: 9483929 | 2022-05-23 08:00 | 2022-05-27 17:30 | PILOT BUTTE-BPA LAPINE 230 KV LINE | NJD,NWACI,PDCI
263 | 1421858 | To RC West ID: 9760867 | 2022-05-23 08:00 | 2022-05-26 15:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5103 | NWACI,PDCI
264 | 1466180 | To RC West ID: 10946214 | 2022-05-23 08:00 | 2022-05-26 16:00 | BIG EDDY-OSTRANDER NO 1 500KV LINE | NWACI,PDCI,SIG,WOCS,WOJD
265 | 1469342 | To RC West ID: 11020133 | 2022-05-23 08:00 | 2022-05-23 11:30 | SCHULTZ: PCB 5129 | WOCN
266 | 1470020 | To RC West ID: 11059849 | 2022-05-23 08:00 | 2022-05-26 16:00 | OSTRANDER: RAS AC-A LLL KNIGHT 1 CKT 7C68, RAS AC-B LLL KNIGHT 1/RS CKT 7C67 AND KNIGHT 1 500KV LINE RELAY SETS 1 AND 2( FORCES OUT KNIGHT-OSTRANDER NO. 1 500KV LINE) | WOCS,NWACI,PDCI,SIG,WOJD,BCHT,BCHW,NI
267 | 1470030 | To RC West ID: 11080863 | 2022-05-23 08:00 | 2022-05-24 16:00 | PAUL: 500KV PCB 4818 BFR AND SEL-787 PCB DIFF RELAY | PA,RP
268 | 1470108 | To RC West ID: 11040160 | 2022-05-23 08:00 | 2022-05-23 11:30 | SICKLER: PCB 4334 | BCHT,BCHW,CI,GEN,NOH,NWACI,PDCI,WOCN
269 | 1471292 | To RC West ID: 11090422 | 2022-05-23 09:00 | 2022-05-26 15:00 | RATTLESNAKE-GARRISON NO 1 230KV LINE | MT-NW
270 | 1469346 | To RC West ID: 11020135 | 2022-05-23 11:30 | 2022-05-23 16:30 | SCHULTZ: PCB 5132 | WOCN
271 | 1470110 | To RC West ID: 11040159 | 2022-05-23 11:30 | 2022-05-23 16:30 | SICKLER: PCB 4336 | CI,GEN,NOH,NWACI,WOCN
272 | 1467254 | To RC West ID: 11136640 | 2022-05-24 07:30 | 2022-05-24 16:30 | ALLSTON: PCB 4690 | PA,SOA
273 | 1466930 | OTS Ticket # 11318 To RC West ID: 10946194 | 2022-05-24 10:15 | 2022-05-24 10:45 | GRAND COULEE: PCB 2096, PCB 2092 | GEN,NOH,WOCN
274 | 1466932 | OTS Ticket # 11319 To RC West ID: 10946195 | 2022-05-24 11:15 | 2022-05-24 11:45 | GRAND COULEE: PCB 2196, PCB 2192 | GEN,NOH,WOCN
275 | 1466934 | OTS Ticket # 11320 To RC West ID: 10946196 | 2022-05-24 12:45 | 2022-05-24 13:15 | GRAND COULEE: PCB 2296, PCB 2292 | GEN,NOH,WOCN
276 | 1466936 | OTS Ticket # 11321 To RC West ID: 10946197 | 2022-05-24 13:45 | 2022-05-24 14:15 | GRAND COULEE: PCB 2396, PCB 2392 | GEN,NOH,WOCN
277 | 1466938 | OTS Ticket # 11322 To RC West ID: 10946198 | 2022-05-24 14:45 | 2022-05-24 15:15 | GRAND COULEE: PCB 2496, PCB 2492 | GEN,WOCN,NOH
278 | 1466346 | To RC West ID: 10940514 | 2022-05-25 07:00 | 2022-05-26 15:00 | CUSTER: PCB A-1540 | BCHT,BCHW,NOEL,SOC
279 | 1471872 | To RC West ID: 11094910 | 2022-05-25 07:00 | 2022-05-26 15:00 | OLYMPIA-SKOOKUM SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA
280 | 1467256 | To RC West ID: 11136652 | 2022-05-25 07:30 | 2022-05-25 16:30 | ALLSTON: PCB 4696 | PA,SOA
281 | 1467258 | To RC West ID: 11136659 | 2022-05-26 07:30 | 2022-05-26 16:30 | ALLSTON: PCB 4687 | PA,SOA
282 | 1470358 | To RC West ID: 11045320 | 2022-05-26 10:00 | 2022-05-26 12:30 | JOHN DAY: PCB 4197 | NWACI,PDCI,WOJD
283 | 1465132 | To RC West ID: 10917705 | 2022-05-26 12:00 | 2022-05-26 15:00 | MONROE: 500/230KV TRANSFORMER 1, INCLUDING PCB 5053, PCB 5050, PCB A-1421 | IROL,NOEL,SIG,SOC,BCHT,BCHW,WOCN
284 | 1470362 | To RC West ID: 11045323 | 2022-05-26 12:30 | 2022-05-26 15:00 | JOHN DAY: PCB 4194 | NOH,NWACI,PDCI,WOJD
285 | 1465126 | To RC West ID: 10917722 | 2022-05-26 15:00 | 2022-05-26 15:30 | MONROE: PCB 5050 | BCHT,BCHW,NOEL,SOC,WOCN
286 | 1468468 | OTS Ticket # 11467 To RC West ID: 10983212 | 2022-05-30 03:00 | 2022-05-30 03:30 | GRAND COULEE: PCB 2096, PCB 2092 | GEN,NOH,WOCN
287 | 1471874 | To RC West ID: 11094917 | 2022-05-30 07:00 | 2022-06-02 15:00 | OLYMPIA-SKOOKUM SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE | PA
288 | 1473810 | OTS Ticket # 11911 To RC West ID: 11135019 | 2022-05-31 03:00 | 2022-06-02 17:00 | -USBR- GRAND COULEE: 230KV AUX BUS SECTION 2, 230KV AUX BUS SECTION 1, GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE INCLUDING 230KV AUX BUS SECTION 3, PCB 5582, PCB 6382, PCB 7382 | GEN,NOH
289 | 1473820 | To RC West ID: 11131781 | 2022-05-31 06:30 | 2022-06-02 17:00 | CHIEF JOSEPH: PCB A-578 TERMINAL OF THE GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE | GEN,NOH,WOCN
290 | 1421850 | To RC West ID: 9760900 | 2022-05-31 08:00 | 2022-06-04 15:30 | MARION-LANE NO 1 500KV LINE INCLUDING MOD 4527 AND 500/230KV TRANSFORMER 3 (UNGROUNDED AT MARION) | NWACI,PDCI,SIG,COI,NJD
291 | 1470760 | To RC West ID: 11121261 | 2022-05-31 09:00 | 2022-06-10 18:30 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN: 500KV SERIES CAP GROUP 1 - (UNGROUNDED) | BCHT,BCHW,NI,NWACI,PDCI,SIG,COI