## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2023 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 21-01581 |  | 04/30/2021 16:15 | 03/31/2023 18:00 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCHT, BCHW, NI
3 | 21-01767 | 10359382 | 06/30/2021 10:00 | 02/03/2023 16:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD, RP, SIG, PA
4 | 22-07009 | 11704577 | 11/04/2022 16:00 | 01/03/2023 08:00 | LOWER MONUMENTAL: MOD 4317 INCLUDING PCB 4316 | WOLM
5 | 22-09563 | 12192427 | 11/18/2022 16:00 | 01/09/2023 08:00 | LOWER GRANITE: PCB 4770, INCLUDING MOD 4771 | GEN, MT-NW, NOH, WOH, WOLM
6 | 22-01191 | 10084864 | 12/19/2022 08:00 | 01/31/2023 14:00 | RINGOLD-MESA SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE | TCLA, TCLA
7 | 23-00169 | 12192510 | 01/01/2023 08:00 | 01/01/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | RP, SOA
8 | 23-00900 | 12521586 | 01/02/2023 07:00 | 01/02/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WHO
9 | 23-00170 | 12192513 | 01/02/2023 08:00 | 01/02/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | RP, SOA
10 | 23-01050 | 12521586 | 01/02/2023 08:00 | 01/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
11 | 23-00901 | 12521586 | 01/03/2023 07:00 | 01/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
12 | 23-00830 | 12495451 | 01/03/2023 07:30 | 01/03/2023 15:30 | LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331 | LOAD, SOA, PA, RP
13 | 23-00463 | 12212656 | 01/03/2023 07:30 | 01/05/2023 16:00 | MCNARY: PCB 5198 BFR & BKR DIFFERNTIAL RELAYS | WOM, COI, NWACI, PDCI
14 | 23-00781 | 12537220 | 01/03/2023 08:00 | 01/03/2023 16:00 | MARION: 500KV CAP GROUP 1 INCLUDING PCB 4331 | COI, PDCI, WOCS, NWACI
15 | 23-00171 | 12192518 | 01/03/2023 08:00 | 01/03/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | RP, SOA
16 | 23-00445 | 12182162 | 01/03/2023 08:00 | 01/04/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING GRIZZLY: PCB 4058 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
17 | 22-06943 | 11704598 | 01/03/2023 08:30 | 01/07/2023 15:00 | LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE INCLUDING: LOWER MONUMENTAL PCB 4316 AND 500KV WEST BUS | WOLM, GEN, WOLM
18 | 23-00842 | 12495744 | 01/03/2023 15:30 | 01/26/2023 08:30 | LONGVIEW: PCB B-331 INCLUDING LONGVIEW-MINT FARM #1 115KV LINE (UNGROUNDED) AND 115KV AUX BUS | STCO
19 | 23-00902 | 12521586 | 01/04/2023 07:00 | 01/04/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
20 | 23-00782 | 12554473 | 01/04/2023 08:00 | 01/04/2023 16:00 | MARION: PCB 4368 | NWACI, PDCI, WOCS, COI
21 | 23-00903 | 12521586 | 01/05/2023 07:00 | 01/05/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
22 | 23-00484 | 12219798 | 01/05/2023 10:15 | 01/05/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
23 | 23-00485 | 12219803 | 01/05/2023 11:15 | 01/05/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
24 | 23-00881 | 12538188 | 01/05/2023 12:45 | 01/05/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
25 | 23-00487 | 12219808 | 01/05/2023 13:45 | 01/05/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
26 | 23-00904 | 12521586 | 01/06/2023 07:00 | 01/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
27 | 22-02103 | 10879173 | 01/09/2023 01:00 | 01/20/2023 20:00 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN
28 | 23-00060 | 11238928 | 01/09/2023 06:30 | 01/09/2023 18:00 | GRAND COULEE-HANFORD NO 1 500KV LINE INCLUDING HANFORD: 500KV SOUTH BUS AND PCB 4083 | COI, NOH, NWACI, PDCI, WOS, WOM, BCHT, BCHW, GEN, NI, SIG, WOCN
29 | 23-00533 | 12289734 | 01/09/2023 07:00 | 01/12/2023 16:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458 | MT-NW
30 | 23-00905 | 12521629 | 01/09/2023 07:00 | 01/09/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
31 | 23-01047 | 12554493 | 01/09/2023 07:00 | 01/12/2023 16:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | PA
32 | 23-00281 | 12143512 | 01/09/2023 08:00 | 01/09/2023 16:00 | BENTON-BAXTER SECTION OF BENTON-FRANKLIN NO.1 115KV LINE INCLUDING PCB B-542 AND 115KV AUX BUS (UNGROUNDED) | TCLA, NWACI
33 | 23-00785 | 12537914 | 01/09/2023 08:00 | 01/09/2023 16:00 | BUCKLEY-MARION NO 1 500KV LINE, INCLUDING MARION 500KV NORTH BUS, 500KV REACTOR NO. 1, PCB'S 4012, 4371, & 4389 | NWACI, PDCI, SIG, WOCS, WOJD, COI
34 | 23-01052 | 12521629 | 01/09/2023 08:00 | 01/13/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
35 | 23-00216 | 11871526 | 01/09/2023 08:00 | 01/20/2023 16:00 | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, INCLUDING LOWER GRANITE PCB'S 4770 & 4772 | GEN, GEN, MT-NW, NOH, WOH, WOLM, GEN, MT-NW, WOH, WOLM
36 | 23-00057 | 11238963 | 01/09/2023 18:00 | 03/02/2023 07:30 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084 | NOH, NWACI, PDCI, WOM, WOS
37 | 23-00906 | 12521629 | 01/10/2023 07:00 | 01/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
38 | 23-00786 | 12555591 | 01/10/2023 08:00 | 01/10/2023 15:00 | MARION-SANTIAM NO 1 500KV LINE, INCLUDING SANTIAM 500/230KV BANK NO. 4, AND MARION PCB 4386 | NWACI, PDCI, SIG, COI, WOCS
39 | 23-00907 | 12521629 | 01/11/2023 07:00 | 01/11/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
40 | 23-00908 | 12521629 | 01/12/2023 07:00 | 01/12/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
41 | 23-00269 | 12538110 | 01/12/2023 08:00 | 01/12/2023 10:00 | DWORSHAK: PCB 4652 | MT-NW
42 | 23-00271 | 12538114 | 01/12/2023 09:30 | 01/12/2023 11:30 | DWORSHAK: PCB 4666 | MT-NW, FCRPS
43 | 23-00909 | 12521629 | 01/13/2023 07:00 | 01/13/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
44 | 23-00534 | 12289735 | 01/16/2023 07:00 | 01/19/2023 16:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461 | MT-NW
45 | 23-00910 | 12521674 | 01/16/2023 07:00 | 01/16/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
46 | 22-06014 | 11537545 | 01/16/2023 08:00 | 03/03/2023 17:00 | GRIZZLY: 500KV REACTOR 3 INCLUDING PCB 4038 | COI, NWACI, PDCI, COI, PDCI, NWACI
47 | 23-01054 | 12521674 | 01/16/2023 08:00 | 01/20/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
48 | 23-00104 |  | 01/16/2023 09:00 | 02/17/2023 19:00 | -IPC- HINES-WEST JOHN DAY(IPC) LINE
49 | 23-00911 | 12521674 | 01/17/2023 07:00 | 01/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
50 | 23-00288 | 12119015 | 01/17/2023 08:00 | 01/17/2023 15:00 | WAUTOMA: PCB 5253 | WOCN
51 | 23-00912 | 12521674 | 01/18/2023 07:00 | 01/18/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
52 | 23-00913 | 12483173 | 01/19/2023 07:00 | 01/19/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
53 | 23-00291 | 12143292 | 01/19/2023 08:00 | 01/19/2023 15:00 | ASHE: PCB A-894 INCLUDING THE 230KV CAP GROUP 1 | COI, NOH, PDCI, NWACI, TCLA
54 | 23-00272 | 12100504 | 01/19/2023 08:00 | 01/19/2023 10:00 | HATWAI: PCB 4700 | MT-NW, NOH, WOH, WOLM
55 | 23-00273 | 12100491 | 01/19/2023 10:00 | 01/19/2023 12:00 | HATWAI: PCB 4708 | MT-NW, NOH, WOH, WOLM
56 | 23-00488 | 12220287 | 01/19/2023 10:15 | 01/19/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
57 | 23-00489 | 12220291 | 01/19/2023 11:15 | 01/19/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
58 | 23-00882 | 12538200 | 01/19/2023 12:45 | 01/19/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
59 | 23-00491 | 12220297 | 01/19/2023 13:45 | 01/19/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
60 | 23-00914 | 12521674 | 01/20/2023 07:00 | 01/20/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
61 | 22-03664 | 11289866 | 01/20/2023 22:30 | 01/20/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN
62 | 22-05800 | 11537529 | 01/21/2023 07:00 | 01/29/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028 | SIG, COI, NWACI, PDCI, BCHT, BCHW, NI, COI, PDCI, NWACI, COI, NWACI, PDCI, NWACI, WOJD, COI, NWACI, PDCI, COI, SIG, COI, NWACI, PDCI, COI, PDCI, NWACI, SIG, COI, NWACI, PDCI, BCHT, BCHW, NI
63 | 23-00205 | 11941432 | 01/21/2023 09:00 | 01/28/2023 15:00 | LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, INCLUDING LITTLE GOOSE PCBs 4348 & 4350 | WOLM, GEN
64 | 23-00535 | 12289749 | 01/23/2023 07:00 | 01/26/2023 16:00 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4468 | MT-NW
65 | 23-00915 | 12521892 | 01/23/2023 07:00 | 01/23/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
66 | 23-00292 | 12192604 | 01/23/2023 08:00 | 01/23/2023 15:00 | ASHE: PCB A-892 INCLUDING 230KV CAP GROUP 2 | COI, NOH, PDCI, NWACI, TCLA
67 | 23-01055 | 12521892 | 01/23/2023 08:00 | 01/27/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
68 | 23-00618 | 12371939 | 01/23/2023 08:00 | 01/25/2023 15:00 | Olympia: 230/115kv Transformer Bank #1 including PCB's B-682 and A-218 | WOH
69 | 23-01125 | 12532739 | 01/23/2023 08:00 | 02/03/2023 16:00 | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES | SOA
70 | 23-00233 | 12142457 | 01/23/2023 08:00 | 01/26/2023 15:00 | SICKLER: PCB 4334, BFR | BCHT, BCHW, CI, GEN, NOH, WOCN
71 | 23-00916 | 12521892 | 01/24/2023 07:00 | 01/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
72 | 23-00917 | 12521892 | 01/25/2023 07:00 | 01/25/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
73 | 23-00918 | 12521892 | 01/26/2023 07:00 | 01/26/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
74 | 23-00880 | 12496324 | 01/26/2023 08:30 | 01/26/2023 16:00 | LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331 | LOAD, SOA, PA, RP
75 | 23-00279 | 11943455 | 01/26/2023 12:00 | 01/26/2023 13:00 | RAVER: PCB 4314 | NOEL, RP, SOC
76 | 23-00280 | 11943464 | 01/26/2023 13:00 | 01/26/2023 14:00 | RAVER: PCB 4311 | NOEL, RP, SOC, WOCN
77 | 23-00919 | 12521892 | 01/27/2023 07:00 | 01/27/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
78 | 23-00536 | 12289754 | 01/30/2023 07:00 | 02/02/2023 16:00 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4469 | MT-NW
79 | 23-00920 | 12522022 | 01/30/2023 07:00 | 01/30/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
80 | 23-01072 | 12555616 | 01/30/2023 07:30 | 01/31/2023 15:00 | MARION: PCB 4389 | NWACI, PDCI, WOCS, COI
81 | 23-00396 | 12327419 | 01/30/2023 08:00 | 01/30/2023 15:00 | ASHE: PCB 4937 | NOH, NWACI, PDCI, COI, FCRPS
82 | 23-01057 | 12522022 | 01/30/2023 08:00 | 02/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
83 | 23-00382 | 12182225 | 01/30/2023 08:00 | 02/02/2023 16:00 | LOWER GRANITE: PCB 4776 | MT-NW, WOH, WOLM, GEN
84 | 22-07006 | 11705524 | 01/30/2023 08:30 | 02/03/2023 15:00 | LOWER MONUMENTAL 500KV WEST BUS INCLUDING LOWER MONUMENTAL PH #1 500KV LINE STUB BUS AND MOD 4343 | GEN, WOLM
85 | 23-00921 | 12522022 | 01/31/2023 07:00 | 01/31/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
86 | 23-00397 | 12327426 | 01/31/2023 08:00 | 01/31/2023 15:00 | ASHE: PCB 4940 | NWACI, WOCS, WOJD, WOM, COI, FCRPS
87 | 23-00922 | 12522022 | 02/01/2023 07:00 | 02/01/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WHO
88 | 23-01073 | 12555627 | 02/01/2023 07:30 | 02/02/2023 15:00 | MARION: PCB 4946 | NWACI, PDCI, COI
89 | 23-00289 | 12118978 | 02/01/2023 08:00 | 02/01/2023 16:00 | WAUTOMA: 500KV REACTOR 1, INCLUDING PCB 5236 | COI, NWACI
90 | 23-00923 | 12522022 | 02/02/2023 07:00 | 02/02/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
91 | 23-00799 | 12425655 | 02/02/2023 08:00 | 02/02/2023 16:00 | SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1 INCLUDING PCB A-504 | COI, PDCI, NWACI
92 | 23-00492 | 12220299 | 02/02/2023 10:15 | 02/02/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
93 | 23-00493 | 12220312 | 02/02/2023 11:15 | 02/02/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
94 | 23-00883 | 12555637 | 02/02/2023 12:45 | 02/02/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
95 | 23-00495 | 12220321 | 02/02/2023 13:45 | 02/02/2023 14:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
96 | 23-00496 | 12220329 | 02/02/2023 14:45 | 02/02/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
97 | 23-00924 | 12522022 | 02/03/2023 07:00 | 02/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
98 | 23-00537 | 12289768 | 02/06/2023 07:00 | 02/09/2023 16:00 | GARRISON: 500KV REACTOR 5 INCLUDING PCB 4362 | MT-NW
99 | 23-00925 | 12525487 | 02/06/2023 07:00 | 02/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
100 | 23-00452 | 12212811 | 02/06/2023 07:00 | 02/09/2023 16:00 | MCNARY: PCB 5199 BFR & BKR DIFFERNTIAL RELAYS | WOM, WOS, COI, NWACI, PDCI
101 | 23-00409 | 12150171 | 02/06/2023 07:00 | 02/09/2023 15:00 | RAVER: PCB 4314 | NOEL, RP, SOC, WOCN
102 | 23-00315 | 12495518 | 02/06/2023 07:00 | 02/06/2023 07:30 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
103 | 23-00614 | 12347289 | 02/06/2023 08:00 | 02/16/2023 15:00 | BELL: PCB 5313, BFR | MT-NW, WOH
104 | 23-00614 | 12347289 | 02/06/2023 08:00 | 02/16/2023 15:00 | BELL: PCB 5313, BFR | MT-NW, WOH
105 | 23-01062 | 12525487 | 02/06/2023 08:00 | 02/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
106 | 23-00383 | 12191949 | 02/06/2023 08:00 | 02/09/2023 16:00 | LOWER GRANITE: PCB 4775, BFR | MT-NW, WOH, WOLM, GEN
107 | 23-00392 |  | 02/06/2023 08:00 | 03/20/2023 18:00 | SCL - BROAD ST 115KV BUS 2 (BROAD ST-UNION TAP , MASSACHUSETTS ST-UNION TAP, UNION ST-UNION ST TAP 115KV CABLES & BROAD ST BANKS 66A & B) | SOC, NOEL
108 | 23-00926 | 12525487 | 02/07/2023 07:00 | 02/07/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
109 | 23-00927 | 12525487 | 02/08/2023 07:00 | 02/08/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
110 | 23-00928 | 12525487 | 02/09/2023 07:00 | 02/09/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
111 | 23-00446 | 12182196 | 02/09/2023 08:00 | 02/10/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING GRIZZLY: PCB 4058 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
112 | 23-00366 | 12101554 | 02/09/2023 09:00 | 02/09/2023 10:30 | JOHN DAY: PCB 4191 | NWACI, PDCI, WOJD, WOM, COI
113 | 23-00367 | 12101567 | 02/09/2023 10:30 | 02/09/2023 12:00 | JOHN DAY: PCB 4194 | NOH, NWACI, PDCI, WOJD, COI
114 | 23-00929 | 12525487 | 02/10/2023 07:00 | 02/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
115 | 22-01168 | 9556188 | 02/13/2023 06:30 | 03/05/2023 23:00 | GRAND COULEE: PCB 2192, PCB 2196 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
116 | 23-00930 | 12525527 | 02/13/2023 07:00 | 02/13/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
117 | 23-00410 | 12150250 | 02/13/2023 07:00 | 02/14/2023 16:00 | RAVER: PCB 4914 | NOEL, RP, SOC
118 | 23-01063 | 12525527 | 02/13/2023 08:00 | 02/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
119 | 22-10920 | 12118026 | 02/13/2023 08:00 | 02/14/2023 15:00 | ROCK CREEK: PCB 5288, BFR | RKCR
120 | 23-00931 | 12525527 | 02/14/2023 07:00 | 02/14/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
121 | 23-00932 | 12525527 | 02/15/2023 07:00 | 02/15/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
122 | 22-10923 | 12118029 | 02/15/2023 08:00 | 02/16/2023 15:00 | ROCK CREEK: PCB 5294, BFR | RKCR
123 | 23-00933 | 12525527 | 02/16/2023 07:00 | 02/16/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
124 | 23-00497 | 12231943 | 02/16/2023 10:15 | 02/16/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
125 | 23-00498 | 12231948 | 02/16/2023 11:15 | 02/16/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
126 | 23-00884 | 12569980 | 02/16/2023 12:45 | 02/16/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
127 | 23-00500 | 12231956 | 02/16/2023 13:45 | 02/16/2023 14:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
128 | 23-00501 | 12232006 | 02/16/2023 14:45 | 02/16/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
129 | 23-00316 | 12495518 | 02/16/2023 16:30 | 02/16/2023 17:00 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
130 | 23-00934 | 12525527 | 02/17/2023 07:00 | 02/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
131 | 23-00103 |  | 02/18/2023 09:00 | 03/31/2023 18:30 | -IPC- QUARTZ-WEST JOHN DAY(IPC) LINE
132 | 23-00935 | 12525570 | 02/20/2023 07:00 | 02/20/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
133 | 23-00615 | 12347620 | 02/20/2023 08:00 | 03/02/2023 15:00 | BELL: PCB 5316, BFR | MT-NW, WOH
134 | 23-00615 | 12347620 | 02/20/2023 08:00 | 03/02/2023 15:00 | BELL: PCB 5316, BFR | MT-NW, WOH
135 | 23-00615 | 12347620 | 02/20/2023 08:00 | 03/02/2023 15:00 | BELL: PCB 5316, BFR | MT-NW, WOH
136 | 23-01064 | 12525570 | 02/20/2023 08:00 | 02/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
137 | 23-00687 | 12413295 | 02/20/2023 08:00 | 02/21/2023 16:00 | VANTAGE: PCB 5339, BFR | NOH
138 | 23-00936 | 12525570 | 02/21/2023 07:00 | 02/21/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
139 | 23-00937 | 12525570 | 02/22/2023 07:00 | 02/22/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
140 | 23-00689 | 12413303 | 02/22/2023 08:00 | 02/23/2023 16:00 | VANTAGE: PCB 5345, BFR | NOH
141 | 23-00938 | 12525570 | 02/23/2023 07:00 | 02/23/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
142 | 23-01080 | 12570175 | 02/23/2023 08:00 | 02/23/2023 10:00 | MARION: PCB 4386 | NWACI, PDCI, WOCS, COI
143 | 23-01124 | 12570184 | 02/23/2023 10:00 | 02/23/2023 12:00 | MARION: PCB 4389 | NWACI, PDCI, WOCS, COI
144 | 23-00939 | 12525570 | 02/24/2023 07:00 | 02/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
145 | 23-00940 | 12525767 | 02/27/2023 07:00 | 02/27/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
146 | 23-00477 | 12220033 | 02/27/2023 07:00 | 02/28/2023 16:00 | PAUL: PCB 4810 | PA, RP
147 | 23-00416 | 12150227 | 02/27/2023 07:00 | 03/02/2023 16:00 | RAVER: PCB 4876 | NOEL, RP, SOC
148 | 23-01074 | 12570188 | 02/27/2023 07:30 | 02/28/2023 15:00 | MARION: PCB 4383 | NWACI, PDCI, COI
149 | 23-00266 | 12105207 | 02/27/2023 08:00 | 03/02/2023 15:00 | CHIEF JOSEPH: PCB 4728 BFR | NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
150 | 23-01066 | 12525767 | 02/27/2023 08:00 | 03/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
151 | 23-00225 | 11873003 | 02/27/2023 08:00 | 03/01/2023 15:00 | HILLTOP: PCB A-1539 INCLUDING 230KV REACTOR 1 | COI, PDCI, RATS, NWACI
152 | 23-00384 | 12192013 | 02/27/2023 08:00 | 03/02/2023 16:00 | LOWER GRANITE: PCB 4772, BFR | GEN, MT-NW, WOH, WOLM
153 | 23-00829 | 12460906 | 02/27/2023 08:00 | 03/02/2023 16:00 | PEARL: 230KV MAIN BUS SECTIONALIZING PCB A-1192 | SOA
154 | 23-00690 | 12413308 | 02/27/2023 08:00 | 02/28/2023 16:00 | VANTAGE: PCB 5342, BFR | NOH
155 | 23-00941 | 12525767 | 02/28/2023 07:00 | 02/28/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
156 | 23-00942 | 12525767 | 03/01/2023 07:00 | 03/01/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
157 | 23-00691 | 12570333 | 03/01/2023 08:00 | 03/02/2023 16:00 | VANTAGE: PCB 5351, BFR | NOH
158 | 23-00546 | 12269462 | 03/01/2023 21:00 | 03/02/2023 06:00 | Ringold to B-301 section of the Benton Scooteney No 1 115 Kv line including Mesa Tap and Mesa 115Kv and 13.8 kv Busses | TCLA
159 | 23-00943 | 12525767 | 03/02/2023 07:00 | 03/02/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
160 | 23-00058 | 11238985 | 03/02/2023 07:30 | 03/02/2023 16:00 | GRAND COULEE-HANFORD NO 1 500KV LINE INCLUDING HANFORD PCB 4083 | NOH, NWACI, PDCI, WOM, WOS, BCHT, BCHW, GEN, NI, NOH, SIG, COI, NWACI, PDCI, WOCN
161 | 23-00596 | 12346005 | 03/02/2023 08:00 | 03/02/2023 15:00 | BELL-AVA BEACON NO 5 230KV LINE INCLUDING BELL PCB A-570 | WOH, MT-NW
162 | 23-00795 | 12489468 | 03/02/2023 08:00 | 03/02/2023 16:00 | SANTIAM: 230KV EAST MAIN BUS | COI, PDCI, NWACI, GEN, FCRPS, WOCS, SWORE, SIG
163 | 23-00502 | 12232085 | 03/02/2023 10:15 | 03/02/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
164 | 23-00503 | 12232259 | 03/02/2023 11:15 | 03/02/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
165 | 23-00504 | 12289796 | 03/02/2023 12:45 | 03/02/2023 13:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
166 | 23-00505 | 12289968 | 03/02/2023 13:45 | 03/02/2023 14:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
167 | 23-00506 | 12290117 | 03/02/2023 14:45 | 03/02/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
168 | 23-00885 | 12570341 | 03/02/2023 15:45 | 03/02/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
169 | 23-00944 | 12525767 | 03/03/2023 07:00 | 03/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
170 | 23-00059 | 11239058 | 03/03/2023 07:30 | 03/03/2023 16:00 | HANFORD: 500KV SOUTH BUS INCLUDING PCB 4083 | COI, NOH, NWACI, PDCI, WOS, NOH, NWACI, PDCI, WOM, WOS
171 | 23-00075 | 11220278 | 03/04/2023 07:00 | 03/05/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS
172 | 23-00775 | 12536976 | 03/06/2023 06:30 | 03/10/2023 17:30 | WAUTOMA: 500KV EAST BUS INCLUDING 500KV REACTOR 1 AND PCB 5236 | WOCN, NWACI, COI
173 | 23-00945 | 12525803 | 03/06/2023 07:00 | 03/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
174 | 23-00526 | 12231513 | 03/06/2023 07:00 | 03/07/2023 16:00 | RAVER: PCB 4293 | NOEL, RP, SOC, WOCN
175 | 23-01075 | 12570350 | 03/06/2023 07:30 | 03/07/2023 15:00 | MARION: PCB 4368 | NWACI, PDCI, WOCS, COI
176 | 23-00434 | 12156053 | 03/06/2023 08:00 | 03/08/2023 15:00 | BIG EDDY: PCB 4860 | NWACI, PDCI, WOJD, COI, BGEDY
177 | 23-00226 | 12105220 | 03/06/2023 08:00 | 03/09/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | NWACI, PDCI, COI
178 | 22-12274 | 12192488 | 03/06/2023 08:00 | 03/31/2023 16:00 | GRIZZLY: PCB 5040 | NWACI, WOJD, COI
179 | 23-01067 | 12525803 | 03/06/2023 08:00 | 03/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
180 | 22-12601 | 12212487 | 03/06/2023 08:00 | 03/09/2023 15:00 | KEELER: PCB 4394 | SOA
181 | 23-00386 | 12191969 | 03/06/2023 08:00 | 03/09/2023 16:00 | LOWER GRANITE: PCB 4770 | GEN, MT-NW, NOH, WOH, WOLM
182 | 23-00402 | 12143727 | 03/06/2023 08:00 | 04/06/2023 15:00 | MIDWAY: 115KV EAST MAIN BUS INCLUDING MIDWAY 115KV AUX BUS, PCB B-146 AND MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA, LOAD
183 | 23-00802 | 12570453 | 03/06/2023 08:00 | 03/09/2023 16:00 | PEARL: PCB 4283 | SOA
184 | 23-00946 | 12525803 | 03/07/2023 07:00 | 03/07/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
185 | 23-00456 | 12193450 | 03/07/2023 07:00 | 03/08/2023 15:30 | MONROE: PCB 4672, BFR AND DIFFERENTIAL RELAYS | BCHT, BCHW, NOEL, SOC, NI, WOCN
186 | 23-00947 | 12525803 | 03/08/2023 07:00 | 03/08/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
187 | 23-00480 | 12220059 | 03/08/2023 07:00 | 03/09/2023 16:00 | PAUL: PCB 4536 | RP, WOCS, SOA
188 | 23-01077 | 12570472 | 03/08/2023 07:30 | 03/09/2023 15:00 | MARION: PCB 4331 | NWACI, PDCI, COI, WOCS
189 | 23-00729 | 12537950 | 03/08/2023 08:00 | 03/08/2023 12:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | WOLM, WOH
190 | 23-00207 | 12118140 | 03/08/2023 09:00 | 03/09/2023 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | COI, NWACI, PDCI
191 | 23-00948 | 12525803 | 03/09/2023 07:00 | 03/09/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
192 | 23-00949 | 12525803 | 03/10/2023 07:00 | 03/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
193 | 23-00231 | 11925518 | 03/13/2023 07:00 | 03/24/2023 14:00 | HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE | SEIL
194 | 23-00736 | 12537427 | 03/13/2023 08:00 | 03/14/2023 15:00 | BELL: PCB 5301, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
195 | 23-00950 | 12525849 | 03/13/2023 08:00 | 03/13/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
196 | 23-01068 | 12525849 | 03/13/2023 08:00 | 03/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
197 | 23-00444 | 12182239 | 03/13/2023 08:00 | 03/15/2023 15:00 | JOHN DAY: PCB 4167 | JDAY, NWACI, WOCS, WOJD, COI
198 | 23-00105 | 11412380 | 03/13/2023 08:00 | 04/07/2023 16:00 | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI, PDCI, NWACI, NWACI, PDCI, WOCS, COI, LOAD
199 | 23-00208 | 12118091 | 03/13/2023 09:00 | 03/16/2023 16:00 | FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062 | COI, NWACI, PDCI
200 | 23-01053 | 12570485 | 03/14/2023 07:30 | 03/14/2023 11:00 | HANFORD: 500KV CAP GROUP 1 | COI, NOH, PDCI, WOM, WOS, NWACI
201 | 23-00951 | 12525849 | 03/14/2023 08:00 | 03/14/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
202 | 23-00339 | 12117820 | 03/15/2023 07:00 | 03/16/2023 16:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB'S 4971 & 4972 | NWACI, PDCI, COI
203 | 23-00265 | 12538047 | 03/15/2023 07:00 | 03/16/2023 16:00 | CRESTON: 115KV STRAIN BUS INCLUDING PCB B-437, PCB L-668, 115/34.5KV TRANSFORMER 1, THE CRESTON-EGYPT SECTION OF CRESTON-BELL NO 1 115KV LINE AND WILBUR-CRESTON SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE | LOAD
204 | 23-00737 | 12537431 | 03/15/2023 08:00 | 03/16/2023 15:00 | BELL: PCB 5304, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
205 | 23-00692 | 12538028 | 03/15/2023 08:00 | 03/15/2023 16:00 | CENTRAL FERRY: PCB 5388 | GEN, WOLM
206 | 23-00953 | 12525849 | 03/16/2023 08:00 | 03/16/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
207 | 23-00507 | 12293387 | 03/16/2023 10:15 | 03/16/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
208 | 23-00508 | 12293395 | 03/16/2023 11:15 | 03/16/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
209 | 23-00509 | 12293430 | 03/16/2023 12:45 | 03/16/2023 13:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
210 | 23-00510 | 12293489 | 03/16/2023 13:45 | 03/16/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
211 | 23-00886 | 12538133 | 03/16/2023 14:45 | 03/16/2023 15:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
212 | 23-00887 | 12570509 | 03/16/2023 15:45 | 03/16/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
213 | 23-00954 | 12525849 | 03/17/2023 08:00 | 03/17/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
214 | 23-00073 | 11220280 | 03/18/2023 07:00 | 03/19/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS
215 | 23-00206 | 11752207 | 03/20/2023 06:00 | 03/20/2023 17:00 | BELL: 230KV MAIN BUS SECT 4 INCLUDING 230KV MAIN BUS RING SECT AND PCBS A-377, A-571, A-573, A-574, AND A-577 | MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, WOH
216 | 23-00014 | 11242211 | 03/20/2023 06:30 | 03/20/2023 12:00 | HANFORD-WAUTOMA NO 1 500KV LINE INCLUDING HANFORD: PCB 4095 | NOH, NWACI, PDCI, SIG, COI, GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
217 | 23-00955 | 12525880 | 03/20/2023 08:00 | 03/20/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
218 | 23-01069 | 12525880 | 03/20/2023 08:00 | 03/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
219 | 22-09483 | 12263920 | 03/20/2023 08:00 | 03/23/2023 17:00 | LAPINE: 230KV REACTOR 1 INCLUDING PCB A-1491 | COR
220 | 23-00010 | 11242214 | 03/20/2023 12:00 | 03/20/2023 17:30 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE INCLUDING HANFORD: PCB 4095 | NOH, NWACI, PDCI, SIG, WOLM, COI, GEN, NWACI, PDCI, WOLM, COI, NOH, WOM, WOS
221 | 23-00011 | 11242268 | 03/20/2023 17:30 | 05/11/2023 07:30 | HANFORD: PCB 4095 INCLUDING MODS 4094 & 4096 | NWACI, PDCI, WOLM, COI, NOH, WOM
222 | 23-00152 | 11706375 | 03/21/2023 07:00 | 03/22/2023 17:00 | ASHE-HANFORD NO 1 500KV LINE | NOH, NWACI, PDCI, SIG, COI, NWACI, PDCI, COI, FCRPS, NWACI, PDCI, COI, FCRPS, NOH, NOH, NWACI, PDCI, COI, WOM, WOS, NWACI, PDCI, COI, NOH, WOM, WOS
223 | 23-00772 | 12538099 | 03/21/2023 07:00 | 03/22/2023 16:00 | CUSTER: 500KV REACTOR 1 INCLUDING PCB 4274 | NOEL, SOC, BCHT, BCHW, NI
224 | 23-00956 | 12525880 | 03/21/2023 08:00 | 03/21/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
225 | 23-00340 | 12117971 | 03/21/2023 08:00 | 03/23/2023 16:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, INCLUDING PCB'S 4188 & 4189 | COI, NWACI, PDCI
226 | 23-00394 |  | 03/21/2023 08:00 | 04/30/2023 18:00 | SCL - BROAD ST 115KV BUS 1 (UNIVERSITY-BROAD ST 115KV LINE AND BROAD ST BANKS 65A & B) | SOC, NOEL
227 | 23-00957 | 12525880 | 03/22/2023 08:00 | 03/22/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
228 | 23-00958 | 12525880 | 03/23/2023 08:00 | 03/23/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
229 | 23-00151 | 11706378 | 03/24/2023 07:00 | 03/27/2023 17:00 | GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT, BCHW, GEN, NI, NOH, SIG, COI, NWACI, PDCI, WOCN, NOH, NWACI, PDCI, WOM, WOS, NOH, NWACI, PDCI, COI, WOM, WOS, GEN, NOH, WOCN, COI, NWACI, PDCI, NOH, WOCN, COI, NWACI, PDCI
230 | 23-00959 | 12525880 | 03/24/2023 08:00 | 03/24/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
231 | 23-00074 | 11220281 | 03/25/2023 07:00 | 03/26/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE) | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS
232 | 23-00275 | 12118410 | 03/27/2023 08:00 | 03/30/2023 15:00 | CHIEF JOSEPH: PCB 4598, BFR | NOEL, SOC, WOCN
233 | 23-00530 | 12570534 | 03/27/2023 08:00 | 04/21/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | NOH, NWACI, PDCI, SIG, COI
234 | 23-00960 | 12526123 | 03/27/2023 08:00 | 03/27/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
235 | 23-01070 | 12526123 | 03/27/2023 08:00 | 03/31/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
236 | 22-06618 | 11597722 | 03/27/2023 08:00 | 03/28/2023 16:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD
237 | 23-00150 | 11706397 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 1 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, SIG, FCRPS
238 | 23-00153 | 11706405 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 2 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, FCRPS, SIG
239 | 23-01076 | 12570537 | 03/28/2023 07:30 | 03/29/2023 15:00 | MARION: PCB 4371 | NWACI, PDCI, WOCS, COI
240 | 23-00771 | 12538009 | 03/28/2023 08:00 | 03/28/2023 16:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | WOLM, WOH
241 | 23-00961 | 12526123 | 03/28/2023 08:00 | 03/28/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
242 | 23-00612 | 12538041 | 03/29/2023 07:30 | 03/29/2023 17:30 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 4693 | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
243 | 23-00962 | 12526123 | 03/29/2023 08:00 | 03/29/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
244 | 23-00827 | 12570546 | 03/29/2023 08:30 | 03/29/2023 16:00 | PEARL: PCB 5452 | SOA
245 | 23-00613 | 12537979 | 03/30/2023 08:00 | 03/30/2023 15:00 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
246 | 23-00963 | 12526123 | 03/30/2023 08:00 | 03/30/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
247 | 23-00511 | 12293499 | 03/30/2023 10:15 | 03/30/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
248 | 23-00512 | 12293522 | 03/30/2023 11:15 | 03/30/2023 11:45 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
249 | 23-00513 | 12218237 | 03/30/2023 12:45 | 03/30/2023 13:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
250 | 23-00514 | 12293531 | 03/30/2023 13:45 | 03/30/2023 14:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
251 | 23-00515 | 12293558 | 03/30/2023 14:45 | 03/30/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
252 | 23-00888 | 12538126 | 03/30/2023 15:45 | 03/30/2023 16:15 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
253 | 23-00964 | 12526123 | 03/31/2023 08:00 | 03/31/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH