## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Schedule Profile | Path Affected
20-00289 | 11706255 | 01/22/2020 10:30 | 03/31/2023 17:00 | DETROIT: A-329 TERMINAL | DETROIT: A-329 TERMINAL , DETROIT: A-329 ABD, DETROIT PH-DETROIT NO 1 230KV LINE | Continuous | GEN
21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2023 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | Continuous | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
21-01581 |  | 04/30/2021 16:15 | 03/31/2023 18:00 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | Continuous | BCHT, BCHW, NI
21-01767 | 10359382 | 06/30/2021 10:00 | 02/03/2023 16:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | Continuous | LOAD, RP, SIG, PA
22-03687 |  | 01/25/2022 19:08 | 01/31/2023 23:59 | AVA MOSCOW 230/115KV TRANSFORMER OOS | AVA MOSCOW 230/115KV TRANSFORMER OOS | Continuous
22-04192 | 11700469 | 02/08/2022 06:00 | 10/31/2023 17:30 | MINIDOKA PH: PCB 1972 | MINIDOKA PH: PCB 1972 | Continuous
22-07563 | 12651099 | 06/01/2022 00:01 | 05/31/2023 23:59 | COVINGTON: 500/230KV TRANSFORMER 4, DERATED | COVINGTON: 500/230KV TRANSFORMER 4, DERATED | Continuous | NOEL, RP, SIG, SOC, NI, WOCN
22-07562 | 12651113 | 06/01/2022 00:01 | 05/31/2023 23:59 | COVINGTON: 500/230KV TRANSFORMER 5, DERATED | COVINGTON: 500/230KV TRANSFORMER 5, DERATED | Continuous | NOEL, RP, SIG, SOC, NI, WOCN
22-13128 | 12651062 | 08/17/2022 08:00 | 05/31/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | Continuous | IROL, NOEL, SIG, SOC, WOCN
22-15672 | 12565152 | 10/24/2022 08:00 | 03/24/2023 16:00 | -CLARK PUD- 115KV PIONEER-CLARK SECTION OF PIONEER-ALCOA NO 1 115KV LINE | -CLARK PUD- 115KV PIONEER-CLARK SECTION OF PIONEER-ALCOA NO 1 115KV LINE | Continuous
22-15848 | 12589036 | 10/31/2022 00:00 | 03/31/2023 23:59 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | Continuous | LOAD, PA, SOA
22-15846 | 12589097 | 10/31/2022 00:00 | 03/31/2023 23:59 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | Continuous | PA
22-16300 | 12637365 | 10/31/2022 00:00 | 03/17/2023 23:59 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, -DERATE- | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, -DERATE- | Continuous
22-16301 | 12637406 | 10/31/2022 00:00 | 03/17/2023 23:59 | MARTIN CREEK-DRAIN NO 1 115KV LINE, -DERATE- | MARTIN CREEK-DRAIN NO 1 115KV LINE, -DERATE- | Continuous | EWEB, SLAL
22-16303 | 12637747 | 10/31/2022 00:00 | 03/17/2023 23:59 | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | Continuous | PA, RP
22-16314 | 12638795 | 11/01/2022 00:00 | 03/17/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | Continuous | SOB
22-16262 | 12632314 | 11/01/2022 00:00 | 03/31/2023 23:59 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | Continuous | LOAD, SI, PA, RP
22-16315 | 12638803 | 11/01/2022 00:00 | 03/17/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | Continuous | SOB
22-15952 | 12589118 | 11/01/2022 00:00 | 03/31/2023 23:59 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | Continuous | PA, RP
22-16316 | 12660845 | 11/01/2022 00:00 | 03/17/2023 23:59 | BOUNDARY-SACHEEN NO 1 230KV LINE, -DERATE- | BOUNDARY-SACHEEN NO 1 230KV LINE, -DERATE- | Continuous
22-07009 | 11704577 | 11/04/2022 16:00 | 01/03/2023 08:00 | LOWER MONUMENTAL: MOD 4317 INCLUDING PCB 4316 | LOWER MONUMENTAL: MOD 4317, LOWER MONUMENTAL: MOD 4317 INCLUDING PCB 4316, LOWER MONUMENTAL: PCB 4316 | Continuous | WOLM
22-16238 | 12627422 | 11/11/2022 15:00 | 01/21/2023 09:00 | LITTLE GOOSE: PCB 4350, INCLUDING MOD'S 4349, 4351 AND PH 1 LINE RISERS | LITTLE GOOSE: PCB 4350, INCLUDING MOD'S 4349, 4351 AND PH 1 LINE RISERS | Continuous | WOLM
22-09563 | 12192427 | 11/18/2022 16:00 | 01/09/2023 08:00 | LOWER GRANITE: PCB 4770, INCLUDING MOD 4771 | LOWER GRANITE: PCB 4770, INCLUDING MOD 4771 | Continuous | GEN, MT-NW, NOH, WOH, WOLM
22-10815 | 12083103 | 12/12/2022 06:30 | 12/28/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 11 | THE DALLES PH: 230/13.2KV BANK 11 | Continuous
23-00169 | 12192510 | 01/01/2023 08:00 | 01/01/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | Daily | RP, SOA
23-00900 | 12521586 | 01/02/2023 07:00 | 01/02/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-01050 | 12521586 | 01/02/2023 08:00 | 01/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily | WOH
23-00170 | 12192513 | 01/02/2023 08:00 | 01/02/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | Daily | RP, SOA
23-00901 | 12521586 | 01/03/2023 07:00 | 01/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00830 | 12495451 | 01/03/2023 07:30 | 01/03/2023 15:30 | LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331 | LONGVIEW-DONALD NYS SECTION OF LONGVIEW-ALLSTON NO 4 115KV LINE, LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331, LONGVIEW-MINT FARM NO 1 115KV LINE, LONGVIEW: 230/115KV TRANSFORMER 4, LONGVIEW: PCB B-2157, LONGVIEW: PCB B-336, LONGVIEW: PCB B-456, LONGVIEW: PCB B-347, LONGVIEW: PCB B-331, LONGVIEW: 115KV NORTH MAIN BUS | Continuous | LOAD, SOA, PA, RP
23-00463 | 12212656 | 01/03/2023 07:30 | 01/05/2023 16:00 | MCNARY: PCB 5198 BFR & BKR DIFFERNTIAL RELAYS | MCNARY: PCB 5198 BFR & BKR DIFFERNTIAL RELAYS | Continuous | WOM, COI, NWACI, PDCI
23-00781 | 12537220 | 01/03/2023 08:00 | 01/03/2023 16:00 | MARION: 500KV CAP GROUP 1 INCLUDING PCB 4331 | MARION: 500KV CAP GROUP 1, MARION: 500KV CAP GROUP 1 INCLUDING PCB 4331, MARION: PCB 4331 | Daily | COI, PDCI, WOCS, NWACI
23-00171 | 12192518 | 01/03/2023 08:00 | 01/03/2023 15:00 | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | Daily | RP, SOA
22-06943 | 11704598 | 01/03/2023 08:30 | 01/07/2023 15:00 | LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE INCLUDING: LOWER MONUMENTAL PCB 4316 AND 500KV WEST BUS | LOWER MONUMENTAL: PCB 4316, LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE INCLUDING: LOWER MONUMENTAL PCB 4316 AND 500KV WEST BUS, LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE, LOWER MONUMENTAL: 500KV WEST BUS | Continuous | WOLM, GEN, WOLM
23-00842 | 12495744 | 01/03/2023 15:30 | 01/26/2023 08:30 | LONGVIEW: PCB B-331 INCLUDING LONGVIEW-MINT FARM #1 115KV LINE (UNGROUNDED) AND 115KV AUX BUS | LONGVIEW: PCB B-331 INCLUDING LONGVIEW-MINT FARM #1 115KV LINE (UNGROUNDED) AND 115KV AUX BUS, LONGVIEW: PCB B-330, LONGVIEW: PCB B-331, LONGVIEW-MINT FARM #1 115KV LINE, LONGVIEW: 115KV AUX BUS | Continuous
23-00902 | 12521586 | 01/04/2023 07:00 | 01/04/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00782 | 12554473 | 01/04/2023 08:00 | 01/04/2023 16:00 | MARION: PCB 4368 | MARION: PCB 4368 | Daily | NWACI, PDCI, WOCS, COI
23-00903 | 12521586 | 01/05/2023 07:00 | 01/05/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-01214 | 12599176 | 01/05/2023 08:00 | 01/05/2023 15:00 | COSMOPOLIS: PCB B-1324 | COSMOPOLIS: PCB B-1324, COSMOPOLIS-ABERDEEN NO 1 115KV LINE | Continuous | PA, LOAD, SOA
23-00484 | 12219798 | 01/05/2023 10:15 | 01/05/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | Daily | GEN, NOH, WOCN
23-00485 | 12219803 | 01/05/2023 11:15 | 01/05/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | Continuous | GEN, NOH, WOCN
23-00881 | 12538188 | 01/05/2023 12:45 | 01/05/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | Daily | GEN, NOH, WOCN
23-00487 | 12219808 | 01/05/2023 13:45 | 01/05/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | Continuous | GEN, NOH, WOCN
23-00904 | 12521586 | 01/06/2023 07:00 | 01/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
22-07003 | 11704650 | 01/07/2023 16:00 | 01/30/2023 08:00 | LOWER MONUMENTAL: MOD 4343 | LOWER MONUMENTAL: MOD 4343 | Continuous
22-02103 | 10879173 | 01/09/2023 01:00 | 01/20/2023 20:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | Continuous | GEN, NOH, WOCN
23-00060 | 11238928 | 01/09/2023 06:30 | 01/09/2023 18:00 | GRAND COULEE-HANFORD NO 1 500KV LINE, INCLUDING HANFORD: 500KV SOUTH BUS AND PCB 4083 | HANFORD: 500KV SOUTH BUS, GRAND COULEE-HANFORD NO 1 500KV LINE, INCLUDING HANFORD: 500KV SOUTH BUS AND PCB 4083, HANFORD: PCB 4083 | Continuous | COI, NOH, NWACI, PDCI, WOS, BCHT, BCHW, GEN, NI, SIG, WOCN, WOM
23-00533 | 12289734 | 01/09/2023 07:00 | 01/12/2023 16:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458, GARRISON: PCB 4458 | Continuous | MT-NW
23-00905 | 12521629 | 01/09/2023 07:00 | 01/09/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00838 | 12445012 | 01/09/2023 07:00 | 01/27/2023 15:30 | ALVEY: 115kV BUS TIE PCB B-586 INCLUDING THE 115kV NORTH AUX BUS | ALVEY: PCB B-586, ALVEY: 115kV BUS TIE PCB B-586 INCLUDING THE 115kV NORTH AUX BUS, ALVEY: 115KV NORTH AUX BUS, ALVEY: 115KV SOUTH AUX BUS | Continuous
23-01047 | 12554493 | 01/09/2023 07:00 | 01/12/2023 16:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | Continuous | PA
23-01046 | 12554508 | 01/09/2023 07:00 | 01/12/2023 16:00 | SHELTON-SOUTH BREMERTON NO 1 230KV LINE | SHELTON-SOUTH BREMERTON NO 1 230KV LINE | Continuous
23-01047 | 12554493 | 01/09/2023 07:00 | 01/12/2023 16:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | Continuous | PA
22-15619 | 12588524 | 01/09/2023 07:30 | 01/09/2023 16:00 | PORT ANGELES: 115/69KV TRANSFORMER 1 RELAYS | PORT ANGELES: 115/69KV TRANSFORMER 1 RELAYS, PORT ANGELES: 115/69KV TRANSFORMER 1, PORT ANGELES: PCB B-646, PORT ANGELES: 69KV PCB L-946 | Continuous | PA, LOAD
23-00785 | 12537914 | 01/09/2023 08:00 | 01/09/2023 16:00 | BUCKLEY-MARION NO 1 500KV LINE, INCLUDING MARION 500KV NORTH BUS, 500KV REACTOR NO. 1, PCB'S 4012, 4371, & 4389 | BUCKLEY-MARION NO 1 500KV LINE, MARION: PCB 4355, MARION: PCB 4380, INCLUDING MARION 500KV NORTH BUS, 500KV REACTOR NO. 1, PCB'S 4012, 4371, & 4389, MARION: 500KV NORTH BUS, MARION: 500KV REACTOR 1, MARION: PCB 4012, MARION: PCB 4371, MARION: PCB 4389 | Continuous | NWACI, PDCI, SIG, WOCS, WOJD, COI
23-00216 | 11871526 | 01/09/2023 08:00 | 01/20/2023 16:00 | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, INCLUDING LOWER GRANITE PCB'S 4770 & 4772 | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, LOWER GRANITE: PCB 4770, INCLUDING LOWER GRANITE PCB'S 4770 & 4772, LOWER GRANITE: PCB 4772 | Continuous | GEN, GEN, MT-NW, NOH, WOH, WOLM, GEN, MT-NW, WOH, WOLM
23-00281 | 12143512 | 01/09/2023 08:00 | 01/09/2023 16:00 | BENTON-BAXTER SECTION OF BENTON-FRANKLIN NO.1 115KV LINE INCLUDING PCB B-542 AND 115KV AUX BUS (UNGROUNDED) | BENTON-BAXTER SECTION OF BENTON-FRANKLIN NO 1 115KV LINE, BENTON-BAXTER SECTION OF BENTON-FRANKLIN NO.1 115KV LINE INCLUDING PCB B-542 AND 115KV AUX BUS (UNGROUNDED), BENTON: 115KV AUX BUS, BENTON: PCB B-542 | Daily | TCLA, NWACI
23-00056 | 11238932 | 01/09/2023 08:00 | 03/03/2023 17:00 | HANFORD: MODS 4082 & 4084 CONTROL & INDICATION CIRCUITS | HANFORD: MODS 4082 & 4084 CONTROL & INDICATION CIRCUITS, HANFORD: PCB 4083 | Continuous | NOH, NWACI, PDCI, WOM, WOS
23-01052 | 12521629 | 01/09/2023 08:00 | 01/13/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily | WOH
23-01220 | 12660992 | 01/09/2023 08:30 | 01/13/2023 17:30 | MALIN: 4076/4077 TERMINAL OF , MALIN-ROUND MOUNTAIN NO 1 500KV LINE | MALIN: 4076/4077 TERMINAL OF , MALIN-ROUND MOUNTAIN NO 1 500KV LINE | Continuous | BCHT, BCHW, NI, NWACI, COI
23-00057 | 11238963 | 01/09/2023 18:00 | 03/02/2023 07:30 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084, HANFORD: PCB 4083, HANFORD: MOD 4082, HANFORD: MOD 4084 | Continuous | NOH, NWACI, PDCI, WOM, WOS
23-00906 | 12521629 | 01/10/2023 07:00 | 01/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-01108 | 12536897 | 01/10/2023 07:30 | 01/10/2023 16:00 | SATSOP: PCB A-619 | SATSOP: PCB A-619 | Continuous | GEN, LOAD, PA, SOA
23-00786 | 12555591 | 01/10/2023 08:00 | 01/10/2023 15:00 | MARION-SANTIAM NO 1 500KV LINE, INCLUDING SANTIAM 500/230KV BANK NO. 4, AND MARION PCB 4386 | MARION-SANTIAM NO 1 500KV LINE, SANTIAM: 500/230KV TRANSFORMER 4, MARION: PCB 4386, INCLUDING SANTIAM 500/230KV BANK NO. 4, AND MARION PCB 4386, MARION: PCB 4383, SANTIAM: PCB A-542 | Continuous | NWACI, PDCI, SIG, COI, WOCS
23-01422 | 12655216 | 01/10/2023 08:00 | 01/10/2023 17:00 | NASELLE: OXBOW-NASELLE SECTION OF THE HOLCOMB-NASELLE NO 1 115KV LINE INCLUDING PCB B-1716 AND THE 115KV AUX BUS | NASELLE: OXBOW-NASELLE SECTION OF THE HOLCOMB-NASELLE NO 1 115KV LINE INCLUDING PCB B-1716 AND THE 115KV AUX BUS, OXBOW-NASELLE SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE, NASELLE: PCB B-1716, NASELLE: 115KV AUX BUS | Continuous | PA
23-00907 | 12521629 | 01/11/2023 07:00 | 01/11/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
22-15626 | 12588792 | 01/11/2023 07:30 | 01/11/2023 16:00 | PORT ANGELES: 230/115KV TRANSFORMER 3 RELAYS | FAIRMOUNT-PORT ANGELES NO 1 230KV LINE, PORT ANGELES: 230/115KV TRANSFORMER 3 RELAYS, PORT ANGELES: 230/115KV TRANSFORMER 3, PORT ANGELES: PCB B-1205 | Continuous | PA, RP, LOAD
23-00908 | 12521629 | 01/12/2023 07:00 | 01/12/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
22-15627 | 12594047 | 01/12/2023 07:30 | 01/12/2023 16:00 | PORT ANGELES: 230/69KV TRANSFORMER 4 RELAYS | HAPPY VALLEY-PORT ANGELES SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE, PORT ANGELES: 230/69KV TRANSFORMER 4 RELAYS, PORT ANGELES: 230/69KV TRANSFORMER 4, PORT ANGELES: 69KV PCB L-979 | Continuous | RP, PA, LOAD
23-01084 | 12650156 | 01/12/2023 07:30 | 01/12/2023 16:00 | SANTIAM: 230KV MAIN BUS SECTIONALIZING PCB A-520 | SANTIAM: 230KV MAIN BUS SECTIONALIZING PCB A-520, SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1, SANTIAM: PCB A-502, SANTIAM: PCB A-504, SANTIAM: PCB A-542, SANTIAM: PCB A-520 | Continuous | COI, PDCI, NWACI
23-00269 | 12538110 | 01/12/2023 08:00 | 01/12/2023 10:00 | DWORSHAK: PCB 4652 | DWORSHAK: PCB 4652 | Daily | MT-NW
23-00271 | 12538114 | 01/12/2023 09:30 | 01/12/2023 11:30 | DWORSHAK: PCB 4666 | DWORSHAK: PCB 4666 | Daily | MT-NW, FCRPS
23-00909 | 12521629 | 01/13/2023 07:00 | 01/13/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00910 | 12521674 | 01/16/2023 07:00 | 01/16/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00534 | 12289735 | 01/16/2023 07:00 | 01/19/2023 16:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461, GARRISON: PCB 4461 | Continuous | MT-NW
23-01054 | 12521674 | 01/16/2023 08:00 | 01/20/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily | WOH
22-06014 | 11537545 | 01/16/2023 08:00 | 03/03/2023 17:00 | GRIZZLY: 500KV REACTOR 3 INCLUDING PCB 4038 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 INCLUDING PCB 4038 | Continuous | COI, NWACI, PDCI, COI, PDCI, NWACI
23-00104 |  | 01/16/2023 09:00 | 02/17/2023 19:00 | -IPC- HINES-WEST JOHN DAY(IPC) LINE | -IPC- HINES-WEST JOHN DAY(IPC) LINE | Continuous
23-01338 | 12638686 | 01/17/2023 06:30 | 01/17/2023 07:00 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | Continuous | GEN, FCRPS
23-01089 | 12622881 | 01/17/2023 07:00 | 01/17/2023 16:00 | ABERDEEN: 230/115KV TRANSFORMER 4 AND THE 115KV AUX BUS | SATSOP-ABERDEEN NO 2 230KV LINE, ABERDEEN: 230/115KV TRANSFORMER 4 AND THE 115KV AUX BUS, ABERDEEN: 230/115KV TRANSFORMER 4, ABERDEEN: 115KV AUX BUS | Continuous | LOAD, PA, SI
23-00911 | 12521674 | 01/17/2023 07:00 | 01/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00288 | 12119015 | 01/17/2023 08:00 | 01/17/2023 15:00 | WAUTOMA: PCB 5253 | WAUTOMA: PCB 5253 | Daily | WOCN
22-10486 | 11977140 | 01/18/2023 07:00 | 01/18/2023 15:00 | FAIRMOUNT: PCB A-1619 | FAIRMOUNT: PCB A-1619 | Continuous | PA, RP
23-00912 | 12521674 | 01/18/2023 07:00 | 01/18/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
22-11557 | 12661319 | 01/19/2023 07:00 | 01/19/2023 15:00 | OLYMPIA: BUS SECTIONALIZING PCB'S A-1777 AND A-1776 | OLYMPIA: PCB A-1777, OLYMPIA: BUS SECTIONALIZING PCB'S A-1777 AND A-1776, OLYMPIA: PCB A-1776 | Continuous | PA, RP, WOCN
23-00913 | 12483173 | 01/19/2023 07:00 | 01/19/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00291 | 12143292 | 01/19/2023 08:00 | 01/19/2023 15:00 | ASHE: PCB A-894 INCLUDING THE 230KV CAP GROUP 1 | ASHE: PCB A-894 INCLUDING THE 230KV CAP GROUP 1, ASHE: PCB A-894, ASHE: 230KV CAP GROUP 1 | Continuous | COI, NOH, PDCI, NWACI, TCLA
23-00272 | 12100504 | 01/19/2023 08:00 | 01/19/2023 10:00 | HATWAI: PCB 4700 | HATWAI: PCB 4700 | Daily | MT-NW, NOH, WOH, WOLM
23-00273 | 12100491 | 01/19/2023 10:00 | 01/19/2023 12:00 | HATWAI: PCB 4708 | HATWAI: PCB 4708 | Daily | MT-NW, NOH, WOH, WOLM
23-00488 | 12220287 | 01/19/2023 10:15 | 01/19/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | Daily | GEN, NOH, WOCN
23-00489 | 12220291 | 01/19/2023 11:15 | 01/19/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | Continuous | GEN, NOH, WOCN
23-00882 | 12538200 | 01/19/2023 12:45 | 01/19/2023 13:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | Daily | GEN, NOH, WOCN
23-00491 | 12220297 | 01/19/2023 13:45 | 01/19/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | Continuous | GEN, NOH, WOCN
23-00914 | 12521674 | 01/20/2023 07:00 | 01/20/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
22-03664 | 11289866 | 01/20/2023 22:30 | 01/20/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | Daily | GEN, NOH, WOCN
22-01883 |  | 01/21/2023 05:30 | 2023-01-28 17:00 | LITTLE GOOSE PH: INLAND P+L 13.8KV FEEDER 1 BY US CORPS ENGIN | LITTLE GOOSE PH: INLAND P+L 13.8KV FEEDER 1 BY US CORPS ENGIN | Daily
22-05800 | 11537529 | 01/21/2023 07:00 | 01/29/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028, GRIZZLY: 500KV REACTOR 3, GRIZZLY: PCB 4038, GRIZZLY: PCB 5028, GRIZZLY: PCB 5025, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE, PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA-SUMMER LAKE SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE | Continuous | SIG, COI, NWACI, PDCI, BCHT, BCHW, NI, COI, PDCI, NWACI, COI, NWACI, PDCI, NWACI, WOJD, COI, NWACI, PDCI, COI, SIG, COI, NWACI, PDCI, COI, PDCI, NWACI, SIG, COI, NWACI, PDCI, BCHT, BCHW, NI
22-13656 | 12334108 | 01/21/2023 08:00 | 01/28/2023 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | LITTLE GOOSE: PCB 4348, LITTLE GOOSE: 4349/4351 TERMINAL OF, LITTLE GOOSE: PCB 4350, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | Continuous | WOLM, GEN
23-00205 | 11941432 | 01/21/2023 09:00 | 01/28/2023 15:00 | LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, INCLUDING LITTLE GOOSE PCBs 4348 & 4350 | LITTLE GOOSE: PCB 4350, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, INCLUDING LITTLE GOOSE PCBs 4348 & 4350, LITTLE GOOSE: PCB 4348 | Continuous | WOLM, GEN
23-00915 | 12521892 | 01/23/2023 07:00 | 01/23/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00535 | 12289749 | 01/23/2023 07:00 | 01/26/2023 16:00 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4468 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4468, GARRISON: PCB 4468 | Continuous | MT-NW
23-00233 | 12142457 | 01/23/2023 08:00 | 01/26/2023 15:00 | SICKLER: PCB 4334, BFR | SICKLER: PCB 4334, BFR | Continuous | BCHT, BCHW, CI, GEN, NOH, WOCN
23-01125 | 12532739 | 01/23/2023 08:00 | 02/03/2023 16:00 | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES, MURRAY HILL (PGE)-SHERWOOD NO 1 230KV LINE, MURRAY HILL (PGE)-SHERWOOD NO 2 230KV LINE | Continuous | SOA
23-01055 | 12521892 | 01/23/2023 08:00 | 01/27/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily | WOH
23-00618 | 12371939 | 01/23/2023 08:00 | 01/25/2023 15:00 | Olympia: 230/115kv Transformer Bank #1 including PCB's B-682 and A-218 | Olympia: 230/115kv Transformer Bank #1 including PCB's B-682 and A-218, OLYMPIA: 230/115KV TRANSFORMER 1 | Continuous
23-01280 |  | 01/23/2023 08:30 | 01/27/2023 17:30 | PG&E - MALIN-ROUND MOUNTAIN 2 500KV LINE | PG&E - MALIN-ROUND MOUNTAIN 2 500KV LINE, MALIN-ROUND MOUNTAIN NO 2 500KV LINE | Continuous | BCHT, BCHW, NI, NWACI
23-01279 | 12618628 | 01/23/2023 08:30 | 01/23/2023 10:00 | MALIN: PCB 4582, MALIN: PCB 4072 | MALIN: PCB 4582, MALIN: PCB 4072 | Continuous | NWACI, PDCI, COI
23-00916 | 12521892 | 01/24/2023 07:00 | 01/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00917 | 12521892 | 01/25/2023 07:00 | 01/25/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00918 | 12521892 | 01/26/2023 07:00 | 01/26/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00880 | 12496324 | 01/26/2023 08:30 | 01/26/2023 16:00 | LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331 | LONGVIEW-DONALD NYS SECTION OF LONGVIEW-ALLSTON NO 4 115KV LINE, LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCB B-331, LONGVIEW-MINT FARM NO 1 115KV LINE, LONGVIEW: 230/115KV TRANSFORMER 4, LONGVIEW: PCB B-2157, LONGVIEW: PCB B-336, LONGVIEW: PCB B-456, LONGVIEW: PCB B-347, LONGVIEW: PCB B-331, LONGVIEW: 115KV NORTH MAIN BUS | Continuous | LOAD, SOA, PA, RP
23-00279 | 11943455 | 01/26/2023 12:00 | 01/26/2023 13:00 | RAVER: PCB 4314 | RAVER: PCB 4314 | Daily | NOEL, RP, SOC
23-00280 | 11943464 | 01/26/2023 13:00 | 01/26/2023 14:00 | RAVER: PCB 4311 | RAVER: PCB 4311 | Daily | NOEL, RP, SOC, WOCN
23-00919 | 12521892 | 01/27/2023 07:00 | 01/27/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-01281 | 12618629 | 01/27/2023 16:30 | 01/27/2023 17:30 | MALIN: PCB 4582, MALIN: PCB 4072 | MALIN: PCB 4582, MALIN: PCB 4072 | Continuous | NWACI, PDCI, COI
23-00920 | 12522022 | 01/30/2023 07:00 | 01/30/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00536 | 12289754 | 01/30/2023 07:00 | 02/02/2023 16:00 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4469 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4469, GARRISON: PCB 4469 | Continuous | MT-NW
23-01072 | 12555616 | 01/30/2023 07:30 | 01/31/2023 15:00 | MARION: PCB 4389 | MARION: PCB 4389 | Continuous | NWACI, PDCI, WOCS, COI
23-01081 | 12566569 | 01/30/2023 07:30 | 01/30/2023 14:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-106 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-106, LONGVIEW: 230KV SOUTH MAIN BUS, LONGVIEW: PCB A-98, LONGVIEW: PCB A-640, LONGVIEW: PCB A-100, LONGVIEW: PCB A-104, LONGVIEW: PCB A-106, LONGVIEW: PCB A-1960, LONGVIEW-ALLSTON NO 1 230KV LINE, LONGVIEW-ALLSTON NO 2 230KV LINE, LONGVIEW: 230/69KV TRANSFORMER 1, LONGVIEW: 230/115KV TRANSFORMER 3, LONGVIEW: PCB B-328 | Continuous | SOA, PA, LOAD
23-00222 | 11873044 | 01/30/2023 08:00 | 02/01/2023 15:00 | WARNER: PCB B-133 INCLUDING 115KV CAP GRP 1 | WARNER: PCB B-133, WARNER: PCB B-133 INCLUDING 115KV CAP GRP 1, WARNER: 115KV CAP GROUP 1 | Continuous
23-00396 | 12327419 | 01/30/2023 08:00 | 01/30/2023 15:00 | ASHE: PCB 4937 | ASHE: PCB 4937 | Daily | NOH, NWACI, PDCI, COI, FCRPS
23-00108 | 12633410 | 01/30/2023 08:00 | 01/30/2023 16:30 | GRIZZLY: PCB 5040 | GRIZZLY: PCB 5040 | Daily | NWACI, WOJD, COI
23-00382 | 12182225 | 01/30/2023 08:00 | 02/02/2023 16:00 | LOWER GRANITE: PCB 4776 | LOWER GRANITE: PCB 4776, LOWER GRANITE: PCB 4776 RELAYS | Continuous | MT-NW, WOH, WOLM, GEN
23-01057 | 12522022 | 01/30/2023 08:00 | 02/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily | WOH
22-07006 | 11705524 | 01/30/2023 08:30 | 02/03/2023 15:00 | LOWER MONUMENTAL 500KV WEST BUS INCLUDING LOWER MONUMENTAL PH #1 500KV LINE STUB BUS AND MOD 4343 | LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE, LOWER MONUMENTAL 500KV WEST BUS INCLUDING LOWER MONUMENTAL PH #1 500KV LINE STUB BUS AND MOD 4343, LOWER MONUMENTAL: 500KV WEST BUS | Continuous | GEN, WOLM
23-01107 | 12570115 | 01/30/2023 14:00 | 02/23/2023 08:30 | LONGVIEW: PCB A-106 INCLUDING 230/115KV TRANSFORMER #3 AND 230KV SOUTH AUX BUS | LONGVIEW: PCB A-106 INCLUDING 230/115KV TRANSFORMER #3 AND 230KV SOUTH AUX BUS, LONGVIEW: PCB A-106, LONGVIEW: PCB B-328, LONGVIEW: 230/115KV TRANSFORMER 3 | Continuous | SOA, PA, LOAD
23-00921 | 12522022 | 01/31/2023 07:00 | 01/31/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | Daily
23-00397 | 12327426 | 01/31/2023 08:00 | 01/31/2023 15:00 | ASHE: PCB 4940 | ASHE: PCB 4940 | Continuous | NWACI, WOCS, WOJD, WOM, COI, FCRPS