## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Status | Path Affected
1 | 20-00289 | 11706255 | 01/22/2020 10:30 | 03/31/2023 17:00 | DETROIT: A-329 TERMINAL | DETROIT: A-329 TERMINAL , DETROIT: A-329 ABD, DETROIT PH-DETROIT NO 1 230KV LINE | ACTIVE | GEN
2 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2025 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | ACTIVE | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
3 | 21-01581 |  | 04/30/2021 16:15 | 03/31/2023 18:00 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | ACTIVE | BCHT, BCHW, NI
4 | 21-01767 | 10359382 | 06/30/2021 10:00 | 04/28/2023 16:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | ACTIVE | LOAD, RP, SIG, PA
5 | 21-01633 | 12752158 | 12/22/2021 08:30 | 04/28/2023 15:30 | GOLDENDALE: LBD B-494 | GOLDENDALE: LBD B-494 | ACTIVE
6 | 22-04192 | 11700469 | 02/08/2022 06:00 | 10/31/2023 17:30 | MINIDOKA PH: PCB 1972 | MINIDOKA PH: PCB 1972 | ACTIVE
7 | 22-06746 | 11593785 | 04/06/2022 06:30 | 12/28/2023 15:00 | CONKELLEY: LBD A-1575 INCLUDING 230KV CAP GROUP 2 SECTION 1 | CONKELLEY: LBD A-1575 INCLUDING 230KV CAP GROUP 2 SECTION 1, CONKELLEY: 230KV CAP GROUP 2 SECTION 1 | ACTIVE | MT-NW
8 | 22-06836 | 11597875 | 04/06/2022 12:25 | 05/31/2023 15:00 | OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8 | OSTRANDER-TROUTDALE NO 1 500KV LINE, OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8, TROUTDALE: 500/230KV TRANSFORMER 8 | ACTIVE | SIG, SOA, WOCS, SIG, WOCS, SOA
9 | 22-13128 | 12651062 | 08/17/2022 08:00 | 05/31/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | ACTIVE | IROL, NOEL, SIG, SOC, WOCN
10 | 22-15672 | 12565152 | 10/24/2022 08:00 | 03/24/2023 16:00 | -CLARK PUD- 115KV PIONEER-CLARK SECTION OF PIONEER-ALCOA NO 1 115KV LINE | -CLARK PUD- 115KV PIONEER-CLARK SECTION OF PIONEER-ALCOA NO 1 115KV LINE | ACTIVE
11 | 22-16300 | 12637365 | 10/31/2022 00:00 | 03/17/2023 23:59 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, -DERATE- | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, -DERATE- | ACTIVE
12 | 22-15846 | 12589097 | 10/31/2022 00:00 | 03/31/2023 23:59 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ACTIVE | PA
13 | 22-16301 | 12637406 | 10/31/2022 00:00 | 03/17/2023 23:59 | MARTIN CREEK-DRAIN NO 1 115KV LINE, -DERATE- | MARTIN CREEK-DRAIN NO 1 115KV LINE, -DERATE- | ACTIVE | EWEB, SLAL
14 | 22-15848 | 12589036 | 10/31/2022 00:00 | 03/31/2023 23:59 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | ACTIVE | LOAD, PA, SOA
15 | 22-16303 | 12637747 | 10/31/2022 00:00 | 03/17/2023 23:59 | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ACTIVE | PA, RP
16 | 22-16316 | 12660845 | 11/01/2022 00:00 | 03/17/2023 23:59 | BOUNDARY-SACHEEN NO 1 230KV LINE, -DERATE- | BOUNDARY-SACHEEN NO 1 230KV LINE, -DERATE- | ACTIVE
17 | 22-16315 | 12638803 | 11/01/2022 00:00 | 03/17/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | ACTIVE | SOB
18 | 22-16314 | 12638795 | 11/01/2022 00:00 | 03/17/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | ACTIVE | SOB
19 | 22-16262 | 12632314 | 11/01/2022 00:00 | 03/31/2023 23:59 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | ACTIVE | LOAD, SI, PA, RP
20 | 22-15952 | 12589118 | 11/01/2022 00:00 | 03/31/2023 23:59 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ACTIVE | PA, RP
21 | 22-16463 | 12662288 | 11/02/2022 15:00 | 03/17/2023 23:58 | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | ACTIVE | TCLA
22 | 22-16460 | 12662216 | 11/02/2022 15:00 | 03/17/2023 23:58 | CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | ACTIVE | TCLA
23 | 22-16471 | 12662371 | 11/02/2022 15:00 | 03/17/2023 23:58 | ABERDEEN: 230/115KV TRANSFORMER 5, -DERATE- | ABERDEEN: 230/115KV TRANSFORMER 5, -DERATE- | ACTIVE | PA, LOAD
24 | 22-16468 | 12662365 | 11/02/2022 15:00 | 03/17/2023 23:58 | ABERDEEN: 230/115KV TRANSFORMER 4, -DERATE- | ABERDEEN: 230/115KV TRANSFORMER 4, -DERATE- | ACTIVE | PA, LOAD
25 | 22-16466 | 12662359 | 11/02/2022 15:00 | 03/17/2023 23:58 | DIXON-RATTLESNAKE SECTION OF HOT SPRINGS-RATTLESNAKE NO 1 230KV LINE | DIXON-RATTLESNAKE SECTION OF HOT SPRINGS-RATTLESNAKE NO 1 230KV LINE | ACTIVE | MT-NW
26 | 22-16461 | 12662227 | 11/02/2022 15:00 | 03/17/2023 23:58 | MESA-CONNELL SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | MESA-CONNELL SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | ACTIVE | TCLA
27 | 22-16462 | 12662245 | 11/02/2022 15:00 | 03/17/2023 23:58 | RINGOLD-MESA SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | RINGOLD-MESA SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | ACTIVE | TCLA
28 | 22-17044 | 12730571 | 11/16/2022 14:00 | 11/16/2023 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | ACTIVE | NWACI, PDCI, COI
29 | 22-17110 | 12740969 | 11/18/2022 13:00 | 03/31/2023 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 LINE RUNNING AT 230KV | ROCKY REACH-MAPLE VALLEY NO 1 LINE RUNNING AT 230KV, ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | ACTIVE | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
30 | 22-17108 | 12740983 | 11/18/2022 13:00 | 03/31/2023 23:55 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | ACTIVE | NOEL, SOC, WOCN, IROL
31 | 22-17286 | 12810179 | 12/06/2022 17:01 | 03/31/2023 12:00 | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS, RICHLAND: 115KV CAP GROUP 1 SECTION 1, RICHLAND: 115KV CAP GROUP 1 SECTION 2, RICHLAND: LBD B-287, RICHLAND: LBD B-311, RICHLAND: B-287 CAP GROUP 1 SECTION 1 DISC, RICHLAND: B-311 CAP GROUP 1 SECTION 2 DISC, RICHLAND: 115KV REACTIVE BUS | ACTIVE | TCLA, LOAD
32 | 22-17719 | 12858498 | 12/15/2022 15:30 | 03/13/2023 23:59 | MAUPIN-REDMOND NO 1 230KV LINE, (LINE RATING- AWAITING UPDATE TO FACILITIES RATING) | MAUPIN-REDMOND NO 1 230KV LINE, (LINE RATING- AWAITING UPDATE TO FACILITIES RATING) | APPROVED
33 | 22-17718 | 12858492 | 12/15/2022 15:30 | 03/13/2023 23:59 | BIG EDDY-MAUPIN NO 1 230KV LINE, (LINE RATING- AWAITING UPDATE TO FACILITIES RATING) | BIG EDDY-MAUPIN NO 1 230KV LINE, (LINE RATING- AWAITING UPDATE TO FACILITIES RATING) | APPROVED
34 | 23-00056 | 11238932 | 01/09/2023 08:00 | 03/03/2023 17:00 | HANFORD: MODS 4082 & 4084 CONTROL & INDICATION CIRCUITS | HANFORD: MODS 4082 & 4084 CONTROL & INDICATION CIRCUITS, HANFORD: PCB 4083 | ACTIVE | NOH, NWACI, PDCI, WOM, WOS
35 | 23-01570 | 12684663 | 01/09/2023 15:00 | 03/04/2023 15:00 | JOHN DAY: PCB 4134, INCLUDING MOD 4133 | JOHN DAY: PCB 4134, JOHN DAY: MOD 4133, INCLUDING MOD 4133 | ACTIVE | NWACI, WOJD
36 | 23-00057 | 11238963 | 01/09/2023 18:00 | 03/02/2023 07:30 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084, HANFORD: PCB 4083, HANFORD: MOD 4082, HANFORD: MOD 4084 | ACTIVE | NOH, NWACI, PDCI, WOM, WOS
37 | 23-02995 | 12948420 | 01/25/2023 08:00 | 03/22/2023 15:00 | KITSAP: B-954 TERMINAL OF THE KITSAP-BANGOR #1 115KV LINE | KITSAP: B-954 TERMINAL OF THE KITSAP-BANGOR #1 115KV LINE, KITSAP: PCB B-954, KITSAP-BANGOR NO 1 115KV LINE | UNDER REVIEW | RP
38 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E - TABLE MOUNTAIN SERIES CAP 1 (ROUND MOUNTAIN-TABLE MOUNTAIN #1 500KV LINE) | PG&E - TABLE MOUNTAIN SERIES CAP 1 (ROUND MOUNTAIN-TABLE MOUNTAIN #1 500KV LINE) | RECEIVED | COI, NWACI
39 | 23-03222 | 11461724 | 02/10/2023 15:30 | 10/19/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | RECEIVED | NWACI, COI
40 | 22-09839 | 12949016 | 02/13/2023 07:30 | 03/17/2023 16:00 | INTALCO: 230/13.8KV TRANSFORMER 7 INCLUDING 13.8KV PCB'S L-513 AND L-530, CAP GROUP 7, GROUNDING BANK 7, FEEDER 7 METERING PT'S AND ALCOA 13.8KV FEEDER 7 | INTALCO: 230/13.8KV TRANSFORMER 7, INTALCO: 230/13.8KV TRANSFORMER 7 INCLUDING 13.8KV PCB'S L-513 AND L-530, CAP GROUP 7, GROUNDING BANK 7, FEEDER 7 METERING PT'S AND ALCOA 13.8KV FEEDER 7, INTALCO: 13.8KV PCB L-513, INTALCO: 13.8KV PCB L-530, INTALCO: 13.8KV CAP GROUP 7, INTALCO: 13.8KV GROUNDING TRANSFORMER 7, INTALCO: ALCOA 13.8KV FEEDER 7 | RECEIVED
41 | 23-00103 |  | 02/18/2023 09:00 | 03/31/2023 18:30 | -IPC- QUARTZ-WEST JOHN DAY(IPC) LINE | -IPC- QUARTZ-WEST JOHN DAY(IPC) LINE | APPROVED
42 | 23-00615 | 12347620 | 02/20/2023 08:00 | 03/02/2023 15:00 | BELL: PCB 5316, BFR | BELL: PCB 5316, BFR | RECEIVED | MT-NW, WOH
43 | 23-00734 | 12593749 | 02/27/2023 07:00 | 03/01/2023 15:30 | SNO-KING: 115kV Snohomish County PUD 3 Line Relays and B-1582 BFR | SNO-KING: 115kV Snohomish County PUD 3 Line Relays and B-1582 BFR, SNO-KING: PCB B-1582 | APPROVED
44 | 23-00534 | 12289735 | 02/27/2023 07:00 | 03/02/2023 16:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, GARRISON: PCB 4461 | RECEIVED | MT-NW
45 | 23-00225 | 11873003 | 02/27/2023 08:00 | 03/01/2023 15:00 | HILLTOP: PCB A-1539 INCLUDING 230KV REACTOR 1 | HILLTOP: PCB A-1539, HILLTOP: PCB A-1539 INCLUDING 230KV REACTOR 1, HILLTOP: 230KV REACTOR 1 | UNDER REVIEW | COI, PDCI, RATS, NWACI
46 | 23-01066 | 12525767 | 02/27/2023 08:00 | 03/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | APPROVED | WOH
47 | 23-00384 | 12192013 | 02/27/2023 08:00 | 03/02/2023 16:00 | LOWER GRANITE: PCB 4772, BFR | LOWER GRANITE: PCB 4772, BFR | RECEIVED | GEN, MT-NW, WOH, WOLM
48 | 23-03341 | 12965142 | 02/27/2023 08:00 | 03/02/2023 17:00 | BIG EDDY: 230/115KV TRANSFORMER 1 | BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: PCB A-802, BIG EDDY: PCB B-1060, BIG EDDY: 13.2KV PCB L-1468, BIG EDDY: 13.2KV PCB L-1466 | UNDER REVIEW | GEN, WOJD, BGEDY, PDCI
49 | 23-00829 | 12460906 | 02/27/2023 08:00 | 03/02/2023 16:00 | PEARL: 230KV MAIN BUS SECTIONALIZING PCB A-1192 | PEARL: 230KV MAIN BUS SECTIONALIZING PCB A-1192, PEARL: PCB A-1192 | UNDER REVIEW | SOA
50 | 23-00266 | 12105207 | 02/27/2023 08:00 | 03/02/2023 15:00 | CHIEF JOSEPH: PCB 4728 BFR | CHIEF JOSEPH: PCB 4728 BFR | RECEIVED | NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
51 | 23-00133 | 12690435 | 02/28/2023 08:00 | 03/01/2023 15:00 | HARNEY: PCB B-1709 INCLUDING 115KV REACTIVE GROUP 1 REACTOR 1 | HARNEY: PCB B-1709, HARNEY: PCB B-1709 INCLUDING 115KV REACTIVE GROUP 1 REACTOR 1, HARNEY: 115KV REACTIVE GROUP 1 REACTOR 1 | UNDER REVIEW
52 | 23-03583 | 12974959 | 02/28/2023 08:00 | 03/01/2023 18:00 | CANAL (SCL)-VIEWLAND 115KV LINE | CANAL (SCL)-VIEWLAND 115KV LINE, SCL Viewland Bank 110, SCL Viewland BKR 120-100, SCL Viewland BKR 120-102 | RECEIVED | NOEL, SOC
53 | 23-01542 | 12731222 | 03/01/2023 07:00 | 03/01/2023 17:00 | LEXINGTON: PCB B-1472 INCLUDING LEXINGTON-COWLITZ CO PUD 115KV FEEDER 4 AND THE LEXINGTON 115KV AUX BUS | LEXINGTON: COWLITZ CO PUD 115KV FEEDER 4, LEXINGTON: PCB B-1472 INCLUDING LEXINGTON-COWLITZ CO PUD 115KV FEEDER 4 AND THE LEXINGTON 115KV AUX BUS, LEXINGTON: PCB B-1472, LEXINGTON: 115KV AUX BUS | UNDER REVIEW | SOA
54 | 23-00691 | 12570333 | 03/01/2023 08:00 | 03/02/2023 16:00 | VANTAGE: PCB 5351, BFR | VANTAGE: PCB 5351, BFR | RECEIVED | NOH
55 | 23-00343 | 12515358 | 03/01/2023 08:00 | 03/02/2023 15:00 | HILLTOP: PCB A-1529 | HILLTOP: PCB A-1529 | UNDER REVIEW | COI, PDCI, RATS, NWACI
56 | 23-02407 | 12889320 | 03/01/2023 08:30 | 03/01/2023 16:00 | FOREST GROVE: PCB B-1284 | FOREST GROVE: PCB B-1284, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 1 | APPROVED
57 | 23-00502 | 12232085 | 03/01/2023 10:15 | 03/01/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | RECEIVED | GEN, NOH, WOCN
58 | 23-00503 | 12232259 | 03/01/2023 11:15 | 03/01/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | RECEIVED | GEN, NOH, WOCN
59 | 23-00506 | 12290117 | 03/01/2023 14:45 | 03/01/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | RECEIVED | GEN, NOH, WOCN
60 | 23-00885 | 12570341 | 03/01/2023 15:45 | 03/01/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | RECEIVED | GEN, NOH, WOCN
61 | 23-00546 | 12269462 | 03/01/2023 21:00 | 03/02/2023 06:00 | Ringold to B-301 section of the Benton Scooteney No 1 115 Kv line including Mesa Tap and Mesa 115Kv and 13.8 kv Busses | Ringold to B-301 section of the Benton Scooteney No 1 115 Kv line including Mesa Tap and Mesa 115Kv and 13.8 kv Busses, RINGOLD-MESA SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, MESA-CONNELL SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, MESA: BIG BEND COOP 115KV FEEDER 1 | UNDER REVIEW | TCLA
62 | 23-02660 | 12862789 | 03/02/2023 07:00 | 03/02/2023 12:00 | MORROW FLAT: PCB: B-2221 | MORROW FLAT: PCB: B-2221 | UNDER REVIEW | WOM
63 | 22-11557 | 12661319 | 03/02/2023 07:00 | 03/02/2023 15:00 | OLYMPIA: BUS SECTIONALIZING PCB'S A-1777 AND A-1776 | OLYMPIA: PCB A-1777, OLYMPIA: BUS SECTIONALIZING PCB'S A-1777 AND A-1776, OLYMPIA: PCB A-1776 | UNDER REVIEW | PA, RP, WOCN
64 | 23-00058 | 11238985 | 03/02/2023 07:30 | 03/02/2023 16:00 | GRAND COULEE-HANFORD NO 1 500KV LINE, INCLUDING HANFORD PCB 4083 | HANFORD: PCB 4083, GRAND COULEE-HANFORD NO 1 500KV LINE, INCLUDING HANFORD PCB 4083 | RECEIVED | NOH, NWACI, PDCI, WOM, WOS, BCHT, BCHW, GEN, NI, SIG, COI, WOCN
65 | 23-00795 | 12489468 | 03/02/2023 08:00 | 03/02/2023 16:00 | SANTIAM: 230KV EAST MAIN BUS | SANTIAM: 230KV EAST MAIN BUS, SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1, DETROIT-SANTIAM NO 1 230KV LINE, SANTIAM-CHEMAWA NO 1 230KV LINE, SANTIAM: PCB A-502, SANTIAM: PCB A-504, SANTIAM: PCB A-542, SANTIAM: PCB A-540, SANTIAM: PCB A-536, SANTIAM: PCB A-534, SANTIAM: PCB A-520 | UNDER REVIEW | COI, PDCI, NWACI, GEN, FCRPS, WOCS, SWORE, SIG
66 | 23-00134 | 12731003 | 03/02/2023 08:00 | 03/02/2023 15:00 | HARNEY: PCB B-1710 | HARNEY: PCB B-1710 | APPROVED | NWACI
67 | 23-03582 | 12974999 | 03/02/2023 08:00 | 03/03/2023 18:00 | SCL Shoreline - SCL Viewland 115kV Line, SCL Viewland Bank 111, SCL Viewland BKR 120-100, SCL Viewland BKR 120-101 | SCL Shoreline - SCL Viewland 115kV Line, SCL Viewland Bank 111, SCL Viewland BKR 120-100, SCL Viewland BKR 120-101 | RECEIVED | SOC, NOEL
68 | 23-00596 | 12346005 | 03/02/2023 08:00 | 03/02/2023 15:00 | BELL-AVA BEACON NO 5 230KV LINE INCLUDING BELL PCB A-570 | BELL-AVA BEACON NO 5 230KV LINE, BELL-AVA BEACON NO 5 230KV LINE INCLUDING BELL PCB A-570, BELL: PCB A-570, BELL: PCB A-552 BUS TIE RELAYS | UNDER REVIEW | WOH, MT-NW
69 | 23-01080 | 12570175 | 03/02/2023 08:00 | 03/02/2023 10:00 | MARION: PCB 4386 | MARION: PCB 4386 | APPROVED | NWACI, PDCI, WOCS, COI
70 | 23-01124 | 12570184 | 03/02/2023 10:00 | 03/02/2023 12:00 | MARION: PCB 4389 | MARION: PCB 4389 | APPROVED | NWACI, PDCI, WOCS, COI
71 | 23-01004 | 12799236 | 03/02/2023 10:30 | 03/02/2023 12:30 | DE MOSS: PCB B-2072 | DE MOSS: PCB B-2072 | APPROVED
72 | 23-02662 | 12862794 | 03/02/2023 12:00 | 03/02/2023 16:00 | MORROW FLAT: PCB B-2224 | MORROW FLAT: PCB B-2224 | UNDER REVIEW | WOM
73 | 23-00076 | 12880310 | 03/02/2023 16:00 | 03/03/2023 07:30 | HANFORD: MOD 4082 | HANFORD: MOD 4082, HANFORD: PCB 4083 | RECEIVED | NOH, NWACI, PDCI, WOM, WOS
74 | 23-00059 | 11239058 | 03/03/2023 07:30 | 03/03/2023 16:00 | HANFORD: 500KV SOUTH BUS INCLUDING PCB 4083 | HANFORD: 500KV SOUTH BUS INCLUDING PCB 4083, HANFORD: 500KV SOUTH BUS, HANFORD: PCB 4083 | RECEIVED | COI, NOH, NWACI, PDCI, WOS, WOM
75 | 23-00075 | 11220278 | 03/04/2023 07:00 | 03/05/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | RECEIVED | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS
76 | 23-01571 | 12684681 | 03/04/2023 08:00 | 03/04/2023 15:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING JOHN DAY PCB 4134 AND BAKEOVEN: 500KV SERIES CAP GROUP 2 - UNGROUNDED | JOHN DAY-GRIZZLY NO 2 500KV LINE, JOHN DAY: PCB 4134, INCLUDING JOHN DAY PCB 4134 AND BAKEOVEN: 500KV SERIES CAP GROUP 2 - UNGROUNDED, BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2 | RECEIVED | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
77 | 23-01660 | 12734989 | 03/05/2023 13:00 | 03/09/2023 17:00 | -USBR- GRAND COULEE 230KV MAIN BUS SECTION 1B SECTIONALIZING PCB 6084 AND M/B SECT LOR'S | -USBR- GRAND COULEE 230KV MAIN BUS SECTION 1B SECTIONALIZING PCB 6084 AND M/B SECT LOR'S, GRAND COULEE: PCB 6084, GRAND COULEE: PCB 5886, GRAND COULEE: PCB 5782, GRAND COULEE: PCB 5686, GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5286, GRAND COULEE: PCB 5182 | UNDER REVIEW | NOH, WOCN, COI, NWACI, PDCI
78 | 23-00775 | 12536976 | 03/06/2023 06:30 | 03/10/2023 17:30 | WAUTOMA: 500KV EAST BUS INCLUDING 500KV REACTOR 1 AND PCB 5236 | WAUTOMA: 500KV EAST BUS INCLUDING 500KV REACTOR 1 AND PCB 5236, WAUTOMA: 500KV EAST BUS, WAUTOMA: PCB 5236, WAUTOMA: 500KV REACTOR 1 | RECEIVED | WOCN, NWACI, COI
79 | 23-00526 | 12231513 | 03/06/2023 07:00 | 03/07/2023 16:00 | RAVER: PCB 4293 | RAVER: PCB 4293 | RECEIVED | NOEL, RP, SOC, WOCN
80 | 23-00533 | 12289734 | 03/06/2023 07:00 | 03/09/2023 16:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2, GARRISON: PCB 4458 | RECEIVED | MT-NW
81 | 23-01347 | 12981147 | 03/06/2023 07:00 | 03/07/2023 16:00 | MCNARY: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-3024 | MCNARY: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-3024, MCNARY: PCB A-3024, MCNARY: 230KV CAP GROUP 1 SECTION 1 | SUBMITTED | LOAD
82 | 23-01075 | 12570350 | 03/06/2023 07:30 | 03/07/2023 15:00 | MARION: PCB 4368 | MARION: PCB 4368 | RECEIVED | NWACI, PDCI, WOCS, COI
83 | 23-00752 | 12489702 | 03/06/2023 07:30 | 03/06/2023 15:00 | ROSS: PCB B-10 | ROSS: PCB B-10 | APPROVED
84 | 23-01067 | 12525803 | 03/06/2023 08:00 | 03/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | APPROVED | WOH
85 | 23-02019 | 12824770 | 03/06/2023 08:00 | 03/10/2023 17:00 | BIG EDDY: 115KV MAIN BUS SECTION 1 INCLUDING PCBS B-1696, B-1692 AND B-1046 | BIG EDDY: 115KV MAIN BUS SECTION 1 INCLUDING PCBS B-1696, B-1692 AND B-1046, BIG EDDY-SEUFERT SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE, BIG EDDY: PCB B-1696, BIG EDDY: PCB B-1692, BIG EDDY: 115KV MAIN BUS SECTION 1 | UNDER REVIEW | BGEDY, CI, GEN, LOAD
86 | 23-01887 | 12810191 | 03/06/2023 08:00 | 03/09/2023 15:00 | LANCASTER: PCB A-1561 RELAYS | LANCASTER: PCB A-1561 RELAYS, LANCASTER: PCB A-1561 | UNDER REVIEW | WOH
87 | 23-00802 | 12570453 | 03/06/2023 08:00 | 03/09/2023 16:00 | PEARL: PCB 4283 | PEARL: PCB 4283 | RECEIVED | SOA
88 | 23-00434 | 12156053 | 03/06/2023 08:00 | 03/08/2023 15:00 | BIG EDDY: PCB 4860 | BIG EDDY: PCB 4860 | RECEIVED | NWACI, PDCI, WOJD, COI, BGEDY
89 | 23-03531 |  | 03/06/2023 08:00 | 03/30/2023 18:00 | SCL, BOTHELL: 230/115KV TRANSFORMER 61 | SCL, BOTHELL: 230/115KV TRANSFORMER 61 | RECEIVED | LOAD, NOEL, SOC
90 | 23-00226 | 12105220 | 03/06/2023 08:00 | 03/09/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972 | RECEIVED | NWACI, PDCI, COI
91 | 23-00402 | 12143727 | 03/06/2023 08:00 | 04/06/2023 15:00 | MIDWAY: 115KV EAST MAIN BUS INCLUDING MIDWAY 115KV AUX BUS, PCB B-146 AND MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | MIDWAY: PCB B-146, MIDWAY: 115KV EAST MAIN BUS INCLUDING MIDWAY 115KV AUX BUS, PCB B-146 AND MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, MIDWAY: 115KV AUX BUS | UNDER REVIEW | TCLA, LOAD
92 | 23-00386 | 12191969 | 03/06/2023 08:00 | 03/09/2023 16:00 | LOWER GRANITE: PCB 4770 | LOWER GRANITE: PCB 4770, LOWER GRANITE: PCB 4770 RELAYS | RECEIVED | GEN, MT-NW, NOH, WOH, WOLM
93 | 23-01043 | 12559513 | 03/06/2023 08:30 | 03/09/2023 16:00 | GREEN PETER: B-1342 LEBANON #1 115KV LINE RELAYS | GREEN PETER: B-1342 LEBANON #1 115KV LINE RELAYS, GREEN PETER: PCB B-1342, GREEN PETER-FOSTER TAP SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE | UNDER REVIEW
94 | 23-00762 | 12650724 | 03/07/2023 07:00 | 03/07/2023 16:00 | ASHE: 500KV NORTH BUS INCLUDING PCBS 4940, 4888, 4901 | ASHE: PCB 4940, ASHE: 500KV NORTH BUS INCLUDING PCBS 4940, 4888, 4901, ASHE: PCB 4888, ASHE: PCB 5466, ASHE: PCB 4901, ASHE: PCB 5327, ASHE: 500KV NORTH BUS | RECEIVED | NWACI, WOCS, WOJD, WOM, COI, FCRPS, GEN, WOS, PDCI, NOH, WOLM
95 | 23-02900 | 12895158 | 03/07/2023 07:00 | 03/07/2023 17:00 | SCL - GORGE-NORTH MOUNTAIN 230KV LINE | SCL - GORGE-NORTH MOUNTAIN 230KV LINE | RECEIVED
96 | 23-00344 | 12118360 | 03/07/2023 07:00 | 03/09/2023 16:00 | CAPTAIN JACK: PCB 4990 | CAPTAIN JACK: PCB 4990, CPJK: 4990 CTs A, B, and C phases | RECEIVED | NWACI, PDCI, COI
97 | 23-00456 | 12193450 | 03/07/2023 07:00 | 03/08/2023 15:30 | MONROE: PCB 4672, BFR AND DIFFERENTIAL RELAYS | MONROE: PCB 4672, BFR AND DIFFERENTIAL RELAYS | RECEIVED | BCHT, BCHW, NOEL, SOC, NI, WOCN
98 | 23-01770 | 11624955 | 03/07/2023 08:00 | 03/11/2023 15:00 | SCL- EAST PINE: 230KV BUS 2 AND BANK 97 | SCL- EAST PINE: 230KV BUS 2 AND BANK 97 | RECEIVED | SOC, NOEL
99 | 22-15865 | 12588315 | 03/07/2023 10:00 | 03/07/2023 13:00 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE, INCLUDING CHIEF JOSEPH: PCB 4598, PCB 4730 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE, CHIEF JOSEPH: PCB 4598, CHIEF JOSEPH: PCB 4730, INCLUDING CHIEF JOSEPH: PCB 4598, PCB 4730 | RECEIVED | GEN, FCRPS, NOH, NOEL, SOC, WOCN, NWACI, PDCI, COI
100 | 22-01610 | 12460402 | 03/07/2023 10:00 | 03/07/2023 13:00 | CHIEF JOSEPH PH: UNIT 22, CHIEF JOSEPH PH: UNIT 21, CHIEF JOSEPH PH: UNIT 23, CHIEF JOSEPH PH: UNIT 24, CHIEF JOSEPH PH: UNIT 25, CHIEF JOSEPH PH: UNIT 26, CHIEF JOSEPH PH: UNIT 27 | CHIEF JOSEPH PH: UNIT 22, CHIEF JOSEPH PH: UNIT 21, CHIEF JOSEPH PH: UNIT 23, CHIEF JOSEPH PH: UNIT 24, CHIEF JOSEPH PH: UNIT 25, CHIEF JOSEPH PH: UNIT 26, CHIEF JOSEPH PH: UNIT 27 | SUBMITTED | FCRPS, GEN, UPRCOL, SLAL
101 | 23-02901 | 12895348 | 03/08/2023 07:00 | 03/08/2023 17:00 | SCL Diablo - SCL Gorge 230kV Line | SCL Diablo - SCL Gorge 230kV Line | RECEIVED
102 | 23-00764 | 12650869 | 03/08/2023 07:00 | 03/09/2023 16:00 | ASHE: 500KV SOUTH BUS, INCLUDING PCB'S 4937,4885,5463,4898,5324, 4909 & REACTOR #2 | ASHE: PCB 4937, ASHE: 500KV SOUTH BUS, INCLUDING PCB'S 4937,4885,5463,4898,5324, 4909 & REACTOR #2, ASHE: PCB 4885, ASHE: PCB 5463, ASHE: PCB 4898, ASHE: PCB 5324, ASHE: 500KV REACTOR 2, ASHE: PCB 4909 | RECEIVED | NOH, NWACI, PDCI, COI, FCRPS, GEN
103 | 23-00480 | 12220059 | 03/08/2023 07:00 | 03/09/2023 16:00 | PAUL: PCB 4536 | PAUL: PCB 4536 | RECEIVED | RP, WOCS, SOA
104 | 23-00729 | 12537950 | 03/08/2023 07:30 | 03/08/2023 12:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430, CENTRAL FERRY: 500KV CAP GROUP 1, CENTRAL FERRY: PCB 5430 | RECEIVED | WOLM, WOH
105 | 23-01077 | 12570472 | 03/08/2023 07:30 | 03/09/2023 15:00 | MARION: PCB 4331 | MARION: PCB 4331, MARION: 500KV CAP GROUP 1 | RECEIVED | NWACI, PDCI, COI, WOCS
106 | 23-01044 | 12981348 | 03/08/2023 08:00 | 03/08/2023 12:00 | GREEN PETER: PCB B-1342 | GREEN PETER: PCB B-1342, GREEN PETER: PCB B-1342 , GREEN PETER-FOSTER TAP SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE | UNDER REVIEW
107 | 23-01422 | 12655216 | 03/08/2023 08:00 | 03/08/2023 17:00 | NASELLE: OXBOW-NASELLE SECTION OF THE HOLCOMB-NASELLE NO 1 115KV LINE INCLUDING PCB B-1716 AND THE 115KV AUX BUS | NASELLE: OXBOW-NASELLE SECTION OF THE HOLCOMB-NASELLE NO 1 115KV LINE INCLUDING PCB B-1716 AND THE 115KV AUX BUS, OXBOW-NASELLE SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE, NASELLE: PCB B-1716, NASELLE: 115KV AUX BUS | APPROVED | PA
108 | 23-01631 | 12731256 | 03/08/2023 08:00 | 03/08/2023 15:00 | ROCK CREEK: A-1704 BFR | ROCK CREEK: A-1704 BFR, ROCK CREEK: PCB A-1704, 500/230KV TRANSFORMER #1 LOR'S SET 1 AND 2 O.A.T., ENERGIZER #1 230KV LINE LOR | UNDER REVIEW | RKCR
109 | 23-00207 | 12118140 | 03/08/2023 09:00 | 03/09/2023 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | FORT ROCK: PCB 4265, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | RECEIVED | COI, NWACI, PDCI
110 | 23-00789 | 12425619 | 03/08/2023 09:00 | 03/08/2023 10:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: PCB B-2038 | APPROVED
111 | 23-00790 | 12425621 | 03/08/2023 10:00 | 03/08/2023 11:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2, TUCANNON RIVER: PCB B-2039 | APPROVED
112 | 23-01632 | 12735131 | 03/08/2023 13:00 | 03/08/2023 15:00 | ROCK CREEK: PCB A-1737 | ROCK CREEK: PCB A-1737 | UNDER REVIEW | RKCR, SIG
113 | 22-13059 | 12852942 | 03/09/2023 08:00 | 03/09/2023 15:00 | ROUNDUP-LA GRANDE #1 230KV LINE INCLUDING ROUNDUP PCB A-564 AND LA GRANDE PCB A-272 AND THE LAGRANDE PCB L-132 | LA GRANDE: PCB A-272, ROUNDUP-LA GRANDE #1 230KV LINE INCLUDING ROUNDUP PCB A-564 AND LA GRANDE PCB A-272 AND THE LAGRANDE PCB L-132, ROUNDUP: PCB A-564, LA GRANDE: 69KV PCB L-132, LA GRANDE: OREGON TRAIL 69KV FEEDER 1, ROUNDUP-LA GRANDE NO 1 230KV LINE | REVISED | ID-NW, PDCI, GEN, SIG, COR
114 | 23-01633 | 12735143 | 03/09/2023 08:00 | 03/09/2023 15:00 | ROCK CREEK: PCB A-1711 BFR | ROCK CREEK: PCB A-1711 BFR, ROCK CREEK: PCB A-1711 | UNDER REVIEW | RKCR
115 | 23-02923 | 12922915 | 03/09/2023 09:30 | 03/09/2023 15:00 | TOLEDO: LBD A-1471 INCLUDING THE 230KV CAP GROUP 2 | TOLEDO: 230KV CAP GROUP 2, TOLEDO: LBD A-1471 INCLUDING THE 230KV CAP GROUP 2, TOLEDO: LBD A-1471 | UNDER REVIEW | SOA
116 | 23-01634 | 12735442 | 03/09/2023 13:00 | 03/09/2023 15:00 | ROCK CREEK: PCB A-1708 | ROCK CREEK: PCB A-1708 | UNDER REVIEW
117 | 23-00458 | 12623337 | 03/10/2023 07:00 | 03/10/2023 12:00 | HAY MILL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP | HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, HAY MILL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP, ROE'S CORNER-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1 | UNDER REVIEW
118 | 23-02029 | 12820464 | 03/10/2023 15:00 | 03/12/2023 18:00 | WALLA WALLA: 69kV MAIN BUS INCLUDING PCB'S: L-561, L-559, L-560, L-238, L-232, L-234, L-623, L-624, 69kV CAP GROUP 1 SECT 1 & 2, WALLA WALLA - PACW NO 1 69kV LINE, 115/69kV BANK #3, WALLA WALLA - WHITMAN SECT OF WALLA WALLA - FREEWATER NO 1 69kV LINE, WALLA WALLA - MILTON SECT OF THE WALLA WALLA - PENDLETON NO 1 69kV LINE, 69/12.5kV BANK #2, 69kV GROUNDING TRANSFORMER, 69kV AUX BUS (UNGROUNDED) | WALLA WALLA: 69kV MAIN BUS INCLUDING PCB'S: L-561, L-559, L-560, L-238, L-232, L-234, L-623, L-624, 69kV CAP GROUP 1 SECT 1 & 2, WALLA WALLA - PACW NO 1 69kV LINE, 115/69kV BANK #3, WALLA WALLA - WHITMAN SECT OF WALLA WALLA - FREEWATER NO 1 69kV LINE, WALLA WALLA - MILTON SECT OF THE WALLA WALLA - PENDLETON NO 1 69kV LINE, 69/12.5kV BANK #2, 69kV GROUNDING TRANSFORMER, 69kV AUX BUS (UNGROUNDED), WALLA WALLA: 69KV MAIN BUS, WALLA WALLA: 69KV AUX BUS, WALLA WALLA: 69KV PCB L-232, WALLA WALLA: 69KV PCB L-234, WALLA WALLA: 69KV PCB L-238, WALLA WALLA: 69KV PCB L-559, WALLA WALLA: 69KV PCB L-560, WALLA WALLA: 69KV PCB L-561, WALLA WALLA: 69KV PCB L-623, WALLA WALLA: 69KV PCB L-624, WALLA WALLA: 115/69KV TRANSFORMER 3, WALLA WALLA: 69/12.5KV TRANSFORMER 2, WALLA WALLA: 69KV GROUNDING TRANSFORMER, WALLA WALLA: 69KV CAP GROUP 1 SECTION 1, WALLA WALLA: 69KV CAP GROUP 1 SECTION 2, WALLA WALLA-MILTON SECTION OF WALLA WALLA-PENDLETON NO 1 69KV LINE, WALLA WALLA-WHITMAN SECTION OF WALLA WALLA-FREEWATER NO 1 69KV LINE, WALLA WALLA-PACW WALLA WALLA NO 1 69KV LINE | UNDER REVIEW | GEN, WAWA, LOAD, WOM
119 | 23-02457 | 12853195 | 03/13/2023 06:00 | 03/13/2023 07:00 | HAYMILL-ADELAIDE SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE | ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1, HAYMILL-ADELAIDE SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: 138/12.5KV TRANSFORMER 1, HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE | UNDER REVIEW | SEIL
120 | 23-01402 | 12691536 | 03/13/2023 06:00 | 05/25/2023 16:00 | -USBR- HUNGRY HORSE: PCB'S 2182 AND 2382 | HUNGRY HORSE PH: PCB 2182, -USBR- HUNGRY HORSE: PCB'S 2182 AND 2382, HUNGRY HORSE PH: PCB 2382 | APPROVED | WOH
121 | 23-01683 | 12730172 | 03/13/2023 06:30 | 03/14/2023 17:00 | GRAND COULEE: B-212 TERMINAL INCLUDING GCPUD GB-17 TERMINAL OF THE GRAND COULEE-B-212 SECTION OF THE GRAND COULEE-CRESTON NO 1 115KV LINE | GRAND COULEE-B212 SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE, GRAND COULEE: B-212 TERMINAL INCLUDING GCPUD GB-17 TERMINAL OF THE GRAND COULEE-B-212 SECTION OF THE GRAND COULEE-CRESTON NO 1 115KV LINE, GRAND COULEE: 115KV AUX BUS SECTION 1 | UNDER REVIEW | OKLA
122 | 23-03312 | 12976706 | 03/13/2023 07:00 | 03/14/2023 17:00 | MCNARY: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-404, A-408, A-412 AND A-414 | MCNARY: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-404, A-408, A-412 AND A-414, MCNARY: PCB A-415, MCNARY: PCB A-414, MCNARY: PCB A-412, MCNARY: PCB A-410, MCNARY: PCB A-408, MCNARY: PCB A-406, MCNARY: PCB A-404, MCNARY: PCB A-402, MCNARY: PCB B-983, MCNARY: 500/230KV TRANSFORMER 1, MCNARY: 230/115KV TRANSFORMER 11, MCNARY PH-MCNARY NO 1 230KV LINE, MCNARY PH-MCNARY NO 2 230KV LINE, MCNARY-HORSE HEAVEN NO 1 230KV LINE, MCNARY-MORROW FLAT NO 1 230KV LINE, MCNARY-PACW WALLULA NO 1 230KV LINE, MCNARY-ROUNDUP NO 1 230KV LINE, MCNARY: 230KV MAIN BUS SECTION 1, MCNARY: PCB A-400, MCNARY: PCB A-403, MCNARY: PCB A-405 | UNDER REVIEW | WOM, GEN, FCRPS, WOS, SIG, ID-NW, WOCS
123 | 23-00231 | 11925518 | 03/13/2023 07:00 | 03/24/2023 14:00 | HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE | ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE, HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1 | UNDER REVIEW | SEIL
124 | 23-00702 | 12689762 | 03/13/2023 07:00 | 03/16/2023 16:00 | BOARDMAN: BOARDMAN-IONE NO. 1 69KV LINE RELAYS AND PCB L-1587 BFR AND PCB B-283 BFR, ONE AT A TIME | BOARDMAN: 69KV PCB L-1587, BOARDMAN: BOARDMAN-IONE NO. 1 69KV LINE RELAYS AND PCB L-1587 BFR AND PCB B-283 BFR, ONE AT A TIME , BOARDMAN-IONE NO 1 69KV LINE, BOARDMAN: PCB B-283, BOARDMAN: 115/69KV TRANSFORMER 2 | UNDER REVIEW
125 | 22-14984 | 12594229 | 03/13/2023 07:00 | 03/17/2023 15:00 | LANE: 500/230KV TRANSFORMER 3 | MARION-LANE NO 1 500KV LINE, LANE: 500/230KV TRANSFORMER 3 | RECEIVED | NWACI, PDCI, SIG, COI
126 | 23-02196 | 12841587 | 03/13/2023 08:00 | 03/24/2023 15:00 | KEELER: 230KV SVC | KEELER: 230KV SVC, KEELER: PCB A-897, KEELER: 20KV PCB L-1675, KEELER: 230/20KV TRANSFORMER 4 | UNDER REVIEW | WOCS, COI, NWACI, PDCI, SOA, LOAD
127 | 23-01215 | 12604369 | 03/13/2023 08:00 | 03/13/2023 10:00 | ASHE: 230KV CAP GROUP 1 | ASHE: 230KV CAP GROUP 1 | UNDER REVIEW | COI, NOH, PDCI, TCLA, NWACI
128 | 23-01068 | 12525849 | 03/13/2023 08:00 | 03/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | APPROVED | WOH
129 | 23-00105 | 11412380 | 03/13/2023 08:00 | 04/07/2023 16:00 | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | UNDER REVIEW | COI, PDCI, NWACI, NWACI, PDCI, WOCS, COI, LOAD
130 | 23-01344 | 12667411 | 03/13/2023 08:00 | 03/31/2023 17:00 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, GRANDVIEW: PCB B-920 | UNDER REVIEW | GEN, TCLA, LOAD
131 | 23-00444 | 12182239 | 03/13/2023 08:00 | 03/15/2023 15:00 | JOHN DAY: PCB 4167 | JOHN DAY: PCB 4167 | RECEIVED | JDAY, NWACI, WOCS, WOJD, COI
132 | 23-03286 | 12965967 | 03/13/2023 08:00 | 03/23/2023 16:00 | GREEN PETER -FOSTER TAP SECTION OF THE GREEN PETER - LEBANON NO 1 115KV LINE INCLUDING THE FOSTER - NORTH BUTTE SECTION OF THE FOSTER TAP | FOSTER TAP-NORTH BUTTE SECTION OF FOSTER TAP TO GREEN PETER-LEBANON NO 1 115KV LINE, GREEN PETER -FOSTER TAP SECTION OF THE GREEN PETER - LEBANON NO 1 115KV LINE INCLUDING THE FOSTER - NORTH BUTTE SECTION OF THE FOSTER TAP, GREEN PETER-FOSTER TAP SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE, GREEN PETER: PCB B-1342, FOSTER TAP-LEBANON SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE | UNDER REVIEW
133 | 23-00834 | 12443519 | 03/13/2023 08:00 | 03/13/2023 16:00 | VANTAGE: PCB A-1152 | VANTAGE: PCB A-1152 | APPROVED | NOH
134 | 23-00736 | 12537427 | 03/13/2023 08:00 | 03/14/2023 15:00 | BELL: PCB 5301, BFR AND DIFFERENTIAL RELAY | BELL: PCB 5301, BFR AND DIFFERENTIAL RELAY, BELL: PCB 5301 | RECEIVED | MT-NW, WOH
135 | 23-03581 | 12975183 | 03/13/2023 08:00 | 03/19/2023 18:00 | SCL Creston - SCL South 230kV Line, SCL South Bank 92, SCL South Bank 91, SCL South Bank 85, SCL South BKR 240-14, SCL South BKR 240-10, SCL South BKR 240-11 | SCL Creston - SCL South 230kV Line, SCL South Bank 92, SCL South Bank 91, SCL South Bank 85, SCL South BKR 240-14, SCL South BKR 240-10, SCL South BKR 240-11 | RECEIVED | SOC, NOEL
136 | 23-02678 | 12880328 | 03/13/2023 08:00 | 03/14/2023 16:00 | WHITE BLUFFS-451B NO 1 115KV LINE, INCLUDING 451B PCB B-1413, DISC B-1407 AND 115KV STRAIN BUS TO DISC B-1409 | WHITE BLUFFS-451B NO 1 115KV LINE, WHITE BLUFFS: PCB B-263, INCLUDING 451B PCB B-1413, DISC B-1407 AND 115KV STRAIN BUS TO DISC B-1409 | UNDER REVIEW | GEN, TCLA, LOAD
137 | 23-01635 | 12762295 | 03/13/2023 08:00 | 03/13/2023 15:00 | ROCK CREEK: PCB A-1714 BFR | ROCK CREEK: PCB A-1714 BFR , ROCK CREEK: PCB A-1714 | APPROVED | RKCR
138 | 23-00208 | 12118091 | 03/13/2023 09:00 | 03/16/2023 16:00 | FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062 | FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062, FORT ROCK: PCB 5062 | RECEIVED | COI, NWACI, PDCI
139 | 23-01216 | 12604373 | 03/13/2023 10:00 | 03/13/2023 12:00 | ASHE: 230KV CAP GROUP 2 | ASHE: 230KV CAP GROUP 2 | UNDER REVIEW | COI, NOH, PDCI, TCLA, NWACI
140 | 23-01051 | 12560155 | 03/13/2023 12:00 | 03/13/2023 15:00 | WHITE BLUFFS: 115KV CAP GROUP 1 | WHITE BLUFFS: 115KV CAP GROUP 1, WHITE BLUFFS: PCB B-1362 | UNDER REVIEW | LOAD
141 | 23-03316 |  | 03/13/2023 12:00 | 03/13/2023 15:00 | MCNARY-ROUNDUP NO 1 230KV LINE INCLUDING ROUNDUP PCB'S A-559, A-562 & MCNARY PCB'S A-402, A-412 | MCNARY: PCB A-402, MCNARY-ROUNDUP NO 1 230KV LINE INCLUDING ROUNDUP PCB'S A-559, A-562 & MCNARY PCB'S A-402, A-412, MCNARY: PCB A-412, ROUNDUP: PCB A-562, ROUNDUP: PCB A-559, MCNARY-ROUNDUP NO 1 230KV LINE | SUBMITTED | WOM, ID-NW, GEN
142 | 23-01637 | 12762298 | 03/13/2023 13:00 | 03/13/2023 15:00 | ROCK CREEK: PCB A-1711 | ROCK CREEK: PCB A-1711 | APPROVED | RKCR
143 | 23-01053 | 12570485 | 03/14/2023 07:30 | 03/14/2023 11:00 | HANFORD: 500KV CAP GROUP 1 | HANFORD: 500KV CAP GROUP 1 | RECEIVED | COI, NOH, PDCI, WOM, WOS, NWACI
144 | 23-01574 | 12684684 | 03/14/2023 08:00 | 03/14/2023 15:00 | JONES CANYON: PCB A-1678 | JONES CANYON: PCB A-1678 | APPROVED | WOCS
145 | 23-01272 | 12618666 | 03/14/2023 12:00 | 03/14/2023 14:00 | BENTON: 115KV CAP GROUP 1 | BENTON: 115KV CAP GROUP 1 | UNDER REVIEW | TCLA
146 | 23-02902 | 12943561 | 03/14/2023 16:00 | 03/16/2023 16:00 | CGS BACKUP BANK-451B SECTION OF BENTON-451B NO 1 115KV LINE INCLUDING HEW 451-B: PCB B-1424, B-1409 DISC AND B-1407 DISC TO REMOVED BUS ON WHITEBLUFFS SIDE OF B-1407 | DOE 451B: PCB B-1424, CGS BACKUP BANK-451B SECTION OF BENTON-451B NO 1 115KV LINE INCLUDING HEW 451-B: PCB B-1424, B-1409 DISC AND B-1407 DISC TO REMOVED BUS ON WHITEBLUFFS SIDE OF B-1407 , DOE 451B: B-1409 LINE SECTIONALIZING DISC, DOE 451B: B-1407 LINE SECTIONALIZING DISC, DOE 451B: B-1425 LINE SIDE DISC, CGS BACKUP BANK-451B SECTION OF BENTON-451B NO 1 115KV LINE | UNDER REVIEW | TCLA
147 | 23-00265 | 12538047 | 03/15/2023 07:00 | 03/16/2023 16:00 | CRESTON: 115KV STRAIN BUS INCLUDING PCB B-437, PCB L-668, 115/34.5KV TRANSFORMER 1, THE CRESTON-EGYPT SECTION OF CRESTON-BELL NO 1 115KV LINE AND WILBUR-CRESTON SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE | CRESTON-EGYPT SECTION OF CRESTON-BELL NO 1 115KV LINE, CRESTON: 115KV STRAIN BUS INCLUDING PCB B-437, PCB L-668, 115/34.5KV TRANSFORMER 1, THE CRESTON-EGYPT SECTION OF CRESTON-BELL NO 1 115KV LINE AND WILBUR-CRESTON SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE, WILBUR-CRESTON SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE, CRESTON: PCB B-437, CRESTON: 34.5KV PCB L-668, CRESTON: 115/34.5KV TRANSFORMER 1, CRESTON: 115KV STRAIN BUS, CRESTON: INLAND P+L 34.5KV FEEDER 1 | UNDER REVIEW | LOAD
148 | 23-00339 | 12117820 | 03/15/2023 07:00 | 03/16/2023 16:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB'S 4971 & 4972 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, INCLUDING PCB'S 4971 & 4972, CAPTAIN JACK: PCB 4972 | RECEIVED | NWACI, PDCI, COI
149 | 23-00737 | 12537431 | 03/15/2023 08:00 | 03/16/2023 15:00 | BELL: PCB 5304, BFR AND DIFFERENTIAL RELAY | BELL: PCB 5304, BFR AND DIFFERENTIAL RELAY, BELL: PCB 5304 | RECEIVED | MT-NW, WOH
150 | 23-00692 | 12538028 | 03/15/2023 08:00 | 03/15/2023 16:00 | CENTRAL FERRY: PCB 5388 | CENTRAL FERRY: PCB 5388 | RECEIVED | GEN, WOLM
151 | 23-01575 | 12730156 | 03/15/2023 08:00 | 03/15/2023 15:00 | JONES CANYON: PCB A-1675 | JONES CANYON: PCB A-1675 | APPROVED | WOCS
152 | 23-01056 | 12638456 | 03/16/2023 07:00 | 03/16/2023 09:00 | GRANDVIEW: 115KV CAP GROUP 1 | GRANDVIEW: 115KV CAP GROUP 1, GRANDVIEW: PCB B-922 | UNDER REVIEW | TCLA
153 | 23-01587 | 12695925 | 03/16/2023 08:00 | 03/16/2023 15:00 | JONES CANYON: PCB A-1682 | JONES CANYON: PCB A-1682 | APPROVED | WOCS
154 | 23-00507 | 12293387 | 03/16/2023 10:15 | 03/16/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | RECEIVED | GEN, NOH, WOCN
155 | 23-00508 | 12293395 | 03/16/2023 11:15 | 03/16/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | RECEIVED | GEN, NOH, WOCN
156 | 23-00510 | 12293489 | 03/16/2023 13:45 | 03/16/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | RECEIVED | GEN, NOH, WOCN
157 | 23-00887 | 12570509 | 03/16/2023 15:45 | 03/16/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | RECEIVED | GEN, NOH, WOCN
158 | 22-05800 | 11537529 | 03/17/2023 07:00 | 03/31/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028, GRIZZLY: 500KV REACTOR 3, GRIZZLY: PCB 4038, GRIZZLY: PCB 5028, GRIZZLY: PCB 5025, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE, PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA-SUMMER LAKE SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE | RECEIVED | SIG, COI, NWACI, PDCI, BCHT, BCHW, NI, WOJD
159 | 23-00073 | 11220280 | 03/18/2023 07:00 | 03/19/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B, MUNRO: RAS AC-B CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | RECEIVED | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
160 | 23-00206 | 11752207 | 03/20/2023 06:00 | 03/20/2023 17:00 | BELL: 230KV MAIN BUS SECT 4 INCLUDING 230KV MAIN BUS RING SECT AND PCBS A-377, A-571, A-573, A-574, AND A-577 | BELL: 230KV MAIN BUS SECTION 4, BELL: 230KV MAIN BUS SECT 4 INCLUDING 230KV MAIN BUS RING SECT AND PCBS A-377, A-571, A-573, A-574, AND A-577, BELL: 230KV MAIN BUS RING SECTION, BELL: PCB A-577, BELL: PCB A-574, BELL: PCB A-571, BELL: PCB A-573, BELL: PCB A-377, BELL-AVA BEACON NO 4 230KV LINE | UNDER REVIEW | MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, MT-NW, WOH, WOH
161 | 23-01008 | 12976420 | 03/20/2023 06:30 | 03/20/2023 16:30 | BELLINGHAM: PSE #3 115KV LINE INCLUDING PCB'S B-930, B-927 | BELLINGHAM: PSE #3 115KV LINE INCLUDING PCB'S B-930, B-927, BELLINGHAM-PSE BELLINGHAM NO 3 115KV LINE, BELLINGHAM: PCB B-930, BELLINGHAM: PCB B-927 | APPROVED | NOEL, SOC
162 | 23-00014 | 11242211 | 03/20/2023 06:30 | 03/20/2023 12:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | HANFORD-WAUTOMA NO 1 500KV LINE, HANFORD: PCB 4095, INCLUDING HANFORD: PCB 4095 | RECEIVED | NOH, NWACI, PDCI, SIG, COI, WOLM, WOM
163 | 23-00155 | 11756897 | 03/20/2023 07:00 | 03/20/2023 17:00 | GRAND COULEE-CHIEF JOSEPH NO 3 500KV LINE | GRAND COULEE-CHIEF JOSEPH NO 3 500KV LINE, GRAND COULEE: PCB 2396, GRAND COULEE: PCB 9292, CHIEF JOSEPH: PCB 4728, CHIEF JOSEPH: PCB 4732 | RECEIVED | GEN, NOH, SIG, COI, FCRPS, MT-NW, NWACI, PDCI, WOCN, WOH, WOLM, NOEL, SOC, SOA
164 | 23-02225 | 12824888 | 03/20/2023 07:00 | 03/20/2023 08:00 | MALIN: PCB 4072, MALIN: PCB 4582 | MALIN: PCB 4072, MALIN: PCB 4582 | RECEIVED | NWACI, PDCI, COI
165 | 23-02393 |  | 03/20/2023 07:00 | 03/31/2023 18:00 | MALIN-ROUND MOUNTAIN NO 2 500KV LINE | MALIN-ROUND MOUNTAIN NO 2 500KV LINE | RECEIVED | BCHT, BCHW, NI, NWACI
166 | 23-03028 | 12949628 | 03/20/2023 07:30 | 03/20/2023 16:30 | INTALCO: PCB A-1024 | INTALCO: PCB A-1024 | APPROVED
167 | 23-01777 | 12942917 | 03/20/2023 07:30 | 03/20/2023 16:30 | ROSS: 115KV MAIN BUS | ROSS: 115KV MAIN BUS, ROSS: PCB B-16, HAZEL DELL-ROSS 115KV LINE, ROSS: PCB B-14, ROSS: CLARK PUBLIC UTIL 115KV FEEDER 2, ROSS: PCB B-12, ROSS-CARBORUNDUM NO 1 115KV LINE, ROSS: PCB B-24, ROSS: 115KV AUX BUS, ROSS: PCB B-4, ROSS: 230/115KV TRANSFORMER 2, ROSS: PCB B-10, ROSS-ALCOA NO 2&4 115KV LINE, ROSS: PCB B-8, ROSS-VANCOUVER SHIPYARD NO 1 115KV LINE, ROSS: PCB B-6, SIFTON-ROSS NO 1 115KV LINE, ROSS: PCB B-2, ROSS: 230/115KV TRANSFORMER 1 | UNDER REVIEW | LOAD, SOA, WOCS
168 | 22-09483 | 12263920 | 03/20/2023 08:00 | 03/23/2023 17:00 | LAPINE: 230KV REACTOR 1 INCLUDING PCB A-1491 | LAPINE: PCB A-1491, LAPINE: 230KV REACTOR 1 INCLUDING PCB A-1491 | UNDER REVIEW | COR
169 | 23-01069 | 12525880 | 03/20/2023 08:00 | 03/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | APPROVED | WOH
170 | 23-01588 | 12730185 | 03/20/2023 08:00 | 03/20/2023 15:00 | JONES CANYON: PCB A-1685 | JONES CANYON: PCB A-1685 | APPROVED | WOCS
171 | 23-02765 | 12884478 | 03/20/2023 08:00 | 03/20/2023 15:00 | MAPLE VALLEY: 230KV MAIN BUS SECT 2 & 3 INCL PCB A-1140 | MAPLE VALLEY: 230KV MAIN BUS SECT 2 & 3 INCL PCB A-1140, MAPLE VALLEY: PCB A-1140, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, KLAHANIE-MAPLE VALLEY SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY: 500/230KV TRANSFORMER 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: 20KV SVC | RECEIVED | NOEL, SOC, SIG, IROL, WOCN
172 | 23-00777 | 12649424 | 03/20/2023 08:00 | 03/22/2023 15:00 | COLVILLE: PCB B-1769 INCLUDING 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND PCB'S B-1771, B-1773, & B-1780 | COLVILLE: 115KV CAP GROUP 1 SECTION 1, COLVILLE: PCB B-1769 INCLUDING 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND PCB'S B-1771, B-1773, & B-1780, COLVILLE: 115KV CAP GROUP 1 SECTION 2, COLVILLE: 115KV CAP GROUP 1 SECTION 3, COLVILLE: PCB B-1771, COLVILLE: PCB B-1773, COLVILLE: PCB B-1780, COLVILLE: PCB B-1769 | UNDER REVIEW
173 | 23-00812 | 12638988 | 03/20/2023 08:00 | 03/20/2023 16:00 | CHEMAWA: PCB A-672 INCLUDING 230KV CAP GROUP 2 SECTION 1 | CHEMAWA: 230KV CAP GROUP 2 SECTION 1, CHEMAWA: PCB A-672 INCLUDING 230KV CAP GROUP 2 SECTION 1, CHEMAWA: PCB A-672 | UNDER REVIEW | WOCS
174 | 23-00010 | 11242214 | 03/20/2023 12:00 | 03/20/2023 17:30 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE, HANFORD: PCB 4095, INCLUDING HANFORD: PCB 4095 | RECEIVED | NOH, NWACI, PDCI, SIG, WOLM, COI, WOM
175 | 23-00011 | 11242268 | 03/20/2023 17:30 | 05/11/2023 07:30 | HANFORD: PCB 4095 INCLUDING MODS 4094 & 4096 | HANFORD: PCB 4095 INCLUDING MODS 4094 & 4096, HANFORD: MOD 4094, HANFORD: MOD 4096 | RECEIVED | NWACI, PDCI, WOLM, COI, NOH, WOM
176 | 23-00152 | 11706375 | 03/21/2023 07:00 | 03/22/2023 17:00 | ASHE-HANFORD NO 1 500KV LINE | ASHE-HANFORD NO 1 500KV LINE, ASHE: PCB 4898, ASHE: PCB 4901, HANFORD: PCB 4104, HANFORD: PCB 4107 | RECEIVED | NOH, NWACI, PDCI, SIG, COI, NWACI, PDCI, COI, FCRPS, NWACI, PDCI, COI, FCRPS, NOH, NOH, NWACI, PDCI, COI, WOM, WOS, NWACI, PDCI, COI, NOH, WOM, WOS
177 | 23-00772 | 12538099 | 03/21/2023 07:00 | 03/22/2023 16:00 | CUSTER: 500KV REACTOR 1 INCLUDING PCB 4274 | CUSTER: 500KV REACTOR 1, CUSTER: 500KV REACTOR 1 INCLUDING PCB 4274, CUSTER: PCB 4274 | RECEIVED | NOEL, SOC, BCHT, BCHW, NI
178 | 23-01814 | 12782541 | 03/21/2023 07:30 | 03/21/2023 15:30 | ROSS: 230KV WEST MAIN BUS | ROSS: 230KV WEST MAIN BUS, ROSS: PCB A-134, ROSS: PCB A-30, ROSS: PCB A-31, ROSS: PCB A-146, ROSS: PCB A-28, ROSS: PCB A-34, ROSS: PCB B-4, ROSS-RIVERGATE NO 1 230KV LINE, ROSS: 230/115KV TRANSFORMER 2, ROSS: 230/69KV TRANSFORMER 5, ROSS: 69KV PCB L-38, ROSS: 230KV CAP GROUP 2 SECTION 1, ROSS: 230KV CAP GROUP 2 SECTION 2, ROSS: 230KV CAP GROUP 2 SECTION 3, SIFTON-ROSS SECTION OF NORTH BONNEVILLE-ROSS NO 1 230KV LINE | UNDER REVIEW | SOA, LOAD, GEN, WOCS
179 | 23-03029 | 12949634 | 03/21/2023 07:30 | 03/21/2023 16:30 | INTALCO: PCB A-1028 | INTALCO: PCB A-1028 | APPROVED
180 | 23-00340 | 12117971 | 03/21/2023 08:00 | 03/23/2023 16:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, INCLUDING PCB'S 4188 & 4189 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN: PCB 4188, INCLUDING PCB'S 4188 & 4189, MALIN: PCB 4189 | RECEIVED | COI, NWACI, PDCI
181 | 23-02766 | 12884513 | 03/21/2023 08:00 | 03/21/2023 15:00 | MAPLE VALLEY: 230KV MAIN BUS SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV MAIN BUS SECT 2 INCL PCB A-1140, MAPLE VALLEY: PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE | RECEIVED | NOEL, SOC, SIG
182 | 23-00813 | 12638982 | 03/21/2023 08:00 | 03/21/2023 16:00 | CHEMAWA: PCB A-673 INCLUDING 230KV CAP GROUP 2 SECTION 2 | CHEMAWA: 230KV CAP GROUP 2 SECTION 2, CHEMAWA: PCB A-673 INCLUDING 230KV CAP GROUP 2 SECTION 2, CHEMAWA: PCB A-673 | UNDER REVIEW | WOCS
183 | 23-01851 | 12890239 | 03/21/2023 09:00 | 03/21/2023 11:00 | SACHEEN: PCB A-1903 | SACHEEN: PCB A-1903 | APPROVED
184 | 23-01852 | 12890246 | 03/21/2023 11:00 | 03/21/2023 13:00 | SACHEEN: PCB A-1906 | SACHEEN: PCB A-1906 | APPROVED
185 | 23-02117 | 12814588 | 03/22/2023 06:00 | 03/22/2023 14:00 | KELLER TAP: B-700 AND B-684 TERMINALS OF THE GRAND COULEE - KELLER B700 SECTION OF THE GRAND COULEE-OKANOGAN #2 115KV LINE | GRAND COULEE-KELLER SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE, KELLER TAP: B-700 AND B-684 TERMINALS OF THE GRAND COULEE - KELLER B700 SECTION OF THE GRAND COULEE-OKANOGAN #2 115KV LINE , KELLER TAP TO GRAND COULEE-OKANOGAN NO 2 115KV LINE, GRAND COULEE: PCB 1472, GRAND COULEE: 115KV AUX BUS SECTION 1, KELLER: FERRY CO PUD 34.5KV FEEDER 1, KELLER: 115/34.5KV TRANSFORMER 1 | UNDER REVIEW | LOAD
186 | 23-03030 | 12949639 | 03/22/2023 07:30 | 03/22/2023 16:30 | INTALCO: PCB A-1036 | INTALCO: PCB A-1036 | APPROVED | BCHT, BCHW
187 | 23-02767 | 12884515 | 03/22/2023 08:00 | 03/23/2023 15:00 | MAPLE VALLEY: PCB A-1140 | MAPLE VALLEY: PCB A-1140 | RECEIVED | NOEL, SOC
188 | 23-00778 | 12650797 | 03/23/2023 07:00 | 03/23/2023 15:00 | COLVILLE: 115KV MAIN BUS INCLUDING PCB'S B-1766, B-1768, B-1770, B-1769, B-1771, B-1773, & B-1780 AND 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 | COLVILLE: 115KV MAIN BUS INCLUDING PCB'S B-1766, B-1768, B-1770, B-1769, B-1771, B-1773, & B-1780 AND 115KV CAP GROUP 1 SECTIONS 1, 2, & 3, COLVILLE: 115KV MAIN BUS, COLVILLE: PCB B-1766, COLVILLE: PCB B-1768, COLVILLE: PCB B-1770, COLVILLE: PCB B-1769, COLVILLE: PCB B-1771, COLVILLE: PCB B-1773, COLVILLE: PCB B-1780, COLVILLE: 115KV CAP GROUP 1 SECTION 1, COLVILLE: 115KV CAP GROUP 1 SECTION 2, COLVILLE: 115KV CAP GROUP 1 SECTION 3, ADDY-COLVILLE NO 1 115KV LINE, COLVILLE-KETTLE FALLS SECTION OF COLVILLE-REPUBLIC NO 1 115KV LINE, COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | UNDER REVIEW | LOAD, SOB
189 | 23-01602 | 12695919 | 03/23/2023 08:00 | 03/23/2023 15:00 | JONES CANYON: PCB A-1647 | JONES CANYON: PCB A-1647 | APPROVED | WOCS
190 | 23-01511 | 12666211 | 03/23/2023 08:30 | 03/23/2023 16:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-98 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-98, LONGVIEW: PCB A-98, LONGVIEW: PCB A-640, LONGVIEW: PCB A-100, LONGVIEW: PCB A-104, LONGVIEW: PCB A-106, LONGVIEW: PCB A-1960, LONGVIEW: 230KV SOUTH MAIN BUS, LONGVIEW-CHEMICAL NO 1 230KV LINE, LONGVIEW-ALLSTON NO 1 230KV LINE, LONGVIEW-ALLSTON NO 2 230KV LINE, LONGVIEW: 230/69KV TRANSFORMER 1, LONGVIEW: 230/115KV TRANSFORMER 3 | UNDER REVIEW | SOA, PA, LOAD
191 | 23-01669 |  | 03/23/2023 08:30 | 03/23/2023 15:00 | ROCK CREEK: PCB A-1719 INCLUDING 230KV CAP GROUP 1 SECTION 1 | ROCK CREEK: PCB A-1719 INCLUDING 230KV CAP GROUP 1 SECTION 1, ROCK CREEK: PCB A-1719, ROCK CREEK: 230KV CAP GROUP 1 SECTION 1 | UNDER REVIEW | RKCR
192 | 23-00151 | 11706378 | 03/24/2023 07:00 | 03/27/2023 17:00 | GRAND COULEE-HANFORD NO 1 500KV LINE | GRAND COULEE-HANFORD NO 1 500KV LINE, HANFORD: PCB 4083, HANFORD: PCB 4089, GRAND COULEE: PCB 2096, GRAND COULEE: PCB 8792 | RECEIVED | BCHT, BCHW, GEN, NI, NOH, SIG, COI, NWACI, PDCI, WOCN, NOH, NWACI, PDCI, WOM, WOS, NOH, NWACI, PDCI, COI, WOM, WOS, GEN, NOH, WOCN, COI, NWACI, PDCI, NOH, WOCN, COI, NWACI, PDCI
193 | 23-02456 | 12853166 | 03/24/2023 14:00 | 03/24/2023 15:00 | HAYMILL-ADELAIDE SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE | ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1, HAYMILL-ADELAIDE SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: 138/12.5KV TRANSFORMER 1, HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE | UNDER REVIEW
194 | 23-00074 | 11220281 | 03/25/2023 07:00 | 03/26/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE) | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE), DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | RECEIVED | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, SIG, COI, NOH, NWACI, PDCI, WOM, WOS
195 | 23-01680 | 12735502 | 03/27/2023 06:30 | 03/31/2023 17:00 | GRAND COULEE: 115KV MAIN BUS SECTION 1 | GRAND COULEE: 115KV MAIN BUS SECTION 1, GRAND COULEE: PCB 2072 MAIN BUS SECTIONALIZING, GRAND COULEE: PCB 1472, GRAND COULEE: PCB 1172, GRAND COULEE: PCB 1072, GRAND COULEE-B212 SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE | APPROVED | OKLA, LOAD
196 | 22-01168 | 9556188 | 03/27/2023 06:30 | 04/16/2023 23:00 | GRAND COULEE: PCB 2192, PCB 2196 | GRAND COULEE: PCB 2192, PCB 2196, GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | RECEIVED | GEN, NOH, WOCN
197 | 23-00319 |  | 03/27/2023 06:30 | 03/27/2023 07:00 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | UNDER REVIEW | GEN, FCRPS
198 | 23-01046 | 12554508 | 03/27/2023 07:00 | 03/30/2023 16:00 | SHELTON-SOUTH BREMERTON NO 1 230KV LINE | SHELTON-SOUTH BREMERTON NO 1 230KV LINE | UNDER REVIEW
199 | 23-01047 | 12554493 | 03/27/2023 07:00 | 03/30/2023 16:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | UNDER REVIEW | PA
200 | 23-01047 | 12554493 | 03/27/2023 07:00 | 03/30/2023 16:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | UNDER REVIEW | PA
201 | 23-00530 | 12570534 | 03/27/2023 08:00 | 04/21/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE | RECEIVED | NOH, NWACI, PDCI, SIG, COI
202 | 23-01638 | 12842475 | 03/27/2023 08:00 | 03/27/2023 16:30 | LONGVIEW: 230KV NORTH MAIN BUS INCLUDING PCB A-1386 | LONGVIEW: 230KV NORTH MAIN BUS INCLUDING PCB A-1386, LONGVIEW: PCB A-1374, LONGVIEW: PCB A-1375, LONGVIEW: PCB A-1378, LONGVIEW: PCB A-1380, LONGVIEW: PCB A-1386, LONGVIEW: PCB A-1058 (230KV MAIN BUS SECTIONALIZING), LONGVIEW: 230KV NORTH MAIN BUS, LEXINGTON-LONGVIEW NO 2 230KV LINE, ALLSTON: PCB A-1357 | UNDER REVIEW | SOA
203 | 23-01879 | 12815352 | 03/27/2023 08:00 | 04/07/2023 15:00 | LOWER MONUMENTAL: PCB 4600, INCLUDING 500KV REACTOR 1 | LOWER MONUMENTAL: PCB 4600, LOWER MONUMENTAL: 500KV REACTOR 1, INCLUDING 500KV REACTOR 1 | RECEIVED | WOLM
204 | 23-01603 | 12717960 | 03/27/2023 08:00 | 03/28/2023 15:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | JONES CANYON: PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 | UNDER REVIEW | WOCS
205 | 23-01070 | 12526123 | 03/27/2023 08:00 | 03/31/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | HATWAI: PCB A-113, HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE | APPROVED | WOH
206 | 23-02149 | 12852710 | 03/27/2023 08:00 | 04/06/2023 14:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | UNDER REVIEW | PA
207 | 23-02149 | 12852710 | 03/27/2023 08:00 | 04/06/2023 14:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | UNDER REVIEW | PA
208 | 23-00275 | 12118410 | 03/27/2023 08:00 | 03/30/2023 15:00 | CHIEF JOSEPH: PCB 4598, BFR | CHIEF JOSEPH: PCB 4598, BFR | RECEIVED | NOEL, SOC, WOCN
209 | 23-00247 | 12735107 | 03/27/2023 09:00 | 03/29/2023 15:00 | HARNEY: PCB B-1713, INCLUDING 115KV REACTIVE GROUP 1 REACTOR 2 | HARNEY: PCB B-1713, HARNEY: 115KV REACTIVE GROUP 1 REACTOR 2, INCLUDING 115KV REACTIVE GROUP 1 REACTOR 2 | UNDER REVIEW | NWACI
210 | 23-01810 | 12842866 | 03/27/2023 16:35 | 04/13/2023 08:30 | LONGVIEW: PCB A-1386 INCLUDING LONGVIEW-ALLSTON #3 230KV LINE | LONGVIEW: PCB A-1386 INCLUDING LONGVIEW-ALLSTON #3 230KV LINE, LONGVIEW: PCB A-1386, LONGVIEW-ALLSTON NO 3 230KV LINE, ALLSTON: PCB A-1357 | UNDER REVIEW | SOA
211 | 23-00150 | 11706397 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 1 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, GRAND COULEE-SCHULTZ NO 1 500KV LINE, SCHULTZ: PCB 5154, SCHULTZ: PCB 5157, GRAND COULEE: PCB 2196, GRAND COULEE: PCB 9092, COLUMBIA: PCB 4694 | RECEIVED | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, SIG, FCRPS
212 | 23-00153 | 11706405 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 2 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, GRAND COULEE-SCHULTZ NO 2 500KV LINE, SCHULTZ: PCB 5148, SCHULTZ: PCB 5151, GRAND COULEE: PCB 9192, GRAND COULEE: PCB 2296 | RECEIVED | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, FCRPS, SIG
213 | 23-01076 | 12570537 | 03/28/2023 07:30 | 03/29/2023 15:00 | MARION: PCB 4371 | MARION: PCB 4371 | RECEIVED | NWACI, PDCI, WOCS, COI
214 | 23-00771 | 12538009 | 03/28/2023 08:00 | 03/28/2023 16:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430, CENTRAL FERRY: 500KV CAP GROUP 1, CENTRAL FERRY: PCB 5430 | RECEIVED | WOLM, WOH
215 | 23-00826 | 12623109 | 03/28/2023 08:00 | 03/28/2023 16:00 | OREGON CITY: PCB B-266 INCLUDING CAP GRP NO. 1, SECT 1 | OREGON CITY: PCB B-266 INCLUDING CAP GRP NO. 1, SECT 1, OREGON CITY: 115KV CAP GROUP 1, OREGON CITY: PCB B-266 | UNDER REVIEW
216 | 23-02168 | 12943394 | 03/29/2023 07:00 | 03/29/2023 16:00 | MCNARY: MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE INCLUDING PLYMOUTH TAP TO BC-187, MCNARY 115KV AUX BUS AND PCB B-980 | MCNARY: MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE INCLUDING PLYMOUTH TAP TO BC-187, MCNARY 115KV AUX BUS AND PCB B-980, MCNARY: PCB B-980, MCNARY: 115KV AUX BUS, MCNARY: PCB B-988, MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE, PLYMOUTH TAP TO MCNARY-BADGER CANYON NO 1 115KV LINE | UNDER REVIEW | GEN, LOAD, WOM, TCLA
217 | 23-00612 | 12538041 | 03/29/2023 07:30 | 03/29/2023 17:30 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 4693 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, COLUMBIA: PCB 4693, INCLUDING PCB 4693 | RECEIVED | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
218 | 23-00827 | 12570546 | 03/29/2023 08:30 | 03/29/2023 16:00 | PEARL: PCB 5452 | PEARL: PCB 5452 | RECEIVED | SOA
219 | 23-01642 | 12793235 | 03/30/2023 08:00 | 03/30/2023 15:00 | ROCK CREEK: PCB A-1720 INCLUDING 230KV CAP GROUP 1 SECTION 2 | ROCK CREEK: PCB A-1720, ROCK CREEK: PCB A-1720 INCLUDING 230KV CAP GROUP 1 SECTION 2, ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 | UNDER REVIEW | RKCR
220 | 23-03580 | 12975142 | 03/30/2023 08:00 | 03/31/2023 20:00 | SNOHOMISH-BOTHELL NO 1 230KV LINE, BOTHELL: 230/115KV TRANSFORMER 61, DIABLO (SCL)-BOTHELL NO 2 230KV LINE | SCL Bothell BKR 240-63, SNOHOMISH-BOTHELL NO 1 230KV LINE, SCL Bothell BKR 240-65, BOTHELL: 230/115KV TRANSFORMER 61, SCL Bothell BKR 240-66, DIABLO (SCL)-BOTHELL NO 2 230KV LINE, SCL Bothell BKR 120-BK61, SCL Bothell BKR 240-64 | RECEIVED | NOEL, SOC, LOAD
221 | 23-00613 | 12537979 | 03/30/2023 08:00 | 03/30/2023 15:00 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | RECEIVED | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
222 | 23-00814 | 12490684 | 03/30/2023 08:30 | 03/30/2023 16:00 | DETROIT: PCB A-320 | DETROIT PH-DETROIT NO 2 230KV LINE, DETROIT: PCB A-320, DETROIT-SANTIAM NO 1 230KV LINE | UNDER REVIEW | GEN, FCRPS
223 | 23-01827 | 12782970 | 03/30/2023 09:00 | 03/30/2023 14:00 | ROSS: PCB A-20 (ROSS-RIVERGATE NO 1 230KV LINE) | ROSS: PCB A-20, ROSS: PCB A-20 (ROSS-RIVERGATE NO 1 230KV LINE), ROSS-RIVERGATE NO 1 230KV LINE | UNDER REVIEW | SOA, LOAD
224 | 23-01200 | 12691483 | 03/30/2023 22:30 | 03/31/2023 03:30 | WEST BURLEY-HEYBURN NO 1 138KV LINE | WEST BURLEY-HEYBURN NO 1 138KV LINE, BURLEY: BURLEY ID 138KV FEEDER 1, WEST BURLEY: BURLEY ID 138KV FEEDER 1, RIVERTON: HEYBURN ID 138KV FEEDER 1, WEST BURLEY: UNITED ELEC COOP 138KV FEEDER 1, RIVERTON: 138/12.5KV TRANSFORMER 1, WEST BURLEY: 138/12.5KV TRANSFORMER 1, BURLEY-RIVERTON SECTION OF WEST BURLEY-HEYBURN NO 1 138KV LINE, RIVERTON-HEYBURN SECTION OF WEST BURLEY-HEYBURN NO 1 138KV LINE, WEST BURLEY-BURLEY SECTION OF WEST BURLEY-HEYBURN NO 1 138KV LINE, BURLEY TAP TO WEST BURLEY-HEYBURN NO 1 138KV LINE, RIVERTON TAP TO WEST BURLEY-HEYBURN NO 1 138KV LINE | RECEIVED
225 | 23-02226 | 12824895 | 03/31/2023 17:00 | 03/31/2023 18:00 | MALIN: PCB 4072, MALIN: PCB 4582 | MALIN: PCB 4072, MALIN: PCB 4582 | RECEIVED | NWACI, PDCI, COI
226 | 23-00368 | 12107228 | 03/31/2023 22:00 | 04/01/2023 07:00 | GRANDVIEW-SNIPES SECTION OF THE GRANDVIEW-REDMOUNTAIN NO 1 115KV LINE INCLUDING THE PROSSER TAP | PROSSER: BENTON CO PUD 115KV FEEDER 1, GRANDVIEW-SNIPES SECTION OF THE GRANDVIEW-REDMOUNTAIN NO 1 115KV LINE INCLUDING THE PROSSER TAP, PROSSER: BENTON CO PUD 115KV FEEDER 2, PROSSER: BENTON REA 12.5KV FEEDER 1 BY BENTON CO PUD, RIVERFRONT: BENTON CO PUD 115KV FEEDER 1, GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | UNDER REVIEW | GEN, TCLA, LOAD, NWACI