## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2025 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 23-00399 | 12118076 | 03/01/2024 08:00 | 05/01/2024 18:00 | SCL Broad St - SCL Union St Tap 115kV Cable, SCL Union St - SCL Union St Tap 115kV Cable, SCL Massachusetts St - SCL Union St Tap 115kV Cable, SCL Broad St Bank 66B, SCL Broad St Bank 66A, SCL Broad St BKR 120-55, SCL Broad St BKR 120-58, SCL Union St BKR 120-65 | SOC, NOEL
3 | 23-02953 | 12943166 | 03/02/2024 08:00 | 03/03/2024 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
4 | 24-00015 | 9567061 | 03/04/2024 06:00 | 03/15/2024 23:00 | GRAND COULEE: PCB 2492, PCB 2496 | GEN, NOH, WOCN
5 | 24-00060 | 12879964 | 03/13/2024 08:00 | 03/14/2024 16:00 | GRIZZLY: 500KV SOUTH BUS INCLUDING PCB 4720, 500KV REACTOR 2 | NWACI, COI, PDCI
6 | 24-00061 | 12879676 | 03/15/2024 08:00 | 03/15/2024 16:00 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4042 | NWACI, WOJD, COI, PDCI
7 | 23-02955 | 12943173 | 03/16/2024 08:00 | 03/17/2024 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
8 | 23-02957 | 12943178 | 03/30/2024 08:00 | 03/31/2024 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE) | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM