## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2025 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 21-01767 | 10359382 | 06/30/2021 10:00 | 05/26/2023 16:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD, RP, SIG, SOA
3 | 22-06746 | 11593785 | 04/06/2022 06:30 | 12/28/2023 15:00 | CONKELLEY: LBD A-1575 INCLUDING 230KV CAP GROUP 2 SECTION 1 | MT-NW
4 | 22-06836 | 11597875 | 04/06/2022 12:25 | 05/31/2023 15:00 | OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8 | SIG, SOA, WOCS, SIG, WOCS, SOA
5 | 22-07667 | 11668432 | 04/21/2022 13:00 | 05/31/2023 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8 | SIG, WOCS, SOA
6 | 22-13128 | 12651062 | 08/17/2022 08:00 | 05/31/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
7 | 22-17044 | 12730571 | 11/16/2022 14:00 | 11/16/2023 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | NWACI, PDCI, COI
8 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E - TABLE MOUNTAIN SERIES CAP 1 (ROUND MOUNTAIN-TABLE MOUNTAIN #1 500KV LINE) | COI, NWACI
9 | 23-03222 | 11461724 | 02/10/2023 16:30 | 10/19/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
10 | 23-01402 | 12691536 | 03/13/2023 06:00 | 05/25/2023 16:00 | -USBR- HUNGRY HORSE: PCB'S 2182 AND 2382 | WOH
11 | 23-04279 | 13037076 | 03/20/2023 15:30 | 05/12/2023 15:00 | JOHN DAY: PCB 4128, INCLUDING MOD 4127 | NWACI, WOJD, WOS
12 | 23-00011 | 11242268 | 03/20/2023 17:30 | 05/11/2023 07:30 | HANFORD: PCB 4095 INCLUDING MODS 4094 & 4096 | NWACI, PDCI, WOLM, COI, NOH, WOM
13 | 23-04595 | 13065750 | 04/03/2023 07:00 | 05/01/2023 09:00 | LOOKOUT POINT: B-566 TERMINAL OF THE LOOKOUT POINT PH-LOOKOUT POINT NO 1 115KV LINE | GEN, EWEB
14 | 23-00462 | 12289653 | 04/04/2023 22:00 | 05/16/2023 19:00 | GRAND COULEE: 500/230KV CSY TIE BANK, INCLUDING 500KV PCB'S 8692,1996 & 230KV PCB 6582 | GEN, NOH, WOCN, PDCI, SIG, COI, FCRPS, NWACI
15 | 23-03864 | 13005625 | 04/12/2023 15:00 | 05/02/2023 15:00 | BETTAS ROAD: 230KV EAST BUS INCLUDING PCB'S A-3046 & A-3043, THE COLUMBIA-BETTAS ROAD NO 1 230KV LINE AND THE KITTITAS PUD BETTAS ROAD 230KV LINE TO THE BB1-1 DISCONNECT | NOEL, CI, NOH, SOC, WOCN, IROL
16 | 23-03525 | 12976427 | 04/17/2023 17:01 | 05/04/2023 08:30 | LONGVIEW-ALLSTON #1 230KV LINE INCLUDING LONGVIEW: PCB A-100, A-100 M/B DISC, AND 230KV SOUTH AUX BUS | SOA
17 | 23-01686 | 12735737 | 04/20/2023 06:30 | 05/12/2023 17:00 | GRAND COULEE: PCB 5782 | NOH, WOCN, COI, NWACI, PDCI
18 | 23-02735 | 12888833 | 04/21/2023 12:00 | 05/12/2023 11:00 | GARRISON-TAFT NO 2 500KV LINE, INCLUDING GARRISON PCB'S 4360, 4463 | MT-NW, SIG
19 | 23-04284 |  | 04/24/2023 08:00 | 05/05/2023 15:00 | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES | SOA
20 | 23-00529 | 12236138 | 04/24/2023 08:00 | 05/12/2023 07:30 | HANFORD-WAUTOMA NO 1 500KV LINE | NOH, NWACI, PDCI, SIG, COI
21 | 22-02103 | 10879173 | 05/01/2023 01:00 | 05/12/2023 20:00 | GRAND COULEE: PCB 2296, PCB 2292 | GEN, NOH, WOCN
22 | 23-01241 | 12734923 | 05/01/2023 06:00 | 05/26/2023 17:00 | ROCK CREEK: 500/230KV TRANSFORMER 1, INCLUDING 500/230 TRANSFORMER SPARE PHASE, PCB'S 5291, 5294, A-1704, A-1711, A-1714 AND PACIFICORP 230KV FEEDER #1 TO IMRIE | GEN, RKCR
23 | 23-01202 | 12694963 | 05/01/2023 06:30 | 05/25/2023 14:00 | GARRISON: PCB 4457, INCLUDING 500KV REACTOR 4 | MT-NW
24 | 23-01178 | 12695006 | 05/01/2023 07:00 | 05/06/2023 16:00 | MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING HORSE RANCH TAP | NOEL, SOC, BCHT, BCHW, SIG
25 | 23-01389 | 12694988 | 05/01/2023 07:00 | 05/01/2023 15:30 | CUSTER: PCB 4482 | BCHT, BCHW, NOEL, SOC, NI
26 | 23-01558 | 12810676 | 05/01/2023 08:00 | 05/01/2023 09:30 | HARVALUM: 230KV CAP GROUP 1 | WOM
27 | 23-00739 | 12690366 | 05/01/2023 08:00 | 05/02/2023 15:00 | BELL: PCB 5307, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
28 | 23-00732 | 12380742 | 05/01/2023 08:00 | 05/25/2023 15:00 | CARDWELL: B-1542 TERMINAL OF THE SOUTH KELSO-CARDWELL #1 115KV LINE | LOAD, SOA
29 | 23-00445 | 12182162 | 05/01/2023 08:00 | 05/02/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING GRIZZLY: PCB 4058 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
30 | 23-04063 | 13029033 | 05/02/2023 07:00 | 05/02/2023 16:30 | LEBANON: AIRPORT-LEBANON SECTION OF ALBANY-LEBANON NO 1 115KV LINE INCLUDING PCB B-848 AND THE 115KV AUX BUS | SLAL
31 | 23-01089 | 12622881 | 05/02/2023 07:00 | 05/02/2023 16:00 | ABERDEEN: 230/115KV TRANSFORMER 4 AND THE 115KV AUX BUS | LOAD, PA, SI
32 | 23-02352 |  | 05/02/2023 07:00 | 05/03/2023 16:00 | MAPLE VALLEY: 500/230KV TRANSFORMER 2 | IROL, NOEL, SIG, SOC, WOCN
33 | 23-01384 | 12695541 | 05/02/2023 07:30 | 05/03/2023 15:00 | MONROE: PCB 5053 | BCHT, BCHW, NOEL, SOC, WOCN, NI
34 | 23-02782 | 12884571 | 05/02/2023 08:00 | 05/02/2023 15:00 | SCHULTZ: PCB 5106, BFR | WOCN
35 | 23-01568 | 12873306 | 05/02/2023 08:00 | 05/02/2023 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | MT-NW, WOH, WOLM, SLAL
36 | 23-03319 | 12969499 | 05/02/2023 08:00 | 05/11/2023 18:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | GEN, LOAD, WOCS, FCRPS
37 | 23-04068 | 13032348 | 05/03/2023 07:00 | 05/03/2023 16:30 | LEBANON: 115KV MAIN BUS INCLUDING PCB'S B-848, B-850, B-1950 AND THE 115KV CAP GROUP NO 1 INCLUDING PCB B-1951 | SLAL
38 | 23-00740 | 12690371 | 05/03/2023 08:00 | 05/04/2023 15:00 | BELL: PCB 5310, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
39 | 23-04070 | 13032429 | 05/04/2023 07:00 | 05/04/2023 16:30 | LEBANON: FOSTER TAP-LEBANON SECTION OF GREEN PETER-LEBANON NO 1 115KV LINE INCLUDING PCB B-850 AND THE LEBANON 115KV A/B
40 | 23-04243 | 13038028 | 05/04/2023 08:00 | 05/04/2023 09:30 | LOWER MONUMENTAL: PCB 4599 | WOLM
41 | 23-03532 | 12976505 | 05/04/2023 08:31 | 05/04/2023 17:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-100 | SOA, PA, LOAD
42 | 23-01827 | 12782970 | 05/04/2023 09:00 | 05/04/2023 14:00 | ROSS: PCB A-20 (ROSS-RIVERGATE NO 1 230KV LINE) | SOA, LOAD
43 | 23-04245 | 13038045 | 05/04/2023 10:00 | 05/04/2023 11:30 | LOWER MONUMENTAL: PCB 4263 | WOLM
44 | 23-04248 | 13038057 | 05/04/2023 13:00 | 05/04/2023 14:30 | LOWER MONUMENTAL: PCB 4316 | WOLM
45 | 23-00330 | 12011700 | 05/08/2023 06:30 | 05/08/2023 07:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
46 | 23-00481 | 12220066 | 05/08/2023 07:00 | 05/10/2023 16:00 | PAUL: PCB 4540 | NWACI, PDCI, COI, WOCS, SOA
47 | 23-01177 | 12695738 | 05/08/2023 07:00 | 05/13/2023 16:00 | SNOHOMISH-BOTHELL NO 1 230KV LINE | NOEL, SOC
48 | 23-03928 | 13011876 | 05/08/2023 07:00 | 05/09/2023 12:00 | ASHE: PCB 4888 BFR and BREAKER DIFFERENTIAL RELAY | GEN, NWACI, FCRPS
49 | 23-01348 | 12695763 | 05/08/2023 07:00 | 05/11/2023 15:00 | BELL: 500/230KV TRANSFORMER 1 | GEN, MT-NW, WOH
50 | 23-01614 | 12729060 | 05/08/2023 07:30 | 05/09/2023 15:00 | ECHO LAKE: PCB 5072 | BCHT, BCHW, NOEL, SOC, NI, WOCN
51 | 22-13081 | 12264072 | 05/08/2023 08:00 | 05/26/2023 15:00 | DIAMOND LAKE-ALBENI FALLS SECTION OF THE SACHEEN-ALBENI FALLS NO 1 115KV LINE INCLUDING ALBENI FALLS 115KV AUX BUS, AND PCB B-960 | SOB, GEN
52 | 23-03488 |  | 05/08/2023 08:00 | 05/11/2023 15:00 | -CPI- BURNT WOODS SUBSTATION | SLAL
53 | 23-03744 | 12986681 | 05/08/2023 08:00 | 05/31/2023 15:00 | GRIZZLY: 4053/5039 TERMINAL OF, GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | NWACI, WOJD, COI, GRZN, SIG
54 | 23-02494 | 12880157 | 05/08/2023 08:00 | 05/12/2023 16:00 | HAMPTON-BEST LANE SECTION OF BRASADA-HARNEY NO 1 115KV LINE | NWACI
55 | 23-02165 | 13038451 | 05/08/2023 08:00 | 05/18/2023 15:00 | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GEN, TCLA, LOAD
56 | 23-01943 | 12824401 | 05/08/2023 08:00 | 05/11/2023 16:00 | MARION: 500KV REACTOR 1 INCLUDING PCB 4012 | COI, NWACI
57 | 23-00420 | 12861670 | 05/08/2023 09:00 | 05/08/2023 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
58 | 23-00418 | 12730315 | 05/08/2023 09:00 | 05/19/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
59 | 23-01387 | 12736322 | 05/08/2023 11:30 | 05/09/2023 15:00 | MONROE: PCB 4715, MONROE: 500KV CAP GROUP 2 | WOCN, NI, NOEL, SOC, IROL
60 | 23-04306 | 13039399 | 05/09/2023 07:00 | 05/09/2023 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE INCLUDING MACKS INN PCB B-363 AND THE MACKS INN-MADISON NO 1 115KV LINE | SEIL
61 | 23-03211 | 13027416 | 05/09/2023 07:30 | 05/10/2023 15:30 | ALBANY: 115KV WEST, CENTER, AND EAST MAIN BUS INCLUDING PCB’S: B-512 , B-514 , B-516 , B-518 , B-520 , B-522 , B-524 , B-526 , B-528 , B-1272 | LOAD, SLAL, SCORC
62 | 23-01585 | 12685834 | 05/09/2023 12:00 | 05/09/2023 15:00 | BIG EDDY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-818 | COI, PDCI, NWACI, WOJD
63 | 23-03929 | 13043407 | 05/09/2023 13:00 | 05/10/2023 15:00 | ASHE: PCB 4885 BFR | GEN, NWACI, FCRPS
64 | 23-04291 | 13038828 | 05/10/2023 07:00 | 05/10/2023 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE, INCLUDING MACKS INN 115KV MAIN BUS | SEIL, LOAD
65 | 23-01615 | 12736418 | 05/10/2023 07:00 | 05/11/2023 15:00 | RAVER: 500KV CAP GROUP 1 SECTION 2, INCLUDING PCB 4919 | IROL, WOCN, NOEL, RP, SOC
66 | 23-01390 | 12718082 | 05/10/2023 07:00 | 05/10/2023 15:00 | CUSTER: PCB 4486 | BCHT, BCHW, NOEL, SOC, NI
67 | 23-01553 | 12736452 | 05/10/2023 08:00 | 05/10/2023 12:00 | JOHN DAY: 500KV CAP GROUP 1 | COI, NWACI, PDCI, WOJD
68 | 23-01766 | 12761655 | 05/10/2023 12:00 | 05/10/2023 13:30 | JOHN DAY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1734 | COI, JDAY, PDCI, WOJD, NWACI
69 | 23-01767 | 12761828 | 05/10/2023 13:00 | 05/10/2023 14:00 | JOHN DAY: 230KV CAP GROUP 2 SECTION 2 INCLUDING PCB A-1735 | COI, JDAY, PDCI, WOJD, NWACI
70 | 23-01768 | 12810475 | 05/10/2023 14:00 | 05/10/2023 15:00 | JOHN DAY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1734 | COI, JDAY, PDCI, WOJD, NWACI
71 | 23-04292 | 13042468 | 05/11/2023 07:00 | 05/11/2023 14:00 | DRUMMOND - MACKS INN #1 115KV LINE INCLUDING MACKS INN: 115/46KV TRANSFORMERS #1 AND #2, 115KV MAIN BUS, AND LBD B-1842 | LOAD, SEIL
72 | 23-00012 | 11242303 | 05/11/2023 07:30 | 05/11/2023 15:00 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE INCLUDING HANFORD: PCB 4095 | NWACI, PDCI, WOLM, COI, NOH, WOM, SIG
73 | 23-01796 | 12782135 | 05/11/2023 08:30 | 05/11/2023 12:00 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5363 | NWACI, PDCI, COI, WOJD
74 | 23-01452 | 12736469 | 05/11/2023 09:00 | 05/11/2023 10:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
75 | 23-01453 | 12736473 | 05/11/2023 10:00 | 05/11/2023 11:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
76 | 23-01454 | 12736479 | 05/11/2023 11:00 | 05/11/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
77 | 23-01816 | 12782062 | 05/11/2023 12:00 | 05/11/2023 15:00 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 5367 | NWACI, PDCI, COI, WOJD
78 | 23-01456 | 12736651 | 05/11/2023 13:30 | 05/11/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
79 | 23-01457 | 12736655 | 05/11/2023 14:30 | 05/11/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
80 | 23-00013 | 11242330 | 05/12/2023 07:30 | 05/26/2023 15:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | NWACI, PDCI, WOLM, COI, NOH, WOM, SIG
81 | 23-04358 | 13039409 | 05/12/2023 08:00 | 05/12/2023 18:00 | COVINGTON: A-86 TERMINAL OF COVINGTON-DUWAMISH 1 230KV LINE | NOEL, SOC
82 | 23-02816 | 12888935 | 05/12/2023 12:00 | 06/08/2023 16:00 | GARRISON-TAFT NO 1 500KV LINE, INCLUDING GARRISON PCB'S 4415, 4418 | MT-NW, SIG
83 | 23-02736 | 12888914 | 05/12/2023 12:00 | 06/08/2023 16:00 | BROADVIEW-GARRISON NO 1 500KV LINE, INCLUDING GARRISON PCB'S 4418, 4421 | MT-NW, GEN
84 | 23-04127 | 13032973 | 05/14/2023 12:00 | 05/18/2023 16:00 | ASHE: 230KV MAIN BUS INCLUDING PCB A-924 | TCLA, NOH, COI, PDCI, GEN, FCRPS, LOAD
85 | 23-01665 | 12736670 | 05/14/2023 22:00 | 05/19/2023 17:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
86 | 23-01704 | 12736212 | 05/15/2023 07:00 | 06/02/2023 17:00 | -USBR- COULMBIA-GRAND COULEE NO 1 230KV LINE INCLUDING GRAND COULEE PCB 5686 | NOH, WOCN, COI, NWACI, PDCI, CI
87 | 23-01613 | 12735859 | 05/15/2023 07:00 | 05/16/2023 15:00 | RAVER: PCB 4789 | NOEL, RP, SOC, WOCN
88 | 23-00695 | 12593780 | 05/15/2023 08:00 | 05/25/2023 16:00 | CENTRAL FERRY: PCB 5432, INCLUDING 500KV REACTOR 1 | WOH, WOLM, SOA
89 | 23-01288 | 13012752 | 05/15/2023 08:00 | 05/18/2023 15:00 | WARNER: 230/115KV TRANSFORMER 1 | NWACI
90 | 23-04024 | 13059140 | 05/15/2023 08:00 | 05/18/2023 15:00 | SATSOP-SHELTON NO 1 230KV LINE | LOAD, PA, SI
91 | 23-01220 | 12660992 | 05/15/2023 08:30 | 05/19/2023 17:30 | MALIN: 4065/4187/4075/4076 TERMINAL OF, MALIN-ROUND MOUNTAIN NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, COI
92 | 23-00406 |  | 05/15/2023 09:00 | 06/16/2023 15:00 | -IPCO- HINES-WEST JOHN DAY 115KV LINE | ID-NW
93 | 23-03325 | 12985544 | 05/16/2023 08:00 | 05/25/2023 18:00 | NORTH BONNEVILLLE-ROSS NO 1 230KV LINE INCLUDING SIFTON TAP | GEN, LOAD, WOCS, FCRPS, SOA
94 | 23-01104 | 12593664 | 05/18/2023 07:00 | 05/18/2023 15:30 | COVINGTON: PCB A-1006 BFR | NOEL, SOC
95 | 23-00742 | 12735472 | 05/18/2023 08:00 | 05/18/2023 15:00 | BELL: 500/230KV TRANSFORMER 1 INCLUDING PCB'S 5307, 5310, A-577, AND A-552 | GEN, MT-NW, WOH
96 | 23-02362 | 12842609 | 05/18/2023 09:00 | 05/18/2023 11:00 | RAVER: PCB 4296 | NOEL, RP, SOC
97 | 23-02363 | 12842610 | 05/18/2023 12:00 | 05/18/2023 14:00 | RAVER: PCB 4293 | NOEL, RP, SOC, WOCN
98 | 23-00331 | 12011716 | 05/18/2023 16:30 | 05/18/2023 17:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
99 | 23-02677 | 12861689 | 05/19/2023 16:00 | 05/19/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
100 | 23-00127 | 11597819 | 05/21/2023 22:00 | 05/21/2023 22:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
101 | 23-03622 | 13042486 | 05/22/2023 07:00 | 05/22/2023 14:00 | DRUMMOND: 115KV AUX BUS INCLUDING 115/46KV TRANSFORMER #3 AND 115KV BUS TIE PCB B-1686 | SEIL
102 | 23-00681 | 12751723 | 05/22/2023 07:00 | 05/22/2023 11:30 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | NOEL, SOC, WOCN, LOAD, RP
103 | 23-00333 | 12011721 | 05/22/2023 07:00 | 05/22/2023 07:30 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS, BGEDY
104 | 23-00520 | 12219187 | 05/22/2023 07:00 | 05/23/2023 18:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
105 | 23-04673 | 13077424 | 05/22/2023 07:30 | 06/06/2023 17:00 | LONGVIEW: PCB A-646 INCLUDING LONGVIEW-CHEHALIS 1&3 230KV LINE | LOAD, NOEL, RP, SOA, PA
106 | 23-00239 | 12118767 | 05/22/2023 08:00 | 05/23/2023 15:00 | OSTRANDER: 500KV CAP GROUP 3 INCLUDING PCB 5097 | NWACI, PDCI, WOCS, COI
107 | 23-04025 | 13042801 | 05/22/2023 08:00 | 05/25/2023 15:00 | SATSOP-SHELTON NO 1 230KV LINE | LOAD, PA, SI
108 | 23-02364 | 13059728 | 05/22/2023 08:00 | 05/26/2023 15:00 | PONDEROSA-PILOT BUTTE NO 1 230KV LINE | COR
109 | 23-01944 | 12810652 | 05/22/2023 08:00 | 05/25/2023 16:00 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020 | COI, NWACI, PDCI
110 | 23-04233 | 13042417 | 05/23/2023 07:00 | 05/23/2023 14:00 | DRUMMOND - MACKS INN #1 115KV LINE INCLUDING DRUMMOND: 115KV AUX BUS AND PCB B-1502 | SEIL
111 | 23-00482 | 12220068 | 05/23/2023 07:00 | 05/25/2023 16:00 | PAUL: PCB 4542 | GEN, NWACI, PDCI, COI, WOCS, SOA
112 | 23-00680 | 12752594 | 05/23/2023 07:30 | 05/23/2023 12:00 | TACOMA: 230KV CAP GROUP 3 SECTION 1, & 2 INCLUDING LBD A-1078, LBD 1079 | NOEL, RP, SOC, WOCN
113 | 23-01483 | 12752577 | 05/24/2023 07:00 | 05/24/2023 15:00 | BELL: 500KV REACTOR 1 INCLUDING PCB 4559 | MT-NW, WOH
114 | 23-00682 | 12752642 | 05/24/2023 08:00 | 05/24/2023 15:00 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | NOEL, SOC, WOCN, NI
115 | 23-01926 | 12810116 | 05/25/2023 07:00 | 05/25/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
116 | 23-00684 | 12752713 | 05/25/2023 07:30 | 05/25/2023 12:00 | Raver: PCBs 4914 and 4921 including 500kV Cap Group 1 Sections 1, 2, 3 and 500kV Reactive Bus | NOEL, RP, SOC, IROL, WOCN
117 | 23-01927 | 12810138 | 05/25/2023 08:00 | 05/25/2023 09:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
118 | 23-01928 | 12810144 | 05/25/2023 09:00 | 05/25/2023 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
119 | 23-01929 | 12810148 | 05/25/2023 10:00 | 05/25/2023 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
120 | 23-01930 | 12810154 | 05/25/2023 11:00 | 05/25/2023 12:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
121 | 23-00128 | 11597829 | 05/26/2023 16:30 | 05/26/2023 17:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
122 | 23-01706 | 12736687 | 05/29/2023 22:00 | 06/30/2023 19:00 | -USBR- GRAND COULEE: 230/115KV TRANSFORMER KX2A INCLUDING PCB'S 5182 AND 2372 | NOH, OKLA, LOAD, WOCN, COI, NWACI, PDCI
123 | 23-01218 | 12685390 | 05/30/2023 07:00 | 06/16/2023 17:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
124 | 23-04475 | 13048225 | 05/30/2023 07:00 | 06/15/2023 15:00 | SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS | SOA, GEN, LOAD, WOCS, FCRPS
125 | 23-00130 | 11575566 | 05/30/2023 07:00 | 06/04/2023 17:00 | ASHE-MARION NO 2 500KV LINE | NWACI, BCHT, BCHW, NI, SIG, WOCS, WOJD, WOM, FCRPS, NOH
126 | 23-00129 | 11575538 | 05/30/2023 07:00 | 06/04/2023 17:00 | ASHE-SLATT NO 1 500KV LINE | BCHT, BCHW, NI, NOH, SIG, WOM, WOS
127 | 23-00879 | 12484181 | 05/30/2023 08:00 | 06/01/2023 17:00 | BIG EDDY-MCLOUGHLIN NO 1&2 230KV LINE | COI, NWACI, PDCI, SOA, WOJD
128 | 23-00423 | 12857191 | 05/30/2023 09:00 | 05/30/2023 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
129 | 23-00419 | 12857189 | 05/30/2023 09:00 | 06/10/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
130 | 23-01740 | 12782517 | 05/31/2023 08:00 | 06/01/2023 18:00 | BIG EDDY: 500/230KV TIE NO 1 500KV LINE RELAYS (FORCES OUT TIE 1, BANK 2 & PCB'S ) | GEN, NWACI, PDCI, WOJD, COI, SIG, FCRPS, BGEDY, SOA
131 | 23-00334 | 12011718 | 06/01/2023 16:30 | 06/01/2023 17:00 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
132 | 23-01925 | 12813871 | 06/02/2023 22:00 | 06/03/2023 08:00 | RAINBOW VALLEY-FERN RIDGE SECTION OF LANE-WENDSON NO 1 115KV LINE INCLUDING FERN RIDGE TAP AND THE FERN RIDGE 115/12.5KV XFMR | SWORE, LOAD, SOA
133 | 22-02304 | 10945141 | 06/03/2023 22:00 | 09/03/2023 09:00 | NORTH BONNEVILLE-ALFALFA SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE | WOCS
134 | 23-00710 | 12787658 | 06/04/2023 22:00 | 06/16/2023 17:00 | HANFORD: 4084/4088 TERMINAL OF GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT, BCHW, GEN, NI, NOH, SIG, COI, NWACI, PDCI, WOCN
135 | 23-01405 | 12719820 | 06/05/2023 06:00 | 06/09/2023 16:00 | CONKELLEY: A-470 TERMINAL OF THE HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | WOH, FLAT, GEN, MT-NW
136 | 23-01318 | 12782765 | 06/05/2023 07:00 | 06/08/2023 16:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, INCLUDING MCNARY PCB 4234 | NWACI, PDCI, SIG, WOM, COI, WOJD
137 | 23-01940 | 12824797 | 06/05/2023 07:00 | 06/10/2023 15:00 | Raver: PCB 4842 including 500kV Reactor 1 | NOEL, RP, SOC
138 | 23-00162 | 11756964 | 06/05/2023 07:00 | 06/05/2023 17:00 | LOWER MONUMENTAL-LITTLE GOOSE NO 1 500KV LINE | MT-NW, WOH, WOLM
139 | 23-04190 | 13033719 | 06/05/2023 07:00 | 06/17/2023 14:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | GEN, MT-NW, FLAT
140 | 23-03507 | 12975886 | 06/05/2023 07:00 | 06/15/2023 16:00 | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE | CI, IROL, NOEL, NOH, SOC, WOCN, GEN
141 | 23-02663 | 12858455 | 06/05/2023 08:00 | 06/28/2023 16:00 | REDMOND: A-262 TERMINAL OF THE REDMOND-PGE ROUND BUTTE 230KV LINE | SIG, COR
142 | 23-04564 |  | 06/05/2023 08:00 | 06/08/2023 15:00 | CARLTON-TILLAMOOK NO 1 230KV LINE | LOAD, SOA
143 | 23-04612 | 13066105 | 06/05/2023 08:00 | 06/05/2023 15:00 | GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT, BCHW, GEN, NI, NOH, SIG, WOCN
144 | 23-00531 |  | 06/05/2023 08:00 | 06/11/2023 16:00 | -PGE- PELTON-ROUND BUTTE 230KV LINE
145 | 23-01563 | 12810281 | 06/05/2023 08:30 | 06/05/2023 10:00 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 1, INCLUDING PCB A-1719 | RKCR
146 | 23-01869 | 12810295 | 06/05/2023 10:00 | 06/05/2023 11:30 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 2, INCLUDING PCB A-1720 | RKCR
147 | 23-00080 | 11730135 | 06/06/2023 07:00 | 06/06/2023 17:00 | LONGVIEW: 115KV NORTH MAIN BUS INCLUDING PCBS B-456, B-336, B-2157, B-331, B-330, B-347 AND B-392 BSD | SOA, PA, LOAD, GEN, STCON
148 | 23-00163 | 11756982 | 06/06/2023 07:00 | 06/06/2023 17:00 | LOWER MONUMENTAL-LITTLE GOOSE NO 2 500KV LINE | GEN, MT-NW, WOH, WOLM
149 | 23-00024 | 12830244 | 06/06/2023 07:30 | 06/06/2023 15:00 | KEELER: 500/230KV TRANSFORMER 2 | NWACI, PDCI, SIG, SOA, WOCS, COI
150 | 23-04424 | 13043358 | 06/06/2023 08:00 | 06/07/2023 16:00 | PSE - SEDRO WOOLLEY-BOTHELL-HORSE RANCH TAP 230KV LINE | SOC, NOEL
151 | 23-00469 | 12219302 | 06/06/2023 08:00 | 06/08/2023 17:30 | CHIEF JOSEPH: PCB 4598 | NOEL, SOC, WOCN
152 | 23-03320 | 12971679 | 06/06/2023 08:00 | 06/15/2023 18:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | GEN, LOAD, WOCS, FCRPS
153 | 23-00081 |  | 06/07/2023 07:00 | 06/07/2023 17:00 | LONGVIEW: 115KV SOUTH MAIN BUS INCLUDING PCBS B-328, B-326, B-324, B-330, B-347 AND B-394 MBD | SOA, PA, PA, SOA, LOAD, PA, SOA, LOAD, SOA, LOAD
154 | 23-00164 | 11756968 | 06/07/2023 07:00 | 06/07/2023 17:00 | LITTLE GOOSE-CENTRAL FERRY NO 2 500KV LINE | MT-NW, WOH, WOLM
155 | 23-01931 | 12810157 | 06/08/2023 07:00 | 06/08/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
156 | 23-01526 | 12724628 | 06/08/2023 07:30 | 06/08/2023 14:30 | FAIRMOUNT: 115KV CAP GROUP 1 SECTIONS 1, 2, 3, & 4 INCLUDING PCB'S B-1379, B-1381, B-1383, AND B-1385 | SOA
157 | 23-01932 | 12810162 | 06/08/2023 08:00 | 06/08/2023 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
158 | 23-01933 | 12810180 | 06/08/2023 09:00 | 06/08/2023 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
159 | 23-01934 | 12810184 | 06/08/2023 10:00 | 06/08/2023 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
160 | 23-01935 | 12810202 | 06/08/2023 11:00 | 06/08/2023 12:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
161 | 23-00165 | 11756986 | 06/09/2023 07:00 | 06/22/2023 17:00 | LITTLE GOOSE-LOWER GRANITE NO 1 500KV LINE | MT-NW, WOH, WOLM
162 | 23-00424 | 12857198 | 06/10/2023 16:00 | 06/10/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
163 | 23-00123 | 11597838 | 06/11/2023 22:00 | 06/11/2023 22:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
164 | 23-01408 | 12724523 | 06/12/2023 06:00 | 08/24/2023 16:00 | -USBR- HUNGRY HORSE PH: PCB'S 2282 AND 2382 | WOH, FLAT
165 | 23-01744 | 12757892 | 06/12/2023 07:00 | 06/16/2023 14:00 | GARRISON: RAS WM-A CONTROLLER | MT-NW, GEN, SIG, WOH
166 | 23-01675 | 12841272 | 06/12/2023 07:00 | 06/15/2023 16:00 | ROSS: 230/115KV TRANSFORMER 1 | LOAD, SOA
167 | 23-03457 | 13005520 | 06/12/2023 07:30 | 06/23/2023 16:30 | CUSTER: 500KV REACTOR 1, including PCB 4274 | NOEL, SOC, BCHT, BCHW, NI
168 | 23-01727 | 12786591 | 06/12/2023 08:00 | 06/13/2023 18:00 | BIG EDDY-CELILO NO 2 500KV LINE | PDCI, SIG, COI, NWACI, BGEDY
169 | 23-00471 | 12293662 | 06/12/2023 08:00 | 06/14/2023 17:30 | CHIEF JOSEPH: PCB 4594 | NOEL, SOC, WOCN
170 | 23-01443 | 12667633 | 06/13/2023 07:30 | 06/15/2023 15:00 | ALVEY: 230KV REACTOR 1 | COI, PDCI, NWACI, SLAL
171 | 23-04426 | 13043450 | 06/13/2023 08:00 | 06/13/2023 16:00 | PSE - SEDRO WOOLLEY-HORSE RANCH 230KV LINE | SOC, NOEL
172 | 23-00446 | 12182196 | 06/14/2023 08:00 | 06/16/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING GRIZZLY: PCB 4058 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
173 | 23-00124 | 11597846 | 06/16/2023 16:30 | 06/16/2023 17:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
174 | 23-00259 | 12118799 | 06/18/2023 22:00 | 06/18/2023 22:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
175 | 23-01745 | 12757897 | 06/19/2023 07:00 | 06/23/2023 16:00 | GARRISON: RAS WM-B CONTROLLER | MT-NW, GEN, SIG, WOH
176 | 23-04191 | 13033309 | 06/19/2023 07:00 | 06/29/2023 14:00 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | GEN, MT-NW
177 | 23-00109 | 11540462 | 06/19/2023 08:00 | 06/20/2023 18:00 | GRIZZLY-MALIN PGE NO 2 500KV LINE INCLUDING GRIZZLY: PCB 4046 AND SAND SPRINGS, FORT ROCK & SYCAN 500KV SERIES CAP GROUPS 2 | NWACI, PDCI, WOJD, COI, BCHT, BCHW, NI, NWACI, PDCI, SIG, COI, COI, NWACI, PDCI, COI, NWACI, PDCI, COI, NWACI, PDCI
178 | 23-01520 | 12782925 | 06/19/2023 08:00 | 06/22/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4971 & 4972 | NWACI, PDCI, COI
179 | 23-01709 | 12809201 | 06/20/2023 07:30 | 06/20/2023 15:30 | HANFORD: PCB 4085, BFR, (FORCES OUT 500KV CAP GROUP 1) | COI, NOH, NWACI, PDCI, WOM, WOS
180 | 23-01552 | 12666506 | 06/20/2023 08:00 | 06/30/2023 15:00 | CHEHALIS-OLYMPIA NO 1 230KV LINE | PA, RP
181 | 23-02158 | 12823884 | 06/20/2023 08:00 | 08/03/2023 16:00 | GRIZZLY: PCB 4046 BFR | NWACI, WOJD, COI
182 | 23-00878 | 12467074 | 06/20/2023 08:00 | 06/22/2023 17:00 | BIG EDDY-MCLOUGHLIN NO 1&2 230KV LINE | COI, NWACI, PDCI, SOA, WOJD
183 | 23-00800 | 12594059 | 06/20/2023 09:00 | 06/20/2023 12:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | MT-NW, WOH, SLAL, WOLM
184 | 23-01721 | 12809486 | 06/21/2023 07:30 | 06/21/2023 15:30 | HANFORD: PCB 4005, BFR | NOH, NWACI, PDCI, WOM, WOS, COI
185 | 23-03326 | 12985531 | 06/21/2023 08:00 | 06/29/2023 18:00 | NORTH BONNEVILLLE-ROSS NO 1 230KV LINE INCLUDING SIFTON TAP | GEN, LOAD, WOCS, FCRPS, SOA
186 | 23-02759 | 12888660 | 06/22/2023 07:00 | 06/22/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
187 | 23-01723 | 12791474 | 06/22/2023 07:30 | 06/22/2023 15:30 | HANFORD: PCB 4089 BFR | NOH, NWACI, PDCI, COI, WOM, WOS
188 | 23-00693 | 12594388 | 06/22/2023 08:00 | 06/22/2023 16:00 | CENTRAL FERRY: PCB 5391 | GEN, WOLM
189 | 23-02761 | 12888664 | 06/22/2023 08:00 | 06/22/2023 09:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
190 | 23-02762 | 12888680 | 06/22/2023 09:00 | 06/22/2023 10:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
191 | 23-02763 | 12888691 | 06/22/2023 10:00 | 06/22/2023 11:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
192 | 23-02764 | 12888697 | 06/22/2023 11:00 | 06/22/2023 12:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
193 | 23-00260 | 12118804 | 06/23/2023 16:30 | 06/23/2023 17:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
194 | 23-01742 | 13042811 | 06/24/2023 04:00 | 06/25/2023 21:00 | CELILO: 4743 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4742 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 9054/9092 TERMINAL OF THE RICE FLATS ELECTRODE | PDCI, SIG, BGEDY
195 | 23-02679 |  | 06/24/2023 04:00 | 06/25/2023 21:00 | CELILO: 9085 TERMINAL OF THE CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF THE CELILO-SYLMAR POLE 4 1000KV LINE | PDCI, SIG
196 | 23-00261 | 12118822 | 06/25/2023 22:00 | 06/25/2023 22:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
197 | 23-00166 | 11729140 | 06/26/2023 07:00 | 07/13/2023 17:00 | CENTRAL FERRY-LOWER GRANITE NO 2 500KV LINE | WOH, WOLM
198 | 23-00750 | 12671957 | 06/26/2023 07:00 | 06/30/2023 15:00 | SIFTON: 230/115KV TRANSFORMER 2 | SOA, GEN, LOAD, WOCS
199 | 23-01314 | 12666300 | 06/26/2023 07:00 | 06/29/2023 17:00 | LEXINGTON: 230/115KV TRANSFORMER 1 | LOAD, PA, RP, SOA
200 | 23-00592 | 12782204 | 06/26/2023 07:00 | 06/26/2023 08:30 | MONROE: 500KV CAP GROUP 2, INCLUDING PCB 4715 | IROL, NI, NOEL, SOC, WOCN
201 | 23-03942 | 13038245 | 06/26/2023 07:00 | 06/29/2023 15:00 | COLUMBIA-GRAND COULEE NO 1 230KV LINE | CI, NOH
202 | 23-00478 | 12220043 | 06/26/2023 07:00 | 06/30/2023 16:00 | PAUL: PCB 4808, INCLUDING 500KV REACTOR 1
203 | 23-01859 | 12809711 | 06/26/2023 07:30 | 06/26/2023 15:30 | HANFORD: PCB 4098, BFR | NWACI, PDCI, WOLM, COI, NOH, WOM
204 | 23-03543 | 13037254 | 06/26/2023 07:30 | 06/26/2023 16:30 | CUSTER: PCB A-1242 | BCHT, BCHW, NOEL, SOC, NI
205 | 23-02687 | 12874771 | 06/26/2023 08:00 | 06/29/2023 15:00 | SAMUELS-BONNERS FERRY SECTION OF SAND CREEK-BONNERS FERRY NO 1&2 115KV LINE
206 | 23-00593 | 12782218 | 06/26/2023 08:30 | 06/26/2023 10:00 | MONROE: 500KV CAP GROUP 3, INCLUDING PCB 5047 | IROL, NOEL, SOC, WOCN, NI
207 | 23-00594 | 12782229 | 06/26/2023 10:00 | 06/26/2023 11:30 | MONROE: 500KV CAP GROUP 4, INCLUDING PCB 4508 | IROL, NI, NOEL, SOC, WOCN
208 | 23-01183 | 12782267 | 06/26/2023 12:00 | 06/26/2023 13:00 | SNO-KING: 230KV CAP GROUP 1 SECTIONS 1 & 2 INCLUDING LBD'S A-1197, A-1199 AND 230KV REACTIVE BUS | NOEL, SOC, WOCN
209 | 23-01860 | 12809718 | 06/27/2023 07:30 | 06/27/2023 15:30 | HANFORD: PCB 4007, BFR | NOH, NWACI, PDCI, COI, WOM, WOS
210 | 23-03544 | 13037511 | 06/27/2023 07:30 | 06/27/2023 16:30 | CUSTER: PCB A-1246 | BCHT, BCHW, NOEL, SOC, NI
211 | 23-01521 | 12786640 | 06/27/2023 08:30 | 06/29/2023 15:00 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | COI, NWACI, PDCI
212 | 23-00262 | 12118861 | 06/30/2023 16:30 | 06/30/2023 17:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
213 | 23-04609 |  | 07/05/2023 07:30 | 07/06/2023 16:00 | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE | GEN, NOH, FCRPS, WOCN
214 | 23-00578 | 12782903 | 07/05/2023 08:00 | 07/05/2023 17:00 | SCHULTZ: RAVER 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5163 | WOCN, IROL, NOEL, NWACI, PDCI, SOC, COI, SIG
215 | 23-00167 |  | 07/05/2023 08:00 | 07/05/2023 17:00 | MCNARY-ROSS NO 1 345KV LINE | SOA, WOCS, WOM
216 | 23-02444 |  | 07/05/2023 08:00 | 07/06/2023 15:30 | KEELER: 230KV REACTIVE GROUP 2 INCLUDING PCB'S A-859, A-873 AND LBD A-857 | SOA, WOCS
217 | 23-02873 | 12918197 | 07/06/2023 07:00 | 07/06/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
218 | 23-00579 | 12782908 | 07/06/2023 08:00 | 07/06/2023 17:00 | SCHULTZ: ECHO LAKE 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5142 | WOCN, IROL, NOEL, NWACI, PDCI, SOC, COI
219 | 23-02874 | 12918198 | 07/06/2023 08:00 | 07/06/2023 09:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
220 | 23-02875 | 12918203 | 07/06/2023 09:00 | 07/06/2023 10:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
221 | 23-02877 | 12918211 | 07/06/2023 10:00 | 07/06/2023 11:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
222 | 23-02876 | 12918214 | 07/06/2023 11:00 | 07/06/2023 12:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
223 | 23-02878 | 12918264 | 07/06/2023 12:30 | 07/06/2023 13:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
224 | 23-03589 | 12986745 | 07/10/2023 03:45 | 07/10/2023 04:14 | Libby-Trumbull Creek Section of the Libby-Conkelley No 1 230kV Line Including Haskill Tap | MT-NW, GEN
225 | 23-03174 | 12986385 | 07/10/2023 04:15 | 07/28/2023 22:00 | HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE | MT-NW, GEN
226 | 23-00435 | 12263276 | 07/10/2023 07:00 | 08/18/2023 16:00 | SIFTON: 230/115KV TRANSFORMER 1, INCLUIDNG 13.8KV STATION SERVICE XFMR'S | SOA
227 | 23-02175 |  | 07/10/2023 07:00 | 07/14/2023 15:00 | OLYMPIA: 287/230KV TRANSFORMER 3 | NOEL, PA, RP, SOC, WOCN, IROL
228 | 23-02175 |  | 07/10/2023 07:00 | 07/14/2023 15:00 | OLYMPIA: 287/230KV TRANSFORMER 3 | NOEL, PA, RP, SOC, WOCN, IROL
229 | 23-02175 |  | 07/10/2023 07:00 | 07/14/2023 15:00 | OLYMPIA: 287/230KV TRANSFORMER 3 | NOEL, PA, RP, SOC, WOCN, IROL
230 | 23-02751 | 12908582 | 07/10/2023 07:00 | 07/27/2023 14:00 | GARRISON: 500KV REACTOR 4 INCLUDING PCB 4457 | MT-NW
231 | 23-04610 |  | 07/10/2023 07:00 | 07/13/2023 16:00 | GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE | GEN, NOH, FCRPS, WOCN
232 | 23-00541 | 12268499 | 07/10/2023 07:00 | 07/10/2023 08:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS
233 | 23-04683 |  | 07/10/2023 07:30 | 07/15/2023 15:00 | Raver: PCB 4844 including 500kV Reactor 2
234 | 23-03612 | 12982213 | 07/10/2023 08:00 | 07/11/2023 16:00 | BIG EDDY: PCB 4872, BFR AND RECLOSING RELAY | PDCI, WOJD, BGEDY
235 | 23-04285 | 13038923 | 07/10/2023 08:00 | 07/15/2023 15:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS
236 | 23-03483 |  | 07/10/2023 08:00 | 09/07/2023 17:00 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
237 | 23-02951 | 12944073 | 07/11/2023 08:00 | 07/11/2023 14:00 | SCHULTZ-RAVER NO 1 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SIG, SOC, WOCN, COI, RP
238 | 23-02952 | 12944074 | 07/11/2023 08:00 | 07/11/2023 14:00 | SCHULTZ-ECHO LAKE NO 1 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SIG, SOC, WOCN, COI, BCHT, BCHW, NI
239 | 23-02358 | 12847469 | 07/11/2023 08:00 | 07/11/2023 15:00 | CAPTAIN JACK: 500KV NORTH BUS INCLUDING PCB 4998 AND 500KV REACTOR 1 | COI, NWACI, PDCI
240 | 23-02359 | 12847547 | 07/12/2023 08:30 | 07/13/2023 15:00 | CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1 | COI, NWACI, PDCI
241 | 23-02686 | 13001207 | 07/14/2023 07:00 | 07/22/2023 17:00 | COLUMBIA: 4055/4054 TERMINAL OF GRAND COULEE-SCHULTZ 1 500KV LINE | IROL, NOEL, NOH, SOC, WOCN, GEN, SIG, FCRPS
242 | 23-02691 | 13001220 | 07/14/2023 07:00 | 07/22/2023 17:00 | COLUMBIA: 4039/4040 TERMINAL OF GRAND COULEE-SCHULTZ 2 500KV LINE | IROL, NOEL, NOH, SOC, WOCN, GEN, FCRPS, SIG
243 | 23-04277 | 13038944 | 07/16/2023 08:00 | 07/23/2023 15:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | GEN, LOAD, WOCS, FCRPS
244 | 23-00113 | 11597748 | 07/16/2023 22:00 | 07/16/2023 22:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
245 | 23-01756 | 12786706 | 07/17/2023 06:00 | 07/21/2023 17:00 | GRAND COULEE: PCB 1992 | GEN, NOH, WOCN
246 | 23-00627 | 12593691 | 07/17/2023 08:00 | 07/17/2023 15:00 | HATWAI: PCB 4708 | MT-NW, NOH, WOH, WOLM
247 | 23-02706 | 13039198 | 07/17/2023 08:00 | 07/21/2023 15:00 | MONROE: 500/230KV TRANSFORMER 1 | IROL, NOEL, SIG, SOC, NI
248 | 23-04184 | 13039212 | 07/17/2023 08:00 | 07/20/2023 15:00 | ALVEY: PCB 5099 INCLUDING 500KV REACTOR #2 | COI, NWACI, SCORC
249 | 23-01060 | 12593685 | 07/18/2023 07:00 | 07/19/2023 16:00 | NAPAVINE: PCB 5232 | PA
250 | 23-00114 | 11597755 | 07/18/2023 16:30 | 07/18/2023 17:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
251 | 23-03934 | 13006584 | 07/20/2023 07:00 | 07/20/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
252 | 23-03935 | 13006587 | 07/20/2023 08:00 | 07/20/2023 09:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
253 | 23-03936 | 13006641 | 07/20/2023 09:00 | 07/20/2023 10:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
254 | 23-03937 | 13006709 | 07/20/2023 10:00 | 07/20/2023 11:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
255 | 23-03938 | 13006723 | 07/20/2023 11:00 | 07/20/2023 12:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
256 | 23-03939 | 13006725 | 07/20/2023 12:30 | 07/20/2023 13:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
257 | 23-04159 | 13038413 | 07/22/2023 08:00 | 07/22/2023 12:00 | GRAND COULEE: PCB 6182, GRAND COULEE: PCB 6382 | NOH, WOCN
258 | 23-01757 | 12786748 | 07/24/2023 06:00 | 07/28/2023 17:00 | GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
259 | 23-03497 | 12977097 | 07/24/2023 07:00 | 07/27/2023 14:00 | CATTLE CREEK - GOSHEN NO 1 115KV LINE INCLUDING CATTLE CREEK: PCB B-2107 AND GOSHEN: PCB B-705 | SEIL, GEN
260 | 23-00324 |  | 07/24/2023 07:00 | 08/03/2023 15:00 | LOWER MONUMENTAL: 4317/4343 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE | GEN
261 | 23-01546 | 12814643 | 07/24/2023 08:00 | 07/27/2023 16:00 | ALLSTON-CLATSOP NO 1 230KV LINE INCLUDING DRISCOLL TAP | SOA, LOAD, PA
262 | 23-01765 | 12783153 | 07/24/2023 08:00 | 07/27/2023 15:00 | CHIEF JOSEPH: PCB 4724, BFR & DIFFERENTIAL RELAY | NOEL, NOH, NWACI, PDCI, SOC, WOCN
263 | 23-04502 |  | 07/24/2023 08:00 | 07/25/2023 15:00 | JDAY: PCB 4825 (55E) BFR & DIFF RELAYS | JDAY, NWACI, PDCI, WOJD
264 | 23-01406 | 12786754 | 07/24/2023 08:00 | 07/25/2023 15:00 | MALIN: PCB 4184 INCLUDING 500KV CAP GROUP 4 | COI, NWACI, PDCI
265 | 23-01059 | 12593635 | 07/26/2023 07:00 | 07/27/2023 16:00 | NAPAVINE: PCB 5229 | GEN, NWACI, PDCI, COI, SOA
266 | 23-01407 | 12786765 | 07/26/2023 08:00 | 07/26/2023 15:00 | MALIN: PCB 4182 INCLUDING 500KV CAP GROUP 3 | COI, NWACI, PDCI
267 | 23-01573 | 12793365 | 07/28/2023 07:00 | 07/28/2023 16:00 | MCNARY: 115KV MAIN BUS SECTION 2 | WOM, GEN, FCRPS
268 | 23-03734 | 12986803 | 07/28/2023 22:01 | 07/28/2023 22:30 | Libby-Trumbull Creek Section of the Libby-Conkelley No 1 230kV Line including Haskill Tap | MT-NW, GEN
269 | 23-00063 | 10941473 | 07/31/2023 05:00 | 08/12/2023 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | WOLM, GEN
270 | 23-01758 | 12783227 | 07/31/2023 06:00 | 08/04/2023 17:00 | GRAND COULEE: PCB 8792 | NOH, WOCN, COI, NWACI, PDCI
271 | 23-02146 |  | 07/31/2023 07:00 | 08/17/2023 18:00 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE | SOB, GEN, BCHT, MT-NW
272 | 23-02147 | 12820634 | 07/31/2023 07:00 | 08/05/2023 18:00 | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
273 | 23-02768 | 12908585 | 07/31/2023 07:00 | 08/03/2023 14:00 | GARRISON: 500KV REACTOR 3 INCLUDING PCB 4460 | MT-NW
274 | 23-04192 | 13032562 | 07/31/2023 07:00 | 08/18/2023 14:00 | TRUMBLE CREEK-CONKELLEY SECTION OF THE LIBBY-CONKELLEY #1 230KV LINE | GEN, MT-NW
275 | 23-00093 | 11350620 | 07/31/2023 08:00 | 08/04/2023 16:00 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
276 | 23-02626 | 12857684 | 07/31/2023 08:00 | 08/03/2023 15:00 | CUSICK-BOUNDARY SECTION OF USK-BOUNDARY NO 1 230KV LINE | SOB
277 | 23-01945 | 12814969 | 07/31/2023 08:00 | 08/04/2023 16:00 | ALLSTON-CLATSOP NO 1 230KV LINE INCLUDING DRISCOLL TAP | SOA, LOAD, PA