## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-13128 | 13358159 | 08/17/2022 08:00 | 01/01/2024 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
3 | 22-17286 | 12810179 | 12/06/2022 17:01 | 01/30/2024 19:00 | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS, RICHLAND: 115KV CAP GROUP 1 SECTION 1, RICHLAND: 115KV CAP GROUP 1 SECTION 2, RICHLAND: LBD B-287, RICHLAND: LBD B-311, RICHLAND: B-287 CAP GROUP 1 SECTION 1 DISC, RICHLAND: B-311 CAP GROUP 1 SECTION 2 DISC, RICHLAND: 115KV REACTIVE BUS | TCLA, LOAD
4 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
5 | 23-04603 | 13571342 | 01/31/2023 09:00 | 01/31/2024 15:00 | BUCKLEY: PCB 4967 | BUCKLEY: PCB 4967 | NWACI, WOCS, WOJD, WOM, WOS, GRZN
6 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2023 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
7 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
8 | 23-07910 | 13404415 | 04/17/2023 15:00 | 01/01/2024 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8, INCLUDING PCB A-1416 | TROUTDALE: 500/230KV TRANSFORMER 8, OSTRANDER-TROUTDALE NO 1 500KV LINE, INCLUDING PCB A-1416 | SIG, WOCS, SOA
9 | 23-07929 | 13405704 | 04/17/2023 15:01 | 01/01/2024 15:00 | TROUTDALE: A-1416 TERMINAL OF OSTRANDER-TROUTDALE #1 500 KV LINE INCLUDING PCB A-1416 | TROUTDALE: PCB A-1416, TROUTDALE: A-1416 TERMINAL OF OSTRANDER-TROUTDALE #1 500 KV LINE INCLUDING PCB A-1416 | WOCS
10 | 23-11521 | 13857833 | 07/10/2023 13:00 | 06/24/2024 13:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | PA
11 | 23-05853 | 13115063 | 08/10/2023 08:00 | 11/10/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
12 | 23-13490 | 14105094 | 08/15/2023 08:00 | 11/13/2023 15:00 | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING
13 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
14 | 23-14129 | 14237914 | 08/28/2023 17:00 | 11/16/2023 15:00 | FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114 | FRANKLIN: PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA
15 | 23-13918 | 14155020 | 09/20/2023 06:00 | 12/28/2023 16:00 | HEYBURN: B-1782 TERMINAL OF IDAHO POWER CO 138KV FEEDER 1 | HEYBURN: IDAHO POWER CO 138KV FEEDER 1, HEYBURN: B-1782 TERMINAL OF IDAHO POWER CO 138KV FEEDER 1, HEYBURN: PCB B-1782 | SEIL
16 | 23-01408 | 12724523 | 09/25/2023 06:00 | 11/02/2023 16:00 | -USBR- HUNGRY HORSE PH: BUS 2 | HUNGRY HORSE PH: PCB 2282, -USBR- HUNGRY HORSE PH: BUS 2, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT
17 | 23-00864 |  | 10/01/2023 08:00 | 01/30/2024 16:00 | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | COI
18 | 23-05088 | 13105728 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
19 | 23-05094 | 13108380 | 10/02/2023 08:00 | 11/17/2023 15:00 | SLATT-BUCKLEY NO 1 500KV LINE | SLATT-BUCKLEY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS
20 | 23-05095 | 13108392 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE | BUCKLEY-MARION NO 1 500KV LINE | NWACI, SIG, WOCS, WOJD
21 | 23-00084 | 11345939 | 10/16/2023 07:00 | 11/09/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
22 | 23-07939 | 13545737 | 10/19/2023 16:00 | 11/17/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
23 | 23-00866 | 13892314 | 10/20/2023 15:01 | 12/19/2023 08:00 | RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978 | RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978, RED MOUNTAIN: PCB B-1978
24 | 23-01398 | 9539368 | 10/21/2023 04:00 | 11/13/2023 21:00 | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER | PDCI, SIG
25 | 23-11515 | 13857277 | 10/21/2023 04:00 | 11/13/2023 21:00 | BIG EDDY: 4214 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4207 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 7939 TERMINAL OF THE RICE FLATS ELECTRODE | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY: 4214 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4207 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 7939 TERMINAL OF THE RICE FLATS ELECTRODE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG, BGEDY
26 | 23-05253 | 13134586 | 10/21/2023 08:00 | 11/12/2023 15:00 | CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218 | DITTMER: RAS DC-A CONTROLLER, CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
27 | 23-13314 |  | 10/21/2023 08:00 | 11/10/2023 15:00 | CELILO-SYLMAR POLES 3 & 4 1000KV LINE | CELILO-SYLMAR POLES 3 & 4 1000KV LINE
28 | 23-12786 | 14021087 | 10/23/2023 07:00 | 12/05/2023 17:00 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271, WHITE BLUFFS: PCB B-271 | TCLA
29 | 23-08683 | 13577648 | 10/23/2023 08:00 | 11/09/2023 15:00 | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP, BAXTER-FRANKLIN SECTION OF BENTON-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-620 | TCLA
30 | 23-09799 |  | 10/23/2023 08:00 | 11/08/2023 15:00 | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | SOA
31 | 23-09868 | 13650921 | 10/23/2023 08:00 | 11/02/2023 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1, INCLUDING PCB 4562 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, INCLUDING PCB 4562, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
32 | 23-15144 |  | 10/24/2023 08:00 | 11/03/2023 16:00 | BCH - INGLEDOW 2RX1, 2CX11 | BCH - INGLEDOW 2RX1, 2CX11
33 | 23-01127 |  | 10/29/2023 22:00 | 11/03/2023 20:00 | GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B | POTHOLES-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B , COLUMBIA-GRAND COULEE NO 1 230KV LINE, GRAND COULEE-BELL NO 3 230KV LINE, GRAND COULEE: 230/115KV BANK KX2A SWITCHYARD TIE, GRAND COULEE: 230KV MAIN BUS SECTION 1A, GRAND COULEE: 230KV MAIN BUS SECTION 1B, GRAND COULEE: PCB 6084, GRAND COULEE: PCB 5886, GRAND COULEE: PCB 5782, GRAND COULEE: PCB 5686, GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5286, GRAND COULEE: PCB 5182 | NOH, CI, WOH, OKLA, LOAD, WOCN, FCRPS
34 | 23-13928 | 14155990 | 10/30/2023 07:00 | 12/08/2023 15:00 | LANE: 115KV SOUTH MAIN BUS INCLUDING PCB'S B-1608, B-1610 AND B-1612 | LANE: 230/115KV TRANSFORMER 1, LANE: 115KV SOUTH MAIN BUS INCLUDING PCB'S B-1608, B-1610 AND B-1612, LANE: 115KV SOUTH MAIN BUS, LANE: PCB B-1608, LANE: PCB B-1610, LANE: PCB B-1612 | EWEB, LOAD
35 | 23-14742 | 14286403 | 10/30/2023 07:00 | 11/02/2023 15:00 | SICKLER: 500/230KV TRANSFORMER 1 | SICKLER: 500/230KV TRANSFORMER 1, SICKLER-DOUGLAS SWITCHYARD NO 1 230KV LINE | CI, GEN, SIG, NOH
36 | 23-15483 | 14355199 | 10/30/2023 07:30 | 11/02/2023 15:00 | HOT SPRINGS: 500KV REACTOR 1, HOT SPRINGS: PCB 4478 | HOT SPRINGS: 500KV REACTOR 1, HOT SPRINGS: PCB 4478 | MT-NW, WOH
37 | 23-01510 |  | 10/30/2023 08:00 | 12/01/2023 16:00 | PSE- SAMMAMISH 230KV WEST AND MID BUS | PSE- SAMMAMISH 230KV WEST AND MID BUS, BOTHELL (SCL)-SAMMAMISH 230KV LINE, PSE- SAMMAMISH-NOVELTY HILL 2 230KV LINE | NOEL, SOC
38 | 23-10774 | 13777763 | 10/30/2023 08:00 | 11/05/2023 18:00 | BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048 | BIG EDDY: 115KV MAIN BUS SECTION 2, BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048, BIG EDDY: 115KV MAIN BUS SECTION 3, BIG EDDY: PCB B-1048, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720, BIG EDDY-DE MOSS NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1060 | GEN, LOAD, BGEDY, WOJD, FCRPS
39 | 23-11226 | 14021133 | 10/30/2023 08:00 | 11/04/2023 17:00 | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | TCLA, LOAD
40 | 23-07024 | 13321598 | 10/30/2023 08:00 | 11/02/2023 15:00 | MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN NO 1 500KV LINE | COI, NWACI, BCHT, BCHW, NI
41 | 23-05042 | 12986164 | 10/30/2023 11:00 | 02/28/2024 15:00 | NVE - HILLTOP-FORT SAGE 345KV LINE | NVE - HILLTOP-FORT SAGE 345KV LINE | RATS
42 | 23-11839 | 13990118 | 10/31/2023 07:30 | 11/08/2023 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
43 | 23-09069 | 13549650 | 11/01/2023 07:00 | 11/02/2023 16:00 | RAVER: PCB 4305 | RAVER: PCB 4305 | NOEL, RP, SOC, WOCN
44 | 23-09090 | 13656972 | 11/01/2023 07:00 | 11/02/2023 16:00 | SHELTON: PCB B-1130 INCLUDING THE 115KV CAP GROUP 1 SECTIONS 1&2 | SHELTON: 115KV CAP GROUP 1 SECTION 1, SHELTON: PCB B-1130 INCLUDING THE 115KV CAP GROUP 1 SECTIONS 1&2, SHELTON: 115KV CAP GROUP 1 SECTION 2, SHELTON: PCB B-1130
45 | 23-09530 | 13609168 | 11/01/2023 07:00 | 11/01/2023 16:00 | MCNARY: PCB 5204 | MCNARY: PCB 5204
46 | 23-14431 |  | 11/01/2023 07:30 | 11/02/2023 15:00 | -IPCO- HELLS CANYON: PCB 205A | BROWNLEE (IPC)-HELLS CANYON 230KV LINE, -IPCO- HELLS CANYON: PCB 205A | WOH, WOLM
47 | 23-08603 |  | 11/01/2023 08:00 | 11/03/2023 16:00 | -PACW- ASTORIA: CB 2A6 | WARRENTON-PACW ASTORIA SECTION OF TILLAMOOK-PACW ASTORIA NO 1 115KV LINE, -PACW- ASTORIA: CB 2A6 | LOAD, SOA
48 | 23-04282 | 13039613 | 11/01/2023 08:00 | 11/02/2023 15:00 | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4209 | GEN, PDCI, WOJD, BGEDY
49 | 23-07649 | 13394988 | 11/01/2023 08:00 | 11/02/2023 15:00 | OSTRANDER: PCB 4442 | OSTRANDER: PCB 4442 | WOCS
50 | 23-09971 | 13663848 | 11/01/2023 08:00 | 11/02/2023 00:15 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
51 | 23-00791 | 12889050 | 11/01/2023 08:00 | 11/01/2023 16:00 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420, CENTRAL FERRY: 500KV EAST BUS, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: 500KV CAP GROUP 1, CENTRAL FERRY: PCB 5430, CENTRAL FERRY: MOD 5420 | WOLM, WOH
52 | 23-01099 | 13231546 | 11/01/2023 08:00 | 11/01/2023 15:00 | DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1 | DWORSHAK: PCB 4652, DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1, DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1 | MT-NW, GEN, WOH
53 | 23-05611 | 13267991 | 11/01/2023 08:00 | 11/01/2023 15:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
54 | 23-13339 | 14096850 | 11/01/2023 08:00 | 11/01/2023 15:00 | VANTAGE-COLUMBIA NO 1 230KV LINE | VANTAGE-COLUMBIA NO 1 230KV LINE | GEN, NOH, CI, SIG
55 | 23-09512 | 13609465 | 11/02/2023 06:30 | 11/02/2023 16:00 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | LOAD, NOEL, SOC, BCHT, BCHW
56 | 23-14654 | 13302336 | 11/02/2023 08:00 | 11/02/2023 18:00 | SCL - TALBOT HILL-SOUTH 230KV LINE | SCL - TALBOT HILL-SOUTH 230KV LINE | SOC/NOEL
57 | 23-01101 | 13478645 | 11/02/2023 08:00 | 11/02/2023 15:00 | DWORSHAK PH-DWORSHAK NO 1 500KV LINE, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS | DWORSHAK: PCB 4656, DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK: 500KV REACTOR 2, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS, DWORSHAK: PCB 4650, DWORSHAK: 500KV EAST BUS | MT-NW, GEN, SIG, FCRPS, WOH
58 | 23-05614 | 13267996 | 11/02/2023 08:00 | 11/02/2023 15:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
59 | 23-09834 | 13664099 | 11/02/2023 08:00 | 11/02/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
60 | 23-09529 | 13609589 | 11/02/2023 11:30 | 11/02/2023 13:00 | SNO-KING: PCB A-1206 | SNO-KING: PCB A-1206
61 | 23-09587 | 13609478 | 11/02/2023 13:00 | 11/02/2023 14:00 | SNO-KING: PCB B-1585 | SNO-KING: PCB B-1585
62 | 23-04283 | 13039619 | 11/02/2023 15:00 | 11/02/2023 16:00 | BIG EDDY: PCB 4860 | BIG EDDY: PCB 4860 | PDCI, WOJD, BGEDY
63 | 23-02970 | 12943015 | 11/04/2023 06:00 | 11/05/2023 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, COI, NWACI, PDCI
64 | 23-01764 |  | 11/06/2023 06:00 | 11/08/2023 17:00 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5, GRAND COULEE: 115KV AUX BUS SECTION 1
65 | 23-00117 |  | 11/06/2023 07:00 | 11/17/2023 16:00 | IPC- MIDPOINT - HEMINGWAY 500 KV line | IPC- MIDPOINT - HEMINGWAY 500 KV line | ID-NW, COI
66 | 23-02785 | 12908990 | 11/06/2023 07:00 | 11/07/2023 15:00 | GARRISON: PCB 4421 | GARRISON: PCB 4421 | MT-NW
67 | 23-09070 | 13549660 | 11/06/2023 07:00 | 11/07/2023 15:00 | RAVER: PCB 4879 | RAVER: PCB 4879 | NOEL, RP, SOC, WOCN
68 | 23-13871 | 14154295 | 11/06/2023 07:00 | 11/07/2023 14:00 | DRUMMOND: PCB B-1682 INCLUDING 115KV CAP GROUP #1 | DRUMMOND: PCB B-1682 INCLUDING 115KV CAP GROUP #1, DRUMMOND: 115KV CAP GROUP 1, DRUMMOND: PCB B-1682 | SEIL, LOAD
69 | 23-09538 | 13613555 | 11/06/2023 07:00 | 11/06/2023 15:00 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 , SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 | WOJD, WOM, WOS
70 | 23-14148 | 14203957 | 11/06/2023 07:00 | 11/06/2023 12:00 | LONGVIEW: 115KV SOUTH MAIN BUS | LONGVIEW: 115KV SOUTH MAIN BUS, LONGVIEW: PCB B-324, LONGVIEW: PCB B-326, LONGVIEW: PCB B-328, LONGVIEW: PCB B-347, LONGVIEW-COWLITZ NO 1 115KV LINE, BAKERS CORNER-LONGVIEW SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE, LONGVIEW: 230/115KV TRANSFORMER 3 | PA, SOA, LOAD, RP
71 | 23-14313 | 14210663 | 11/06/2023 08:00 | 11/10/2023 17:00 | SUMMER LAKE: 4951/4952 TERMINAL OF, HEMINGWAY-SUMMER LAKE NO 1 500KV LINE | SUMMER LAKE: 4951/4952 TERMINAL OF, SUMMER LAKE: PCB 4958, SUMMER LAKE: PCB 4957, HEMINGWAY-SUMMER LAKE NO 1 500KV LINE | ID-NW, NWACI, COI, SIG
72 | 23-14221 | 14202733 | 11/06/2023 08:00 | 11/09/2023 15:00 | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | SHELTON-BENSON SECTION OF SHELTON-KITSAP NO 2 115KV LINE | PA
73 | 23-14223 | 14197652 | 11/06/2023 08:00 | 11/09/2023 15:00 | SHELTON-SOUTH BREMERTON NO 1 230KV LINE | SHELTON-SOUTH BREMERTON NO 1 230KV LINE
74 | 23-07651 | 13394992 | 11/06/2023 08:00 | 11/07/2023 15:00 | OSTRANDER: PCB 4439 | OSTRANDER: PCB 4439 | WOCS
75 | 23-14611 | 14266416 | 11/06/2023 08:00 | 11/07/2023 15:00 | DWORSHAK-TAFT NO 1 500KV LINE, INCLUDING DWORSHAK: PCB'S 4652, 4656 AND HSGS 7117 | DWORSHAK-TAFT NO 1 500KV LINE, DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, DWORSHAK: PCB 4656, INCLUDING DWORSHAK: PCB'S 4652, 4656 AND HSGS 7117, DWORSHAK: PCB 4652, DWORSHAK: PCB 4765, DWORSHAK: HSGS 7117 | MT-NW, NOH, WOH, WOLM, FCRPS
76 | 23-09880 | 13696503 | 11/06/2023 08:00 | 11/06/2023 15:00 | MIDWAY: 230KV MAIN BUS SECTION 2, INCLUDING PCB A-54 | MIDWAY: 230KV MAIN BUS SECTION 2, MIDWAY: A-54 MAIN BUS DISC, MIDWAY: PCB A-54, INCLUDING PCB A-54, MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY-VANTAGE NO 1 230KV LINE, MIDWAY-BENTON NO 2 230KV LINE, MIDWAY-WANAPUM SECTION OF MIDWAY-PRIEST RAPIDS NO 3 230KV LINE | WOM, TCLA, GEN, NOH, WI
77 | 22-01809 | 10633216 | 11/06/2023 09:00 | 11/06/2023 14:00 | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE) | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE), BUCKLEY: PCB 4961, BUCKLEY: PCB 4964, BUCKLEY-GRIZZLY NO 1 500KV LINE | NWACI, WOJD, WOM, WOS, COI, WOCS, BCHT, BCHW, NI, PDCI, SIG
78 | 23-14147 | 14203936 | 11/06/2023 12:00 | 11/06/2023 17:00 | LONGVIEW: 115KV NORTH MAIN BUS | LONGVIEW: 115KV NORTH MAIN BUS, LONGVIEW: PCB B-331, LONGVIEW: PCB B-2157, LONGVIEW: PCB B-336, LONGVIEW: PCB B-456, LONGVIEW: PCB B-347, LONGVIEW-DONALD NYS SECTION OF LONGVIEW-ALLSTON NO 4 115KV LINE, LONGVIEW-WASHINGTON WAY NO 1 115KV LINE, LONGVIEW: 230/115KV TRANSFORMER 4, LONGVIEW-MINT FARM NO 1 115KV LINE | PA, SOA, LOAD, RP, GEN, STCON
79 | 23-09800 | 13628553 | 11/07/2023 06:00 | 11/30/2023 16:00 | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA
80 | 23-09614 | 13614879 | 11/07/2023 07:00 | 11/07/2023 16:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
81 | 23-13936 | 14160423 | 11/07/2023 07:00 | 11/07/2023 16:00 | MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING SNOHOMISH: 230KV AUX BUS SECT 4 AND PCB A-182 (UNGROUNDED) | MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING SNOHOMISH: 230KV AUX BUS SECT 4 AND PCB A-182 (UNGROUNDED), HORSE RANCH-SNOHOMISH SECTION OF MONROE-SNOHOMISH NO 1&2 230KV LINE, MONROE-HORSE RANCH SECTION OF MONROE-SNOHOMISH NO 1&2 230KV LINE, HORSE RANCH TAP TO MONROE-SNOHOMISH NO 1&2 230KV LINE, SNOHOMISH: PCB A-182, SNOHOMISH: 230KV AUX BUS SECTION 4, MONROE-SNOHOMISH NO 1&2 230KV LINE | BCHT, BCHW, NOEL, SOC, SIG
82 | 23-14152 | 14204979 | 11/07/2023 07:00 | 11/07/2023 12:00 | LEXINGTON: 230KV MAIN BUS | LEXINGTON: 230KV MAIN BUS, LEXINGTON: PCB A-213, LEXINGTON: PCB A-449, LEXINGTON-LONGVIEW NO 2 230KV LINE, WOODLAND-LEXINGTON SECTION OF ROSS-LEXINGTON NO 1 230KV LINE, LEXINGTON: 230/115KV TRANSFORMER 1 | PA, SOA, LOAD, GEN, RP
83 | 23-00407 | 12252239 | 11/07/2023 08:00 | 11/09/2023 15:00 | MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906 | MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE BREA: BENTON REA 115KV FEEDER 1, MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906, RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE TAP TO MIDWAY-MOXEE NO 1 115KV LINE | TCLA
84 | 23-13501 | 14125201 | 11/07/2023 08:00 | 11/07/2023 16:00 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP 1 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP 1, COSMOPOLIS: PCB B-1335, COSMOPOLIS: 115KV CAP GROUP 1
85 | 23-05827 | 13268125 | 11/07/2023 08:00 | 11/07/2023 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI, COI
86 | 22-01810 | 10633200 | 11/07/2023 09:00 | 11/07/2023 14:00 | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE) | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE), BUCKLEY: PCB 4964, BUCKLEY: PCB 4967, BUCKLEY-MARION NO 1 500KV LINE | NWACI, WOCS, WOJD, COI, WOM, WOS, PDCI, SIG
87 | 23-14154 | 14204617 | 11/07/2023 12:00 | 11/07/2023 17:00 | LEXINGTON: 115KV MAIN BUS | LEXINGTON: 115KV MAIN BUS, LEXINGTON-SHAWNEE 115KV LINE, LEXINGTON-WEST KELSO 115KV LINE, LEXINGTON: 230/115KV TRANSFORMER 1, LEXINGTON: PCB B-1464, LEXINGTON: PCB B-1465, LEXINGTON: PCB B-1466, LEXINGTON: PCB B-1468, LEXINGTON: PCB B-1470, LEXINGTON: PCB B-1471, LEXINGTON: PCB B-1472, BAKERS CORNER: PCB 115T2, LEXINGTON: COWLITZ CO PUD 115KV FEEDER 4 | LOAD, SOA, PA, RP
88 | 23-09615 | 13614868 | 11/08/2023 07:00 | 11/08/2023 16:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
89 | 23-14156 | 14210666 | 11/08/2023 07:00 | 11/08/2023 12:00 | COWLITZ: 115KV MAIN BUS | COWLITZ: 115KV MAIN BUS, CARDWELL-COWLITZ NO 1 115KV LINE, LONGVIEW-COWLITZ NO 1 115KV LINE, COWLITZ PCB B-306, COWLITZ: PCB B-200, COWLITZ: PCB B-340, COWLITZ: PCB B-343, COWLITZ: PCB B-344, COWLITZ: PCB B-364 | LOAD, PA, RP, SOA
90 | 23-14460 | 14250381 | 11/08/2023 07:30 | 11/08/2023 15:00 | HANFORD: PCB 4095 | HANFORD: PCB 4095 | WOLM, NOH, WOM
91 | 22-01806 | 10633205 | 11/08/2023 09:00 | 11/08/2023 14:00 | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE) | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE), BUCKLEY: PCB 4967, BUCKLEY: PCB 4961, SLATT-BUCKLEY NO 1 500KV LINE | NWACI, WOCS, WOJD, WOM, WOS, COI, PDCI, SIG
92 | 23-08874 | 13578224 | 11/09/2023 10:00 | 11/09/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
93 | 23-08876 | 13578250 | 11/09/2023 11:00 | 11/09/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
94 | 23-08877 | 13578306 | 11/09/2023 12:30 | 11/09/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
95 | 23-08878 | 13578338 | 11/09/2023 13:30 | 11/09/2023 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
96 | 23-07940 | 13550041 | 11/10/2023 06:00 | 11/10/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, SIG, CI, IROL, NOH
97 | 23-00089 | 11350694 | 11/10/2023 07:30 | 11/13/2023 16:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE, BENTON-FRANKLIN NO 2 115KV LINE | TCLA, LOAD, WOM
98 | 23-07941 | 13551815 | 11/10/2023 16:00 | 12/18/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: PCB A-1108, MAPLE VALLEY: PCB A-1139, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
99 | 23-14545 | 14168097 | 11/12/2023 07:00 | 11/19/2023 18:00 | SCL - TALBOT-SOUTH 230KV LINE | SCL - TALBOT-SOUTH 230KV LINE | SOC/NOEL
100 | 23-14548 | 14168134 | 11/12/2023 07:00 | 11/19/2023 18:00 | MAPLE VALLEY: A-1134 TERMINAL OF, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE | MAPLE VALLEY: A-1134 TERMINAL OF, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE | NOEL, SOC
101 | 23-00085 | 11345942 | 11/13/2023 07:00 | 12/01/2023 16:00 | HANFORD-WAUTOMA NO 1 500KV LINE | HANFORD-WAUTOMA NO 1 500KV LINE, HANFORD: PCB 4092, HANFORD: PCB 4095, WAUTOMA: PCB 5250, WAUTOMA: PCB 5253 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOLM, WOCN
102 | 23-02790 | 12909005 | 11/13/2023 07:00 | 11/14/2023 11:00 | GARRISON: PCB 4409 | GARRISON: PCB 4409 | MT-NW
103 | 23-02607 | 13039530 | 11/13/2023 07:00 | 11/13/2023 16:00 | MCNARY: 230/115KV TRANSFORMER 11, INCLUDING PCB'S B-997, A-403 AND A-412 | MCNARY: PCB A-403, MCNARY: 230/115KV TRANSFORMER 11, INCLUDING PCB'S B-997, A-403 AND A-412, MCNARY: PCB B-997, MCNARY: PCB A-412 | WOM
104 | 23-11106 | 13811965 | 11/13/2023 08:00 | 11/19/2023 18:00 | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: 115KV AUX BUS, BIG EDDY: PCB B-1692, BIG EDDY: PCB B-1054 | GEN, SOA, FCRPS
105 | 23-05824 | 13208888 | 11/13/2023 08:00 | 11/16/2023 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, WOH, WOLM
106 | 22-06618 | 11597722 | 11/13/2023 08:00 | 11/14/2023 16:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
107 | 23-11298 | 13842295 | 11/13/2023 08:00 | 11/13/2023 15:00 | JOHN DAY: PCB 4191 | JOHN DAY: PCB 4191 | NWACI, PDCI, WOJD, WOM, COI
108 | 23-11516 | 13857318 | 11/13/2023 21:00 | 11/22/2023 21:00 | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG
109 | 23-12481 | 13996460 | 11/14/2023 07:00 | 11/21/2023 17:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, NORTH BONNEVILLE: PCB A-14, ROSS: PCB A-22, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: 230/115KV TRANSFORMER 1, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: PCB B-1511 | WOCS, SOA, GEN, LOAD, FCRPS
110 | 23-15090 | 14316058 | 11/14/2023 07:00 | 11/15/2023 17:30 | MALIN-ROUND MOUNTAIN NO 2 500KV LINE | MALIN-ROUND MOUNTAIN NO 2 500KV LINE | BCHT, BCHW, NI, NWACI, COI
111 | 23-15088 | 14316005 | 11/14/2023 07:00 | 11/14/2023 08:00 | MALIN: PCB 4072, MALIN: PCB 4582 | MALIN: PCB 4072, MALIN-ROUND MOUNTAIN NO 2 500KV LINE, MALIN: PCB 4582 | NWACI, COI, BCHT, BCHW, NI
112 | 23-02157 | 13039221 | 11/15/2023 07:00 | 11/15/2023 16:00 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 230KV PCB A-440, BUSTIE PCB A-437 AND 115KV PCB B-978 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 230KV PCB A-440, BUSTIE PCB A-437 AND 115KV PCB B-978 , MCNARY: 230/115KV TRANSFORMER 9, MCNARY: PCB A-440, MCNARY: PCB A-437, MCNARY: PCB B-978 | WOM
113 | 23-13842 | 14161923 | 11/15/2023 08:00 | 11/16/2023 18:00 | PONDEROSA-SUMMER LAKE SECTION OF THE GRIZZLY-SUMMER LAKE NO 1 500KV LINE INCLUDING SUMMER LAKE: PCB'S 4959/4958 AND THE SAND SPRINGS, FORT ROCK 500KV SERIES CAPS (UNGROUNDED) | PONDEROSA-SUMMER LAKE SECTION OF THE GRIZZLY-SUMMER LAKE NO 1 500KV LINE INCLUDING SUMMER LAKE: PCB'S 4959/4958 AND THE SAND SPRINGS, FORT ROCK 500KV SERIES CAPS (UNGROUNDED), SUMMER LAKE: PCB 4959, SUMMER LAKE: PCB 4958, PONDEROSA-SUMMER LAKE SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE, FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 | NWACI, COI, ID-NW, SIG, BCHT, BCHW, NI, COR, GRZN
114 | 23-11299 | 13842300 | 11/15/2023 08:00 | 11/15/2023 15:00 | JOHN DAY: PCB 4825 | JOHN DAY: PCB 4825 | JDAY, NWACI, PDCI, WOJD
115 | 23-13941 | 14161828 | 11/15/2023 08:00 | 11/15/2023 09:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE, PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE | SIG, COI, NWACI, BCHT, BCHW, NI, COR, GRZN
116 | 23-15089 | 14316055 | 11/15/2023 16:30 | 11/15/2023 17:30 | MALIN: PCB 4072, MALIN: PCB 4582 | MALIN: PCB 4072, MALIN-ROUND MOUNTAIN NO 2 500KV LINE, MALIN: PCB 4582 | NWACI, COI, BCHT, BCHW, NI
117 | 23-09624 | 13610154 | 11/16/2023 07:00 | 11/16/2023 16:00 | SLATT: PCB 5006 | SLATT: PCB 5006 | WOS
118 | 23-13122 | 14061311 | 11/16/2023 08:00 | 11/16/2023 15:00 | OREGON CITY: PCB B-266 INCLUDING THE 115KV CAP GROUP 1 | OREGON CITY: 115KV CAP GROUP 1, OREGON CITY: PCB B-266 INCLUDING THE 115KV CAP GROUP 1, OREGON CITY: PCB B-266
119 | 23-13960 | 14161929 | 11/16/2023 17:00 | 11/16/2023 18:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO 1 500KV LINE, PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE | SIG, COI, NWACI, BCHT, BCHW, NI, COR, GRZN
120 | 23-08892 | 13577687 | 11/17/2023 16:30 | 11/17/2023 17:00 | MCNARY PH-MCNARY NO 6 115KV LINE | MCNARY PH-MCNARY NO 6 115KV LINE, MCNARY: PCB B-990 | GEN, FCRPS, WOM
121 | 23-14251 | 14249445 | 11/17/2023 22:00 | 11/18/2023 06:00 | RAINBOW VALLEY-FERN RIDGE SECTION OF LANE-WENDSON NO 1 115KV LINE INCLUDING THE FERN RIDGE TAP AND THE FERN RIDGE 115/12.5KV TRANSFORMER | RAINBOW VALLEY-FERN RIDGE SECTION OF LANE-WENDSON NO 1 115KV LINE INCLUDING THE FERN RIDGE TAP AND THE FERN RIDGE 115/12.5KV TRANSFORMER, RAINBOW VALLEY-FERN RIDGE SECTION OF LANE-WENDSON NO 1 115KV LINE, FERN RIDGE TAP TO LANE-WENDSON NO 1 115KV LINE, FERN RIDGE-NOTI CREEK SECTION OF LANE-WENDSON NO 1 115KV LINE | LOAD, SCORC, SOA
122 | 23-12212 | 13939579 | 11/18/2023 07:00 | 11/20/2023 18:00 | SNO-KING: A-1198 AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY 1 230KV LINE | SNO-KING: A-1198 AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC, SIG
123 | 23-12213 | 13939677 | 11/18/2023 07:00 | 11/20/2023 18:00 | SNO-KING: A-1417 AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY 2 230KV LINE | SNO-KING: A-1417 AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, SIG
124 | 23-09622 | 13610160 | 11/20/2023 07:00 | 11/21/2023 16:00 | SLATT: PCB 5268 | SLATT: PCB 5268 | WOJD
125 | 23-09335 | 13589504 | 11/20/2023 07:30 | 11/21/2023 15:00 | MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS | MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS, MIDWAY: 230/13.8KV BOOSTER TRANSFORMER 3, MIDWAY: PCB B-154, MIDWAY: 115KV AUX BUS, MIDWAY: 13.8KV PCB L-1034, MIDWAY: PCB A-110 | TCLA, WOM
126 | 23-14655 | 14272540 | 11/20/2023 08:00 | 11/22/2023 20:00 | SCL - NORTH-UNIVERSITY 115KV LINE | SCL - NORTH-UNIVERSITY 115KV LINE | SOC/NOEL
127 | 23-11300 | 13842307 | 11/20/2023 08:00 | 11/21/2023 15:00 | JOHN DAY: PCB 4155 | JOHN DAY: PCB 4155 | NWACI, WOJD
128 | 23-11362 | 13939016 | 11/20/2023 08:30 | 11/21/2023 15:00 | WARNER: PCB B-133 INCLUDING 115KV CAP GROUP 1 | WARNER: 115KV CAP GROUP 1, WARNER: PCB B-133 INCLUDING 115KV CAP GROUP 1, WARNER: PCB B-133
129 | 23-13674 | 14140851 | 11/21/2023 07:00 | 11/21/2023 16:00 | TRENTWOOD: PCB B-1937 INCLUDING 115KV CAP GROUP 1 SECTION 1 | TRENTWOOD: PCB B-1937 INCLUDING 115KV CAP GROUP 1 SECTION 1, TRENTWOOD: PCB B-1937, TRENTWOOD: 115KV CAP GROUP 1 SECTION 1
130 | 23-13697 | 14140860 | 11/22/2023 08:00 | 11/22/2023 15:00 | TRENTWOOD: PCB B-1938 INCLUDING 115KV CAP GROUP 1 SECTION 2 | TRENTWOOD: PCB B-1938 INCLUDING 115KV CAP GROUP 1 SECTION 2, TRENTWOOD: PCB B-1938, TRENTWOOD: 115KV CAP GROUP 1 SECTION 2
131 | 23-09547 | 13594410 | 11/22/2023 10:00 | 11/22/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
132 | 23-09549 | 13594426 | 11/22/2023 11:00 | 11/22/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
133 | 23-09550 | 13594429 | 11/22/2023 12:30 | 11/22/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
134 | 23-15025 | 14311470 | 11/27/2023 06:30 | 11/27/2023 07:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH-MCNARY NO 5 230KV LINE | GEN, FCRPS, WOM
135 | 23-14596 | 14266219 | 11/27/2023 07:00 | 12/01/2023 14:00 | -LVE- JACKSON-WILSON SECTION OF THE JACKSON-TETON NO 1 115KV LINE | -LVE- JACKSON-WILSON SECTION OF THE JACKSON-TETON NO 1 115KV LINE, JACKSON-WILSON SECTION OF JACKSON-TETON NO 1 115KV LINE | SEIL, MT-NW
136 | 23-14597 | 14266223 | 11/27/2023 07:00 | 12/01/2023 14:00 | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE, EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, MT-NW
137 | 23-09620 | 13615221 | 11/27/2023 07:00 | 11/30/2023 16:00 | SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794 | SLATT: PCB 5375, SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794, SLATT: PCB 5378, SLATT: PCB A-1791, SLATT: PCB A-1794 | WOJD
138 | 23-11108 | 13806536 | 11/27/2023 08:00 | 12/03/2023 18:00 | THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B | BIG EDDY: 115/13.2KV TRANSFORMER 8, THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720 | GEN, FCRPS
139 | 23-11578 | 14238304 | 11/27/2023 08:00 | 12/01/2023 15:00 | ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272 | LA GRANDE: PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE | ID-NW, GEN, SIG, NWACI
140 | 23-10738 |  | 11/28/2023 06:00 | 12/22/2023 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
141 | 23-12134 | 13991845 | 11/29/2023 07:00 | 11/30/2023 17:00 | CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540 | CUSTER: PCB A-1246, CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540, CUSTER: PCB A-1540, CUSTER-PORTAL WAY NO 1 230KV LINE | BCHT, BCHW, NOEL, SOC, NI
142 | 23-13809 | 14147145 | 11/30/2023 07:00 | 11/30/2023 16:00 | OLYMPIA: 230KV REACTOR 1 INCLUDING PCB A-349 | OLYMPIA: 230KV REACTOR 1 INCLUDING PCB A-349, OLYMPIA: 230KV REACTOR 1, OLYMPIA: PCB A-349 | NOEL, PA, RP, SOC, WOCN
143 | 23-10619 | 13989473 | 11/30/2023 08:00 | 11/30/2023 15:00 | FRANKLIN: 115KV CAP GROUP 1 | FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: 115KV CAP GROUP 1, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA