## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-13128 | 13358159 | 08/17/2022 08:00 | 01/01/2024 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
3 | 23-07910 | 13404415 | 04/17/2023 15:00 | 01/01/2024 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8, INCLUDING PCB A-1416 | TROUTDALE: 500/230KV TRANSFORMER 8, OSTRANDER-TROUTDALE NO 1 500KV LINE, INCLUDING PCB A-1416 | SIG, WOCS, SOA
4 | 23-05853 | 13115063 | 08/10/2023 08:00 | 11/17/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
5 | 23-13490 | 14105094 | 08/15/2023 08:00 | 11/13/2023 15:00 | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING
6 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
7 | 23-00864 |  | 10/01/2023 08:00 | 01/30/2024 16:00 | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | COI
8 | 23-05088 | 13105728 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
9 | 23-05094 | 13108380 | 10/02/2023 08:00 | 11/17/2023 15:00 | SLATT-BUCKLEY NO 1 500KV LINE | SLATT-BUCKLEY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS
10 | 23-05095 | 13108392 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE | BUCKLEY-MARION NO 1 500KV LINE | NWACI, SIG, WOCS, WOJD
11 | 23-00084 | 11345939 | 10/16/2023 07:00 | 11/09/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
12 | 23-04475 | 13048225 | 10/16/2023 07:00 | 11/02/2023 15:00 | SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS | SIFTON: 230KV WEST MAIN BUS, SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: 230/115KV TRANSFORMER 1, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: PCB B-1511, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14 | SOA, GEN, LOAD, WOCS, FCRPS
13 | 23-09799 |  | 10/17/2023 08:00 | 11/06/2023 15:00 | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | SOA
14 | 23-07939 | 13545737 | 10/19/2023 16:00 | 11/17/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
15 | 23-00866 | 13892314 | 10/20/2023 15:01 | 12/19/2023 08:00 | RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978 | RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978, RED MOUNTAIN: PCB B-1978
16 | 23-11515 | 13857277 | 10/21/2023 04:00 | 11/13/2023 21:00 | CELILO: 4743 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4742 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 9054/9092 TERMINAL OF THE RICE FLATS ELECTRODE | BIG EDDY-CELILO NO 1 500KV LINE, CELILO: 4743 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4742 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 9054/9092 TERMINAL OF THE RICE FLATS ELECTRODE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG, BGEDY
17 | 23-01398 | 9539368 | 10/21/2023 04:00 | 11/13/2023 21:00 | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER | PDCI, SIG
18 | 23-05253 | 13134586 | 10/21/2023 08:00 | 11/12/2023 15:00 | CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218 | DITTMER: RAS DC-A CONTROLLER, CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
19 | 23-12786 | 14021087 | 10/23/2023 07:00 | 12/08/2023 17:00 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271, WHITE BLUFFS: PCB B-271 | TCLA
20 | 23-08683 | 13577648 | 10/23/2023 08:00 | 11/09/2023 15:00 | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP, BAXTER-FRANKLIN SECTION OF BENTON-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-620 | TCLA
21 | 23-01127 |  | 10/29/2023 22:00 | 11/03/2023 20:00 | GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B | POTHOLES-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B , COLUMBIA-GRAND COULEE NO 1 230KV LINE, GRAND COULEE-BELL NO 3 230KV LINE, GRAND COULEE: 230/115KV BANK KX2A SWITCHYARD TIE, GRAND COULEE: 230KV MAIN BUS SECTION 1A, GRAND COULEE: 230KV MAIN BUS SECTION 1B, GRAND COULEE: PCB 6084, GRAND COULEE: PCB 5886, GRAND COULEE: PCB 5782, GRAND COULEE: PCB 5686, GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5286, GRAND COULEE: PCB 5182 | NOH, CI, WOH, OKLA, LOAD, WOCN, FCRPS
22 | 23-01510 |  | 10/30/2023 08:00 | 12/01/2023 16:00 | PSE- SAMMAMISH 230KV WEST AND MID BUS | PSE- SAMMAMISH 230KV WEST AND MID BUS, BOTHELL (SCL)-SAMMAMISH 230KV LINE, PSE- SAMMAMISH-NOVELTY HILL 2 230KV LINE | NOEL, SOC
23 | 23-10774 | 13777763 | 10/30/2023 08:00 | 11/05/2023 18:00 | BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048 | BIG EDDY: 115KV MAIN BUS SECTION 2, BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048, BIG EDDY: 115KV MAIN BUS SECTION 3, BIG EDDY: PCB B-1048, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720, BIG EDDY-DE MOSS NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1060 | GEN, LOAD, BGEDY, WOJD, FCRPS
24 | 23-11226 | 14021133 | 10/30/2023 08:00 | 11/04/2023 17:00 | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | TCLA, LOAD
25 | 23-07024 | 13321598 | 10/30/2023 08:00 | 11/02/2023 15:00 | MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN NO 1 500KV LINE | COI, NWACI, BCHT, BCHW, NI
26 | 23-05042 | 12986164 | 10/30/2023 11:00 | 02/28/2024 15:00 | NVE - HILLTOP-FORT SAGE 345KV LINE | NVE - HILLTOP-FORT SAGE 345KV LINE | RATS
27 | 23-11839 | 13990118 | 10/31/2023 07:30 | 11/08/2023 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
28 | 23-09069 | 13549650 | 11/01/2023 07:00 | 11/02/2023 16:00 | RAVER: PCB 4305 | RAVER: PCB 4305 | NOEL, RP, SOC, WOCN
29 | 23-09090 | 13656972 | 11/01/2023 07:00 | 11/02/2023 16:00 | SHELTON: PCB B-1130 INCLUDING THE 115KV CAP GROUP 1 SECTIONS 1&2 | SHELTON: 115KV CAP GROUP 1 SECTION 1, SHELTON: PCB B-1130 INCLUDING THE 115KV CAP GROUP 1 SECTIONS 1&2, SHELTON: 115KV CAP GROUP 1 SECTION 2, SHELTON: PCB B-1130
30 | 23-09530 | 13609168 | 11/01/2023 07:00 | 11/01/2023 16:00 | MCNARY: PCB 5204 | MCNARY: PCB 5204
31 | 23-04282 | 13039613 | 11/01/2023 08:00 | 11/02/2023 15:00 | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4209 | GEN, PDCI, WOJD, BGEDY
32 | 23-07649 | 13394988 | 11/01/2023 08:00 | 11/02/2023 15:00 | OSTRANDER: PCB 4442 | OSTRANDER: PCB 4442 | WOCS
33 | 23-09971 | 13663848 | 11/01/2023 08:00 | 11/02/2023 00:15 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
34 | 23-00791 | 12889050 | 11/01/2023 08:00 | 11/01/2023 16:00 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420, CENTRAL FERRY: 500KV EAST BUS, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: 500KV CAP GROUP 1, CENTRAL FERRY: PCB 5430, CENTRAL FERRY: MOD 5420 | WOLM, WOH
35 | 23-13339 | 14096850 | 11/01/2023 08:00 | 11/01/2023 15:00 | VANTAGE-COLUMBIA NO 1 230KV LINE | VANTAGE-COLUMBIA NO 1 230KV LINE | GEN, NOH, CI, SIG
36 | 23-05611 | 13267991 | 11/01/2023 08:00 | 11/01/2023 15:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
37 | 23-01099 | 13231546 | 11/01/2023 08:00 | 11/01/2023 15:00 | DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1 | DWORSHAK: PCB 4652, DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1, DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1 | MT-NW, GEN, WOH
38 | 23-09512 | 13609465 | 11/02/2023 06:30 | 11/02/2023 16:00 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | LOAD, NOEL, SOC, BCHT, BCHW
39 | 23-01101 | 13478645 | 11/02/2023 08:00 | 11/02/2023 15:00 | DWORSHAK PH-DWORSHAK NO 1 500KV LINE, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS | DWORSHAK: PCB 4656, DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK: 500KV REACTOR 2, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS, DWORSHAK: PCB 4650, DWORSHAK: 500KV EAST BUS | MT-NW, GEN, SIG, FCRPS, WOH
40 | 23-09834 | 13664099 | 11/02/2023 08:00 | 11/02/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
41 | 23-05614 | 13267996 | 11/02/2023 08:00 | 11/02/2023 15:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
42 | 23-04283 | 13039619 | 11/02/2023 15:00 | 11/02/2023 16:00 | BIG EDDY: PCB 4860 | BIG EDDY: PCB 4860 | PDCI, WOJD, BGEDY
43 | 23-12474 | 13991333 | 11/03/2023 07:00 | 11/08/2023 17:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, NORTH BONNEVILLE: PCB A-14, ROSS: PCB A-22, SIFTON: PCB B-1511, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON: 230/115KV TRANSFORMER 1 | WOCS, SOA
44 | 23-02970 | 12943015 | 11/04/2023 06:00 | 11/05/2023 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, COI, NWACI, PDCI
45 | 23-01764 |  | 11/06/2023 06:00 | 11/08/2023 17:00 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5, GRAND COULEE: 115KV AUX BUS SECTION 1
46 | 23-13511 | 14126586 | 11/06/2023 06:30 | 11/17/2023 16:00 | GOSHEN-DRUMMOND NO 1 161KV LINE INCLUDING THE DRUMMOND: 161/115KV TRANSFORMER NO 4 | DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND NO 1 161KV LINE INCLUDING THE DRUMMOND: 161/115KV TRANSFORMER NO 4, GOSHEN-DRUMMOND NO 1 161KV LINE, DRUMMOND: PCB B-1831, GOSHEN: PCB B-828 | GEN, LOAD, SEIL
47 | 23-09070 | 13549660 | 11/06/2023 07:00 | 11/07/2023 15:00 | RAVER: PCB 4879 | RAVER: PCB 4879 | NOEL, RP, SOC, WOCN
48 | 23-09538 | 13613555 | 11/06/2023 07:00 | 11/06/2023 15:00 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 , SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 | WOJD, WOM, WOS
49 | 23-07651 | 13394992 | 11/06/2023 08:00 | 11/07/2023 15:00 | OSTRANDER: PCB 4439 | OSTRANDER: PCB 4439 | WOCS
50 | 23-09880 | 13696503 | 11/06/2023 08:00 | 11/06/2023 15:00 | MIDWAY: 230KV MAIN BUS SECTION 2, INCLUDING PCB A-54 | MIDWAY: 230KV MAIN BUS SECTION 2, MIDWAY: A-54 MAIN BUS DISC, MIDWAY: PCB A-54, INCLUDING PCB A-54, MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY-VANTAGE NO 1 230KV LINE, MIDWAY-BENTON NO 2 230KV LINE, MIDWAY-WANAPUM SECTION OF MIDWAY-PRIEST RAPIDS NO 3 230KV LINE | WOM, TCLA, GEN, NOH, WI
51 | 22-01809 | 10633216 | 11/06/2023 09:00 | 11/06/2023 14:00 | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE) | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE), BUCKLEY: PCB 4961, BUCKLEY: PCB 4964, BUCKLEY-GRIZZLY NO 1 500KV LINE | NWACI, WOJD, WOM, WOS, COI, WOCS, BCHT, BCHW, NI, PDCI, SIG
52 | 23-09800 | 13628553 | 11/07/2023 06:00 | 11/30/2023 16:00 | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA
53 | 23-09614 | 13614879 | 11/07/2023 07:00 | 11/07/2023 16:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
54 | 23-00407 | 12252239 | 11/07/2023 08:00 | 11/09/2023 15:00 | MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906 | MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE BREA: BENTON REA 115KV FEEDER 1, MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906, RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE TAP TO MIDWAY-MOXEE NO 1 115KV LINE | TCLA
55 | 23-13501 | 14125201 | 11/07/2023 08:00 | 11/07/2023 16:00 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP 1 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP 1, COSMOPOLIS: PCB B-1335, COSMOPOLIS: 115KV CAP GROUP 1
56 | 23-05827 | 13268125 | 11/07/2023 08:00 | 11/07/2023 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI, COI
57 | 22-01810 | 10633200 | 11/07/2023 09:00 | 11/07/2023 14:00 | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE) | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE), BUCKLEY: PCB 4964, BUCKLEY: PCB 4967, BUCKLEY-MARION NO 1 500KV LINE | NWACI, WOCS, WOJD, COI, WOM, WOS, PDCI, SIG
58 | 23-09615 | 13614868 | 11/08/2023 07:00 | 11/08/2023 16:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
59 | 22-01806 | 10633205 | 11/08/2023 09:00 | 11/08/2023 14:00 | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE) | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE), BUCKLEY: PCB 4967, BUCKLEY: PCB 4961, SLATT-BUCKLEY NO 1 500KV LINE | NWACI, WOCS, WOJD, WOM, WOS, COI, PDCI, SIG
60 | 23-08874 | 13578224 | 11/09/2023 10:00 | 11/09/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
61 | 23-08876 | 13578250 | 11/09/2023 11:00 | 11/09/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
62 | 23-08877 | 13578306 | 11/09/2023 12:30 | 11/09/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
63 | 23-08878 | 13578338 | 11/09/2023 13:30 | 11/09/2023 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
64 | 23-08892 | 13577687 | 11/09/2023 16:30 | 11/09/2023 17:00 | MCNARY PH-MCNARY NO 6 115KV LINE | MCNARY PH-MCNARY NO 6 115KV LINE, MCNARY: PCB B-990 | GEN, FCRPS, WOM
65 | 23-07940 | 13550041 | 11/10/2023 06:00 | 11/10/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, SIG, CI, IROL, NOH
66 | 23-00089 | 11350694 | 11/10/2023 07:30 | 11/13/2023 16:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE, BENTON-FRANKLIN NO 2 115KV LINE | TCLA, LOAD, WOM
67 | 23-07941 | 13551815 | 11/10/2023 16:00 | 12/18/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: PCB A-1108, MAPLE VALLEY: PCB A-1139, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
68 | 23-00085 | 11345942 | 11/13/2023 07:00 | 12/01/2023 16:00 | HANFORD-WAUTOMA NO 1 500KV LINE | HANFORD-WAUTOMA NO 1 500KV LINE, HANFORD: PCB 4092, HANFORD: PCB 4095, WAUTOMA: PCB 5250, WAUTOMA: PCB 5253 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOLM, WOCN
69 | 23-09618 | 13806211 | 11/13/2023 07:00 | 11/14/2023 16:00 | MCNARY: PCB 5198 | MCNARY: PCB 5198 | WOM
70 | 23-11106 | 13811965 | 11/13/2023 08:00 | 11/19/2023 18:00 | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: 115KV AUX BUS, BIG EDDY: PCB B-1692, BIG EDDY: PCB B-1054 | GEN, SOA, FCRPS
71 | 23-05824 | 13208888 | 11/13/2023 08:00 | 11/16/2023 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, WOH, WOLM
72 | 23-13237 |  | 11/13/2023 08:00 | 11/14/2023 16:00 | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082, & SOUTH MAIN BUS PT'S | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082, & SOUTH MAIN BUS PT'S
73 | 22-06618 | 11597722 | 11/13/2023 08:00 | 11/14/2023 16:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD
74 | 23-09884 | 13664211 | 11/13/2023 08:00 | 11/14/2023 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE, INCLUDING WAUTOMA: PCB 5244 AND PCB 5241 | SCHULTZ-WAUTOMA NO 1 500KV LINE, WAUTOMA: PCB 5244, WAUTOMA: MOD 5243, INCLUDING WAUTOMA: PCB 5244 AND PCB 5241, WAUTOMA: PCB 5241, WAUTOMA: MOD 5242 | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
75 | 23-11298 | 13842295 | 11/13/2023 08:00 | 11/13/2023 15:00 | JOHN DAY: PCB 4191 | JOHN DAY: PCB 4191 | NWACI, PDCI, WOJD, WOM, COI
76 | 23-11516 | 13857318 | 11/13/2023 21:00 | 11/22/2023 21:00 | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG
77 | 23-12481 | 13996460 | 11/15/2023 07:00 | 11/21/2023 17:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, NORTH BONNEVILLE: PCB A-14, ROSS: PCB A-22, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: 230/115KV TRANSFORMER 1, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: PCB B-1511 | WOCS, SOA, GEN, LOAD, FCRPS
78 | 23-11841 | 13990135 | 11/15/2023 07:30 | 11/21/2023 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
79 | 23-11299 | 13842300 | 11/15/2023 08:00 | 11/15/2023 15:00 | JOHN DAY: PCB 4825 | JOHN DAY: PCB 4825 | JDAY, NWACI, PDCI, WOJD
80 | 23-09624 | 13610154 | 11/16/2023 07:00 | 11/16/2023 16:00 | SLATT: PCB 5006 | SLATT: PCB 5006 | WOS
81 | 23-13122 | 14061311 | 11/16/2023 08:00 | 11/16/2023 15:00 | OREGON CITY: PCB B-266 INCLUDING THE 115KV CAP GROUP 1 | OREGON CITY: 115KV CAP GROUP 1, OREGON CITY: PCB B-266 INCLUDING THE 115KV CAP GROUP 1, OREGON CITY: PCB B-266
82 | 23-12212 | 13939579 | 11/18/2023 07:00 | 11/20/2023 18:00 | SNO-KING: A-1198 AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY 1 230KV LINE | SNO-KING: A-1198 AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC, SIG
83 | 23-12213 | 13939677 | 11/18/2023 07:00 | 11/20/2023 18:00 | SNO-KING: A-1417 AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY 2 230KV LINE | SNO-KING: A-1417 AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, SIG
84 | 23-09622 | 13610160 | 11/20/2023 07:00 | 11/21/2023 16:00 | SLATT: PCB 5268 | SLATT: PCB 5268 | WOJD
85 | 23-09335 | 13589504 | 11/20/2023 07:30 | 11/21/2023 15:00 | MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS | MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS, MIDWAY: 230/13.8KV BOOSTER TRANSFORMER 3, MIDWAY: PCB B-154, MIDWAY: 115KV AUX BUS, MIDWAY: 13.8KV PCB L-1034, MIDWAY: PCB A-110 | TCLA, WOM
86 | 23-11300 | 13842307 | 11/20/2023 08:00 | 11/21/2023 15:00 | JOHN DAY: PCB 4155 | JOHN DAY: PCB 4155 | NWACI, WOJD
87 | 23-11362 | 13939016 | 11/20/2023 08:30 | 11/21/2023 15:00 | WARNER: PCB B-133 INCLUDING 115KV CAP GROUP 1 | WARNER: 115KV CAP GROUP 1, WARNER: PCB B-133 INCLUDING 115KV CAP GROUP 1, WARNER: PCB B-133
88 | 23-13674 | 14140851 | 11/21/2023 07:00 | 11/21/2023 16:00 | TRENTWOOD: PCB B-1937 INCLUDING 115KV CAP GROUP 1 SECTION 1 | TRENTWOOD: PCB B-1937 INCLUDING 115KV CAP GROUP 1 SECTION 1, TRENTWOOD: PCB B-1937, TRENTWOOD: 115KV CAP GROUP 1 SECTION 1
89 | 23-13697 | 14140860 | 11/22/2023 08:00 | 11/22/2023 15:00 | TRENTWOOD: PCB B-1938 INCLUDING 115KV CAP GROUP 1 SECTION 2 | TRENTWOOD: PCB B-1938 INCLUDING 115KV CAP GROUP 1 SECTION 2, TRENTWOOD: PCB B-1938, TRENTWOOD: 115KV CAP GROUP 1 SECTION 2
90 | 23-09547 | 13594410 | 11/22/2023 10:00 | 11/22/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
91 | 23-09549 | 13594426 | 11/22/2023 11:00 | 11/22/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
92 | 23-09550 | 13594429 | 11/22/2023 12:30 | 11/22/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
93 | 23-11108 | 13806536 | 11/27/2023 08:00 | 12/03/2023 18:00 | THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B | BIG EDDY: 115/13.2KV TRANSFORMER 8, THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720 | GEN, FCRPS
94 | 23-10192 | 13974821 | 11/27/2023 08:00 | 11/30/2023 15:00 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | CAPTAIN JACK: 500KV CAP GROUP 3, CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3, CAPTAIN JACK: PCB 4928 | COI, NWACI
95 | 23-10738 |  | 11/28/2023 06:00 | 12/22/2023 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
96 | 23-12134 | 13991845 | 11/29/2023 07:00 | 11/30/2023 17:00 | CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540 | CUSTER: PCB A-1246, CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540, CUSTER: PCB A-1540, CUSTER-PORTAL WAY NO 1 230KV LINE | BCHT, BCHW, NOEL, SOC, NI
97 | 23-10619 | 13989473 | 11/30/2023 08:00 | 11/30/2023 15:00 | FRANKLIN: 115KV CAP GROUP 1 | FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: 115KV CAP GROUP 1, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA
98 | 23-09801 | 13628633 | 12/04/2023 06:00 | 12/08/2023 16:00 | KEELER: A-899 TERMINAL OF THE KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: A-899 TERMINAL OF THE KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-899 | LOAD, SOA, SIG
99 | 23-00083 | 11346150 | 12/04/2023 07:00 | 12/08/2023 16:00 | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY-BENTON NO 2 230KV LINE | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY: PCB A-56, MIDWAY-BENTON NO 2 230KV LINE | GEN, TCLA, WOM
100 | 23-09627 | 13610169 | 12/04/2023 07:00 | 12/05/2023 16:00 | SLATT: PCB 5045 | SLATT: PCB 5045 | WOJD
101 | 23-09443 |  | 12/04/2023 08:00 | 12/07/2023 15:30 | MONROE: 500KV CAP GROUP 2 RELAYS | MONROE: 500KV CAP GROUP 2 RELAYS
102 | 23-04734 | 13135474 | 12/04/2023 08:00 | 12/07/2023 15:00 | TAFT: PCB 4148 | TAFT: PCB 4148 | MT-NW, WOH
103 | 23-13111 | 14040889 | 12/04/2023 08:00 | 12/04/2023 20:00 | SCL - BOTHELL-CANAL 115KV LINE | SCL - BOTHELL-CANAL 115KV LINE | SOC/NOEL
104 | 23-09579 | 13621020 | 12/04/2023 08:00 | 12/04/2023 16:00 | ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898 | ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898, ASHE-HANFORD NO 1 500KV LINE, ASHE: PCB 4901, ASHE: PCB 4898, HANFORD: PCB 4107, HANFORD: PCB 4104 | NOH, NWACI, SIG, FCRPS, WOM, WOS
105 | 23-01332 | 12841019 | 12/05/2023 07:00 | 12/05/2023 16:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, INCLUDING PCB A-235 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: PCB A-235, INCLUDING PCB A-235 | COI, PDCI, NWACI
106 | 23-10193 | 13974733 | 12/05/2023 08:00 | 12/07/2023 15:00 | CAPTAIN JACK: PCB 4993 | CAPTAIN JACK: PCB 4993 | NWACI, COI
107 | 23-13113 | 14040903 | 12/05/2023 08:00 | 12/05/2023 20:00 | SCL - VIEWLAND-CANAL 115KV LINE | SCL - VIEWLAND-CANAL 115KV LINE | SOC/NOEL
108 | 23-09889 | 13671168 | 12/05/2023 08:00 | 12/05/2023 15:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING WAUTOMA PCB 5250. | HANFORD-WAUTOMA NO 1 500KV LINE, WAUTOMA: MOD 5251, INCLUDING WAUTOMA PCB 5250., WAUTOMA: PCB 5250 | NOH, SIG, WOCN
109 | 23-09451 | 13684766 | 12/05/2023 08:00 | 12/05/2023 15:00 | PEARL: PCB 4510 | PEARL: PCB 4510 | SOA
110 | 23-09630 | 13615677 | 12/06/2023 07:00 | 12/07/2023 16:00 | SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 | SLATT: PCB 5330, SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 , SLATT: 500KV CAP GROUP 1 | WOJD, WOS
111 | 23-01333 | 12841134 | 12/06/2023 07:00 | 12/06/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, INCLUDING PCB A-237 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: PCB A-237, INCLUDING PCB A-237 | COI, PDCI, NWACI
112 | 23-09694 | 13671215 | 12/06/2023 08:00 | 12/07/2023 15:00 | WAUTOMA: 500KV EAST BUS AND REACTOR 1 INCLUDING PCB 5244 ,PCB 5253, AND PCB 5262 | WAUTOMA: 500KV EAST BUS AND REACTOR 1 INCLUDING PCB 5244 ,PCB 5253, AND PCB 5262, WAUTOMA: 500KV EAST BUS, WAUTOMA: 500KV REACTOR 1, WAUTOMA: PCB 5244, WAUTOMA: PCB 5253, WAUTOMA: PCB 5262 | WOCN, NOH
113 | 23-13115 | 14040924 | 12/06/2023 08:00 | 12/06/2023 20:00 | SCL - VIEWLAND-CANAL 115KV LINE | SCL - VIEWLAND-CANAL 115KV LINE | SOC/NOEL
114 | 23-09449 | 13664242 | 12/06/2023 12:30 | 12/06/2023 15:30 | MONROE: 500KV CAP GROUP 2, MONROE: PCB 4715 | MONROE: 500KV CAP GROUP 2, MONROE: PCB 4715 | IROL, NI, NOEL, SOC, WOCN
115 | 23-01334 | 12841191 | 12/07/2023 07:00 | 12/07/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, INCLUDING PCB A-239 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: PCB A-239, INCLUDING PCB A-239 | COI, PDCI, NWACI
116 | 23-13118 | 14040935 | 12/07/2023 08:00 | 12/07/2023 20:00 | SCL - CANAL-BROAD STREET 115KV LINE | SCL - CANAL-BROAD STREET 115KV LINE | SOC/NOEL
117 | 23-09551 | 13594527 | 12/07/2023 10:00 | 12/07/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
118 | 23-09553 | 13594531 | 12/07/2023 11:00 | 12/07/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
119 | 23-09554 | 13594573 | 12/07/2023 12:30 | 12/07/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
120 | 23-13119 | 14040955 | 12/08/2023 08:00 | 12/08/2023 20:00 | SCL - CANAL-BROAD STREET 115KV LINE | SCL - CANAL-BROAD STREET 115KV LINE | SOC/NOEL
121 | 23-00086 | 11346151 | 12/11/2023 07:00 | 12/15/2023 16:00 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE, INCLUDING ASHE: PCB 5327 | ASHE: PCB 5324, LOWER MONUMENTAL-ASHE NO 1 500KV LINE, ASHE: PCB 5327, INCLUDING ASHE: PCB 5327, LOWER MONUMENTAL: MOD 4678 | GEN, NWACI, FCRPS, WOLM, SIG
122 | 23-09628 | 13610173 | 12/11/2023 07:00 | 12/12/2023 16:00 | SLATT: PCB 5375 | SLATT: PCB 5375 | WOJD
123 | 23-11076 | 14028516 | 12/11/2023 08:00 | 12/12/2023 15:00 | HANFORD: PCB 4104 | HANFORD: PCB 4104 | NOH, WOM, WOS
124 | 23-13120 | 14040984 | 12/11/2023 08:00 | 12/11/2023 20:00 | SCL - BOTHELL-CANAL 115KV LINE | SCL - BOTHELL-CANAL 115KV LINE | SOC/NOEL
125 | 23-04757 | 13135559 | 12/11/2023 11:00 | 12/11/2023 15:00 | TAFT: HSGS 7812, (TAFT-BELL #1 500KV LINE FORCED OUT) | TAFT: HSGS 7812, TAFT-BELL NO 1 500KV LINE, (TAFT-BELL #1 500KV LINE FORCED OUT) | GEN, MT-NW, SIG, WOH, RP
126 | 23-04759 | 13135465 | 12/12/2023 07:00 | 12/12/2023 12:00 | TAFT: PCB 4111 | TAFT: PCB 4111 | GEN, MT-NW, NOH, WOH
127 | 23-13094 | 14041162 | 12/12/2023 08:00 | 12/12/2023 20:00 | SCL - BOTHELL-UNIVERSITY 115KV LINE | SCL - BOTHELL-UNIVERSITY 115KV LINE | SOC/NOEL
128 | 23-04762 | 13135489 | 12/13/2023 07:00 | 12/13/2023 12:00 | TAFT: PCB 4119 | TAFT: PCB 4119 | MT-NW, WOH
129 | 23-11125 | 13812732 | 12/14/2023 08:00 | 12/14/2023 15:00 | ASHE: PCB 4898 | ASHE: PCB 4898 | NWACI, FCRPS
130 | 23-11024 | 13812517 | 12/14/2023 08:00 | 12/14/2023 11:00 | ECHO LAKE: PCB 5111 | ECHO LAKE: PCB 5111 | BCHT, BCHW, NOEL, SOC, NI, WOCN
131 | 23-11025 | 13812519 | 12/14/2023 11:00 | 12/14/2023 14:00 | ECHO LAKE: PCB 5114 | ECHO LAKE: PCB 5114 | BCHT, BCHW, NOEL, SOC, WOCN, NI
132 | 23-11128 | 14028523 | 12/18/2023 08:00 | 12/20/2023 15:00 | HANFORD: PCB 4007 | HANFORD: PCB 4007 | NOH, WOM, WOS
133 | 23-07942 | 13556959 | 12/18/2023 08:00 | 12/18/2023 15:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: PCB A-1140, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4 | NOEL, SOC, NI, WOCN, SIG, CI, IROL, NOH
134 | 23-07943 | 13557017 | 12/19/2023 07:00 | 12/19/2023 15:00 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: 230KV MAIN BUS SECTION 3, MAPLE VALLEY: PCB A-1140, MAPLE VALLEY: 20KV SVC, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, NI, WOCN, IROL, SIG
135 | 23-11753 | 13892356 | 12/19/2023 08:01 | 12/21/2023 11:00 | RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976, B-1978 AND PCB B-2170 | RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976, B-1978 AND PCB B-2170, RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: PCB B-1978, RED MOUNTAIN: BENTON CO PUD 115KV FEEDER 1 | TCLA, LOAD
136 | 23-04766 | 13135509 | 12/20/2023 07:00 | 12/20/2023 12:00 | TAFT: PCB 4114 | TAFT: PCB 4114 | MT-NW, WOH
137 | 23-04768 | 13165344 | 12/21/2023 07:00 | 12/21/2023 12:00 | TAFT: PCB 4122 | TAFT: PCB 4122 | MT-NW, WOH
138 | 23-09555 | 13594601 | 12/21/2023 10:00 | 12/21/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
139 | 23-09557 | 13594626 | 12/21/2023 11:00 | 12/21/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
140 | 23-09558 | 13594629 | 12/21/2023 12:30 | 12/21/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
141 | 24-00037 | 11350939 | 01/02/2024 07:00 | 01/19/2024 16:00 | ASHE-HANFORD NO 1 500KV LINE | ASHE: PCB 4898, ASHE-HANFORD NO 1 500KV LINE, ASHE: PCB 4901, HANFORD: PCB 4104, HANFORD: PCB 4107 | NWACI, FCRPS, NOH, WOM, WOS, SIG
142 | 24-00253 | 13990130 | 01/02/2024 07:00 | 01/02/2024 16:00 | RAVER: PCB 4792 | RAVER: PCB 4792 | NOEL, RP, SOC, WOCN
143 | 23-09631 | 13613496 | 01/03/2024 07:00 | 01/04/2024 16:00 | SLATT: PCB 5043 | SLATT: PCB 5043 | WOJD
144 | 24-00254 | 13990217 | 01/03/2024 07:00 | 01/04/2024 15:00 | RAVER: PCB 4308 | RAVER: PCB 4308 | NOEL, RP, SOC, WOCN
145 | 24-00219 | 13981525 | 01/03/2024 08:00 | 01/03/2024 16:00 | WAUTOMA: PCB 5241 | WAUTOMA: PCB 5241 | NOH, WOCN
146 | 24-00175 |  | 01/04/2024 06:00 | 02/08/2024 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
147 | 24-00186 | 13842417 | 01/04/2024 10:00 | 01/04/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
148 | 24-00189 | 13857290 | 01/04/2024 11:00 | 01/04/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
149 | 24-00190 | 13857306 | 01/04/2024 12:30 | 01/04/2024 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
150 | 24-00150 | 13655801 | 01/08/2024 07:00 | 01/09/2024 16:00 | SLATT: PCB 5266 | SLATT: PCB 5266 | WOJD
151 | 24-00255 | 13990679 | 01/08/2024 07:00 | 01/09/2024 15:00 | ECHO LAKE: PCB 5117 | ECHO LAKE: PCB 5117 | BCHT, BCHW, NOEL, SOC, WOCN, NI
152 | 24-00108 | 13196821 | 01/08/2024 07:00 | 01/08/2024 07:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
153 | 23-06963 | 13301959 | 01/08/2024 07:30 | 01/10/2024 15:00 | BENTON-WHITE BLUFFS NO 1 115KV LINE | BENTON-WHITE BLUFFS NO 1 115KV LINE, BENTON: PCB B-536, WHITE BLUFFS: PCB B-1911 | TCLA
154 | 23-00131 | 11597611 | 01/10/2024 08:00 | 01/12/2024 16:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | JOHN DAY-GRIZZLY NO 2 500KV LINE, GRIZZLY: PCB 4042, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
155 | 24-00061 | 12879676 | 01/15/2024 08:00 | 01/15/2024 16:00 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4042 | GRIZZLY: PCB 4042, GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4042 | NWACI, WOJD, COI, PDCI
156 | 24-00337 | 13990665 | 01/16/2024 07:00 | 01/17/2024 15:00 | ECHO LAKE: PCB 5121 | ECHO LAKE: PCB 5121 | BCHT, BCHW, NOEL, SOC, WOCN, NI
157 | 24-00222 | 14028589 | 01/16/2024 08:00 | 01/18/2024 15:00 | HANFORD: PCB 4003 | HANFORD: PCB 4003 | NOH, WOM, WOS
158 | 23-10590 |  | 01/17/2024 08:00 | 01/17/2024 15:00 | CAPTAIN JACK: GRIZZLY 1 500KV LINE MWTT SET 1 CKT 7147 & SET 2 CKT 7137 AND THE GRIZZLY-PONDEROSA 1 500KV LINE RELAY SET 1 POND RRTT CKT 7E82 & SET 2 CKT 7E84 | CAPTAIN JACK: GRIZZLY 1 500KV LINE MWTT SET 1 CKT 7147, CAPTAIN JACK: GRIZZLY 1 500KV LINE MWTT SET 1 CKT 7147 & SET 2 CKT 7137 AND THE GRIZZLY-PONDEROSA 1 500KV LINE RELAY SET 1 POND RRTT CKT 7E82 & SET 2 CKT 7E84, CAPTAIN JACK: GRIZZLY 1 500KV LINE MWTT SET 2 CKT 7137, CAPTAIN JACK: GRIZZLY-PONDEROSA 1 500KV LINE RELAY SET 1 POND RRTT CIRCUIT 7E82, CAPTAIN JACK: GRIZZLY-PONDEROSA 1 500KV LINE RELAY SET 2 POND RRTT CIRCUIT 7E84
159 | 24-00114 | 13974252 | 01/17/2024 08:00 | 01/17/2024 15:00 | GRIZZLY: PCB 5025 | GRIZZLY: PCB 5025 | NWACI, COI
160 | 24-00194 | 13857411 | 01/18/2024 10:00 | 01/18/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
161 | 24-00197 | 13857473 | 01/18/2024 11:00 | 01/18/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
162 | 24-00109 | 13196828 | 01/18/2024 12:00 | 01/18/2024 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
163 | 24-00198 | 13857483 | 01/18/2024 12:30 | 01/18/2024 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
164 | 23-02157 | 13039221 | 01/22/2024 07:00 | 01/23/2024 16:00 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 230KV PCB A-440, BUSTIE PCB A-437 AND 115KV PCB B-978 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 230KV PCB A-440, BUSTIE PCB A-437 AND 115KV PCB B-978 , MCNARY: 230/115KV TRANSFORMER 9, MCNARY: PCB A-440, MCNARY: PCB A-437, MCNARY: PCB B-978 | WOM
165 | 24-00034 | 11346165 | 01/22/2024 07:30 | 02/09/2024 16:00 | MIDWAY-BENTON NO 1 115KV LINE INCLUDING SCOOTENEY TAP-SAGEHILL SECTION, SCOOTENEY TAP-SAGEHILL SECTION OF SCOOTENEY TAP TO MIDWAY-BENTON NO 1 115KV LINE | MIDWAY-BENTON NO 1 115KV LINE INCLUDING SCOOTENEY TAP-SAGEHILL SECTION, SCOOTENEY TAP-SAGEHILL SECTION OF SCOOTENEY TAP TO MIDWAY-BENTON NO 1 115KV LINE, MIDWAY: PCB B-152, BENTON: PCB B-540, SAGEHILL: B-463 LSD | TCLA, GEN, TCLA
166 | 24-00221 | 14028749 | 01/22/2024 08:00 | 01/24/2024 15:00 | HANFORD: PCB 4101 | HANFORD: PCB 4101 | NOH, WOM, WOS
167 | 23-04481 | 13048487 | 01/24/2024 08:00 | 01/24/2024 15:00 | JOHN DAY: PCB 4825 | JOHN DAY: PCB 4825 | JDAY, NWACI, PDCI, WOJD
168 | 24-00235 | 13938572 | 01/25/2024 07:00 | 01/25/2024 15:00 | BELL-AVA NORTHEAST NO 3 115KV LINE INCLUDING PCB B-356 AND BUS TIE PCB B-348 | BELL-AVA NORTHEAST NO 3 115KV LINE INCLUDING PCB B-356 AND BUS TIE PCB B-348, BELL-AVA NORTHEAST NO 3 115KV LINE, BELL: PCB B-356, BELL: PCB B-348 | LOAD, WOH
169 | 23-01573 | 12793365 | 01/29/2024 07:00 | 01/29/2024 16:00 | MCNARY: 115KV MAIN BUS SECTION 2 | MCNARY: 115KV MAIN BUS SECTION 2, MCNARY PH-MCNARY NO 6 115KV LINE, MCNARY: UMATILLA E COOP 115KV FEEDER 4 TO HERMISTON BUTTE, MCNARY: 115/69KV TRANSFORMER 10, MCNARY: 230/115KV TRANSFORMER 11, MCNARY: PCB B-997, MCNARY: PCB B-995, MCNARY: PCB B-994, MCNARY: PCB B-987, MCNARY: PCB B-990, MCNARY: PCB B-983, MCNARY: PACIFICORP (PACW) 69KV FEEDER 1, MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE | WOM, GEN, FCRPS, LOAD
170 | 24-00111 | 13202389 | 01/29/2024 07:00 | 01/29/2024 07:30 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS