## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-16314 | 12638795 | 11/01/2022 00:00 | 10/31/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
3 | 22-16315 | 12638803 | 11/01/2022 00:00 | 10/31/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
4 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2023 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
5 | 22-17286 | 12810179 | 12/06/2022 17:01 | 01/30/2024 19:00 | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS, RICHLAND: 115KV CAP GROUP 1 SECTION 1, RICHLAND: 115KV CAP GROUP 1 SECTION 2, RICHLAND: LBD B-287, RICHLAND: LBD B-311, RICHLAND: B-287 CAP GROUP 1 SECTION 1 DISC, RICHLAND: B-311 CAP GROUP 1 SECTION 2 DISC, RICHLAND: 115KV REACTIVE BUS | TCLA, LOAD
6 | 23-04495 |  | 01/28/2023 16:00 | 01/01/2024 15:00 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | NOEL, SOC, WOCN, IROL
7 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
8 | 23-04603 | 13571342 | 01/31/2023 09:00 | 01/31/2024 15:00 | BUCKLEY: PCB 4967 | BUCKLEY: PCB 4967 | NWACI, WOCS, WOJD, WOM, WOS, GRZN
9 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
10 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/19/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
11 | 23-06719 | 13302445 | 04/10/2023 07:30 | 10/31/2023 16:00 | -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | AXFORD-HEYE MEYER SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, HEYE MEYER-HOCKINSON SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | LOAD
12 | 23-07910 | 13404415 | 04/17/2023 15:00 | 01/01/2024 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8, INCLUDING PCB A-1416 | TROUTDALE: 500/230KV TRANSFORMER 8, OSTRANDER-TROUTDALE NO 1 500KV LINE, INCLUDING PCB A-1416 | SIG, WOCS, SOA
13 | 23-07929 | 13405704 | 04/17/2023 15:01 | 01/01/2024 15:00 | TROUTDALE: A-1416 TERMINAL OF OSTRANDER-TROUTDALE #1 500 KV LINE INCLUDING PCB A-1416 | TROUTDALE: PCB A-1416, TROUTDALE: A-1416 TERMINAL OF OSTRANDER-TROUTDALE #1 500 KV LINE INCLUDING PCB A-1416 | WOCS
14 | 23-07371 | 13334737 | 06/02/2023 08:00 | 10/31/2023 15:00 | ST. JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA
15 | 23-11045 | 13805680 | 06/28/2023 08:00 | 10/31/2023 15:00 | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | LOAD
16 | 23-08334 | 13621302 | 08/04/2023 03:01 | 10/12/2023 15:00 | POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING B-825 LINE SECT DISC | POTLATCH-DUCKABUSH SECTION OF SHELTON-FAIRMOUNT NO 1 115KV LINE, POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING B-825 LINE SECT DISC | PA
17 | 23-05853 | 13115063 | 08/10/2023 08:00 | 11/17/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
18 | 23-13490 | 14105094 | 08/15/2023 08:00 | 11/13/2023 15:00 | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING | MCNARY: 230/115KV BANK 9 TRANSFORMER RATING
19 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
20 | 23-00317 | 13683838 | 09/11/2023 05:00 | 10/05/2023 17:00 | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE, CHIEF JOSEPH PH-CHIEF JOSEPH NO 5 500KV LINE | GEN, FCRPS, NOH
21 | 23-01484 |  | 09/11/2023 08:00 | 10/27/2023 16:00 | PSE- SAMMAMISH 230KV EAST BUS | PSE- SAMMAMISH 230KV EAST BUS, SAMMAMISH-NOVELTY HILL SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, NOVELTY HILL-KLAHANIE SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC
22 | 23-12021 | 13981181 | 09/11/2023 08:00 | 10/13/2023 15:00 | MCNARY: 345/230KV TRANSFORMER 8 INCLUDING PCB A-432 | MCNARY: 345/230KV TRANSFORMER 8 INCLUDING PCB A-432, MCNARY: 345/230KV TRANSFORMER 8, MCNARY: PCB A-432 | SOA, WOCS, WOM
23 | 23-09795 |  | 09/11/2023 08:00 | 10/13/2023 15:00 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142 | MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142, ROSS: PCB A-142, ROSS: 345/230KV TRANSFORMER 4, MCNARY: PCB A-432 | SOA, WOCS, WOM
24 | 23-12043 | 13973506 | 09/11/2023 13:00 | 10/20/2023 16:00 | LANE: ALVEY-LANE #1 230KV LINE INCLUDING PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR | LANE: ALVEY-LANE #1 230KV LINE INCLUDING PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR, LANE: 230/115KV TRANSFORMER 1, ALVEY-LANE NO 1 230KV LINE, LANE: 230KV AUX BUS | EWEB, SCORC
25 | 23-07717 |  | 09/14/2023 16:00 | 10/09/2023 07:00 | MAPLE VALLEY: PCB A-1139, INCLUDING MAIN AND AUX BUS DISCONNECTS | MAPLE VALLEY: PCB A-1139, INCLUDING MAIN AND AUX BUS DISCONNECTS | NOEL, SOC
26 | 23-03174 | 12986385 | 09/18/2023 04:15 | 10/02/2023 07:00 | HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE | HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE | MT-NW, GEN
27 | 23-07728 | 13389066 | 09/18/2023 07:00 | 10/14/2023 17:00 | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK, COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE | NOEL, RP, SIG, SOC, NI, WOCN, IROL
28 | 23-00087 | 11350604 | 09/22/2023 12:00 | 10/13/2023 16:00 | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
29 | 23-02986 | 12943074 | 09/25/2023 06:00 | 10/06/2023 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
30 | 23-13291 | 14075588 | 09/25/2023 07:00 | 10/02/2023 08:00 | ASHE-MARION NO 2 500KV LINE, INCLUDING MARION PCB 4377 & 4380 (UNGROUNDED) | ASHE-MARION NO 2 500KV LINE, INCLUDING MARION PCB 4377 & 4380 (UNGROUNDED) | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM
31 | 23-11018 | 13799758 | 09/25/2023 07:30 | 10/03/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
32 | 23-13393 | 14063163 | 09/25/2023 08:00 | 10/06/2023 18:00 | SCL - CEDAR FALLS-RATTLESNAKE 115KV LINE | SCL - CEDAR FALLS-RATTLESNAKE 115KV LINE
33 | 23-12575 |  | 09/29/2023 07:00 | 10/01/2023 14:00 | DRUMMOND: 115KV MAIN BUS | DRUMMOND: 115KV MAIN BUS, DRUMMOND: 115KV STATION SERVICE PT'S, GOSHEN-DRUMMOND NO 1 161KV LINE, DRUMMOND: 115KV CAP GROUP 1, DRUMMOND: 115KV CAP GROUP 2, DRUMMOND: 161/115KV TRANSFORMER 4, DRUMMOND: 115/46KV TRANSFORMER 3, DRUMMOND: 115/46KV TRANSFORMER 1, DRUMMOND: PCB B-1502, DRUMMOND: PCB B-1681, DRUMMOND: PCB B-1682, DRUMMOND: PCB B-1683, DRUMMOND: PCB B-1684, DRUMMOND: PCB B-1686, DRUMMOND: PCB B-1753, DRUMMOND: PCB B-1831, DRUMMOND: 46KV PCB L-1736, DRUMMOND: 46KV PCB L-1742 | LOAD, GEN, SEIL
34 | 23-06327 | 13241345 | 09/30/2023 08:00 | 10/18/2023 16:00 | PGE - BETHEL-ROUND BUTTE 230KV LINE | PGE - BETHEL-ROUND BUTTE 230KV LINE | WOCS, COI, NWACI
35 | 23-06329 |  | 09/30/2023 08:00 | 10/18/2023 16:00 | -PGE- BETHEL-ROUND BUTTE 230KV LINE | -PGE- BETHEL-ROUND BUTTE 230KV LINE | COI, NWACI/PDCI, WOCS
36 | 23-11603 |  | 09/30/2023 08:00 | 10/07/2023 20:00 | SCL - TALBOT-SOUTH 230KV LINE | SCL - TALBOT-SOUTH 230KV LINE | SOC, NOEL
37 | 22-02103 | 10879173 | 09/30/2023 23:00 | 10/14/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | GEN, NOH, WOCN
38 | 23-00864 |  | 10/01/2023 08:00 | 01/30/2024 16:00 | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | COI
39 | 23-07187 | 13323756 | 10/01/2023 12:30 | 10/01/2023 17:00 | GRAND COULEE: PCB 7182 | GRAND COULEE: PCB 7182 | GEN, NOH, WOCN
40 | 23-06544 | 13267124 | 10/01/2023 22:00 | 10/06/2023 17:00 | GRAND COULEE: PCB 5782 | GRAND COULEE: PCB 5782 | NOH, WOCN
41 | 23-10164 | 13698012 | 10/02/2023 06:00 | 10/05/2023 16:30 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BANK 6 13.8KV M/B AND DISC'S L-484,L-480 AND L-478 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BANK 6 13.8KV M/B AND DISC'S L-484,L-480 AND L-478, BELL: 230/115KV TRANSFORMER 6, BELL: 13.8KV GROUNDING TRANSFORMER 6, BELL: 13.8KV PCB L-482, BELL: PCB A-376, BELL: PCB B-900, BELL-AVA BEACON NO 2 115KV LINE | MT-NW, WOH
42 | 23-03734 | 12986803 | 10/02/2023 06:00 | 10/02/2023 07:00 | LIBBY-TRUMBULL CREEK SECTION OF THE LIBBY CONKELLEY NO1 230KV LINE INCLUDING HASKILL TAP | LIBBY-TRUMBULL CREEK SECTION OF THE LIBBY CONKELLEY NO1 230KV LINE INCLUDING HASKILL TAP, LIBBY-HASKILL SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, HASKILL: FLATHEAD E COOP 230KV FEEDER 1 | MT-NW, GEN
43 | 23-10144 | 13764703 | 10/02/2023 07:00 | 10/13/2023 16:00 | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS, FLATHEAD: 230KV MAIN BUS, FLATHEAD: 230KV AUX BUS, FLATHEAD: PCB A-276, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 2, FLATHEAD: PCB A-227, FLATHEAD: PCB A-221, FLATHEAD: PCB A-219, FLATHEAD: PCB A-217 | MT-NW, GEN, LOAD
44 | 23-02785 | 12908990 | 10/02/2023 07:00 | 10/03/2023 15:00 | GARRISON: PCB 4421 | GARRISON: PCB 4421 | MT-NW
45 | 23-00427 | 13160892 | 10/02/2023 07:00 | 10/02/2023 16:00 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE, INCLUDING LOMO: PCB'S 4624, 4676 AND CENTRAL FERRY: PCB'S 5400, AND 5397 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE, LOWER MONUMENTAL: PCB 4624, LOWER MONUMENTAL: PCB 4676, INCLUDING LOMO: PCB'S 4624, 4676 AND CENTRAL FERRY: PCB'S 5400, AND 5397, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: PCB 5400 | WOH, WOLM, GEN, SIG
46 | 23-09296 | 13655799 | 10/02/2023 07:30 | 10/02/2023 17:00 | ALLSTON: PCB 4470 | ALLSTON: PCB 4470 | PA, SOA
47 | 23-07021 | 13307011 | 10/02/2023 07:30 | 10/02/2023 16:00 | ECHO LAKE: PCB 5111 | ECHO LAKE: PCB 5111 | BCHT, BCHW, NOEL, SOC, NI, WOCN
48 | 23-04995 | 13160565 | 10/02/2023 07:30 | 10/02/2023 16:00 | MONROE: PCB 4526 | MONROE: PCB 4526, MONROE: PCB 5505 | BCHT, BCHW, NOEL, SOC, NI, WOCN
49 | 23-13239 | 14075128 | 10/02/2023 07:30 | 10/02/2023 15:30 | ROSS: LBD A-23 INCLUDING CAP GROUP 2 SECTION 1 | ROSS: LBD A-23, ROSS: LBD A-23 INCLUDING CAP GROUP 2 SECTION 1, ROSS: 230KV CAP GROUP 2 SECTION 1 | SOA
50 | 23-09675 | 13621207 | 10/02/2023 07:30 | 10/02/2023 15:00 | LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267 | LA GRANDE: PCB A-267, LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267, LA GRANDE: 230KV CAP GROUP 1 | ID-NW
51 | 23-05095 | 13108392 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE | BUCKLEY-MARION NO 1 500KV LINE | NWACI, SIG, WOCS, WOJD
52 | 23-05094 | 13108380 | 10/02/2023 08:00 | 11/17/2023 15:00 | SLATT-BUCKLEY NO 1 500KV LINE | SLATT-BUCKLEY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS
53 | 23-05088 | 13105728 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
54 | 23-04213 | 13029125 | 10/02/2023 08:00 | 10/20/2023 16:00 | LA GRANDE: A-266 TERMINAL OF THE LA GRANDE-IPC NORTH POWER NO 1 230KV LINE | LA GRANDE: A-266 TERMINAL OF THE LA GRANDE-IPC NORTH POWER NO 1 230KV LINE, LA GRANDE: PCB A-266 | ID-NW
55 | 23-01413 | 12826046 | 10/02/2023 08:00 | 10/13/2023 16:00 | GRIZZLY: 500KV REACTOR 1, INCLUDING PCB 4222 | GRIZZLY: 500KV REACTOR 1, GRIZZLY: PCB 4222, INCLUDING PCB 4222 | COI, PDCI, NWACI
56 | 23-05861 | 13278499 | 10/02/2023 08:00 | 10/08/2023 16:00 | WAUTOMA: BAY 4 PCB'S 5262, 5259, 5256 (FORCES OUT HANFORD-WAUTOMA 2 AND WAUTOMA-ROCK CREEK 1 500KV LINES) | HANFORD-WAUTOMA NO 2 500KV LINE, WAUTOMA: BAY 4 PCB'S 5262, 5259, 5256 (FORCES OUT HANFORD-WAUTOMA 2 AND WAUTOMA-ROCK CREEK 1 500KV LINES), WAUTOMA-ROCK CREEK NO 1 500KV LINE, WAUTOMA: PCB 5256, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262, HANFORD: PCB 4104, HANFORD: PCB 4101, ROCK CREEK: PCB 5294, ROCK CREEK: PCB 5288 | NOH, SIG, BCHT, BCHW, NI, WOJD, WOM, WOCN, WOS, RKCR
57 | 23-10839 | 13772445 | 10/02/2023 08:00 | 10/06/2023 18:00 | JOHN DAY: 500/230KV TRANSFORMER 1, JOHN DAY: 500/230KV TRANSFORMER SPARE, INCLUDING, JOHN DAY: PCB A-1725, JOHN DAY: PCB A-1728 | JOHN DAY: 500/230KV TRANSFORMER 1, JOHN DAY: 500/230KV TRANSFORMER SPARE, INCLUDING, JOHN DAY: PCB A-1725, JOHN DAY: PCB A-1728 | GEN, JDAY, WOJD, NWACI
58 | 23-06866 |  | 10/02/2023 08:00 | 10/06/2023 16:00 | -PACW- FRY-PARRISH GAP 230KV LINE | -PACW- FRY-PARRISH GAP 230KV LINE
59 | 23-10741 | 13764199 | 10/02/2023 08:00 | 10/06/2023 16:00 | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE, PEARL: PCB A-1165, PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS
60 | 23-01366 | 12633230 | 10/02/2023 08:00 | 10/06/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE, (UNGROUNDED) | BUCKLEY-MARION NO 1 500KV LINE, (UNGROUNDED) | NWACI, PDCI, SIG, WOCS, WOJD, COI
61 | 23-07491 | 13392811 | 10/02/2023 08:00 | 10/05/2023 16:30 | VANTAGE: PCB 5351 | VANTAGE: PCB 5351 | NOH
62 | 23-07478 | 13404933 | 10/02/2023 08:00 | 10/05/2023 15:00 | TRENTWOOD: 115/6.9KV TRANSFORMER 2 RELAYS | TRENTWOOD: 115/6.9KV TRANSFORMER 2 RELAYS, TRENTWOOD: PCB B-1642, TRENTWOOD: 115KV WEST AUX BUS
63 | 23-06746 | 13317609 | 10/02/2023 08:00 | 10/05/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972 | NWACI, COI
64 | 23-13517 | 14106163 | 10/02/2023 08:00 | 10/05/2023 15:00 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | LOAD, SCORC
65 | 23-01367 | 12633234 | 10/02/2023 08:00 | 10/05/2023 08:00 | ASHE-MARION NO 2 500KV LINE, FROM REMOVED JUMPERS AT MARION LINE RISER TO ASHE (UNGROUNDED) | ASHE-MARION NO 2 500KV LINE, FROM REMOVED JUMPERS AT MARION LINE RISER TO ASHE (UNGROUNDED) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOCS, WOJD, WOM, COI
66 | 23-12059 | 13937270 | 10/02/2023 08:00 | 10/03/2023 14:00 | TETON: PCB B-1658 INCLUDING 115KV CAP GROUP #1 | TETON: 115KV CAP GROUP 1, TETON: PCB B-1658 INCLUDING 115KV CAP GROUP #1, TETON: PCB B-1658 | SEIL, LOAD
67 | 23-08248 | 13446222 | 10/02/2023 08:00 | 10/02/2023 16:00 | VALHALLA: 115KV AUX BUS | VALHALLA: 115KV AUX BUS, VALHALLA: PCB B-282
68 | 23-12582 | 13983581 | 10/02/2023 09:00 | 10/05/2023 15:00 | TUCANNON RIVER: PCB B-2018 BFR | TUCANNON RIVER: PCB B-2018, TUCANNON RIVER: PCB B-2018 BFR
69 | 23-09320 | 13587816 | 10/03/2023 07:00 | 10/13/2023 15:30 | -LVE- SNAKE RIVER TO HOBACK SECTION OF THE SNAKE RIVER-JACKSON 115KV LINE | -LVE- SNAKE RIVER TO HOBACK SECTION OF THE SNAKE RIVER-JACKSON 115KV LINE, SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
70 | 23-07022 | 13307047 | 10/03/2023 07:00 | 10/03/2023 16:00 | RAVER: PCB 4917, INCLUDING, RAVER: 500KV CAP GROUP 1 SECTION 3 | RAVER: PCB 4917, INCLUDING, RAVER: 500KV CAP GROUP 1 SECTION 3 | NOEL, RP, SOC, IROL, WOCN
71 | 23-04996 | 13160613 | 10/03/2023 07:30 | 10/03/2023 16:00 | MONROE: PCB 4516 | MONROE: PCB 4516 | BCHT, BCHW, NOEL, SOC, NI
72 | 23-13273 | 14075146 | 10/03/2023 07:30 | 10/03/2023 15:30 | ROSS: LBD A-25 INCLUDING 230KV CAP GROUP 2 SECTION 2 | ROSS: LBD A-25 INCLUDING 230KV CAP GROUP 2 SECTION 2, ROSS: LBD A-25, ROSS: 230KV CAP GROUP 2 SECTION 2 | SOA
73 | 23-00024 | 13689363 | 10/03/2023 07:30 | 10/03/2023 15:00 | KEELER: 500/230KV TRANSFORMER 2 | KEELER: 500/230KV TRANSFORMER 2, KEELER: PCB A-867, KEELER: MOD 4326 | SIG, SOA, WOCS
74 | 23-07727 | 14040714 | 10/03/2023 08:00 | 10/03/2023 16:00 | OLYMPIA: 500/230KV TRANSFORMER 5 | OLYMPIA: 500/230KV TRANSFORMER 5, PAUL-OLYMPIA NO 1 500KV LINE | LOAD, NOEL, PA, RP, SIG, IROL
75 | 23-00414 | 13307066 | 10/03/2023 08:00 | 10/03/2023 15:00 | LOWER MONUMENTAL: 500KV EAST BUS INCLUDING PCBS 4251, 4290, 4624, 4600 AND THE 500KV REACTOR #1 | LOWER MONUMENTAL: PCB 4251, LOWER MONUMENTAL: 500KV EAST BUS INCLUDING PCBS 4251, 4290, 4624, 4600 AND THE 500KV REACTOR #1, LOWER MONUMENTAL: PCB 4290, LOWER MONUMENTAL: PCB 4600, LOWER MONUMENTAL: PCB 4624, LOWER MONUMENTAL: 500KV REACTOR 1 | WOLM
76 | 23-02790 | 12909005 | 10/04/2023 07:00 | 10/05/2023 11:00 | GARRISON: PCB 4409 | GARRISON: PCB 4409 | MT-NW
77 | 23-04997 | 13160622 | 10/04/2023 07:30 | 10/04/2023 16:00 | MONROE: PCB 4519 | MONROE: PCB 4519 | BCHT, BCHW, NOEL, SOC, NI
78 | 23-13275 | 14075286 | 10/04/2023 07:30 | 10/04/2023 15:30 | ROSS: LBD A-27 INCLUDING 230KV CAP GROUP 2 SECTION 3 | ROSS: LBD A-27 INCLUDING 230KV CAP GROUP 2 SECTION 3, ROSS: LBD A-27, ROSS: 230KV CAP GROUP 2 SECTION 3 | SOA
79 | 23-12062 | 13937278 | 10/04/2023 08:00 | 10/05/2023 14:00 | TETON: PCB B-1659 INCLUDING 115KV CAP GROUP #2 | TETON: 115KV CAP GROUP 2, TETON: PCB B-1659 INCLUDING 115KV CAP GROUP #2, TETON: PCB B-1659 | SEIL, LOAD
80 | 23-00412 | 13160948 | 10/04/2023 08:00 | 10/04/2023 15:00 | LOWER MONUMENTAL-LITTLE GOOSE NO 2 500KV LINE, INCLUDING LOMO: PCB'S 4290, 4259 | LOWER MONUMENTAL-LITTLE GOOSE NO 2 500KV LINE, LOWER MONUMENTAL: PCB 4290, LOWER MONUMENTAL: PCB 4259, INCLUDING LOMO: PCB'S 4290, 4259 | GEN, MT-NW, WOH, WOLM
81 | 23-02598 | 13082626 | 10/04/2023 08:00 | 10/04/2023 15:00 | KEELER: PCB A-858 INCLUDING THE 230KV AUX BUS AND THE 230KV CAP GROUP 2 REACTIVE BUS | KEELER: PCB A-858, KEELER: PCB A-858 INCLUDING THE 230KV AUX BUS AND THE 230KV CAP GROUP 2 REACTIVE BUS, KEELER: PCB A-873, KEELER: PCB A-859, KEELER: LBD A-857, KEELER: PCB A-872, KEELER: 230KV AUX BUS, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1 | SOA, WOCS
82 | 23-07731 |  | 10/05/2023 07:00 | 10/09/2023 17:00 | COVINGTON: 230KV MAIN BUS SECTION 2 | COVINGTON: 230KV MAIN BUS SECTION 2, COVINGTON-DUWAMISH NO 1 230KV LINE, COVINGTON-BERRYDALE NO 1 230KV LINE, COVINGTON-WHITE RIVER NO 2 230KV LINE, COVINGTON: PCB A-92, COVINGTON: PCB A-93 | NOEL, SOC, WOCN, RP, BCHT, BCHW
83 | 23-01201 | 12593472 | 10/05/2023 07:00 | 10/05/2023 21:00 | LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
84 | 23-07530 | 14112313 | 10/05/2023 07:30 | 10/05/2023 15:30 | BELLINGHAM 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-482 AND B-934 | BELLINGHAM 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-482 AND B-934, BELLINGHAM: 230/115KV TRANSFORMER 1, BELLINGHAM: PCB A-482, BELLINGHAM: PCB B-934 | LOAD, NOEL, SOC, BCHW
85 | 23-05619 |  | 10/05/2023 07:30 | 10/05/2023 15:00 | ASHE: 500KV REACTOR 1, INCLUDING PCB 4907 | ASHE: 500KV REACTOR 1, ASHE: PCB 4907, INCLUDING PCB 4907 | NWACI, FCRPS, NOH
86 | 23-06502 | 13266681 | 10/05/2023 08:00 | 10/05/2023 16:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: THREE PHASE PRIMARY STATION SERVICE TRANSFORMER #1 | WENDSON: 230/115KV TRANSFORMER 1, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, WENDSON: PCB A-1578, INCLUDING: THREE PHASE PRIMARY STATION SERVICE TRANSFORMER #1, WENDSON: PCB B-1784, WENDSON: 230/115KV TIE NO 1 115KV LINE, WENDSON: 120/240V ALTERNATE STATION SERVICE TRANSFORMER | LOAD, SCORC
87 | 23-13302 | 14076012 | 10/05/2023 08:00 | 10/05/2023 15:00 | ASHE-MARION NO 2 500KV LINE, INCLUDING MARION PCB 4377 & 4380 | ASHE-MARION NO 2 500KV LINE, INCLUDING MARION PCB 4377 & 4380 | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM
88 | 23-06015 | 13857014 | 10/05/2023 08:00 | 10/05/2023 15:00 | REDMOND: 230KV CAP GROUP 1 | REDMOND: 230KV CAP GROUP 1 | COR, GRZN
89 | 23-02725 | 13134687 | 10/05/2023 08:00 | 10/05/2023 13:00 | KEELER: 230KV REACTIVE GROUP NO 2 INCLUDING CAP SECTIONS 2&3 AND REACTOR 1 | KEELER: PCB A-858, KEELER: 230KV REACTIVE GROUP NO 2 INCLUDING CAP SECTIONS 2&3 AND REACTOR 1 , KEELER: PCB A-859, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3, KEELER: LBD A-857, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: PCB A-873, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1 | SOA, WOCS
90 | 23-06533 | 13296589 | 10/06/2023 23:00 | 10/07/2023 07:00 | JONES CANYON-SANTIAM NO 1 230KV LINE INCLUDING TUMBLE CREEK TAP AND TUMBLE CREEK 230/24.9KV TRANSFORMER NO 1 AND 230KV PCB A-454 (UNGROUNDED) | JONES CANYON-SANTIAM NO 1 230KV LINE, JONES CANYON-SANTIAM NO 1 230KV LINE INCLUDING TUMBLE CREEK TAP AND TUMBLE CREEK 230/24.9KV TRANSFORMER NO 1 AND 230KV PCB A-454 (UNGROUNDED), TUMBLE CREEK: 230/24.9KV TRANSFORMER 1, TUMBLE CREEK: PCB A-454, SANTIAM: PCB A-528, JONES CANYON: PCB A-1682, JONES CANYON: PCB A-1685 | SOA, WOCS, WOM, SCORC, SLAL
91 | 23-12343 |  | 10/07/2023 06:00 | 10/07/2023 18:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2
92 | 23-07190 | 13326951 | 10/07/2023 08:00 | 10/07/2023 14:00 | -USBR- GRAND COULEE: PCB 6782 | GRAND COULEE: PCB 6782, -USBR- GRAND COULEE: PCB 6782, GRAND COULEE: 115KV AUX BUS SECTION 2 | NOH, WOCN
93 | 23-13196 | 14068624 | 10/09/2023 05:30 | 10/14/2023 17:00 | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | CI, IROL, NOEL, NOH, SOC, WOCN, GEN
94 | 23-13185 |  | 10/09/2023 05:30 | 10/14/2023 17:00 | -CHELAN- ROCKY REACH: CB 7-760 | ROCKY REACH-COLUMBIA NO 1 230KV LINE, -CHELAN- ROCKY REACH: CB 7-760, ROCKY REACH: PCB 7-760 | CI, GEN, NOH
95 | 23-07375 | 13545130 | 10/09/2023 07:30 | 10/09/2023 15:00 | LOWER MONUMENTAL: PCB 4251 | LOWER MONUMENTAL: PCB 4251 | WOLM
96 | 23-05845 | 13231020 | 10/09/2023 08:00 | 10/12/2023 15:00 | WAUTOMA: BAY 3 PCB'S 5247, 5250, 5253 (FORCES OUT WAUTOMA-KNIGHT 1 AND HANFORD-WAUTOMA 1 500KV LINES) | HANFORD-WAUTOMA NO 1 500KV LINE, WAUTOMA: BAY 3 PCB'S 5247, 5250, 5253 (FORCES OUT WAUTOMA-KNIGHT 1 AND HANFORD-WAUTOMA 1 500KV LINES), WAUTOMA-KNIGHT NO 1 500KV LINE, WAUTOMA: PCB 5247, WAUTOMA: PCB 5250, WAUTOMA: PCB 5253, HANFORD: PCB 4092, HANFORD: PCB 4095 | NOH, SIG, BCHT, BCHW, NI, WOCN, WOCS, WOJD, WOM, WOS, WOLM
97 | 23-13392 | 14096977 | 10/09/2023 08:00 | 10/11/2023 18:00 | SCL - CEDAR FALLS-LAKE YOUNGS 115KV LINE | SCL - CEDAR FALLS-LAKE YOUNGS 115KV LINE | SOC, NOEL
98 | 23-07800 | 13545109 | 10/09/2023 08:00 | 10/09/2023 16:00 | MAPLE VALLEY: 230KV NORTH AUX BUS, INCL PCB A-1139 | MAPLE VALLEY: 230KV NORTH AUX BUS, MAPLE VALLEY: PCB A-1139, INCL PCB A-1139 | NOEL, SOC
99 | 23-00418 | 12730315 | 10/09/2023 09:00 | 10/20/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | SAND SPRINGS: PCB 4264, PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED), FORT ROCK: PCB 4265, SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
100 | 23-04346 | 13339769 | 10/09/2023 09:00 | 10/13/2023 15:00 | TUCANNON RIVER: 115Kv CAP GROUP 1 REACTIVE BUS, INCLUDING PCBs B-2018, B-2024, B-2038, B-2039, and 115KV CAP GROUP 1 SECTIONS 1 & 2 | TUCANNON RIVER: 115KV CAP GROUP 1 REACTIVE BUS, TUCANNON RIVER: 115Kv CAP GROUP 1 REACTIVE BUS, INCLUDING PCBs B-2018, B-2024, B-2038, B-2039, and 115KV CAP GROUP 1 SECTIONS 1 & 2, TUCANNON RIVER: PCB B-2018, TUCANNON RIVER: PCB B-2024, TUCANNON RIVER: PCB B-2038, TUCANNON RIVER: PCB B-2039, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2 | LWRSNK
101 | 23-00420 | 12861670 | 10/09/2023 09:00 | 10/09/2023 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
102 | 23-01763 | 12847096 | 10/10/2023 06:00 | 10/27/2023 17:00 | GRAND COULEE: PCB 5382 | GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
103 | 23-01922 | 12826238 | 10/10/2023 06:00 | 10/26/2023 17:00 | JOHN DAY: 4156/4157 TERMINAL OF , JOHN DAY PH-JOHN DAY NO 2 500KV LINE | JOHN DAY: 4156/4157 TERMINAL OF , JOHN DAY PH-JOHN DAY NO 2 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD
104 | 23-02987 | 12942910 | 10/10/2023 06:00 | 10/20/2023 23:00 | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MUNRO: RAS AC-B CONTROLLER, MUNRO: RAS DC-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
105 | 23-12346 |  | 10/10/2023 06:00 | 10/10/2023 18:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2
106 | 23-11104 | 13857307 | 10/10/2023 07:00 | 10/11/2023 16:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | JONES CANYON: PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | WOCS
107 | 23-02795 | 12908934 | 10/10/2023 07:00 | 10/11/2023 16:00 | GARRISON: PCB 4412 | GARRISON: PCB 4412 | MT-NW
108 | 23-00570 | 12829687 | 10/10/2023 07:00 | 10/10/2023 16:00 | GRIZZLY: PCB 5028 | GRIZZLY: PCB 5028 | NWACI, WOJD, COI
109 | 23-04998 | 13160636 | 10/10/2023 07:30 | 10/10/2023 16:00 | MONROE: PCB 4522 | MONROE: PCB 4522, MONROE: PCB 5502 | BCHT, BCHW, NOEL, SOC, NI, WOCN
110 | 23-01753 | 13165692 | 10/10/2023 08:00 | 10/20/2023 17:00 | PEARL-KEELER NO 1 500KV LINE | PEARL-KEELER NO 1 500KV LINE, PEARL: PCB 4280, PEARL: PCB 4283 | SIG, SOA
111 | 23-09534 | 13656020 | 10/10/2023 08:00 | 10/19/2023 18:00 | BIG EDDY-DEMOSS NO. 1 115KV LINE INCLUDING BIG EDDY PCB B-1048 AND 115KV A/B | BIG EDDY-DEMOSS NO. 1 115KV LINE INCLUDING BIG EDDY PCB B-1048 AND 115KV A/B, BIG EDDY-DE MOSS NO 1 115KV LINE, BIG EDDY: PCB B-1048, BIG EDDY: 115KV AUX BUS, DE MOSS: PCB B-2072, DE MOSS: PCB B-2081 | GEN, BGEDY
112 | 23-07276 | 13374532 | 10/10/2023 08:00 | 10/12/2023 16:00 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1, WHITE BLUFFS: PCB B-270 | GEN, TCLA, LOAD
113 | 23-06747 | 13317616 | 10/10/2023 08:00 | 10/12/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972 | NWACI, COI
114 | 23-13454 |  | 10/10/2023 08:00 | 10/11/2023 16:00 | BCH - CUSTER-INGLEDOW NO 1 500KV LINE | BCH - CUSTER-INGLEDOW NO 1 500KV LINE, CUSTER: PCB 4272, CUSTER: PCB 4276 | BCHT, BCHW, NOEL, SOC, NI
115 | 23-01092 | 13231509 | 10/10/2023 08:00 | 10/11/2023 15:00 | HATWAI-DWORSHAK NO 1 500KV LINE, INCLUDING HATWAI: PCB'S 4700, 4708 AND DWORSHAK: PCB 4664 | HATWAI: PCB 4708, HATWAI-DWORSHAK NO 1 500KV LINE, HATWAI: PCB 4700, INCLUDING HATWAI: PCB'S 4700, 4708 AND DWORSHAK: PCB 4664, DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1, DWORSHAK: PCB 4666 | MT-NW, NOH, WOH, WOLM, SIG, FCRPS, GEN
116 | 23-07492 | 13392836 | 10/10/2023 08:00 | 10/10/2023 17:00 | VANTAGE: PCB 5339 | VANTAGE: PCB 5339 | NOH
117 | 23-07376 | 13627872 | 10/10/2023 08:00 | 10/10/2023 15:00 | LOWER MONUMENTAL: PCB 4676 | LOWER MONUMENTAL: PCB 4676 | WOLM
118 | 23-09768 | 13627998 | 10/10/2023 09:00 | 10/19/2023 18:00 | GARRISON-TAFT NO 2 500KV LINE, INCLUDING TAFT: HSGS 7882 | GARRISON-TAFT NO 2 500KV LINE, GARRISON: HSGS 7883, TAFT: HSGS 7882, INCLUDING TAFT: HSGS 7882, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, SIG
119 | 23-09770 | 13628008 | 10/10/2023 10:00 | 10/19/2023 18:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, GARRISON: PCB 4461 | MT-NW
120 | 23-07324 | 13333837 | 10/10/2023 12:00 | 10/10/2023 15:30 | LANE: 115KV CAP GROUP 1 | LANE: 115KV CAP GROUP 1 | EWEB
121 | 23-05608 | 13242089 | 10/11/2023 06:30 | 10/11/2023 17:30 | ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1 | ALVEY: PCB A-247, ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1, ALVEY: PCB A-332, ALVEY: PCB A-246, ALVEY: PCB A-242, ALVEY: PCB A-241, ALVEY: PCB A-236, ALVEY: PCB A-476, SANTIAM-ALVEY NO 1&2 230KV LINE, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: 230KV REACTOR 1, ALVEY: 230KV SOUTH MAIN BUS | SCORC
122 | 23-13503 |  | 10/11/2023 07:00 | 10/12/2023 15:30 | MONROE: PCB 4522, BFR AND BREAKER DIFFERENTIAL RELAY | MONROE: PCB 5502, MONROE: PCB 4522, BFR AND BREAKER DIFFERENTIAL RELAY, MONROE: PCB 4526 | BCHT, BCHW, NI, NOEL, SOC, WOCN
123 | 23-12106 | 13968325 | 10/11/2023 07:00 | 10/11/2023 14:00 | TARGHEE: 115KV CAP GROUP 2 | TARGHEE: 115KV CAP GROUP 2, TARGHEE: LBD B-1431 | LOAD, SEIL
124 | 23-05942 | 13395029 | 10/11/2023 07:30 | 10/11/2023 16:30 | CUSTER-INGLEDOW NO 1 500KV LINE, INCLUDING CUSTER: PCB'S 4272 & 4276 | CUSTER: PCB 4276, CUSTER-INGLEDOW NO 1 500KV LINE, CUSTER: PCB 4272, INCLUDING CUSTER: PCB'S 4272 & 4276, CUSTER: MOD 4275, CUSTER: MOD 4273 | BCHT, BCHW, NOEL, SOC, NI, SIG
125 | 23-07495 | 13392862 | 10/11/2023 08:00 | 10/11/2023 17:00 | VANTAGE: PCB 5342 | VANTAGE: PCB 5342 | NOH
126 | 23-05865 | 13242082 | 10/12/2023 07:00 | 10/12/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2, CAP SECTIONS 1, 2, AND 3 INCLUDING: PCBs A-235, A-237, AND A-239 | ALVEY: 230KV REACTIVE GROUP 2, CAP SECTIONS 1, 2, AND 3 INCLUDING: PCBs A-235, A-237, AND A-239, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: PCB A-235, ALVEY: PCB A-237, ALVEY: PCB A-239 | SCORC
127 | 23-12110 | 13937442 | 10/12/2023 07:00 | 10/12/2023 09:00 | TINCUP: 115KV CAP GROUP 1 | TINCUP: 115KV CAP GROUP 1, TINCUP: LBD T-772 | SEIL, LOAD
128 | 23-08507 | 13484419 | 10/12/2023 07:30 | 10/12/2023 16:30 | NORTH BONNEVILLE: EAST M/B INCLUDING PCB'S A-11, A-17, A-10, A-16, A-8, A-14 AND A-9 | NORTH BONNEVILLE: EAST M/B INCLUDING PCB'S A-11, A-17, A-10, A-16, A-8, A-14 AND A-9, NORTH BONNEVILLE: PCB A-11, NORTH BONNEVILLE: PCB A-17, NORTH BONNEVILLE: PCB A-10, NORTH BONNEVILLE: PCB A-16, NORTH BONNEVILLE: PCB A-8, NORTH BONNEVILLE: PCB A-14, NORTH BONNEVILLE: PCB A-9, BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE, NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, NORTH BONNEVILLE: 230KV AUX BUS, NORTH BONNEVILLE: 230KV EAST MAIN BUS, NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | WOCS, GEN, FCRPS, LOAD
129 | 23-08755 | 13549697 | 10/12/2023 07:30 | 10/12/2023 15:00 | SNO-KING: 500/230KV TRANSFORMER 4, INCLUDING PCB'S 4815 AND A-1202 | SNO-KING TAP TO ECHO LAKE-MONROE NO 1 500KV LINE, SNO-KING: 500/230KV TRANSFORMER 4, SNO-KING: PCB 4815, INCLUDING PCB'S 4815 AND A-1202, SNO-KING: PCB A-1202 | BCHT, BCHW, NOEL, SIG, SOC, WOCN, IROL, NI, LOAD
130 | 23-07496 | 13392880 | 10/12/2023 08:00 | 10/12/2023 15:00 | VANTAGE: PCB 5345 | VANTAGE: PCB 5345 | NOH
131 | 23-12111 | 13937370 | 10/12/2023 10:00 | 10/12/2023 13:00 | TINCUP: 115KV CAP GROUP 2 | TINCUP: 115KV CAP GROUP 2, TINCUP: LBD T-773 | SEIL, LOAD
132 | 23-06795 | 13288556 | 10/12/2023 10:00 | 10/12/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
133 | 23-12025 | 13929637 | 10/12/2023 11:00 | 10/12/2023 16:00 | SLATT: 230KV CAP GROUP 3 SECTION 1 INCLUDING PCB A-1799 | SLATT: PCB A-1799, SLATT: 230KV CAP GROUP 3 SECTION 1 INCLUDING PCB A-1799
134 | 23-06796 | 13288562 | 10/12/2023 11:00 | 10/12/2023 12:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
135 | 23-06798 | 13288578 | 10/12/2023 12:30 | 10/12/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
136 | 23-06799 | 13288586 | 10/12/2023 13:30 | 10/12/2023 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
137 | 23-08335 | 13819754 | 10/12/2023 23:00 | 10/13/2023 06:00 | POTLATCH-DUCKABUSH SECT OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING DUCKABUSH SUBSTATION | POTLATCH-DUCKABUSH SECTION OF SHELTON-FAIRMOUNT NO 1 115KV LINE, POTLATCH-DUCKABUSH SECT OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING DUCKABUSH SUBSTATION, DUCKABUSH: MASON CO PUD 1 115KV FEEDER 1 | PA
138 | 23-12349 |  | 10/13/2023 06:00 | 10/13/2023 18:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1 & 2, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2
139 | 23-07684 | 13369582 | 10/13/2023 08:00 | 10/27/2023 18:00 | -SCL- BOTHELL-SAMMAMISH 240KV LINE, BOTHELL-DIABLO 1 240KV LINE, 240KV MAIN BUS 2 AND THE 240/115KV BANK 62 | -SCL- BOTHELL-SAMMAMISH 240KV LINE, BOTHELL-DIABLO 1 240KV LINE, 240KV MAIN BUS 2 AND THE 240/115KV BANK 62 | SOC, NOEL
140 | 23-09080 |  | 10/13/2023 23:59 | 10/14/2023 04:00 | HARNEY: HARNEY ELEC COOP 115KV FEEDER 1 INCLUDING PCB B-1712 AND THE 115KV AUX BUS | HARNEY: PCB B-1712, HARNEY: HARNEY ELEC COOP 115KV FEEDER 1 INCLUDING PCB B-1712 AND THE 115KV AUX BUS, HARNEY: HARNEY ELEC COOP 115KV FEEDER 1, HARNEY: 115KV AUX BUS
141 | 23-13157 | 14062707 | 10/14/2023 23:00 | 10/23/2023 23:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
142 | 23-02793 | 12908977 | 10/16/2023 06:00 | 10/18/2023 16:00 | GARRISON: PCB 4463 | GARRISON: PCB 4463 | MT-NW
143 | 23-00084 | 11345939 | 10/16/2023 07:00 | 11/09/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
144 | 23-04475 | 13048225 | 10/16/2023 07:00 | 11/02/2023 15:00 | SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS | SIFTON: 230KV WEST MAIN BUS, SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: 230/115KV TRANSFORMER 1, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: PCB B-1511, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14 | SOA, GEN, LOAD, WOCS, FCRPS
145 | 23-09328 | 13577057 | 10/16/2023 07:00 | 10/29/2023 16:00 | WAPA- OLINDA-TRACY 500KV LINE | WAPA- OLINDA-TRACY 500KV LINE | COI, NWACI
146 | 23-12503 | 13973890 | 10/16/2023 07:00 | 10/26/2023 16:00 | MCNARY: 230/115KV BANK 9 MITIGATION | MCNARY: 230/115KV BANK 9 MITIGATION, MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE, MCNARY: 115/69KV TRANSFORMER 10, MCNARY: PACIFICORP (PACW) 69KV FEEDER 1, MCNARY: 69KV PCB L-366, MCNARY: 69KV MAIN BUS, MCNARY: 69KV AUX BUS | GEN, LOAD, WOM
147 | 23-04073 | 13323233 | 10/16/2023 07:00 | 10/26/2023 15:00 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 13.2KV BUS AND PCB 1W | MCNARY: 13.2KV PCB 1W STATION SERVICE, MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 13.2KV BUS AND PCB 1W, MCNARY: 230/115KV TRANSFORMER 9, MCNARY: 13KV BANK 9 DELTA BUS | WOM
148 | 23-09620 | 13615221 | 10/16/2023 07:00 | 10/19/2023 16:00 | SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794 | SLATT: PCB 5375, SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794, SLATT: PCB 5378, SLATT: PCB A-1791, SLATT: PCB A-1794 | WOJD
149 | 23-03497 | 12977097 | 10/16/2023 07:00 | 10/19/2023 14:00 | CATTLE CREEK-GOSHEN NO 1 115KV LINE INCLUDING GOSHEN: PCBS B-705, B-703 AND 115KV AUX BUS AND CATTLE CREEK: PCB B-2107 | CATTLE CREEK-GOSHEN NO 1 115KV LINE INCLUDING GOSHEN: PCBS B-705, B-703 AND 115KV AUX BUS AND CATTLE CREEK: PCB B-2107, GOSHEN: PCB B-705, CATTLE CREEK-GOSHEN NO 1 115KV LINE, GOSHEN: PCB B-703, GOSHEN: 115KV AUX BUS, CATTLE CREEK SW STA: PCB B-2095, CATTLE CREEK SW STA: PCB B-2107 | SEIL, GEN
150 | 23-11776 | 13991732 | 10/16/2023 07:00 | 10/17/2023 18:00 | CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540 | CUSTER-PORTAL WAY NO 1 230KV LINE INCLUDING PCB A-1246, PCB A-1540, CUSTER: PCB A-1246, CUSTER: PCB A-1540, Portal Way CVTS, CUSTER-PORTAL WAY NO 1 230KV LINE | BCHT, BCHW, NOEL, SOC, NI
151 | 23-13207 | 14070107 | 10/16/2023 07:00 | 10/16/2023 17:00 | LONGVIEW-CHEMICAL #1 230KV LINE INCLUDING LONGVIEW: PCB A-98 | LONGVIEW-CHEMICAL #1 230KV LINE INCLUDING LONGVIEW: PCB A-98, LONGVIEW: PCB A-98, LONGVIEW-CHEMICAL NO 1 230KV LINE | SOA
152 | 23-08720 | 13571263 | 10/16/2023 07:00 | 10/16/2023 16:00 | BELL: 500KV REACTOR 1, INCLUDING PCB 4559 | BELL: 500KV REACTOR 1, BELL: PCB 4559, INCLUDING PCB 4559 | MT-NW, WOH
153 | 23-13166 | 14082443 | 10/16/2023 08:00 | 10/23/2023 15:00 | NASELLE-TARLETT NO 2 115KV LINE INCLUDING THE HAGEN TAP TO H-501 | HAGEN TAP TO NASELLE-TARLETT NO 2 115KV LINE, NASELLE-TARLETT NO 2 115KV LINE INCLUDING THE HAGEN TAP TO H-501, NASELLE-TARLETT NO 2 115KV LINE | PA
154 | 23-03136 | 12953673 | 10/16/2023 08:00 | 10/19/2023 16:30 | PONDEROSA: 500/230KV TRANSFORMER 1, INCLUDING PCB 4615, PCB A-384, PCB A-398 | PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA: PCB 4618, PONDEROSA: PCB A-384, INCLUDING PCB 4615, PCB A-384, PCB A-398, PONDEROSA: PCB A-398, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE | COI, NWACI, COR, GRZN, SIG
155 | 23-05914 | 13208355 | 10/16/2023 08:00 | 10/19/2023 15:00 | LITTLE GOOSE: PCB 4348 | LITTLE GOOSE: PCB 4348 | WOLM
156 | 23-02618 |  | 10/16/2023 08:00 | 10/19/2023 14:00 | MOUNTAIN AVE - PP&L ASHLAND-OAK KNOLL #1 115KV LINE | MOUNTAIN AVE - PP&L ASHLAND-OAK KNOLL #1 115KV LINE
157 | 23-09409 | 13938902 | 10/16/2023 08:00 | 10/16/2023 15:00 | PEARL: PCB A-1170, INCLUDING 230KV CAP GROUP 2 | PEARL: PCB A-1170, PEARL: 230KV CAP GROUP 2, INCLUDING 230KV CAP GROUP 2 | SOA, WOCS
158 | 23-09067 | 13570442 | 10/16/2023 08:30 | 10/17/2023 15:30 | SOUTH TACOMA: PCB A-1092 BFR | SOUTH TACOMA: PCB A-1092 BFR, SOUTH TACOMA: PCB A-1092 | GEN, NOEL, SOC
159 | 23-00715 | 12454564 | 10/17/2023 07:00 | 10/20/2023 15:00 | RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976 AND B-1978 | RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976 AND B-1978, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE, RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: PCB B-1978, RED MOUNTAIN: 115KV EAST BUS, RED MOUNTAIN: BENTON CO PUD 115KV FEEDER 1 | TCLA, LOAD
160 | 23-06183 | 13288203 | 10/17/2023 07:00 | 10/19/2023 17:00 | ALVEY: 500/230KV TRANSFORMER 5, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | ALVEY: 500/230KV TRANSFORMER 5, ALVEY 500/230KV TIE LINE NO 1 500KV LINE, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | NWACI, COI, SCORC
161 | 23-07853 | 13545199 | 10/17/2023 07:00 | 10/17/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 & PCB A-1139 | MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 & PCB A-1139, MAPLE VALLEY: 230KV MAIN BUS SECTION 3, MAPLE VALLEY-TALBOT NO 2 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, IROL, SIG
162 | 23-08721 | 13571491 | 10/17/2023 07:00 | 10/17/2023 15:00 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5320 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, BELL: PCB 5320, INCLUDING PCB 5320 | WOH, MT-NW
163 | 23-11570 | 13990018 | 10/17/2023 07:30 | 10/26/2023 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
164 | 23-09799 |  | 10/17/2023 08:00 | 11/06/2023 15:00 | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | SOA
165 | 23-11214 | 13817972 | 10/17/2023 08:00 | 10/17/2023 15:00 | SCHULTZ: PCB 5167, BFR | SCHULTZ: PCB 5167, BFR | WOCN
166 | 23-10807 | 13771253 | 10/17/2023 08:00 | 10/17/2023 15:00 | FAIRMOUNT: 230KV CAP GRP 2 INCLUDING LBD A-1628 | FAIRMOUNT: 230KV CAP GRP 2 INCLUDING LBD A-1628, FAIRMOUNT: LBD A-1628, FAIRMOUNT: 230KV CAP GROUP 2 | PA, RP
167 | 23-13507 |  | 10/18/2023 07:00 | 10/19/2023 15:30 | MONROE: PCB 4526, BFR AND BREAKER DIFFERENTIAL RELAY | MONROE: PCB 4526, MONROE: PCB 5505, BFR AND BREAKER DIFFERENTIAL RELAY, MONROE: PCB 4522 | BCHT, BCHW, NOEL, SOC, NI, WOCN
168 | 23-07856 | 13545346 | 10/18/2023 07:00 | 10/18/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, CI, IROL, NOH, SIG
169 | 23-04946 | 13208690 | 10/18/2023 07:30 | 10/18/2023 17:00 | CUSTER: 500/230KV TRANSFORMER 1, INCLUDING PCBS A-1242, AND A-1246 | CUSTER: 500/230KV TRANSFORMER 1, CUSTER: PCB A-1242, INCLUDING PCBS A-1242, AND A-1246, CUSTER: PCB A-1246 | NOEL, SIG, SOC, NI, BCHT, BCHW
170 | 23-11199 | 13929859 | 10/18/2023 07:30 | 10/18/2023 14:00 | SNAKE RIVER LVE: PCB SP-741 | SNAKE RIVER LVE: PCB SP-741, PALISADES PH: LOWER VALLEY ENG 115KV FEEDER 1 BY USBR GENERAL, PALISADES-SNAKE RIVER NO 1 115KV LINE | GEN, LOAD, SEIL
171 | 23-13578 |  | 10/18/2023 08:00 | 10/19/2023 15:30 | -PACW- CHILOQUIN-KLAMATH FALLS 230KV LINE | -PACW- CHILOQUIN-KLAMATH FALLS 230KV LINE | COI, NWACI, PDCI, NWACI/PDCI
172 | 23-05249 |  | 10/18/2023 08:00 | 10/18/2023 17:00 | FUTURE RURAL TAP TO THE HEYBURN-ADELAIDE #1 138KV LINE | FUTURE RURAL TAP TO THE HEYBURN-ADELAIDE #1 138KV LINE
173 | 23-11217 | 13842171 | 10/18/2023 08:00 | 10/18/2023 15:00 | SCHULTZ: PCB 5173 BFR | SCHULTZ: PCB 5173 BFR, SCHULTZ: PCB 5173 | WOCN
174 | 23-09411 | 13973828 | 10/18/2023 08:00 | 10/18/2023 15:00 | PEARL: PCB 4342 INCLUDING 500KV CAP GRP NO. 1 | PEARL: PCB 4342 INCLUDING 500KV CAP GRP NO. 1, PEARL: 500KV CAP GROUP 1, PEARL: PCB 4342 | WOCS, SOA
175 | 23-07939 | 13545737 | 10/19/2023 16:00 | 11/17/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
176 | 23-07135 |  | 10/19/2023 23:00 | 10/20/2023 02:00 | RURAL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP | ROE'S CORNER-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP, ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1, RURAL-ROE'S CORNER SECTION OF THE HEYBURN ADELAIDE NO1 138KV LINE
177 | 23-12049 | 13946533 | 10/20/2023 12:00 | 10/20/2023 16:00 | LANE: 230/115KV TRANSFORMER 1 | LANE: 230/115KV TRANSFORMER 1 | EWEB
178 | 23-00866 | 13892314 | 10/20/2023 15:01 | 12/19/2023 08:00 | RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978 | RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: RED MOUNTAIN 115KV EAST BUS INCLUDING PCBS B-1976 AND B-1978, RED MOUNTAIN: PCB B-1978
179 | 23-02677 | 12861689 | 10/20/2023 16:00 | 10/20/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, NWACI, COR, BCHT, BCHW, NI, SIG
180 | 23-01398 |  | 10/21/2023 04:00 | 11/13/2023 21:00 | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER | PDCI, SIG
181 | 23-11515 | 13857277 | 10/21/2023 04:00 | 11/13/2023 21:00 | CELILO: 4743 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4742 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 9054/9092 TERMINAL OF THE RICE FLATS ELECTRODE | BIG EDDY-CELILO NO 1 500KV LINE, CELILO: 4743 TERMINAL OF BIG EDDY-CELILO NO 1 500KV LINE, 4742 TERMINAL OF BIG EDDY-CELILO NO. 2 500KV LINE, 9085 TERMINAL OF CELILO-SYLMAR POLE NO 3 1000KV LINE, 9084 TERMINAL CELILO-SYLMAR POLE NO 4 1000KV LINE, AND THE 9054/9092 TERMINAL OF THE RICE FLATS ELECTRODE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO: POLE 4 540/240/240KV TRANSFORMER, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2 | PDCI, SIG, BGEDY
182 | 23-02979 | 12943131 | 10/21/2023 06:00 | 10/22/2023 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER, DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
183 | 23-05253 | 13134586 | 10/21/2023 08:00 | 11/12/2023 15:00 | CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218 | DITTMER: RAS DC-A CONTROLLER, CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
184 | 23-13314 |  | 10/21/2023 08:00 | 11/10/2023 15:00 | CELILO-SYLMAR POLES 3 & 4 1000KV LINE | CELILO-SYLMAR POLES 3 & 4 1000KV LINE
185 | 23-00115 | 11597761 | 10/22/2023 22:00 | 10/22/2023 22:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
186 | 23-12786 | 14021087 | 10/23/2023 07:00 | 12/08/2023 17:00 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115kV LINE INCLUDING WHITE BLUFFS PCB B-271, WHITE BLUFFS: PCB B-271 | TCLA
187 | 23-00117 |  | 10/23/2023 07:00 | 10/27/2023 16:00 | IPC- MIDPOINT - HEMINGWAY 500 KV line | IPC- MIDPOINT - HEMINGWAY 500 KV line | ID-NW, COI
188 | 23-09322 | 13577644 | 10/23/2023 07:00 | 10/24/2023 15:30 | TETON: B-1674 TERMINAL OF THE LVE CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | TETON: B-1674 TERMINAL OF THE LVE CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE, TETON: LOWER VALLEY ENG 115KV FEEDER 2, CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, LOAD
189 | 23-12451 | 13981457 | 10/23/2023 07:30 | 10/24/2023 16:00 | TACOMA: TACOMA-TPWR SOUTHWEST 230KV LINE INCLUDING PCB A-1064 & 230KV NORTH AUX BUS (SECTION 1) | TACOMA: TACOMA-TPWR SOUTHWEST 230KV LINE INCLUDING PCB A-1064 & 230KV NORTH AUX BUS (SECTION 1), TACOMA-TPWR SOUTHWEST 230KV LINE, TACOMA: MOD A-1064 AUX BUS, TACOMA: MOD A-1064 LINE SIDE, TACOMA: PCB A-1064 | RP, SOC
190 | 23-08683 | 13577648 | 10/23/2023 08:00 | 11/09/2023 15:00 | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP, BAXTER-FRANKLIN SECTION OF BENTON-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-620 | TCLA
191 | 23-11222 | 14021098 | 10/23/2023 08:00 | 10/28/2023 15:00 | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GEN, TCLA, LOAD
192 | 23-10760 | 13778108 | 10/23/2023 08:00 | 10/27/2023 18:00 | BIG EDDY: 230/115KV TRANSFORMER 1 INCLUDING PCB B-1060 AND 115KV A/B | BIG EDDY: 230/115KV TRANSFORMER 1 INCLUDING PCB B-1060 AND 115KV A/B, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: PCB B-1060, BIG EDDY: PCB A-802, BIG EDDY: 13.2KV PCB L-1468, BIG EDDY: 13.2KV PCB L-1466, BIG EDDY: PCB B-1054 | GEN, WOJD, BGEDY, PDCI
193 | 23-09868 | 13650921 | 10/23/2023 08:00 | 10/27/2023 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
194 | 23-02379 | 13065278 | 10/23/2023 08:00 | 10/26/2023 17:00 | LAPINE-FORT ROCK NO 1-115KV LINE INCLUDING CONNLEY TAP | CONNLEY COLLECTOR TAP TO LAPINE-FORT ROCK NO 1 115KV LINE, LAPINE-FORT ROCK NO 1-115KV LINE INCLUDING CONNLEY TAP, CHRISTMAS VALLEY TAP TO BRASADA-HARNEY NO 1 115KV LINE, FORT ROCK: MIDSTATE E COOP 115KV FEEDER 1, LAPINE: PCB B-1293 | ID-NW, COR, NWACI
195 | 23-13516 | 14106119 | 10/23/2023 08:00 | 10/26/2023 16:00 | GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | SOA
196 | 23-05856 | 14041100 | 10/23/2023 08:00 | 10/26/2023 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA PCBS 5241, 5244 AND SCHULTZ PCBS 5170, 5173 | WAUTOMA: PCB 5241, SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA PCBS 5241, 5244 AND SCHULTZ PCBS 5170, 5173, WAUTOMA: PCB 5244, SCHULTZ: PCB 5170, SCHULTZ: PCB 5173, SCHULTZ-WAUTOMA NO 1 500KV LINE | NOH, WOCN, BCHT, BCHW, IROL, NI, SIG
197 | 23-11925 | 14069891 | 10/23/2023 08:00 | 10/25/2023 15:00 | SAND CREEK: 115KV CAP GROUP 1 SECTIONS 1, 2, AND 3 INCLUDING LBD'S B-1364 AND B-1365, PCB B-1369 AND THE 115KV REACTIVE BUS | SAND CREEK: 115KV CAP GROUP 1 SECTIONS 1, 2, AND 3 INCLUDING LBD'S B-1364 AND B-1365, PCB B-1369 AND THE 115KV REACTIVE BUS, SAND CREEK: 115KV CAP GROUP 1 SECTION 1, SAND CREEK: 115KV CAP GROUP 1 SECTION 2, SAND CREEK: 115KV CAP GROUP 1 SECTION 3, SAND CREEK: LBD B-1364, SAND CREEK: LBD B-1365, SAND CREEK: LBD B-1369
198 | 23-03741 | 12986647 | 10/23/2023 08:00 | 10/24/2023 16:00 | BIG EDDY: PCB 4200 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4200 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY
199 | 23-02674 | 13109251 | 10/23/2023 08:30 | 10/26/2023 15:00 | MALIN: PCB 4327 BFR | MALIN: 500KV REACTOR 1, MALIN: PCB 4327 BFR, MALIN: PCB 4327 | COI, NWACI
200 | 23-10170 | 13938771 | 10/24/2023 07:30 | 10/26/2023 15:00 | MALIN: PCB 4072 | MALIN: PCB 4072 | NWACI, COI
201 | 23-13171 | 14082408 | 10/24/2023 08:00 | 10/26/2023 15:00 | NASELLE-TARLETT NO 1 115KV LINE | NASELLE-TARLETT NO 1 115KV LINE
202 | 23-00747 | 13134804 | 10/24/2023 08:00 | 10/26/2023 12:00 | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOUNDARY: 230/115KV TRANSFORMER 1, PCB A-1228, AND PCB B-1398 | BOUNDARY: 230/115KV TRANSFORMER 1, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOUNDARY: 230/115KV TRANSFORMER 1, PCB A-1228, AND PCB B-1398, BOUNDARY: PCB A-1228, BOUNDARY: PCB B-1398, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
203 | 23-03742 | 12986645 | 10/24/2023 14:00 | 10/24/2023 15:00 | BIG EDDY: PCB 4202 | BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
204 | 23-09323 | 13577748 | 10/25/2023 07:00 | 10/26/2023 15:30 | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE, EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, MT-NW
205 | 23-03983 | 13007222 | 10/25/2023 08:00 | 10/26/2023 15:00 | BIG EDDY: PCB 4202 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4202 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
206 | 23-05799 | 13234744 | 10/25/2023 08:00 | 10/25/2023 16:00 | CENTRAL FERRY: PCB 5415 | CENTRAL FERRY: PCB 5415 | WOH, WOLM
207 | 23-11930 | 14069839 | 10/26/2023 06:00 | 10/26/2023 12:00 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817, SANDPOINT: PCB B-817, SANDPOINT: 115KV CAP GROUP 1
208 | 23-11237 | 13858033 | 10/26/2023 07:30 | 10/26/2023 15:00 | AVA RATHDRUM-LANCASTER #1 230KV LINE INCLUDING LANCASTER PCBS A-1184 AND A-1558 | AVA RATHDRUM-LANCASTER #1 230KV LINE INCLUDING LANCASTER PCBS A-1184 AND A-1558, RATHDRUM AVA-LANCASTER 230KV LINE, LANCASTER: PCB A-1184, LANCASTER: PCB A-1558 | WOH
209 | 23-07239 | 13327045 | 10/26/2023 10:00 | 10/26/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
210 | 23-07242 | 13327152 | 10/26/2023 11:00 | 10/26/2023 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
211 | 23-07243 | 13327166 | 10/26/2023 12:30 | 10/26/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
212 | 23-10352 | 13975500 | 10/26/2023 13:00 | 10/26/2023 15:00 | MONROE: 230KV REACTIVE GROUP 1 INCLUDING PCB A-1429 AND PCB A-1426 | MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1, MONROE: 230KV REACTIVE GROUP 1 INCLUDING PCB A-1429 AND PCB A-1426, MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, MONROE: 230KV REACTIVE GROUP 1 REACTOR 2, MONROE: PCB A-1429, MONROE: PCB A-1426 | WOCN, NOEL, SIG, SOC
213 | 23-07244 | 13327139 | 10/26/2023 13:30 | 10/26/2023 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
214 | 23-03984 | 13007229 | 10/26/2023 15:00 | 10/26/2023 16:00 | BIG EDDY: PCB 4200 | BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY
215 | 23-02981 | 12943126 | 10/28/2023 06:00 | 10/29/2023 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS DC-A CONTROLLER, RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
216 | 23-02972 | 12943141 | 10/28/2023 06:00 | 10/29/2023 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, COI, NWACI, PDCI
217 | 23-09965 | 13658160 | 10/28/2023 08:00 | 10/30/2023 18:00 | PSE - SEDRO WOOLLEY-BOTHELL-HORSE RANCH 230KV LINE | PSE - SEDRO WOOLLEY-BOTHELL-HORSE RANCH 230KV LINE | SOC, NOEL
218 | 23-00004 | 10955446 | 10/29/2023 22:00 | 11/30/2023 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5382 | NOH, WOCN
219 | 23-01127 |  | 10/29/2023 22:00 | 11/03/2023 20:00 | GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B | POTHOLES-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B , COLUMBIA-GRAND COULEE NO 1 230KV LINE, GRAND COULEE-BELL NO 3 230KV LINE, GRAND COULEE: 230/115KV BANK KX2A SWITCHYARD TIE, GRAND COULEE: 230KV MAIN BUS SECTION 1A, GRAND COULEE: 230KV MAIN BUS SECTION 1B, GRAND COULEE: PCB 6084, GRAND COULEE: PCB 5886, GRAND COULEE: PCB 5782, GRAND COULEE: PCB 5686, GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5286, GRAND COULEE: PCB 5182 | NOH, CI, WOH, OKLA, LOAD, WOCN, FCRPS
220 | 23-01510 |  | 10/30/2023 08:00 | 12/01/2023 16:00 | PSE- SAMMAMISH 230KV WEST AND MID BUS | PSE- SAMMAMISH 230KV WEST AND MID BUS, BOTHELL (SCL)-SAMMAMISH 230KV LINE, PSE- SAMMAMISH-NOVELTY HILL 2 230KV LINE | NOEL, SOC
221 | 23-10774 | 13777763 | 10/30/2023 08:00 | 11/05/2023 18:00 | BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048 | BIG EDDY: 115KV MAIN BUS SECTION 2, BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048, BIG EDDY: 115KV MAIN BUS SECTION 3, BIG EDDY: PCB B-1048, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720, BIG EDDY-DE MOSS NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1060 | GEN, LOAD, BGEDY, WOJD, FCRPS
222 | 23-11226 | 14021133 | 10/30/2023 08:00 | 11/04/2023 17:00 | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | TCLA, LOAD
223 | 23-07024 | 13321598 | 10/30/2023 08:00 | 11/02/2023 15:00 | MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN NO 1 500KV LINE | COI, NWACI, BCHT, BCHW, NI
224 | 23-04280 | 13039597 | 10/30/2023 08:00 | 10/31/2023 15:00 | BIG EDDY: PCB 4205 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4205 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4205 | PDCI, WOCS, WOJD, BGEDY
225 | 23-05042 | 12986164 | 10/30/2023 11:00 | 02/28/2024 15:00 | NVE - HILLTOP-FORT SAGE 345KV LINE | NVE - HILLTOP-FORT SAGE 345KV LINE | RATS