## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-16314 | 12638795 | 11/01/2022 00:00 | 10/31/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
3 | 22-16315 | 12638803 | 11/01/2022 00:00 | 10/31/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
4 | 23-06719 | 13302445 | 04/10/2023 07:30 | 10/31/2023 16:00 | -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | AXFORD-HEYE MEYER SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, HEYE MEYER-HOCKINSON SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | LOAD
5 | 23-07371 | 13334737 | 06/02/2023 08:00 | 10/31/2023 15:00 | ST. JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA
6 | 23-10137 | 13689703 | 06/06/2023 15:00 | 06/03/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | PA
7 | 23-11039 | 13805516 | 06/28/2023 08:00 | 10/31/2023 15:00 | SWAN VALLEY-TETON NO 1 115KV LINE, -DERATE- | SWAN VALLEY-TETON NO 1 115KV LINE, -DERATE- | SEIL, GEN
8 | 23-11043 | 13806293 | 06/28/2023 08:00 | 10/31/2023 15:00 | SANTIAM-ALBANY NO 1 230KV LINE, -DERATE- | SANTIAM-ALBANY NO 1 230KV LINE, -DERATE- | SCORC, SLAL
9 | 23-11045 | 13805680 | 06/28/2023 08:00 | 10/31/2023 15:00 | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | LOAD
10 | 23-11050 | 13806004 | 06/28/2023 08:00 | 10/31/2023 15:00 | LAPINE-CHILOQUIN NO 1 230KV LINE, -DERATE- | LAPINE-CHILOQUIN NO 1 230KV LINE, -DERATE- | LOAD, COR, GRZN
11 | 23-11053 | 13806527 | 06/28/2023 08:00 | 10/31/2023 15:00 | MAUPIN-TYGH VALLEY NO 1 69KV LINE, -DERATE- | MAUPIN-TYGH VALLEY NO 1 69KV LINE, -DERATE-
12 | 23-08334 | 13621302 | 08/04/2023 03:01 | 10/12/2023 15:00 | POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KN LINE INCLUDING B-825 LINE SECT DISC | POTLATCH-DUCKABUSH SECTION OF SHELTON-FAIRMOUNT NO 1 115KV LINE, POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KN LINE INCLUDING B-825 LINE SECT DISC | PA
13 | 23-01484 |  | 08/14/2023 08:00 | 10/06/2023 16:00 | PSE- SAMMAMISH 230KV EAST BUS | PSE- SAMMAMISH 230KV EAST BUS, SAMMAMISH-NOVELTY HILL SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC
14 | 23-05853 | 13115063 | 08/21/2023 08:00 | 11/17/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
15 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
16 | 23-00317 | 13683838 | 09/11/2023 05:00 | 10/05/2023 17:00 | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE, CHIEF JOSEPH PH-CHIEF JOSEPH NO 5 500KV LINE | GEN, FCRPS, NOH
17 | 23-09795 |  | 09/11/2023 08:00 | 10/13/2023 15:00 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142 | MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142, ROSS: PCB A-142, ROSS: 345/230KV TRANSFORMER 4, MCNARY: PCB A-432 | SOA, WOCS, WOM
18 | 23-07717 |  | 09/14/2023 16:00 | 10/09/2023 07:00 | MAPLE VALLEY: PCB A-1139, INCLUDING MAIN AND AUX BUS DISCONNECTS | MAPLE VALLEY: PCB A-1139, INCLUDING MAIN AND AUX BUS DISCONNECTS | NOEL, SOC
19 | 23-07728 | 13389066 | 09/18/2023 07:00 | 10/14/2023 17:00 | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK, COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE | NOEL, RP, SIG, SOC, NI, WOCN, IROL
20 | 23-00087 | 11350604 | 09/22/2023 12:00 | 10/13/2023 16:00 | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
21 | 23-02986 | 12943074 | 09/25/2023 06:00 | 10/06/2023 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
22 | 23-04186 | 13161352 | 09/25/2023 07:00 | 10/06/2023 15:00 | NOXON-LIBBY NO 1 230KV LINE | NOXON-LIBBY NO 1 230KV LINE | WOH, FCRPS, GEN
23 | 23-11018 | 13799758 | 09/25/2023 07:30 | 10/03/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
24 | 23-06327 | 13241345 | 09/30/2023 08:00 | 10/18/2023 16:00 | Bethel-Round Butte 230kV | Bethel-Round Butte 230kV
25 | 22-02103 | 10879173 | 09/30/2023 23:00 | 10/14/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | GEN, NOH, WOCN
26 | 23-00864 |  | 10/01/2023 08:00 | 01/30/2024 16:00 | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | WAPA - TRACY: 500KV SHUNT CAPS PT10 A/B | COI
27 | 23-10164 | 13698012 | 10/02/2023 06:00 | 10/05/2023 16:30 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BANK 6 13.8KV M/B AND DISC'S L-484,L-480 AND L-478 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BANK 6 13.8KV M/B AND DISC'S L-484,L-480 AND L-478, BELL: 230/115KV TRANSFORMER 6, BELL: 13.8KV GROUNDING TRANSFORMER 6, BELL: 13.8KV PCB L-482, BELL: PCB A-376, BELL: PCB B-900, BELL-AVA BEACON NO 2 115KV LINE | MT-NW, WOH
28 | 23-00427 | 13160892 | 10/02/2023 07:00 | 10/02/2023 16:00 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE, INCLUDING LOMO: PCB'S 4624, 4676 AND CENTRAL FERRY: PCB'S 5400, AND 5397 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE, LOWER MONUMENTAL: PCB 4624, LOWER MONUMENTAL: PCB 4676, INCLUDING LOMO: PCB'S 4624, 4676 AND CENTRAL FERRY: PCB'S 5400, AND 5397, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: PCB 5400 | WOH, WOLM, GEN, SIG
29 | 23-02785 | 12908990 | 10/02/2023 07:00 | 10/03/2023 15:00 | GARRISON: PCB 4421 | GARRISON: PCB 4421 | MT-NW
30 | 23-10144 | 13764703 | 10/02/2023 07:00 | 10/13/2023 16:00 | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS, FLATHEAD: 230KV MAIN BUS, FLATHEAD: 230KV AUX BUS, FLATHEAD: PCB A-276, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 2, FLATHEAD: PCB A-227, FLATHEAD: PCB A-221, FLATHEAD: PCB A-219, FLATHEAD: PCB A-217 | MT-NW, GEN, LOAD
31 | 23-09675 | 13621207 | 10/02/2023 07:30 | 10/02/2023 15:00 | LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267 | LA GRANDE: PCB A-267, LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267, LA GRANDE: 230KV CAP GROUP 1 | ID-NW
32 | 23-04995 | 13160565 | 10/02/2023 07:30 | 10/02/2023 16:00 | MONROE: PCB 4526 | MONROE: PCB 4526, MONROE: PCB 5505 | BCHT, BCHW, NOEL, SOC, NI, WOCN
33 | 23-07021 | 13307011 | 10/02/2023 07:30 | 10/02/2023 16:00 | ECHO LAKE: PCB 5111 | ECHO LAKE: PCB 5111 | BCHT, BCHW, NOEL, SOC, NI, WOCN
34 | 23-09296 | 13655799 | 10/02/2023 07:30 | 10/02/2023 17:00 | ALLSTON: PCB 4470 | ALLSTON: PCB 4470 | PA, SOA
35 | 23-06746 | 13317609 | 10/02/2023 08:00 | 10/05/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972 | NWACI, COI
36 | 23-07491 | 13392811 | 10/02/2023 08:00 | 10/05/2023 16:30 | VANTAGE: PCB 5351 | VANTAGE: PCB 5351 | NOH
37 | 23-01366 | 12633230 | 10/02/2023 08:00 | 10/06/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE, (UNGROUNDED) | BUCKLEY-MARION NO 1 500KV LINE, (UNGROUNDED) | NWACI, PDCI, SIG, WOCS, WOJD, COI
38 | 23-01367 | 12633234 | 10/02/2023 08:00 | 10/06/2023 15:00 | ASHE-MARION NO 2 500KV LINE, (UNGROUNDED) | ASHE-MARION NO 2 500KV LINE, (UNGROUNDED) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOCS, WOJD, WOM, COI
39 | 23-09866 | 13650888 | 10/02/2023 08:00 | 10/06/2023 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
40 | 23-06866 |  | 10/02/2023 08:00 | 10/06/2023 16:00 | -PACW- FRY-PARRISH GAP 230KV LINE | -PACW- FRY-PARRISH GAP 230KV LINE
41 | 23-10741 | 13764199 | 10/02/2023 08:00 | 10/06/2023 16:00 | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE, PEARL: PCB A-1165, PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS
42 | 23-10839 | 13772445 | 10/02/2023 08:00 | 10/06/2023 18:00 | JOHN DAY: 500/230KV TRANSFORMER 1, JOHN DAY: 500/230KV TRANSFORMER SPARE, INCLUDING, JOHN DAY: PCB A-1725, JOHN DAY: PCB A-1728 | JOHN DAY: 500/230KV TRANSFORMER 1, JOHN DAY: 500/230KV TRANSFORMER SPARE, INCLUDING, JOHN DAY: PCB A-1725, JOHN DAY: PCB A-1728 | GEN, JDAY, WOJD, NWACI
43 | 23-05861 | 13278499 | 10/02/2023 08:00 | 10/08/2023 16:00 | WAUTOMA: BAY 4 PCB'S 5262, 5259, 5256 (FORCES OUT HANFORD-WAUTOMA 2 AND WAUTOMA-ROCK CREEK 1 500KV LINES) | HANFORD-WAUTOMA NO 2 500KV LINE, WAUTOMA: BAY 4 PCB'S 5262, 5259, 5256 (FORCES OUT HANFORD-WAUTOMA 2 AND WAUTOMA-ROCK CREEK 1 500KV LINES), WAUTOMA-ROCK CREEK NO 1 500KV LINE, WAUTOMA: PCB 5256, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262, HANFORD: PCB 4104, HANFORD: PCB 4101, ROCK CREEK: PCB 5294, ROCK CREEK: PCB 5288 | NOH, SIG, BCHT, BCHW, NI, WOJD, WOM, WOCN, WOS, RKCR
44 | 23-01413 | 12826046 | 10/02/2023 08:00 | 10/13/2023 16:00 | GRIZZLY: 500KV REACTOR 1, INCLUDING PCB 4222 | GRIZZLY: 500KV REACTOR 1, GRIZZLY: PCB 4222, INCLUDING PCB 4222 | COI, PDCI, NWACI
45 | 23-04213 | 13029125 | 10/02/2023 08:00 | 10/20/2023 16:00 | LA GRANDE: A-266 TERMINAL OF THE LA GRANDE-IPC NORTH POWER NO 1 230KV LINE | LA GRANDE: A-266 TERMINAL OF THE LA GRANDE-IPC NORTH POWER NO 1 230KV LINE, LA GRANDE: PCB A-266 | ID-NW
46 | 23-05088 | 13105728 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
47 | 23-05094 | 13108380 | 10/02/2023 08:00 | 11/17/2023 15:00 | SLATT-BUCKLEY NO 1 500KV LINE | SLATT-BUCKLEY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS
48 | 23-05095 | 13108392 | 10/02/2023 08:00 | 11/17/2023 15:00 | BUCKLEY-MARION NO 1 500KV LINE | BUCKLEY-MARION NO 1 500KV LINE | NWACI, SIG, WOCS, WOJD
49 | 23-07022 | 13307047 | 10/03/2023 07:00 | 10/03/2023 16:00 | RAVER: PCB 4917, INCLUDING, RAVER: 500KV CAP GROUP 1 SECTION 3 | RAVER: PCB 4917, INCLUDING, RAVER: 500KV CAP GROUP 1 SECTION 3 | NOEL, RP, SOC, IROL, WOCN
50 | 23-09320 | 13587816 | 10/03/2023 07:00 | 10/13/2023 15:30 | -LVE- SNAKE RIVER TO HOBACK SECTION OF THE SNAKE RIVER-JACKSON 115KV LINE | -LVE- SNAKE RIVER TO HOBACK SECTION OF THE SNAKE RIVER-JACKSON 115KV LINE, SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
51 | 23-00024 | 13689363 | 10/03/2023 07:30 | 10/03/2023 15:00 | KEELER: 500/230KV TRANSFORMER 2 | KEELER: 500/230KV TRANSFORMER 2, KEELER: PCB A-867, KEELER: MOD 4326 | SIG, SOA, WOCS
52 | 23-04996 | 13160613 | 10/03/2023 07:30 | 10/03/2023 16:00 | MONROE: PCB 4516 | MONROE: PCB 4516 | BCHT, BCHW, NOEL, SOC, NI
53 | 23-00414 | 13307066 | 10/03/2023 08:00 | 10/03/2023 15:00 | LOWER MONUMENTAL: 500KV EAST BUS INCLUDING PCBS 4251, 4290, 4624, 4600 AND THE 500KV REACTOR #1 | LOWER MONUMENTAL: PCB 4251, LOWER MONUMENTAL: 500KV EAST BUS INCLUDING PCBS 4251, 4290, 4624, 4600 AND THE 500KV REACTOR #1, LOWER MONUMENTAL: PCB 4290, LOWER MONUMENTAL: PCB 4600, LOWER MONUMENTAL: PCB 4624, LOWER MONUMENTAL: 500KV REACTOR 1 | WOLM
54 | 23-07727 |  | 10/03/2023 08:00 | 10/03/2023 16:00 | OLYMPIA: 500/230KV TRANSFORMER 5 | OLYMPIA: 500/230KV TRANSFORMER 5, PAUL-OLYMPIA NO 1 500KV LINE | LOAD, NOEL, PA, RP, SIG, IROL
55 | 23-02790 | 12909005 | 10/04/2023 07:00 | 10/05/2023 11:00 | GARRISON: PCB 4409 | GARRISON: PCB 4409 | MT-NW
56 | 23-04997 | 13160622 | 10/04/2023 07:30 | 10/04/2023 16:00 | MONROE: PCB 4519 | MONROE: PCB 4519 | BCHT, BCHW, NOEL, SOC, NI
57 | 23-00412 | 13160948 | 10/04/2023 08:00 | 10/04/2023 15:00 | LOWER MONUMENTAL-LITTLE GOOSE NO 2 500KV LINE, INCLUDING LOMO: PCB'S 4290, 4259 | LOWER MONUMENTAL-LITTLE GOOSE NO 2 500KV LINE, LOWER MONUMENTAL: PCB 4290, LOWER MONUMENTAL: PCB 4259, INCLUDING LOMO: PCB'S 4290, 4259 | GEN, MT-NW, WOH, WOLM
58 | 23-01201 | 12593472 | 10/05/2023 07:00 | 10/05/2023 17:00 | LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
59 | 23-07731 |  | 10/05/2023 07:00 | 10/09/2023 17:00 | COVINGTON: 230KV MAIN BUS SECTION 2 | COVINGTON: 230KV MAIN BUS SECTION 2, COVINGTON-DUWAMISH NO 1 230KV LINE, COVINGTON-BERRYDALE NO 1 230KV LINE, COVINGTON-WHITE RIVER NO 2 230KV LINE, COVINGTON: PCB A-92, COVINGTON: PCB A-93 | NOEL, SOC, WOCN, RP, BCHT, BCHW
60 | 23-05619 |  | 10/05/2023 07:30 | 10/05/2023 15:00 | ASHE: 500KV REACTOR 1, INCLUDING PCB 4907 | ASHE: 500KV REACTOR 1, ASHE: PCB 4907, INCLUDING PCB 4907 | NWACI, FCRPS, NOH
61 | 23-07530 |  | 10/05/2023 07:30 | 10/05/2023 15:30 | BELLINGHAM 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-482 AND B-934 | BELLINGHAM 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-482 AND B-934, BELLINGHAM: 230/115KV TRANSFORMER 1, BELLINGHAM: PCB A-482, BELLINGHAM: PCB B-934 | LOAD, NOEL, SOC, BCHW
62 | 23-02725 | 13134687 | 10/05/2023 08:00 | 10/05/2023 13:00 | KEELER: 230KV REACTIVE GROUP NO 2 INCLUDING CAP SECTIONS 2&3 AND REACTOR 1 | KEELER: PCB A-858, KEELER: 230KV REACTIVE GROUP NO 2 INCLUDING CAP SECTIONS 2&3 AND REACTOR 1 , KEELER: PCB A-859, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3, KEELER: LBD A-857, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: PCB A-873, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1 | SOA, WOCS
63 | 23-06790 | 13288513 | 10/05/2023 09:00 | 10/05/2023 10:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
64 | 23-06791 | 13288523 | 10/05/2023 10:00 | 10/05/2023 11:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
65 | 23-06793 | 13288546 | 10/05/2023 11:00 | 10/05/2023 12:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
66 | 23-06794 | 13288551 | 10/05/2023 12:30 | 10/05/2023 13:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
67 | 23-06533 | 13296589 | 10/06/2023 23:00 | 10/07/2023 07:00 | JONES CANYON-SANTIAM NO 1 230KV LINE INCLUDING TUMBLE CREEK TAP AND TUMBLE CREEK 230/24.9KV TRANSFORMER NO 1 AND 230KV PCB A-454 (UNGROUNDED) | JONES CANYON-SANTIAM NO 1 230KV LINE, JONES CANYON-SANTIAM NO 1 230KV LINE INCLUDING TUMBLE CREEK TAP AND TUMBLE CREEK 230/24.9KV TRANSFORMER NO 1 AND 230KV PCB A-454 (UNGROUNDED), TUMBLE CREEK: 230/24.9KV TRANSFORMER 1, TUMBLE CREEK: PCB A-454, SANTIAM: PCB A-528, JONES CANYON: PCB A-1682, JONES CANYON: PCB A-1685 | SOA, WOCS, WOM, SCORC, SLAL
68 | 23-07375 | 13545130 | 10/09/2023 07:30 | 10/09/2023 15:00 | LOWER MONUMENTAL: PCB 4251 | LOWER MONUMENTAL: PCB 4251 | WOLM
69 | 23-05845 | 13231020 | 10/09/2023 08:00 | 10/12/2023 15:00 | WAUTOMA: BAY 3 PCB'S 5247, 5250, 5253 (FORCES OUT WAUTOMA-KNIGHT 1 AND HANFORD-WAUTOMA 1 500KV LINES) | HANFORD-WAUTOMA NO 1 500KV LINE, WAUTOMA: BAY 3 PCB'S 5247, 5250, 5253 (FORCES OUT WAUTOMA-KNIGHT 1 AND HANFORD-WAUTOMA 1 500KV LINES), WAUTOMA-KNIGHT NO 1 500KV LINE, WAUTOMA: PCB 5247, WAUTOMA: PCB 5250, WAUTOMA: PCB 5253, HANFORD: PCB 4092, HANFORD: PCB 4095 | NOH, SIG, BCHT, BCHW, NI, WOCN, WOCS, WOJD, WOM, WOS, WOLM
70 | 23-01510 |  | 10/09/2023 08:00 | 12/01/2023 16:00 | PSE- SAMMAMISH 230KV WEST AND MID BUS | PSE- SAMMAMISH 230KV WEST AND MID BUS, BOTHELL (SCL)-SAMMAMISH 230KV LINE, PSE- SAMMAMISH-NOVELTY HILL 2 230KV LINE | NOEL, SOC
71 | 23-00420 | 12861670 | 10/09/2023 09:00 | 10/09/2023 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
72 | 23-04346 | 13339769 | 10/09/2023 09:00 | 10/13/2023 15:00 | TUCANNON RIVER: 115Kv CAP GROUP 1 REACTIVE BUS, INCLUDING PCBs B-2018, B-2024, B-2038, B-2039, and 115KV CAP GROUP 1 SECTIONS 1 & 2 | TUCANNON RIVER: 115KV CAP GROUP 1 REACTIVE BUS, TUCANNON RIVER: 115Kv CAP GROUP 1 REACTIVE BUS, INCLUDING PCBs B-2018, B-2024, B-2038, B-2039, and 115KV CAP GROUP 1 SECTIONS 1 & 2, TUCANNON RIVER: PCB B-2018, TUCANNON RIVER: PCB B-2024, TUCANNON RIVER: PCB B-2038, TUCANNON RIVER: PCB B-2039, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2 | LWRSNK
73 | 23-00418 | 12730315 | 10/09/2023 09:00 | 10/21/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | SAND SPRINGS: PCB 4264, PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED), FORT ROCK: PCB 4265, SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
74 | 23-02793 | 12908977 | 10/10/2023 06:00 | 10/12/2023 16:00 | GARRISON: PCB 4463 | GARRISON: PCB 4463 | MT-NW
75 | 23-02987 | 12942910 | 10/10/2023 06:00 | 10/20/2023 23:00 | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MUNRO: RAS AC-B CONTROLLER, MUNRO: RAS DC-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
76 | 23-01922 | 12826238 | 10/10/2023 06:00 | 10/26/2023 17:00 | JOHN DAY: 4156/4157 TERMINAL OF , JOHN DAY PH-JOHN DAY NO 2 500KV LINE | JOHN DAY: 4156/4157 TERMINAL OF , JOHN DAY PH-JOHN DAY NO 2 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD
77 | 23-01763 | 12847096 | 10/10/2023 06:00 | 10/27/2023 17:00 | GRAND COULEE: PCB 5382 | GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
78 | 23-00570 | 12829687 | 10/10/2023 07:00 | 10/10/2023 16:00 | GRIZZLY: PCB 5028 | GRIZZLY: PCB 5028 | NWACI, WOJD, COI
79 | 23-11104 |  | 10/10/2023 07:00 | 10/11/2023 16:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | JONES CANYON: PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | WOCS
80 | 23-04998 | 13160636 | 10/10/2023 07:30 | 10/10/2023 16:00 | MONROE: PCB 4522 | MONROE: PCB 4522, MONROE: PCB 5502 | BCHT, BCHW, NOEL, SOC, NI, WOCN
81 | 23-07376 | 13627872 | 10/10/2023 08:00 | 10/10/2023 15:00 | LOWER MONUMENTAL: PCB 4676 | LOWER MONUMENTAL: PCB 4676 | WOLM
82 | 23-07492 | 13392836 | 10/10/2023 08:00 | 10/10/2023 17:00 | VANTAGE: PCB 5339 | VANTAGE: PCB 5339 | NOH
83 | 23-01092 | 13231509 | 10/10/2023 08:00 | 10/11/2023 15:00 | HATWAI-DWORSHAK NO 1 500KV LINE, INCLUDING HATWAI: PCB'S 4700, 4708 AND DWORSHAK: PCB 4664 | HATWAI: PCB 4708, HATWAI-DWORSHAK NO 1 500KV LINE, HATWAI: PCB 4700, INCLUDING HATWAI: PCB'S 4700, 4708 AND DWORSHAK: PCB 4664, DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1, DWORSHAK: PCB 4666 | MT-NW, NOH, WOH, WOLM, SIG, FCRPS, GEN
84 | 23-06747 | 13317616 | 10/10/2023 08:00 | 10/12/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972 | NWACI, COI
85 | 23-07276 | 13374532 | 10/10/2023 08:00 | 10/12/2023 16:00 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1, WHITE BLUFFS: PCB B-270 | GEN, TCLA, LOAD
86 | 23-01753 | 13165692 | 10/10/2023 08:00 | 10/16/2023 17:00 | PEARL-KEELER NO 1 500KV LINE | PEARL-KEELER NO 1 500KV LINE, PEARL: PCB 4280, PEARL: PCB 4283 | SIG, SOA
87 | 23-09534 | 13656020 | 10/10/2023 08:00 | 10/19/2023 18:00 | BIG EDDY-DEMOSS NO. 1 115KV LINE INCLUDING BIG EDDY PCB B-1048 AND 115KV A/B | BIG EDDY-DEMOSS NO. 1 115KV LINE INCLUDING BIG EDDY PCB B-1048 AND 115KV A/B, BIG EDDY-DE MOSS NO 1 115KV LINE, BIG EDDY: PCB B-1048, BIG EDDY: 115KV AUX BUS, DE MOSS: PCB B-2072, DE MOSS: PCB B-2081 | GEN, BGEDY
88 | 23-09768 | 13627998 | 10/10/2023 09:00 | 10/19/2023 18:00 | GARRISON-TAFT NO 2 500KV LINE, INCLUDING TAFT: HSGS 7882 | GARRISON-TAFT NO 2 500KV LINE, GARRISON: HSGS 7883, TAFT: HSGS 7882, INCLUDING TAFT: HSGS 7882, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, SIG
89 | 23-09770 | 13628008 | 10/10/2023 10:00 | 10/19/2023 18:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, GARRISON: PCB 4461 | MT-NW
90 | 23-05608 | 13242089 | 10/11/2023 06:30 | 10/11/2023 17:30 | ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1 | ALVEY: PCB A-247, ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-332, A-247, A-246, A-242, A-236, A-476, A-241 AND THE 230KV REACTOR 1, ALVEY: PCB A-332, ALVEY: PCB A-246, ALVEY: PCB A-242, ALVEY: PCB A-241, ALVEY: PCB A-236, ALVEY: PCB A-476, SANTIAM-ALVEY NO 1&2 230KV LINE, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: 230KV REACTOR 1, ALVEY: 230KV SOUTH MAIN BUS | SCORC
91 | 23-05942 | 13395029 | 10/11/2023 07:30 | 10/11/2023 16:30 | CUSTER-INGLEDOW NO 1 500KV LINE, INCLUDING CUSTER: PCB'S 4272 & 4276 | CUSTER: PCB 4276, CUSTER-INGLEDOW NO 1 500KV LINE, CUSTER: PCB 4272, INCLUDING CUSTER: PCB'S 4272 & 4276, CUSTER: MOD 4275, CUSTER: MOD 4273 | BCHT, BCHW, NOEL, SOC, NI, SIG
92 | 23-07495 | 13392862 | 10/11/2023 08:00 | 10/11/2023 17:00 | VANTAGE: PCB 5342 | VANTAGE: PCB 5342 | NOH
93 | 23-05865 | 13242082 | 10/12/2023 07:00 | 10/12/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2, CAP SECTIONS 1, 2, AND 3 INCLUDING: PCBs A-235, A-237, AND A-239 | ALVEY: 230KV REACTIVE GROUP 2, CAP SECTIONS 1, 2, AND 3 INCLUDING: PCBs A-235, A-237, AND A-239, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: PCB A-235, ALVEY: PCB A-237, ALVEY: PCB A-239 | SCORC
94 | 23-08755 | 13549697 | 10/12/2023 07:30 | 10/12/2023 15:00 | SNO-KING: 500/230KV TRANSFORMER 4, INCLUDING PCB'S 4815 AND A-1202 | SNO-KING TAP TO ECHO LAKE-MONROE NO 1 500KV LINE, SNO-KING: 500/230KV TRANSFORMER 4, SNO-KING: PCB 4815, INCLUDING PCB'S 4815 AND A-1202, SNO-KING: PCB A-1202 | BCHT, BCHW, NOEL, SIG, SOC, WOCN, IROL, NI, LOAD
95 | 23-07496 | 13392880 | 10/12/2023 08:00 | 10/12/2023 15:00 | VANTAGE: PCB 5345 | VANTAGE: PCB 5345 | NOH
96 | 23-06795 | 13288556 | 10/12/2023 10:00 | 10/12/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
97 | 23-06796 | 13288562 | 10/12/2023 11:00 | 10/12/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
98 | 23-06798 | 13288578 | 10/12/2023 12:30 | 10/12/2023 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
99 | 23-06799 | 13288586 | 10/12/2023 13:30 | 10/12/2023 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
100 | 23-08335 | 13819754 | 10/12/2023 23:00 | 10/13/2023 06:00 | POTLATCH-DUCKABUSH SECT OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING DUCKABUSH SUBSTATION | POTLATCH-DUCKABUSH SECTION OF SHELTON-FAIRMOUNT NO 1 115KV LINE, POTLATCH-DUCKABUSH SECT OF THE SHELTON-FAIRMOUNT NO 1 115KV LINE INCLUDING DUCKABUSH SUBSTATION, DUCKABUSH: MASON CO PUD 1 115KV FEEDER 1 | PA
101 | 23-07684 | 13369582 | 10/13/2023 08:00 | 10/27/2023 18:00 | -SCL- BOTHELL-SAMMAMISH 240KV LINE, BOTHELL-DIABLO 1 240KV LINE, 240KV MAIN BUS 2 AND THE 240/115KV BANK 62 | -SCL- BOTHELL-SAMMAMISH 240KV LINE, BOTHELL-DIABLO 1 240KV LINE, 240KV MAIN BUS 2 AND THE 240/115KV BANK 62 | SOC, NOEL
102 | 23-05253 | 13134586 | 10/13/2023 08:00 | 11/10/2023 15:00 | CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218 | DITTMER: RAS DC-A CONTROLLER, CELILO: RAS DC-A CONTROLLER SCADA MASTER CKT 6196, CELILO: RAS DC-B CONTROLLER SCADA MASTER CKT 6218, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
103 | 23-09080 |  | 10/13/2023 23:59 | 10/14/2023 04:00 | HARNEY: HARNEY ELEC COOP 115KV FEEDER 1 INCLUDING PCB B-1712 AND THE 115KV AUX BUS | HARNEY: PCB B-1712, HARNEY: HARNEY ELEC COOP 115KV FEEDER 1 INCLUDING PCB B-1712 AND THE 115KV AUX BUS, HARNEY: HARNEY ELEC COOP 115KV FEEDER 1, HARNEY: 115KV AUX BUS
104 | 23-01398 |  | 10/14/2023 04:00 | 11/12/2023 21:00 | CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO: 9085 TERMINAL OF CELILO-SYLMAR POLE 3 AND 9084 TERMINAL OF CELILO-SYLMAR POLE 4 1000KV LINE, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 4 540/240/240KV TRANSFORMER | PDCI, SIG
105 | 24-00017 | 9556226 | 10/15/2023 22:00 | 10/15/2023 22:30 | GRAND COULEE: PCB 2492, PCB 2496 | GRAND COULEE: PCB 2492, PCB 2496, GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
106 | 23-08720 | 13571263 | 10/16/2023 07:00 | 10/16/2023 16:00 | BELL: 500KV REACTOR 1, INCLUDING PCB 4559 | BELL: 500KV REACTOR 1, BELL: PCB 4559, INCLUDING PCB 4559 | MT-NW, WOH
107 | 23-02795 | 12908934 | 10/16/2023 07:00 | 10/17/2023 16:00 | GARRISON: PCB 4412 | GARRISON: PCB 4412 | MT-NW
108 | 23-04610 | 13100629 | 10/16/2023 07:00 | 10/20/2023 16:00 | GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE, (UNGROUNDED AT GRAND COULEE) | GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE, CHIEF JOSEPH: PCB A-590, (UNGROUNDED AT GRAND COULEE) | GEN, NOH, FCRPS, WOCN
109 | 23-04073 | 13323233 | 10/16/2023 07:00 | 10/26/2023 15:00 | MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 13.2KV BUS AND PCB 1W | MCNARY: 13.2KV PCB 1W STATION SERVICE, MCNARY: 230/115KV TRANSFORMER 9 INCLUDING 13.2KV BUS AND PCB 1W, MCNARY: 230/115KV TRANSFORMER 9, MCNARY: 13KV BANK 9 DELTA BUS | WOM
110 | 23-04475 | 13048225 | 10/16/2023 07:00 | 11/02/2023 15:00 | SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS | SIFTON: 230KV WEST MAIN BUS, SIFTON: NORTH BONNEVILLE - ROSS NO 2 230KV LINE INCLUDING SIFTON TAP LINE RELAYS AND THE 230/115KV XFMR NO.1 RELAYS, NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: 230/115KV TRANSFORMER 1, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, SIFTON: PCB B-1511, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14 | SOA, GEN, LOAD, WOCS, FCRPS
111 | 23-09328 | 13577057 | 10/16/2023 07:00 | 11/04/2023 16:00 | WAPA- OLINDA-TRACY 500KV LINE | WAPA- OLINDA-TRACY 500KV LINE | COI, NWACI
112 | 23-00084 | 11345939 | 10/16/2023 07:00 | 11/09/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
113 | 23-05921 | 13296684 | 10/16/2023 08:00 | 10/16/2023 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, COI, NWACI, GEN, FCRPS
114 | 23-02618 |  | 10/16/2023 08:00 | 10/19/2023 14:00 | MOUNTAIN AVE - PP&L ASHLAND-OAK KNOLL #1 115KV LINE | MOUNTAIN AVE - PP&L ASHLAND-OAK KNOLL #1 115KV LINE
115 | 23-05914 | 13208355 | 10/16/2023 08:00 | 10/19/2023 15:00 | LITTLE GOOSE: PCB 4348 | LITTLE GOOSE: PCB 4348 | WOLM
116 | 23-03136 | 12953673 | 10/16/2023 08:00 | 10/19/2023 16:30 | PONDEROSA: PCB 4618, BFR | PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA: PCB 4618, BFR | COI, NWACI, COR
117 | 23-00875 | 13098309 | 10/16/2023 08:00 | 10/23/2023 15:00 | DWORSHAK: 500KV REACTOR 1, INCLUDING PCB 4665 | DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1, INCLUDING PCB 4665 | MT-NW, GEN, WOH
118 | 23-00746 |  | 10/16/2023 08:00 | 10/25/2023 15:00 | BOUNDARY: 230/115KV TRANSFORMER 1 RELAYS AND PCB A-1228 RELAYS | BOUNDARY: 230/115KV TRANSFORMER 1 RELAYS, BOUNDARY: 230/115KV TRANSFORMER 1 RELAYS AND PCB A-1228 RELAYS, PCB A-1228 BFR, BOUNDARY: 230KV DEAD BUS CLEARING RELAYS, BOUNDARY: 230KV MAIN BUS DIFFERENTIAL RELAYS
119 | 23-08721 | 13571491 | 10/17/2023 07:00 | 10/17/2023 15:00 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5320 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, BELL: PCB 5320, INCLUDING PCB 5320 | WOH, MT-NW
120 | 23-07853 | 13545199 | 10/17/2023 07:00 | 10/17/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 & PCB A-1139 | MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 & PCB A-1139, MAPLE VALLEY: 230KV MAIN BUS SECTION 3, MAPLE VALLEY-TALBOT NO 2 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, IROL, SIG
121 | 23-06183 | 13288203 | 10/17/2023 07:00 | 10/18/2023 17:00 | ALVEY: 500/230KV TRANSFORMER 5, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | ALVEY: 500/230KV TRANSFORMER 5, ALVEY 500/230KV TIE LINE NO 1 500KV LINE, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | NWACI, COI, SCORC
122 | 23-00715 | 12454564 | 10/17/2023 07:00 | 10/20/2023 15:00 | RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE; RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976 AND B-1978 | RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE, RED MOUNTAIN: 115KV EAST BUS INCLUDING THE RED MOUNTAIN-KENNEDY SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE; RED MOUNTAIN-SUNSET ROAD #1 115KV LINE AND PCBS B-1976 AND B-1978, RED MOUNTAIN-SUNSET ROAD #1 115KV LINE, RED MOUNTAIN: PCB B-1976, RED MOUNTAIN: PCB B-1978, RED MOUNTAIN: 115KV EAST BUS | TCLA, LOAD
123 | 23-10807 | 13771253 | 10/17/2023 08:00 | 10/17/2023 15:00 | FAIRMOUNT: 230KV CAP GRP 2 INCLUDING LBD A-1628 | FAIRMOUNT: 230KV CAP GRP 2 INCLUDING LBD A-1628, FAIRMOUNT: LBD A-1628, FAIRMOUNT: 230KV CAP GROUP 2 | PA, RP
124 | 23-11214 | 13817972 | 10/17/2023 08:00 | 10/17/2023 15:00 | SCHULTZ:PCB 5167 BFR | SCHULTZ:PCB 5167 BFR
125 | 23-06892 |  | 10/17/2023 08:00 | 10/17/2023 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, COI, NWACI, GEN, FCRPS
126 | 23-09799 |  | 10/17/2023 08:00 | 11/06/2023 15:00 | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | PGE HORIZON-ST MARYS-TROJAN 230KV LINE | SOA
127 | 24-00018 | 9556230 | 10/17/2023 16:30 | 10/17/2023 17:00 | GRAND COULEE: PCB 2492, PCB 2496 | GRAND COULEE: PCB 2492, PCB 2496, GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
128 | 23-07856 | 13545346 | 10/18/2023 07:00 | 10/18/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, CI, IROL, NOH, SIG
129 | 23-04946 | 13208690 | 10/18/2023 07:30 | 10/18/2023 17:00 | CUSTER: 500/230KV TRANSFORMER 1, INCLUDING PCBS A-1242, AND A-1246 | CUSTER: 500/230KV TRANSFORMER 1, CUSTER: PCB A-1242, INCLUDING PCBS A-1242, AND A-1246, CUSTER: PCB A-1246 | NOEL, SIG, SOC, NI, BCHT, BCHW
130 | 23-06893 |  | 10/18/2023 08:00 | 10/18/2023 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, COI, NWACI, GEN, FCRPS
131 | 23-07939 | 13545737 | 10/19/2023 16:00 | 11/17/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
132 | 23-07135 |  | 10/19/2023 23:00 | 10/20/2023 02:00 | RURAL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP | ROE'S CORNER-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP, ROE'S CORNER TAP TO HEYBURN-ADELAIDE NO 1 138KV LINE, ROE'S CORNER: UNITED ELEC COOP 138KV FEEDER 1, RURAL-ROE'S CORNER SECTION OF THE HEYBURN ADELAIDE NO1 138KV LINE
133 | 23-02979 | 12943131 | 10/21/2023 06:00 | 10/22/2023 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER, DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
134 | 23-02677 | 12861689 | 10/21/2023 16:00 | 10/21/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, NWACI, COR, BCHT, BCHW, NI, SIG
135 | 23-09322 | 13577644 | 10/23/2023 07:00 | 10/24/2023 15:30 | TETON: B-1674 TERMINAL OF THE LVE CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | TETON: B-1674 TERMINAL OF THE LVE CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE, TETON: LOWER VALLEY ENG 115KV FEEDER 2, CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, LOAD
136 | 23-00117 |  | 10/23/2023 07:00 | 10/27/2023 16:00 | IPC- MIDPOINT - HEMINGWAY 500 KV line | IPC- MIDPOINT - HEMINGWAY 500 KV line | ID-NW, COI
137 | 23-04609 | 13095116 | 10/23/2023 07:30 | 10/27/2023 16:00 | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE, (UNGROUNDED AT GRAND COULEE) | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE, CHIEF JOSEPH: PCB A-578, (UNGROUNDED AT GRAND COULEE) | GEN, NOH, FCRPS, WOCN
138 | 23-03741 | 12986647 | 10/23/2023 08:00 | 10/24/2023 16:00 | BIG EDDY: PCB 4200 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4200 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY
139 | 23-05856 |  | 10/23/2023 08:00 | 10/26/2023 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA PCBS 5241, 5244 AND SCHULTZ PCBS 5170, 5173 | WAUTOMA: PCB 5241, SCHULTZ-WAUTOMA NO 1 500KV LINE INCLUDING WAUTOMA PCBS 5241, 5244 AND SCHULTZ PCBS 5170, 5173, WAUTOMA: PCB 5244, SCHULTZ: PCB 5170, SCHULTZ: PCB 5173, SCHULTZ-WAUTOMA NO 1 500KV LINE | NOH, WOCN, BCHT, BCHW, IROL, NI, SIG
140 | 23-02379 | 13065278 | 10/23/2023 08:00 | 10/26/2023 17:00 | LAPINE-FORT ROCK NO 1-115KV LINE INCLUDING CONNLEY TAP | CONNLEY COLLECTOR TAP TO LAPINE-FORT ROCK NO 1 115KV LINE, LAPINE-FORT ROCK NO 1-115KV LINE INCLUDING CONNLEY TAP, CHRISTMAS VALLEY TAP TO BRASADA-HARNEY NO 1 115KV LINE, FORT ROCK: MIDSTATE E COOP 115KV FEEDER 1, LAPINE: PCB B-1293 | ID-NW, COR, NWACI
141 | 23-09868 | 13650921 | 10/23/2023 08:00 | 10/27/2023 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
142 | 23-10760 | 13778108 | 10/23/2023 08:00 | 10/27/2023 18:00 | BIG EDDY: 230/115KV TRANSFORMER 1 INCLUDING PCB B-1060 AND 115KV A/B | BIG EDDY: 230/115KV TRANSFORMER 1 INCLUDING PCB B-1060 AND 115KV A/B, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: PCB B-1060, BIG EDDY: PCB A-802, BIG EDDY: 13.2KV PCB L-1468, BIG EDDY: 13.2KV PCB L-1466, BIG EDDY: PCB B-1054 | GEN, WOJD, BGEDY, PDCI
143 | 23-04624 | 13213113 | 10/23/2023 08:00 | 10/28/2023 18:30 | JOHN DAY-GRIZZLY NO 2 500KV LINE | JOHN DAY-GRIZZLY NO 2 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
144 | 23-04631 | 13213134 | 10/23/2023 08:00 | 10/28/2023 18:30 | BUCKLEY-GRIZZLY NO 1 500KV LINE, (UNGROUNDED) | BUCKLEY-GRIZZLY NO 1 500KV LINE, (UNGROUNDED) | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN
145 | 23-08683 | 13577648 | 10/23/2023 08:00 | 11/09/2023 15:00 | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP | BAXTER-FRANKLIN SECTION OF THE BENTON-FRANKLIN NO 1 115KV LINE INCLUDING LAPORTE TAP, BAXTER-FRANKLIN SECTION OF BENTON-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-620 | TCLA
146 | 23-02674 | 13109251 | 10/23/2023 08:30 | 10/26/2023 15:00 | MALIN: PCB 4327 BFR | MALIN: 500KV REACTOR 1, MALIN: PCB 4327 BFR, MALIN: PCB 4327 | COI, NWACI
147 | 23-00747 | 13134804 | 10/24/2023 08:00 | 10/26/2023 12:00 | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOUNDARY: 230/115KV TRANSFORMER 1, PCB A-1228, AND PCB B-1398 | BOUNDARY: 230/115KV TRANSFORMER 1, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOUNDARY: 230/115KV TRANSFORMER 1, PCB A-1228, AND PCB B-1398, BOUNDARY: PCB A-1228, BOUNDARY: PCB B-1398, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
148 | 23-03742 | 12986645 | 10/24/2023 14:00 | 10/24/2023 15:00 | BIG EDDY: PCB 4202 | BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
149 | 23-09323 | 13577748 | 10/25/2023 07:00 | 10/26/2023 15:30 | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE, EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, MT-NW
150 | 23-05799 | 13234744 | 10/25/2023 08:00 | 10/25/2023 16:00 | CENTRAL FERRY: PCB 5415 | CENTRAL FERRY: PCB 5415 | WOH, WOLM
151 | 23-03983 | 13007222 | 10/25/2023 08:00 | 10/26/2023 15:00 | BIG EDDY: PCB 4202 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4202 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
152 | 23-07239 | 13327045 | 10/26/2023 10:00 | 10/26/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
153 | 23-07241 | 13327149 | 10/26/2023 11:00 | 10/26/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
154 | 23-07242 | 13327152 | 10/26/2023 12:30 | 10/26/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
155 | 23-07243 | 13327166 | 10/26/2023 13:30 | 10/26/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
156 | 23-07244 | 13327139 | 10/26/2023 14:30 | 10/26/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
157 | 23-03984 | 13007229 | 10/26/2023 15:00 | 10/26/2023 16:00 | BIG EDDY: PCB 4200 | BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY
158 | 23-02972 | 12943141 | 10/28/2023 06:00 | 10/29/2023 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, COI, NWACI, PDCI
159 | 23-02981 | 12943126 | 10/28/2023 06:00 | 10/29/2023 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS DC-A CONTROLLER, RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM
160 | 23-09965 | 13658160 | 10/28/2023 08:00 | 10/30/2023 18:00 | PSE - SEDRO WOOLLEY-BOTHELL-HORSE RANCH 230KV LINE | PSE - SEDRO WOOLLEY-BOTHELL-HORSE RANCH 230KV LINE | SOC, NOEL
161 | 23-04280 | 13039597 | 10/30/2023 08:00 | 10/31/2023 15:00 | BIG EDDY: PCB 4205 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4205 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4205 | PDCI, WOCS, WOJD, BGEDY
162 | 23-07024 | 13321598 | 10/30/2023 08:00 | 11/02/2023 15:00 | MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN 1 500KV LINE INCLUDING PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN-ROUND MOUNTAIN NO 1 500KV LINE | COI, NWACI, BCHT, BCHW, NI
163 | 23-05748 | 13268099 | 10/30/2023 08:00 | 11/02/2023 16:00 | GRIZZLY: PCB 4038, INCLUDING 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3, INCLUDING 500KV REACTOR 3 | COI, NWACI
164 | 23-10774 | 13777763 | 10/30/2023 08:00 | 11/05/2023 18:00 | BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048 | BIG EDDY: 115KV MAIN BUS SECTION 2, BIG EDDY: 115KV MAIN BUS SECTIONS 2 AND 3 INCLUDING PCB B-1054, PCB B-1050 AND PCB B-1048, BIG EDDY: 115KV MAIN BUS SECTION 3, BIG EDDY: PCB B-1048, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720, BIG EDDY-DE MOSS NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1060 | GEN, LOAD, BGEDY, WOJD, FCRPS
165 | 23-00423 | 12857191 | 10/30/2023 09:00 | 10/30/2023 10:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, NWACI, COR, BCHT, BCHW, NI, SIG
166 | 23-00419 | 12857189 | 10/30/2023 09:00 | 11/11/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | SAND SPRINGS: PCB 4264, PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED), FORT ROCK: PCB 4265, SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
167 | 23-05042 | 12986164 | 10/30/2023 11:00 | 02/28/2024 15:00 | NVE - HILLTOP-FORT SAGE 345KV LINE | NVE - HILLTOP-FORT SAGE 345KV LINE | RATS
168 | 23-09392 | 13582574 | 10/31/2023 07:00 | 10/31/2023 08:00 | BROADVIEW-GARRISON NO 2 500KV LINE | BROADVIEW-GARRISON NO 2 500KV LINE, GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, GEN
169 | 23-08618 | 13582567 | 10/31/2023 07:00 | 10/31/2023 14:00 | GARRISON: 500KV REACTOR 2 | GARRISON: 500KV REACTOR 2 | MT-NW
170 | 23-09393 | 13582592 | 10/31/2023 13:00 | 10/31/2023 14:00 | BROADVIEW-GARRISON NO 2 500KV LINE | BROADVIEW-GARRISON NO 2 500KV LINE, GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, GEN
171 | 23-04281 | 13039602 | 10/31/2023 15:00 | 10/31/2023 16:00 | BIG EDDY: PCB 4202 | BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
172 | 23-09530 | 13609168 | 11/01/2023 07:00 | 11/01/2023 16:00 | MCNARY: PCB 5204 | MCNARY: PCB 5204
173 | 23-09069 | 13549650 | 11/01/2023 07:00 | 11/02/2023 16:00 | RAVER: PCB 4305 | RAVER: PCB 4305 | NOEL, RP, SOC, WOCN
174 | 23-01099 | 13231546 | 11/01/2023 08:00 | 11/01/2023 15:00 | DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1 | DWORSHAK: PCB 4652, DWORSHAK: 500KV WEST BUS, INCLUDING PCB'S 4652, 4665 AND 500KV REACTOR 1, DWORSHAK: PCB 4665, DWORSHAK: 500KV REACTOR 1 | MT-NW, GEN, WOH
175 | 23-05611 | 13267991 | 11/01/2023 08:00 | 11/01/2023 15:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
176 | 23-00791 | 12889050 | 11/01/2023 08:00 | 11/01/2023 16:00 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420 | CENTRAL FERRY: 500KV EAST BUS, INCLUDING PCB 5397 AND MOD(S) 5393, 5396, AND 5420, CENTRAL FERRY: 500KV EAST BUS, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: 500KV CAP GROUP 1, CENTRAL FERRY: PCB 5430, CENTRAL FERRY: MOD 5420 | WOLM, WOH
177 | 23-09971 | 13663848 | 11/01/2023 08:00 | 11/02/2023 00:15 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
178 | 23-04282 | 13039613 | 11/01/2023 08:00 | 11/02/2023 15:00 | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY | BIG EDDY: PCB 4209 BFR AND RECLOSING RELAY, BIG EDDY: PCB 4209 | GEN, PDCI, WOJD, BGEDY
179 | 23-07649 | 13394988 | 11/01/2023 08:00 | 11/02/2023 15:00 | OSTRANDER: PCB 4442 | OSTRANDER: PCB 4442 | WOCS
180 | 23-09512 | 13609465 | 11/02/2023 06:30 | 11/02/2023 16:00 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1204, SNO-KING: PCB B-1586, SNO-KING: 13.8KV PCB L-1432 | LOAD, NOEL, SOC, BCHT, BCHW
181 | 23-01101 | 13478645 | 11/02/2023 08:00 | 11/02/2023 15:00 | DWORSHAK PH-DWORSHAK NO 1 500KV LINE, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS | DWORSHAK: PCB 4656, DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK: 500KV REACTOR 2, INCLUDING DWORSHAK: PCB 4656 AND 500KV EAST BUS, DWORSHAK: PCB 4650, DWORSHAK: 500KV EAST BUS | MT-NW, GEN, SIG, FCRPS, WOH
182 | 23-05614 | 13267996 | 11/02/2023 08:00 | 11/02/2023 15:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
183 | 23-09834 | 13664099 | 11/02/2023 08:00 | 11/02/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
184 | 23-09532 |  | 11/02/2023 13:30 | 11/02/2023 14:30 | SNO-KING: 115KV BUS SECTION 2 LORS SET 1 AND SET 2, SNO-KING: 230KV BUS SECTION 2 LOR | SNO-KING: 115KV BUS SECTION 2 LORS SET 1 AND SET 2, SNO-KING: 230KV BUS SECTION 2 LOR
185 | 23-04283 | 13039619 | 11/02/2023 15:00 | 11/02/2023 16:00 | BIG EDDY: PCB 4860 | BIG EDDY: PCB 4860 | PDCI, WOJD, BGEDY
186 | 23-02970 | 12943015 | 11/04/2023 06:00 | 11/05/2023 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, PA, RP, SIG, SOA, SOC, COI, NWACI, PDCI
187 | 23-01764 |  | 11/06/2023 06:00 | 11/08/2023 17:00 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5 | -USBR- GRAND COULEE: PCB 5382 INCLUDING 230KV AUX BUS SECTION 1A INCLUDING LINE CIRCUIT 5, GRAND COULEE: 115KV AUX BUS SECTION 1
188 | 23-09538 | 13613555 | 11/06/2023 07:00 | 11/06/2023 15:00 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 , SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 | WOJD, WOM, WOS
189 | 23-09070 | 13549660 | 11/06/2023 07:00 | 11/07/2023 15:00 | RAVER: PCB 4879 | RAVER: PCB 4879 | NOEL, RP, SOC, WOCN
190 | 23-09428 |  | 11/06/2023 07:00 | 11/16/2023 14:00 | GARRISON: RAS WM-A & WM-B CONTROLLERS O.A.T. | GARRISON: RAS WM-A CONTROLLER, GARRISON: RAS WM-A & WM-B CONTROLLERS O.A.T., GARRISON: RAS WM-B CONTROLLER | MT-NW, GEN, SIG, WOH
191 | 23-09880 | 13696503 | 11/06/2023 08:00 | 11/06/2023 15:00 | MIDWAY: 230KV MAIN BUS SECTION 2, INCLUDING PCB A-54 | MIDWAY: 230KV MAIN BUS SECTION 2, MIDWAY: A-54 MAIN BUS DISC, MIDWAY: PCB A-54, INCLUDING PCB A-54, MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY-VANTAGE NO 1 230KV LINE, MIDWAY-BENTON NO 2 230KV LINE, MIDWAY-WANAPUM SECTION OF MIDWAY-PRIEST RAPIDS NO 3 230KV LINE | WOM, TCLA, GEN, NOH, WI
192 | 23-07651 | 13394992 | 11/06/2023 08:00 | 11/07/2023 15:00 | OSTRANDER: PCB 4439 | OSTRANDER: PCB 4439 | WOCS
193 | 22-01809 | 10633216 | 11/06/2023 09:00 | 11/06/2023 14:00 | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE) | BUCKLEY: GRIZZLY BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-GRIZZLY 1 500KV LINE), BUCKLEY: PCB 4961, BUCKLEY: PCB 4964, BUCKLEY-GRIZZLY NO 1 500KV LINE | NWACI, WOJD, WOM, WOS, COI, WOCS, BCHT, BCHW, NI, PDCI, SIG
194 | 23-09800 | 13628553 | 11/07/2023 06:00 | 11/30/2023 16:00 | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA
195 | 23-09614 | 13614879 | 11/07/2023 07:00 | 11/07/2023 16:00 | SLATT: PCB 5015 | SLATT: PCB 5015 | WOJD
196 | 23-05827 | 13268125 | 11/07/2023 08:00 | 11/07/2023 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI, COI
197 | 23-00407 | 12252239 | 11/07/2023 08:00 | 11/09/2023 15:00 | MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906 | MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE BREA: BENTON REA 115KV FEEDER 1, MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, INCLUDING MIDWAY PCBS B-146, B-148 AND MOXEE PCBS B-902, B-906, RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, RATTLESNAKE TAP TO MIDWAY-MOXEE NO 1 115KV LINE | TCLA
198 | 22-01810 | 10633200 | 11/07/2023 09:00 | 11/07/2023 14:00 | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE) | BUCKLEY: MARION BUS SECTION DIFFERENTIAL RELAY (FORCES OUT BUCKLEY-MARION 1 500KV LINE), BUCKLEY: PCB 4964, BUCKLEY: PCB 4967, BUCKLEY-MARION NO 1 500KV LINE | NWACI, WOCS, WOJD, COI, WOM, WOS, PDCI, SIG
199 | 23-09615 | 13614868 | 11/08/2023 07:00 | 11/08/2023 16:00 | SLATT: PCB 5018 | SLATT: PCB 5018 | WOJD
200 | 22-01806 | 10633205 | 11/08/2023 09:00 | 11/08/2023 14:00 | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE) | BUCKLEY: SLATT BUS SECTION DIFFERENTIAL RELAY (FORCES OUT SLATT-BUCKLEY 1 500KV LINE), BUCKLEY: PCB 4967, BUCKLEY: PCB 4961, SLATT-BUCKLEY NO 1 500KV LINE | NWACI, WOCS, WOJD, WOM, WOS, COI, PDCI, SIG
201 | 23-08874 | 13578224 | 11/09/2023 10:00 | 11/09/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
202 | 23-08875 | 13578246 | 11/09/2023 11:00 | 11/09/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
203 | 23-08876 | 13578250 | 11/09/2023 12:30 | 11/09/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
204 | 23-08877 | 13578306 | 11/09/2023 13:30 | 11/09/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
205 | 23-08878 | 13578338 | 11/09/2023 14:30 | 11/09/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
206 | 23-07940 | 13550041 | 11/10/2023 06:00 | 11/10/2023 16:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY: PCB A-1140 | NOEL, SOC, NI, WOCN, SIG, CI, IROL, NOH
207 | 23-00089 | 11350694 | 11/10/2023 07:30 | 11/13/2023 16:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE, BENTON-FRANKLIN NO 2 115KV LINE | TCLA, LOAD, WOM
208 | 23-07941 | 13551815 | 11/10/2023 16:00 | 12/18/2023 08:00 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2 INCL PCB A-1140, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY: A-1140 SOUTH MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1140 NORTH MAIN BUS SECTIONALZING DISC, MAPLE VALLEY: A-1142 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: A-1144 MAIN BUS SECTIONALIZING DISC, MAPLE VALLEY: PCB A-1108, MAPLE VALLEY: PCB A-1139, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, SIG, NI, WOCN
209 | 23-00424 | 12857198 | 11/11/2023 16:00 | 11/11/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | COI, PDCI, NWACI, BCHT, BCHW, NI, SIG
210 | 23-09618 | 13806211 | 11/13/2023 07:00 | 11/14/2023 16:00 | MCNARY: PCB 5198 | MCNARY: PCB 5198 | WOM
211 | 23-00085 | 11345942 | 11/13/2023 07:00 | 12/01/2023 16:00 | HANFORD-WAUTOMA NO 1 500KV LINE | HANFORD-WAUTOMA NO 1 500KV LINE, HANFORD: PCB 4092, HANFORD: PCB 4095, WAUTOMA: PCB 5250, WAUTOMA: PCB 5253 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOLM, WOCN
212 | 23-11298 | 13842295 | 11/13/2023 08:00 | 11/13/2023 15:00 | JOHN DAY: PCB 4191 | JOHN DAY: PCB 4191 | NWACI, PDCI, WOJD, WOM, COI
213 | 23-09884 | 13664211 | 11/13/2023 08:00 | 11/14/2023 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE, INCLUDING WAUTOMA: PCB 5244 AND PCB 5241 | SCHULTZ-WAUTOMA NO 1 500KV LINE, WAUTOMA: PCB 5244, WAUTOMA: MOD 5243, INCLUDING WAUTOMA: PCB 5244 AND PCB 5241, WAUTOMA: PCB 5241, WAUTOMA: MOD 5242 | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
214 | 22-06618 | 11597722 | 11/13/2023 08:00 | 11/14/2023 16:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING GRIZZLY PCB 4042 AND BAKEOVEN 500KV SERIES CAP GROUP 2 (GROUNDED AT JOHN DAY ONLY) | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD
215 | 23-05824 | 13208888 | 11/13/2023 08:00 | 11/16/2023 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, WOH, WOLM
216 | 23-11106 | 13811965 | 11/13/2023 08:00 | 11/19/2023 18:00 | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B | THE DALLES PH-BIG EDDY NO 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: 115KV AUX BUS, BIG EDDY: PCB B-1692, BIG EDDY: PCB B-1054 | GEN, SOA, FCRPS
217 | 23-11299 | 13842300 | 11/15/2023 08:00 | 11/15/2023 15:00 | JOHN DAY: PCB 4825 | JOHN DAY: PCB 4825 | JDAY, NWACI, PDCI, WOJD
218 | 23-09624 | 13610154 | 11/16/2023 07:00 | 11/16/2023 16:00 | SLATT: PCB 5006 | SLATT: PCB 5006 | WOS
219 | 23-00899 | 12825794 | 11/19/2023 22:00 | 11/19/2023 22:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
220 | 23-09622 | 13610160 | 11/20/2023 07:00 | 11/21/2023 16:00 | SLATT: PCB 5268 | SLATT: PCB 5268 | WOJD
221 | 23-09335 | 13589504 | 11/20/2023 07:30 | 11/21/2023 15:00 | MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS | MIDWAY: 230/115KV TRANSFORMER 3, MIDWAY: 230/115kV TRANSFORMER 3 INCLUDING THE BOOSTER BANK, PCBs B-154, L-1034, AND THE 115kV AUXILARY BUS, MIDWAY: 230/13.8KV BOOSTER TRANSFORMER 3, MIDWAY: PCB B-154, MIDWAY: 115KV AUX BUS, MIDWAY: 13.8KV PCB L-1034, MIDWAY: PCB A-110 | TCLA, WOM
222 | 23-11300 | 13842307 | 11/20/2023 08:00 | 11/21/2023 15:00 | JOHN DAY: PCB 4155 | JOHN DAY: PCB 4155 | NWACI, WOJD
223 | 23-09547 | 13594410 | 11/22/2023 10:00 | 11/22/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
224 | 23-09548 | 13594418 | 11/22/2023 11:00 | 11/22/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
225 | 23-09549 | 13594426 | 11/22/2023 12:30 | 11/22/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
226 | 23-09550 | 13594429 | 11/22/2023 13:30 | 11/22/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
227 | 23-09620 | 13615221 | 11/27/2023 07:00 | 11/30/2023 16:00 | SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794 | SLATT: PCB 5375, SLATT: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1791 AND PCB A-1794, SLATT: PCB 5378, SLATT: PCB A-1791, SLATT: PCB A-1794 | WOJD
228 | 23-11108 | 13806536 | 11/27/2023 08:00 | 12/03/2023 18:00 | THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B | BIG EDDY: 115/13.2KV TRANSFORMER 8, THE DALLES PH-BIG EDDY NO 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 AND 115KV A/B, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1054, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720 | GEN, FCRPS
229 | 23-10738 |  | 11/28/2023 06:00 | 12/22/2023 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
230 | 23-09801 | 13628633 | 12/04/2023 06:00 | 12/08/2023 16:00 | KEELER: A-899 TERMINAL OF THE KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: A-899 TERMINAL OF THE KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-899 | LOAD, SOA, SIG
231 | 23-09627 | 13610169 | 12/04/2023 07:00 | 12/05/2023 16:00 | SLATT: PCB 5045 | SLATT: PCB 5045 | WOJD
232 | 23-00083 | 11346150 | 12/04/2023 07:00 | 12/08/2023 16:00 | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY-BENTON NO 2 230KV LINE | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY: PCB A-56, MIDWAY-BENTON NO 2 230KV LINE | GEN, TCLA, WOM
233 | 23-09447 |  | 12/04/2023 08:00 | 12/04/2023 10:00 | MONROE: 500KV CAP GROUP 2 | MONROE: 500KV CAP GROUP 2
234 | 23-09579 | 13621020 | 12/04/2023 08:00 | 12/04/2023 16:00 | ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898 | ASHE-HANFORD NO 1 500KV LINE INCLUDING ASHE: PCB 4901 AND PCB 4898, ASHE-HANFORD NO 1 500KV LINE, ASHE: PCB 4901, ASHE: PCB 4898, HANFORD: PCB 4107, HANFORD: PCB 4104 | NOH, NWACI, SIG, FCRPS, WOM, WOS
235 | 23-04734 | 13135474 | 12/04/2023 08:00 | 12/07/2023 15:00 | TAFT: PCB 4148 | TAFT: PCB 4148 | MT-NW, WOH
236 | 23-09993 |  | 12/04/2023 08:00 | 12/14/2023 15:00 | ECHO LAKE: MONROE 1 500kV LINE INCLUDING SNOKING TAP LINE RELAYS SETS 1 & 2 | ECHO LAKE: MONROE 1 500kV LINE INCLUDING SNOKING TAP LINE RELAYS SETS 1 & 2
237 | 23-01332 | 12841019 | 12/05/2023 07:00 | 12/05/2023 16:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, INCLUDING PCB A-235 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: PCB A-235, INCLUDING PCB A-235 | COI, PDCI, NWACI
238 | 23-09451 | 13684766 | 12/05/2023 08:00 | 12/05/2023 15:00 | PEARL: PCB 4510 | PEARL: PCB 4510 | SOA
239 | 23-09889 | 13671168 | 12/05/2023 08:00 | 12/05/2023 15:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING WAUTOMA PCB 5250. | HANFORD-WAUTOMA NO 1 500KV LINE, WAUTOMA: MOD 5251, INCLUDING WAUTOMA PCB 5250., WAUTOMA: PCB 5250 | NOH, SIG, WOCN
240 | 23-01333 | 12841134 | 12/06/2023 07:00 | 12/06/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, INCLUDING PCB A-237 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: PCB A-237, INCLUDING PCB A-237 | COI, PDCI, NWACI
241 | 23-09630 | 13615677 | 12/06/2023 07:00 | 12/07/2023 16:00 | SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 | SLATT: PCB 5330, SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 , SLATT: 500KV CAP GROUP 1 | WOJD, WOS
242 | 23-09694 | 13671215 | 12/06/2023 08:00 | 12/07/2023 15:00 | WAUTOMA: 500KV EAST BUS AND REACTOR 1 INCLUDING PCB 5244 ,PCB 5253, AND PCB 5262 | WAUTOMA: 500KV EAST BUS AND REACTOR 1 INCLUDING PCB 5244 ,PCB 5253, AND PCB 5262, WAUTOMA: 500KV EAST BUS, WAUTOMA: 500KV REACTOR 1, WAUTOMA: PCB 5244, WAUTOMA: PCB 5253, WAUTOMA: PCB 5262 | WOCN, NOH
243 | 23-09449 | 13664242 | 12/06/2023 12:30 | 12/06/2023 15:30 | MONROE: 500KV CAP GROUP 2, MONROE: PCB 4715 | MONROE: 500KV CAP GROUP 2, MONROE: PCB 4715 | IROL, NI, NOEL, SOC, WOCN
244 | 23-01334 | 12841191 | 12/07/2023 07:00 | 12/07/2023 15:00 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, INCLUDING PCB A-239 | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: PCB A-239, INCLUDING PCB A-239 | COI, PDCI, NWACI
245 | 23-09551 | 13594527 | 12/07/2023 10:00 | 12/07/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
246 | 23-09552 | 13594529 | 12/07/2023 11:00 | 12/07/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
247 | 23-09553 | 13594531 | 12/07/2023 12:30 | 12/07/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
248 | 23-09554 | 13594573 | 12/07/2023 13:30 | 12/07/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
249 | 23-00016 | 9556218 | 12/11/2023 06:00 | 12/22/2023 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
250 | 23-09628 | 13610173 | 12/11/2023 07:00 | 12/12/2023 16:00 | SLATT: PCB 5375 | SLATT: PCB 5375 | WOJD
251 | 23-00086 | 11346151 | 12/11/2023 07:00 | 12/15/2023 16:00 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE | LOWER MONUMENTAL-ASHE NO 1 500KV LINE, ASHE: PCB 5324, ASHE: PCB 5327, LOWER MONUMENTAL: MOD 4678 | GEN, NWACI, PDCI, SIG, WOLM, COI, FCRPS
252 | 23-04757 | 13135559 | 12/11/2023 11:00 | 12/11/2023 15:00 | TAFT: HSGS 7812, (TAFT-BELL #1 500KV LINE FORCED OUT) | TAFT: HSGS 7812, TAFT-BELL NO 1 500KV LINE, (TAFT-BELL #1 500KV LINE FORCED OUT) | GEN, MT-NW, SIG, WOH, RP
253 | 23-04759 | 13135465 | 12/12/2023 07:00 | 12/12/2023 12:00 | TAFT: PCB 4111 | TAFT: PCB 4111 | GEN, MT-NW, NOH, WOH
254 | 23-04762 | 13135489 | 12/13/2023 07:00 | 12/13/2023 12:00 | TAFT: PCB 4119 | TAFT: PCB 4119 | MT-NW, WOH
255 | 23-11237 |  | 12/14/2023 07:30 | 12/14/2023 15:00 | RATHDRUM AVA-LANCASTER #1 230KV LINE INCLUDING PCBS A-1184 AND A-1558 | RATHDRUM AVA-LANCASTER #1 230KV LINE INCLUDING PCBS A-1184 AND A-1558, RATHDRUM AVA-LANCASTER 230KV LINE, LANCASTER: PCB A-1184, LANCASTER: PCB A-1558 | WOH
256 | 23-11024 | 13812517 | 12/14/2023 08:00 | 12/14/2023 11:00 | ECHO LAKE: PCB 5111 | ECHO LAKE: PCB 5111 | BCHT, BCHW, NOEL, SOC, NI, WOCN
257 | 23-11125 | 13812732 | 12/14/2023 08:00 | 12/14/2023 15:00 | ASHE: PCB 4898 | ASHE: PCB 4898 | NWACI, FCRPS
258 | 23-11025 | 13812519 | 12/14/2023 11:00 | 12/14/2023 14:00 | ECHO LAKE: PCB 5114 | ECHO LAKE: PCB 5114 | BCHT, BCHW, NOEL, SOC, WOCN, NI
259 | 23-07942 | 13556959 | 12/18/2023 08:00 | 12/18/2023 15:00 | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD | MAPLE VALLEY: 230KV M/B SECT 1&2 INCL PCB A-1140 AND A-1140 NORTH SECT MOD, MAPLE VALLEY: 230KV MAIN BUS SECTION 1, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: PCB A-1140, MAPLE VALLEY-TALBOT NO 2 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4 | NOEL, SOC, NI, WOCN, SIG, CI, IROL, NOH
260 | 23-07943 | 13557017 | 12/19/2023 07:00 | 12/19/2023 15:00 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140 | MAPLE VALLEY: 230KV M/B SECT 2&3 INCL PCB A-1140, MAPLE VALLEY: 230KV MAIN BUS SECTION 2, MAPLE VALLEY: 230KV MAIN BUS SECTION 3, MAPLE VALLEY: PCB A-1140, MAPLE VALLEY: 20KV SVC, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY-TALBOT NO 2 230KV LINE | NOEL, SOC, NI, WOCN, IROL, SIG
261 | 23-04766 | 13135509 | 12/20/2023 07:00 | 12/20/2023 12:00 | TAFT: PCB 4114 | TAFT: PCB 4114 | MT-NW, WOH
262 | 23-04768 | 13165344 | 12/21/2023 07:00 | 12/21/2023 12:00 | TAFT: PCB 4122 | TAFT: PCB 4122 | MT-NW, WOH
263 | 23-09555 | 13594601 | 12/21/2023 10:00 | 12/21/2023 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
264 | 23-09556 | 13594607 | 12/21/2023 11:00 | 12/21/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
265 | 23-09557 | 13594626 | 12/21/2023 12:30 | 12/21/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
266 | 23-09558 | 13594629 | 12/21/2023 13:30 | 12/21/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN