## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-13128 | 13358159 | 08/17/2022 08:00 | 09/30/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
3 | 22-16314 | 12638795 | 11/01/2022 00:00 | 10/31/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
4 | 22-16315 | 12638803 | 11/01/2022 00:00 | 10/31/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
5 | 23-04495 |  | 01/28/2023 16:00 | 09/30/2026 15:00 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | NOEL, SOC, WOCN, IROL
6 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
7 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
8 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/19/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
9 | 23-06719 | 13302445 | 04/10/2023 07:30 | 10/31/2023 16:00 | -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | AXFORD-HEYE MEYER SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, HEYE MEYER-HOCKINSON SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | LOAD
10 | 23-07910 | 13404415 | 04/17/2023 15:00 | 09/28/2023 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8, INCLUDING PCB A-1416 | TROUTDALE: 500/230KV TRANSFORMER 8, OSTRANDER-TROUTDALE NO 1 500KV LINE, INCLUDING PCB A-1416 | SIG, WOCS, SOA
11 | 23-08561 | 13484457 | 04/28/2023 15:00 | 09/28/2023 23:00 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | LOAD, PA, SOA
12 | 23-08562 | 13484479 | 04/28/2023 15:00 | 09/28/2023 23:00 | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
13 | 23-08563 | 13484510 | 04/28/2023 15:00 | 09/28/2023 23:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA
14 | 23-08564 | 13484620 | 04/28/2023 15:00 | 09/28/2023 23:00 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
15 | 23-09208 | 13583818 | 05/14/2023 19:49 | 09/29/2023 16:00 | PSE - CASCADE-WHITE RIVER 230KV LINE | PSE - CASCADE-WHITE RIVER 230KV LINE, CASCADE (PSE)-WHITE RIVER 230KV LINE | WOCN
16 | 23-09345 | 13578233 | 05/16/2023 16:00 | 09/02/2023 23:59 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
17 | 23-09349 | 13578256 | 05/16/2023 16:00 | 09/02/2023 23:59 | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
18 | 23-09353 | 13578267 | 05/16/2023 16:00 | 09/02/2023 23:59 | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | TCLA, LOAD
19 | 23-09355 | 13578287 | 05/16/2023 16:00 | 09/02/2023 23:59 | CHANDLER-ACORD SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | CHANDLER-ACORD SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
20 | 23-09356 | 13578298 | 05/16/2023 16:00 | 09/02/2023 23:59 | ACORD-BENTON CITY SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | ACORD-BENTON CITY SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA
21 | 23-09358 | 13578314 | 05/16/2023 16:00 | 09/02/2023 23:59 | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
22 | 23-07371 | 13334737 | 06/02/2023 08:00 | 10/31/2023 15:00 | ST. JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA
23 | 23-10762 | 13765315 | 06/20/2023 12:00 | 09/30/2023 23:59 | PAUL-OLYMPIA NO 1 500KV LINE, (DERATE) | PAUL-OLYMPIA NO 1 500KV LINE, (DERATE) | LOAD, PA, RP, SIG
24 | 23-11045 | 13805680 | 06/28/2023 08:00 | 10/31/2023 15:00 | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | LOAD
25 | 23-11521 | 13857833 | 07/10/2023 13:00 | 06/24/2024 13:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | PA
26 | 23-01528 | 12783271 | 08/07/2023 08:00 | 09/01/2023 16:00 | GRIZZLY: PCB 4048 | GRIZZLY: PCB 4048 | NWACI, PDCI, COI
27 | 23-04354 | 13043638 | 08/14/2023 04:30 | 09/01/2023 15:00 | LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE | LIBBY PH-LIBBY NO 2 230KV LINE, LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE, LIBBY PH: 230/13.8KV BANK T2 | GEN, FCRPS, FLAT
28 | 23-01761 | 12786834 | 08/14/2023 06:00 | 09/08/2023 17:00 | GRAND COULEE: 500KV REACTOR 1 | GRAND COULEE: 500KV REACTOR 1, GRAND COULEE: PCB 8596 | WOH, NOH, WOCN
29 | 23-11896 | 13900554 | 08/14/2023 07:30 | 09/22/2023 16:00 | SIFTON: B-1513 TERMINAL OF THE SIFTON-LACAMAS NO 1 115KV LINE | SIFTON: B-1513 TERMINAL OF THE SIFTON-LACAMAS NO 1 115KV LINE, SIFTON: PCB B-1513 | SOA
30 | 23-01484 | 12656312 | 08/14/2023 08:00 | 10/06/2023 16:00 | PSE- SAMMAMISH 230KV EAST BUS | PSE- SAMMAMISH 230KV EAST BUS, SAMMAMISH-NOVELTY HILL SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC
31 | 23-08102 | 13434498 | 08/21/2023 07:00 | 09/07/2023 16:00 | NORTH BONNEVILLE-ROSS #1 230KV LINE RELAYS, INCLUDING SIFTON TAP AND SIFTON 230/115KV XFMR BANK #2 RELAYS | SIFTON: 230/115KV TRANSFORMER 2, NORTH BONNEVILLE-ROSS #1 230KV LINE RELAYS, INCLUDING SIFTON TAP AND SIFTON 230/115KV XFMR BANK #2 RELAYS, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE, SIFTON: PCB A-163, SIFTON: PCB B-1500, SIFTON: 230KV EAST MAIN BUS, ROSS: PCB A-34, NORTH BONNEVILLE: PCB A-13, NORTH BONNEVILLE-ROSS NO 1 230KV LINE | GEN, LOAD, SOA, WOCS, FCRPS
32 | 23-10013 | 13665404 | 08/21/2023 08:00 | 09/14/2023 16:00 | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE, JESSEN TAP TO DANEBO-PRAIRIE (EWEB) 115KV LINE, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE, JESSEN-PRAIRIE SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
33 | 23-05853 | 13115063 | 08/21/2023 08:00 | 11/17/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
34 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
35 | 23-12137 | 13938323 | 08/27/2023 22:00 | 09/14/2023 17:00 | GRAND COULEE: PCB 2072 MAIN BUS SECTIONALIZING | GRAND COULEE: PCB 2072 MAIN BUS SECTIONALIZING
36 | 23-11083 |  | 08/28/2023 06:00 | 09/01/2023 16:30 | -PACW- MOHLER-GARIBALDI SECTION OF THE ASTORIA-LEWIS AND CLARK-TILLAMOOK 115KV LINE | -PACW- MOHLER-GARIBALDI SECTION OF THE ASTORIA-LEWIS AND CLARK-TILLAMOOK 115KV LINE | SOA
37 | 23-10651 | 13740024 | 08/28/2023 08:00 | 09/02/2023 16:00 | -CLARK- CHERRY GROVE SW STA: PCB 3 | -CLARK- CHERRY GROVE SW STA: PCB 3, CHERRY GROVE SW STA: PCB 3
38 | 23-05803 | 13327344 | 08/28/2023 10:00 | 09/07/2023 16:00 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING RELAY SETS A AND B | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING RELAY SETS A AND B, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - A, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - B, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | COI, NWACI
39 | 23-01529 | 12783306 | 09/01/2023 08:00 | 09/01/2023 16:00 | GRIZZLY-MALIN PGE NO 2 500KV LINE | GRIZZLY-MALIN PGE NO 2 500KV LINE, FORT ROCK: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SYCAN: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SAND SPRINGS: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2 | BCHT, BCHW, NI, NWACI, SIG, COI, PDCI
40 | 23-01363 | 12672489 | 09/04/2023 06:30 | 09/04/2023 07:00 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
41 | 23-09472 | 13588025 | 09/04/2023 07:00 | 09/08/2023 16:00 | -LVE- VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE | VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE, -LVE- VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE
42 | 23-01530 | 12810663 | 09/04/2023 08:00 | 09/29/2023 16:00 | GRIZZLY: PCB 4052, BFR | GRIZZLY: PCB 4052, BFR | NWACI, PDCI, COI
43 | 23-12407 |  | 09/05/2023 06:00 | 09/10/2023 17:00 | -PACW- HANNA TAP-DIXONVILLE SECTION OF THE GRANTS PASS-DIXONVILLE 230KV LINE | -PACW- HANNA TAP-DIXONVILLE SECTION OF THE GRANTS PASS-DIXONVILLE 230KV LINE | NWACI
44 | 23-12410 | 13951201 | 09/05/2023 06:00 | 09/10/2023 17:00 | PAC - HANNA TAP-DIXONVILLE SECTION OFGRANTS PASS-DIXONVILLE 230KV LINE | PAC - HANNA TAP-DIXONVILLE SECTION OFGRANTS PASS-DIXONVILLE 230KV LINE | NWACI, COI
45 | 23-12493 |  | 09/05/2023 07:30 | 09/05/2023 13:30 | -LVE- SNAKE RIVER-TINCUP #1 115KV LINE | -LVE- SNAKE RIVER-TINCUP #1 115KV LINE, SNAKE RIVER LVE: PCB ST-743, SNAKE RIVER-TINCUP NO 1 115KV LINE | SEIL, LOAD, MT-NW
46 | 23-09483 | 13588851 | 09/05/2023 07:30 | 09/05/2023 16:00 | ALLSTON: PCB A-1361 RELAYS | ALLSTON: PCB A-1361 RELAYS, ALLSTON: PCB A-1361, TROJAN-ALLSTON NO 2 230KV LINE | SOA
47 | 23-12123 |  | 09/05/2023 08:00 | 09/08/2023 16:00 | -BCH- MALASPINA: 500KV TRANSFORMER 1 | -BCH- MALASPINA: 500KV TRANSFORMER 1 | NI, BCHT, BCHW
48 | 23-09381 |  | 09/05/2023 08:00 | 09/09/2023 15:00 | -PACW- PGE BETHEL-PARRISH GAP 230KV LINE | -PACW- PGE BETHEL-PARRISH GAP 230KV LINE
49 | 23-12007 | 13924915 | 09/06/2023 06:00 | 09/06/2023 06:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
50 | 23-12124 |  | 09/07/2023 08:00 | 09/08/2023 16:00 | -BCH- DUNSMUIR: 138KV SVC | -BCH- DUNSMUIR: 138KV SVC | NI, BCHT, BCHW
51 | 23-08862 | 13571753 | 09/08/2023 08:00 | 09/08/2023 12:00 | GRAND COULEE: PCB 5782 | GRAND COULEE: PCB 5782 | NOH, WOCN
52 | 23-12008 | 13924978 | 09/08/2023 12:00 | 09/08/2023 12:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
53 | 23-12010 | 13925070 | 09/08/2023 12:00 | 09/08/2023 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
54 | 23-01762 | 12787221 | 09/11/2023 06:00 | 09/15/2023 17:00 | GRAND COULEE: 500KV SOUTH BUS | GRAND COULEE: PCB 2496, GRAND COULEE: 500KV SOUTH BUS, GRAND COULEE: PCB 8592, GRAND COULEE: PCB 8692, GRAND COULEE: PCB 8792, GRAND COULEE: PCB 9092, GRAND COULEE: PCB 9192, GRAND COULEE: PCB 9292 | GEN, WOCN, NOH, MT-NW, WOH, COI, NWACI, PDCI
55 | 23-00120 | 11313678 | 09/11/2023 07:00 | 09/15/2023 16:00 | IPC- MIDPOINT - HEMINGWAY 500 KV line | IPC- MIDPOINT - HEMINGWAY 500 KV line | ID-NW, COI
56 | 23-05833 | 13208253 | 09/11/2023 08:00 | 09/14/2023 15:00 | LITTLE GOOSE: PCB 4630 | LITTLE GOOSE: PCB 4630, LITTLE GOOSE: PCB 4630 BFR | WOLM
57 | 23-09795 |  | 09/11/2023 08:00 | 10/13/2023 15:00 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142 | MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142, ROSS: PCB A-142, ROSS: 345/230KV TRANSFORMER 4, MCNARY: PCB A-432 | SOA, WOCS, WOM
58 | 23-12021 |  | 09/11/2023 08:00 | 10/13/2023 15:00 | MCNARY: 345/230KV TRANSFORMER 8 INCLUDING PCB A-432 | MCNARY: 345/230KV TRANSFORMER 8 INCLUDING PCB A-432, MCNARY: 345/230KV TRANSFORMER 8, MCNARY: PCB A-432, ROSS: 345/230KV TRANSFORMER 4, ROSS: PCB A-142 | SOA, WOCS, WOM
59 | 23-05812 | 13196817 | 09/11/2023 10:00 | 09/14/2023 16:00 | SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING RELAY SETS A AND B | SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - A, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING RELAY SETS A AND B, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - B, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 | COI, NWACI
60 | 23-09469 | 13588363 | 09/12/2023 07:00 | 09/13/2023 16:00 | -LVE- TESTER TAP-VALLEY SECTION OF THE HOOPER SPRINGS-DRY CREEK 115KV LINE | -LVE- TESTER TAP-VALLEY SECTION OF THE HOOPER SPRINGS-DRY CREEK 115KV LINE, HOOPER SPRINGS-VALLEY SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE
61 | 23-11075 | 13857256 | 09/12/2023 08:00 | 09/12/2023 16:30 | OLYMPIA-GRAND COULEE NO 1 287 KV LINE, INCLUDING PCB A-206 AND CENTER BUS TIE PCB A-1770 | OLYMPIA: PCB A-1770, OLYMPIA-GRAND COULEE NO 1 287 KV LINE, INCLUDING PCB A-206 AND CENTER BUS TIE PCB A-1770, OLYMPIA: PCB A-206, OLYMPIA-GRAND COULEE NO 1 287KV LINE, OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1, GRAND COULEE: PCB 6886, OLYMPIA: 230KV CENTER AUX BUS | NOEL, PA, RP, SOC, WOCN, NOH, IROL, OKLA
62 | 23-08696 |  | 09/12/2023 08:00 | 09/18/2023 17:00 | -PACW- WALLA WALLA-AVA SADDLE MOUNTAIN 230KV LINE | -PACW- WALLA WALLA-AVA SADDLE MOUNTAIN 230KV LINE | WOH
63 | 23-12011 | 13925106 | 09/12/2023 12:00 | 09/12/2023 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
64 | 23-12013 | 13925124 | 09/12/2023 12:00 | 09/12/2023 12:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
65 | 23-05762 | 13203368 | 09/14/2023 07:00 | 09/14/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
66 | 23-05763 | 13203885 | 09/14/2023 08:00 | 09/14/2023 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
67 | 23-05765 | 13204006 | 09/14/2023 09:00 | 09/14/2023 10:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
68 | 23-04937 | 13114392 | 09/14/2023 09:00 | 09/14/2023 14:00 | HOT SPRINGS: 500KV REACTOR 1 | HOT SPRINGS: 500KV REACTOR 1 | MT-NW, WOH
69 | 23-05766 | 13207894 | 09/14/2023 10:00 | 09/14/2023 11:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
70 | 23-01365 | 12672612 | 09/14/2023 12:00 | 09/14/2023 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
71 | 23-12014 | 13925139 | 09/15/2023 12:00 | 09/15/2023 12:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
72 | 23-12016 | 13924639 | 09/15/2023 12:00 | 09/15/2023 12:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: PCB B-1692 | THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: PCB B-1692 | GEN, SOA, FCRPS
73 | 23-10063 | 13685286 | 09/15/2023 14:00 | 09/15/2023 15:00 | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | PA, RP, NOEL, SOC, LOAD, SOA
74 | 23-10096 | 13683998 | 09/15/2023 14:00 | 09/15/2023 15:00 | CHEHALIS: PCB A-46, OF THE CHEHALIS-COVINGTON NO 1 230KV LINE | CHEHALIS: PCB A-46, OF THE CHEHALIS-COVINGTON NO 1 230KV LINE | PA, SOA
75 | 23-06583 | 13267624 | 09/17/2023 01:00 | 09/17/2023 01:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
76 | 23-06584 | 13267636 | 09/17/2023 01:30 | 09/17/2023 02:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
77 | 23-06586 | 13267653 | 09/17/2023 02:30 | 09/17/2023 03:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
78 | 23-06587 | 13267660 | 09/17/2023 03:00 | 09/17/2023 03:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
79 | 23-09426 |  | 09/17/2023 21:00 | 09/21/2023 06:00 | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES, MURRAY HILL (PGE)-SHERWOOD NO 1 230KV LINE, MURRAY HILL (PGE)-SHERWOOD NO 2 230KV LINE | SOA
80 | 23-03589 | 12986745 | 09/18/2023 03:45 | 09/18/2023 04:14 | Libby-Trumbull Creek Section of the Libby-Conkelley No 1 230kV Line Including Haskill Tap | Libby-Trumbull Creek Section of the Libby-Conkelley No 1 230kV Line Including Haskill Tap, LIBBY-HASKILL SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, HASKILL: FLATHEAD E COOP 230KV FEEDER 1 | MT-NW, GEN
81 | 23-04198 | 13038599 | 09/18/2023 06:00 | 09/22/2023 18:00 | GRAND COULEE: PUMP GENERATORS AND 230KV LINE CIRCUIT 5 | GRAND COULEE: PUMP GENERATORS AND 230KV LINE CIRCUIT 5 , GRAND COULEE: PCB 5382, GRAND COULEE: 5389 AUX BUS DISC, GRAND COULEE: 5385 LINE SIDE DISC, GRAND COULEE: 5387 MAIN BUS DISC | NOH, WOCN
82 | 23-09916 |  | 09/18/2023 07:00 | 09/29/2023 17:30 | -PACW- WALLA WALLA-HURRICANE SECTION OF THE WALLA WALLA-HELLS CANYON 230KV LINE | -PACW- WALLA WALLA-HURRICANE SECTION OF THE WALLA WALLA-HELLS CANYON 230KV LINE, HELLS CANYON (IPC)-HURRICANE 230KV LINE | ID-NW, WOH
83 | 23-10364 |  | 09/18/2023 08:00 | 09/18/2023 15:00 | -PACW- LEBANON-CROW FOOT SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- LEBANON-CROW FOOT SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
84 | 23-02668 | 13126170 | 09/18/2023 08:30 | 09/19/2023 15:00 | CAPTAIN JACK: PCB 4993, BFR | CAPTAIN JACK: PCB 4993, BFR | NWACI, COI
85 | 23-12017 | 13938245 | 09/18/2023 12:00 | 09/18/2023 12:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE | THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: PCB B-1692 | GEN, SOA, FCRPS
86 | 23-12020 | 13925169 | 09/18/2023 12:00 | 09/18/2023 12:30 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
87 | 23-10363 |  | 09/19/2023 07:00 | 09/19/2023 17:30 | -PACW- CROW FOOT-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- CROW FOOT-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
88 | 23-12235 |  | 09/19/2023 07:00 | 09/21/2023 18:00 | SCL: MASSACHUSETTS(SCL)-UNION(SCL) #2 115KV LINE, SCL: UNION ST BANK 105 | SCL: MASSACHUSETTS(SCL)-UNION(SCL) #2 115KV LINE, SCL: UNION ST BANK 105, UNION BANK 105 115/13.8 KV (SCL) | SOC/NOEL
89 | 23-11602 |  | 09/19/2023 08:00 | 09/28/2023 18:00 | SCL - CRESTON-SOUTH 230KV LINE | SCL - CRESTON-SOUTH 230KV LINE | SOC, NOEL
90 | 23-10362 |  | 09/20/2023 07:00 | 09/21/2023 17:30 | -PACW- SWEET HOME-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- SWEET HOME-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
91 | 23-03130 | 13165272 | 09/20/2023 08:00 | 09/20/2023 15:00 | ASHE: PCB 5463 | ASHE: PCB 5463 | NOH, NWACI, FCRPS
92 | 23-03131 | 13165285 | 09/21/2023 08:00 | 09/21/2023 15:00 | ASHE: PCB 5466 | ASHE: PCB 5466 | NWACI, WOJD, WOM, WOS, FCRPS
93 | 23-08892 | 13577687 | 09/22/2023 16:30 | 09/22/2023 17:00 | MCNARY PH-MCNARY NO 6 115KV LINE | MCNARY PH-MCNARY NO 6 115KV LINE, MCNARY: PCB B-990 | GEN, FCRPS, WOM
94 | 23-12023 | 13925175 | 09/23/2023 12:00 | 09/23/2023 12:30 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
95 | 23-02986 | 12943074 | 09/25/2023 06:00 | 10/06/2023 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
96 | 23-05900 | 13208345 | 09/25/2023 08:00 | 09/28/2023 15:00 | LITTLE GOOSE: PCB 4632 | LITTLE GOOSE: PCB 4632, LITTLE GOOSE: PCB 4632 BFR | WOLM
97 | 23-03148 | 12953795 | 09/25/2023 08:00 | 09/28/2023 16:30 | PONDEROSA: PCB 4942, BFR | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA: PCB 4942, BFR | COI, PDCI, NWACI
98 | 23-09851 |  | 09/25/2023 16:00 | 09/25/2023 21:30 | -PACW- GRANDVIEW-GRANVIEW SWITCHING STATION SECTIN OF GRANDVIEW SWITCHING STATION-WINE COUNTRY 115KV LINE | -PACW- GRANDVIEW-GRANVIEW SWITCHING STATION SECTIN OF GRANDVIEW SWITCHING STATION-WINE COUNTRY 115KV LINE
99 | 23-08487 |  | 09/26/2023 08:00 | 09/28/2023 15:00 | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
100 | 23-01532 | 12825798 | 09/29/2023 08:00 | 09/29/2023 16:00 | GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | NWACI, PDCI, SIG, COI
101 | 23-11603 | 11864733 | 09/30/2023 08:00 | 10/07/2023 20:00 | SCL - TALBOT-SOUTH 230KV LINE | SCL - TALBOT-SOUTH 230KV LINE | SOC, NOEL
102 | 23-06329 | 13241345 | 09/30/2023 08:00 | 10/18/2023 16:00 | -PGE- BETHEL-ROUND BUTTE 230KV LINE | -PGE- BETHEL-ROUND BUTTE 230KV LINE | COI, NWACI/PDCI, WOCS
103 | 23-06588 | 13267664 | 09/30/2023 20:30 | 09/30/2023 21:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
104 | 23-06589 | 13267670 | 09/30/2023 21:00 | 09/30/2023 21:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
105 | 23-06591 | 13267688 | 09/30/2023 22:00 | 09/30/2023 22:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
106 | 23-06592 | 13267693 | 09/30/2023 22:30 | 09/30/2023 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
107 | 22-02103 | 10879173 | 09/30/2023 23:00 | 10/14/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | GEN, NOH, WOCN