## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-13128 | 13358159 | 08/17/2022 08:00 | 09/30/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
3 | 22-16314 | 12638795 | 11/01/2022 00:00 | 10/31/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
4 | 22-16315 | 12638803 | 11/01/2022 00:00 | 10/31/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
5 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
6 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/19/2023 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
7 | 23-06719 | 13302445 | 04/10/2023 07:30 | 10/31/2023 16:00 | -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | AXFORD-HEYE MEYER SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, -CLARK- HOCKINSON-AXFORD SECTION OF CHERRY GROVE-119TH STREET 115KV LINE, HEYE MEYER-HOCKINSON SECTION OF CHERRY GROVE-119TH STREET 115KV LINE | LOAD
8 | 23-07910 | 13404415 | 04/17/2023 15:00 | 09/28/2023 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8, INCLUDING PCB A-1416 | TROUTDALE: 500/230KV TRANSFORMER 8, OSTRANDER-TROUTDALE NO 1 500KV LINE, INCLUDING PCB A-1416 | SIG, WOCS, SOA
9 | 23-08564 | 13484620 | 04/28/2023 15:00 | 09/28/2023 23:00 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
10 | 23-08563 | 13484510 | 04/28/2023 15:00 | 09/28/2023 23:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA
11 | 23-08562 | 13484479 | 04/28/2023 15:00 | 09/28/2023 23:00 | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
12 | 23-08561 | 13484457 | 04/28/2023 15:00 | 09/28/2023 23:00 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | LOAD, PA, SOA
13 | 23-09208 | 13583818 | 05/14/2023 19:49 | 09/29/2023 16:00 | PSE - CASCADE-WHITE RIVER 230KV LINE | PSE - CASCADE-WHITE RIVER 230KV LINE, CASCADE (PSE)-WHITE RIVER 230KV LINE | WOCN
14 | 23-09353 | 13578267 | 05/16/2023 16:00 | 09/02/2023 23:59 | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | SNIPES-CHANDLER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | TCLA, LOAD
15 | 23-09349 | 13578256 | 05/16/2023 16:00 | 09/02/2023 23:59 | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
16 | 23-09345 | 13578233 | 05/16/2023 16:00 | 09/02/2023 23:59 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
17 | 23-09355 | 13578287 | 05/16/2023 16:00 | 09/02/2023 23:59 | CHANDLER-ACORD SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | CHANDLER-ACORD SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
18 | 23-09358 | 13578314 | 05/16/2023 16:00 | 09/02/2023 23:59 | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | BENTON CITY-RED MOUNTAIN SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA, LOAD
19 | 23-09356 | 13578298 | 05/16/2023 16:00 | 09/02/2023 23:59 | ACORD-BENTON CITY SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | ACORD-BENTON CITY SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, -DERATE- | GEN, TCLA
20 | 23-10762 | 13765315 | 06/20/2023 12:00 | 09/30/2023 23:59 | PAUL-OLYMPIA NO 1 500KV LINE, (DERATE) | PAUL-OLYMPIA NO 1 500KV LINE, (DERATE) | LOAD, PA, RP, SIG
21 | 23-10551 |  | 06/26/2023 07:00 | 09/01/2023 19:00 | -PACW- CARDWELL-PACW MERWIN NO 1 115KV LINE | -PACW- CARDWELL-PACW MERWIN NO 1 115KV LINE, CARDWELL-PACW MERWIN NO 1 115KV LINE | LOAD, SOA
22 | 23-11053 | 13806527 | 06/28/2023 08:00 | 10/31/2023 15:00 | MAUPIN-TYGH VALLEY NO 1 69KV LINE, -DERATE- | MAUPIN-TYGH VALLEY NO 1 69KV LINE, -DERATE-
23 | 23-11050 | 13806004 | 06/28/2023 08:00 | 10/31/2023 15:00 | LAPINE-CHILOQUIN NO 1 230KV LINE, -DERATE- | LAPINE-CHILOQUIN NO 1 230KV LINE, -DERATE- | LOAD, COR, GRZN
24 | 23-11045 | 13805680 | 06/28/2023 08:00 | 10/31/2023 15:00 | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | RIVER ROAD-ALCOA 115KV LINE, -DERATE- | LOAD
25 | 23-11043 | 13806293 | 06/28/2023 08:00 | 10/31/2023 15:00 | SANTIAM-ALBANY NO 1 230KV LINE, -DERATE- | SANTIAM-ALBANY NO 1 230KV LINE, -DERATE- | SCORC, SLAL
26 | 23-11039 | 13805516 | 06/28/2023 08:00 | 10/31/2023 15:00 | SWAN VALLEY-TETON NO 1 115KV LINE, -DERATE- | SWAN VALLEY-TETON NO 1 115KV LINE, -DERATE- | SEIL, GEN
27 | 23-01020 | 12570185 | 08/01/2023 08:00 | 09/29/2023 17:00 | MCNARY-ROSS NO 1 345KV LINE | MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4, MCNARY: 345/230KV TRANSFORMER 8, ROSS: PCB A-142, MCNARY: PCB A-432 | SOA, WOCS, WOM
28 | 23-08334 | 13621302 | 08/04/2023 03:01 | 10/12/2023 15:00 | POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KN LINE INCLUDING B-825 LINE SECT DISC | POTLATCH-DUCKABUSH SECTION OF SHELTON-FAIRMOUNT NO 1 115KV LINE, POTLATCH-DUCKABUSH SECTION OF THE SHELTON-FAIRMOUNT NO 1 115KN LINE INCLUDING B-825 LINE SECT DISC | PA
29 | 23-00105 | 11412380 | 08/07/2023 08:00 | 09/01/2023 16:00 | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI, PDCI, NWACI, NWACI, PDCI, WOCS, COI, LOAD
30 | 23-01528 | 12783271 | 08/07/2023 08:00 | 09/01/2023 16:00 | GRIZZLY: PCB 4048 | GRIZZLY: PCB 4048 | NWACI, PDCI, COI
31 | 23-04354 | 13043638 | 08/14/2023 04:30 | 09/01/2023 15:00 | LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE | LIBBY PH-LIBBY NO 2 230KV LINE, LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE, LIBBY PH: 230/13.8KV BANK T2 | GEN, FCRPS, FLAT
32 | 23-01761 | 12786834 | 08/14/2023 06:00 | 09/08/2023 17:00 | GRAND COULEE: 500KV REACTOR 1 | GRAND COULEE: 500KV REACTOR 1, GRAND COULEE: PCB 8596 | WOH, NOH, WOCN
33 | 23-05906 | 13670782 | 08/14/2023 08:00 | 09/15/2023 15:00 | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COVINGTON: PCB A-80 | RP, SOA, NOEL, SOC
34 | 23-01484 |  | 08/14/2023 08:00 | 10/06/2023 16:00 | PSE- SAMMAMISH 230KV EAST BUS | PSE- SAMMAMISH 230KV EAST BUS, SAMMAMISH-NOVELTY HILL SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC
35 | 23-10013 | 13665404 | 08/21/2023 08:00 | 09/14/2023 16:00 | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE, JESSEN TAP TO DANEBO-PRAIRIE (EWEB) 115KV LINE, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE, JESSEN-PRAIRIE SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
36 | 23-05853 | 13115063 | 08/21/2023 08:00 | 11/17/2023 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
37 | 23-07669 | 13369458 | 08/22/2023 08:00 | 11/29/2023 18:00 | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SCL BOTHELL - PCB 240-67 & BOTHELL-DIABLO 1 240KV LINE | SOC, NOEL
38 | 23-11083 |  | 08/28/2023 06:00 | 09/01/2023 16:30 | -PACW- MOHLER-GARIBALDI SECTION OF THE ASTORIA-LEWIS AND CLARK-TILLAMOOK 115KV LINE | -PACW- MOHLER-GARIBALDI SECTION OF THE ASTORIA-LEWIS AND CLARK-TILLAMOOK 115KV LINE | SOA
39 | 23-04993 | 13105039 | 08/28/2023 07:30 | 09/01/2023 08:00 | DEXTER-PLEASANT HILL SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE | DEXTER-PLEASANT HILL SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE | GEN
40 | 23-09313 | 13584086 | 08/28/2023 09:00 | 09/07/2023 15:00 | TAFT: 500KV REACTOR 1 INCLUDING PCB 4145 | TAFT: PCB 4145, TAFT: 500KV REACTOR 1 INCLUDING PCB 4145, TAFT: 500KV REACTOR 1 | MT-NW, WOH
41 | 23-05803 | 13327344 | 08/28/2023 10:00 | 09/07/2023 16:00 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING RELAY SETS A AND B | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING RELAY SETS A AND B, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - A, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - B, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | COI, NWACI
42 | 23-08712 | 13555991 | 08/28/2023 17:00 | 09/27/2023 17:00 | TOLEDO-WENDSON NO 1 230KV LINE INCLUDING WENDSON PCB A-1582 AND THE A-1582 MAIN BUS, LINE SIDE AND AUX BUS DISCONNECTS AND THE TOLEDO PCB A-1468 | WENDSON: PCB A-1582, TOLEDO-WENDSON NO 1 230KV LINE INCLUDING WENDSON PCB A-1582 AND THE A-1582 MAIN BUS, LINE SIDE AND AUX BUS DISCONNECTS AND THE TOLEDO PCB A-1468, TOLEDO: PCB A-1468, TOLEDO-WENDSON NO 1 230KV LINE | LOAD, SCORC
43 | 23-01529 | 12783306 | 09/01/2023 08:00 | 09/01/2023 16:00 | GRIZZLY-MALIN PGE NO 2 500KV LINE | GRIZZLY-MALIN PGE NO 2 500KV LINE, FORT ROCK: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SYCAN: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SAND SPRINGS: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2 | BCHT, BCHW, NI, NWACI, SIG, COI, PDCI
44 | 23-01363 | 12672489 | 09/04/2023 06:30 | 09/04/2023 07:00 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
45 | 23-09472 | 13588025 | 09/04/2023 07:00 | 09/08/2023 16:00 | -LVE- VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE | VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE, -LVE- VALLEY-DRY CREEK SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE
46 | 23-01530 | 12810663 | 09/04/2023 08:00 | 09/29/2023 16:00 | GRIZZLY: PCB 4052, BFR | GRIZZLY: PCB 4052, BFR | NWACI, PDCI, COI
47 | 23-04289 | 13043970 | 09/05/2023 07:00 | 09/08/2023 15:00 | CHIEF JOSEPH-SICKLER NO 1 500KV LINE | CHIEF JOSEPH-SICKLER NO 1 500KV LINE, CHIEF JOSEPH: PCB 4586, CHIEF JOSEPH: PCB 4588, SICKLER: PCB 4334, SICKLER: PCB 4340 | BCHT, BCHW, GEN, IROL, NI, NOH, WOCN, FCRPS, CI
48 | 23-05177 | 13126189 | 09/05/2023 07:00 | 09/21/2023 16:00 | MAPLE VALLEY: 20KV SVC INCLUDING PCB A-1141 | MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: 20KV SVC INCLUDING PCB A-1141, MAPLE VALLEY: PCB A-1141 | IROL, NOEL, SOC, WOCN
49 | 23-00264 | 12119032 | 09/05/2023 07:00 | 09/21/2023 17:00 | JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY 3 500KV LINE | JOHN DAY PH-JOHN DAY NO 3 500KV LINE, JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY 3 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD
50 | 23-00090 | 11350465 | 09/05/2023 07:00 | 09/22/2023 11:30 | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
51 | 23-02166 | 12971316 | 09/05/2023 07:30 | 09/05/2023 15:00 | ROSS: 230/115KV TRANSFORMER 2 INCLUDING PCB B-4 AND 115KV A/B | ROSS: 230/115KV TRANSFORMER 2 INCLUDING PCB B-4 AND 115KV A/B, ROSS: 230/115KV TRANSFORMER 2, ROSS: PCB B-4, ROSS: 115KV AUX BUS | LOAD, SOA
52 | 23-01384 | 12695541 | 09/05/2023 07:30 | 09/06/2023 15:00 | MONROE: PCB 5053 | MONROE: PCB 5053 | BCHT, BCHW, NOEL, SOC, WOCN, NI
53 | 23-10503 | 13729253 | 09/05/2023 07:45 | 09/06/2023 16:15 | SALEM-ALBANY #1 115KV LINE INCLUDING PACW CONSER TAP | SALEM-ALBANY #1 115KV LINE INCLUDING PACW CONSER TAP, SALEM: PCB B-60, ALBANY: PCB B-514
54 | 23-06518 | 13321458 | 09/05/2023 08:00 | 09/07/2023 15:00 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | LOAD, SCORC
55 | 23-09381 |  | 09/05/2023 08:00 | 09/09/2023 15:00 | -PACW- PGE BETHEL-PARRISH GAP 230KV LINE | -PACW- PGE BETHEL-PARRISH GAP 230KV LINE
56 | 23-06919 | 13298655 | 09/05/2023 08:00 | 09/14/2023 16:00 | EUGENE-LANE NO 1 115KV LINE | EUGENE-LANE NO 1 115KV LINE | EWEB
57 | 23-01784 | 12768225 | 09/05/2023 08:00 | 09/22/2023 15:00 | LANCASTER-NOXON NO 1 230KV LINE | LANCASTER-NOXON NO 1 230KV LINE, LANCASTER: PCB A-1184, LANCASTER: PCB A-1186 | MT-NW, WOH, FLAT
58 | 23-03744 | 12986681 | 09/05/2023 08:00 | 09/29/2023 16:00 | GRIZZLY: 4051/5039 TERMINAL OF, GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | GRIZZLY: PCB 5040, GRIZZLY: 4051/5039 TERMINAL OF, GRIZZLY: MOD 4053, GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | NWACI, WOJD, COI, GRZN, SIG
59 | 23-02694 | 13825837 | 09/06/2023 07:30 | 09/06/2023 16:00 | CARLTON: 230/115KV TRANSFORMER 1 | CARLTON: 230/115KV TRANSFORMER 1, CARLTON: PCB B-129
60 | 23-02489 | 12857201 | 09/06/2023 08:00 | 09/08/2023 15:00 | YEW AVENUE-BRASADA SECTION OF REDMOND-BRASADA NO 1 115KV LINE | YEW AVENUE-BRASADA SECTION OF REDMOND-BRASADA NO 1 115KV LINE, BRASADA: PCB B-1948 | ID-NW, NWACI
61 | 23-10633 | 13746341 | 09/06/2023 13:00 | 09/06/2023 15:00 | BELL-LANCASTER NO 1 230KV LINE | BELL-LANCASTER NO 1 230KV LINE | GEN, WOH, SOB
62 | 23-10145 | 13729304 | 09/06/2023 22:00 | 09/07/2023 06:00 | SILVERADO-SAPPHO SECTION OF PORT ANGELES-SAPPHO NO 1 115KV LINE | SILVERADO-SAPPHO SECTION OF PORT ANGELES-SAPPHO NO 1 115KV LINE, SAPPHO: CLALLAM CO PUD 69KV FEEDER 1, SAPPHO: CLALLAM CO PUD 69KV FEEDER 2 | SOA, WOCN
63 | 23-10341 | 13723203 | 09/07/2023 08:00 | 09/07/2023 15:00 | JOHN DAY: 500KV WEST BUS, INCLUDING PCB 4158 | JOHN DAY: 500KV WEST BUS, JOHN DAY: PCB 4158, INCLUDING PCB 4158 | WOJD, NWACI
64 | 23-10654 | 13771943 | 09/07/2023 08:00 | 09/08/2023 16:30 | CHEMAWA-SALEM NO 1 230KV LINE | CHEMAWA-SALEM NO 1 230KV LINE, SALEM: 230/115KV TRANSFORMER 1, SALEM: PCB B-64, CHEMAWA: PCB A-668 | WOCS, SLAL
65 | 23-10657 | 13740511 | 09/07/2023 08:00 | 09/08/2023 16:30 | CHEMAWA-HUGHES SECTION OF CHEMAWA-SALEM NO 2 115KV LINE | CHEMAWA-HUGHES SECTION OF CHEMAWA-SALEM NO 2 115KV LINE, CHEMAWA: PCB B-104 | WOCS
66 | 23-10147 | 13729309 | 09/07/2023 22:00 | 09/08/2023 06:00 | SILVERADO-SAPPHO SECTION OF PORT ANGELES-SAPPHO NO 1 115KV LINE | SILVERADO-SAPPHO SECTION OF PORT ANGELES-SAPPHO NO 1 115KV LINE, SAPPHO: CLALLAM CO PUD 69KV FEEDER 1, SAPPHO: CLALLAM CO PUD 69KV FEEDER 2 | SOA
67 | 23-03491 |  | 09/08/2023 08:00 | 09/08/2023 17:00 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
68 | 23-03566 | 12981169 | 09/08/2023 16:30 | 09/21/2023 16:00 | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
69 | 23-10200 | 13735095 | 09/10/2023 00:01 | 09/10/2023 08:00 | BONNEVILLE PH-UNDERWOOD SECTION OF THE BONNEVILLE PH 1-ALCOA 1&2 115KV LINE INCLUDING THE UNDERWOOD TAP AND NORTH BONNEVILLE 115KV CAP GROUP 1 SECTIONS 1&2 | BONNEVILLE PH-UNDERWOOD SECTION OF THE BONNEVILLE PH 1-ALCOA 1&2 115KV LINE INCLUDING THE UNDERWOOD TAP AND NORTH BONNEVILLE 115KV CAP GROUP 1 SECTIONS 1&2, BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE, UNDERWOOD TAP TO BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE, UNDERWOOD TAP TO BONNEVILLE PH 1-NORTH CAMAS NO 1 115KV LINE, NORTH BONNEVILLE: SKAMANIA CO PUD 115KV FEEDER 1, UNDERWOOD: SKAMANIA CO PUD 115KV FEEDER 1, STEVENSON: SKAMANIA CO PUD 115KV FEEDER 1, CARSON: SKAMANIA CO PUD 115KV FEEDER 1, CARSON: 115/12.5KV TRANSFORMER 1, STEVENSON: 115/12.5KV TRANSFORMER 1, UNDERWOOD: 115/12.5KV TRANSFORMER 1 | WOCS, FCRPS, GEN, BGEDY, SOA
70 | 23-00317 | 13683838 | 09/11/2023 05:00 | 10/05/2023 17:00 | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE | CHIEF JOSEPH: 4725/4726 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 5 500KV LINE, CHIEF JOSEPH PH-CHIEF JOSEPH NO 5 500KV LINE | GEN, FCRPS, NOH
71 | 23-01762 | 12787221 | 09/11/2023 06:00 | 09/15/2023 17:00 | GRAND COULEE: 500KV SOUTH BUS | GRAND COULEE: PCB 2496, GRAND COULEE: 500KV SOUTH BUS, GRAND COULEE: PCB 8592, GRAND COULEE: PCB 8692, GRAND COULEE: PCB 8792, GRAND COULEE: PCB 9092, GRAND COULEE: PCB 9192, GRAND COULEE: PCB 9292 | GEN, WOCN, NOH, MT-NW, WOH, COI, NWACI, PDCI
72 | 23-09693 |  | 09/11/2023 07:00 | 09/12/2023 16:00 | SLATT: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1796 | SLATT: PCB A-1796, SLATT: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1796 | WOJD
73 | 23-00120 |  | 09/11/2023 07:00 | 09/15/2023 16:00 | IPC- MIDPOINT - HEMINGWAY 500 KV line | IPC- MIDPOINT - HEMINGWAY 500 KV line | ID-NW, COI
74 | 23-09161 |  | 09/11/2023 07:00 | 09/15/2023 17:30 | ALVEY: PCB A-656 TERMINAL OF THE ALVEY-DIXONVILLE NO 1 230KV LINE | ALVEY-DIXONVILLE NO 1 230KV LINE, ALVEY: PCB A-656 TERMINAL OF THE ALVEY-DIXONVILLE NO 1 230KV LINE, ALVEY: PCB A-656 | SCORC, SWORE
75 | 23-06975 | 13317968 | 09/11/2023 07:00 | 09/22/2023 14:00 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | GEN, MT-NW
76 | 23-05178 | 13268349 | 09/11/2023 07:30 | 09/11/2023 15:00 | ALBENI FALLS: PCB B-964 INCLUDING THE 115KV AUX BUS, THE ALBENI FALLS-NEWPORT SECTION OF ALBENI FALLS-PINE STREET NO 1 115KV LINE AND THE IP&L NEWPORT 115KV FEEDER 1 | ALBENI FALLS: PCB B-964 INCLUDING THE 115KV AUX BUS, THE ALBENI FALLS-NEWPORT SECTION OF ALBENI FALLS-PINE STREET NO 1 115KV LINE AND THE IP&L NEWPORT 115KV FEEDER 1, ALBENI FALLS-NEWPORT SECTION OF ALBENI FALLS-PINE STREET NO 1 115KV LINE, ALBENI FALLS: 115KV AUX BUS, ALBENI FALLS: PCB B-964, NEWPORT IPL: INLAND P+L 115KV FEEDER 1 | GEN, SOB
77 | 23-01326 | 12792701 | 09/11/2023 07:30 | 09/14/2023 15:30 | ALVEY: PCB 5081 | ALVEY: PCB 5081 | NWACI, COI, SCORC
78 | 23-09227 | 13570131 | 09/11/2023 08:00 | 09/13/2023 17:30 | ALVEY-MARTIN CREEK SECTION OF ALVEY-FAIRVIEW NO 1 230KV LINE | ALVEY-MARTIN CREEK SECTION OF ALVEY-FAIRVIEW NO 1 230KV LINE, ALVEY: PCB A-236 | LOAD, SCORC
79 | 23-05833 | 13208253 | 09/11/2023 08:00 | 09/14/2023 15:00 | LITTLE GOOSE: PCB 4630 | LITTLE GOOSE: PCB 4630, LITTLE GOOSE: PCB 4630 BFR | WOLM
80 | 23-07763 | 13423252 | 09/11/2023 08:00 | 09/14/2023 15:00 | CAPTAIN JACK: 500KV CAP GROUP 2 INCLUDING PCB 4926 | CAPTAIN JACK: PCB 4926, CAPTAIN JACK: 500KV CAP GROUP 2 INCLUDING PCB 4926, CAPTAIN JACK: 500KV CAP GROUP 2 | COI, NWACI
81 | 23-08595 | 13571819 | 09/11/2023 08:00 | 09/14/2023 15:00 | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE | GEN, TCLA, WAWA
82 | 23-05179 | 13263580 | 09/11/2023 08:00 | 09/14/2023 18:30 | JONES CANYON-TUMBLE CREEK SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE | JONES CANYON-TUMBLE CREEK SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE | GEN, WOCS, WOM
83 | 23-02374 | 12858144 | 09/11/2023 08:00 | 09/15/2023 16:00 | MAUPIN-REDMOND NO 1 230KV LINE | MAUPIN-REDMOND NO 1 230KV LINE, REDMOND: PCB A-265, MAUPIN: PCB A-843 | BGEDY, COR
84 | 23-10504 | 13739170 | 09/11/2023 08:00 | 09/18/2023 16:00 | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FILBERT: FOREST GROVE OR 115KV FEEDER 1, FOREST GROVE: PCB B-1286, FILBERT TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | SOA
85 | 23-07693 | 13429318 | 09/11/2023 08:00 | 09/22/2023 15:00 | GRAND COULEE-BELL NO 5 230KV LINE | GRAND COULEE-BELL NO 5 230KV LINE, BELL: PCB A-382, GRAND COULEE: PCB 7286 | NOH, WOH, MT-NW, WOCN
86 | 23-09795 |  | 09/11/2023 08:00 | 10/13/2023 15:00 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142 | MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142, ROSS: PCB A-142, ROSS: 345/230KV TRANSFORMER 4, MCNARY: PCB A-432 | SOA, WOCS, WOM
87 | 23-05955 | 13208330 | 09/11/2023 08:30 | 09/11/2023 15:00 | ROCK CREEK: PCB 5288 | ROCK CREEK: PCB 5288 | RKCR
88 | 23-09568 | 13615944 | 09/11/2023 09:00 | 09/13/2023 12:00 | KALISPELL: 115KV MAIN BUS INCLUDING PCB'S: B-1256, B-1258, B-1260, B-1262, B-1264, AND B-1296 | KALISPELL: 115KV MAIN BUS INCLUDING PCB'S: B-1256, B-1258, B-1260, B-1262, B-1264, AND B-1296, KALISPELL: 115KV MAIN BUS, KALISPELL: 115KV AUX BUS, KALISPELL: PCB B-1256, KALISPELL: PCB B-1258, KALISPELL: PCB B-1260, KALISPELL: PCB B-1262, KALISPELL: PCB B-1264, KALISPELL: PCB B-1296, KALISPELL: 115/34.5KV TRANSFORMER 1, KALISPELL: 115/34.5KV TRANSFORMER 3, KALISPELL: 34.5KV PCB L-842, KALISPELL: 34.5KV PCB L-1338, KALISPELL: 34.5KV PCB L-1033, KALISPELL: 34.5KV PCB L-1032, KALISPELL: FLATHEAD E COOP 115KV FEEDER 1, KALISPELL: FLATHEAD E COOP 34.5KV FEEDER 1, KALISPELL: FLATHEAD E COOP 34.5KV FEEDER 3, KALISPELL: FLATHEAD E COOP 34.5KV FEEDER 4, KALISPELL: FLATHEAD E COOP 34.5KV FEEDER 5, KALISPELL-ELMO SECTION OF KALISPELL-KERR NO 1 115KV LINE, COLUMBIA FALLS-KALISPELL NO 1 115KV LINE, KALISPELL: 115KV CAP GROUP 1 SECTION 1, KALISPELL: 115KV CAP GROUP 1 SECTION 2, KALISPELL: 115KV CAP GROUP 1 SECTION 3 | LOAD, GEN, MT-NW
89 | 23-09802 |  | 09/11/2023 09:00 | 09/28/2023 15:00 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142 | ROSS: 345/230KV TRANSFORMER 4 INCLUDING PCB A-142, MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4, ROSS: PCB A-142 | SOA, WOCS, WOM
90 | 23-05812 | 13196817 | 09/11/2023 10:00 | 09/14/2023 16:00 | SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING RELAY SETS A AND B | SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - A, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING RELAY SETS A AND B, SAND SPRINGS: PROGRAMMABLE LOGIC CONTROLLER (PLC) - B, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 | COI, NWACI
91 | 23-10338 | 13709836 | 09/12/2023 06:30 | 09/12/2023 17:00 | HANFORD: 4084 & 4088 TERMINALS OF GRAND COULEE-HANFORD #1 500kV LINE (UNGROUNDED) | HANFORD: 4084 & 4088 TERMINALS OF GRAND COULEE-HANFORD #1 500kV LINE (UNGROUNDED), GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT, BCHW, GEN, NI, NOH, SIG, WOCN
92 | 23-09469 | 13588363 | 09/12/2023 07:00 | 09/13/2023 16:00 | -LVE- TESTER TAP-VALLEY SECTION OF THE HOOPER SPRINGS-DRY CREEK 115KV LINE | -LVE- TESTER TAP-VALLEY SECTION OF THE HOOPER SPRINGS-DRY CREEK 115KV LINE, HOOPER SPRINGS-VALLEY SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE
93 | 23-05276 |  | 09/12/2023 08:00 | 09/12/2023 15:00 | ALBENI FALLS: 115KV EAST MAIN BUS, ALBENI FALLS: 115KV WEST MAIN BUS, ALBENI FALLS: 115KV AUX BUS, ALBENI FALLS: PCB B-966, ALBENI FALLS: PCB B-967, ALBENI FALLS-PRIEST RIVER AVA SECTION OF ALBENI FALLS-SAND CREEK NO 1 115KV LINE | ALBENI FALLS: 115KV EAST MAIN BUS, ALBENI FALLS: 115KV WEST MAIN BUS, ALBENI FALLS: 115KV AUX BUS, ALBENI FALLS: PCB B-966, ALBENI FALLS: PCB B-967, ALBENI FALLS-PRIEST RIVER AVA SECTION OF ALBENI FALLS-SAND CREEK NO 1 115KV LINE | SOB, GEN
94 | 23-11075 |  | 09/12/2023 08:00 | 09/12/2023 16:30 | OLYMPIA-GRAND COULEE NO 1 287 KV LINE, INCLUDING PCB A-206 AND CENTER BUS TIE PCB A-1770 | OLYMPIA: PCB A-1770, OLYMPIA-GRAND COULEE NO 1 287 KV LINE, INCLUDING PCB A-206 AND CENTER BUS TIE PCB A-1770, OLYMPIA: PCB A-206, OLYMPIA-GRAND COULEE NO 1 287KV LINE, OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, NOH, IROL, OKLA
95 | 23-05201 | 13126180 | 09/13/2023 06:00 | 09/13/2023 16:00 | MAPLE VALLEY: 230KV M/B SECTION 3 INCLUDING A-1139 | MAPLE VALLEY: 230KV M/B SECTION 3 INCLUDING A-1139, MAPLE VALLEY: PCB A-1141, MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: PCB A-1138, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY: PCB A-1136, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY: PCB A-1134, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, MAPLE VALLEY: PCB A-1132, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY: PCB A-1130, MAPLE VALLEY-TALBOT NO 2 230KV LINE, MAPLE VALLEY: PCB A-1140, MAPLE VALLEY: PCB A-1139 | NOEL, SOC, WOCN, IROL, SIG
96 | 23-10790 | 13771357 | 09/13/2023 08:00 | 09/13/2023 15:00 | FAIRMOUNT: 230KV CAP GRP 3 INCLUDING PCB A-1632 | FAIRMOUNT: 230KV CAP GROUP 3, FAIRMOUNT: 230KV CAP GRP 3 INCLUDING PCB A-1632, FAIRMOUNT: PCB A-1632 | PA, RP
97 | 23-05762 | 13203368 | 09/14/2023 07:00 | 09/14/2023 08:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
98 | 23-05763 | 13203885 | 09/14/2023 08:00 | 09/14/2023 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
99 | 23-05765 | 13204006 | 09/14/2023 09:00 | 09/14/2023 10:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
100 | 23-04937 | 13114392 | 09/14/2023 09:00 | 09/14/2023 14:00 | HOT SPRINGS: 500KV REACTOR 1 | HOT SPRINGS: 500KV REACTOR 1 | MT-NW, WOH
101 | 23-05766 | 13207894 | 09/14/2023 10:00 | 09/14/2023 11:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
102 | 23-01365 | 12672612 | 09/14/2023 12:00 | 09/14/2023 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE | GEN, FCRPS
103 | 23-10063 | 13685286 | 09/15/2023 14:00 | 09/15/2023 15:00 | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | PA, RP, NOEL, SOC, LOAD, SOA
104 | 23-06583 | 13267624 | 09/17/2023 01:00 | 09/17/2023 01:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
105 | 23-06584 | 13267636 | 09/17/2023 01:30 | 09/17/2023 02:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
106 | 23-06586 | 13267653 | 09/17/2023 02:30 | 09/17/2023 03:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
107 | 23-06587 | 13267660 | 09/17/2023 03:00 | 09/17/2023 03:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
108 | 23-09426 |  | 09/17/2023 21:00 | 09/21/2023 06:00 | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES | -PGE- MURRAYHILL- SHERWOOD NO 1 & 2 230KV LINES, MURRAY HILL (PGE)-SHERWOOD NO 1 230KV LINE, MURRAY HILL (PGE)-SHERWOOD NO 2 230KV LINE | SOA
109 | 23-01749 | 12815655 | 09/18/2023 06:00 | 09/22/2023 18:00 | BELL: 5314 & 5315 TERMINALS OF THE GRAND COULEE-BELL NO 6 500KV LINE (UNGROUNDED) | GRAND COULEE-BELL NO 6 500KV LINE, BELL: 5314 & 5315 TERMINALS OF THE GRAND COULEE-BELL NO 6 500KV LINE (UNGROUNDED), GRAND COULEE: PCB 1896, GRAND COULEE: PCB 8592, GRAND COULEE: 500KV REACTOR 1 | GEN, MT-NW, SIG, WOH, COI, NOH, NWACI, PDCI, WOCN
110 | 23-07730 | 13663553 | 09/18/2023 07:00 | 09/20/2023 17:00 | COVINGTON: 230KV MAIN BUS SECTION 2 | COVINGTON: 230KV MAIN BUS SECTION 2, COVINGTON-DUWAMISH NO 1 230KV LINE, COVINGTON-BERRYDALE NO 1 230KV LINE, COVINGTON-WHITE RIVER NO 2 230KV LINE, COVINGTON: PCB A-92, COVINGTON: PCB A-93 | NOEL, SOC, WOCN, RP, BCHT, BCHW
111 | 23-09916 |  | 09/18/2023 07:00 | 09/29/2023 17:30 | -PACW- WALLA WALLA-HURRICANE SECTION OF THE WALLA WALLA-HELLS CANYON 230KV LINE | -PACW- WALLA WALLA-HURRICANE SECTION OF THE WALLA WALLA-HELLS CANYON 230KV LINE, HELLS CANYON (IPC)-HURRICANE 230KV LINE | ID-NW, WOH
112 | 23-07728 | 13389066 | 09/18/2023 07:00 | 10/14/2023 17:00 | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK | COVINGTON: 230KV TIE LINE #2 INCL 500/230KV XFMR BK #5, PCB L-1907 & L-1908 AND 34.5KV STATION SERVICE RACK, COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE | NOEL, RP, SIG, SOC, NI, WOCN, IROL
113 | 23-01946 | 12825802 | 09/18/2023 07:30 | 09/21/2023 15:00 | ALVEY: PCB 5087 | ALVEY: PCB 5087 | NWACI, COI, SCORC
114 | 23-10364 |  | 09/18/2023 08:00 | 09/18/2023 15:00 | -PACW- LEBANON-CROW FOOT SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- LEBANON-CROW FOOT SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
115 | 23-04890 | 13104745 | 09/18/2023 08:00 | 09/21/2023 15:00 | USK-BOUNDARY 1 230KV LINE INCLUDING CUSICK SUBSTATION, ADDY-CUSICK 1 230KV LINE, USK: PCB'S A-953 & A-955, BOUNDARY: PCB A-1235 | USK-BOUNDARY 1 230KV LINE INCLUDING CUSICK SUBSTATION, ADDY-CUSICK 1 230KV LINE, USK: PCB'S A-953 & A-955, BOUNDARY: PCB A-1235, CUSICK-BOUNDARY SECTION OF USK-BOUNDARY NO 1 230KV LINE, USK-CUSICK SECTION OF USK-BOUNDARY NO 1 230KV LINE, ADDY-CUSICK NO 1 230KV LINE, CUSICK: 230KV CAP GROUP 1, CUSICK: A-167 230KV CAP GROUP 1 SECTION 1 DISC, CUSICK: MOD A-155, CUSICK: MOD A-162, CUSICK: LBD A-153, CUSICK: LBD A-154, CUSICK: LBD A-169, USK: PCB A-953, USK: PCB A-955, BOUNDARY: PCB A-1235, CUSICK: 230KV MAIN BUS, CUSICK: 230KV AUX BUS | SOB
116 | 23-05366 | 13164596 | 09/18/2023 08:00 | 09/21/2023 15:00 | LAPINE: 230/115KV TRANSFORMER 2 | LAPINE: 230/115KV TRANSFORMER 2, LAPINE: PCB A-1498, LAPINE: 230KV AUX BUS | COR
117 | 23-01895 | 12825514 | 09/18/2023 08:00 | 09/22/2023 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
118 |  | 13398639 | 09/18/2023 08:00 | 09/22/2023 21:00 | BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE | BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE
119 | 23-07839 |  | 09/18/2023 08:00 | 09/23/2023 10:00 | -EWEB- HOLDEN CREEK: 7170 AND 7180 TERMINALS OF THE COUGAR-HOLDEN CREEK #1 115KV LINE | -EWEB- HOLDEN CREEK: 7170 AND 7180 TERMINALS OF THE COUGAR-HOLDEN CREEK #1 115KV LINE
120 | 23-04570 | 13061466 | 09/18/2023 08:00 | 09/28/2023 17:00 | COLUMBIA: 230/115KV TRANSFORMER 2 | COLUMBIA: 230/115KV TRANSFORMER 2, COLUMBIA: PCB A-156, COLUMBIA: PCB B-314 | LOAD, WOCN, CI
121 | 23-02668 | 13126170 | 09/18/2023 08:30 | 09/19/2023 15:00 | CAPTAIN JACK: PCB 4993, BFR | CAPTAIN JACK: PCB 4993, BFR | NWACI, COI
122 | 23-09482 | 13622306 | 09/19/2023 07:00 | 09/19/2023 16:00 | OLYMPIA: 230/115 KV TRANSFORMER 2 INCLUDING PCBS B-676 AND A-212 AND THE 230KV WEST AUX BUS AND THE 115KV EAST AUX BUS | OLYMPIA: 230/115 KV TRANSFORMER 2 INCLUDING PCBS B-676 AND A-212 AND THE 230KV WEST AUX BUS AND THE 115KV EAST AUX BUS, OLYMPIA: 230/115KV TRANSFORMER 2, OLYMPIA: PCB A-212, OLYMPIA: PCB B-676, OLYMPIA: 115KV EAST AUX BUS, OLYMPIA: 230KV WEST AUX BUS, OLYMPIA: PCB A-216, OLYMPIA: PCB B-672 | NOEL, PA, RP, SOC, WOCN
123 | 23-10363 |  | 09/19/2023 07:00 | 09/19/2023 17:30 | -PACW- CROW FOOT-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- CROW FOOT-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
124 | 23-06963 | 13301959 | 09/19/2023 07:30 | 09/21/2023 15:00 | BENTON-WHITE BLUFFS NO 1 115KV LINE | BENTON-WHITE BLUFFS NO 1 115KV LINE, BENTON: PCB B-536, WHITE BLUFFS: PCB B-1911 | TCLA
125 | 23-10505 | 13740405 | 09/19/2023 08:00 | 09/22/2023 15:00 | WALNUT CITY-MCMINNVILLE SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | WALNUT CITY-MCMINNVILLE SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, MCMINNVILLE: PCB B-666, CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, WALNUT CITY TAP-BAKER CREEK SECTION OF WALNUT CITY TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
126 | 23-05889 | 13241411 | 09/20/2023 07:00 | 09/20/2023 17:00 | OLYMPIA: 230KV CENTER MAIN BUS | OLYMPIA: 230KV CENTER MAIN BUS, OLYMPIA: PCB A-206, OLYMPIA: PCB A-358, OLYMPIA: PCB A-356, OLYMPIA: PCB A-1770, OLYMPIA-SHELTON NO 5 230KV LINE, OLYMPIA-ST CLAIR NO 1 230KV LINE, OLYMPIA-GRAND COULEE NO 1 287KV LINE | NOEL, PA, RP, SOC, WOCN, LOAD, SOA, NOH, IROL
127 | 23-10362 |  | 09/20/2023 07:00 | 09/21/2023 17:30 | -PACW- SWEET HOME-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE | -PACW- SWEET HOME-WEIRICH SECTION OF THE ALBANY-FOSTER (PACW) #1 115KV LINE
128 | 23-03130 | 13165272 | 09/20/2023 08:00 | 09/20/2023 15:00 | ASHE: PCB 5463 | ASHE: PCB 5463 | NOH, NWACI, FCRPS
129 | 23-02597 | 13010771 | 09/20/2023 08:00 | 09/21/2023 16:00 | MCMINNVILLE: 115KV CAP GROUP 2 | MCMINNVILLE: 115KV CAP GROUP 2, MCMINNVILLE: PCB B-382
130 | 23-03131 | 13165285 | 09/21/2023 08:00 | 09/21/2023 15:00 | ASHE: PCB 5466 | ASHE: PCB 5466 | NWACI, WOJD, WOM, WOS, FCRPS
131 | 23-03568 |  | 09/22/2023 08:00 | 09/22/2023 17:00 | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
132 | 23-00087 | 11350604 | 09/22/2023 12:00 | 10/13/2023 16:00 | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
133 | 23-08892 | 13577687 | 09/22/2023 16:30 | 09/22/2023 17:00 | MCNARY PH-MCNARY NO 6 115KV LINE | MCNARY PH-MCNARY NO 6 115KV LINE, MCNARY: PCB B-990 | GEN, FCRPS, WOM
134 | 23-06969 | 13398666 | 09/22/2023 21:01 | 09/23/2023 09:00 | COUGAR-HOLDEN CREEK NO 1 115KV LINE, INCLUDING BLUE RIVER TAP | COUGAR-HOLDEN CREEK NO 1 115KV LINE, CARMEN PH: EWEB (EUGENE OR) 115KV FEEDER 1, BLUE RIVER: LANE ELEC COOP 115KV FEEDER 1, INCLUDING BLUE RIVER TAP, BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, CARMEN SMITH-BLUE RIVER SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, COUGAR-CARMEN SMITH SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, BLUE RIVER TAP TO COUGAR-HOLDEN CREEK NO 1 115KV LINE, CARMEN SMITH TAP TO COUGAR-HOLDEN CREEK NO 1 115KV LINE | EWEB
135 | 23-02986 | 12943074 | 09/25/2023 06:00 | 10/06/2023 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, PA, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC
136 | 23-01408 | 12724523 | 09/25/2023 06:00 | 11/02/2023 16:00 | -USBR- HUNGRY HORSE PH: BUS 2 | HUNGRY HORSE PH: PCB 2282, -USBR- HUNGRY HORSE PH: BUS 2, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT
137 | 23-00070 | 11002744 | 09/25/2023 06:30 | 09/28/2023 17:00 | B-179 TERMINAL OF DWORSHAK PH-AHSAHKA SECTION OF DWORSHAK PH-OROFINO NO 1 115KV LINE | B-179 TERMINAL OF DWORSHAK PH-AHSAHKA SECTION OF DWORSHAK PH-OROFINO NO 1 115KV LINE
138 | 23-06162 | 13230982 | 09/25/2023 07:00 | 09/26/2023 16:00 | ECHO LAKE: PCB 5125, INCLUDING 500KV CAP GROUP 1 | ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1, INCLUDING 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
139 | 23-00750 | 12671957 | 09/25/2023 07:00 | 09/28/2023 15:00 | SIFTON: 230/115KV TRANSFORMER 2 | SIFTON: 230/115KV TRANSFORMER 2, SIFTON: PCB A-163, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SOA, GEN, LOAD, WOCS
140 | 23-02784 | 12908807 | 09/25/2023 07:00 | 09/28/2023 16:00 | GARRISON: 500KV EAST BUS INCLUDING PCB'S 4360, 4412, 4421, 4362, AND REACTOR 5 | GARRISON: PCB 4360, GARRISON: 500KV EAST BUS INCLUDING PCB'S 4360, 4412, 4421, 4362, AND REACTOR 5, GARRISON: PCB 4412, GARRISON: PCB 4421, GARRISON: PCB 4362, GARRISON: 500KV REACTOR 5 | MT-NW
141 | 23-09680 | 13620169 | 09/25/2023 07:00 | 09/28/2023 16:00 | MCNARY: 230/115KV TRANSFORMER 11 | MCNARY: 230/115KV TRANSFORMER 11, MCNARY: PCB A-403, MCNARY: PCB B-997 | WOM
142 | 23-04186 | 13161352 | 09/25/2023 07:00 | 10/06/2023 15:00 | NOXON-LIBBY NO 1 230KV LINE | NOXON-LIBBY NO 1 230KV LINE | WOH, FCRPS, GEN
143 | 23-09293 | 13655722 | 09/25/2023 07:30 | 09/25/2023 17:00 | ALLSTON: PCB 4690 | ALLSTON: PCB 4690 | PA, SOA
144 | 23-01327 | 12792857 | 09/25/2023 07:30 | 09/28/2023 15:30 | ALVEY: PCB 5084 | ALVEY: PCB 5084 | NWACI, COI, SCORC
145 | 23-11018 | 13799758 | 09/25/2023 07:30 | 10/03/2023 15:00 | HANFORD: PCB 4089 | HANFORD: PCB 4089 | NOH, WOM, WOS
146 | 23-01537 | 13257085 | 09/25/2023 08:00 | 09/26/2023 15:00 | DWORSHAK-TAFT NO 1 500KV LINE, INCLUDING DWORSHAK: PCB'S 4652, 4656 AND HSGS 7117 | DWORSHAK-TAFT NO 1 500KV LINE, DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, DWORSHAK: PCB 4656, INCLUDING DWORSHAK: PCB'S 4652, 4656 AND HSGS 7117, DWORSHAK: PCB 4652, DWORSHAK: PCB 4765, DWORSHAK: HSGS 7117 | MT-NW, NOH, WOH, WOLM, FCRPS
147 | 23-05900 | 13208345 | 09/25/2023 08:00 | 09/28/2023 15:00 | LITTLE GOOSE: PCB 4632 | LITTLE GOOSE: PCB 4632, LITTLE GOOSE: PCB 4632 BFR | WOLM
148 | 23-03148 | 12953795 | 09/25/2023 08:00 | 09/28/2023 16:30 | PONDEROSA: PCB 4942, BFR | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA: PCB 4942, BFR | COI, PDCI, NWACI
149 | 23-10740 | 13764170 | 09/25/2023 08:00 | 09/29/2023 16:00 | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE | PEARL: A-1165 TERMINAL OF THE MCLOUGHLIN-SHERWOOD-PEARL TAP 230KV LINE, PEARL: PCB A-1165, PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS
150 | 22-01219 | 10393605 | 09/25/2023 09:00 | 09/29/2023 17:30 | CAPTAIN JACK-OLINDA NO 1 500KV LINE, INCLUDING CAPTAIN JACK: 500KV SERIES CAP GROUP 1 AND PCB'S 4971 & 4972 | CAPTAIN JACK-OLINDA NO 1 500KV LINE, CAPTAIN JACK: PCB 4977, CAPTAIN JACK: PCB 4980, INCLUDING CAPTAIN JACK: 500KV SERIES CAP GROUP 1 AND PCB'S 4971 & 4972, CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972, CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | BCHT, BCHW, COI, NI, NWACI
151 | 23-09851 |  | 09/25/2023 16:00 | 09/25/2023 21:30 | -PACW- GRANDVIEW-GRANVIEW SWITCHING STATION SECTIN OF GRANDVIEW SWITCHING STATION-WINE COUNTRY 115KV LINE | -PACW- GRANDVIEW-GRANVIEW SWITCHING STATION SECTIN OF GRANDVIEW SWITCHING STATION-WINE COUNTRY 115KV LINE
152 | 23-07304 | 13334494 | 09/26/2023 07:00 | 09/26/2023 16:00 | BELL-USK #1 230KV LINE INCLUDING USK: PCB'S A-955 AND A-958 | BELL-USK NO 1 230KV LINE, BELL-USK #1 230KV LINE INCLUDING USK: PCB'S A-955 AND A-958, USK: PCB A-955, USK: PCB A-958 | SOB, GEN, WOH
153 | 23-09960 | 13664442 | 09/26/2023 07:30 | 09/26/2023 13:30 | BELLINGHAM: 230KV MAIN BUS | BELLINGHAM: 230/115KV TRANSFORMER 1, BELLINGHAM: 230KV MAIN BUS, BELLINGHAM: 230/115KV TRANSFORMER 2, BELLINGHAM-CUSTER NO 1 230KV LINE, SEDRO WOOLLEY-BELLINGHAM NO 1 230KV LINE, BELLINGHAM: 230KV AUX BUS | LOAD, NOEL, SOC
154 | 23-09294 | 13655790 | 09/26/2023 07:30 | 09/27/2023 17:00 | ALLSTON: PCB 4474 | ALLSTON: PCB 4474 | PA, SOA
155 | 23-08487 |  | 09/26/2023 08:00 | 09/28/2023 15:00 | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
156 | 23-06164 | 13230988 | 09/27/2023 07:00 | 09/28/2023 16:00 | ECHO LAKE: PCB 5127, INCLUDING 500KV CAP GROUP 2 | ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2, INCLUDING 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
157 | 23-06726 | 13558059 | 09/27/2023 08:00 | 09/27/2023 16:00 | RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA
158 | 23-08977 |  | 09/27/2023 08:00 | 09/27/2023 17:00 | WENDSON: 230KV MAIN BUS, INCLUDING: PCB A-1582 | WENDSON: 230KV MAIN BUS, WENDSON: PCB A-1578, INCLUDING: PCB A-1582, WENDSON: PCB A-1579, WENDSON: PCB A-1580, WENDSON: PCB A-1581, WENDSON: PCB A-1582, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB B-1784, WENDSON: 230/115KV TIE NO 1 115KV LINE, TOLEDO-WENDSON NO 1 230KV LINE, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1 | LOAD, SCORC
159 | 23-06774 | 13317931 | 09/27/2023 08:00 | 09/28/2023 15:00 | CAPTAIN JACK: PCB 4980 | CAPTAIN JACK: PCB 4980 | NWACI, COI
160 | 23-11068 |  | 09/28/2023 07:00 | 09/28/2023 14:00 | GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND: 161/115KV XFMR #4 | DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND: 161/115KV XFMR #4 | GEN
161 | 23-09295 | 13655795 | 09/28/2023 07:30 | 09/28/2023 17:00 | ALLSTON: PCB 4696 | ALLSTON: PCB 4696 | PA, SOA
162 | 23-01532 | 12825798 | 09/29/2023 08:00 | 09/29/2023 16:00 | GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | NWACI, PDCI, SIG, COI
163 | 23-06329 |  | 09/30/2023 08:00 | 10/18/2023 16:00 | -PGE- BETHEL-ROUND BUTTE 230KV LINE | -PGE- BETHEL-ROUND BUTTE 230KV LINE | COI, NWACI/PDCI, WOCS
164 | 23-06327 | 13241345 | 09/30/2023 08:00 | 10/18/2023 16:00 | Bethel-Round Butte 230kV | Bethel-Round Butte 230kV
165 | 23-06588 | 13267664 | 09/30/2023 20:30 | 09/30/2023 21:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
166 | 23-06589 | 13267670 | 09/30/2023 21:00 | 09/30/2023 21:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
167 | 23-06591 | 13267688 | 09/30/2023 22:00 | 09/30/2023 22:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
168 | 23-06592 | 13267693 | 09/30/2023 22:30 | 09/30/2023 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
169 | 22-02103 | 10879173 | 09/30/2023 23:00 | 10/14/2023 23:00 | GRAND COULEE: PCB 2296, PCB 2292 | GRAND COULEE: PCB 2296, PCB 2292, GRAND COULEE: PCB 2292 | GEN, NOH, WOCN