## Request List
Row# | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-08395 | 14846993 | 06/01/2022 00:00 | 12/31/2024 23:59 | BOUNDARY-SACHEEN NO 1 230KV LINE (DERATED) | BOUNDARY-SACHEEN NO 1 230KV LINE (DERATED)
3 | 22-11261 | 12057655 | 07/09/2022 06:00 | 05/18/2024 15:00 | MARCOLA: A-497 LINE SECTIONALIZING DISC | MARCOLA: A-497 LINE SECTIONALIZING DISC
4 | 22-14468 |  | 09/20/2022 17:00 | 11/15/2024 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
5 | 22-16315 | 14846842 | 11/01/2022 00:00 | 12/31/2024 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
6 | 22-16314 | 14846799 | 11/01/2022 00:00 | 12/31/2024 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
7 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
8 | 22-14444 | 14231667 | 11/28/2022 08:00 | 05/31/2024 15:00 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576, ALVEY-CURRIN NO 1 115KV LINE, CURRIN-HAYDEN BRIDGE SWITCHING STATION 115KV LINE, CURRIN-LAUREL 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB, SCORC
9 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
10 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
11 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
12 | 23-08577 | 13856830 | 04/30/2023 18:57 | 12/12/2024 23:59 | VALHALLA: PCB B-280 | VALHALLA: PCB B-280
13 | 23-09172 |  | 05/11/2023 08:00 | 05/10/2024 15:00 | CARLTON: 230/115 BK #1 OUTAGE/CARLTON-SHERWOOD #1 230KV LINE TT OUTAGE | CARLTON: 230/115 BK #1 OUTAGE/CARLTON-SHERWOOD #1 230KV LINE TT OUTAGE
14 | 23-07371 | 14476627 | 06/02/2023 08:00 | 05/31/2024 15:00 | ST. JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA
15 | 23-14129 | 14869947 | 08/28/2023 17:00 | 04/25/2024 15:00 | FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114 | FRANKLIN: PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA
16 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
17 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
18 | 24-01603 | 13859445 | 01/11/2024 07:00 | 04/07/2024 18:00 | LADWP - VICTORVILLE-RINALDI 1 500KV LINE | LADWP - VICTORVILLE-RINALDI 1 500KV LINE | PDCI
19 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
20 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
21 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 2 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 2
22 | 24-03900 | 15148577 | 01/30/2024 12:00 | 05/15/2024 15:00 | RIVER ROAD-FRUIT VALLEY TAP 115KV LINE | RIVER ROAD-FRUIT VALLEY TAP 115KV LINE | LOAD
23 | 24-00596 | 14317549 | 02/08/2024 16:00 | 04/04/2024 08:00 | JOHN DAY: MOD 4144, INCLUDING PCB 4143 | JOHN DAY: MOD 4144, JOHN DAY: PCB 4143, INCLUDING PCB 4143 | NWACI, WOJD, GRZN
24 | 24-02724 |  | 02/26/2024 06:00 | 04/05/2024 16:00 | MCC - KEELER-HORIZON 1 230KV LINE | MCC - KEELER-HORIZON 1 230KV LINE | SOA, NOPE
25 | 23-09800 | 13628553 | 02/26/2024 06:00 | 04/05/2024 16:00 | KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: A-870 TERMINAL OF THE KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA, NOPE
26 | 24-00666 | 14475542 | 02/26/2024 07:00 | 05/31/2024 15:00 | -USBR-HUNGRY HORSE: PCB'S 2182 AND 2382 | HUNGRY HORSE PH: PCB 2382, -USBR-HUNGRY HORSE: PCB'S 2182 AND 2382, HUNGRY HORSE PH: PCB 2182, HUNGRY HORSE PH: PCB 122, HUNGRY HORSE PH: PCB 222 | WOH, FLAT, MT-NW
27 | 24-02936 | 15033125 | 02/26/2024 08:00 | 04/26/2024 15:00 | MCNARY-FRANKLIN NO 2 230KV LINE | MCNARY-FRANKLIN NO 2 230KV LINE, FRANKLIN: 230/115KV TRANSFORMER 4 | WOM, TCLA
28 | 24-00851 |  | 02/26/2024 09:30 | 04/01/2024 15:00 | KEELER: PCB A-872 INCLUDING THE 230KV AUX BUS | KEELER: PCB A-872 INCLUDING THE 230KV AUX BUS, KEELER: 230KV AUX BUS, KEELER: PCB A-872
29 | 24-03452 |  | 02/26/2024 15:00 | 06/27/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
30 | 24-00852 | 14931300 | 02/26/2024 15:00 | 04/05/2024 08:00 | KEELER: PCB A-870 INCLUDING THE A-870 M/B AND L/S DISCONNECTS | KEELER: PCB A-870 INCLUDING THE A-870 M/B AND L/S DISCONNECTS, KEELER: PCB A-870, KEELER-PGE HORIZON NO 1 230KV LINE | SOA, NOPE
31 | 24-00599 | 14847609 | 02/27/2024 07:00 | 04/29/2024 15:00 | OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE | OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE | PA, RP
32 | 24-00653 | 14356003 | 02/27/2024 15:01 | 05/08/2024 15:00 | OLYMPIA: PCB B-686 INCLUDING THE B-686 M/B AND A/B DISCS | OLYMPIA: PCB B-686 INCLUDING THE B-686 M/B AND A/B DISCS, OLYMPIA: PCB B-686
33 | 24-02909 | 15127008 | 02/28/2024 06:00 | 04/19/2024 18:00 | CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | TCLA
34 | 24-00118 | 13115076 | 03/01/2024 08:00 | 06/19/2024 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
35 | 24-00066 | 12879873 | 03/01/2024 16:00 | 04/16/2024 08:00 | GRIZZLY: MOD 4059 | GRIZZLY: MOD 4059
36 | 24-00859 |  | 03/06/2024 15:30 | 04/22/2024 07:00 | RICHLAND: REMOVED BUS BETWEEN 115KV M/B AND B-504 M/B DISC | RICHLAND: REMOVED BUS BETWEEN 115KV M/B AND B-504 M/B DISC | TCLA
37 | 24-00867 |  | 03/07/2024 17:30 | 04/19/2024 05:30 | RICHLAND: REMOVED BUS BETWEEN B-504 A/B DISC AND 115KV AUX BUS | RICHLAND: REMOVED BUS BETWEEN B-504 A/B DISC AND 115KV AUX BUS
38 | 24-00861 |  | 03/07/2024 17:30 | 04/19/2024 07:00 | RICHLAND: REMOVED LINE DROP JUMPERS AT B-504 | RICHLAND: REMOVED LINE DROP JUMPERS AT B-504
39 | 24-00869 | 14477543 | 03/08/2024 07:00 | 04/18/2024 15:00 | RICHLAND: B-504 BAY | RICHLAND: B-504 BAY, RICHLAND: PCB B-504, RICHLAND: B-504 AUX BUS DISC, RICHLAND: B-504 LINE SIDE DISC, RICHLAND: B-504 MAIN BUS DISC | TCLA
40 | 24-01187 | 14806719 | 03/18/2024 07:00 | 04/05/2024 14:00 | FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1 INCLUDING PCB A-217 | FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1 INCLUDING PCB A-217, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1, FLATHEAD: PCB A-217 | MT-NW, FLAT
41 | 24-03772 |  | 03/18/2024 08:00 | 04/12/2024 16:00 | BCH - BOUNDARY-NELWAY 1 230KV LINE (2L112) | BCH - BOUNDARY-NELWAY 1 230KV LINE (2L112)
42 | 23-10013 | 13665404 | 03/18/2024 08:00 | 04/10/2024 16:00 | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE, JESSEN TAP TO DANEBO-PRAIRIE (EWEB) 115KV LINE, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE, JESSEN-PRAIRIE SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
43 | 24-03902 | 15148745 | 03/18/2024 08:00 | 04/12/2024 16:00 | BOUNDARY: A-1220 TERMINAL OF THE BOUNDARY-NELWAY NO 1 230KV LINE (2L112) | BOUNDARY: A-1220 TERMINAL OF THE BOUNDARY-NELWAY NO 1 230KV LINE (2L112) , BOUNDARY-NELWAY NO 1 230KV LINE | BCHT, GEN, NI, NOEL, SOB, SOC
44 | 24-02432 | 14935541 | 03/25/2024 07:00 | 04/10/2024 07:00 | WHITE BLUFFS: 230/115/13.8kV TRANSFORMER 1 INCLUDING THE ASHE-WHITE BLUFFS NO 1 230kV LINE AND PCB B-270 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1, WHITE BLUFFS: 230/115/13.8kV TRANSFORMER 1 INCLUDING THE ASHE-WHITE BLUFFS NO 1 230kV LINE AND PCB B-270, ASHE-WHITE BLUFFS NO 1 230KV LINE, WHITE BLUFFS: PCB B-270 | GEN, TCLA, LOAD, FCRPS
45 | 24-00125 | 13268257 | 03/25/2024 08:00 | 04/06/2024 16:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
46 | 23-12043 | 13973506 | 03/25/2024 13:00 | 04/26/2024 16:00 | ALVEY-LANE #1 230KV LINE INCLUDING LANE: PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR | ALVEY-LANE #1 230KV LINE INCLUDING LANE: PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR, LANE: 230/115KV TRANSFORMER 1, ALVEY-LANE NO 1 230KV LINE, LANE: 230KV AUX BUS | EWEB, NWACI
47 | 24-00571 |  | 04/01/2024 06:00 | 04/04/2024 15:00 | MINIDOKA PH: 138KV MAIN BUS | MINIDOKA PH: 138KV MAIN BUS, MINIDOKA PH-CANAL SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE, MINIDOKA PH-IDAHOME SECTION OF MINIDOKA PH-BRIDGE NO 1 138KV LINE | GEN
48 | 24-00139 | 13578027 | 04/01/2024 06:30 | 04/02/2024 16:00 | TAFT-BELL NO. 1 500KV LINE INCLUDING BELL: 500KV SERIES CAP GROUP 1 AND PCB 5320 | TAFT-BELL NO. 1 500KV LINE INCLUDING BELL: 500KV SERIES CAP GROUP 1 AND PCB 5320, BELL: PCB 5301, BELL: PCB 5304, BELL: PCB 5320, BELL: PCB 4559, TAFT: PCB 4119, TAFT: PCB 4122, BELL: 500KV REACTOR 1, BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, TAFT: HSGS 7812, TAFT-BELL NO 1 500KV LINE | MT-NW, WOH, GEN, SIG, RP
49 | 24-00663 | 14399003 | 04/01/2024 07:00 | 04/02/2024 12:00 | CUSTER: PCB 4494 BFR, INCLUDING PCB 4494 | CUSTER: PCB 4494, CUSTER: PCB 4494 BFR, INCLUDING PCB 4494 | BCHT, BCHW, NOEL, SOC, NI
50 | 24-00985 | 14524847 | 04/01/2024 07:00 | 04/02/2024 16:00 | MCNARY: PCB 5217 | MCNARY: PCB 5217 | WOCS, WOJD, WOM
51 | 24-00414 | 14153676 | 04/01/2024 07:00 | 04/01/2024 17:30 | PEARL-KEELER NO 1 500KV LINE INCLUDING PEARL: PCBS 4280, AND 4283 | PEARL-KEELER NO 1 500KV LINE INCLUDING PEARL: PCBS 4280, AND 4283, PEARL: PCB 4280, PEARL: PCB 4283, PEARL-KEELER NO 1 500KV LINE | SOA, NOPE, SIG, NWACI
52 | 24-01506 |  | 04/01/2024 07:00 | 04/05/2024 15:00 | CHEHALIS: 230/69KV TRANSFORMER 3 | CHEHALIS: 230/69KV TRANSFORMER 3
53 | 24-00129 | 13340955 | 04/01/2024 07:00 | 05/03/2024 17:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, WOLM
54 | 24-01377 | 14765569 | 04/01/2024 07:30 | 04/04/2024 17:00 | WENDSON: 230KV MAIN BUS, INCLUDING: PCB'S A-1580 AND A-1581 | WENDSON: 230KV MAIN BUS, WENDSON: PCB A-1580, INCLUDING: PCB'S A-1580 AND A-1581, WENDSON: PCB A-1581, TOLEDO-WENDSON NO 1 230KV LINE, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB B-1784, WENDSON: PCB A-1578, WENDSON: PCB A-1579, WENDSON: PCB A-1582 | LOAD, SCORC
55 | 24-03629 | 15122668 | 04/01/2024 07:30 | 04/02/2024 15:30 | BELLINGHAM: 230/115KV TRANSFORMER 2 INCLUDING PCB'S A-487, B-933 | BELLINGHAM: 230/115KV TRANSFORMER 2 INCLUDING PCB'S A-487, B-933, BELLINGHAM: PCB A-487, BELLINGHAM: PCB B-933, BELLINGHAM: 230/115KV TRANSFORMER 2 | BCHW, LOAD, NOEL, SOC
56 | 24-03861 | 15148263 | 04/01/2024 08:00 | 04/01/2024 15:00 | MIDWAY-PRIEST RAPIDS NO 1 230kV LINE INCLUDING MIDWAY PCB A-992 AND 230kV AUX BUS SECTION 3 | MIDWAY-PRIEST RAPIDS NO 1 230KV LINE, MIDWAY-PRIEST RAPIDS NO 1 230kV LINE INCLUDING MIDWAY PCB A-992 AND 230kV AUX BUS SECTION 3, MIDWAY: PCB A-992, MIDWAY: 230KV AUX BUS SECTION 3, MIDWAY: PCB A-994 | GEN, NOH, CI, WI, WOM
57 | 24-00751 | 14528901 | 04/01/2024 08:00 | 04/04/2024 15:00 | HATWAI: PCB 4710, PCB 4710 BFR RELAYS | PCB 4710 BREAKER RELAYS, HATWAI: PCB 4710, PCB 4710 BFR RELAYS | MT-NW, NOH, WOH, WOLM
58 | 23-06188 | 13230818 | 04/01/2024 08:00 | 04/19/2024 15:00 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA 500/230KV BANK NO 5 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA 500/230KV BANK NO 5, PAUL-OLYMPIA NO 1 500KV LINE, OLYMPIA: 500/230KV TRANSFORMER 5 | LOAD, PA, RP, SIG, NOEL, IROL
59 | 24-00637 | 14407829 | 04/01/2024 08:00 | 04/02/2024 17:00 | SCHULTZ: PCB 5154 | SCHULTZ: PCB 5154 | WOCN
60 | 24-03815 | 15148476 | 04/01/2024 08:00 | 04/11/2024 16:00 | WAGNER LAKE TAP TO WILBUR TAP TO GRAND COULEE-CRESTON NO 1 115KV LINE | WAGNER LAKE TAP TO WILBUR TAP TO GRAND COULEE-CRESTON NO 1 115KV LINE, WAGNER LAKE: 115/34.5KV TRANSFORMER 1, WAGNER LAKE: 34.5KV PCB L-274, WAGNER LAKE: INLAND P+L 34.5KV FEEDER 1 BY AVISTA CORP | LOAD
61 | 24-00376 | 14149586 | 04/01/2024 08:00 | 04/04/2024 15:00 | MALIN: PCB 4066 | MALIN: PCB 4066 | NWACI, COI
62 | 24-00242 | 13945157 | 04/02/2024 08:00 | 04/04/2024 16:00 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502, SANTIAM: PCB A-502 | SCORC, SLAL
63 | 24-00754 | 14398390 | 04/02/2024 08:00 | 04/04/2024 15:00 | CENTRAL FERRY: PCB 5400 | CENTRAL FERRY: PCB 5400 | WOH, WOLM, SIG
64 | 24-00693 | 14483298 | 04/02/2024 08:00 | 04/02/2024 15:00 | GRIZZLY: PCB 5037 | GRIZZLY: PCB 5037 | NWACI, COI
65 | 24-00943 | 14516993 | 04/02/2024 09:00 | 04/11/2024 18:30 | DE MOSS-CONDON WIND SECT OF DE MOSS FOSSIL #1 115 KV LINE | DE MOSS-CONDON WIND SECT OF DE MOSS FOSSIL #1 115 KV LINE, DE MOSS-CONDON WIND SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE | BGEDY
66 | 24-00665 | 14399138 | 04/02/2024 12:00 | 04/02/2024 14:30 | CUSTER: PCB 4496 BFR, INCLUDING PCB 4496 | CUSTER: PCB 4496 BFR, INCLUDING PCB 4496, CUSTER: PCB 4496 | BCHT, BCHW, NOEL, SOC, NI
67 | 24-00140 | 13583635 | 04/03/2024 07:00 | 04/03/2024 16:00 | BELL: PCB 5301 | BELL: PCB 5301 | MT-NW, WOH
68 | 24-00638 | 14407838 | 04/03/2024 08:00 | 04/04/2024 17:00 | SCHULTZ: PCB 5173 | SCHULTZ: PCB 5173 | WOCN
69 | 24-00142 | 13583689 | 04/04/2024 07:00 | 04/04/2024 16:00 | BELL: PCB 5313 | BELL: PCB 5313 | MT-NW, WOH
70 | 24-01355 | 14743840 | 04/04/2024 07:00 | 04/04/2024 15:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 INCLUDING PCB A-1007 | COVINGTON: PCB A-1007, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 INCLUDING PCB A-1007, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 | NOEL, SOC, WOCN
71 | 24-00958 | 14524227 | 04/04/2024 08:00 | 04/04/2024 17:00 | JOHN DAY: 500KV WEST BUS INCLUDING PCB'S 4143 & 4134 | JOHN DAY: 500KV WEST BUS INCLUDING PCB'S 4143 & 4134, JOHN DAY: 500KV WEST BUS, JOHN DAY: PCB 4143, JOHN DAY: PCB 4134 | WOJD, NWACI, PDCI, GRZN
72 | 24-00960 | 14524193 | 04/04/2024 17:00 | 05/29/2024 15:00 | JOHN DAY: MOD 4135 INCLUDING PCB 4134 | JOHN DAY: PCB 4134, JOHN DAY: MOD 4135 INCLUDING PCB 4134 | NWACI, WOJD, GRZN
73 | 24-00850 | 14931281 | 04/05/2024 08:01 | 04/05/2024 13:00 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-870 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-870, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1, KEELER: PCB A-873, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: LBD A-857, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3, KEELER: PCB A-859, KEELER: PCB A-858, KEELER: 230/115KV TRANSFORMER 1, KEELER: PCB A-860, RIVERGATE-KEELER NO 1&2 230KV LINE, KEELER: PCB A-862, KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: 230KV AUX BUS, KEELER: PCB A-872 | SOA, NOPE, WOCS, LOAD
74 | 24-00950 | 14931271 | 04/05/2024 12:30 | 04/05/2024 15:00 | KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA, NOPE
75 | 24-00054 | 12873597 | 04/08/2024 05:00 | 04/18/2024 17:00 | CHIEF JOSEPH: A-580 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 230KV LINE | CHIEF JOSEPH PH-CHIEF JOSEPH NO 2 230KV LINE, CHIEF JOSEPH: A-580 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 230KV LINE | GEN, NOH, FCRPS
76 | 24-00987 | 14524859 | 04/08/2024 07:00 | 04/08/2024 16:00 | MCNARY: PCB 5214 | MCNARY: PCB 5214 | WOM
77 | 24-03864 | 15143860 | 04/08/2024 07:00 | 04/08/2024 16:00 | PEARL: A-1165 TERMINAL OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | PEARL: PCB A-1165, PEARL: A-1165 TERMINAL OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, PEARL-SHERWOOD SECTION OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, NOPE
78 | 24-02954 | 15038462 | 04/08/2024 07:30 | 04/08/2024 16:00 | LONGVIEW: PCB A-642 INCLUDING 230KV SOUTH AUX BUS | LONGVIEW: PCB A-642 INCLUDING 230KV SOUTH AUX BUS, LONGVIEW: PCB A-642, LONGVIEW: 230KV SOUTH AUX BUS
79 | 24-03940 | 15156034 | 04/08/2024 07:45 | 04/08/2024 17:00 | WENDSON: 115KV MAIN BUS, INCLUDING: PCB B-1784 AND 230/115KV TRANSFORMER #1 AND THREE-PHASE STAION SERVICE TRANSFORMER | WENDSON: 115KV MAIN BUS, WENDSON: PCB B-1778, INCLUDING: PCB B-1784 AND 230/115KV TRANSFORMER #1 AND THREE-PHASE STAION SERVICE TRANSFORMER, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB A-1578, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC
80 | 24-01387 | 14973525 | 04/08/2024 08:00 | 04/10/2024 15:00 | ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272 | LA GRANDE: PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE | ID-NW, GEN, SIG, NWACI, PDCI
81 | 24-01171 | 14833681 | 04/08/2024 08:00 | 04/08/2024 15:30 | LOWER MONUMENTAL: PCB 4599 | LOWER MONUMENTAL: PCB 4599 | WOLM
82 | 24-00809 | 14483959 | 04/08/2024 08:00 | 04/11/2024 15:00 | CHIEF JOSEPH: PCB 4730 BFR | CHIEF JOSEPH: PCB 4730 BFR, CHIEF JOSEPH: PCB 4730 | NOEL, NOH, SOC, WOCN
83 | 24-00479 | 14671270 | 04/08/2024 08:00 | 04/09/2024 15:00 | MALIN: PCB 4186 | MALIN: PCB 4186 | NWACI, RATS, COI
84 | 24-00951 | 14531332 | 04/08/2024 08:00 | 04/08/2024 15:00 | KEELER: 230KV EAST MAIN BUS INCLUDING FUTURE PCB A-866 | KEELER: 230KV EAST MAIN BUS INCLUDING FUTURE PCB A-866, KEELER: PCB A-865, KEELER: PCB A-867, KEELER: 500/230KV TRANSFORMER 2, KEELER: PCB A-899, KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-896, KEELER: 230/115KV TRANSFORMER 3, KEELER: PCB A-897, KEELER: 230KV SVC | SOA, WOCS, SIG, NOPE, LOAD, NWACI
85 | 24-00639 | 14407844 | 04/08/2024 08:00 | 04/09/2024 17:00 | SCHULTZ: PCB 5176 | SCHULTZ: PCB 5176 | WOCN
86 | 24-00755 | 14398405 | 04/08/2024 08:00 | 04/10/2024 15:00 | CENTRAL FERRY: PCB 5388 | CENTRAL FERRY: PCB 5388 | GEN, WOLM
87 | 24-00919 | 14512359 | 04/08/2024 08:00 | 04/10/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, COI, NWACI, GEN, FCRPS
88 | 23-06959 | 13323257 | 04/08/2024 08:00 | 04/10/2024 17:00 | RURAL TAP OF THE HEYBURN-ADELAIDE NO 1 138KV LINE | RURAL TAP OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL-ROE'S CORNER SECTION OF THE HEYBURN ADELAIDE NO1 138KV LINE, HAY MILL-RURAL SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL TAP: UEC 138KV FEEDER NO 1 | SEIL
89 | 24-00900 | 14483986 | 04/09/2024 06:30 | 04/12/2024 19:00 | GRAND COULEE: PCB'S 5886 AND 5582 INCLUDING THE 230KV AUX BUS SECTION 1 | GRAND COULEE: PCB 5582, GRAND COULEE: PCB'S 5886 AND 5582 INCLUDING THE 230KV AUX BUS SECTION 1, GRAND COULEE: 230KV AUX BUS SECTION 1, GRAND COULEE: PCB 5886 | NOH, WOCN
90 | 24-00905 | 14483978 | 04/09/2024 06:30 | 04/12/2024 17:00 | POTHOLES: A-969 TERMINAL OF THE POTHOLES-GRAND COULEE #1 230KV LINE | POTHOLES: A-969 TERMINAL OF THE POTHOLES-GRAND COULEE #1 230KV LINE, POTHOLES-GRAND COULEE NO 1 230KV LINE, POTHOLES: PCB A-969 | NOH
91 | 24-00988 | 14524861 | 04/09/2024 07:00 | 04/09/2024 16:00 | MCNARY: PCB 4231 | MCNARY: PCB 4231 | WOM
92 | 24-00676 | 14408907 | 04/09/2024 07:00 | 04/09/2024 16:00 | MONROE: PCB 4519, INCLUDING PCB 4519 BFR | MONROE: PCB 4519, INCLUDING PCB 4519 BFR | BCHT, BCHW, NOEL, SOC, NI
93 | 24-02166 | 14881031 | 04/09/2024 07:00 | 04/11/2024 17:00 | ALLSTON: PCB 4500 | ALLSTON: PCB 4500 | SOA, NOPE
94 | 24-01169 | 14833704 | 04/09/2024 08:00 | 04/09/2024 15:30 | LOWER MONUMENTAL: PCB 4247 | LOWER MONUMENTAL: PCB 4247 | WOLM
95 | 24-00077 | 14975191 | 04/09/2024 08:00 | 04/09/2024 15:00 | KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE) | KEELER: PCB 4322, KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE), KEELER: PCB 4763, KEELER: 500KV WEST BUS, PEARL-KEELER NO 1 500KV LINE, KEELER: 500KV CAP GROUP 3 | SOA, NOPE, SIG, NWACI, WOCS
96 | 24-04007 |  | 04/09/2024 08:00 | 04/09/2024 16:00 | QUENETT CREEK: PCB A-1914, QUENETT CREEK: PCB A-1917 | QUENETT CREEK: PCB A-1914, QUENETT-TAYLOR LAKE #1 230 KV LINE, QUENETT CREEK: PCB A-1917
97 | 24-03941 | 15154838 | 04/09/2024 11:00 | 04/09/2024 15:30 | WENDSON: 230KV AUX BUS | WENDSON: 230KV AUX BUS, WENDSON: PCB A-1580 | LOAD, SCORC
98 | 24-03942 | 15156068 | 04/09/2024 12:00 | 05/21/2024 17:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs: A-1578, PCB B-1784 AND A-1578 A/B DISC, B-1784 M/B DISC, B-1784 M/B DISC AND THREE-PHASE STATION SERVICE TRANSFORMER #1 | WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs: A-1578, PCB B-1784 AND A-1578 A/B DISC, B-1784 M/B DISC, B-1784 M/B DISC AND THREE-PHASE STATION SERVICE TRANSFORMER #1, WENDSON: PCB A-1578, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC
99 | 24-00669 | 14409086 | 04/10/2024 07:00 | 04/10/2024 16:00 | MONROE: PCB 4516, INCLUDING PCB 4516 BFR | MONROE: PCB 4516, INCLUDING PCB 4516 BFR | BCHT, BCHW, NOEL, SOC, NI
100 | 24-00501 | 14203939 | 04/10/2024 07:00 | 05/08/2024 15:30 | KEELER: A-899 TERMINAL OF KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER: PCB A-899, KEELER: A-899 TERMINAL OF KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER-PGE ST MARYS NO 1 230KV LINE | SOA, SIG, LOAD
101 | 24-00880 | 14676703 | 04/10/2024 07:30 | 04/10/2024 15:30 | INTALCO: PCB A-1016 | INTALCO: PCB A-1016 | BCHT, BCHW
102 | 24-00640 | 14407847 | 04/10/2024 08:00 | 04/11/2024 17:00 | SCHULTZ: PCB 5179 | SCHULTZ: PCB 5179 | NOH, WOCN
103 | 24-01170 | 14833716 | 04/10/2024 08:00 | 04/10/2024 15:30 | LOWER MONUMENTAL: PCB 4259 | LOWER MONUMENTAL: PCB 4259 | WOLM
104 | 24-01925 | 14792639 | 04/10/2024 08:00 | 04/11/2024 15:00 | MARION: PCB 4365 | MARION: PCB 4365 | NWACI
105 | 23-17982 | 14751401 | 04/11/2024 07:00 | 04/11/2024 16:00 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482 | BELL: PCB A-376, BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BELL: PCB B-900, BELL: 13.8KV PCB L-482, BELL-AVA BEACON NO 2 115KV LINE, BELL: 230/115KV TRANSFORMER 6, BELL: 13.8KV GROUNDING TRANSFORMER 6 | MT-NW, WOH
106 | 24-02375 | 14900499 | 04/11/2024 07:30 | 04/11/2024 15:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 INCLUDING PCB A-999 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 INCLUDING PCB A-999, COVINGTON: PCB A-999, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 | RP, NOEL, SOC, WOCN
107 | 24-00573 | 14316772 | 04/11/2024 07:30 | 04/11/2024 16:00 | GRAND COULEE-BELL NO 6 500KV LINE INCLUDING PCB 5313 AND PCB 5316 | GRAND COULEE-BELL NO 6 500KV LINE INCLUDING PCB 5313 AND PCB 5316, GRAND COULEE-BELL NO 6 500KV LINE, BELL: PCB 5313, BELL: PCB 5316 | GEN, MT-NW, SIG, WOH, NOH
108 | 24-01478 | 15065687 | 04/11/2024 08:00 | 04/11/2024 15:30 | KEELER: 230/115KV TRANSFORMER 1 | KEELER: 230/115KV TRANSFORMER 1, KEELER: PCB A-860, KEELER: PCB B-1066, KEELER: 13.8KV PCB 1W STATION SERVICE 1 | SOA, LOAD, NOPE
109 | 24-01112 | 14784339 | 04/11/2024 08:00 | 04/11/2024 15:00 | JONES CANYON: 230KV CAP GROUP 1 SECT 2 INCLUDING PCB A-1689 | JONES CANYON: PCB A-1689, JONES CANYON: 230KV CAP GROUP 1 SECT 2 INCLUDING PCB A-1689, JONES CANYON: 230KV CAP GROUP 1 SECTION 2 | WOCS
110 | 24-00936 | 14512490 | 04/11/2024 10:00 | 04/11/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
111 | 24-00937 | 14512495 | 04/11/2024 11:00 | 04/11/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
112 | 24-01518 | 14784373 | 04/11/2024 12:30 | 04/11/2024 13:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
113 | 24-03014 | 15078983 | 04/11/2024 13:30 | 04/11/2024 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
114 | 24-03455 | 15156219 | 04/15/2024 07:00 | 04/16/2024 16:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | JONES CANYON: PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 | WOCS
115 | 23-00083 | 11346150 | 04/15/2024 07:00 | 04/26/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE | MIDWAY: PCB A-56, MIDWAY-BENTON NO 2 230KV LINE | WOM, GEN, TCLA
116 | 23-13853 | 14277228 | 04/15/2024 07:00 | 04/17/2024 15:00 | KITSAP: 230/115KV TRANSFORMER 2 RELAYS | KITSAP: 230/115KV TRANSFORMER 2, KITSAP: 230/115KV TRANSFORMER 2 RELAYS, KITSAP: PCB B-945, SHELTON-KITSAP NO 4 230KV LINE | LOAD, RP
117 | 24-00699 | 14408655 | 04/15/2024 07:00 | 04/16/2024 12:00 | CUSTER: PCB 4272 BFR, INCLUDING PCB 4272 | CUSTER: PCB 4272 BFR, INCLUDING PCB 4272, CUSTER: PCB 4272 | BCHT, BCHW, NOEL, SOC, NI
118 | 24-02018 | 14950353 | 04/15/2024 08:00 | 04/25/2024 15:00 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, GRANDVIEW: PCB B-920 | GEN, TCLA, LOAD
119 | 23-06240 | 14398021 | 04/15/2024 08:00 | 04/17/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 3 AND 4 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 3 AND 4 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-830, BIG EDDY: PCB A-832, BIG EDDY: PCB A-834, BIG EDDY: PCB A-836, BIG EDDY: PCB A-839, BIG EDDY: PCB A-840, BIG EDDY: PCB A-842, BIG EDDY: PCB A-1310, BIG EDDY: PCB A-838, BIG EDDY: 500/230KV TRANSFORMER 5, BIG EDDY: 230KV CAP GROUP 1 SECTION 1, BIG EDDY: 230KV CAP GROUP 1 SECTION 2, BIG EDDY: LBD A-837, BIG EDDY: LBD A-841, BIG EDDY: 230/13.2KV TRANSFORMER 4, THE DALLES PH-BIG EDDY NO 5 230KV LINE, THE DALLES PH-BIG EDDY NO 6 230KV LINE, BIG EDDY: 230KV MAIN BUS SECTION 4, BIG EDDY: 230KV MAIN BUS SECTION 3, BIG EDDY: PCB A-828, BIG EDDY: 13.2KV PCB L-1478, BIG EDDY: 13.2KV PCB L-1476, HARVALUM-BIG EDDY NO 1 230KV LINE, BIG EDDY-QUENETT CREEK NO 1 230KV LINE | PDCI, WOJD, BGEDY, COI, NWACI, GEN, SIG, FCRPS, WOCS, WOM
120 | 24-01456 | 15154883 | 04/15/2024 08:00 | 04/16/2024 15:00 | PEARL: PCB 4280 BFR | PEARL: PCB 4280 BFR, PEARL: PCB 4280 | SOA, NOPE
121 | 24-00756 | 14398646 | 04/15/2024 08:00 | 04/17/2024 15:00 | CENTRAL FERRY: PCB 5418 | CENTRAL FERRY: PCB 5418 | WOH, WOLM
122 | 24-00247 | 13975578 | 04/15/2024 08:00 | 04/15/2024 16:00 | SANTIAM-ALBANY NO. 1 230KV LINE INCLUDING SANTIAM: PACW 230/69KV TRANSFORMER 2, 230KV LBD A-538, AND 230KV AUX BUS | SANTIAM-ALBANY NO 1 230KV LINE, SANTIAM-ALBANY NO. 1 230KV LINE INCLUDING SANTIAM: PACW 230/69KV TRANSFORMER 2, 230KV LBD A-538, AND 230KV AUX BUS, SANTIAM: 230KV AUX BUS, SANTIAM: PACW 230/69KV TRANSFORMER 2, SANTIAM: LBD A-538, SANTIAM: PCB A-514, SANTIAM: 69KV PCB L-1114, ALBANY: 230/115KV TRANSFORMER 1, ALBANY: PCB B-520 | SCORC, SLAL
123 | 24-00641 | 14407853 | 04/15/2024 08:00 | 04/18/2024 16:00 | SCHULTZ: PCB 5170 | SCHULTZ: PCB 5170 | NOH, WOCN
124 | 24-01168 | 14833767 | 04/15/2024 08:00 | 04/18/2024 15:00 | LOWER MONUMENTAL: PCB 4600 INCLUDING 500KV REACTOR 1 | LOWER MONUMENTAL: PCB 4600 INCLUDING 500KV REACTOR 1
125 | 24-00408 | 14894222 | 04/15/2024 08:00 | 04/18/2024 16:00 | CARLTON: 230/115KV TRANSFORMER 1 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA
126 | 24-02896 | 15033239 | 04/16/2024 07:00 | 04/18/2024 16:00 | OLYMPIA: MAIN BUS PCB'S A-1776 AND A-1777 | OLYMPIA: MAIN BUS PCB'S A-1776 AND A-1777, OLYMPIA: PCB A-1776, OLYMPIA: PCB A-1777 | RP, WOCN, SOA
127 | 24-02168 | 14881044 | 04/16/2024 07:00 | 04/18/2024 17:00 | ALLSTON: PCB 4504 | ALLSTON: PCB 4504 | SOA, NOPE
128 | 24-01239 | 14668954 | 04/16/2024 07:00 | 04/16/2024 14:00 | GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND 161/115KV XFMR #4 | GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND 161/115KV XFMR #4, DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND NO 1 161KV LINE | GEN, LOAD, SEIL
129 | 24-01291 | 14743938 | 04/16/2024 07:00 | 04/16/2024 15:00 | BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE INCLUDING BELL: 115KV AUX BUS AND PCB B-362 | BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE INCLUDING BELL: 115KV AUX BUS AND PCB B-362, BELL: 115KV AUX BUS, BELL: PCB B-362, BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE
130 | 24-00065 | 12879880 | 04/16/2024 08:00 | 04/17/2024 16:00 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4058 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4058 | NWACI, COI, PDCI
131 | 24-02209 | 14881071 | 04/16/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5028, GRIZZLY: PCB 5031 | GRIZZLY: PCB 5028, GRIZZLY: PCB 5031 | NWACI, WOJD
132 | 24-00248 | 13990438 | 04/16/2024 08:00 | 04/16/2024 16:00 | TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO. 1 230KV LINE INCLUDING SANTIAM: 230KV AUX BUS AND PCB A-528 | TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE, TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO. 1 230KV LINE INCLUDING SANTIAM: 230KV AUX BUS AND PCB A-528 , SANTIAM: 230KV AUX BUS, SANTIAM: PCB A-528, SANTIAM: PCB A-530 | GEN, WOCS, WOM, SLAL, SCORC
133 | 24-04022 |  | 04/16/2024 08:00 | 04/16/2024 16:00 | QUENETT CREEK: PCB A-1914, QUENETT CREEK: PCB A-1911 | QUENETT CREEK: PCB A-1914, QUENETT-TAYLOR LAKE #2 230 KV LINE, QUENETT CREEK: PCB A-1911
134 | 24-03816 | 15142034 | 04/16/2024 12:00 | 04/16/2024 15:00 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913, DEER PARK: PCB B-1913, DEER PARK: 115KV CAP GROUP 1
135 | 24-00706 | 14408657 | 04/16/2024 12:00 | 04/17/2024 16:00 | CUSTER: PCB 4268 BFR, INCLUDING PCB 4268 | CUSTER: PCB 4268 BFR, INCLUDING PCB 4268, CUSTER: PCB 4268 | BCHT, BCHW, NOEL, SOC, NI
136 | 24-03788 | 15143075 | 04/17/2024 07:00 | 04/17/2024 09:00 | BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBDS A-925 AND A-926 | BELL: 230KV CAP GROUP 10 SECTION 1, BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBDS A-925 AND A-926, BELL: 230KV CAP GROUP 10 SECTION 2, BELL: LBD A-925, BELL: LBD A-926, BELL: PCB A-368 | MT-NW, WOH
137 | 24-01292 | 14784514 | 04/17/2024 07:00 | 04/17/2024 15:00 | BELL: 230KV MAIN BUS SECT 0 INCLUDING 230KV MAIN BUS RING SECT, PCB A-362, PCB A-375, AND PCB A-377 | BELL: 230KV MAIN BUS SECT 0 INCLUDING 230KV MAIN BUS RING SECT, PCB A-362, PCB A-375, AND PCB A-377 , BELL: 230KV MAIN BUS SECTION 0, BELL: 230KV MAIN BUS RING SECTION, BELL: PCB A-362, BELL: PCB A-375, BELL: PCB A-377 | MT-NW, WOH
138 | 23-06253 |  | 04/17/2024 08:00 | 04/17/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTIONS 3 AND 4 INCLUDING PCB'S A-830, A-832, A-834, A-836, A-840, A-842, A-1310 AND A-838 | BIG EDDY: 230KV MAIN BUS SECTIONS 3 AND 4 INCLUDING PCB'S A-830, A-832, A-834, A-836, A-840, A-842, A-1310 AND A-838
139 | 24-03790 | 15157092 | 04/17/2024 09:00 | 04/17/2024 11:00 | BELL: 230KV CAP GROUP 9 SECTIONS 1 2 AND 3 INCLUDING PCBS A-931 A-932 AND A-933 | BELL: PCB A-931, BELL: 230KV CAP GROUP 9 SECTIONS 1 2 AND 3 INCLUDING PCBS A-931 A-932 AND A-933, BELL: PCB A-932, BELL: PCB A-933, BELL: 230KV CAP GROUP 9 SECTION 1, BELL: 230KV CAP GROUP 9 SECTION 2, BELL: 230KV CAP GROUP 9 SECTION 3, BELL: 230KV CAP GROUP 9 REACTIVE BUS, BELL: PCB A-378 | MT-NW, WOH
140 | 24-01293 | 14744115 | 04/18/2024 07:00 | 04/18/2024 15:00 | BELL: 230KV AUX BUS SECTION 2 INCLUDING 230KV CAP GROUP 10 SECTIONS 1 AND 2 | BELL: 230KV AUX BUS SECTION 2 INCLUDING 230KV CAP GROUP 10 SECTIONS 1 AND 2, BELL: 230KV AUX BUS SECTION 2, BELL: 230KV CAP GROUP 10 SECTION 1, BELL: 230KV CAP GROUP 10 SECTION 2, BELL: PCB A-368 | MT-NW, WOH
141 | 24-02640 | 14980122 | 04/18/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5028 | GRIZZLY: PCB 5028 | NWACI, WOJD
142 | 24-02633 | 14980118 | 04/18/2024 08:00 | 05/08/2024 15:00 | GRIZZLY: PCB 5031 | GRIZZLY: PCB 5031 | NWACI, WOJD
143 | 24-00067 | 14694554 | 04/18/2024 08:00 | 05/08/2024 16:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE, SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-MARION NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, WOM, WOS, WOCS
144 | 24-03795 | 15160925 | 04/18/2024 10:00 | 04/18/2024 12:00 | TRENTWOOD: 115KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB B-1935, PCB B-1937, PCB B-1938 AND THE 115KV REACTIVE BUS | TRENTWOOD: 115KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB B-1935, PCB B-1937, PCB B-1938 AND THE 115KV REACTIVE BUS, TRENTWOOD: 115KV CAP GROUP 1 SECTION 1, TRENTWOOD: 115KV CAP GROUP 1 SECTION 2, TRENTWOOD: PCB B-1935, TRENTWOOD: PCB B-1937, TRENTWOOD: PCB B-1938, TRENTWOOD: 115KV REACTIVE BUS | LOAD
145 | 24-02213 | 15114621 | 04/19/2024 06:00 | 04/19/2024 18:00 | TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING PCB B-504 , THE B-504 M/B DISCONNECT, AND THE RICHLAND 115KV A/B | RICHLAND: CITY OF RICHLAND 115KV FEEDER 1, TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING PCB B-504 , THE B-504 M/B DISCONNECT, AND THE RICHLAND 115KV A/B, CITY OF RICHLAND TAP TO BADGER CANYON-RICHLAND NO 1 115KV LINE, RICHLAND: PCB B-504, TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE, TAPTEAL: CITY OF RICHLAND 115KV FEEDER 2, RICHLAND: 115KV AUX BUS | TCLA
146 | 24-01140 |  | 04/19/2024 07:00 | 05/23/2024 14:00 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD: PCB A-221 | GEN, LOAD, MT-NW, FLAT
147 | 24-00968 | 14522858 | 04/20/2024 08:00 | 04/25/2024 16:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | SIFTON: PCB B-1511, NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, SIFTON: 230/115KV TRANSFORMER 1, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14 | SOA, GEN, WOCS, LOAD
148 | 24-00969 | 14522902 | 04/20/2024 08:00 | 04/25/2024 16:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
149 | 24-02734 | 15075005 | 04/21/2024 00:00 | 04/21/2024 10:00 | DEMOSS: 115/69KV TRANSFORMER 1 INCLUDING PCB'S B-2078 & B-2081, 69KV MAIN AND AUX BUSSES, 69KV PCB'S L-1199, L-1201, L-1204, L-1208, L-1209, L-1211, THE 69KV REACTORS 1 & 2 AND THE 69KV CAP GROUP 1 | DEMOSS: 115/69KV TRANSFORMER 1 INCLUDING PCB'S B-2078 & B-2081, 69KV MAIN AND AUX BUSSES, 69KV PCB'S L-1199, L-1201, L-1204, L-1208, L-1209, L-1211, THE 69KV REACTORS 1 & 2 AND THE 69KV CAP GROUP 1, DE MOSS: 115/69KV TRANSFORMER 1, DE MOSS: PCB B-2078, DE MOSS: PCB B-2081, DE MOSS: 69KV MAIN BUS, DE MOSS: 69KV AUX BUS, DE MOSS: 69KV PCB L-1199, DE MOSS: 69KV PCB L-1201, DE MOSS: 69KV PCB L-1204, DE MOSS: 69KV PCB L-1208, DE MOSS: 69KV PCB L-1209, DE MOSS: 69KV PCB L-1211, DE MOSS: 69KV REACTOR 1, DE MOSS: 69KV REACTOR 2, DEMOSS: 69KV CAP GROUP 1 | GEN, LOAD
150 | 24-02216 | 15153764 | 04/22/2024 06:00 | 04/23/2024 17:00 | RICHLAND: 115KV MAIN BUS INCLUDING RICHLAND PCB B-504 | RICHLAND: PCB B-312, RICHLAND: 115KV MAIN BUS INCLUDING RICHLAND PCB B-504, RICHLAND: PCB B-502, RICHLAND: PCB B-506, RICHLAND: CAP GROUP 1 SECTION 1 (NEW), RICHLAND: CAP GROUP 2 SECTION 1 (NEW), RICHLAND: PCB B-504, RICHLAND: 115KV MAIN BUS, CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | TCLA, LOAD
151 | 24-03912 |  | 04/22/2024 06:00 | 04/23/2024 17:00 | CITY VIEW-RICHLAND SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE | CITY VIEW-RICHLAND SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE | TCLA, LOAD
152 | 24-03626 | 15156697 | 04/22/2024 07:00 | 04/22/2024 16:00 | BOARDMAN-B-1103 SECTION OF THE BOARDMAN-ALKALI NO 1 115KV LINE | BOARDMAN: PCB B-1102, BOARDMAN-B-1103 SECTION OF THE BOARDMAN-ALKALI NO 1 115KV LINE, BOARDMAN-HORN BUTTE SECTION OF BOARDMAN-ALKALI NO 1 115KV LINE
153 | 24-03030 | 15156653 | 04/22/2024 07:00 | 04/22/2024 17:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-640, 230/13.8KV TRANSFORMER 1, 13.8KV SS TRANSFORMERS AND 13.8KV GROUNDING BANK | LONGVIEW: 230KV SOUTH MAIN BUS, LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-640, 230/13.8KV TRANSFORMER 1, 13.8KV SS TRANSFORMERS AND 13.8KV GROUNDING BANK, LONGVIEW: PCB A-640, LONGVIEW: PCB A-98, LONGVIEW: PCB A-100, LONGVIEW: PCB A-104, LONGVIEW: PCB A-106, LONGVIEW: PCB A-1960, LONGVIEW-ALLSTON NO 1 230KV LINE, LONGVIEW-ALLSTON NO 2 230KV LINE, LONGVIEW: 230/115KV TRANSFORMER 3, LONGVIEW: PCB B-328 | SOA, LOAD, NOPE
154 | 24-02169 | 14881050 | 04/22/2024 07:00 | 04/23/2024 17:00 | ALLSTON: PCB 4687 | ALLSTON: PCB 4687 | SOA, NOPE
155 | 23-02863 | 12908992 | 04/22/2024 07:00 | 06/28/2024 16:00 | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC | GARRISON: PCB A-880, A-880 T/S DISC AND A-883 A/B SECT DISC, GARRISON: PCB A-880 | MT-NW
156 | 24-00357 | 14063175 | 04/22/2024 07:00 | 04/24/2024 15:00 | PAUL: PCB 4544 | PAUL: PCB 4544 | PA, WOCS
157 | 23-02776 | 12908900 | 04/22/2024 07:00 | 06/28/2024 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
158 | 24-01138 | 14736957 | 04/22/2024 08:00 | 05/02/2024 15:00 | ST JOHNS-KEELER NO 2 115KV LINE | ST JOHNS-KEELER NO 2 115KV LINE | LOAD, SOA, NOPE
159 | 23-08465 | 13974231 | 04/22/2024 08:00 | 04/25/2024 15:00 | HATWAI: 500/230KV TRANSFORMER 1 | HATWAI: 500/230KV TRANSFORMER 1 | ID-NW, MT-NW
160 | 24-01134 | 14767418 | 04/22/2024 08:00 | 05/02/2024 15:00 | ROSS-ST JOHNS NO 1 230KV LINE | ROSS-ST JOHNS NO 1 230KV LINE, ST JOHNS: PCB B-48, ROSS: PCB A-32, ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE, NOEL, SOC
161 | 24-00444 | 14156390 | 04/22/2024 08:00 | 05/02/2024 18:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE
162 | 24-01050 | 14671648 | 04/22/2024 08:00 | 04/26/2024 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE | SCHULTZ-WAUTOMA NO 1 500KV LINE, SCHULTZ: PCB 5170, SCHULTZ: PCB 5173, WAUTOMA: PCB 5244, WAUTOMA: PCB 5241 | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
163 | 24-02410 | 14935590 | 04/22/2024 08:00 | 04/26/2024 17:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE, REDMOND: PCB A-252 | LOAD, COR, NWACI
164 | 24-00074 | 14805699 | 04/22/2024 08:00 | 04/23/2024 16:00 | FOREST GROVE: PCB B-441 | FOREST GROVE: PCB B-441, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 1 | SOA
165 | 24-01232 |  | 04/24/2024 07:00 | 04/24/2024 16:00 | MCNARY: 230KV MAIN BUS SECTION 3 | MCNARY: 230KV MAIN BUS SECTION 3, MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4, MCNARY PH-MCNARY NO 5 230KV LINE, MCNARY-PACW WALLULA NO 2 230KV LINE, MCNARY: 230/115KV TRANSFORMER 9, MCNARY: 345/230KV TRANSFORMER 8 | WOCS, WOM, FCRPS, SOA, NOPE, LOAD, GEN
166 | 24-02170 | 14881053 | 04/24/2024 07:00 | 04/25/2024 17:00 | ALLSTON: PCB 4690 | ALLSTON: PCB 4690 | SOA, NOPE
167 | 24-01240 | 14671194 | 04/24/2024 08:00 | 04/24/2024 15:00 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, INCLUDING THE ELLENSBURG 115KV WEST AUX BUS AND PCB B-182 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, ELLENSBURG: PCB B-182, INCLUDING THE ELLENSBURG 115KV WEST AUX BUS AND PCB B-182, ELLENSBURG: 115KV WEST AUX BUS | TCLA
168 | 24-03393 | 15087158 | 04/24/2024 08:00 | 04/24/2024 12:00 | SANDCREEK: 115KV CAP GROUP 1 SECTIONS 1, 2 AND 3 INCLUDING 115KV REACTIVE BUS AND LBD B-1364, LBD B-1365 AND LBD B-1369 | SANDCREEK: 115KV CAP GROUP 1 SECTIONS 1, 2 AND 3 INCLUDING 115KV REACTIVE BUS AND LBD B-1364, LBD B-1365 AND LBD B-1369 , SAND CREEK: 115KV CAP GROUP 1 SECTION 1, SAND CREEK: 115KV CAP GROUP 1 SECTION 2, SAND CREEK: 115KV CAP GROUP 1 SECTION 3, SAND CREEK: LBD B-1364, SAND CREEK: LBD B-1365, SAND CREEK: LBD B-1369
169 | 24-03396 | 15086840 | 04/24/2024 14:00 | 04/24/2024 16:00 | BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1 INCLUDING PCB B-1777 | BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1, BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1 INCLUDING PCB B-1777, BONNERS FERRY: PCB B-1777
170 | 23-16097 | 14027816 | 04/25/2024 07:00 | 05/02/2024 18:00 | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | COI
171 | 24-03384 | 15087189 | 04/25/2024 08:00 | 04/25/2024 10:00 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817, SANDPOINT: 115KV CAP GROUP 1, SANDPOINT: PCB B-817
172 | 24-01149 | 14676717 | 04/25/2024 10:00 | 04/25/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
173 | 24-00815 | 14450273 | 04/25/2024 10:30 | 04/25/2024 12:30 | CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1 | CAPTAIN JACK: PCB 4998, CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1, CAPTAIN JACK: 500KV REACTOR 1 | COI, NWACI
174 | 24-01150 | 14677155 | 04/25/2024 11:00 | 04/25/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
175 | 24-03630 | 15157108 | 04/25/2024 12:00 | 04/25/2024 14:00 | CUSICK: 230KV CAP GROUP 1 | CUSICK: 230KV CAP GROUP 1 | SOB
176 | 24-01519 | 14784399 | 04/25/2024 12:30 | 04/25/2024 13:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
177 | 24-03015 | 15078986 | 04/25/2024 13:30 | 04/25/2024 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
178 | 23-12049 | 13946533 | 04/26/2024 12:00 | 04/26/2024 16:00 | LANE: 230/115KV TRANSFORMER 1 | LANE: 230/115KV TRANSFORMER 1 | EWEB
179 | 24-00592 | 14311474 | 04/26/2024 16:30 | 04/26/2024 17:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH-MCNARY NO 5 230KV LINE | GEN, FCRPS, WOM
180 | 24-00883 | 14482777 | 04/28/2024 22:00 | 05/31/2024 19:00 | GRAND COULEE: 115/11.95KV TRANSFORMER BANK KN5A INCLUDING PCB'S 2272 AND 3522 | GRAND COULEE: 115/11.95KV TRANSFORMER BANK KN5A INCLUDING PCB'S 2272 AND 3522, GRAND COULEE: PCB 2272
181 | 24-01018 | 14531242 | 04/29/2024 07:00 | 05/02/2024 16:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, (GROUNDED) | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, ALVEY: PCB 5103, (GROUNDED) | NWACI, COI, SCORC
182 | 24-02171 | 14885545 | 04/29/2024 07:00 | 04/30/2024 17:00 | ALLSTON: PCB 4696 | ALLSTON: PCB 4696 | SOA, NOPE
183 | 24-00358 | 14063176 | 04/29/2024 07:00 | 05/01/2024 15:00 | PAUL: PCB 4530 | PAUL: PCB 4530 | RP, GEN, PA, WOCS
184 | 24-01200 | 14854016 | 04/29/2024 07:30 | 05/02/2024 15:00 | FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2 | FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2, FRANKLIN: 115KV CAP GROUP 1 SECTION 2, FRANKLIN: PCB B-2113, FRANKLIN: PCB B-2114, FRANKLIN: 115KV AUX BUS, FRANKLIN: PCB B-2112 | TCLA
185 | 24-03247 | 15163375 | 04/29/2024 08:00 | 05/09/2024 15:00 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | NWACI
186 | 24-02340 | 14996481 | 04/29/2024 08:00 | 05/03/2024 15:00 | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE
187 | 24-00926 | 14525021 | 04/29/2024 08:00 | 05/02/2024 15:00 | TAFT: 500KV REACTOR #1 RELAYS, INCLUDING PCB 4145 BFR | TAFT: PCB 4145, TAFT: 500KV REACTOR #1 RELAYS, INCLUDING PCB 4145 BFR | MT-NW, WOH
188 | 24-00757 | 14484144 | 04/29/2024 08:00 | 05/01/2024 15:00 | CENTRAL FERRY: PCB 5412 | CENTRAL FERRY: PCB 5412 | WOH, WOLM
189 | 24-00830 | 14484178 | 04/29/2024 08:00 | 05/02/2024 15:00 | PAUL: PCB 4554 SEL-352 BFR | PAUL: PCB 4554 SEL-352 BFR, PAUL: PCB 4554 | RP, WOCS, SOA
190 | 24-00069 | 12858157 | 04/29/2024 08:00 | 05/03/2024 16:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE, REDMOND: PCB A-252 | NWACI, PDCI, COI, LOAD
191 | 24-00709 | 14407864 | 04/29/2024 08:00 | 05/02/2024 17:00 | SCHULTZ: PCB 5160 | SCHULTZ: PCB 5160 | WOCN
192 | 24-03762 | 15128067 | 04/29/2024 08:00 | 05/15/2024 17:00 | ASHE-HANFORD NO 1 500KV LINE | ASHE-HANFORD NO 1 500KV LINE, HANFORD: PCB 4107, HANFORD: PCB 4104, ASHE: PCB 4901, ASHE: PCB 4898 | NOH, SIG, WOM, WOS, NWACI, FCRPS
193 | 24-03906 |  | 04/29/2024 09:00 | 05/02/2024 15:00 | CGS BACKUP BANK-451B SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE | CGS BACKUP BANK-451B SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE
194 | 24-01010 | 14531240 | 04/30/2024 07:00 | 04/30/2024 16:00 | HORSE HEAVEN: PCB B-334 | HORSE HEAVEN: PCB B-334
195 | 24-02181 | 14881080 | 04/30/2024 08:00 | 05/13/2024 15:00 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236, WAUTOMA: 500KV REACTOR 1, WAUTOMA: 500KV EAST BUS, WAUTOMA: PCB 5236 | NOH, WOCN
196 | 24-00485 | 14881262 | 04/30/2024 08:00 | 05/02/2024 15:00 | CANBY: PCB A-1391 | CANBY: PCB A-1391 | RATS, NWACI
197 | 24-03939 | 15156929 | 04/30/2024 09:00 | 04/30/2024 15:00 | TROUTDALE: PCB A-293 INCLUDING THE 230KV CAP GROUP 8 SECTION 3 | TROUTDALE: PCB A-293 INCLUDING THE 230KV CAP GROUP 8 SECTION 3, TROUTDALE: PCB A-293, TROUTDALE: 230KV CAP GROUP 8 SECTION 3 | WOCS