## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
18-00033 |  | 09/26/2018 13:00 | 09/25/2025 15:30 | ROGUE: 115/23KV TRANSFORMERS 2 | ROGUE: 115/23KV TRANSFORMERS 2, ROGUE: 115/23KV TRANSFORMER 2
18-00034 |  | 10/07/2018 12:00 | 10/30/2025 17:00 | THE DALLES PH: 230/13.2KV BANK 10 | THE DALLES PH: 230/13.2KV BANK 10
23-08577 | 13856830 | 04/30/2023 18:57 | 01/01/2027 23:59 | VALHALLA: PCB B-280 | VALHALLA: PCB B-280
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 14853282 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
23-18564 |  | 12/20/2023 14:56 | 10/01/2025 23:59 | PACW - BURNS: 500KV SERIES CAP SAGMENT 1 & 2 | BURNS: 500KV SERIES CAP SEGMENT 1, BURNS: 500KV SERIES CAP SEGMENT 2 | NWACI
24-03188 | 15061704 | 01/15/2024 18:00 | 09/30/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
24-03190 | 15142411 | 01/15/2024 18:00 | 09/30/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
24-15794 | 17996552 | 09/26/2024 11:00 | 10/13/2025 12:00 | BOUNDARY: PCB A-1226
24-16579 | 17543676 | 10/16/2024 08:00 | 10/31/2025 15:00 | BOUNDARY: PCB A-1230 |  | SOB
25-04441 |  | 02/01/2025 08:00 | 11/03/2025 08:00 | PG&E: TABLE MOUNTAIN SERIES CAPACITOR - ROUND MOUNTAIN NO. 1 |  | COI
25-05571 | 17476640 | 02/24/2025 12:00 | 12/31/2025 23:00 | GARRISON-ANACONDA NO 1 230KV LINE |  | MT-NW
25-00087 | 17991999 | 02/24/2025 18:00 | 08/20/2025 16:30 | PONDEROSA: A-1811 TO A-1840 SECTION OF THE 230KV NORTH MAIN BUS INCLUDING A-1840 DISCONNECT | PONDEROSA: PCB A-1844 | COR
25-06862 |  | 04/01/2025 10:00 | 10/01/2025 17:00 | MCNARY: A-436 TERMINAL OF MCNARY-WANAPA NO 1 230KV LINE
25-07665 | 17719104 | 04/07/2025 10:30 | 10/31/2025 15:00 | SATSOP PARK-COSMOPOLIS NO 1 115KV LINE |  | LOAD, SOA, NOPE
25-07749 | 18035207 | 04/08/2025 14:30 | 10/08/2025 15:00 | MCNARY: A-3025 DSC | MCNARY: PCB A-3025, MCNARY: 230KV CAP GROUP 1 SECTION 2 | LOAD
25-08063 |  | 04/16/2025 08:40 | 10/01/2025 15:00 | PACIRAS CONTROLLER B | MUNRO: RAS AC-B LOI SIGNAL 2 TO/FROM PG&E SAN FRANCISCO CKT 7B67, MUNRO: RAS AC-B LOI SIGNAL 1 TO/FROM PG&E SAN FRANCISCO CKT 7B65, MUNRO: RAS DC-B PG&E SNFO REAC CKT 7E64
25-03624 | 17293824 | 04/21/2025 08:00 | 10/06/2025 11:00 | CARDWELL: B-1540 TERMINAL OF CARDWELL-MEEKER 115KV LINE | CARDWELL-MEEKER 115KV LINE, CARDWELL: PCB B-1540, MEEKER-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-08817 |  | 05/03/2025 06:00 | 12/31/2025 15:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-08931 | 17894564 | 05/12/2025 06:30 | 11/20/2025 17:00 | MCNARY: A-408 TERMINAL OF MCNARY PH-MCNARY NO 2 230KV LINE
25-00205 | 17095338 | 05/30/2025 08:00 | 08/02/2025 15:00 | KNAPPA-FERN HILL SECTION OF DRISCOLL-ASTORIA NO 1 115KV LINE INCLUDING (PACW) B-1813 DISCONNECT | KNAPPA-FERN HILL SECTION OF DRISCOLL-ASTORIA NO 1 115KV LINE | SOA
25-06917 | 17616764 | 06/02/2025 08:00 | 10/30/2025 16:00 | -COWLITZ- 7TH AVE-EAST KELSO 115KV LINE | 7TH AVE-EAST KELSO 115KV LINE | LOAD
25-08691 | 17726028 | 06/09/2025 08:00 | 09/04/2025 18:00 | SCL - BOTHELL: 230/115KV BANK 61 |  | SOC, NOEL
25-07844 | 17738348 | 06/16/2025 08:00 | 10/30/2025 16:00 | COLUMBIA: 230/115KV TRANSFORMER 1 |  | LOAD, WOCN, CI, NOH
25-06096 | 17530014 | 06/26/2025 16:00 | 11/14/2025 08:00 | ROCKY REACH: 345/230KV TRANSFORMER 1 INCLUDING MODS A-3017, A-3016 AND THE A-1001 DISCONNECTS | ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN
25-00849 | 17326275 | 06/30/2025 08:00 | 08/08/2025 15:00 | MARTIN CREEK: 230/115KV TRANSFORMER 1 INCLUDING PCB A-443 | MARTIN CREEK: 230/115KV TRANSFORMER 1, MARTIN CREEK: PCB A-443, MARTIN CREEK TAP TO ALVEY-FAIRVIEW NO 1 230KV LINE | SCORC, LOAD
25-08311 | 17805832 | 07/08/2025 02:00 | 08/22/2025 16:00 | COLUMBIA-(GPUD) STRUCTURE 1 SECTION OF THE COLUMBIA-ROCKY FORD NO 1 115KV LINE INCLUDING COLUMBIA: PCB B-400 | COLUMBIA: PCB B-400
24-01040 | 14695728 | 07/13/2025 06:00 | 08/01/2025 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-00981 | 17133701 | 07/14/2025 04:30 | 09/26/2025 15:00 | LIBBY: A-1590 TERMINAL OF LIBBY PH-LIBBY NO 1 230KV LINE | LIBBY PH-LIBBY NO 1 230KV LINE | GEN, FCRPS
25-09539 | 17943014 | 07/14/2025 08:00 | 09/28/2025 16:00 | PSE - ROCKY REACH-CASCADE 230KV LINE
25-01212 | 17298825 | 07/15/2025 08:00 | 08/14/2025 15:00 | PEARL: PCB A-1167 | PEARL: 230KV AUX BUS
25-01288 |  | 07/21/2025 06:00 | 08/11/2025 07:00 | -PACW- CPUD RUNYAN-PACW TROUTDALE NO 1 115KV LINE | RUNYAN: 115-236 DSC | LOAD, SOA, WOCS
25-04210 | 17337282 | 07/21/2025 08:00 | 08/01/2025 17:00 | NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | GEN, LOAD, WOCS, FCRPS, SOA, NOPE
25-03580 | 17412874 | 07/21/2025 08:00 | 08/01/2025 15:00 | RAYMOND-HENKLE ST. NO 1 115KV LINE |  | LOAD, PA
25-08914 | 17895686 | 07/25/2025 08:00 | 08/20/2025 15:00 | CARLTON: PCB B-131 INCLUDING 115KV AUX BUS | CARLTON TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
25-00751 | 16847557 | 07/27/2025 22:00 | 08/01/2025 17:00 | GRAND COULEE: PCB 2292 |  | GEN, NOH, WOCN
25-05168 | 17724213 | 07/28/2025 07:00 | 08/01/2025 17:00 | EUGENE-DILLARD SECTION OF EUGENE-ALVEY NO 2 115KV LINE
25-00069 |  | 07/28/2025 08:00 | 08/01/2025 15:00 | -PACW- PONDEROSA (PACW) - BALDWIN ROAD NO.1, 115KV LINE | -PACW- PONDEROSA (PACW) - BALDWIN ROAD NO.1, 115KV LINE
25-08371 | 17292240 | 07/28/2025 08:00 | 08/29/2025 16:00 | BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE |  | SOA, NOPE, NWACI, LOAD, WOCS
25-03577 |  | 07/28/2025 08:00 | 08/29/2025 16:00 | -PGE- BETHEL-MONITOR-MCLOUGHLIN 230KV LINE |  | NWACI, NOPE, SOA, WOCS
25-09631 | 17976791 | 07/31/2025 08:00 | 08/06/2025 16:00 | SCL CEDAR FALLS-RATTLESNAKE LAKE 115KV LINE
25-01560 | 17575025 | 07/31/2025 15:00 | 08/07/2025 15:00 | FRANKLIN: PCB B-610
25-04424 | 17359776 | 08/01/2025 07:00 | 08/01/2025 16:30 | OSTRANDER: 500KV EAST BUS INCLUDING PCB 4838, 500KV REACTORS 1 AND 2 | OSTRANDER: 500KV EAST BUS, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2, OSTRANDER: PCB 4838, OSTRANDER: PCB 5139, OSTRANDER: PCB 4439, OSTRANDER: PCB 4448 | WOCS, SOA, WOCN, NOPE
25-00463 | 16842566 | 08/01/2025 08:00 | 08/01/2025 17:00 | RAINIER-ALLSTON SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | ALLSTON: PCB B-1901 | SOA, NOPE
25-04425 | 17359851 | 08/01/2025 16:30 | 11/12/2025 08:00 | OSTRANDER: 500KV REACTORS 1 AND 2 INCLUDING PCB 4838 | OSTRANDER: PCB 4838, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2 | WOCS
25-00314 | 16318301 | 08/03/2025 22:00 | 08/07/2025 17:00 | GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-00315 | 16324792 | 08/04/2025 05:00 | 08/04/2025 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE 1 500KV LINE | LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | GEN, WOLM
25-02447 | 17191468 | 08/04/2025 07:00 | 08/04/2025 08:00 | BROADVIEW-GARRISON NO 2 500KV LINE | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, GEN
25-00132 | 15784704 | 08/04/2025 07:00 | 08/08/2025 16:30 | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING THE A-481 DISCONNECT | COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE, TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TPWR: PCB 20-04, COVINGTON: PCB A-80 | RP, SOA, NOPE, SOC, LOAD, NOEL
25-07928 | 17759086 | 08/04/2025 07:00 | 08/22/2025 17:00 | BONNEVILLE 2ND POWERHOUSE: TRANSFORMER 11 | BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | GEN, FCRPS, WOCS
25-06936 | 17617673 | 08/04/2025 07:00 | 08/14/2025 16:00 | COWLITZ: B-344 TERMINAL OF 7TH AVE-COWLITZ 115KV LINE | 7TH AVE-COWLITZ 115KV LINE, WASHINGTON WAY-7TH AVE 115KV LINE | LOAD
25-08296 |  | 08/04/2025 07:00 | 08/22/2025 17:00 | NORTH BONNEVILLE: A-10 TERMINAL OF BONNEVILLE PH-NORTH BONNEVILLE NO.3 230KV LINE | NORTH BONNEVILLE: PCB A-10 | WOCS
25-05221 | 17677463 | 08/04/2025 07:00 | 08/06/2025 17:00 | THURSTON-MCKENZIE (EWEB) NO 1 115KV LINE |  | EWEB
25-02337 | 17208089 | 08/04/2025 07:00 | 08/08/2025 15:00 | TAFT-BELL NO 1 500KV LINE INCLUDING BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1 AND PCB 5320 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, BELL: 500KV REACTOR 1, BELL: PCB 4559, BELL: PCB 5301, BELL: PCB 5304, BELL: PCB 5320, TAFT-BELL NO 1 500KV LINE | WOH, MT-NW, GEN, SIG
25-09078 | 17900872 | 08/04/2025 07:00 | 08/04/2025 15:00 | COVINGTON-WHITE RIVER NO 2 230KV LINE INCLUDING COVINGTON: PCB A-72 AND 230KV A/B SECTION 2 | COVINGTON-WHITE RIVER NO 2 230KV LINE, COVINGTON: PCB A-72, COVINGTON: 230KV AUX BUS SECTION 2, COVINGTON: PCB A-70 | NOEL, RP, SOC
25-00466 | 16929729 | 08/04/2025 07:00 | 08/07/2025 17:00 | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | ST JOHNS: PCB B-40 | LOAD, SOA, NOPE
25-04058 | 17400549 | 08/04/2025 07:00 | 08/25/2025 06:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE |  | GEN, MT-NW, FLAT
25-02360 | 17191465 | 08/04/2025 07:00 | 08/07/2025 14:00 | GARRISON: 500KV REACTOR 2 |  | MT-NW
25-05294 | 17482922 | 08/04/2025 07:00 | 08/04/2025 16:00 | TAFT: GROUND SWITCH 7812 | TAFT-BELL NO 1 500KV LINE | GEN, MT-NW, SIG, WOH, RP
25-07238 |  | 08/04/2025 07:00 | 08/05/2025 17:00 | COLUMBIA: PCB A-152 |  | WOCN, NOH
25-04233 | 17338228 | 08/04/2025 07:30 | 08/04/2025 16:00 | COYOTE SPRINGS: PCB 5187 |  | WOLM, WOM
25-08016 | 17799081 | 08/04/2025 07:30 | 08/08/2025 17:30 | REEDSPORT: 115KV MAIN BUS INCLUDING 115/12.5KV TRANSFORMER BANK 2, PCB'S B-315, 316, 318, 320, 115KV CAP GROUP 1 SECT 1 AND THE REEDSPORT-LAKESIDE SECTION OF THE REEDSPORT-FAIRVIEW NO 1 115KV LINE | REEDSPORT: 115KV MAIN BUS, REEDSPORT: 115/12.5KV TRANSFORMER 2, REEDSPORT: PCB B-315, REEDSPORT: PCB B-316, REEDSPORT: PCB B-318, REEDSPORT: PCB B-320, REEDSPORT: 115KV CAP GROUP 1 | LOAD, SCORC
25-01294 | 17299274 | 08/04/2025 07:30 | 08/07/2025 15:00 | GOSHEN-DRUMMOND NO 1 161KV LINE INCLUDING DRUMMOND: 161/115KV TRANSFORMER 4 | DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND NO 1 161KV LINE | GEN, LOAD, SEIL
25-07979 | 17777976 | 08/04/2025 08:00 | 08/08/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-08694 | 17810358 | 08/04/2025 08:00 | 08/15/2025 16:00 | BELL (PGE)-GRESHAM 115KV LINE, PGE - BELL-GRESHAM 115KV LINE | BELL (PGE)-GRESHAM 115KV LINE | WOCS, NOPE, LOAD
25-06866 | 17611519 | 08/04/2025 08:00 | 08/07/2025 15:00 | BELL: 500KV REACTOR 1 INCLUDING PCB 4559 | BELL: PCB 4559, BELL: 500KV REACTOR 1 | MT-NW, WOH
25-00061 | 15162341 | 08/04/2025 08:00 | 08/29/2025 16:30 | PONDEROSA-CORRAL NO 1 230KV LINE INCLUDING PCB'S A-1812 AND A-1815 | PONDEROSA-CORRAL NO 1 230KV LINE INCLUDING PCB'S A-1812 AND A-1815, PONDEROSA-CORRAL NO 1 230KV LINE, PONDEROSA: PCB A-1812, PONDEROSA: PCB A-1815 | COR, GRZN, NWACI
25-06776 | 17737209 | 08/04/2025 08:00 | 08/07/2025 15:00 | MURRAY: 230/115KV TRANSFORMER 1, INCLUDING PCB B-1748 | MURRAY: PCB B-1748 | NOEL, SOC
25-07012 | 17726094 | 08/04/2025 08:00 | 08/07/2025 16:30 | NORWAY-MORRISON SECTION OF FAIRVIEW-BANDON NO 1 115KV LINE |  | SWORE
24-00606 | 14694220 | 08/04/2025 08:00 | 08/12/2025 15:00 | WAUTOMA: 500KV REACTOR 1, INCLUDING PCB 5236 | WAUTOMA: PCB 5236 | NOH
25-02151 | 17287975 | 08/04/2025 09:00 | 08/07/2025 15:00 | GRIZZLY: PCB 5037 |  | NWACI
25-08363 | 17805990 | 08/04/2025 22:00 | 08/05/2025 08:00 | FRY (PAC)-PARRISH GAP 230KV LINE |  | NWACI, SWORE, SLAL
25-08350 |  | 08/04/2025 22:00 | 08/05/2025 08:00 | FRY (PAC)-PARRISH GAP 230KV LINE |  | SLAL, NWACI
25-06283 | 18027490 | 08/05/2025 07:00 | 08/05/2025 15:00 | SNOHOMISH: PCB B-488 | SNOHOMISH: PCB B-474
25-09577 | 17976607 | 08/05/2025 07:00 | 08/05/2025 15:00 | OLYMPIA: PCB B-676 | OLYMPIA: 115KV EAST AUX BUS, OLYMPIA: PCB B-672
25-06865 | 17771315 | 08/05/2025 07:00 | 09/04/2025 17:00 | ALLSTON-DELENA SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE
25-09919 | 18024809 | 08/05/2025 07:00 | 08/05/2025 15:00 | TACOMA-COVINGTON NO 3 230KV LINE INCLUDING TACOMA: PCB A-1068 | TACOMA-COVINGTON NO 3 230KV LINE, TACOMA: PCB A-1068 | NOEL, RP, SOC, BCHT, BCHW
25-04235 | 17339433 | 08/05/2025 07:30 | 08/06/2025 16:00 | COYOTE SPRINGS-SLATT NO 1 500KV LINE INCLUDING COYOTE SPRINGS: PCBS 5190, 5193 AND SLATT: PCBS 5043, 5045 | COYOTE SPRINGS: PCB 5190, COYOTE SPRINGS: PCB 5193, SLATT: PCB 5043, SLATT: PCB 5045 | WOLM, WOM, NWACI, WOJD
25-06313 | 17569997 | 08/05/2025 07:30 | 08/06/2025 15:00 | ROSS: PCB B-14
25-02009 | 17115631 | 08/05/2025 07:30 | 08/05/2025 11:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-06195 |  | 08/05/2025 08:00 | 08/08/2025 15:00 | -PACW- ALTURAS-CEDARVILLE TAP SECTION OF ALTURAS-BULLARD 115KV LINE
25-01490 | 17094902 | 08/05/2025 08:00 | 08/05/2025 15:00 | LITTLE GOOSE: PCB 4350 |  | WOLM
25-01200 | 17299057 | 08/05/2025 08:00 | 08/07/2025 17:00 | COUGAR: B-1396 TERMINAL OF THE COUGAR-HOLDEN CREEK # 1 115KV LINE | COUGAR-CARMEN SMITH SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE
25-02010 | 17115644 | 08/05/2025 11:15 | 08/05/2025 11:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-08352 |  | 08/05/2025 22:00 | 08/06/2025 08:00 | -PACW- FRY-CALAPOOYA SECTION OF DIAMOND HILL-FRY 230KV LINE
25-09115 | 17923343 | 08/06/2025 07:00 | 08/06/2025 16:00 | MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE INCLUDING MAPLE VALLEY: PCB A-1134 AND 230KV A/B SECTION 3 | MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, MAPLE VALLEY: PCB A-1139, MAPLE VALLEY: PCB A-1134 | NOEL, SOC
25-07239 |  | 08/06/2025 08:00 | 08/07/2025 17:00 | COLUMBIA: 230/115KV TRANSFORMER 1 INCLUDING PCB B-396, 13.8KV STATION SERVICE 2 REACTOR, 13.8/480V STATION SERVICE TRANSFORMER 2, AND 13.8KV TERTIARY BUS
25-06413 | 17570121 | 08/06/2025 08:00 | 08/06/2025 12:00 | PEARL: PCB 4342 | PEARL: 500KV CAP GROUP 1 | SOA, NOPE, WOCS, NWACI
25-09103 | 17923209 | 08/07/2025 07:00 | 08/07/2025 16:00 | SNO-KING-MAPLE VALLEY NO 1 230KV LINE INCLUDING MAPLE VALLEY: PCB A-1138 AND 230KV A/B SECTION 3 | SNO-KING-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY: PCB A-1138, SNO-KING: PCB A-1198, MAPLE VALLEY: PCB A-1139 | NOEL, SOC, SIG
25-00089 | 16227901 | 08/07/2025 08:00 | 08/20/2025 16:30 | PONDEROSA: 230KV NORTH NON-GIS BUS SECTION | PONDEROSA: PCB A-1812, PONDEROSA: PCB A-1821, PONDEROSA: PCB A-1844 | LOAD, COR, NWACI
25-05795 | 17491279 | 08/07/2025 08:00 | 08/07/2025 12:00 | VANTAGE: PCB 5339 |  | NOH
25-09630 | 17978084 | 08/07/2025 08:00 | 08/13/2025 16:00 | SCL CEDAR FALLS-LAKE YOUNGS 115kV Line |  | SOC, NOEL
25-05797 | 17491293 | 08/07/2025 12:00 | 08/07/2025 16:00 | VANTAGE: PCB 5342 |  | NOH
25-02449 | 17191494 | 08/07/2025 13:00 | 08/07/2025 14:00 | BROADVIEW-GARRISON NO 2 500KV LINE | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | MT-NW, GEN
24-12473 | 17299720 | 08/08/2025 08:00 | 08/14/2025 15:00 | FOREST GROVE-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | FILBERT: FOREST GROVE OR 115KV FEEDER 1, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
25-06071 | 17524361 | 08/08/2025 16:30 | 08/31/2025 16:30 | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | COVINGTON: PCB A-80 | RP, SOA, NOPE, NOEL, SOC
25-08354 | 17811725 | 08/09/2025 08:00 | 08/10/2025 16:00 | CARLTON-SHERWOOD NO 1 230KV LINE INCLUDING CASCADE STEEL TAP, -MW&L- CASCADE STEEL 230/34.5KV TRANSFORMER BANK AND SWITCHER A-2 | CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CARLTON-SHERWOOD NO 1 230KV LINE | LOAD, SOA, NOPE
25-08397 | 17812059 | 08/09/2025 08:00 | 08/09/2025 08:30 | CARLTON: 230/115KV TRANSFORMER 1 |  | LOAD, SOA
25-08399 | 17811726 | 08/09/2025 08:00 | 08/09/2025 08:30 | CARLTON-TILLAMOOK NO 1 230KV LINE | TILLAMOOK: 230/115KV TRANSFORMER 2 | LOAD, SOA, NOPE
25-08407 | 17812080 | 08/10/2025 15:30 | 08/10/2025 16:00 | CARLTON: 230/115KV TRANSFORMER 1 |  | LOAD, SOA
25-08408 | 17942099 | 08/10/2025 15:30 | 08/10/2025 16:00 | CARLTON-TILLAMOOK NO 1 230KV LINE | TILLAMOOK: 230/115KV TRANSFORMER 2 | LOAD, SOA, NOPE
25-00483 | 16463596 | 08/10/2025 22:00 | 08/10/2025 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-00306 | 16388217 | 08/10/2025 22:00 | 08/14/2025 17:00 | GRAND COULEE: PCB 2192 |  | GEN, NOH, WOCN
25-10003 | 17992869 | 08/11/2025 06:00 | 08/22/2025 16:00 | MERIDIAN PAC: DIXONVILLE 1 500KV LINE SERIES CAPS
25-00258 | 16210633 | 08/11/2025 06:00 | 08/13/2025 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | LOWER GRANITE PH: 500/13.8KV TRANSFORMER T1, LOWER GRANITE PH: 500/13.8KV TRANSFORMER T2, LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
25-03628 | 17299961 | 08/11/2025 07:00 | 08/27/2025 15:00 | GOOSE LAKE-OKANOGAN SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE | OKANOGAN: PCB B-1480 | LOAD
25-07149 | 17658158 | 08/11/2025 07:00 | 08/11/2025 12:00 | COLUMBIA: PCB B-398
25-08314 | 17868770 | 08/11/2025 07:00 | 08/21/2025 14:00 | LIBBY: 230KV MAIN BUS SECTION 1 | LIBBY: PCB A-1593, LIBBY: PCB A-1589, LIBBY: PCB A-1592, LIBBY-LIBBY FEC SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE, LIBBY: 230/115KV TRANSFORMER 1, LIBBY PH-LIBBY NO 1 230KV LINE | MT-NW, FLAT, SOB, GEN, FCRPS
25-09584 | 17984187 | 08/11/2025 07:30 | 08/11/2025 15:00 | SATSOP: PCB A-616 |  | GEN, LOAD
25-05427 | 17476583 | 08/11/2025 07:30 | 08/15/2025 15:00 | RAVER: PCB 4842, RAVER: 500KV REACTOR 1 |  | NOEL, RP, SOC
25-01561 | 17575166 | 08/11/2025 08:00 | 08/21/2025 15:00 | FRANKLIN: PCB B-1528
25-02132 | 17523496 | 08/11/2025 08:00 | 08/12/2025 16:30 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-01464 | 17244693 | 08/11/2025 08:00 | 08/14/2025 15:00 | HATWAI: PCB 4700 |  | MT-NW, NOH, WOH, WOLM
25-07754 |  | 08/11/2025 08:00 | 08/22/2025 16:00 | SCL- BOTHELL: BANK 61, BOTHELL-CANAL & BOTHELL-SHORELINE 1 115KV LINES | BOTHELL: 230/115KV TRANSFORMER 61, BOTHELL (SCL)-SHORELINE NO 1 115KV LINE, BOTHELL (SCL)-CANAL 115KV LINE | LOAD, NOEL, SOC
25-00925 | 17109312 | 08/11/2025 08:00 | 08/14/2025 15:00 | TAFT: PCB 4111 BFR | PCB 4111 BFR relays, TAFT: PCB 4111 | GEN, MT-NW, NOH, WOH
25-06125 | 17541370 | 08/11/2025 09:00 | 08/11/2025 15:00 | LANCASTER: PCB A-1558 |  | WOH
25-03339 | 17737260 | 08/11/2025 09:00 | 08/14/2025 15:00 | SYCAN: SUMMER LAKE-MALIN 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5066 | SYCAN: SUMMER LAKE-MALIN 1 500KV LINE SERIES CAP GROUP 3, SYCAN: PCB 5066 | NWACI
25-09018 | 17928238 | 08/12/2025 07:00 | 08/12/2025 15:00 | MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1, REACTORS 1 AND 2, 230KV AUX BUS INCLUDING PCBS A-1429, A-1433, A-1431, AND A-1427 | MONROE: PCB A-1429, MONROE: 230KV AUX BUS, MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1, MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, MONROE: 230KV REACTIVE GROUP 1 REACTOR 2, MONROE: PCB A-1431, MONROE: PCB A-1433, MONROE: PCB A-1427, MONROE: PCB A-1426 | WOCN, NOEL, SOC, SIG, BCHT, BCHW
25-05059 | 17456462 | 08/12/2025 07:30 | 08/13/2025 15:00 | BELLINGHAM-76E SECTION OF BELLINGHAM-REFINERY #1 115KV LINE INCLUDING BELLINGHAM: PCB B-936 | BELLINGHAM: PCB B-936, BELLINGHAM-76E SECTION OF BELLINGHAM-REFINERY 115KV LINE | NOEL, SOC
25-02015 | 17115698 | 08/12/2025 07:30 | 08/12/2025 07:45 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-02142 | 17338348 | 08/12/2025 08:00 | 08/14/2025 15:00 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE INCLUDING LOWER MONUMENTAL: PCBS 4624, 4676 AND CENTRAL FERRY: PCBS 5397, 5400 | CENTRAL FERRY-LOWER MONUMENTAL NO 1 500KV LINE, LOWER MONUMENTAL: PCB 4624, LOWER MONUMENTAL: PCB 4676, CENTRAL FERRY: PCB 5397, CENTRAL FERRY: PCB 5400 | WOH, WOLM, GEN, SIG
25-08301 | 17804706 | 08/12/2025 08:00 | 08/12/2025 15:00 | RAYMOND-HENKLE ST NO 1 115KV LINE INCLUDING RAYMOND: 115KV MAIN BUS AND PCBs B-120, B-124, B-126, B-122 | RAYMOND-HENKLE ST. NO 1 115KV LINE, RAYMOND: 115KV MAIN BUS, HOLCOMB-RAYMOND SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD
25-06127 | 17541377 | 08/12/2025 08:00 | 08/12/2025 15:00 | LANCASTER: PCB A-1561 |  | WOH
25-02016 | 17115705 | 08/12/2025 11:15 | 08/12/2025 11:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-00465 | 17133905 | 08/13/2025 07:00 | 08/15/2025 17:00 | DUTCH CANYON-WARREN SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE |  | LOAD, SOA, NOPE
25-09457 | 18012958 | 08/13/2025 07:00 | 08/14/2025 15:00 | MURRAY: 115KV CAP GROUP 1 SECTS 1 AND 2 INCLUDING PCB B-1745, LBD B-1755 AND LBD B-1756 | MURRAY: LBD B-1755, MURRAY: LBD B-1756, MURRAY: PCB B-1745, MURRAY: 115KV REACTIVE BUS, MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2 | SOC
25-09585 | 17984214 | 08/13/2025 07:30 | 08/13/2025 16:00 | SATSOP: PCB A-607
25-07363 |  | 08/13/2025 08:00 | 08/13/2025 15:00 | SANDPOINT: 115KV CAP GRP 1 INCLUDING PCB B-817 | SANDPOINT: PCB B-817, SANDPOINT: 115KV CAP GROUP 1
25-02046 | 17119977 | 08/13/2025 08:00 | 08/14/2025 15:00 | JOHN DAY: PCB 5441 |  | NWACI, WOJD, WOM, WOS, PDCI
24-02161 | 14854336 | 08/14/2025 07:00 | 08/14/2025 14:00 | GARRISON: 4428/4436/4437 TERMINAL OF BROADVIEW-GARRISON 1 500KV LINE | GARRISON: 4428/4436/4437 TERMINAL OF BROADVIEW-GARRISON 1 500KV LINE, BROADVIEW-GARRISON NO 1 500KV LINE | MT-NW, GEN
25-01171 | 17176548 | 08/14/2025 08:00 | 08/14/2025 16:00 | CUSTER: PCB 4482 |  | BCHT, BCHW, NOEL, SOC, NI
25-00484 | 16463602 | 08/14/2025 17:30 | 08/14/2025 18:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-08197 | 17900710 | 08/16/2025 21:00 | 08/17/2025 06:00 | PEARL: 500/230KV TRANSFORMER 1 INCLUDING PCB A-1169 | PEARL: 500/230KV TRANSFORMER 1 | LOAD, SIG, SOA, WOCS, NOPE
25-09036 | 17899317 | 08/16/2025 21:00 | 08/17/2025 06:00 | PEARL: 500/230KV TRANSFORMER 1 AND MOD 4345 | PEARL: 500/230KV TRANSFORMER 1 | LOAD, SIG, SOA, WOCS, NOPE
25-09038 | 17899372 | 08/16/2025 21:00 | 08/16/2025 21:30 | PEARL: 500KV EAST BUS | PEARL: 500KV CAP GROUP 1 | SOA, NOPE, WOCS, NWACI
25-09039 | 17899376 | 08/17/2025 05:30 | 08/17/2025 06:00 | PEARL: 500KV EAST BUS | PEARL: 500KV CAP GROUP 1 | SOA, NOPE, WOCS, NWACI
25-00307 | 16388740 | 08/17/2025 22:00 | 08/21/2025 17:00 | GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-00938 | 16848086 | 08/18/2025 07:00 | 08/28/2025 17:00 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE | LOWER MONUMENTAL PH: 500/13.8KV TRANSFORMER T1, LOWER MONUMENTAL PH: 500/13.8KV TRANSFORMER T2, LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | GEN
25-00181 | 17288008 | 08/18/2025 07:00 | 08/21/2025 15:00 | CONKELLEY: A-470 TERMINAL OF THE HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | CONKELLEY: PCB A-478, HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | MT-NW, FLAT, GEN
25-03476 | 17299093 | 08/18/2025 07:30 | 08/18/2025 17:00 | PACIFIC WAY-BAKERS CORNER SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE | PACIFIC WAY LOOP IN-BAKERS CORNER SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE | LOAD, SOA, NOPE
25-05508 | 17763905 | 08/18/2025 07:30 | 08/19/2025 16:00 | SEDRO WOOLLEY-BELLINGHAM NO 1 230KV LINE INCLUDING BELLINGHAM: PCB A-312 | BELLINGHAM: PCB A-312, SEDRO WOOLLEY-BELLINGHAM NO 1 230KV LINE | NOEL, SOC
25-06875 | 17697631 | 08/18/2025 08:00 | 08/28/2025 15:00 | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
25-04529 | 17366836 | 08/18/2025 08:00 | 08/21/2025 14:00 | TARGHEE-DRUMMOND NO 1 115KV LINE |  | SEIL, GEN
25-05511 | 17483930 | 08/18/2025 08:00 | 08/21/2025 15:00 | HANFORD: PCB 4098 |  | WOLM, NOH, WOM
25-02665 | 17524911 | 08/18/2025 08:00 | 08/21/2025 16:30 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-08332 | 17810831 | 08/18/2025 08:00 | 08/22/2025 16:00 | FAIRVIEW-GREEN VALLEY SECTION OF THE ALVEY-FAIRVIEW NO 1 230KV LINE INCLUDING FAIRVIEW: 230KV EAST MAIN BUS, 230/115KV TRANSFORMER BANK 1, PCBs A-902, A-904, A-905, A-911 AND 230KV AUX BUS | FAIRVIEW: 230/115KV TRANSFORMER 1, FAIRVIEW: PCB A-902, FAIRVIEW: PCB A-904, FAIRVIEW: PCB A-905, FAIRVIEW: PCB A-911, FAIRVIEW: 230KV AUX BUS, GREEN VALLEY-FAIRVIEW SECTION OF ALVEY-FAIRVIEW NO 1 230KV LINE, FAIRVIEW: 230KV EAST MAIN BUS | SCORC, LOAD
25-06757 | 17644470 | 08/18/2025 08:00 | 08/18/2025 15:00 | SACHEEN: PCB A-1900
25-03804 | 17385223 | 08/18/2025 08:00 | 08/21/2025 15:00 | KITSAP-STATION X NO 1 115KV LINE |  | RP
25-00487 | 17133886 | 08/18/2025 08:00 | 08/22/2025 17:00 | ALLSTON-DRISCOLL NO 1 230KV LINE | DRISCOLL: PCB A-1268, ALLSTON: PCB A-1358 | LOAD, SOA, NOPE
25-08382 | 17810860 | 08/18/2025 08:00 | 08/22/2025 15:00 | -MITIGATION- FAIRVIEW: PCB B-1168 | FAIRVIEW: PACIFICORP (PACW) 115KV FEEDER 1 | SWORE
25-04730 | 17374966 | 08/18/2025 08:00 | 08/18/2025 15:00 | FAIRMOUNT: 230KV CAP GROUP 3 INCLUDING PCB A-1632 | FAIRMOUNT: PCB A-1632, FAIRMOUNT: 230KV CAP GROUP 3 | RP
25-01273 | 16978115 | 08/18/2025 08:00 | 08/18/2025 16:00 | CENTRAL FERRY: PCB A-1762 | CENTRAL FERRY: PCB A-1762
25-02221 | 17288036 | 08/18/2025 09:00 | 08/21/2025 15:00 | GRIZZLY: PCB 4720 INCLUDING 500KV REACTOR 2 | GRIZZLY: PCB 4720, GRIZZLY: 500KV REACTOR 2 | NWACI
25-05308 | 17684647 | 08/19/2025 07:00 | 08/19/2025 17:00 | DEXTER-PLEASANT HILL SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE |  | GEN
25-06373 | 17568873 | 08/19/2025 07:30 | 08/19/2025 07:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-01278 | 16978373 | 08/19/2025 08:00 | 08/19/2025 16:00 | CENTRAL FERRY: PCB A-1766 | CENTRAL FERRY: PCB A-1766
25-04733 | 17374975 | 08/19/2025 08:00 | 08/19/2025 15:00 | FAIRMOUNT: PCB A-1622 |  | RP
25-03469 | 17299126 | 08/19/2025 08:00 | 09/12/2025 15:00 | BAKERS CORNER-LONGVIEW SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE |  | LOAD
25-06758 | 17644473 | 08/19/2025 08:00 | 08/19/2025 12:00 | SACHEEN: PCB A-1903
25-06374 | 17568870 | 08/19/2025 11:15 | 08/19/2025 11:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-06760 | 17644490 | 08/19/2025 12:01 | 08/19/2025 16:00 | SACHEEN: PCB A-1906
25-09705 | 18012543 | 08/20/2025 08:00 | 08/21/2025 15:00 | ROUNDUP: PCB A-559
25-06762 | 17644505 | 08/20/2025 08:00 | 08/20/2025 15:00 | SACHEEN: PCB B-323
25-01262 | 18059158 | 08/20/2025 08:00 | 08/20/2025 16:00 | CENTRAL FERRY: PCB 5412 |  | WOH, WOLM
25-01284 | 16978604 | 08/21/2025 08:00 | 08/21/2025 16:00 | CENTRAL FERRY: PCB A-1780
25-08956 | 17895698 | 08/21/2025 08:00 | 08/26/2025 15:00 | CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE INCLUDING PCB B-131 AND 115KV AUX BUS | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
25-08294 | 17805911 | 08/21/2025 22:00 | 08/22/2025 02:00 | COLUMBIA-PALISADES SECTION OF COLUMBIA-ROCKY FORD NO 1 115KV LINE | COLUMBIA-ROCKY FORD NO 1 115KV LINE | NOH
25-00943 | 16847681 | 08/22/2025 06:00 | 08/30/2025 16:00 | SNOHOMISH-BEVERLY PARK NO 4 115KV LINE
25-07757 |  | 08/22/2025 16:00 | 08/29/2025 18:00 | SCL- SNOHOMISH-BOTHELL 1, DIABLO-BOTHELL 2 230KV LINES, BOTHELL : BANK 61 | BOTHELL: 230/115KV TRANSFORMER 61, DIABLO (SCL)-BOTHELL NO 2 230KV LINE, SNOHOMISH-BOTHELL NO 1 230KV LINE | LOAD, NOEL, SOC
25-00308 | 16388744 | 08/24/2025 22:00 | 08/28/2025 17:00 | GRAND COULEE: PCB 9192 |  | GEN, NOH, WOCN
25-04226 | 17476613 | 08/25/2025 06:00 | 08/28/2025 15:30 | GARRISON: 500KV REACTOR 4 INCLUDING PCB 4457 | GARRISON: PCB 4457, GARRISON: 500KV REACTOR 4 | MT-NW
25-05319 | 17739813 | 08/25/2025 07:00 | 08/28/2025 17:00 | PLEASANT HILL-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE |  | GEN
25-07950 | 17760205 | 08/25/2025 07:00 | 08/25/2025 15:00 | BELL-LANCASTER NO 1 230KV LINE INCLUDING BELL: 230KV AUX BUS SECTIONS 4 AND 5 AND PCB A-554 | BELL-LANCASTER NO 1 230KV LINE, BELL: 230KV AUX BUS SECTION 4, BELL: 230KV AUX BUS SECTION 5, BELL: PCB A-554, BELL: PCB A-552, LANCASTER: PCB A-1182, LANCASTER: PCB A-1558 | GEN, WOH, SOB, MT-NW
25-04530 | 17366841 | 08/25/2025 07:00 | 08/28/2025 14:00 | TARGHEE-DRUMMOND NO 1 115KV LINE |  | SEIL, GEN
25-00180 | 17286750 | 08/25/2025 07:00 | 08/28/2025 15:00 | COLUMBIA FALLS: A-311 TERMINAL OF HUNGRY HORSE-COLUMBIA FALLS NO.1 230 KV LINE | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE, HUNGRY HORSE PH: PCB 2482, HUNGRY HORSE PH: PCB 2282 | GEN, MT-NW, FLAT, WOH
25-09622 | 17986441 | 08/25/2025 07:00 | 09/12/2025 15:00 | COLUMBIA-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE INCLUDING B-408 LINE SECTIONALIZING DISCONNECT | B408-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, COLUMBIA-B408 SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
25-06110 | 18025856 | 08/25/2025 07:30 | 08/28/2025 16:00 | BELLINGHAM: 230/115KV TRANSFORMER 1 INCLUDING 13.8KV PCB L-1118 | BELLINGHAM: 230/115KV TRANSFORMER 1, BELLINGHAM: 13.8KV PCB L-1118 | LOAD, NOEL, SOC
25-02053 | 17121202 | 08/25/2025 07:30 | 09/05/2025 18:00 | BIG EDDY-OSTRANDER NO 1 500KV LINE |  | PDCI, SIG, WOCS, WOJD, BGEDY, NWACI
25-07404 | 17686746 | 08/25/2025 08:00 | 08/28/2025 15:00 | SOUTH ELMA: B-296 TERMINAL OF OLYMPIA-SOUTH ELMA #1 AND B-297 TERMINAL OF SOUTH ELMA-SATSOP PARK #1 115KV LINES | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, SOUTH ELMA-SATSOP PARK NO 1 115KV LINE | LOAD, SI, RP, SOA, NOPE
25-02250 | 17288056 | 08/25/2025 08:00 | 09/11/2025 15:00 | GRIZZLY: PCB 4038, INCLUDING 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | NWACI
25-03802 | 17337341 | 08/25/2025 08:00 | 08/28/2025 15:00 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE |  | LOAD, SI, RP
25-08905 | 17929410 | 08/25/2025 08:00 | 08/28/2025 15:00 | WENDSON: 230/115KV TRANSFORMER 1 INCLUDING: 13.8KV STATION SERVICE TRANSFORMER 1 | WENDSON: PCB A-1578, WENDSON: PCB B-1784, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, WENDSON: 230/115KV TRANSFORMER 1 | LOAD, SCORC
25-01236 | 17517024 | 08/25/2025 08:00 | 08/26/2025 15:00 | HATWAI: 500KV WEST BUS INCLUDING PCB 4710 | HATWAI: 500KV WEST BUS, HATWAI: PCB 4710 | MT-NW, WOH, NOH, WOLM
25-01757 | 17094345 | 08/25/2025 08:00 | 08/26/2025 15:00 | JOHN DAY: PCB 4134 |  | NWACI, WOJD, PDCI
25-09711 | 18019292 | 08/25/2025 08:00 | 08/25/2025 15:00 | MURRAY: PCB B-1746 | MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2, MURRAY: LBD B-1755, MURRAY: LBD B-1756
25-06363 | 17568834 | 08/25/2025 08:00 | 08/28/2025 16:00 | BIGELOW-TRENTWOOD SECTION OF BELL-TRENTWOOD NO 2 115KV LINE | TRENTWOOD: PCB B-1638
25-04736 | 17442696 | 08/25/2025 08:00 | 08/25/2025 12:30 | STATION X: PCB B-1982
25-04737 | 17442713 | 08/25/2025 12:30 | 08/25/2025 16:30 | STATION X: PCB B-1985
25-05352 |  | 08/26/2025 07:00 | 08/27/2025 14:00 | MADISON: LBD B-57 INCLUDING 115KV CAP GROUP 1 | MADISON: LBD B-57, MADISON: 115KV CAP GROUP 1 SECTION 1
25-08152 | 17803466 | 08/26/2025 07:00 | 08/28/2025 15:00 | LIBBY FEC-TROY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | FLAT, MT-NW
25-00071 | 15162397 | 08/26/2025 07:00 | 09/23/2025 15:00 | -USBR- HUNGRY HORSE: PCBS 2282 AND 2382 | HUNGRY HORSE PH: PCB 2382, HUNGRY HORSE PH: PCB 2282 | WOH, FLAT
25-08341 | 17868616 | 08/26/2025 07:30 | 08/26/2025 15:30 | ALLSTON: PCB A-1360 |  | SOA, NOPE
25-02013 | 17115681 | 08/26/2025 07:30 | 08/26/2025 07:45 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-04738 | 17442765 | 08/26/2025 08:00 | 08/26/2025 12:30 | STATION X: PCB B-1988
25-08273 |  | 08/26/2025 08:00 | 08/26/2025 15:00 | SOUTH ELMA: 115KV MAIN BUS INCLUDING PCBS SE-115-1, SE-115-2, SE-115-3 AND SE-115-4 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, OLYMPIA-SOUTH ELMA NO 1 115KV LINE | LOAD, SOA, NOPE, SI, RP
25-07164 |  | 08/26/2025 08:00 | 08/26/2025 15:00 | SAND CREEK: 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 INCLUDING LBDs B-1364, B-1365, CS B-1369 AND 115KV REACTIVE BUS | SAND CREEK: 115KV CAP GROUP 1 SECTION 1, SAND CREEK: 115KV CAP GROUP 1 SECTION 2, SAND CREEK: 115KV CAP GROUP 1 SECTION 3, SAND CREEK: LBD B-1364, SAND CREEK: LBD B-1365, SAND CREEK: CS B-1369
25-02014 | 17115691 | 08/26/2025 11:15 | 08/26/2025 11:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-04739 | 17442787 | 08/26/2025 12:30 | 08/26/2025 16:00 | STATION X: PCB B-1993
25-05366 | 17456171 | 08/27/2025 06:00 | 08/27/2025 16:00 | SAND CREEK: PCB B-1339
25-04740 | 17374980 | 08/27/2025 07:30 | 08/27/2025 15:30 | PORT ANGELES: PCB B-644
25-02667 | 17525110 | 08/27/2025 08:00 | 08/28/2025 16:30 | GLASGOW-SUMNER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-05801 | 17495326 | 08/28/2025 07:00 | 08/28/2025 09:00 | MCNARY: PCB 5211 |  | WOCS, WOJD, WOM, NWACI
25-05832 | 17575832 | 08/28/2025 08:00 | 08/28/2025 12:00 | LOWER MONUMENTAL: PCB 4316 |  | WOLM
25-05800 | 17495332 | 08/28/2025 09:00 | 08/28/2025 11:00 | MCNARY: PCB 5214 |  | WOM, NWACI
25-05834 | 17575845 | 08/28/2025 13:00 | 08/28/2025 16:00 | LOWER MONUMENTAL: PCB 4247 |  | WOLM
25-09034 | 17901074 | 08/29/2025 08:00 | 10/16/2025 15:00 | CARLTON: 230/115KV TRANSFORMER 1 INCLUDING PCB B-129 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA
25-06074 | 17524407 | 08/31/2025 16:30 | 08/31/2025 18:00 | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING COWLITZ TAP | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | RP, NOEL, SOC, LOAD