## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
23-04125 | 13016840 | 01/28/2023 17:00 | 07/07/2025 07:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
23-08577 | 13856830 | 04/30/2023 18:57 | 01/01/2027 23:59 | VALHALLA: PCB B-280 | VALHALLA: PCB B-280
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 14853282 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
24-15794 | 16851914 | 09/26/2024 11:00 | 10/13/2025 12:00 | BOUNDARY: PCB A-1226
24-16579 | 17543676 | 10/16/2024 08:00 | 10/31/2025 15:00 | BOUNDARY: PCB A-1230 |  | SOB
25-00087 |  | 02/24/2025 18:00 | 08/20/2025 16:30 | PONDEROSA: A-1811 TO A-1840 SECTION OF THE 230KV NORTH MAIN BUS INCLUDING A-1840 DISCONNECT | PONDEROSA: 230KV NORTH NON-GIS BUS SECTION | LOAD, COR, NWACI
25-08063 |  | 04/16/2025 08:40 | 10/01/2025 15:00 | PACIRAS CONTROLLER B | MUNRO: RAS AC-B LOI SIGNAL 2 TO/FROM PG&E SAN FRANCISCO CKT 7B67, MUNRO: RAS AC-B LOI SIGNAL 1 TO/FROM PG&E SAN FRANCISCO CKT 7B65, MUNRO: RAS DC-B PG&E SNFO REAC CKT 7E64
25-03624 | 17293824 | 04/21/2025 08:00 | 10/06/2025 11:00 | CARDWELL: B-1540 TERMINAL OF CARDWELL-MEEKER 115KV LINE | CARDWELL-MEEKER 115KV LINE, CARDWELL: PCB B-1540, MEEKER-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-04561 | 17583210 | 05/19/2025 12:00 | 07/17/2025 10:00 | MIDWAY-HEW NO 2 230kV LINE INCLUDING MIDWAY: PCB A-114 AND A-114 AUX BUS DISC | MIDWAY: PCB A-114, MIDWAY: A-114 AUX BUS DISC, MIDWAY-HEW NO 2 230KV LINE | WOM, GEN, TCLA, LOAD
25-00205 | 17095338 | 05/28/2025 08:00 | 07/28/2025 15:00 | KNAPPA-FERN HILL SECTION OF DRISCOLL-ASTORIA NO 1 115KV LINE |  | SOA
25-02222 | 17182100 | 05/29/2025 10:00 | 07/01/2025 15:00 | NOTI CREEK TAP: B-971 AND B-972 TERMINALS OF NOTI CREEK TAP TO LANE-WENDSON NO 1 115KV LINE | FERN RIDGE-NOTI CREEK SECTION OF LANE-WENDSON NO 1 115KV LINE, NOTI CREEK-WALTON SECTION OF LANE-WENDSON NO 1 115KV LINE, NOTI CREEK TAP TO LANE-WENDSON NO 1 115KV LINE | LOAD, SCORC
25-06917 | 17616764 | 06/02/2025 08:00 | 10/30/2025 16:00 | -CPUD- 7TH AVE-EAST KELSO 115KV LINE | 7TH AVE-EAST KELSO 115KV LINE | LOAD
25-07844 | 17738348 | 06/09/2025 07:00 | 10/30/2025 16:00 | COLUMBIA: 230/115KV TRANSFORMER 1 |  | LOAD, WOCN, CI, NOH
25-04059 | 17320365 | 06/09/2025 08:00 | 07/09/2025 15:00 | KEELER: PCB A-873 INCLUDING 230KV REACTIVE GROUP 2 REACTOR 1 | KEELER: PCB A-873, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1 | SOA, NOPE
25-08691 | 17726028 | 06/09/2025 08:00 | 09/04/2025 18:00 | SCL - BOTHELL: 230/115KV BANK 61 |  | SOC, NOEL
25-04291 | 17337016 | 06/16/2025 08:00 | 07/02/2025 15:00 | ROSS: 230/115KV TRANSFORMER 1 | ROSS: PCB A-26, ROSS: PCB B-2, ROSS: 13.2KV PCB L-25 | LOAD, SOA, NOPE
25-03625 | 17293918 | 06/18/2025 08:00 | 07/02/2025 16:00 | GRIZZLY: 4047/4049 TERMINALS AND MALIN: 4071/4073/4341 TERMINALS OF GRIZZLY-MALIN 2 500KV LINE | GRIZZLY-MALIN PGE NO 2 500KV LINE, SAND SPRINGS: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, FORT ROCK: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SYCAN: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2 | BCHT, BCHW, NI, NWACI, SIG
25-06146 |  | 06/23/2025 07:00 | 07/02/2025 16:00 | -CPUD- GARDENERS CORNER: SUBSTATION
25-03605 | 17299738 | 06/23/2025 07:00 | 07/02/2025 15:00 | KELLER-NESPELEM SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE |  | LOAD
25-06096 | 17530014 | 06/26/2025 16:00 | 11/14/2025 08:00 | ROCKY REACH: 345/230KV TRANSFORMER 1 INCLUDING MODS A-3017, A-3016 AND THE A-1001 DISCONNECTS | ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN
25-08284 | 17287906 | 06/27/2025 08:00 | 07/03/2025 16:00 | SHERWOOD (PGE): 230/115KV TRANSFORMER 2 (VWR2) |  | NOPE
25-00310 | 17116530 | 06/30/2025 06:30 | 07/02/2025 17:00 | OLYMPIA: A-206 TERMINAL OF OLYMPIA-GRAND COULEE NO 1 230KV LINE | OLYMPIA: PCB A-206, GRAND COULEE: PCB 6886, OLYMPIA-GRAND COULEE NO 1 230KV LINE | NOEL, RP, SOC, WOCN, NOH, IROL
25-00849 | 17326275 | 06/30/2025 08:00 | 08/08/2025 15:00 | MARTIN CREEK: 230/115KV TRANSFORMER 1 INCLUDING PCB A-443 | MARTIN CREEK: 230/115KV TRANSFORMER 1, MARTIN CREEK: PCB A-443, MARTIN CREEK TAP TO ALVEY-FAIRVIEW NO 1 230KV LINE | SCORC, LOAD
25-00956 | 17005005 | 06/30/2025 08:00 | 07/01/2025 16:00 | JOHN DAY: PCB 4170 (108E) BFR and PCB DIFF | JOHN DAY: PCB 4170 | NWACI, WOCS, WOJD, PDCI
25-05945 | 17503965 | 06/30/2025 08:00 | 07/22/2025 15:00 | CARLTON-TILLAMOOK NO 1 230KV LINE INCLUDING PCB A-315 AND 230KV AUX BUS | CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2 | LOAD, SOA, NOPE, NWACI
25-08468 | 17817801 | 07/01/2025 07:00 | 07/03/2025 17:30 | MONMOUTH-SOUTH SECTION OF SALEM-ALBANY NO 2 115KV LINE |  | NWACI, SLAL
25-00910 | 16842254 | 07/01/2025 07:30 | 07/01/2025 07:45 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-08419 |  | 07/01/2025 08:00 | 07/03/2025 15:00 | -PACW- DALLAS-MONPAC SECTION OF BPA SALEM-MONPAC 115KV LINE
25-01383 | 17175545 | 07/01/2025 08:00 | 07/01/2025 15:00 | SCHULTZ: PCB 5173 |  | WOCN, NOEL
25-07716 | 17803379 | 07/01/2025 08:00 | 07/01/2025 15:00 | FAIRMOUNT: NORTH OF FAIRMOUNT BACK TRIPPING SCHEME RAS A (CKT 7168) & RAS B (CKT 7175) | FAIRMOUNT: PCB A-1632, FAIRMOUNT: PCB A-1634, FAIRMOUNT: PCB A-1627, FAIRMOUNT: PCB A-1625, FAIRMOUNT: PCB A-1608, FAIRMOUNT: PCB A-1610, FAIRMOUNT: PCB A-1619, FAIRMOUNT: PCB A-1622, FAIRMOUNT: PCB A-1613 | RP, LOAD
25-01359 | 17181773 | 07/01/2025 08:00 | 07/02/2025 15:00 | KEELER-OREGON CITY NO 2 115KV LINE | KEELER: PCB B-1080, OREGON CITY: PCB B-260 | LOAD, SOA, NOPE
25-08002 | 17766594 | 07/01/2025 08:00 | 07/01/2025 15:00 | CHEMAWA: PCB A-672 INCLUDING 230KV CAP GROUP 2 SECTION 1 | CHEMAWA: PCB A-672 | WOCS, SLAL
25-06900 | 17618690 | 07/01/2025 08:00 | 07/01/2025 15:30 | -LVE- HOOPER SPRINGS: PCB HL-742 | HOOPER SPRINGS: PCB HL-742
25-02149 | 17287959 | 07/01/2025 09:00 | 07/02/2025 15:00 | GRIZZLY: PCB 4720 INCLUDING 500KV REACTOR 2 | GRIZZLY: PCB 4720, GRIZZLY: 500KV REACTOR 2 | NWACI
25-00911 | 16842263 | 07/01/2025 11:15 | 07/01/2025 11:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-01374 | 17300213 | 07/02/2025 08:00 | 07/02/2025 16:30 | SCHULTZ: PCB 5145 |  | WOCN, NOEL
25-06901 |  | 07/02/2025 08:00 | 07/02/2025 15:30 | -LVE- HOOPER SPRINGS: PCB HH-743 | HOOPER SPRINGS: PCB HH-743
25-07228 | 17684348 | 07/02/2025 08:00 | 07/02/2025 15:00 | RAYMOND: PCB B-122
25-08003 | 17766599 | 07/02/2025 08:00 | 07/02/2025 15:00 | CHEMAWA PCB A-673 INCLUDING 230KV CAP GROUP 2 SECTION 2 | CHEMAWA: PCB A-673, CHEMAWA: 230KV CAP GROUP 2 SECTION 2 | WOCS, SLAL
25-02008 | 17115719 | 07/02/2025 22:45 | 07/02/2025 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-05898 |  | 07/03/2025 16:30 | 07/03/2025 17:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
25-00311 | 17269965 | 07/06/2025 22:00 | 07/21/2025 17:00 | GRAND COULEE: PCB 7286 |  | WOH, NOH, WOCN
25-00485 | 16463607 | 07/06/2025 22:00 | 07/06/2025 22:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-05149 | 17676779 | 07/07/2025 07:00 | 07/10/2025 17:00 | HAWKINS-HIDEAWAY SECTION OF HAWKINS-ALVEY NO 1 115KV LINE
25-00227 | 16210602 | 07/07/2025 07:00 | 07/17/2025 16:30 | BELL: 500/230KV TRANSFORMER 1, INCLUDING PCB A-577 AND THE 230KV AUX BUS SECT 5 | BELL: PCB 5307, BELL: PCB 5310, BELL: PCB A-577 | GEN, MT-NW, WOH
25-05900 |  | 07/07/2025 07:00 | 07/07/2025 07:30 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
25-00601 | 17080371 | 07/07/2025 07:30 | 07/08/2025 16:00 | CAPTAIN JACK: PCB 4924 BFR | CAPTAIN JACK: PCB 4924 | NWACI, COI
25-03313 | 17568618 | 07/07/2025 08:00 | 07/08/2025 15:00 | LOWER MONUMENTAL: PCB 4676 RELAYS | LOWER MONUMENTAL: PCB 4676 | WOLM
24-07643 | 15651713 | 07/07/2025 08:00 | 07/18/2025 15:00 | DEER ISLAND-RAINIER SECTION INCLUDING GOBLE TAP TO ST HELENS-ALLSTON NO 1 115KV LINE | GOBLE TAP TO ST HELENS-ALLSTON NO 1 115KV LINE, DEER ISLAND-GOBLE SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE, GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | SOA, NOPE
25-01610 | 17087048 | 07/07/2025 08:00 | 07/07/2025 15:00 | KNIGHT: PCB 5486 |  | WOCS, WOJD, WOCN, NOH, PDCI
25-07514 | 17720336 | 07/07/2025 08:00 | 07/08/2025 15:00 | LAKESIDE-HAUSER SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-06046 |  | 07/07/2025 08:00 | 07/09/2025 15:00 | SKOOKUM-SHELTON SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE |  | RP, SOA, NOPE
25-02617 | 17285780 | 07/07/2025 08:00 | 07/18/2025 16:00 | BOUNDARY-SACHEEN NO 1 230KV LINE | BOUNDARY: PCB A-1234, SACHEEN: PCB A-1900, SACHEEN: PCB A-1903 | SOB
25-03578 | 17412851 | 07/07/2025 08:00 | 07/18/2025 15:00 | RAYMOND-BALEVILLE SECTION OF RAYMOND-WILLAPA RIVER NO 1 115KV LINE
25-05272 | 17496032 | 07/07/2025 08:00 | 07/07/2025 15:00 | BETTAS ROAD: PCB A-3040 |  | NOEL, SOC, WOCN
25-06893 | 17636456 | 07/07/2025 08:00 | 07/11/2025 16:00 | HOLCOMB-OXBOW SECTION OF HOLCOMB-NASELLE NO. 1 115 KV LINE INCLUDING HOLCOMB TAP TO CHEHALIS-RAYMOND NO 1 115KV LINE AND HOLCOMB: PCB B-440 | PE ELL-HOLCOMB SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE, HOLCOMB-RAYMOND SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE, HOLCOMB-OXBOW SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE, HOLCOMB: PCB B-440, HOLCOMB TAP TO CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD, SOA, NOPE, RP
25-05135 | 17418947 | 07/07/2025 08:30 | 07/07/2025 15:30 | MARION: 500KV SOUTH BUS INCLUDING PCBS 4383 AND 4374 | MARION: 500KV SOUTH BUS, MARION: PCB 4383, MARION: 500KV CAP GROUP 1, MARION: 500KV REACTOR 2, MARION: PCB 4331, MARION: PCB 4020, MARION: PCB 4946, MARION: PCB 4365, MARION: PCB 4374 | WOCS, NWACI, NOPE
25-07578 | 17703558 | 07/07/2025 09:00 | 07/09/2025 16:00 | GARRISON: PCB 4415 |  | MT-NW
25-01614 | 17089078 | 07/07/2025 09:00 | 07/10/2025 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | FORT ROCK: PCB 4265, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | NWACI
25-07718 | 17726047 | 07/07/2025 09:00 | 07/18/2025 15:30 | WARNER: 115KV CAP GROUP 1 AVC | WARNER: PCB B-133, WARNER: 115KV CAP GROUP 1
25-08287 | 17805781 | 07/07/2025 22:00 | 07/08/2025 02:00 | COLUMBIA-PALISADES SECTION OF COLUMBIA-ROCKY FORD NO 1 115KV LINE | COLUMBIA-ROCKY FORD NO 1 115KV LINE | NOH
25-08311 | 17805832 | 07/08/2025 02:00 | 08/22/2025 16:00 | COLUMBIA-(GPUD) STRUCTURE 1 SECTION OF THE COLUMBIA-ROCKY FORD NO 1 115KV LINE INCLUDING COLUMBIA: PCB B-400 | COLUMBIA: PCB B-400
25-00941 | 16847424 | 07/08/2025 06:00 | 07/13/2025 16:00 | SNOHOMISH-BEVERLY PARK NO 3 115KV LINE
25-08286 | 17726066 | 07/08/2025 07:00 | 07/08/2025 18:00 | SCL - BOTHELL-SHORELINE 1, BOTHELL-CANAL 115KV LINES AND BOTHELL 230/115KV BANK 61 | BOTHELL (SCL)-CANAL 115KV LINE, BOTHELL (SCL)-SHORELINE NO 1 115KV LINE, BOTHELL: 230/115KV TRANSFORMER 61 | NOEL, SOC, LOAD
25-00896 | 16821941 | 07/08/2025 07:30 | 07/08/2025 07:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-01612 | 17094334 | 07/08/2025 08:00 | 07/09/2025 15:00 | JOHN DAY: PCB 4170 |  | NWACI, WOCS, WOJD, PDCI
25-04171 | 17333502 | 07/08/2025 08:00 | 07/17/2025 17:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE |  | GEN, LOAD, WOCS, FCRPS
25-03125 | 17256987 | 07/08/2025 08:00 | 07/08/2025 15:00 | MARION: PCB 4377 |  | NWACI, WOCS
25-05274 | 17496034 | 07/08/2025 08:00 | 07/08/2025 12:30 | BETTAS ROAD: PCB A-3043 |  | NOEL, SOC, WOCN
25-06131 | 17537182 | 07/08/2025 09:00 | 07/10/2025 15:00 | ALCOA: RIVER ROAD-ALCOA 115KV LINE RELAYS INCLUDING PCB'S B-1892 & B-1893 | RIVER ROAD-ALCOA 115KV LINE, ALCOA: PCB B-1892, ALCOA: PCB B-1893 | LOAD, SOA, GEN, NOPE
25-00897 | 16821949 | 07/08/2025 11:15 | 07/08/2025 11:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-05275 | 17496042 | 07/08/2025 12:30 | 07/08/2025 16:30 | BETTAS ROAD: PCB A-3046 |  | NOEL, SOC, WOCN
25-07658 | 17823083 | 07/08/2025 21:00 | 07/09/2025 07:00 | BELFAIR TAP TO SHELTON-KITSAP NO 2 115KV LINE | BELFAIR-KITSAP SECTION OF SHELTON-KITSAP NO 2 115KV LINE, BELFAIR: B-2057 LINE SECTIONALIZING DISC, BELFAIR: MASON CO PUD 3 115KV FEEDER 1 | RP
25-06518 | 17576661 | 07/09/2025 07:30 | 07/10/2025 16:00 | ALVEY: PCB 5081 ALARMS | ALVEY: PCB 5081 | NWACI, EWEB
25-03126 | 17257018 | 07/09/2025 08:00 | 07/09/2025 15:00 | MARION: PCB 4380 |  | NWACI, WOCS
25-03363 | 17568652 | 07/09/2025 08:00 | 07/10/2025 15:00 | LOWER MONUMENTAL: PCB 4624 RELAYS | LOWER MONUMENTAL: PCB 4624 | WOLM
25-05276 | 17496045 | 07/09/2025 08:00 | 07/10/2025 16:00 | BETTAS ROAD: PCB A-3050
25-01753 | 17094557 | 07/10/2025 08:00 | 07/10/2025 16:00 | JOHN DAY: PCB 4176 |  | NWACI, WOJD, PDCI
25-05302 | 17449464 | 07/10/2025 08:00 | 07/10/2025 16:00 | SALEM: PCB B-64
25-03609 | 17293682 | 07/10/2025 08:00 | 07/10/2025 16:00 | VANTAGE-COLUMBIA NO 1 230KV LINE INCLUDING COLUMBIA PCB'S A-168 AND A-343 AND VANTAGE PCB'S A-1160 AND A-1163 | VANTAGE-COLUMBIA NO 1 230KV LINE, COLUMBIA: PCB A-168, VANTAGE: PCB A-1163, COLUMBIA: PCB A-343, VANTAGE: PCB A-1160 | GEN, NOH, CI, SIG, WOCN
25-03599 | 17293162 | 07/10/2025 08:00 | 07/11/2025 16:00 | CARLTON: A-316 TERMINAL INCLUDING MW&L CASCADE STEEL A-1565 TERMINAL OF CARLTON-SHERWOOD NO 1 230KV LINE | CARLTON-SHERWOOD NO 1 230KV LINE, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2, CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE, NWACI
25-03127 | 17257014 | 07/10/2025 08:00 | 07/10/2025 15:00 | MARION: PCB 4389 |  | NWACI, WOCS
25-05901 |  | 07/10/2025 16:30 | 07/10/2025 17:00 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
25-06520 | 17576746 | 07/11/2025 07:30 | 07/12/2025 16:00 | ALVEY: PCB 5091 ALARMS | ALVEY: PCB 5091
24-01040 | 14695728 | 07/13/2025 06:00 | 08/01/2025 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-00981 | 17133701 | 07/14/2025 04:30 | 09/26/2025 15:00 | LIBBY: A-1590 TERMINAL OF LIBBY PH-LIBBY NO 1 230KV LINE | LIBBY PH-LIBBY NO 1 230KV LINE | GEN, FCRPS
25-03622 | 17299299 | 07/14/2025 07:00 | 07/15/2025 15:00 | RAVER: PCB 4844 INCLUDING 500KV REACTOR 2 | RAVER: 500KV REACTOR 2, RAVER: PCB 4844 | NOEL, RP, SOC
25-03579 | 17292738 | 07/14/2025 07:00 | 07/15/2025 16:00 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 |  | IROL, NOEL, NOH, SOC, WOCN
25-05636 | 17518430 | 07/14/2025 07:00 | 07/14/2025 16:00 | SHELTON: PCB A-1667 |  | RP
25-00259 | 17286340 | 07/14/2025 07:00 | 07/18/2025 17:00 | FRANKLIN: B-1528 TERMINAL OF ICE HARBOR-FRANKLIN NO 1 115KV LINE | ICE HARBOR-FRANKLIN NO 1 115KV LINE, FRANKLIN: PCB B-1528 | GEN, TCLA
25-00399 | 16433110 | 07/14/2025 07:00 | 07/17/2025 16:00 | NOVELTY HILL-KLAHANIE SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | SAMMAMISH-NOVELTY HILL SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC
25-03852 | 17345109 | 07/14/2025 07:00 | 07/14/2025 10:00 | -LVE- HOBACK: 115KV MAIN BUS INCLUDING THE SNAKE RIVER-HOBACK SECTION AND THE HOBACK-RAFTER J SECTION OF THE SNAKE RIVER-JACKSON NO 1 115KV LINE | SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
25-03880 | 17345156 | 07/14/2025 07:00 | 07/23/2025 15:30 | -LVE- HOBACK-RAFTER J SECTION OF SNAKE RIVER-JACKSON 115KV LINE INCLUDING THE HOBACK: HR781 LINE SECT DISC | HOBACK-RAFTER J SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, MT-NW
25-08482 | 17839736 | 07/14/2025 07:00 | 07/17/2025 15:00 | MORROW FLAT: 230/115KV TRANSFORMER 1 | MORROW FLAT: PCB A-1861, MORROW FLAT: PCB A-1864, MORROW FLAT: PCB B-2224, MORROW FLAT: PCB B-2227 | WOM, LOAD
25-05164 | 17677024 | 07/14/2025 07:00 | 07/17/2025 17:00 | HAWKINS-HIDEAWAY SECTION OF HAWKINS-ALVEY NO 1 115KV LINE
25-05903 |  | 07/14/2025 07:00 | 07/14/2025 07:30 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
25-03611 | 17299853 | 07/14/2025 07:00 | 07/31/2025 15:00 | NESPELEM-GOOSE LAKE SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE |  | LOAD
25-06510 | 17576884 | 07/14/2025 07:30 | 07/18/2025 16:00 | ALVEY: 500KV REACTOR 2 INCLUDING PCB 5099 AND MOD 5098 ALARMS | ALVEY: 500KV REACTOR 2, ALVEY: PCB 5099 | NWACI, EWEB, SLAL
25-04703 | 17374687 | 07/14/2025 08:00 | 07/19/2025 10:00 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCBS 5514 AND 5513 | WAUTOMA: PCB 5514, WAUTOMA: PCB 5513, WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 | NOH, WOCN
25-01234 | 17244577 | 07/14/2025 08:00 | 07/14/2025 15:00 | HATWAI: PCB 4708 |  | MT-NW, NOH, WOH, WOLM
25-02264 | 17175269 | 07/14/2025 08:00 | 07/15/2025 15:00 | CUSTER: PCB A-1250 |  | BCHT, BCHW, NOEL, SOC, NI
25-00756 | 16856714 | 07/14/2025 08:00 | 07/18/2025 15:00 | MALIN: PCB 4066 |  | NWACI, COI
25-03324 | 17338281 | 07/14/2025 08:00 | 07/15/2025 15:00 | LOWER MONUMENTAL: PCB 4599 RELAYS | LOWER MONUMENTAL: PCB 4599 | WOLM
25-07534 | 17720052 | 07/14/2025 08:00 | 07/14/2025 16:00 | COSMOPOLIS: PCB B-1330 | RAYMOND-COSMOPOLIS NO 1 115KV LINE | LOAD
25-01751 | 17094606 | 07/14/2025 08:00 | 07/15/2025 15:00 | JOHN DAY: PCB 4164 |  | NWACI, WOJD, PDCI
25-08171 | 17783884 | 07/14/2025 08:00 | 07/18/2025 14:30 | KEELER-OREGON CITY NO 2 115KV LINE | KEELER: PCB B-1080, OREGON CITY: PCB B-260 | LOAD, SOA, NOPE
25-01211 | 17268802 | 07/14/2025 08:00 | 08/16/2025 15:00 | PEARL: 230KV CAP GROUP NO. 2 INCLUDING PCB A-1170 | PEARL: PCB A-1170, PEARL: 230KV CAP GROUP 2 | SOA, NOPE, WOCS
25-03557 | 17293696 | 07/14/2025 08:00 | 07/14/2025 14:00 | PEARL: PCB A-1192 |  | SOA, NOPE
25-02151 | 17287975 | 07/14/2025 09:00 | 07/17/2025 15:00 | GRIZZLY: PCB 5037 |  | NWACI
25-01212 | 17298825 | 07/15/2025 08:00 | 08/14/2025 15:00 | PEARL: PCB A-1167 | PEARL: 230KV AUX BUS
25-02356 | 17191342 | 07/16/2025 07:00 | 07/17/2025 14:00 | GARRISON: PCB 4409 |  | MT-NW
25-03582 | 17294263 | 07/16/2025 07:00 | 07/17/2025 16:00 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4693 | COLUMBIA: PCB 4693, COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2 | NOH, WOCN, IROL, NOEL, SOC
25-04643 | 17380813 | 07/16/2025 08:00 | 07/17/2025 15:00 | FAIRMOUNT: PCB B-1374 INCLUDING THE 115KV AUX BUS AND JEFFERSON COUNTY PUD 115KV FEEDER 2 TO 1135 DISCONNECT | FAIRMOUNT: JEFFERSON C PUD 115KV FEEDER 2
25-01749 | 17094629 | 07/16/2025 08:00 | 07/17/2025 15:00 | JOHN DAY: PCB 4153 INCLUDING CAP GROUP 1 | JOHN DAY: 500KV CAP GROUP 1, JOHN DAY: PCB 4153 | NWACI, WOJD, PDCI
25-03018 | 17246623 | 07/17/2025 08:00 | 07/17/2025 12:00 | SCHULTZ: PCB 5176 |  | WOCN, NOEL
25-08535 | 17824357 | 07/17/2025 10:00 | 07/17/2025 13:00 | NASELLE: 115 KV CAP GROUP 1 SECTIONS 1, 2, 3 INCLUDING PCB B-1715, LBDs B-1718, B-1719, B-1722, & 115 KV REACTIVE BUS | NASELLE: LBD B-1718, NASELLE: LBD B-1719, NASELLE: LBD B-1722, NASELLE: PCB B-1715 | SOA, LOAD
25-04559 | 17583211 | 07/17/2025 10:00 | 07/17/2025 16:00 | MIDWAY-HEW NO 2 230kV LINE INCLUDING MIDWAY: PCB A-114 AND THE 230kV AUX BUS SECTION 1 | MIDWAY: PCB A-114, MIDWAY: 230KV AUX BUS SECTION 1, MIDWAY: PCB A-68, MIDWAY-HEW NO 2 230KV LINE | WOM, GEN, TCLA, LOAD
25-03019 | 17246628 | 07/17/2025 12:00 | 07/17/2025 16:00 | SCHULTZ: PCB 5179 |  | NOH, WOCN
25-05904 |  | 07/17/2025 16:30 | 07/17/2025 17:00 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
25-00395 | 16433063 | 07/18/2025 07:00 | 07/31/2025 16:00 | KLAHANIE-MAPLE VALLEY SECTION OF SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE |  | NOEL, SOC, SIG
25-04669 | 17374868 | 07/19/2025 10:00 | 07/22/2025 18:30 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 |  | NOH, WOCN
25-06777 |  | 07/21/2025 06:00 | 07/25/2025 13:30 | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE
25-05567 | 17490104 | 07/21/2025 06:00 | 07/21/2025 09:00 | MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE INCLUDING CBF MOYIE SUB AND MOYIE PH AND NBCH SUB | MOYIE SPRINGS TAP TO LIBBY-BONNERS FERRY NO 1 115KV LINE, NORTH BENCH: NORTHERN LIGHTS 13.8KV FEEDER 1, NORTH BENCH: BONNERS FERRY ID 13.8KV FEEDER 1, MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE | FLAT, SOB
25-05569 | 17490032 | 07/21/2025 06:00 | 07/21/2025 09:00 | BONNERS FERRY-SMTH SMITH CREEK NO 1 115KV LINE | BONNERS FERRY: NORTHERN LIGHTS 115KV FEEDER 1 TO SMITH CREEK
25-05356 | 17569938 | 07/21/2025 06:00 | 07/22/2025 16:00 | BONNERS FERRY: 115KV MAIN BUS INCLUDING 115KV CAP GROUP 1 AND 115KV CAP GROUP 2 SECTION 1 | MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE, BONNERS FERRY: BONNERS FERRY ID 13.8KV FEEDER 1, BONNERS FERRY: NORTHERN LIGHTS 13.8KV FEEDER 1, BONNERS FERRY: 115/13.8KV TRANSFORMER 1, BONNERS FERRY: 115/13.8KV TRANSFORMER 2, BONNERS FERRY: 115KV BUS, BONNERS FERRY: 115KV CAP GROUP 1, BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1 | FLAT, SOB, LOAD
25-01288 |  | 07/21/2025 06:00 | 08/11/2025 07:00 | -PACW- CPUD RUNYAN-PACW TROUTDALE NO 1 115KV LINE | RUNYAN: 115-236 DSC
25-00312 | 17287019 | 07/21/2025 06:30 | 07/24/2025 17:00 | GRAND COULEE-BELL NO.5 230KV LINE INCLUDING PCB 7286, 7382 AND 230KV A/B SECTION 3 | GRAND COULEE-BELL NO 5 230KV LINE, GRAND COULEE: 230KV AUX BUS SECTION 3 | NOH, WOH
25-08489 | 17817941 | 07/21/2025 07:00 | 07/21/2025 10:00 | BONNEVILLE PH 1-NORTH BONNEVILLE NO 2 230KV LINE | NORTH BONNEVILLE: PCB A-6 | GEN, WOCS, FCRPS
25-06197 | 17537421 | 07/21/2025 07:00 | 07/31/2025 16:00 | LEXINGTON: B-1466 TERMINAL OF LEXINGTON-WEST KELSO 1 115KV LINE | LEXINGTON-WEST KELSO 115KV LINE, LEXINGTON: PCB B-1466
25-02335 | 17191334 | 07/21/2025 07:00 | 07/22/2025 14:00 | GARRISON: PCB 4421 |  | MT-NW
25-05906 |  | 07/21/2025 07:00 | 07/21/2025 07:30 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
25-03138 | 17323813 | 07/21/2025 07:30 | 07/22/2025 15:00 | NAPAVINE: PCB 5226 |  | SOA, NOPE
25-02310 | 17176654 | 07/21/2025 07:30 | 07/24/2025 15:00 | CUSTER: 500/230kV BANK #2 INCLUDING PCB 4486 | CUSTER: 500/230KV TRANSFORMER 2, CUSTER: PCB 4486 | NOEL, SIG, SOC, NI, BCHT, BCHW
25-01748 | 17094639 | 07/21/2025 08:00 | 07/22/2025 15:00 | JOHN DAY: PCB 4140 |  | NWACI, WOJD, PDCI
25-04210 | 17337282 | 07/21/2025 08:00 | 08/01/2025 17:00 | NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | GEN, LOAD, WOCS, FCRPS, SOA, NOPE
25-07979 | 17777976 | 07/21/2025 08:00 | 07/21/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-02025 | 17292785 | 07/21/2025 08:00 | 07/31/2025 16:30 | BIG EDDY-PARKDALE SECTION OF BIG EDDY-TROUTDALE NO 1 230KV LINE |  | PDCI, WOCS
25-02672 | 17444586 | 07/21/2025 08:00 | 07/24/2025 15:00 | HARVALUM: PCB A-1446 RELAYS | HARVALUM: PCB A-1446 | WOM
25-06509 | 17576907 | 07/21/2025 08:00 | 07/25/2025 15:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5103 ALARMS | ALVEY: PCB 5103, ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 | NWACI, EWEB
25-03327 | 17330486 | 07/21/2025 08:00 | 07/22/2025 15:00 | LOWER MONUMENTAL: PCB 4247 RELAYS | LOWER MONUMENTAL: PCB 4247 | WOLM
25-00382 | 16331864 | 07/21/2025 08:00 | 07/23/2025 15:00 | ASHE: PCB 4907 INCLUDING REACTOR 1 | ASHE: 500KV REACTOR 1, ASHE: PCB 4907 | NWACI, FCRPS, NOH
25-03580 | 17412874 | 07/21/2025 08:00 | 08/01/2025 15:00 | RAYMOND-HENKLE ST. NO 1 115KV LINE
25-02145 | 17287995 | 07/21/2025 09:00 | 07/24/2025 15:00 | GRIZZLY: PCB 4042 |  | NWACI, WOJD
25-02012 | 17115663 | 07/22/2025 07:30 | 07/22/2025 07:45 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-07981 | 17778037 | 07/22/2025 08:00 | 07/22/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-01201 | 17293823 | 07/22/2025 08:00 | 07/24/2025 17:00 | HILLS CREEK: B-1490 TERMINAL OF THE HILLS CREEK-OAKRIDGE SECTION OF THE HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, HILLS CREEK: PCB B-1490
25-02011 | 17115652 | 07/22/2025 11:15 | 07/22/2025 11:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-05570 | 17490035 | 07/22/2025 14:00 | 07/22/2025 17:00 | BONNERS FERRY-SMTH SMITH CREEK NO 1 115KV LINE | BONNERS FERRY: NORTHERN LIGHTS 115KV FEEDER 1 TO SMITH CREEK
25-05568 | 17490112 | 07/22/2025 14:00 | 07/22/2025 17:00 | MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE INCLUDING CBF MOYIE SUB AND MOYIE PH AND NBCH SUB | MOYIE SPRINGS TAP TO LIBBY-BONNERS FERRY NO 1 115KV LINE, NORTH BENCH: NORTHERN LIGHTS 13.8KV FEEDER 1, NORTH BENCH: BONNERS FERRY ID 13.8KV FEEDER 1, MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE | FLAT, SOB
25-04718 | 17374898 | 07/22/2025 18:30 | 07/25/2025 15:00 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCBS 5514 AND 5513 | WAUTOMA: PCB 5513, WAUTOMA: PCB 5514, WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 | NOH, WOCN
25-02357 | 17191344 | 07/23/2025 07:00 | 07/24/2025 14:00 | GARRISON: PCB 4412 |  | MT-NW
25-03119 | 17293991 | 07/23/2025 07:00 | 07/27/2025 15:00 | YAAK-MOYIE SPRINGS SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | LOAD
25-03139 | 17323829 | 07/23/2025 07:30 | 07/24/2025 15:00 | NAPAVINE: PCB 5229 |  | GEN, SOA, NOPE
25-03328 | 17568821 | 07/23/2025 08:00 | 07/24/2025 15:00 | LOWER MONUMENTAL: PCB 4316 RELAYS | LOWER MONUMENTAL: PCB 4316 | WOLM
25-07982 | 17778038 | 07/23/2025 08:00 | 07/23/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-00942 | 16977205 | 07/23/2025 08:00 | 07/23/2025 15:00 | MONROE: 500KV CAP GROUP 3 INCLUDING PCB 5047 | MONROE: PCB 5047, MONROE: 500KV CAP GROUP 3 | WOCN, NI, NOEL, SOC, IROL
25-01750 | 17094656 | 07/23/2025 08:00 | 07/24/2025 15:00 | JOHN DAY: PCB 4158 |  | NWACI, WOJD, PDCI
25-03876 | 17345247 | 07/23/2025 12:30 | 07/23/2025 15:30 | -LVE- HOBACK: 115KV MAIN BUS INCLUDING THE SNAKE RIVER-HOBACK SECTION AND THE HOBACK-RAFTER J SECTION OF THE SNAKE RIVER-JACKSON NO 1 115KV LINE | SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
25-08422 | 17812384 | 07/24/2025 07:00 | 07/24/2025 17:00 | GRAND COULEE: PCB 5382 |  | NOH, WOCN
25-07983 | 17778039 | 07/24/2025 08:00 | 07/24/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-07836 | 17739542 | 07/24/2025 08:00 | 07/24/2025 14:00 | SATSOP: PCBs A-616 AND A-619 | SATSOP-ABERDEEN NO 3 230KV LINE, SATSOP: PCB A-616, SATSOP: PCB A-619 | LOAD, SI, GEN
25-05207 | 17455828 | 07/24/2025 09:00 | 07/24/2025 14:00 | MARION: 500KV CAP GROUP 1 INCLUDING PCB 4331 | MARION: 500KV CAP GROUP 1, MARION: PCB 4331 | WOCS, NWACI
25-05208 | 17455868 | 07/24/2025 09:00 | 07/24/2025 14:00 | MARION: 500KV REACTOR 1 INCLUDING PCB 4012 | MARION: 500KV REACTOR 1, MARION: PCB 4012 | NWACI
25-05209 | 17455888 | 07/24/2025 09:00 | 07/24/2025 14:00 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020 | MARION: 500KV REACTOR 2, MARION: PCB 4020 | NWACI
25-05907 |  | 07/24/2025 16:30 | 07/24/2025 17:00 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
25-07984 | 17778040 | 07/25/2025 08:00 | 07/25/2025 15:00 | HILLTOP: 230 KV CCVT 30H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 30H, HILLTOP: PCB A-1534, HILLTOP-FORT SAGE NO 1 345KV LINE | RATS, NWACI
25-00751 | 16847557 | 07/27/2025 22:00 | 08/01/2025 17:00 | GRAND COULEE: PCB 2292 |  | GEN, NOH, WOCN
25-02359 | 17191373 | 07/28/2025 07:00 | 07/31/2025 14:00 | GARRISON: 500KV REACTOR 1 |  | MT-NW
25-03120 | 17298954 | 07/28/2025 07:00 | 07/31/2025 15:00 | MOYIE SPRINGS-BONNERS FERRY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | FLAT, SOB
25-02442 | 17191389 | 07/28/2025 07:00 | 07/28/2025 08:00 | BROADVIEW-GARRISON NO 1 500KV LINE | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, GEN
25-02785 | 17730566 | 07/28/2025 07:00 | 07/29/2025 15:00 | MALIN: PCB 4582 |  | NWACI, COI
25-05168 | 17724213 | 07/28/2025 07:00 | 08/01/2025 17:00 | EUGENE-DILLARD SECTION OF EUGENE-ALVEY NO 2 115KV LINE
25-05910 |  | 07/28/2025 07:00 | 07/28/2025 07:30 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
25-03140 | 17323774 | 07/28/2025 07:30 | 07/29/2025 15:00 | NAPAVINE: PCB 5232
25-01171 | 17176548 | 07/28/2025 08:00 | 07/29/2025 15:00 | CUSTER: PCB 4482 |  | BCHT, BCHW, NOEL, SOC, NI
25-03333 | 17330518 | 07/28/2025 08:00 | 07/31/2025 15:00 | LOWER MONUMENTAL: PCB 4600 RELAYS | LOWER MONUMENTAL: PCB 4600, LOWER MONUMENTAL: 500KV REACTOR 1 | WOLM
25-03577 |  | 07/28/2025 08:00 | 08/29/2025 16:00 | -PGE- BETHEL-MONITOR-MCLOUGHLIN 230KV LINE |  | NWACI, NOPE, SOA, WOCS
25-08371 | 17292240 | 07/28/2025 08:00 | 08/29/2025 16:00 | PGE - BETHEL-MONITOR-MCLOUGHLIN 230KV LINE
25-00069 |  | 07/28/2025 08:00 | 08/01/2025 15:00 | -PACW- PONDEROSA (PACW) - BALDWIN ROAD NO.1, 115KV LINE | -PACW- PONDEROSA (PACW) - BALDWIN ROAD NO.1, 115KV LINE
25-04709 | 17374927 | 07/28/2025 08:00 | 07/31/2025 15:00 | KITSAP: 230/115KV TRANSFORMER 2 | SHELTON-KITSAP NO 4 230KV LINE | LOAD, RP
25-08090 | 17776872 | 07/28/2025 08:00 | 07/31/2025 17:00 | TAHKENITCH: 230/115KV TRANSFORMER 1 INCLUDING: PCB B-1570 | TAHKENITCH: 13.8KV/240V/120V 3-PH STATION SERVICE TRANSFORMER, WENDSON-TAHKENITCH NO 2 230KV LINE, TAHKENITCH: 230/115KV TRANSFORMER 1 | LOAD, SCORC
25-06117 | 17537706 | 07/28/2025 08:00 | 07/29/2025 12:00 | RATHDRUM AVA-LANCASTER 230KV LINE INCLUDING LANCASTER: PCB A-1184 | LANCASTER: PCB A-1184, RATHDRUM AVA-LANCASTER 230KV LINE | WOH
25-02148 | 17288011 | 07/28/2025 09:00 | 07/31/2025 15:00 | GRIZZLY: PCB 5025 |  | NWACI
25-02017 | 17115721 | 07/29/2025 07:30 | 07/29/2025 07:45 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-00329 | 17133117 | 07/29/2025 08:00 | 08/02/2025 15:00 | KNAPPA-FERN HILL SECTION OF DRISCOLL-ASTORIA NO 1 115KV LINE INCLUDING B-1813 DISCONNECT | KNAPPA-FERN HILL SECTION OF DRISCOLL-ASTORIA NO 1 115KV LINE | SOA
25-00462 | 16842562 | 07/29/2025 08:00 | 07/29/2025 17:00 | GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE |  | SOA, NOPE
25-02018 | 17115722 | 07/29/2025 11:15 | 07/29/2025 11:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-06112 | 17536793 | 07/29/2025 12:30 | 07/30/2025 12:00 | LANCASTER: PCB A-1182 |  | WOH
25-03141 | 17323803 | 07/30/2025 07:00 | 07/31/2025 15:00 | PAUL: PCB 4548 |  | WOCS, SOA, NOPE
25-04191 | 17337311 | 07/30/2025 08:00 | 07/30/2025 15:00 | HARVALUM: PCB A-1435, INCLUDING 230 KV CAP GRP #1 | HARVALUM: 230KV CAP GROUP 1 | WOM
25-01756 | 17094666 | 07/30/2025 08:00 | 07/31/2025 15:00 | JOHN DAY: PCB 4179 |  | NWACI, WOJD, PDCI
25-06119 | 17541363 | 07/30/2025 12:30 | 07/31/2025 15:00 | LANCASTER: PCB A-1186 |  | WOH
25-06136 | 17692485 | 07/31/2025 07:00 | 07/31/2025 12:00 | MURRAY: PCB B-1748 BFR | MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2, MURRAY: PCB B-1748
25-04194 | 17331032 | 07/31/2025 08:00 | 07/31/2025 15:00 | HARVALUM: PCB A-1442
25-06952 | 17692482 | 07/31/2025 12:00 | 07/31/2025 12:30 | MURRAY: PCB B-1745 | MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2
25-06150 | 17692480 | 07/31/2025 12:30 | 07/31/2025 13:30 | MURRAY: PCB A-1516 |  | BCHT, BCHW, NOEL, SOC
25-02443 | 17191395 | 07/31/2025 13:00 | 07/31/2025 14:00 | BROADVIEW-GARRISON NO 1 500KV LINE | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, GEN
25-06944 | 17692477 | 07/31/2025 13:30 | 07/31/2025 14:30 | MURRAY: PCB A-1510 |  | BCHT, BCHW, NOEL, SOC
25-08492 | 17817974 | 07/31/2025 14:00 | 07/31/2025 17:00 | BONNEVILLE PH 1-NORTH BONNEVILLE NO 2 230KV LINE | NORTH BONNEVILLE: PCB A-6 | GEN, WOCS, FCRPS
25-06947 | 17692479 | 07/31/2025 14:30 | 07/31/2025 15:30 | MURRAY: PCB A-1514 |  | BCHT, BCHW, NOEL, SOC
25-01560 | 17575025 | 07/31/2025 15:00 | 08/07/2025 15:00 | FRANKLIN: PCB B-610
25-05911 |  | 07/31/2025 16:30 | 07/31/2025 17:00 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS