## Request List
Request# | Start | End | Main Element Impacted | Elements Involved | Path Affected | CAISO#
23-04125 | 01/28/2023 17:00 | 06/30/2026 15:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC | 18099097
23-16749 | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI | 14853282
23-18564 | 12/20/2023 14:56 | 11/07/2025 23:59 | PACW - BURNS: 500KV SERIES CAP SEGMENT 1 & 2 | BURNS: 500KV SERIES CAP SEGMENT 1, BURNS: 500KV SERIES CAP SEGMENT 2 | NWACI
24-10016 | 05/28/2024 13:30 | 05/27/2027 15:00 | GRAND COULEE: 230/115KV TRANSFORMER KX2A
25-04441 | 02/01/2025 08:00 | 11/03/2025 08:00 | PG&E: TABLE MOUNTAIN SERIES CAPACITOR - ROUND MOUNTAIN NO. 1 |  | COI
25-05571 | 02/24/2025 12:00 | 12/31/2025 23:00 | GARRISON-ANACONDA NO 1 230KV LINE (DERATED) |  | MT-NW | 17476640
25-08584 | 04/28/2025 08:00 | 12/31/2025 15:00 | GRAND COULEE: 287/230KV BANK KX17A TRANSFORMER 1, OLYMPIA: 287/230KV TRANSFORMER 3 |  | NOH, OKLA, NOEL, RP, SOC, WOCN, IROL | 17839247
25-08817 | 05/03/2025 06:00 | 12/31/2025 15:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-10174 | 06/03/2025 08:00 | 12/19/2025 15:00 | -PACW- COLD SPRINGS: 230/69KV TRANSFORMER 1 |  | TCLA, WOM
25-10212 | 06/04/2025 08:00 | 12/25/2025 07:00 | PG&E - TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP |  | COI
25-08863 | 06/16/2025 11:00 | 12/04/2025 16:00 | -EWEB- DANEBO: 115KV BUS BETWEEN AS 4973 AND PCB 4950 | DANEBO: AS 4973 DSC, DANEBO: PCB 4950, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB | 17882951
25-06096 | 06/26/2025 16:00 | 11/10/2025 08:00 | ROCKY REACH: 345/230KV TRANSFORMER 1 INCLUDING MODS A-3017, A-3016 AND THE A-1001 DISCONNECTS | ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN | 17530014
25-11191 | 07/02/2025 11:00 | 12/31/2026 15:00 | THURSTON-MCKENZIE (EWEB) NO 1 115KV LINE |  | EWEB | 18237263
25-11790 | 07/16/2025 08:00 | 12/31/2028 15:00 | VALHALLA: CHELAN CO PUD 115KV FEEDER 1 (DERATED) |  |  | 18336659
25-11663 | 07/17/2025 09:00 | 12/19/2025 16:00 | -PACW- COLD SPRINGS-HERMISTION 69KV LINE
25-04425 | 08/01/2025 16:30 | 11/12/2025 08:00 | OSTRANDER: 500KV REACTORS 1 AND 2 INCLUDING PCB 4838 AND MOD 4837 | OSTRANDER: PCB 4838, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2 | WOCS | 17359851
25-13716 | 09/04/2025 08:00 | 11/01/2025 15:00 | LA GRANDE: L-132 TERMINAL OF THE OREGON TRAIL 69KV FEEDER 1 | LA GRANDE: 69KV PCB L-132, LA GRANDE: OREGON TRAIL 69KV FEEDER 1
25-01217 | 09/15/2025 08:00 | 12/05/2025 15:00 | STEVENS DRIVE-THAYER DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA | 17305631
25-05399 | 09/15/2025 08:00 | 12/09/2025 16:00 | MCNARY: 230KV MAIN BUS SECTION 2 INCLUDING PCBs A-425 AND A-428 | MCNARY PH-MCNARY 3&4 NO 4 230KV LINE, MCNARY-MORROW FLAT NO 2 230KV LINE, MCNARY: 500/230KV TRANSFORMER 2 | FCRPS, GEN, WOM, NWACI | 17536412
25-08696 | 09/22/2025 06:00 | 11/07/2025 16:00 | IPC - MIDPOINT-HEMINGWAY 500KV LINE | MIDPOINT (IPC)-HEMINGWAY 500KV LINE | ID-NW, NWACI | 17088910
25-06271 | 10/14/2025 08:00 | 12/19/2025 15:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, INCLUDING PCB L-126 | SNOHOMISH: 345/230KV TRANSFORMER 5 | NOEL, SOC, WOCN, GEN, IROL, NOH | 17638049
25-04409 | 10/18/2025 03:00 | 11/08/2025 21:00 | CELILO-SYLMAR POLES 3 & 4 1000KV LINE (GROUNDED)
25-11281 | 10/19/2025 08:00 | 11/21/2025 15:00 | CARLTON: A-316 BAY INCLUDING A-316 L/S DISC (CARLTON-SHERWOOD 1 230KV LINE) | CARLTON-SHERWOOD NO 1 230KV LINE | LOAD, SOA, NOPE
25-01404 | 10/20/2025 07:00 | 11/13/2025 18:00 | WAUTOMA-ROCK CREEK NO 1 500KV LINE |  | BCHT, BCHW, NI, NOH, SIG, WOJD, WOM | 17037300
25-08243 | 10/20/2025 08:00 | 11/26/2025 15:00 | SILVER CREEK-MAYFIELD SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE |  | SOA, NOPE | 17804543
25-09928 | 10/22/2025 07:00 | 11/20/2025 17:00 | PGE - PEARL-SHERWOOD 1 & 2 230KV LINE |  | WOCS, NOPE, SOA | 18011161
25-06730 | 10/24/2025 17:15 | 12/19/2025 15:00 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, (OPERATING AT 230KV) |  | GEN, IROL, NOEL, NOH, SOC, WOCN | 18499631
25-06868 | 10/25/2025 15:00 | 11/08/2025 22:00 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE | 17771727
25-13820 | 10/27/2025 07:00 | 12/19/2025 16:00 | ROCKY REACH: PCB 7-770
25-10394 | 10/27/2025 07:00 | 11/21/2025 15:30 | MCNARY-FRANKLIN NO 2 230KV LINE (GROUNDED) | MCNARY-FRANKLIN NO 2 230KV LINE, FRANKLIN: 230/115KV TRANSFORMER 4 | WOM, TCLA
25-05298 | 10/27/2025 07:00 | 11/21/2025 15:30 | FRANKLIN: 230/115KV TRANSFORMER 4 | MCNARY-FRANKLIN NO 2 230KV LINE | WOM, TCLA | 17582209
25-01219 | 10/27/2025 08:00 | 11/07/2025 15:00 | MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE #1 115kV LINE INCLUDING OSTREA TAP | MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA | 18602753
25-02673 | 11/01/2025 06:00 | 11/02/2025 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM | 17212778
25-12896 | 11/02/2025 14:00 | 11/04/2025 17:00 | GRAND COULEE: PCB 7286 |  | WOH, NOH, WOCN | 18500597
25-00006 | 11/02/2025 22:00 | 12/03/2025 18:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5382 | NOH, WOCN | 10955454
25-09674 | 11/02/2025 22:00 | 11/06/2025 17:00 | GRAND COULEE: 500/230KV CSY TIE BANK KX26A INCLUDING 230KV A/B SECTION 2 | GRAND COULEE: 500/230KV CSY TIE BANK KX26A, GRAND COULEE: PCB 1996, GRAND COULEE: PCB 8692, GRAND COULEE PH: 6589 ABD, GRAND COULEE: PCB 6582 | GEN, NOH, SIG, FCRPS, WOCN | 17986682
25-01984 | 11/02/2025 22:00 | 11/14/2025 17:00 | COLUMBIA: 4039/4040 TERMINAL OF GRAND COULEE-COLUMBIA SECTION OF GRAND COULEE- SCHULTZ 2 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 2 500KV LINE | IROL, NOEL, NOH, SOC, WOCN | 17109782
25-00051 | 11/02/2025 23:00 | 11/05/2025 23:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN | 14943947
24-09789 | 11/03/2025 06:00 | 11/03/2025 12:00 | COLUMBIA: 115KV SOUTH MAIN BUS INCLUDING PCB B-396 | COLUMBIA-ELLENSBURG NO 1 115KV LINE, COLUMBIA: PCB B-402, COLUMBIA-ROCKY FORD NO 1 115KV LINE, COLUMBIA: PCB B-400 | TCLA, NOH, CI
25-09544 | 11/03/2025 06:30 | 12/19/2025 12:30 | PG&E - TABLE MOUNTAIN-TESLA 500KV LINE |  |  | 17121123
25-06434 | 11/03/2025 07:00 | 11/04/2025 16:00 | RAVER: PCB 4305 |  | NOEL, RP, SOC, WOCN | 17576088
25-09645 | 11/03/2025 07:00 | 11/04/2025 16:00 | MCNARY: PCB 5204 |  |  | 17985600
25-07801 | 11/03/2025 07:30 | 11/05/2025 15:30 | CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1 | CAPTAIN JACK: 500KV REACTOR 1, CAPTAIN JACK: PCB 4998 | COI, NWACI | 17737495
25-13667 | 11/03/2025 07:30 | 11/04/2025 16:30 | ALVEY: PCBS A-247 & A-332 | ALVEY: PCB A-332, ALVEY: PCB A-247 | EWEB, NWACI | 18609591
25-05693 | 11/03/2025 07:30 | 11/07/2025 16:30 | LOOKOUT POINT PH-LOOKOUT POINT NO 1 115KV LINE INCLUDING THE LOOKOUT POINT: 115KV AUX BUS | LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T1, LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T2, LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T3, LOOKOUT POINT PH-LOOKOUT POINT NO 1 115KV LINE | GEN, EWEB | 17739843
25-10659 | 11/03/2025 08:00 | 01/16/2026 15:00 | HORSE HEAVEN: 230KV MAIN BUS INCLUDING 115KV MAIN & AUX BUS, 230/115KV TRANSFORMER 1, HORSE HEAVEN-BC1022 SECTION OF HORSE HEAVEN-BENTON PUD NO 1 115KV LINE, PCB A-287, PCB B-334 AND 13.8KV STATION SERVICE | HORSE HEAVEN: PCB A-287, HORSE HEAVEN: PCB B-334, HORSE HEAVEN: 230KV MAIN BUS, HORSE HEAVEN: 115KV MAIN BUS, HORSE HEAVEN: 115KV AUX BUS, PRIMARY STATION SERVICE, HORSE HEAVEN: 230/115KV TRANSFORMER 1, HORSE HEAVEN-BPUD NO 1 115KV LINE | SOA, NOPE, WOM, LOAD | 18263663
25-06282 | 11/03/2025 08:00 | 11/05/2025 15:00 | OSTRANDER: PCB 4439 |  | WOCS | 17582267
25-12500 | 11/03/2025 08:00 | 11/07/2025 15:00 | COLUMBIA FALLS: 115KV MAIN BUS PTS, 34.5KV BUS PTS, 115/34.5KV XFMR 1, PCBS L-1142 AND L-1144 CONTROL, ALARM AND INDICATION CIRCUITS | COLUMBIA FALLS: 115KV MAIN BUS, COLUMBIA FALLS: 115/34.5KV TRANSFORMER 1, COLUMBIA FALLS: FLATHEAD E COOP 34.5KV FEEDER 1, COLUMBIA FALLS: FLATHEAD E COOP 34.5KV FEEDER 2, COLUMBIA FALLS: 115KV CAP GROUP 1 SECTION 1, COLUMBIA FALLS: 115KV CAP GROUP 1 SECTION 2, COLUMBIA FALLS: 230/115KV TRANSFORMER 2, COLUMBIA FALLS: 230/115KV TRANSFORMER 3 | LOAD, FLAT | 18455208
25-13596 | 11/03/2025 08:00 | 11/06/2025 15:00 | ALCOA: PIONEER-ALCOA NO 1 115KV LINE INCLUDING PCB'S B-236 & B-238 | SW48-ALCOA SECTION OF PIONEER-ALCOA NO 1 115KV LINE, ALCOA: PCB B-238, ALCOA: PCB B-236 | LOAD, NOPE, SOA, WOCS, GEN
25-05830 | 11/03/2025 08:00 | 11/05/2025 14:00 | TAFT: GARRISON-TAFT #1 500 KV LINE, INCLUDING PCBS, 4114, 4119 AND HSGS 7879 AND GARRISON HSGS 7885 | TAFT: PCB 4114, TAFT: PCB 4119, TAFT: HSGS 7879, GARRISON: HSGS 7885, GARRISON-TAFT NO 1 500KV LINE, GARRISON: PCB 4418, GARRISON: PCB 4415, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, GARRISON: PCB 4461 | MT-NW, WOH, SIG | 17496258
25-08021 | 11/03/2025 08:00 | 11/03/2025 15:00 | MARION: PCB 4386 |  | NWACI, WOCS | 17766173
25-12380 | 11/03/2025 08:30 | 11/07/2025 18:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE |  | WOM
25-13536 | 11/04/2025 07:00 | 11/04/2025 13:00 | COLUMBIA: 230KV NORTH MAIN BUS | ROCKY REACH-COLUMBIA NO 1 230KV LINE, COLUMBIA: PCB A-158, COLUMBIA-GRAND COULEE NO 1 230KV LINE, COLUMBIA: PCB A-160, COLUMBIA-ROCKY FORD SECTION OF COLUMBIA-ROCKY FORD-LARSON NO 1 230KV LINE, COLUMBIA: PCB A-136, COLUMBIA-GRAND COULEE NO 3 230KV LINE, COLUMBIA: PCB A-164, VANTAGE-COLUMBIA NO 1 230KV LINE, COLUMBIA: PCB A-168 | WOCN, CI, NOH, GEN, SIG
25-01077 | 11/04/2025 07:00 | 11/07/2025 15:00 | BLACK CANYON-EMMETT NO 1 69KV LINE
25-13672 | 11/04/2025 08:00 | 11/04/2025 17:00 | JOHN DAY-GRIZZLY NO 1-500KV LINE INCLUDING BAKEOVEN: 500KV SERIES CAP GROUP 1 AND PCB 5363 | JOHN DAY-GRIZZLY NO 1 500KV LINE, GRIZZLY: PCB 4058, GRIZZLY: PCB 5040, JOHN DAY: PCB 4143, JOHN DAY: PCB 4140, BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1, BAKEOVEN: PCB 5363 | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, PDCI | 18601919
25-08497 | 11/04/2025 08:00 | 11/04/2025 15:00 | PEARL: PCB 4475 |  | SOA, NOPE, WOCS | 17844458
25-10027 | 11/04/2025 10:00 | 11/04/2025 10:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN | 18051432
25-10028 | 11/04/2025 14:15 | 11/04/2025 14:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN | 18051457
25-12807 | 11/05/2025 05:30 | 11/06/2025 17:30 | PG&E- MALIN-ROUND MOUNTAIN NO 2 500KV LINE | MALIN-ROUND MOUNTAIN NO 2 500KV LINE | BCHT, BCHW, NI, COI
25-12809 | 11/05/2025 05:30 | 11/05/2025 06:30 | MALIN: PCB 4072, MALIN: PCB 4582 |  | NWACI, COI | 18493785
25-12897 | 11/05/2025 06:30 | 11/06/2025 17:00 | GRAND COULEE: PCB 7182 |  | GEN, NOH, WOCN | 18500464
25-13651 | 11/05/2025 07:00 | 11/14/2025 15:00 | COLUMBIA: PCB B-402 INCLUDING COLUMBIA-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | B408-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, COLUMBIA-B408 SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
25-13669 | 11/05/2025 07:30 | 11/06/2025 16:30 | ALVEY: PCB A-235, A-237, & A-239 DC CONTROL CIRCUITS | ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: PCB A-235, ALVEY: PCB A-237, ALVEY: PCB A-239, ALVEY: PCB A-476 | EWEB, NWACI | 18609775
25-06890 | 11/05/2025 08:00 | 11/06/2025 15:00 | TAFT: PCB 4125 BFR | TAFT: PCB 4125 | MT-NW, WOH | 18441086
25-09909 | 11/05/2025 08:00 | 11/05/2025 11:00 | LOWER GRANITE: PCB 4770 |  | GEN, MT-NW, NOH, WOH, WOLM | 18051389
25-13670 | 11/05/2025 08:00 | 11/05/2025 17:00 | JOHN DAY-GRIZZLY NO 2-500KV LINE INCLUDING BAKEOVEN: 500KV SERIES CAP GROUP 2 AND PCB 5367 | JOHN DAY-GRIZZLY NO 2 500KV LINE, GRIZZLY: PCB 4042, GRIZZLY: PCB 4046, JOHN DAY: PCB 4131, JOHN DAY: PCB 4134, BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2, BAKEOVEN: PCB 5367 | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, WOS, PDCI | 18601771
25-11271 | 11/05/2025 08:30 | 11/05/2025 15:30 | MARION: PCB 4374 |  | NWACI, WOCS | 18263247
25-09910 | 11/05/2025 11:00 | 11/05/2025 14:00 | LOWER GRANITE: PCB 4772 |  | GEN, MT-NW, WOH, WOLM | 18051390
25-05117 | 11/05/2025 15:00 | 11/06/2025 15:00 | TAFT: 500KV BUS 2 INCLUDING PCB 4114 | TAFT: PCB 4114, TAFT: 500KV BUS 2, TAFT: 500KV REACTOR 1, TAFT: PCB 4145 | MT-NW, WOH | 17496253
24-01046 | 11/05/2025 23:00 | 11/07/2025 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN | 14701228
25-06286 | 11/06/2025 08:00 | 11/07/2025 15:00 | OSTRANDER: PCB 4442 |  | WOCS | 17582282
25-12222 | 11/06/2025 08:00 | 11/06/2025 12:00 | CUSTER: PCB A-1546 BFR | CUSTER: PCB A-1546 | BCHT, BCHW, NOEL, SOC, NI | 18586456
25-12291 | 11/06/2025 12:01 | 11/06/2025 15:00 | CUSTER: PCB A-1250 BFR | CUSTER: PCB A-1250 | BCHT, BCHW, NOEL, SOC, NI | 18586491
25-12810 | 11/06/2025 16:30 | 11/06/2025 17:30 | MALIN: PCB 4072, MALIN: PCB 4582 |  | NWACI, COI | 18493791
25-10220 | 11/07/2025 06:30 | 11/08/2025 17:00 | GRAND COULEE: PCBs 5582 & 5782 | GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5782 | NOH, WOCN | 18071486
25-02675 | 11/08/2025 06:00 | 11/09/2025 20:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, RP, SIG, SOA, SOC, COI, NWACI, PDCI, NOPE | 17212781
25-06879 | 11/08/2025 22:00 | 11/09/2025 06:00 | DELENA-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING CONYERS TAP | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, CONYERS-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, CONYERS TAP TO ALLSTON-DRISCOLL NO 2 115KV LINE | LOAD, SOA, NOPE | 17771732
25-06883 | 11/09/2025 07:00 | 11/22/2025 21:00 | DELENA-CONYERS OPEN JUMERS AT 11/6 SECTION OF THE ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING CONYERS TAP TO OPEN JUMPERS AT 11/6 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, CONYERS TAP TO ALLSTON-DRISCOLL NO 2 115KV LINE | LOAD, SOA, NOPE | 17771825
25-08001 | 11/09/2025 07:00 | 11/22/2025 21:00 | CONYERS TAP TO STRUCTURE 11/6 - MIST SECTION OF THE ALLSTON-DRISCOLL #2 115KV LINE
25-04372 | 11/10/2025 06:00 | 11/14/2025 18:00 | CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE |  | PDCI, SIG
25-12221 | 11/10/2025 07:30 | 11/10/2025 15:00 | CUSTER-INTALCO 2 230KV LINE INCLUDING CUSTER: PCBS A-1250, A-1546, AND INTALCO: PCBS A-1020 AND A-1016 | CUSTER-INTALCO NO 2 230KV LINE, CUSTER: PCB A-1250, CUSTER: PCB A-1546, INTALCO: PCB A-1020, INTALCO: PCB A-1016 | LOAD, NOEL, SOC, BCHT, BCHW, NI | 18416107
25-07346 | 11/10/2025 07:30 | 11/10/2025 16:00 | ALLSTON: PCB 4474 |  | SOA, NOPE | 17693315
25-07361 | 11/10/2025 08:00 | 11/22/2025 18:00 | MAPLE VALLEY: A-1116 TERMINAL OF MAPLE VALLEY-EAST PINE 1 230KV LINE | MAPLE VALLEY-EAST PINE NO 1 230KV LINE | NOEL, SOC | 17678525
25-01333 | 11/10/2025 08:00 | 11/21/2025 15:00 | MIDWAY-MOXEE NO 1 115KV LINE | RATTLESNAKE BREA: BENTON REA 115KV FEEDER 1, GOOSE PRAIRIE SOLAR COLLECTOR: UNIT G01, GOOSE PRAIRIE SOLAR COLLECTOR: UNIT G03
25-13692 | 11/10/2025 08:00 | 11/10/2025 17:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-MARION NO 1 500KV LINE, SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1 | NWACI, SIG, WOJD, WOM, WOS, BCHT, BCHW, NI, WOCS | 18603539
25-09499 | 11/10/2025 09:00 | 11/19/2025 15:00 | MAUPIN-REDMOND NO 1 230KV LINE | REDMOND: PCB A-265, MAUPIN: PCB A-843 | COR, NOH, NWACI, GRZN | 17969171
25-12898 | 11/11/2025 13:00 | 11/13/2025 17:00 | GRAND COULEE: PCB 7486 |  | NOH, WOCN | 18500448
25-09546 | 11/12/2025 07:00 | 11/12/2025 16:00 | CHPD - ROCKY REACH: 230KV BUS 2 (ROCKY REACH-MAPLE VALLEY 345KV & ROCKY REACH-COLUMBIA 1 230KV LINES) | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE | CI, IROL, NOEL, NOH, SOC, WOCN | 17860325
25-13153 | 11/12/2025 07:30 | 11/12/2025 16:00 | COSMOPOLIS: PCB B-1326 (ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE) | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | RP | 18543396
25-04426 | 11/12/2025 08:00 | 11/12/2025 16:30 | OSTRANDER: 500KV EAST BUS, PCB 4838, INCLUDING REACTORS 1 AND 2 | OSTRANDER: 500KV EAST BUS, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2, OSTRANDER: PCB 4838, OSTRANDER: PCB 5139, OSTRANDER: PCB 4439, OSTRANDER: PCB 4448 | WOCS, SOA, WOCN, NOPE | 17359868
25-08877 | 11/12/2025 08:00 | 11/12/2025 15:00 | ALLSTON: PCB 4696 BFR | ALLSTON: PCB 4696 | SOA, NOPE | 17935928
25-07082 | 11/12/2025 08:00 | 11/13/2025 15:00 | TAFT: PCB 4028 BFR RELAYS | TAFT: PCB 4028 | MT-NW, NOH, WOH | 18441056
25-04258 | 11/12/2025 08:00 | 11/13/2025 15:00 | NORTH BONNEVILLE-MIDWAY #1 230KV LINE INCLUDING NORTH BONNEVILLE: PCB A-17, MIDWAY: PCBs A-62, A-68, 230KV AUX BUS SECTION 1, (NEW) LINE SIDE SECTION OF 230KV TRANSFER BUS AND ALFALFA: 230/34.5KV TRANSFORMER 1, PCB A-1272 AND 34.5KV MAIN BUS | NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, OUTLOOK: PACIFICORP (PACW) 230KV FEEDER 1, ALFALFA: YAKAMA POWER 34.5KV FEEDER 1, ALFALFA: YAKAMA POWER 34.5KV FEEDER 2, ALFALFA: 230/34.5KV TRANSFORMER 1 | WOCS, LOAD | 17541620
25-08698 | 11/13/2025 07:00 | 11/21/2025 16:00 | CHPD - ROCKY REACH: 230KV BUS 3 | ROCKY REACH (CHPD): 230KV MAIN BUS SECTION 3 | CI, NOH, WOCN | 17616324
25-10485 | 11/13/2025 07:30 | 11/14/2025 16:30 | OSTRANDER: 500KV WEST BUS INCLUDING CAP GROUPS 1, 2 AND 3 AND PCBS 4432, 5135, 5138 AND 5097 | OSTRANDER: 500KV WEST BUS, OSTRANDER: 500KV CAP GROUP 1, OSTRANDER: 500KV CAP GROUP 2, OSTRANDER: 500KV CAP GROUP 3, OSTRANDER: PCB 4432, OSTRANDER: PCB 5135, OSTRANDER: PCB 5138, OSTRANDER: PCB 5097 | WOCS | 18141823
25-12904 | 11/14/2025 06:30 | 11/15/2025 17:00 | GRAND COULEE: PCB 7382 |  |  | 18500696
25-11979 | 11/14/2025 07:00 | 11/14/2025 16:00 | KELLER-NESPELEM SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE INCLUDING B-1441 LINE SECTIONALZING DISC | KELLER-NESPELEM SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE | LOAD | 18454953
25-10489 | 11/15/2025 07:30 | 11/16/2025 12:00 | OSTRANDER-TROUTDALE NO 1 500KV LINE INCLUDING OSTRANDER: PCB 5139, PCB 4432 AND MOD 4435 | OSTRANDER-TROUTDALE NO 1 500KV LINE, OSTRANDER: PCB 5139, OSTRANDER: PCB 4432 | SIG, SOA, WOCS, NOPE | 18141876
25-08871 | 11/15/2025 09:00 | 02/01/2026 17:00 | -IPC- LOLO-OXBOW 230KV LINE |  | NWACI, SEIL
25-10540 | 11/16/2025 12:30 | 02/02/2026 09:00 | OSTRANDER: PCB 4432, INCLUDING MOD'S 4433 & 4435 |  | WOCS | 18142035
25-12907 | 11/16/2025 13:00 | 11/18/2025 17:00 | GRAND COULEE: PCB 7886 |  | GEN, NOH, WOCN | 18500677
25-00052 | 11/16/2025 23:00 | 11/19/2025 23:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN | 14944684
25-12778 | 11/17/2025 07:00 | 11/20/2025 15:30 | LVE-SNAKE RIVER LVE: PCB SP-741 RELAYS (PALISADES-SNAKE RIVER NO 1 115KV LINE OOS) | SNAKE RIVER LVE: PCB SP-741, PALISADES-SNAKE RIVER NO 1 115KV LINE | SEIL, GEN | 18493280
25-13686 | 11/17/2025 07:00 | 11/17/2025 12:00 | COLUMBIA: 115KV NORTH MAIN BUS | COLUMBIA: PCB B-314, COLUMBIA-ANCIENT LAKE NO 1 115KV LINE, COLUMBIA: PCB B-412, COLUMBIA-VALHALLA NO 2 115KV LINE, COLUMBIA: PCB B-410 | CI, NOH
25-13158 | 11/17/2025 08:00 | 11/19/2025 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | DWORSHAK: PCB 4765 | MT-NW, WOH, WOLM | 18543231
25-11815 | 11/17/2025 08:00 | 11/21/2025 15:00 | VANTAGE-HANFORD NO 1 500KV LINE |  | BCHT, BCHW, NI, NOH, SIG, WOCS | 18403243
25-13648 | 11/17/2025 08:00 | 11/17/2025 15:30 | BIG EDDY: PCB B-1050 (THE DALLES PH-BIG EDDY NO 2 115KV LINE OOS) | THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 115/13.2KV TRANSFORMER 8, THE DALLES PH: GENERATOR 3, THE DALLES PH: GENERATOR 4 | GEN, FCRPS
25-03142 | 11/17/2025 08:00 | 11/19/2025 17:30 | ASHE-SLATT NO 1 500KV LINE | SLATT: PCB 5018, SLATT: PCB 5015, ASHE: PCB 5466, ASHE: PCB 5463 | BCHT, BCHW, NI, NOH, SIG, WOM, WOS, NWACI, WOJD, FCRPS | 17374373
25-05271 | 11/17/2025 08:00 | 11/18/2025 16:00 | DWORSHAK-TAFT #1 500KVLINE, INCLUDING TAFT: PCBS 4028, 4111 AND HSGS 7878, DWORSHAK: HSGS 7117 | TAFT: HSGS 7878, TAFT: PCB 4028, TAFT: PCB 4111, DWORSHAK: HSGS 7117, DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, DWORSHAK: PCB 4765, DWORSHAK-TAFT NO 1 500KV LINE | MT-NW, NOH, WOH, GEN, WOLM, FCRPS | 17477180
25-13706 | 11/17/2025 17:00 | 12/10/2025 17:00 | COLUMBIA: PCB B-404 INCLUDING THE B-1188 M/B SECTIONALIZING DISCONNECT AND THE COLUMBIA-VALHALLA #1 115KV LINE | COLUMBIA: PCB B-404, COLUMBIA: B-1188 MAIN BUS SECTIONALIZING DISC, COLUMBIA-VALHALLA NO 1 115KV LINE | CI, NOH
25-10400 | 11/18/2025 07:30 | 11/19/2025 16:00 | WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA | 18101076
25-13360 | 11/18/2025 07:30 | 11/18/2025 16:00 | SHELTON: PCB A-79 |  | RP
25-08052 | 11/18/2025 08:00 | 11/20/2025 17:00 | CLATSKANIE PUD: CONYER-BRADBURY 115KV TRANSMISSION LINE
25-13726 | 11/18/2025 08:00 | 11/18/2025 11:30 | BIG EDDY: PCB B-1692 RELAYS (THE DALLES PH-BIG EDDY NO 1 115KV LINE OOS) | THE DALLES PH-BIG EDDY NO 1 115KV LINE, THE DALLES PH: 115/13.8KV TRANSFORMER T1, THE DALLES PH: 115/13.8KV TRANSFORMER TA, BIG EDDY: PCB B-1692, THE DALLES PH GENERATOR F1, THE DALLES PH GENERATOR F2, THE DALLES PH GENERATOR 1, THE DALLES PH GENERATOR 2 | GEN, SOA, FCRPS, NOPE
25-02450 | 11/18/2025 08:00 | 11/18/2025 15:00 | PONDEROSA: PCB A-1821 |  | COR, NWACI | 18454011
25-10031 | 11/18/2025 10:00 | 11/18/2025 10:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN | 18052006
25-13728 | 11/18/2025 12:00 | 11/18/2025 15:30 | BIG EDDY: PCB A-812 RELAYS (THE DALLES PH-BIG EDDY NO 3 230KV LINE OOS) | THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4, BIG EDDY: PCB A-812 | GEN, FCRPS, PDCI, WOJD, NWACI
25-10034 | 11/18/2025 14:15 | 11/18/2025 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN | 18052010
25-12932 | 11/19/2025 06:30 | 11/20/2025 17:00 | GRAND COULEE: PCB 8086 |  | NOH | 18501584
25-13819 | 11/19/2025 08:00 | 11/19/2025 12:30 | BIG EDDY: PCB A-824 RELAYS (THE DALLES PH-BIG EDDY NO 4 230KV LINE OOS) | THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6, BIG EDDY: PCB A-824, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711 | GEN, FCRPS, PDCI, WOJD, NWACI
25-05283 | 11/19/2025 08:00 | 11/19/2025 15:00 | TAFT: PCB 4111 |  | GEN, MT-NW, NOH, WOH | 17444574
25-13634 | 11/19/2025 12:00 | 11/19/2025 16:00 | SLATT: PCB A-1794 |  | WOJD, NWACI | 18600971
25-13822 | 11/19/2025 13:00 | 11/19/2025 16:30 | BIG EDDY: PCB A-836 RELAYS (THE DALLES PH-BIG EDDY NO 5 230KV LINE OOS) | THE DALLES PH-BIG EDDY NO 5 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T7, THE DALLES PH: 230/13.8KV TRANSFORMER T8, BIG EDDY: PCB A-836 | GEN, FCRPS, PDCI, WOJD, NWACI
25-12855 | 11/20/2025 08:00 | 11/20/2025 11:30 | SOUTH TACOMA: PCB A-1098 |  | GEN, RP, NOEL, SOC | 18500524
25-13824 | 11/20/2025 08:00 | 11/20/2025 13:00 | BIG EDDY: PCB A-842 RELAYS (THE DALLES PH-BIG EDDY NO 6 230KV LINE OOS) | THE DALLES PH-BIG EDDY NO 6 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T10, THE DALLES PH: 230/13.8KV TRANSFORMER T11, THE DALLES PH: 230/13.8KV TRANSFORMER T9, BIG EDDY: PCB A-842 | GEN, FCRPS, PDCI, WOJD, NWACI
25-05285 | 11/20/2025 08:00 | 11/20/2025 15:00 | TAFT: PCB 4114 |  | MT-NW, WOH | 17477380
25-03208 | 11/20/2025 08:00 | 11/22/2025 17:30 | ASHE-MARION NO 2 500KV LINE | SLATT TAP TO ASHE-MARION NO 2 500KV LINE, MARION: PCB 4380, MARION: PCB 4377, ASHE: PCB 4940, ASHE: PCB 4937, ASHE: PCB 4907 | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM, FCRPS, NOH | 17374408
25-12854 | 11/20/2025 12:00 | 11/20/2025 15:00 | SOUTH TACOMA: PCB A-1092 |  | GEN, NOEL, SOC | 18500526
25-11335 | 11/21/2025 15:01 | 11/23/2025 15:00 | CARLTON-SHERWOOD NO 1 230KV LINE | CASCADE STEEL TAP TO CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON-CASCADE STEEL SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CASCADE STEEL-SHERWOOD SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2 | LOAD, SOA, NOPE
25-06885 | 11/22/2025 22:00 | 11/23/2025 06:00 | DELENA-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING CONYERS TAP | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, CONYERS-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, CONYERS TAP TO ALLSTON-DRISCOLL NO 2 115KV LINE | LOAD, SOA, NOPE | 17771829
25-07822 | 11/23/2025 07:00 | 12/19/2025 17:00 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE | 17771880
25-12333 | 11/24/2025 08:00 | 11/26/2025 15:00 | CARLTON: 230KV MAIN BUS | CARLTON-TILLAMOOK NO 1 230KV LINE, CARLTON-CASCADE STEEL SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON: 230/115KV TRANSFORMER 1 | SOA, LOAD, NOPE | 18493772
25-09547 | 11/25/2025 07:00 | 11/26/2025 16:00 | CHPD - ROCKY REACH: 230KV BUS 2 (ROCKY REACH-MAPLE VALLEY 1 345KV & ROCKY REACH-COLUMBIA 1 230KV LINES) | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE | CI, IROL, NOEL, NOH, SOC, WOCN | 17860235
25-10032 | 11/25/2025 10:00 | 11/28/2025 10:15 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN | 18052019
25-10033 | 11/25/2025 14:15 | 11/25/2025 14:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN | 18052026