## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
23-04125 | 18099097 | 01/28/2023 17:00 | 06/30/2026 15:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
23-08577 | 13856830 | 04/30/2023 18:57 | 01/01/2027 23:59 | VALHALLA: PCB B-280 | VALHALLA: PCB B-280
23-08728 |  | 05/03/2023 08:00 | 12/18/2025 15:00 | MAPLE VALLEY: 500/230KV TRANSFORMER 2 ULTC
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 14853282 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
23-18564 |  | 12/20/2023 14:56 | 10/31/2025 23:59 | PACW - BURNS: 500KV SERIES CAP SAGMENT 1 & 2 | BURNS: 500KV SERIES CAP SEGMENT 1, BURNS: 500KV SERIES CAP SEGMENT 2 | NWACI
24-13950 |  | 08/16/2024 00:06 | 12/01/2025 17:00 | PG&E - PACIRAS CONTROLLER A
24-15794 | 17996552 | 09/26/2024 11:00 | 10/13/2025 12:00 | BOUNDARY: PCB A-1226
24-16579 | 17543676 | 10/16/2024 08:00 | 10/31/2025 15:00 | BOUNDARY: PCB A-1230 |  | SOB
25-04441 |  | 02/01/2025 08:00 | 11/03/2025 08:00 | PG&E: TABLE MOUNTAIN SERIES CAPACITOR - ROUND MOUNTAIN NO. 1 |  | COI
25-08063 |  | 04/16/2025 08:40 | 10/01/2025 15:00 | PACIRAS CONTROLLER B | MUNRO: RAS AC-B LOI SIGNAL 2 TO/FROM PG&E SAN FRANCISCO CKT 7B67, MUNRO: RAS AC-B LOI SIGNAL 1 TO/FROM PG&E SAN FRANCISCO CKT 7B65, MUNRO: RAS DC-B PG&E SNFO REAC CKT 7E64
25-03624 | 17293824 | 04/21/2025 08:00 | 10/06/2025 11:00 | CARDWELL: B-1540 TERMINAL OF CARDWELL-MEEKER 115KV LINE | CARDWELL-MEEKER 115KV LINE, CARDWELL: PCB B-1540, MEEKER-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-08584 | 17839247 | 04/28/2025 08:00 | 12/31/2025 15:00 | GRAND COULEE: 287/230KV BANK KX17A TRANSFORMER 1, OLYMPIA: 287/230KV TRANSFORMER 3 |  | NOH, OKLA, NOEL, RP, SOC, WOCN, IROL
25-08817 |  | 05/03/2025 06:00 | 12/31/2025 15:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-08931 | 17894564 | 05/12/2025 06:30 | 11/20/2025 17:00 | MCNARY: A-408 TERMINAL OF MCNARY PH-MCNARY NO 2 230KV LINE
25-09281 | 17927913 | 05/13/2025 08:30 | 12/31/2025 15:00 | LONG WALK: DISC TNLWL1
25-07844 | 17738348 | 06/12/2025 12:00 | 10/30/2025 16:00 | COLUMBIA: 230/115KV TRANSFORMER 1 |  | LOAD, WOCN, CI, NOH
25-08863 | 17882951 | 06/16/2025 11:00 | 12/04/2025 16:00 | -EWEB- DANEBO: 115KV BUS BETWEEN AS 4973 AND PCB 4950 | DANEBO: AS 4973 DSC, DANEBO: PCB 4950, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
25-10575 |  | 06/16/2025 12:00 | 10/01/2025 15:00 | MCMINNVILLE: B-1316 TERMINAL OF MCMINNVILLE W&L 115KV FEEDER 3 | MCMINNVILLE: MCMINNVILLE W&L 115KV FEEDER 3
25-10823 | 18178294 | 06/23/2025 08:00 | 10/31/2025 16:00 | ECHO LAKE: 500KV CAP GROUP 2 INCLUDING PCB 5127 | ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
25-10824 | 18178297 | 06/23/2025 08:00 | 10/31/2025 16:00 | ECHO LAKE: 500KV CAP GROUP 1 INCLUDING PCB 5125 | ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
25-06096 | 17530014 | 06/26/2025 16:00 | 11/14/2025 08:00 | ROCKY REACH: 345/230KV TRANSFORMER 1 INCLUDING MODS A-3017, A-3016 AND THE A-1001 DISCONNECTS | ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN
25-11714 | 18324417 | 07/16/2025 12:00 | 10/02/2025 17:00 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 2 230KV LINE |  | GEN, NOH, FCRPS
25-04425 | 17359851 | 08/01/2025 16:30 | 11/12/2025 08:00 | OSTRANDER: 500KV REACTORS 1 AND 2 INCLUDING PCB 4838 AND MOD 4837 | OSTRANDER: PCB 4838, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2 | WOCS
25-10258 |  | 08/25/2025 07:30 | 10/10/2025 17:00 | CHIEF JOSEPH: DYNAMIC BRAKING RESISTOR | CHIEF JOSEPH: PCB A-594 | WOCN, NOH
25-09034 | 17901074 | 08/29/2025 08:00 | 10/16/2025 15:00 | CARLTON: 230/115KV TRANSFORMER 1 INCLUDING PCB B-129 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA
25-08695 | 17817477 | 09/01/2025 07:00 | 10/31/2025 18:00 | PG&E - VACA DIXON-TESLA 500KV LINE | VACA DIXON-TESLA 500KV LINE | COI
25-09365 | 17943614 | 09/02/2025 08:00 | 10/02/2025 15:00 | ALLSTON: 500/230/34.5KV TRANSFORMER 1 INCLUDING PCB 4474 AND THE PRIMARY STATION SERVICE TRANSFORMER | ALLSTON: PCB 4474, ALLSTON: 500/230KV TRANSFORMER 1, ALLSTON: PRIMARY STATION SERVICE | SOA, NOPE, SIG
25-09371 | 17941520 | 09/02/2025 08:00 | 10/02/2025 15:00 | ALLSTON: A-1350 TERMINAL OF 500/230KV TRANSFORMER 1 | ALLSTON: PCB A-1350 | SOA, NOPE
25-06550 | 17612005 | 09/02/2025 08:00 | 10/03/2025 15:00 | -LEWIS PUD- COWLITZ FALLS-GLENOMA NO 1 230KV LINE AND GLENOMA-MOSSY ROCK NO 1 230KV LINE | GLENOMA: PCB 230-35, COWLITZ FALLS-GLENOMA 230KV LINE, GLENOMA-MOSSYROCK 230KV LINE | GEN, LOAD, SOA, NOPE, PA
25-00840 | 17268835 | 09/08/2025 07:00 | 10/03/2025 14:00 | SWAN VALLEY-TETON NO 2 115KV LINE INCLUDING SWAN VALLEY PCB B-1675 | SWAN VALLEY-TETON NO 2 115KV LINE, SWAN VALLEY: PCB B-1675 | SEIL, GEN
25-03474 | 17300699 | 09/08/2025 08:00 | 10/06/2025 07:30 | ROSS-ST JOHNS NO 1 230KV LINE |  | LOAD, SOA, NOPE
25-03478 | 17300709 | 09/08/2025 08:00 | 10/31/2025 15:00 | ROSS-RIVERGATE NO 1 230KV LINE |  | LOAD, SOA, NOPE
25-00783 | 16842572 | 09/08/2025 08:00 | 10/03/2025 15:00 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP #1 | COSMOPOLIS: 115KV CAP GROUP 1 | SI, PA, LOAD
25-10845 | 18183148 | 09/08/2025 08:30 | 10/06/2025 15:00 | DILLARD: B-1579 AND B-1580 TERMINALS OF THE EUGENE-ALVEY NO.2 115KV LINE | DILLARD TAP TO EUGENE-ALVEY NO 2 115KV LINE, EUGENE-ALVEY NO 2 115KV LINE | EWEB
25-01216 | 18206510 | 09/15/2025 08:00 | 10/10/2025 15:00 | SANDHILL CRANE-FIRST STREET SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING FIRST STREET B-1061 DISCONNECT | FIRST STREET: CITY OF RICHLAND 115KV FEEDER 2, SAND HILL CRANE-FIRST STREET SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA
25-01217 | 17305631 | 09/15/2025 08:00 | 11/20/2025 15:00 | STEVENS DRIVE-THAYER DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA
25-10357 | 18106550 | 09/15/2025 08:00 | 10/17/2025 15:00 | PEARL: 500/230KV TRANSFORMER 1 & MOD 4345 | PEARL: 500/230KV TRANSFORMER 1, PEARL: 230KV AUX BUS, PEARL: PCB A-1169, PEARL: PCB A-1167 | LOAD, SIG, SOA, WOCS, NOPE
25-10504 | 18107550 | 09/15/2025 08:00 | 10/17/2025 15:00 | PEARL: 500/230KV TRANSFORMER 1 INCLUDING THE 230KV AUX BUS, PCB A-1169 AND FUTURE A-1193 A/B DISC | PEARL: 230KV AUX BUS, PEARL: PCB A-1169, PEARL: PCB A-1167, PEARL: 500/230KV TRANSFORMER 1 | SOA, NOPE, LOAD, SIG, WOCS
25-05399 | 17536412 | 09/15/2025 08:00 | 12/09/2025 16:00 | MCNARY: 230KV MAIN BUS SECTION 2 INCLUDING PCBs A-425 AND A-428 | MCNARY PH-MCNARY 3&4 NO 4 230KV LINE, MCNARY-MORROW FLAT NO 2 230KV LINE, MCNARY: 500/230KV TRANSFORMER 2 | FCRPS, GEN, WOM, NWACI
25-01983 | 17109690 | 09/21/2025 22:00 | 10/03/2025 17:00 | COLUMBIA: 4054/4055 TERMINAL OF GRAND COULEE-COLUMBIA SECTION OF GRAND COULEE-SCHULTZ 1 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 1 500KV LINE | IROL, NOEL, NOH, SOC, WOCN
25-08696 | 17088910 | 09/22/2025 06:00 | 11/07/2025 16:00 | IPC - MIDPOINT-HEMINGWAY 500KV LINE | MIDPOINT (IPC)-HEMINGWAY 500KV LINE | ID-NW, NWACI
25-00555 | 16842203 | 09/22/2025 08:00 | 10/02/2025 15:00 | ASHE: 500KV REACTOR 2 INCLUDING PCB 4909 | ASHE: 500KV REACTOR 2, ASHE: PCB 4909 | NWACI, FCRPS, NOH
24-05321 | 17412844 | 09/24/2025 07:00 | 10/15/2025 14:00 | HUNGRY HORSE - CONKELLEY #1 230KV LINE INCLUING COLUMBIA FALLS - CONKELLEY #1 230KV LINE, TRUMBULL CREEK - CONKELLEY SECTION OF THE FLATHEAD - CONKELLEY #1 230KV LINE AND CONKELLEY SUBSTATION | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE, COLUMBIA FALLS-CONKELLEY NO 1 230KV LINE, CONKELLEY: 230KV WEST MAIN BUS, CONKELLEY: 230KV WEST AUX BUS, CONKELLEY: 230KV EAST MAIN BUS, CONKELLEY: 230KV EAST AUX BUS, CONKELLEY: PCB A-478, CONKELLEY: PCB A-1208, CONKELLEY: PCB A-1282, CONKELLEY: PCB A-1284, CONKELLEY: 230/13.8KV TRANSFORMER 4, TRUMBULL CREEK-CONKELLEY SECTION OF FLATHEAD-CONKELLEY NO 1 230KV LINE | GEN, MT-NW, FLAT, LOAD, FCRPS
25-07359 | 17678520 | 09/24/2025 08:00 | 10/12/2025 18:00 | MAPLE VALLEY: A-1116 TERMINAL OF MAPLE VALLEY-EAST PINE 1 230KV LINE | MAPLE VALLEY-EAST PINE NO 1 230KV LINE | NOEL, SOC
25-03830 |  | 09/24/2025 08:00 | 10/12/2025 15:00 | -PGE- BETHEL-ROUND BUTTE 230KV LINE |  | NWACI, WOCS
25-00695 | 16847866 | 09/29/2025 06:00 | 10/02/2025 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | LOWER GRANITE PH: 500/13.8KV TRANSFORMER T1, LOWER GRANITE PH: 500/13.8KV TRANSFORMER T2, LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
25-02678 | 17212797 | 09/29/2025 06:00 | 10/10/2025 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
25-04271 | 17481861 | 09/29/2025 07:00 | 10/02/2025 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: PCB A-880 | MT-NW
25-01402 | 17037296 | 09/29/2025 07:00 | 10/10/2025 18:00 | WAUTOMA-ROCK CREEK NO 1 500KV LINE, INCLUDING ROCK CREEK: PCB 5288 |  | BCHT, BCHW, NI, NOH, SIG, WOJD, WOM
25-00799 | 17305586 | 09/29/2025 07:00 | 10/03/2025 17:00 | LOST RIVER-SPAR CANYON NO 1 230KV LINE | SPAR CANYON: SALMON RIVER COOP 230KV FEEDER 1, ROUND VALLEY: 230/69KV TRANSFORMER 1, ROUND VALLEY: SALMON RIVER COOP 69KV FEEDER 1, SPAR CANYON: 230KV MAIN BUS, SPAR CANYON-ROUND VALLEY NO 1 230KV LINE, SPAR CANYON-SOUTH BUTTE NO 1 230KV LINE, SPAR CANYON: 230KV REACTOR 1 | GEN, LOAD
25-09470 | 17947792 | 09/29/2025 07:30 | 10/05/2025 16:00 | OXBOW-NASELLE SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE |  | LOAD
25-05446 | 17456826 | 09/29/2025 08:00 | 10/24/2025 16:30 | SICKLER: 500/230KV TRANSFORMER 1 | SICKLER-DOUGLAS SWITCHYARD NO 1 230KV LINE, SICKLER: PCB 4336, SICKLER: PCB 4340 | CI, GEN, SIG, NOH, WOCN
25-03463 | 17725402 | 09/29/2025 08:00 | 10/01/2025 15:30 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | CAPTAIN JACK: 500KV CAP GROUP 3, CAPTAIN JACK: PCB 4928 | COI, NWACI
25-03630 | 17305697 | 09/29/2025 08:00 | 10/28/2025 17:00 | BIG EDDY-SPRING CREEK NO 1 230KV LINE INCLUDING SPRING CREEK PCB A-1690 AND PCB A-1697 | BIG EDDY-SPRING CREEK NO 1 230KV LINE, SPRING CREEK: PCB A-1690, SPRING CREEK: PCB A-1697 | PDCI, WOJD, GEN, NWACI, NOH
25-10107 | 18052898 | 09/29/2025 08:00 | 10/03/2025 15:00 | ALVEY: PCB 5087 |  | NWACI, EWEB
25-08374 | 17030319 | 09/29/2025 08:00 | 10/14/2025 15:00 | PGE - SHERWOOD (PGE): 230/115KV TRANSFORMER 2 (VWR2) |  | NOPE, SOA
25-07034 | 17642479 | 09/29/2025 08:00 | 10/03/2025 16:00 | MIDWAY-PRIEST RAPIDS NO 1 230KV LINE |  | GEN, NOH, CI, WI
25-03916 | 17305706 | 09/29/2025 08:00 | 10/28/2025 15:00 | WINE COUNTRY: PCB A-1741 |  | WOJD, NOH
25-07927 | 17758852 | 09/29/2025 08:00 | 10/10/2025 16:30 | OSTRANDER: 500KV EAST BUS INCLUDING PCBS 5139, 4439 AND 4448 | OSTRANDER: 500KV EAST BUS, OSTRANDER: PCB 5139, OSTRANDER: PCB 4439, OSTRANDER: PCB 4448 | WOCS, SOA, NOPE
25-07621 | 17724217 | 09/29/2025 08:00 | 10/01/2025 14:30 | SLATT: PCB 5021 BFR AND BREAKER DIFF RELAY | SLATT: PCB 5021 | WOJD, NWACI
25-09594 | 17972728 | 09/29/2025 08:30 | 10/02/2025 17:00 | BIG EDDY-DE MOSS NO 1 115KV LINE | DE MOSS: PCB B-2072, DE MOSS: PCB B-2081, BIG EDDY: PCB B-1048 | GEN, BGEDY
25-07573 | 17758463 | 09/29/2025 09:00 | 10/02/2025 16:30 | ROGUE-GOLD BEACH NO 2 115KV LINE | ROGUE: PCB B-1860, GOLD BEACH: B-2168 LINE SECTION DISCONNECT, GOLD BEACH: B-2167 LINE SECTION DISCONNECT | SCORC
25-02224 | 18230451 | 09/29/2025 10:00 | 10/02/2025 15:00 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4264 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: PCB 4264 | NWACI
25-05254 |  | 09/30/2025 07:00 | 10/03/2025 14:00 | MACKS INN: 115KV TRANSFORMER BUS INCLUDING 115/46KV TRANSFORMERs 1 AND 2, AND 46KV PCBs L-1752 AND L-1762 | MACKS INN: 115/46KV TRANSFORMER 1, MACKS INN: 115/46KV TRANSFORMER 2, MACKS INN: 46KV PCB L-1752, MACKS INN: 46KV PCB L-1762, MACKS INN: FALL RIVER E COOP 46KV FEEDER 1, MACKS INN: FALL RIVER E COOP 46KV FEEDER 2
25-00746 | 16732820 | 09/30/2025 08:00 | 10/02/2025 15:00 | TACOMA-COVINGTON NO 4 230KV LINE INCLUDING COVINGTON: PCB A-1006 AND 230KV A/B SECTION 3 | TACOMA-COVINGTON NO 4 230KV LINE, COVINGTON: PCB A-852, COVINGTON: PCB A-1006, TACOMA: PCB A-1073 | NOEL, RP, SOC, BCHT, BCHW
25-00747 | 16732819 | 09/30/2025 08:00 | 10/02/2025 15:00 | TACOMA-COVINGTON NO 3 230KV LINE |  | NOEL, RP, SOC
25-08111 | 17777025 | 10/01/2025 07:00 | 10/01/2025 15:00 | PAUL-PSE TONO NO 1 500KV LINE INCLUDING PCB 4804 | PAUL-PSE TONO NO 1 500KV LINE, PAUL: PCB 4804 | LOAD, RP, SIG, SOA, NOPE, WOCS
25-00140 | 15756962 | 10/01/2025 07:00 | 10/31/2025 16:00 | WAPA - OLINDA-TRACY 500KV LINE |  | COI
25-02310 | 17176654 | 10/01/2025 07:30 | 10/02/2025 15:00 | CUSTER: 500/230kV BANK #2 INCLUDING PCB 4486 | CUSTER: 500/230KV TRANSFORMER 2, CUSTER: PCB 4486 | NOEL, SIG, SOC, NI, BCHT, BCHW
25-00400 | 16903559 | 10/01/2025 08:00 | 10/10/2025 15:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK 1-500KV LINE INCLUDING FORT ROCK AND SYCAN SERIES CAP GROUPS AND THEIR PCB'S 4265 & 4266 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: PCB 4264, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: PCB 4265, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SYCAN: PCB 4266 | BCHT, BCHW, NI, NWACI, SIG, COR
25-06786 | 17609363 | 10/01/2025 08:00 | 10/01/2025 16:00 | ECHO LAKE: PCB 5072 |  | BCHT, BCHW, NOEL, SOC, NI, WOCN
25-05689 | 17484956 | 10/01/2025 08:00 | 10/01/2025 16:00 | MONROE: PCB 5053 |  | BCHT, BCHW, NOEL, SOC, WOCN, NI
25-12245 |  | 10/01/2025 08:00 | 04/10/2026 16:00 | WAPA- TRACY: 500KV SHUNT CAP PT8A & PT8B |  | COI
25-10450 | 18183438 | 10/01/2025 08:00 | 10/01/2025 10:00 | HATWAI: 500/230KV TRANSFORMER 1 OVERCURRENT RELAYS | HATWAI: 500/230KV TRANSFORMER 1 | ID-NW, MT-NW
25-07744 | 17726046 | 10/01/2025 14:30 | 10/01/2025 16:00 | SLATT: PCB 5018 |  | WOJD, NWACI
25-08112 | 17803586 | 10/02/2025 07:00 | 10/02/2025 16:00 | PAUL-NAPAVINE NO 1 500KV LINE INCLUDING MOD 4636 | PAUL-NAPAVINE NO 1 500KV LINE, PAUL: MOD 4636 | SIG, NOPE
25-10735 | 18150543 | 10/02/2025 08:00 | 10/02/2025 15:30 | BIG EDDY: PCB A-818 INCLUDING 230KV CAP GROUP 2 SECTION 1 | BIG EDDY: PCB A-818, BIG EDDY: 230KV CAP GROUP 2 SECTION 1 | COI, NWACI, PDCI, WOJD
25-09733 | 17977782 | 10/03/2025 07:00 | 10/05/2025 17:00 | PGE - MCLOUGHLIN-PEARL-SHERWOOD 1 230KV LINE |  | SOA, NOPE, WOCS
25-09623 | 17978489 | 10/03/2025 07:00 | 10/05/2025 17:00 | PEARL: A-1165 TERMINAL OF PEARL TAP TO PGE MCLOUGHIN-SHERWOOD NO 1 230KV LINE | PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS, NOPE
25-00757 | 16763672 | 10/03/2025 08:00 | 10/04/2025 15:00 | TACOMA-COVINGTON NO. 2 230KV LINE | TACOMA-COVINGTON NO 2 230KV LINE, CHRISTOPHER TAP TO TACOMA-COVINGTON NO 2 230KV LINE, COVINGTON: PCB A-88, TACOMA: PCB A-1074 | NOEL, RP, SOC, BCHT, BCHW
25-00758 | 16763788 | 10/03/2025 08:00 | 10/04/2025 15:00 | TACOMA-RAVER NO 1 500KV LINE | TACOMA: 500/230KV TRANSFORMER 5 | IROL, NOEL, RP, SOC, WOCN, SIG
25-07075 | 17643830 | 10/03/2025 21:45 | 10/03/2025 22:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-07076 | 17643834 | 10/03/2025 22:00 | 10/03/2025 22:15 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-07077 | 17643837 | 10/03/2025 22:15 | 10/03/2025 22:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-10006 | 18051375 | 10/03/2025 22:30 | 10/03/2025 22:45 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-07079 | 17643843 | 10/03/2025 22:45 | 10/03/2025 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-01984 | 17109782 | 10/05/2025 22:00 | 10/17/2025 17:00 | COLUMBIA: 4039/4040 TERMINAL OF GRAND COULEE-COLUMBIA SECTION OF GRAND COULEE- SCHULTZ 2 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 2 500KV LINE | IROL, NOEL, NOH, SOC, WOCN
25-10999 | 18199655 | 10/06/2025 06:00 | 10/10/2025 16:00 | VANTAGE: A-1148 TERMINAL OF VANTAGE-WANAPUM NO 2 230KV LINE | VANTAGE-WANAPUM NO 2 230KV LINE, VANTAGE: PCB A-1148 | GEN, WI, NOH
25-12341 |  | 10/06/2025 07:00 | 10/11/2025 18:00 | ST JOHNS: B-44 TERMINAL OF ST JOHNS-(PACW) ST JOHNS NO 1 115KV LINE
25-07448 | 18071464 | 10/06/2025 07:00 | 10/24/2025 15:00 | WALLA WALLA: 69kV MAIN BUS INCLUDING PCB'S: L-561, L-559, L-560, L-238, L-232, L-234, L-623, L-624, 69kV CAP GROUP 1 SECT 1 & 2, 115/69kV BANK #3, 69/12.5kV BANK #2, 69kV GROUNDING BANK, AND WALLA WALLA - WHITMAN SECT OF WALLA WALLA - FREEWATER NO 1 69kV LINE | WALLA WALLA: 69KV PCB L-232, WALLA WALLA: 69KV PCB L-234, WALLA WALLA: 69KV PCB L-238, WALLA WALLA: 69KV PCB L-559, WALLA WALLA: 69KV PCB L-560, WALLA WALLA: 69KV PCB L-561, WALLA WALLA: 69KV PCB L-623, WALLA WALLA: 69KV PCB L-624, WALLA WALLA: 115/69KV TRANSFORMER 3, WALLA WALLA: 69/12.5KV TRANSFORMER 2, WALLA WALLA: 69KV GROUNDING TRANSFORMER, WALLA WALLA: 69KV CAP GROUP 1 SECTION 1, WALLA WALLA: 69KV CAP GROUP 1 SECTION 2, WESTON MOUNTAIN-MILTON SECTION OF MILTON TAP TO WALLA WALLA-PENDLETON NO 1 69KV LINE, WALLA WALLA: 69KV MAIN BUS, WALLA WALLA-WHITMAN SECTION OF WALLA WALLA-FREEWATER NO 1 69KV LINE | GEN, WAWA, LOAD, WOM
25-07709 | 17725242 | 10/06/2025 07:00 | 10/09/2025 16:30 | ALVEY: 500/230KV TRANSFORMER 5, INCLUDING 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | ALVEY 500/230KV TIE LINE NO 1 500KV LINE, ALVEY: PCB 5091, ALVEY: PCB 5087 | NWACI, EWEB
25-12022 | 18379473 | 10/06/2025 07:00 | 10/11/2025 18:00 | ST JOHNS-(PACW) ST JOHNS NO 1 115KV LINE | ST JOHNS: PCB B-44, ST JOHNS-PACW ST JOHNS NO 1 115KV LINE | LOAD
25-12040 |  | 10/06/2025 07:00 | 10/10/2025 18:00 | PGE- PORTSMOUTH-RIVERGATE SECTION OF CURTIS-RIVERGATE NO 1 115KV LINE
25-00842 | 17305867 | 10/06/2025 07:00 | 10/10/2025 17:00 | -PACE- ANTELOPE-LOST RIVER 230KV LINE | ANTELOPE-LOST RIVER 230KV LINE, LOST RIVER: LOST RIVER ELEC 69KV FEEDER 1, LOST RIVER: 230/69KV TRANSFORMER 1, LOST RIVER-SPAR CANYON NO 1 230KV LINE, SPAR CANYON: SALMON RIVER COOP 230KV FEEDER 1, SPAR CANYON-ROUND VALLEY NO 1 230KV LINE, ROUND VALLEY: SALMON RIVER COOP 69KV FEEDER 1, ROUND VALLEY: 230/69KV TRANSFORMER 1, SPAR CANYON-SOUTH BUTTE NO 1 230KV LINE, SPAR CANYON: 230KV REACTOR 1, ARCO LRE: LOST RIVER ELEC 69KV FEEDER 1 BY PACIFICORP (PACE)
25-05627 | 17482604 | 10/06/2025 07:00 | 10/14/2025 15:30 | -LVE- SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
25-10153 |  | 10/06/2025 07:00 | 10/20/2025 17:30 | -PACW- CRESWELL-VILLAGE GREEN SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE | CRESWELL-VILLAGE GREEN SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE, VILLAGE GREEN-DORENA SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE | SWORE
25-08930 | 17929696 | 10/06/2025 07:00 | 10/17/2025 16:30 | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE |  | RP, SOA, NOPE
25-08462 | 18230190 | 10/06/2025 07:30 | 10/31/2025 15:00 | ROSS-ST JOHNS NO 1 230kV LINE INCLUDING ST JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1, ROSS-ST JOHNS NO 1 230KV LINE, ROSS: PCB A-32, ST JOHNS: PCB B-48 | LOAD, SOA, NOPE
25-11006 | 18200173 | 10/06/2025 07:30 | 10/31/2025 15:30 | ROSS: 230KV CAP GROUP 2 SECTION 3 INCLUDING LBD A-27 | ROSS: LBD A-27, ROSS: 230KV CAP GROUP 2 SECTION 3 | SOA, NOPE
25-01424 | 17330359 | 10/06/2025 07:30 | 10/06/2025 15:00 | LOWER MONUMENTAL: PCB 4251 |  | WOLM
25-09310 |  | 10/06/2025 08:00 | 10/10/2025 16:00 | LEXINGTON-PACIFIC WAY SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE | LEXINGTON-PACIFIC WAY LOOP IN SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE | LOAD, SOA, NOPE
25-01952 | 17133639 | 10/06/2025 08:00 | 10/06/2025 15:00 | DRISCOLL-CATHLAMET SECTION OF DRISCOLL-NASELLE NO 1 115KV LINE |  | SOA, NOPE
25-08057 | 17799488 | 10/06/2025 08:00 | 10/10/2025 15:00 | CHANDLER-ACORD SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE |  | GEN, TCLA, LOAD
25-01266 | 17133533 | 10/06/2025 08:00 | 10/07/2025 16:00 | HAUSER-GLASGOW SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-09842 | 18093196 | 10/06/2025 08:00 | 10/07/2025 16:00 | EAST OMAK-FOSTER CREEK SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE | FOSTER CREEK-CHIEF JOSEPH NO 1 13.8KV LINE, FOSTER CREEK NVEC: 13.2KV PCB L-1096, FOSTER CREEK NVEC: NESPELEM VALLEY 115KV FEEDER 1, EAST OMAK-FOSTER CREEK SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE, EAST OMAK TAP-CHICKEN CREEK SECTION OF EAST OMAK TAP TO GRAND COULEE-FOSTER CREEK NO 1 115KV LINE, NILLES CORNER-EAST OMAK SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE, CHICKEN CREEK TAP TO EAST OMAK TAP TO GRAND COULEE-FOSTER CREEK NO 1 115KV LINE | OKLA
25-08496 | 17818170 | 10/06/2025 08:00 | 10/17/2025 16:00 | BOUNDARY: A-1220 TERMINAL OF BOUNDARY-NELWAY NO.1 230KV LINE | BOUNDARY: PCB A-1220, BOUNDARY-NELWAY NO 1 230KV LINE | SOB, BCHT, GEN, NI, NOEL, SOC
25-07381 | 17684265 | 10/06/2025 08:00 | 10/06/2025 15:00 | KEELER: PCB 4394 |  | SOA, NOPE, WOCS
25-04432 | 17361111 | 10/06/2025 08:00 | 10/10/2025 18:00 | BIG EDDY: 230KV MAIN BUS SECTION 1 INCLUDING PCBs A-696, A-800, A-802, A-804, A-806, A-848, A-812, A-826 AND MAIN BUS SECTION 1 POTENTIAL TRANSFORMER | BIG EDDY: 230KV MAIN BUS SECTION 1, BIG EDDY 500/230KV TIE NO 1 500KV LINE, BIG EDDY: 500/230KV TRANSFORMER 2, BIG EDDY-QUENETT CREEK NO 2 230KV LINE, BIG EDDY-PARKDALE SECTION OF BIG EDDY-TROUTDALE NO 1 230KV LINE, BIG EDDY-SPRING CREEK NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | WOCS, BGEDY, GEN, NWACI, PDCI, WOJD, SIG, FCRPS
25-05679 | 17484967 | 10/06/2025 08:00 | 10/07/2025 15:00 | MONROE: PCB 4519 |  | BCHT, BCHW, NOEL, SOC, NI, WOCN
25-09216 |  | 10/06/2025 08:00 | 10/06/2025 15:00 | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1 |  | GEN, TCLA, LOAD
25-04472 |  | 10/06/2025 08:00 | 10/07/2025 18:00 | -MITIGATION- WINE COUNTRY: PCB A-1741 | WINE COUNTRY: PCB A-1741 | WOJD, NOH
25-08493 |  | 10/06/2025 08:00 | 10/17/2025 16:00 | BCH - BOUNDARY-NELWAY 1 230KV LINE (2L112) |  | NI
25-04377 | 17483200 | 10/06/2025 08:00 | 10/09/2025 15:00 | GARRISON: HSGS 7885, RELAY
25-09283 | 17929852 | 10/06/2025 08:00 | 10/06/2025 15:00 | ASHE-WHITE BLUFFS NO 1 230KV LINE | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1 | GEN, TCLA, LOAD, FCRPS
25-09597 | 17972762 | 10/06/2025 08:30 | 10/09/2025 17:30 | BIG EDDY-DE MOSS NO 1 115KV LINE INCLUDING DE MOSS: PCBs B-2072 & B-2081 | DE MOSS: PCB B-2072, DE MOSS: PCB B-2081, BIG EDDY: PCB B-1048, BIG EDDY-DE MOSS NO 1 115KV LINE | GEN, BGEDY
25-02246 | 17291897 | 10/06/2025 10:00 | 10/16/2025 15:00 | SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3, INCLUDING PCB 5058 | SAND SPRINGS: PCB 5058, SAND SPRINGS: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 | NWACI
25-07633 | 17718483 | 10/06/2025 11:00 | 10/31/2025 16:00 | -CPUD- MEEKER-NORTH WOODLAND 115KV LINE | MEEKER-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-08113 | 17803609 | 10/07/2025 07:00 | 10/07/2025 16:00 | PAUL-CENTRALIA THERMAL PH NO 1 STUB BUS INCLUDING PCB 4544 | PAUL-CENTRALIA THERMAL PH NO 1 500KV LINE, PAUL: PCB 4544 | GEN, SOA, NOPE, WOCS
25-00044 | 13333778 | 10/07/2025 07:00 | 10/07/2025 15:00 | KEELER: 230/115KV TRANSFORMER 1 | KEELER: PCB A-860, KEELER: PCB B-1066, KEELER: 13.8KV PCB 1W STATION SERVICE 1, KEELER: 13.8KV SVC SS #1 | SOA, LOAD, NOPE
25-00666 | 17330567 | 10/07/2025 07:30 | 10/07/2025 15:30 | LOWER MONUMENTAL-LITTLE GOOSE NO 1 500KV LINE INCLUDING LOWER MONUMENTAL: PCBS 4247, 4251 AND LITTLE GOOSE: PCBS 4630, 4632 | LITTLE GOOSE: PCB 4632, LITTLE GOOSE: PCB 4630, LOWER MONUMENTAL: PCB 4251, LOWER MONUMENTAL: PCB 4247, LOWER MONUMENTAL-LITTLE GOOSE NO 1 500KV LINE | WOLM, MT-NW, WOH, NOH
25-11942 |  | 10/07/2025 07:30 | 10/10/2025 14:30 | WAPA - TRACY: 500/230KV TRANSFORMER BANK KT2A |  | COI
25-01954 | 17146757 | 10/07/2025 08:00 | 10/07/2025 15:00 | GRAYS RIVER-NASELLE SECTION OF DRISCOLL-NASELLE NO 1 115KV LINE |  | SOA, NOPE
25-11345 | 18269451 | 10/07/2025 08:00 | 10/07/2025 17:00 | MOXEE: B-904 TERMINAL OF MOXEE-UNION GAP NO 1 115KV LINE | MOXEE-HOPLAND SECTION OF MOXEE-UNION GAP NO 1 115KV LINE, MOXEE: PCB B-904 | TCLA
25-07830 | 17739330 | 10/07/2025 10:00 | 10/07/2025 10:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-07831 | 17739343 | 10/07/2025 14:15 | 10/07/2025 14:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-05480 | 17463239 | 10/08/2025 07:00 | 10/17/2025 15:30 | -LVE- LANES CREEK-TINCUP SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE | LANES CREEK-TINCUP SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE | MT-NW
24-18072 |  | 10/08/2025 08:00 | 10/08/2025 15:00 | ELBE TAP TO ALDER-LAGRANDE NO 1&2 115KV LINE | ELBE: LEWIS CO PUD 115KV FEEDER 1 BY TACOMA POWER
25-04371 | 17360516 | 10/08/2025 08:00 | 10/08/2025 15:00 | GARRISON-TAFT NO 1 500KV LINE, INCLUDING GARRISON: PCBS 4418 & 4415, TAFT: PCBS 4119 & 4114 | TAFT: PCB 4119, TAFT: PCB 4114, GARRISON: PCB 4418, GARRISON: PCB 4415, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, SIG, WOH
25-01659 | 17120727 | 10/09/2025 07:00 | 10/09/2025 11:00 | RAVER: PCB 4849 |  | NOEL, RP, SOC, WOCN
25-09518 | 17964561 | 10/09/2025 08:00 | 10/09/2025 13:00 | BOUNDARY: PCBs A-1228 & B-1398 | BOUNDARY: PCB B-1398, BOUNDARY: PCB A-1228, BOUNDARY: 230/115KV TRANSFORMER 1, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
25-02693 | 17221062 | 10/09/2025 08:00 | 10/09/2025 11:30 | JOHN DAY: PCB 4167 |  | JDAY, NWACI, WOCS, WOJD
25-00759 | 16763816 | 10/09/2025 08:00 | 10/09/2025 15:00 | KEELER-ALLSTON NO 1 500KV LINE | KEELER: PCB 4324, KEELER: PCB 4394, ALLSTON: PCB 4502, ALLSTON: PCB 4504 | SIG, SOA, WOCS, NOPE
25-08612 | 17895612 | 10/09/2025 09:00 | 10/09/2025 15:00 | LAPINE: PCB A-1498 | LAPINE: 230/115KV TRANSFORMER 2, LAPINE: 230KV AUX BUS | COR, GRZN
25-01660 | 17120797 | 10/09/2025 11:00 | 10/09/2025 15:00 | RAVER: PCB 4858 |  | NOEL, RP, SOC, WOCN
25-02695 | 17221075 | 10/09/2025 12:00 | 10/09/2025 15:00 | JOHN DAY: PCB 4164 |  | NWACI, WOJD, PDCI
25-09735 | 17977792 | 10/10/2025 07:00 | 10/12/2025 17:00 | PGE - MCLOUGHLIN-PEARL-SHERWOOD 1 230KV LINE |  | WOCS, NOPE, SOA
25-09624 | 17978512 | 10/10/2025 07:00 | 10/12/2025 17:00 | PEARL: A-1165 TERMINAL OF PEARL TAP TO PGE MCLOUGHIN-SHERWOOD NO 1 230KV LINE | PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS, NOPE
25-00760 | 16763947 | 10/10/2025 08:00 | 10/10/2025 15:00 | NAPAVINE-ALLSTON NO 1 500KV LINE |  | SIG, IROL, NOPE
25-00451 | 16903536 | 10/10/2025 14:00 | 10/10/2025 15:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, COI, COR
25-00761 | 16763971 | 10/11/2025 08:00 | 10/11/2025 15:00 | PAUL-ALLSTON NO 2 500KV LINE |  | SIG, IROL, NOPE
25-05721 |  | 10/12/2025 22:00 | 10/17/2025 17:00 | BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE
25-00483 | 16463596 | 10/12/2025 22:00 | 10/12/2025 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-01944 | 17305926 | 10/13/2025 05:30 | 10/13/2025 17:30 | LONGVIEW-DONALD NYS SECTION OF LONGVIEW-ALLSTON NO 4 115KV LINE |  | LOAD, SOA, NOPE
25-01941 | 17305896 | 10/13/2025 05:30 | 10/13/2025 17:30 | LONGVIEW-ALLSTON NO 3 230KV LINE |  | SOA, NOPE
25-08996 | 17901859 | 10/13/2025 07:00 | 10/20/2025 07:00 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE
25-05513 | 17481871 | 10/13/2025 08:00 | 10/16/2025 15:00 | WAUTOMA: PCB 5241 |  | NOH, WOCN
25-01939 | 17294527 | 10/14/2025 05:30 | 10/14/2025 19:30 | TROJAN-ALLSTON NO 1 230KV LINE |  | SOA, NOPE
25-01940 | 17294517 | 10/14/2025 05:30 | 10/14/2025 19:30 | TROJAN-ALLSTON NO 2 230KV LINE |  | SOA, NOPE
25-02679 | 17212803 | 10/14/2025 06:00 | 10/24/2025 15:00 | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER | MUNRO: RAS AC-B CONTROLLER, MUNRO: RAS DC-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
25-01209 | 16977484 | 10/14/2025 06:30 | 10/24/2025 17:00 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH: PCB A-586, SNOHOMISH: PCB A-190 | GEN, IROL, NOEL, NOH, SOC, WOCN, FCRPS, NI
25-01210 | 16977391 | 10/14/2025 06:30 | 10/24/2025 17:00 | CHIEF JOSEPH-SNOHOMISH NO 4 345KV LINE | CHIEF JOSEPH: 345/230KV TRANSFORMER 2, SNOHOMISH: 345/230KV TRANSFORMER 6, CHIEF JOSEPH: PCB A-600, SNOHOMISH: PCB A-194 | GEN, IROL, NOEL, NOH, SOC, WOCN, FCRPS, NI
25-11135 | 18230298 | 10/14/2025 07:00 | 10/16/2025 15:00 | GARRISON: PCB A-879 |  | MT-NW
25-08238 | 17868673 | 10/14/2025 07:00 | 10/19/2025 15:00 | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE |  | RP
25-08426 | 17816761 | 10/14/2025 07:00 | 10/16/2025 16:00 | PAUL: PCB 4532 |  | RP, WOCS, GEN
25-07634 | 17725698 | 10/14/2025 07:00 | 10/16/2025 16:00 | MCNARY: PCB 5214 BFR AND RECLOSING RELAY | MCNARY: PCB 5214 | WOM, NWACI
25-06047 |  | 10/14/2025 07:45 | 10/14/2025 17:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE
25-04369 | 17935891 | 10/14/2025 08:00 | 10/16/2025 16:00 | SACAJAWEA: 500/115KV TRANSFORMER NO 1 INCLUDING PCB 4929 | SACAJAWEA: PCB 4929, SACAJAWEA: PCB B-173, SACAJAWEA: 500/115KV TRANSFORMER 1, SACAJAWEA TAP TO LOWER MONUMENTAL-MCNARY NO 1 500KV LINE | FCRPS, SIG, WOM, TCLA, LOAD, GEN, WOLM
25-11655 |  | 10/14/2025 08:00 | 10/16/2025 14:30 | PAC - MALIN: ROUND MOUNTAIN 2 500KV LINE SERIES CAP |  | COI
25-03465 | 17725453 | 10/14/2025 08:00 | 10/16/2025 15:30 | CAPTAIN JACK: PCB 4977 |  | NWACI, COI
25-02390 | 17305933 | 10/14/2025 08:00 | 10/16/2025 15:00 | ALVEY: 230/115KV TRANSFORMER 4 |  | SCORC
25-06271 | 17638049 | 10/14/2025 08:00 | 12/19/2025 15:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, INCLUDING PCB L-126 | SNOHOMISH: 345/230KV TRANSFORMER 5 | NOEL, SOC, WOCN, GEN, IROL, NOH
25-01307 | 17004753 | 10/14/2025 08:00 | 10/15/2025 15:00 | KEELER: PCB 4763 INCLUDING 500KV CAP GROUP 3 | KEELER: 500KV CAP GROUP 3, KEELER: PCB 4763 | SOA, WOCS, NOPE
25-10732 | 18149920 | 10/14/2025 08:00 | 10/16/2025 15:30 | BIG EDDY-QUENETT CREEK NO 2 230KV LINE INCLUDING BIG EDDY: PCB A-800 AND 230KV A/B SECTION 1 | BIG EDDY-QUENETT CREEK NO 2 230KV LINE, BIG EDDY: PCB A-800, BIG EDDY: 230KV AUX BUS SECTION 1 | GEN, BGEDY, PDCI, WOJD, NWACI
25-12260 | 18410455 | 10/14/2025 10:00 | 10/14/2025 10:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-05352 |  | 10/14/2025 10:00 | 10/16/2025 14:00 | MADISON: LBD B-57 INCLUDING 115KV CAP GROUP 1 | MADISON: LBD B-57, MADISON: 115KV CAP GROUP 1 SECTION 1
25-04254 | 17338364 | 10/14/2025 12:00 | 10/14/2025 15:00 | LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267 | LA GRANDE: 230KV CAP GROUP 1, LA GRANDE: PCB A-267 | ID-NW
25-12261 | 18410462 | 10/14/2025 14:15 | 10/14/2025 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-00768 | 16770019 | 10/15/2025 08:00 | 10/15/2025 08:30 | SLATT-BUCKLEY NO 1 & BUCKLEY-GRIZZLY NO 1 500KV LINES | SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-GRIZZLY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS, BCHT, BCHW, NI
25-08060 | 17803367 | 10/15/2025 08:00 | 10/17/2025 17:00 | ACORD-BENTON CITY SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE |  | GEN, TCLA
25-00766 | 16769748 | 10/15/2025 08:00 | 10/15/2025 15:00 | BUCKLEY-MARION NO 1 500KV LINE |  | NWACI, SIG, WOCS, WOJD
25-00762 | 16764079 | 10/15/2025 08:00 | 10/15/2025 15:00 | ASHE-MARION NO 2 500KV LINE |  | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM
25-01068 | 17074912 | 10/15/2025 08:00 | 10/15/2025 15:00 | EAST HILLS-UNITY SECTION OF MINIDOKA PH-UNITY NO 1 138KV LINE |  | BUHM
25-00777 | 16770015 | 10/15/2025 14:30 | 10/15/2025 15:00 | SLATT-BUCKLEY NO 1 & BUCKLEY-GRIZZLY NO 1 500KV LINES | SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-GRIZZLY NO 1 500KV LINE | NWACI, SIG, WOJD, WOM, WOS, BCHT, BCHW, NI
25-00769 | 16764630 | 10/16/2025 08:00 | 10/17/2025 15:00 | JOHN DAY-MARION NO 1 500KV LINE |  | NWACI, SIG, WOCS, WOJD, PDCI
25-03547 | 17318327 | 10/16/2025 08:00 | 10/16/2025 12:00 | BETTAS ROAD: PCB A-3040 |  | NOEL, SOC, WOCN
25-03548 | 17318337 | 10/16/2025 12:00 | 10/16/2025 16:00 | BETTAS ROAD: PCB A-3046 |  | NOEL, SOC, WOCN
25-06783 | 18401320 | 10/16/2025 13:00 | 10/16/2025 16:00 | SNOHOMISH: PCB A-194, SNOHOMISH: PCB A-192 |  | SOC, NOEL
25-00484 | 16463602 | 10/16/2025 17:30 | 10/16/2025 18:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-09736 | 17977947 | 10/17/2025 07:00 | 10/19/2025 17:00 | PGE - MCLOUGHLIN-PEARL-SHERWOOD 1 230KV LINE |  | NOPE, SOA, WOCS
25-09626 | 17978519 | 10/17/2025 07:00 | 10/19/2025 17:00 | PEARL: A-1165 TERMINAL OF PEARL TAP TO PGE MCLOUGHIN-SHERWOOD NO 1 230KV LINE | PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, WOCS, NOPE
25-10683 | 18269980 | 10/17/2025 08:00 | 10/18/2025 15:00 | CARLTON-SHERWOOD NO 1 230KV LINE | CASCADE STEEL TAP TO CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON-CASCADE STEEL SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CASCADE STEEL-SHERWOOD SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE, CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2 | LOAD, SOA, NOPE
24-00106 | 17133564 | 10/17/2025 08:00 | 10/31/2025 18:00 | SUMMER LAKE: 4951/4952 TERMINAL OF, HEMINGWAY-SUMMER LAKE NO 1 500KV LINE |  | ID-NW, NWACI, SIG
25-05955 | 17535009 | 10/18/2025 03:00 | 11/08/2025 21:00 | CELILO: MODS 9084, 9085, 9054, 9092 BIG EDDY: MODS 4207 AND 4214 | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: POLE 3 CONVERTER 1, CELILO: POLE 4 CONVERTER 2, CELILO: POLE 3 540/240/240KV TRANSFORMER, CELILO: POLE 4 540/240/240KV TRANSFORMER | PDCI, SIG, BGEDY, NWACI
25-03513 | 17300633 | 10/18/2025 07:00 | 10/18/2025 17:00 | SANTIAM-PGE BETHEL NO 1 230KV LINE | SANTIAM: PCB A-516 | WOCS, SLAL, NWACI
25-00963 | 16957145 | 10/19/2025 22:00 | 10/24/2025 17:00 | GRAND COULEE: 500KV NORTH BUS |  | NOH, WOCN
25-05876 | 17535273 | 10/20/2025 07:00 | 10/30/2025 14:00 | COLUMBIA FALLS: HUNGRY HORSE NO 1 230KV LINE TRANSFER TRIP CKT 7459 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | GEN, MT-NW, FLAT
25-09391 | 17947755 | 10/20/2025 07:00 | 10/21/2025 15:00 | SWAN VALLEY: 161/115KV TRANSFORMER 3 ALARM AND TAP CHANGER CONTROL CIRCUITS | SWAN VALLEY: 161/115KV TRANSFORMER 3, SWAN VALLEY-GOSHEN NO 1 161KV LINE | SEIL, GEN, LOAD
25-01404 | 17037300 | 10/20/2025 07:00 | 11/13/2025 18:00 | WAUTOMA-ROCK CREEK NO 1 500KV LINE |  | BCHT, BCHW, NI, NOH, SIG, WOJD, WOM
25-11925 | 18410579 | 10/20/2025 07:00 | 10/20/2025 16:00 | LEDBEDER-CITY VIEW SECT OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE | LEDBEDER-CITY VIEW SECTION OF RED MOUNTAIN-RICHLAND NO 1 115KV LINE | TCLA, LOAD
25-01289 | 17075304 | 10/20/2025 07:30 | 10/23/2025 15:00 | GOSHEN-DRUMMOND NO 1 161KV LINE INCLUDING DRUMMOND: 161/115KV TRANSFORMER 4, PCB B-1831 AND THE 115KV AUX BUS | DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND NO 1 161KV LINE, DRUMMOND: PCB B-1831, DRUMMOND: 115KV AUX BUS | GEN, LOAD, SEIL
25-01290 | 17075357 | 10/20/2025 07:30 | 10/23/2025 15:00 | SWAN VALLEY-GOSHEN NO 1 161KV LINE INCLUDING SWAN VALLEY: 161/115KV TRANSFORMER 3 AND STATION SERVICE TRANSFORMER 1 | SWAN VALLEY: 161/115KV TRANSFORMER 3, SWAN VALLEY-GOSHEN NO 1 161KV LINE | SEIL, GEN, LOAD
25-04235 | 17339433 | 10/20/2025 07:30 | 10/21/2025 16:00 | COYOTE SPRINGS-SLATT NO 1 500KV LINE INCLUDING COYOTE SPRINGS: PCBS 5190, 5193 AND SLATT: PCBS 5043, 5045 | COYOTE SPRINGS: PCB 5190, COYOTE SPRINGS: PCB 5193, SLATT: PCB 5043, SLATT: PCB 5045 | WOLM, WOM, NWACI, WOJD
25-08115 | 17777359 | 10/20/2025 08:00 | 10/31/2025 15:00 | SLATT: BUCKLEY #1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5012 | SLATT: BUCKLEY 1 500KV LINE SERIES CAP GROUP 1, SLATT: PCB 5012 | WOJD, WOM, WOS, NWACI
25-05288 | 17530280 | 10/20/2025 08:00 | 10/21/2025 15:00 | TAFT: HSGS 7882 | TAFT: PCB 4148 | MT-NW, WOH
25-03473 | 17318614 | 10/20/2025 08:00 | 10/31/2025 15:00 | BENTON: 230/115KV TRANSFORMER 1 INCLUDING 67KV/240 V STATION SERVICE TRANSFORMER #2 | MIDWAY-BENTON NO 2 230KV LINE, BENTON: 230/115KV TRANSFORMER 1 | GEN, TCLA, LOAD
25-08058 | 17799585 | 10/20/2025 08:00 | 10/21/2025 17:00 | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE INCLUDING B-2180 SECTIONALIZING DISCONNECT | PROSSER-SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GEN, TCLA, LOAD
25-08243 | 17804543 | 10/20/2025 08:00 | 11/26/2025 15:00 | SILVER CREEK-MAYFIELD SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE |  | SOA, NOPE
25-07934 | 17759750 | 10/20/2025 08:00 | 10/31/2025 16:30 | OSTRANDER: 500KV WEST BUS INCLUDING CAP GROUP 1, 2, 3 AND PCBS 5135, 5138, 5097, 4432, 4445 AND 5134 | OSTRANDER: 500KV WEST BUS, OSTRANDER: 500KV CAP GROUP 1, OSTRANDER: 500KV CAP GROUP 2, OSTRANDER: 500KV CAP GROUP 3, OSTRANDER: PCB 4432, OSTRANDER: PCB 4445, OSTRANDER: PCB 5134, OSTRANDER: PCB 5135, OSTRANDER: PCB 5138, OSTRANDER: PCB 5097 | WOCS
25-06867 | 17771489 | 10/20/2025 08:00 | 10/25/2025 15:00 | ALLSTON-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING DELENA TAP | ALLSTON-DELENA SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, DELENA: CLATSKANIE PUD 115KV FEEDER 1 | LOAD, SOA, NOPE
25-07952 | 17770611 | 10/20/2025 08:00 | 10/21/2025 16:00 | HOT SPRINGS: 500KV REACTOR NO 1 INCLUDING PCB 4478 | HOT SPRINGS: 500KV REACTOR 1, HOT SPRINGS: PCB 4478 | MT-NW, WOH
25-00785 | 16772568 | 10/20/2025 08:00 | 10/20/2025 15:00 | MARION-ALVEY NO 1 500KV LINE |  | BCHT, BCHW, NI, NWACI, SIG, EWEB
25-04566 | 17368210 | 10/20/2025 08:00 | 10/31/2025 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 INCLUDING 230KV M/B CLR, 230KV CAP GROUP 2 AND PCBS A-826, A-814, A-816, A-818, A-822, A-824, A-828 | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6 | WOCS, BGEDY, PDCI, NWACI, COR, NOH, WOJD, GEN, FCRPS
25-03541 | 17326241 | 10/21/2025 06:00 | 10/22/2025 17:00 | JUNCTION CITY-EUGENE SECTION OF ALBANY-EUGENE NO 1 115KV LINE
25-03544 | 17326203 | 10/21/2025 06:00 | 10/22/2025 17:00 | PARKER-B-390 SECTION OF EUGENE-ALDERWOOD NO 1 115KV LINE
25-07678 | 17726296 | 10/21/2025 07:00 | 10/21/2025 14:00 | GOSHEN: PCB B-828
25-01548 | 17305702 | 10/21/2025 08:00 | 10/21/2025 16:00 | STARVATION RIDGE-HARNEY SECTION OF BRASADA-HARNEY NO 1 115KV LINE | BRASADA-HARNEY NO 1 115KV LINE | ID-NW, LOAD, COR
25-00401 | 16904066 | 10/21/2025 08:00 | 10/31/2025 15:00 | PONDEROSA-CAPTAIN JACK SECTION OF THE GRIZZLY-CAPTAIN JACK 1-500KV LINE INCLUDING SAND SPRINGS AND FORT ROCK SERIES CAP GROUPS | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: PCB 4264, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: PCB 4265, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SYCAN: PCB 4266, CAPTAIN JACK: PCB 4990, CAPTAIN JACK: PCB 4993 | BCHT, BCHW, NI, NWACI, SIG, COR, COI
25-10801 | 18177559 | 10/21/2025 08:00 | 10/21/2025 15:00 | HEYBURN: B-1782 TERMINAL OF THE IDAHO POWER HEYBURN-PAUL-ADELAIDE NO 1 138KV LINE | HEYBURN: IDAHO POWER CO 138KV FEEDER 1, HEYBURN: PCB B-1782 | BUHM
25-00452 | 16903684 | 10/21/2025 08:00 | 10/21/2025 09:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, COI, COR
25-03466 | 17743809 | 10/21/2025 09:00 | 10/23/2025 15:00 | SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266 | SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | NWACI
25-08424 | 17816550 | 10/21/2025 10:00 | 10/21/2025 10:15 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-08425 | 17816552 | 10/21/2025 14:15 | 10/21/2025 14:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-09928 | 18011161 | 10/22/2025 07:00 | 11/20/2025 17:00 | PGE - PEARL-SHERWOOD 1 & 2 230KV LINE |  | WOCS, NOPE, SOA
25-09795 | 18011486 | 10/22/2025 07:00 | 11/20/2025 17:00 | PEARL: A-1166 TERMINAL OF PEARL-SHERWOOD NO 1&2 230KV LINE | PEARL-SHERWOOD NO 1&2 230KV LINE, PEARL: PCB A-1166 | LOAD, SOA, WOCS, NOPE
25-07953 | 17770796 | 10/22/2025 08:00 | 10/23/2025 16:00 | HOT SPRINGS: PCB 4562 |  | GEN, MT-NW, WOH
25-04390 | 17413441 | 10/22/2025 08:00 | 10/22/2025 15:00 | GARRISON-TAFT NO 2 500KV LINE, INCLUDING GARRISON: TAFT 2 500KV LINE SERIES CAPS, PCBS 4360, 4463, 4458 AND THE TAFT: PCBS 4148 & 4125 | GARRISON: PCB 4463, GARRISON: PCB 4360, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2, TAFT: PCB 4148, TAFT: PCB 4125, GARRISON: PCB 4458 | MT-NW, SIG, WOH
25-09268 | 17928977 | 10/22/2025 09:00 | 10/30/2025 17:00 | HAMPTON-BEST LANE SECTION OF BRASADA-HARNEY NO 1 115KV LINE | HAMPTON-BEST LANE SECTION OF BRASADA-HARNEY NO 1 115KV LINE
25-04839 | 17400065 | 10/23/2025 07:00 | 10/25/2025 19:00 | ROGUE-GOLD BEACH NO 1 115KV LINE |  | SCORC
25-08698 | 17616324 | 10/23/2025 07:00 | 10/23/2025 16:00 | CHPD - ROCKY REACH 230KV BUS 3 | ROCKY REACH (CHPD): 230KV MAIN BUS SECTION 3 | CI, NOH, WOCN
25-09472 | 17947849 | 10/23/2025 07:00 | 10/23/2025 16:00 | CHEHALIS: PCB A-224
25-08587 | 17896068 | 10/23/2025 09:00 | 10/23/2025 15:00 | PILOT BUTTE-LAPINE NO 1 230KV LINE INCLUDING LAPINE: PCBs A-1498 AND A-1552 | LAPINE: PCB A-1552, PILOT BUTTE-LAPINE NO 1 230KV LINE, LAPINE: PCB A-1498, LAPINE: 230/115KV TRANSFORMER 2, LAPINE: 230KV AUX BUS | COR, NWACI, GRZN
25-09285 | 18065089 | 10/23/2025 12:30 | 11/03/2025 12:00 | CARLTON: A-316 TERMINAL INCLUDING MW&L CASCADE STEEL A-1565 TERMINAL OF CARLTON-SHERWOOD NO 1 230KV LINE | CARLTON-SHERWOOD NO 1 230KV LINE, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1 | LOAD, SOA, NOPE
25-06730 | 18499631 | 2025-10-24 17:15 | 2025-12-19 15:00 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, (OPERATING AT 230KV) | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | LOAD, SOA, NOPE
25-02676 | 17212785 | 10/25/2025 06:00 | 10/25/2025 20:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, RP, SIG, SOA, SOC, COI, NWACI, PDCI, NOPE
25-06868 | 17771727 | 10/25/2025 15:00 | 11/08/2025 22:00 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE
25-02677 | 17212789 | 10/26/2025 06:00 | 10/26/2025 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
25-04888 | 17574700 | 10/27/2025 05:30 | 10/29/2025 19:00 | WENDSON-TAHKENITCH NO 2 230KV LINE | TAHKENITCH: 230/115KV TRANSFORMER 1 | LOAD, SCORC
25-04890 | 17574704 | 10/27/2025 05:30 | 10/29/2025 20:00 | WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE | WENDSON: PCB B-1778 | SWORE, LOAD, SCORC
25-07994 | 17765881 | 10/27/2025 06:30 | 10/28/2025 17:00 | GRAND COULEE: 230KV MB SECT 3A&3B INCLUDING PCB'S 8086, 7886, 7486, 7382, 7286, 7182 AND 7084 | GRAND COULEE: 230KV MAIN BUS SECTION 3A, GRAND COULEE: 230KV MAIN BUS SECTION 3B, GRAND COULEE: PCB 8086, GRAND COULEE: PCB 7886, GRAND COULEE: PCB 7486, GRAND COULEE: PCB 7382, GRAND COULEE: PCB 7286, GRAND COULEE: PCB 7182, GRAND COULEE: PCB 7084, GRAND COULEE-CHIEF JOSEPH NO 1 230KV LINE, GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE, COLUMBIA-GRAND COULEE NO 3 230KV LINE, GRAND COULEE-BELL NO 5 230KV LINE, GRAND COULEE POWERHOUSE-GRAND COULEE #4 230KV LINE | WOCN, FCRPS, NOH, GEN, WOH, CI
25-05298 | 17582209 | 10/27/2025 07:00 | 11/21/2025 15:30 | FRANKLIN: 230/115KV TRANSFORMER 4 | MCNARY-FRANKLIN NO 2 230KV LINE | WOM, TCLA
25-11527 | 18316406 | 10/27/2025 07:00 | 10/30/2025 14:00 | BURLEY-RIVERTON SECTION OF WEST BURLEY-HEYBURN NO 1 138KV LINE | BURLEY: BURLEY ID 138KV FEEDER 1, RIVERTON: HEYBURN ID 138KV FEEDER 1, RIVERTON: 138/12.5KV TRANSFORMER 1, BURLEY TAP TO WEST BURLEY-HEYBURN NO 1 138KV LINE, RIVERTON TAP TO WEST BURLEY-HEYBURN NO 1 138KV LINE, RIVERTON-HEYBURN SECTION OF WEST BURLEY-HEYBURN NO 1 138KV LINE
25-09845 | 18178489 | 10/27/2025 07:30 | 10/27/2025 16:00 | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, INCLUDING MAPLE VALLEY: PCB A-1118 AND 230KV A/B SECT 1 | MAPLE VALLEY: PCB A-1118 | CI, IROL, NOEL, NOH, SOC, WOCN
25-06933 | 17618698 | 10/27/2025 08:00 | 10/30/2025 15:00 | TAFT: PCB 4122 BFR | TAFT: PCB 4122 | MT-NW, WOH
25-11895 | 18365551 | 10/27/2025 08:00 | 11/06/2025 16:00 | CARDWELL: PCB B-1552 RELAYS | CARDWELL: PCB B-1552
25-01219 |  | 10/27/2025 08:00 | 11/07/2025 15:00 | MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE #1 115kV LINE INCLUDING OSTREA TAP | MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA
25-05464 | 17475214 | 10/28/2025 07:00 | 10/28/2025 15:30 | TETON: B-1674 TERMINAL OF THE LVE EAST JACKSON-TETON NO 1 115KV LINE | TETON: LOWER VALLEY ENG 115KV FEEDER 2, CRYSTAL SPRINGS-TETON SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL, LOAD
25-10024 | 18051378 | 10/28/2025 10:00 | 10/28/2025 10:15 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-10026 | 18051400 | 10/28/2025 14:15 | 10/28/2025 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-05462 | 17475204 | 10/29/2025 07:00 | 10/29/2025 15:30 | -LVE- EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | EAST JACKSON-CRYSTAL SPRINGS SECTION OF EAST JACKSON-TETON NO 1 115KV LINE | SEIL
25-04882 | 17576533 | 10/30/2025 05:00 | 10/31/2025 21:00 | TOLEDO-WENDSON NO 1 230KV LINE | WENDSON: PCB A-1582, TOLEDO: PCB A-1468 | LOAD, SCORC
25-08588 | 17896087 | 10/30/2025 09:00 | 10/30/2025 15:00 | LAPINE-CHILOQUIN NO 1 230KV LINE INCLUDING LAPINE: PCB'S A-1553 AND A-1498 | LAPINE: PCB A-1553, LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1498, LAPINE: 230/115KV TRANSFORMER 2, LAPINE: 230KV AUX BUS | COR, NWACI, LOAD, GRZN
25-06723 | 18191153 | 10/30/2025 09:00 | 10/30/2025 14:00 | BOTHELL-SNO-KING NO 1 230KV LINE INCLUDING PCBS A-1434 AND A-1206 | SNO-KING: PCB A-1434, SNO-KING: PCB A-1206, SNO-KING: 230KV CAP GROUP 1 SECTION 1, SNO-KING: 230KV CAP GROUP 1 SECTION 2, SNO-KING: LBD A-1199, SNO-KING: LBD A-1197, BOTHELL-SNO-KING NO 1 230KV LINE | NOEL, SOC, WOCN
25-00453 | 16904070 | 10/31/2025 14:00 | 10/31/2025 15:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, COI, COR