## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
23-04125 | 18099097 | 01/28/2023 17:00 | 01/10/2026 07:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 14853282 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
23-18564 |  | 12/20/2023 14:56 | 10/31/2025 23:59 | PACW - BURNS: 500KV SERIES CAP SAGMENT 1 & 2 | BURNS: 500KV SERIES CAP SEGMENT 1, BURNS: 500KV SERIES CAP SEGMENT 2 | NWACI
24-13950 |  | 08/16/2024 00:06 | 12/01/2025 17:00 | PG&E - PACIRAS CONTROLLER A
24-16579 | 17543676 | 10/16/2024 08:00 | 10/31/2025 15:00 | BOUNDARY: PCB A-1230 |  | SOB
25-04441 |  | 02/01/2025 08:00 | 11/03/2025 08:00 | PG&E: TABLE MOUNTAIN SERIES CAPACITOR - ROUND MOUNTAIN NO. 1 |  | COI
25-08063 |  | 04/16/2025 08:40 | 10/01/2025 15:00 | PACIRAS CONTROLLER B | MUNRO: RAS AC-B LOI SIGNAL 2 TO/FROM PG&E SAN FRANCISCO CKT 7B67, MUNRO: RAS AC-B LOI SIGNAL 1 TO/FROM PG&E SAN FRANCISCO CKT 7B65, MUNRO: RAS DC-B PG&E SNFO REAC CKT 7E64
25-03624 | 17293824 | 04/21/2025 08:00 | 10/06/2025 11:00 | CARDWELL: B-1540 TERMINAL OF CARDWELL-MEEKER 115KV LINE | CARDWELL-MEEKER 115KV LINE, CARDWELL: PCB B-1540, MEEKER-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-08817 |  | 05/03/2025 06:00 | 12/31/2025 15:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-08931 | 17894564 | 05/12/2025 06:30 | 11/20/2025 17:00 | MCNARY: A-408 TERMINAL OF MCNARY PH-MCNARY NO 2 230KV LINE
25-06917 | 17616764 | 06/02/2025 08:00 | 10/30/2025 16:00 | -COWLITZ- 7TH AVE-EAST KELSO 115KV LINE | 7TH AVE-EAST KELSO 115KV LINE | LOAD
25-10212 |  | 06/04/2025 08:00 | 12/25/2025 07:00 | PG&E - TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP
25-08691 | 17726028 | 06/09/2025 08:00 | 09/04/2025 18:00 | SCL - BOTHELL: 230/115KV BANK 61 |  | SOC, NOEL
25-10415 | 18093604 | 06/10/2025 08:00 | 09/10/2025 15:00 | ICE HARBOR-FRANKLIN NO 2 115KV LINE | ICE HARBOR-SACAJAWEA SECTION OF ICE HARBOR-FRANKLIN NO 2 115KV LINE | GEN, TCLA, FCRPS, LOAD
25-10532 | 18112276 | 06/12/2025 08:00 | 12/31/2025 15:00 | COLUMBIA: A-915 AUX BUS SECTIONALIZING DISC
25-07546 | 18113262 | 06/12/2025 10:22 | 12/31/2025 23:59 | ALLSTON: A-1366 A/B SECT DISC
25-07844 | 17738348 | 06/12/2025 12:00 | 10/30/2025 16:00 | COLUMBIA: 230/115KV TRANSFORMER 1 |  | LOAD, WOCN, CI, NOH
25-10575 |  | 06/16/2025 12:00 | 10/01/2025 15:00 | MCMINNVILLE: B-1316 TERMINAL OF MCMINNVILLE W&L 115KV FEEDER 3 | MCMINNVILLE: MCMINNVILLE W&L 115KV FEEDER 3
25-10823 | 18178294 | 06/23/2025 08:00 | 10/31/2025 16:00 | ECHO LAKE: 500KV CAP GROUP 2 INCLUDING PCB 5127 | ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
25-10824 | 18178297 | 06/23/2025 08:00 | 10/31/2025 16:00 | ECHO LAKE: 500KV CAP GROUP 1 INCLUDING PCB 5125 | ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
25-06096 | 17530014 | 06/26/2025 16:00 | 11/14/2025 08:00 | ROCKY REACH: 345/230KV TRANSFORMER 1 INCLUDING MODS A-3017, A-3016 AND THE A-1001 DISCONNECTS | ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN
25-00981 | 17133701 | 07/14/2025 04:30 | 09/26/2025 15:00 | LIBBY: A-1590 TERMINAL OF LIBBY PH-LIBBY NO 1 230KV LINE | LIBBY PH-LIBBY NO 1 230KV LINE | GEN, FCRPS
25-09539 | 17943014 | 07/14/2025 08:00 | 09/28/2025 16:00 | PSE - ROCKY REACH-CASCADE 230KV LINE
24-02162 |  | 07/14/2025 16:30 | 09/08/2025 07:00 | GARRISON: BROADVIEW 1 500KV LINE RELAYS
25-10258 |  | 07/21/2025 07:30 | 12/19/2025 17:00 | CHIEF JOSEPH: DYNAMIC BRAKING RESISTOR | CHIEF JOSEPH: PCB A-594 | WOCN, NOH
25-04425 | 17359851 | 08/01/2025 16:30 | 11/12/2025 08:00 | OSTRANDER: 500KV REACTORS 1 AND 2 INCLUDING PCB 4838 | OSTRANDER: PCB 4838, OSTRANDER: 500KV REACTOR 1, OSTRANDER: 500KV REACTOR 2 | WOCS
25-06865 | 17771315 | 08/05/2025 07:00 | 09/04/2025 17:00 | ALLSTON-DELENA SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE
25-09726 |  | 08/17/2025 07:00 | 09/13/2025 15:00 | PEARL: PCB A-1169 INCLUDING THE A-1169 T/S DISC | PEARL: A-1169 MAIN BUS DISC
25-03469 | 17299126 | 08/19/2025 08:00 | 09/12/2025 15:00 | BAKERS CORNER-LONGVIEW SECTION OF LEXINGTON-LONGVIEW NO 1 115KV LINE |  | LOAD
25-09622 | 17986441 | 08/25/2025 07:00 | 09/12/2025 15:00 | COLUMBIA-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE INCLUDING B-408 LINE SECTIONALIZING DISCONNECT | B408-JENKINS SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, COLUMBIA-B408 SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE | TCLA
25-02053 | 17121202 | 08/25/2025 07:30 | 09/05/2025 18:00 | BIG EDDY-OSTRANDER NO 1 500KV LINE |  | PDCI, SIG, WOCS, WOJD, BGEDY, NWACI
25-02250 | 17288056 | 08/25/2025 08:00 | 09/11/2025 15:00 | GRIZZLY: PCB 4038, INCLUDING 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | NWACI
25-00071 | 15162397 | 08/26/2025 07:00 | 09/23/2025 15:00 | -USBR- HUNGRY HORSE: PCBS 2282 AND 2382 | HUNGRY HORSE PH: PCB 2382, HUNGRY HORSE PH: PCB 2282 | WOH, FLAT
25-09034 | 17901074 | 08/29/2025 08:00 | 10/16/2025 15:00 | CARLTON: 230/115KV TRANSFORMER 1 INCLUDING PCB B-129 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA
25-08695 | 17817477 | 09/01/2025 07:00 | 10/31/2025 18:00 | PG&E - VACA DIXON-TESLA 500KV LINE | VACA DIXON-TESLA 500KV LINE | COI
25-01399 | 17037285 | 09/01/2025 07:00 | 09/12/2025 18:00 | WAUTOMA-ROCK CREEK NO 1 500KV LINE |  | BCHT, BCHW, NI, NOH, SIG, WOJD, WOM
25-05484 | 17491324 | 09/01/2025 08:00 | 09/04/2025 16:30 | VANTAGE: PCB 5339 |  | NOH
25-08363 | 17805990 | 09/01/2025 22:00 | 09/02/2025 08:00 | FRY (PAC)-PARRISH GAP 230KV LINE |  | NWACI, SWORE, SLAL
25-07280 | 17662356 | 09/02/2025 06:45 | 09/02/2025 07:00 | BELL-BOUNDARY NO 3 230KV LINE | ADDY: 230/115KV TRANSFORMER 3, ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE, ADDY TAP TO BELL-BOUNDARY NO 3 230KV LINE | BCHT, GEN, MT-NW, SOB
25-01161 | 16964217 | 09/02/2025 07:00 | 09/07/2025 17:00 | GRAND COULEE-CHIEF JOSEPH NO 3 500KV LINE | CHIEF JOSEPH: PCB 4728, CHIEF JOSEPH: PCB 4732 | GEN, NOH, SIG, FCRPS, MT-NW, WOCN, WOH, WOLM, NOEL, SOC, NWACI, SOA, NOPE
25-04051 | 17531725 | 09/02/2025 07:00 | 09/07/2025 15:00 | TROY-YAAK SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | LOAD, FLAT
25-03553 | 17656674 | 09/02/2025 07:00 | 09/19/2025 15:00 | MEAD-HALF MOON SECT OF BELL-ADDY NO1 115KV LINE INCLUDING COLBERT AND HALF MOON TAPS | MEAD-COLBERT SECTION OF BELL-ADDY NO 1 115KV LINE, COLBERT-HALF MOON SECTION OF BELL-ADDY NO 1 115KV LINE, COLBERT TAP TO BELL-ADDY NO 1 115KV LINE, HALF MOON TAP TO BELL-ADDY NO 1 115KV LINE, HALF MOON-TUM TUM SECTION OF BELL-ADDY NO 1 115KV LINE, COLBERT: AVISTA CORP 115KV FEEDER 1, HALF MOON: INLAND P+L 115KV FEEDER 1
25-03562 | 17662372 | 09/02/2025 07:00 | 09/19/2025 15:00 | BELL-ADDY SECTION OF BELL-BOUNDARY NO 3 230KV LINE |  | SOB
25-06438 | 17575922 | 09/02/2025 07:00 | 09/02/2025 16:00 | RAVER: PCB 4314 |  | NOEL, RP, SOC, WOCN
25-05648 | 17739638 | 09/02/2025 07:30 | 09/03/2025 16:00 | SHELTON: PCB A-976 |  | RP
25-05139 |  | 09/02/2025 07:30 | 09/03/2025 17:00 | LOOKOUT POINT-MT. VERNON SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE |  | GEN
25-04562 | 17373135 | 09/02/2025 07:30 | 09/02/2025 07:45 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-06550 | 17612005 | 09/02/2025 08:00 | 10/03/2025 15:00 | -LEWIS PUD- COWLITZ FALLS-GLENOMA NO 1 230KV LINE AND GLENOMA-MOSSY ROCK NO 1 230KV LINE | GLENOMA: PCB 230-35
25-10481 | 18163682 | 09/02/2025 08:00 | 09/02/2025 16:00 | CUSTER: PCB A-1246 |  | BCHT, BCHW, NOEL, SOC, NI
25-01942 | 17969749 | 09/02/2025 08:00 | 09/05/2025 15:00 | PONDEROSA: PCB A-1847 BREAKER FAILURE RELAY | PONDEROSA: PCB A-1847
25-00090 | 15786790 | 09/02/2025 08:00 | 09/05/2025 18:30 | PONDEROSA: 230KV SOUTH NON-GIS BUS SECTION, INCLUDING PCB'S A-1827, A-1818, A-1847 AND PONDEROSA-CORRAL NO.2 230KV LINE | PONDEROSA: PCB A-1827, PONDEROSA: PCB A-1818, PONDEROSA: PCB A-1847, PONDEROSA: 230KV SOUTH NON-GIS BUS SECTION, PONDEROSA-CORRAL NO 2 230KV LINE | LOAD, COR, NWACI, GRZN
25-09365 | 17943614 | 09/02/2025 08:00 | 10/02/2025 15:00 | ALLSTON: 500/230/34.5KV TRANSFORMER 1 INCLUDING PCB 4474 AND THE PRIMARY STATION SERVICE TRANSFORMER | ALLSTON: PCB 4474, ALLSTON: 500/230KV TRANSFORMER 1, ALLSTON: PRIMARY STATION SERVICE | SOA, NOPE, SIG
25-01429 | 17523453 | 09/02/2025 08:00 | 09/02/2025 15:00 | DWORSHAK: PCB 4650 INCLUDING 500KV REACTOR 2 | DWORSHAK: 500KV REACTOR 2, DWORSHAK: PCB 4650 | GEN, MT-NW, WOH
25-08144 | 17778824 | 09/02/2025 08:00 | 09/03/2025 15:30 | BIG EDDY: PCB 4202 |  | PDCI, WOCS, WOJD, BGEDY
25-10571 | 18135566 | 09/02/2025 08:00 | 09/05/2025 17:30 | DE MOSS-CONDON WIND SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE |  | BGEDY
25-06444 | 17758441 | 09/02/2025 08:00 | 09/03/2025 15:00 | OLYMPIA-SKOOKUM SECTION OF OLYMPIA-SHELTON NO 2 115KV LINE
25-07835 | 17739352 | 09/02/2025 09:30 | 09/04/2025 13:30 | SUMMER LAKE: PCB 4959 |  | NWACI
25-04563 | 17373132 | 09/02/2025 11:15 | 09/02/2025 11:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-08350 |  | 09/02/2025 22:00 | 09/03/2025 08:00 | FRY (PAC)-PARRISH GAP 230KV LINE |  | SLAL, NWACI
25-04137 | 17330644 | 09/03/2025 07:00 | 09/04/2025 14:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 | GARRISON: PCB 4458 | MT-NW
25-10866 | 18185771 | 09/03/2025 07:00 | 09/03/2025 16:00 | MCNARY: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-3024 | MCNARY: PCB A-3024
25-06440 | 17576003 | 09/03/2025 07:00 | 09/04/2025 16:00 | RAVER: PCB 4789 |  | NOEL, RP, SOC, WOCN
25-10404 | 18093767 | 09/03/2025 07:30 | 09/03/2025 16:00 | BENTON-WHITE BLUFFS NO 1 115KV LINE |  | TCLA
25-02640 | 17531126 | 09/03/2025 08:00 | 09/04/2025 16:30 | REEDSPORT-LAKESIDE SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE |  | LOAD, SCORC
25-00786 | 17108851 | 09/03/2025 08:00 | 09/04/2025 16:00 | SWAN VALLEY: 115KV MAIN BUS INCLUDING PCBs B-1688, B-1676, B-1665, B-1675, B-1677 AND THE 115KV MAIN BUS PTs | SWAN VALLEY: 115KV MAIN BUS, PALISADES-SWAN VALLEY NO 1 115KV LINE, SWAN VALLEY-TETON NO 1 115KV LINE, SWAN VALLEY-TETON NO 2 115KV LINE, SWAN VALLEY-GOSHEN NO 1 161KV LINE, SWAN VALLEY: 161/115KV TRANSFORMER 3, SWAN VALLEY: LOWER VALLEY ENG 12.5KV FEEDER 1 | GEN, LOAD, SEIL
25-08352 |  | 09/03/2025 22:00 | 09/04/2025 08:00 | -PACW- FRY-CALAPOOYA SECTION OF DIAMOND HILL-FRY 230KV LINE
25-10874 |  | 09/04/2025 07:00 | 09/04/2025 11:30 | MORROW FLAT: PCB B-2237
25-05650 | 17739646 | 09/04/2025 07:30 | 09/04/2025 16:00 | SHELTON: PCB A-77 |  | RP
25-06446 | 17929466 | 09/04/2025 08:00 | 09/09/2025 15:00 | OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE |  | PA, RP
25-08145 | 17778651 | 09/04/2025 08:00 | 09/04/2025 15:30 | BIG EDDY: PCB 4205 |  | PDCI, WOCS, WOJD, BGEDY
25-06421 | 17570554 | 09/04/2025 08:00 | 09/04/2025 10:30 | PEARL: PCB 4475 |  | SOA, NOPE, WOCS
25-06422 | 17570545 | 09/04/2025 10:45 | 09/04/2025 14:00 | PEARL: PCB 4510 |  | SOA, NOPE, WOCS
25-10391 | 18092422 | 09/05/2025 07:00 | 09/08/2025 18:00 | SNO-KING: A-1417 TERMINAL AND MAPLE VALLEY: A-1124 TERMINAL OF SNO-KING-MAPLE VALLEY NO 2 230KV LINE | SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, SIG
25-10387 | 18092394 | 09/05/2025 07:00 | 09/08/2025 18:00 | SNO-KING: A-1198 TERMINAL AND MAPLE VALLEY: A-1138 TERMINAL OF SNO-KING-MAPLE VALLEY NO 1 230KV LINE | SNO-KING-MAPLE VALLEY NO 1 230KV LINE | NOEL, SOC, SIG
25-06818 | 17609284 | 09/05/2025 08:00 | 09/07/2025 15:00 | MURRAY-CUSTER NO 1 230KV LINE INCLUDING THE SEDRO WOOLLEY TAP | MURRAY-CUSTER NO 1 230KV LINE, MURRAY-SEDRO WOOLLEY SECTION OF MURRAY-CUSTER NO 1 230KV LINE | NOEL, SOC
25-00278 | 17056307 | 09/07/2025 22:00 | 09/12/2025 17:00 | GRAND COULEE: PCB 6782 INCLUDING 230KV AUX BUS SECTION 2 | GRAND COULEE: PCB 6782, GRAND COULEE: PCB 6382, GRAND COULEE: 230KV AUX BUS SECTION 2 | NOH, WOCN
25-09538 | 17872908 | 09/08/2025 07:00 | 09/12/2025 17:30 | PAC - ALVEY-DIXONVILLE 230KV LINE |  | NWACI, SWORE
25-04142 | 17330660 | 09/08/2025 07:00 | 09/11/2025 16:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 | GARRISON: PCB 4461 | MT-NW
25-08842 |  | 09/08/2025 07:00 | 09/12/2025 17:30 | ALVEY: A-656 TERMNAL OF ALVEY-DIXONVILLE NO 1 230KV LINE | ALVEY-DIXONVILLE NO 1 230KV LINE | EWEB, NWACI
25-04052 | 17531129 | 09/08/2025 07:00 | 09/11/2025 17:00 | LIBBY-LIBBY FEC SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE | LIBBY: PCB B-1300, LIBBY: 230/115KV TRANSFORMER 1 | FLAT, SOB
25-03023 | 17737369 | 09/08/2025 07:00 | 09/11/2025 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCBS 4971 AND 4972 | CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972, CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | NWACI, COI
25-00659 | 17005499 | 09/08/2025 07:00 | 09/12/2025 16:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP |  | COI
25-00840 | 17268835 | 09/08/2025 07:00 | 10/03/2025 14:00 | SWAN VALLEY-TETON NO 2 115KV LINE INCLUDING SWAN VALLEY PCB B-1675 | SWAN VALLEY-TETON NO 2 115KV LINE, SWAN VALLEY: PCB B-1675 | SEIL, GEN
25-01650 | 17095107 | 09/08/2025 07:00 | 09/25/2025 16:30 | MAPLE VALLEY: 20KV SVC INCLUDING 230/20KV TRANSFORMER BANK 3 AND PCB A-1141 | MAPLE VALLEY: 230/20KV TRANSFORMER 3, MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: PCB A-1141 | IROL, NOEL, SOC, WOCN
25-07253 | 17693325 | 09/08/2025 07:00 | 09/12/2025 17:30 | ALVEY-DIXONVILLE NO 1 230KV LINE INCLUDING ALVEY: PCB A-656 AND 230KV NORTH AUX BUS | ALVEY-DIXONVILLE NO 1 230KV LINE | EWEB, NWACI
25-07701 | 17724496 | 09/08/2025 08:00 | 10/13/2025 12:00 | BOUNDARY: PCB A-1226
25-09455 | 18148399 | 09/08/2025 08:00 | 09/08/2025 15:00 | CHEHALIS: 230KV AUX BUS | CHEHALIS: PCB A-50
25-03474 | 17300699 | 09/08/2025 08:00 | 10/31/2025 15:00 | ROSS-ST JOHNS NO 1 230KV LINE |  | LOAD, SOA, NOPE
25-03478 | 17300709 | 09/08/2025 08:00 | 10/31/2025 15:00 | ROSS-RIVERGATE NO 1 230KV LINE |  | LOAD, SOA, NOPE
24-16020 | 17042709 | 09/08/2025 08:00 | 09/11/2025 16:00 | TILLAMOOK: 230/115KV TRANSFORMER 2 | TILLAMOOK: PCB B-1098, CARLTON-TILLAMOOK NO 1 230KV LINE, CARLTON-CASCADE STEEL SECTION OF CARLTON-SHERWOOD NO 1 230KV LINE | LOAD, SOA, NOPE
25-03397 | 17299988 | 09/08/2025 08:00 | 09/25/2025 15:00 | SIFTON: 230/115KV TRANSFORMER 2 | SIFTON: PCB A-163, SIFTON: PCB B-1500, SIFTON: 230KV EAST MAIN BUS, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SOA, NOPE, GEN, LOAD, WOCS
25-00740 | 16730868 | 09/08/2025 08:00 | 09/09/2025 15:00 | MONROE-CUSTER NO 1 500KV LINE INCLUDING PCBS 4268 AND 4272 | CUSTER: PCB 4268, CUSTER: PCB 4272, MONROE-CUSTER NO 1 500KV LINE | BCHT, BCHW, NOEL, SOC, NI, IROL, SIG
25-05486 | 17491339 | 09/08/2025 08:00 | 09/11/2025 16:30 | VANTAGE: PCB 5342 |  | NOH
25-01214 | 17109975 | 09/08/2025 08:00 | 09/20/2025 15:00 | COLUMBIA-GRAND COULEE NO 1 230KV LINE |  | CI, NOH
25-00554 | 16584659 | 09/08/2025 08:00 | 09/19/2025 15:00 | ASHE: 500KV REACTOR 1 INCLUDING PCB 4907 | ASHE: 500KV REACTOR 1, ASHE: PCB 4907 | NWACI, FCRPS, NOH
25-01385 | 17326782 | 09/08/2025 08:00 | 09/19/2025 16:00 | RILEY-STARVATION RIDGE SECTION OF BRASADA-HARNEY NO 1 115KV LINE | BRASADA-HARNEY NO 1 115KV LINE | ID-NW, LOAD, COR
25-08629 | 17845011 | 09/08/2025 08:00 | 09/12/2025 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | TAFT-HOT SPRINGS NO 1 500KV LINE, HOT SPRINGS: PCB 4562, HOT SPRINGS: 500KV REACTOR 1, HOT SPRINGS: PCB 4478 | MT-NW, WOH, FLAT, SIG, GEN
25-08640 |  | 09/08/2025 08:00 | 09/11/2025 15:00 | HOT SPRINGS: A-284 TERMINAL OF HOTSPRINGS- (NWE) PLACID LAKE NO 1 230KV LINE | HOT SPRINGS-NWE PLACID LAKE NO 1 230KV LINE | MT-NW
25-00783 | 16842572 | 09/08/2025 08:00 | 10/03/2025 15:00 | COSMOPOLIS: PCB B-1335 INCLUDING 115KV CAP GROUP #1 | COSMOPOLIS: 115KV CAP GROUP 1
25-02997 | 17245679 | 09/08/2025 08:00 | 09/11/2025 16:00 | BIG EDDY: 500/230KV TRANSFORMER 2 INCLUDING BIG EDDY 500/230KV TIE NO. 1 500KV LINE | BIG EDDY: 500/230KV TRANSFORMER 2, BIG EDDY 500/230KV TIE NO 1 500KV LINE, BIG EDDY: 34.5/13.2KV TRANSFORMER 6, BIG EDDY: 34.5KV PCB L-1710, BIG EDDY: 13.2KV PCB L-1470, BIG EDDY: 13.2KV PCB L-1474 | GEN, PDCI, SIG, FCRPS, WOJD, BGEDY, NWACI
25-07399 | 17685834 | 09/08/2025 08:00 | 09/08/2025 15:00 | NASELLE-TARLETT NO 1 115KV LINE |  | SOA, LOAD
25-07758 |  | 09/08/2025 08:00 | 09/10/2025 18:00 | SCL- SHORELINE-VIEWLAND 115KV LINE | SHORELINE (SCL)-VIEWLAND 115KV LINE | NOEL, SIG, SOC
25-01370 |  | 09/08/2025 08:00 | 09/26/2025 15:00 | -PGE- SHERWOOD: 230KV BUS V63 |  | SOA, NOPE, LOAD
25-00602 | 16847672 | 09/08/2025 08:00 | 09/09/2025 15:00 | MALIN: PCB 4182 INCLUDING 500KV CAP GROUP 3 | MALIN: 500KV CAP GROUP 3, MALIN: PCB 4182 | COI, NWACI
25-06509 | 17576907 | 09/08/2025 08:00 | 09/11/2025 15:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5103 ALARMS | ALVEY: PCB 5103, ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 | NWACI, EWEB
25-07630 | 17726749 | 09/08/2025 08:00 | 09/11/2025 15:00 | COYOTE SPRINGS: PCB 5190 BREAKER FAILURE AND BREAKER DIFFERENTIAL RELAYS | COYOTE SPRINGS: PCB 5190 | WOLM, WOM
25-10845 | 18183148 | 09/08/2025 08:30 | 10/06/2025 15:00 | DILLARD: B-1579 AND B-1580 TERMINALS OF THE EUGENE-ALVEY NO.2 115KV LINE | DILLARD TAP TO EUGENE-ALVEY NO 2 115KV LINE, EUGENE-ALVEY NO 2 115KV LINE | EWEB
25-09428 | 17964185 | 09/08/2025 08:30 | 09/08/2025 13:00 | EAST OMAK: PCB B-81 | EAST OMAK: 115KV CAP GROUP 1 | OKLA
25-06736 | 17608625 | 09/08/2025 08:30 | 09/08/2025 15:00 | BOUNDARY: PCB A-1233 |  | SOB
25-09485 | 17948402 | 09/08/2025 13:00 | 09/18/2025 15:00 | CHIEF JOSEPH: PCB A-575 |  | WOCN, NOH
25-09436 | 17948544 | 09/08/2025 13:00 | 09/18/2025 15:00 | EAST OMAK: 230/115KV TRANSFORMER 1 | CHIEF JOSEPH: PCB A-575, EAST OMAK: PCB B-73, CHIEF JOSEPH-EAST OMAK NO 1 230KV LINE | LOAD, NOH, WOCN
25-08678 | 17852416 | 09/09/2025 07:00 | 09/12/2025 16:00 | VALHALLA: B-288 TERMINAL OF CHELAN CO. PUD FEEDER NO.1 | VALHALLA: CHELAN CO PUD 115KV FEEDER 1, VALHALLA: PCB B-288 | CI
25-09458 | 18066477 | 09/09/2025 07:00 | 09/09/2025 17:00 | CHEHALIS: 230KV EAST MAIN BUS INCLUDING PCBS A-230, A-224, A-226, A-46 AND A-48 | CHEHALIS: PCB A-230, CHEHALIS: PCB A-224, CHEHALIS: PCB A-226, CHEHALIS: PCB A-46, CHEHALIS: PCB A-48, CHEHALIS: 230KV EAST MAIN BUS, LONGVIEW-CHEHALIS 1&3 NO 1 230KV LINE, MOSSYROCK-CHEHALIS NO 1 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | LOAD, NOEL, RP, IROL, SOA, NOPE
25-09440 | 17947645 | 09/09/2025 07:00 | 09/09/2025 17:00 | ALLSTON-DRISCOLL NO 1 230KV LINE RELAYS | ALLSTON-DRISCOLL NO 1 230KV LINE, ALLSTON: PCB A-1358, DRISCOLL: PCB A-1268, ALLSTON: PCB A-1360 | LOAD, SOA, NOPE
25-07068 | 17643615 | 09/09/2025 07:30 | 09/09/2025 07:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-07400 | 17685888 | 09/09/2025 08:00 | 09/10/2025 15:00 | NASELLE-HAGEN SECTION OF NASELLE-TARLETT NO 2 115KV LINE |  | LOAD
25-09931 | 18032850 | 09/09/2025 08:30 | 09/09/2025 15:30 | BOUNDARY: 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-1228, B-1398 AND METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE | BOUNDARY: PCB A-1228, BOUNDARY: 230/115KV TRANSFORMER 1, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE, BOUNDARY: PCB B-1398 | SOB, LOAD, NI, NOEL, SOC
25-07064 | 17642464 | 09/09/2025 10:00 | 09/09/2025 21:00 | CELILO: PACIFIC HVDC PROBING SIGNAL TEST | CHIEF JOSEPH: BRAKING RESISTOR | NOH, SIG, NWACI
25-07067 | 17643667 | 09/09/2025 11:15 | 09/09/2025 11:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-10170 | 18066720 | 09/10/2025 06:00 | 09/10/2025 18:00 | CHEHALIS: 230KV MAIN BUS INCLUDING: MAIN BUS PTs AND PCBs: A-230; A-224; A-226; A-46; A-48; A-50; A-52; A-228; A-234 AND A-1430 | CHEHALIS: 115KV MAIN BUS, CHEHALIS: 115KV AUX BUS, CHEHALIS: 230/115KV TRANSFORMER 2, CHEHALIS: 230/69KV TRANSFORMER 3, CHEHALIS: 230KV EAST MAIN BUS, CHEHALIS: 230KV WEST MAIN BUS, CHEHALIS: PCB A-1430, CHEHALIS: PCB A-224, CHEHALIS: PCB A-226, CHEHALIS: PCB A-228, CHEHALIS: PCB A-230, CHEHALIS: PCB A-234, CHEHALIS: PCB A-46, CHEHALIS: PCB A-48, CHEHALIS: PCB A-50, CHEHALIS: PCB A-52, CHEHALIS: PCB B-86, CHEHALIS: PCB B-90, CHEHALIS-PE ELL SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE, LONGVIEW-CHEHALIS 1&3 NO 3 230KV LINE, CHEHALIS-CENTRALIA SWITCHING STATION SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE | LOAD, SOA, RP, NOPE, NOEL, IROL
25-10875 | 18192680 | 09/10/2025 07:00 | 09/10/2025 11:30 | MORROW FLAT: PCB B-2234
25-02439 | 17191464 | 09/10/2025 08:00 | 09/11/2025 15:00 | CUSTER: PCB 4272 |  | BCHT, BCHW, NOEL, SOC, NI
25-00742 | 16731068 | 09/10/2025 08:00 | 09/12/2025 15:00 | MURRAY-CUSTER NO 1 23OKV LINE INCLUDING THE SEDRO WOOLLEY TAP | MURRAY-CUSTER NO 1 230KV LINE, SEDRO WOOLLEY TAP TO MURRAY-CUSTER NO 1 230KV LINE, MURRAY: PCB A-1510 | NOEL, SOC, BCHT, BCHW
25-06447 | 17738271 | 09/10/2025 08:00 | 09/10/2025 15:00 | DAYTON-SHELTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE |  | RP
25-10876 | 18198523 | 09/10/2025 12:00 | 09/10/2025 16:00 | MORROW FLAT: 115KV CAP GRP 1 INCLUDING PCB B-2251 | MORROW FLAT: PCB B-2251
25-01640 | 17300323 | 09/11/2025 05:30 | 09/12/2025 19:30 | SHELTON-KITSAP NO 4 230KV LINE |  | RP
25-10878 | 18192701 | 09/11/2025 07:00 | 09/11/2025 11:30 | MORROW FLAT: PCB A-1871
25-07213 | 17662488 | 09/11/2025 07:00 | 09/11/2025 16:00 | ALVEY-MARTIN CREEK SECTION OF ALVEY-FAIRVIEW NO 1 230KV LINE INCLUDING ALVEY: PCB A-236 AND 230KV SOUTH AUX BUS | ALVEY-MARTIN CREEK SECTION OF ALVEY-FAIRVIEW NO 1 230KV LINE | LOAD, SCORC
25-09460 | 18148357 | 09/11/2025 08:00 | 09/11/2025 15:00 | CHEHALIS: 230KV AUX BUS | CHEHALIS: PCB A-50
25-07402 | 17685934 | 09/11/2025 08:00 | 09/12/2025 15:00 | WAHKIAKUM-GRAYS RIVER SECTION OF DRISCOLL-NASELLE NO 1 115KV LINE |  | LOAD
25-06738 | 17608629 | 09/11/2025 08:00 | 09/11/2025 15:00 | BOUNDARY: PCB A-1222 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE, ADDY TAP TO BELL-BOUNDARY NO 3 230KV LINE | SOB, GEN
25-10879 | 18192705 | 09/11/2025 12:00 | 09/11/2025 16:00 | MORROW FLAT: PCB A-1877 |  | WOM
25-10395 | 18092625 | 09/12/2025 07:00 | 09/15/2025 18:00 | MAPLE VALLEY: A-1134 TERMINAL OF THE MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE | MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE | NOEL, SOC
25-01475 | 17300599 | 09/13/2025 05:30 | 09/18/2025 19:30 | SHELTON-FAIRMOUNT NO 3 230KV LINE |  | LOAD, SOA, NOPE
25-00665 | 18099826 | 09/13/2025 09:00 | 09/16/2025 19:30 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP |  | COI
25-07069 | 17643682 | 09/14/2025 22:00 | 09/14/2025 22:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-00281 | 17055858 | 09/14/2025 22:00 | 09/19/2025 17:00 | -USBR-GRAND COULEE: 230KV AUX BUS SECTION 3 INCLUDING LINE CIRCUIT #4 | GRAND COULEE: PCB 7182, GRAND COULEE: PCB 7382, GRAND COULEE: 230KV AUX BUS SECTION 3 | GEN, NOH, WOCN
25-07070 | 17643685 | 09/14/2025 22:15 | 09/14/2025 22:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-00091 | 15649272 | 09/15/2025 06:00 | 09/25/2025 17:00 | JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY 3 500KV LINE | JOHN DAY PH: 500/13.8KV BANK T3, JOHN DAY PH-JOHN DAY NO 3 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD, PDCI
25-10574 |  | 09/15/2025 07:00 | 09/18/2025 16:30 | -EWEB- MCKENZIE: 230/115KV TRANSFORMER 2 | MCKENZIE EWEB: 230/115KV TRANSFORMER 2 | EWEB
25-07635 | 17718498 | 09/15/2025 07:00 | 09/19/2025 16:00 | -CPUD- KALAMA INDUSTRIAL-NORTH WOODLAND 115KV LINE | KALAMA INDUSTRIAL-NORTH WOODLAND 115KV LINE | LOAD, SOA, NOPE
25-08845 |  | 09/15/2025 07:00 | 09/18/2025 18:00 | -PGE- BETHEL (PGE)-PARRISH GAP 230KV LINE | BETHEL (PGE)-PARRISH GAP 230KV LINE | SOA, SLAL, NOPE
25-06970 | 17623420 | 09/15/2025 07:00 | 09/25/2025 16:00 | LONGVIEW: B-456 TERMINAL OF LONGVIEW-WASHINGTON WAY NO 1 115KV LINE | LONGVIEW-WASHINGTON WAY NO 1 115KV LINE | LOAD, SOA, NOPE
25-03024 | 17737395 | 09/15/2025 07:00 | 09/18/2025 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCBS 4971 AND 4972 | CAPTAIN JACK: PCB 4971, CAPTAIN JACK: PCB 4972, CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | NWACI, COI
25-06541 | 17583248 | 09/15/2025 07:30 | 09/18/2025 16:00 | ALVEY: 230/115KV TRANSFORMER 3 INCLUDING 13.8KV STATION SERVICE PCB 16W AND 13.8 KV UNDERGROUND FEEDER | ALVEY: 13.2KV PCB 16W STATION SERVICE, ALVEY: 230/115KV TRANSFORMER 3 | SCORC
25-07631 | 17730237 | 09/15/2025 08:00 | 09/18/2025 15:00 | COYOTE SPRINGS: PCB 5193 BREAKER FAILURE AND BREAKER DIFFERENTIAL RELAYS | COYOTE SPRINGS: PCB 5193 | WOLM, WOM, NWACI
25-04743 | 17443018 | 09/15/2025 08:00 | 09/15/2025 15:00 | KITSAP: PCB B-943
25-07759 |  | 09/15/2025 08:00 | 09/17/2025 18:00 | SCL- BOTHELL-VIEWLAND 115KV LINE | BOTHELL (SCL)-VIEWLAND 115KV LINE | NOEL, SOC
25-05487 | 17491543 | 09/15/2025 08:00 | 09/18/2025 16:30 | VANTAGE: PCB 5345 |  | NOH
25-05015 | 17411919 | 09/15/2025 08:00 | 09/18/2025 15:00 | VANTAGE-HANFORD NO 1 500KV LINE |  | BCHT, BCHW, NI, NOH, SIG, WOCS
25-01216 | 18206510 | 09/15/2025 08:00 | 10/10/2025 15:00 | SANDHILL CRANE-FIRST STREET SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING FIRST STREET B-1061 DISCONNECT | FIRST STREET: CITY OF RICHLAND 115KV FEEDER 2, SAND HILL CRANE-FIRST STREET SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA
25-01217 | 17305631 | 09/15/2025 08:00 | 11/21/2025 15:00 | STEVENS DRIVE-THAYER DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA
25-08464 | 17839941 | 09/15/2025 08:00 | 09/19/2025 17:00 | FAIRVIEW: 230KV WEST MAIN BUS, INCLUDING PCB'S A-907, A-910, A-906, A-905, A-911, 230KV AUX BUS, RESTON-FAIRVIEW #2 230KV LINE, PACIFICORP (PACW) 230KV FEEDER 2 AND THE FAIRVIEW-ROGUE #1 230KV LINE | FAIRVIEW: PCB A-907, FAIRVIEW: PCB A-910, FAIRVIEW: PCB A-906, FAIRVIEW: PCB A-905, FAIRVIEW: PCB A-911, FAIRVIEW: 230KV AUX BUS, RESTON-FAIRVIEW NO 2 230KV LINE, FAIRVIEW: PACIFICORP (PACW) 230KV FEEDER 2, FAIRVIEW-ROGUE NO 1 230KV LINE | LOAD, SCORC, SIG, SWORE
25-00405 | 17901670 | 09/15/2025 08:00 | 09/28/2025 16:30 | RAVER-COVINGTON NO 1 500KV LINE | RAVER: PCB 4302, RAVER: PCB 4299, COVINGTON: 500/230KV TRANSFORMER 4 | IROL, NOEL, RP, SIG, SOC, WOCN, NI
25-08641 |  | 09/15/2025 08:00 | 09/18/2025 15:00 | HOT SPRINGS: A-284 TERMINAL OF HOTSPRINGS- (NWE) PLACID LAKE NO 1 230KV LINE | HOT SPRINGS-NWE PLACID LAKE NO 1 230KV LINE | MT-NW
25-10734 | 18149971 | 09/15/2025 08:00 | 09/18/2025 15:30 | BIG EDDY: LBD A-837 AND LBD A-841 INCLUDING 230KV CAP GROUP 1 SECTIONS 1 AND 2 | BIG EDDY: LBD A-837, BIG EDDY: LBD A-841, BIG EDDY: 230KV CAP GROUP 1 SECTION 1, BIG EDDY: 230KV CAP GROUP 1 SECTION 2 | PDCI, NWACI
25-10504 | 18107550 | 09/15/2025 08:00 | 10/17/2025 15:00 | PEARL: 500/230KV TRANSFORMER 1 INCLUDING THE 230KV AUX BUS, PCB A-1169 AND FUTURE A-1193 A/B DISC | PEARL: 230KV AUX BUS, PEARL: PCB A-1169, PEARL: PCB A-1167, PEARL: 500/230KV TRANSFORMER 1 | SOA, NOPE, LOAD, SIG, WOCS
25-08384 | 17810886 | 09/15/2025 08:00 | 09/19/2025 15:00 | GARRISON: 4424/4425/4426 TERMINAL OF BROADVIEW-GARRISON 2 500KV LINE | BROADVIEW-GARRISON NO 2 500KV LINE, GARRISON: 500KV REACTOR 2 | MT-NW, GEN
25-05150 | 17444556 | 09/15/2025 08:00 | 09/26/2025 15:00 | CUSTER: 500/230KV TRANSFORMER 1, INCLUDING 34.5KV/480/240V STATION SERVICE 1 TRANSFORMERS |  | NOEL, SIG, SOC, NI
25-10357 | 18106550 | 09/15/2025 08:00 | 10/17/2025 15:00 | PEARL: 500/230KV TRANSFORMER 1 & MOD 4345 | PEARL: 500/230KV TRANSFORMER 1, PEARL: 230KV AUX BUS, PEARL: PCB A-1169, PEARL: PCB A-1167 | LOAD, SIG, SOA, WOCS, NOPE
25-03015 | 17304926 | 09/15/2025 08:00 | 09/25/2025 15:00 | MOSSYROCK-CHEHALIS NO 1 230KV LINE |  | RP
25-03507 | 17536038 | 09/15/2025 09:00 | 09/16/2025 20:00 | GARRISON-TAFT NO 1 500KV LINE | TAFT: PCB 4119, TAFT: PCB 4114, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, GARRISON: PCB 4461, GARRISON: PCB 4418, GARRISON: PCB 4415 | MT-NW, SIG, WOH
25-02249 | 17288063 | 09/15/2025 13:00 | 09/18/2025 15:00 | GRIZZLY: 500KV REACTOR 1 INCLUDING PCB 4222 | GRIZZLY: 500KV REACTOR 1, GRIZZLY: PCB 4222 | NWACI
25-04146 | 17330656 | 09/16/2025 07:00 | 09/17/2025 16:00 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 | GARRISON: PCB 4469 | MT-NW
25-07065 | 17642472 | 09/16/2025 10:00 | 09/16/2025 21:00 | CELILO: PACIFIC HVDC PROBING SIGNAL TEST, (ALTERNATE DATE) | CHIEF JOSEPH: BRAKING RESISTOR | NOH, SIG, NWACI
25-06154 | 17536133 | 09/17/2025 06:00 | 09/18/2025 21:00 | GARRISON-TAFT NO 2 500KV LINE | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2, TAFT: PCB 4148, TAFT: PCB 4125, GARRISON: PCB 4458, GARRISON: PCB 4360, GARRISON: PCB 4463 | MT-NW, SIG, WOH
25-09391 | 17947755 | 09/17/2025 07:00 | 09/18/2025 15:00 | SWAN VALLEY-GOSHEN NO 1 161KV LINE INCLUDING SWAN VALLEY: 161/115KV TRANSFORMER 3 AND STATION SERVICE TRANSFORMER 1 | SWAN VALLEY: 161/115KV TRANSFORMER 3, SWAN VALLEY-GOSHEN NO 1 161KV LINE | SEIL, GEN, LOAD
25-00662 | 17005534 | 09/17/2025 07:00 | 09/19/2025 16:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP |  | COI
25-01412 | 17037313 | 09/17/2025 07:00 | 09/17/2025 16:00 | -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 | BONNEVILLE PH: PCB XW102, BONNEVILLE PH: PCB XW106, BONNEVILLE PH: PCB XW174, BONNEVILLE PH: PCB XW176, BONNEVILLE PH: PCB XW178, BONNEVILLE PH: PCB XW151
25-09501 | 17969152 | 09/17/2025 09:00 | 09/18/2025 15:00 | MAUPIN-REDMOND NO 1 230KV LINE | MAUPIN: PCB A-843, REDMOND: PCB A-265 | COR, NOH, GRZN, NWACI
25-01110 | 16936732 | 09/18/2025 08:00 | 09/18/2025 15:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE | GRIZZLY: PCB 4058, GRIZZLY: PCB 5040, JOHN DAY: PCB 4140, JOHN DAY: PCB 4143 | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, PDCI
25-01617 | 17133600 | 09/19/2025 05:30 | 09/25/2025 19:30 | SHELTON-FAIRMOUNT NO 4 230KV LINE |  | LOAD, SOA, NOPE
25-07281 | 17662382 | 09/19/2025 14:45 | 09/19/2025 15:00 | BELL-BOUNDARY NO 3 230KV LINE | ADDY: 230/115KV TRANSFORMER 3, ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE, ADDY TAP TO BELL-BOUNDARY NO 3 230KV LINE | BCHT, GEN, MT-NW, SOB
25-07071 | 17643775 | 09/21/2025 01:00 | 09/21/2025 01:15 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-07072 | 17643815 | 09/21/2025 01:15 | 09/21/2025 01:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-07073 | 17643826 | 09/21/2025 01:30 | 09/21/2025 01:45 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-10004 | 18034097 | 09/21/2025 01:45 | 09/21/2025 02:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-00050 |  | 09/21/2025 08:00 | 10/25/2025 15:00 | MCC AND DCC: RAS LIT | MCC AND DCC: RAS LIT
25-01983 | 17109690 | 09/21/2025 22:00 | 10/03/2025 17:00 | COLUMBIA: 4054/4055 TERMINAL OF GRAND COULEE-COLUMBIA SECTION OF GRAND COULEE-SCHULTZ 1 500KV LINE | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 1 500KV LINE | IROL, NOEL, NOH, SOC, WOCN
25-08696 | 17088910 | 09/22/2025 06:00 | 11/07/2025 16:00 | IPC - MIDPOINT-HEMINGWAY 500KV LINE | MIDPOINT (IPC)-HEMINGWAY 500KV LINE | ID-NW, NWACI
25-00039 | 11036086 | 09/22/2025 06:30 | 09/30/2025 17:00 | DWORSHAK PH: PCB XJ-7
25-00040 | 11035765 | 09/22/2025 06:30 | 09/30/2025 17:00 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
25-09397 | 17942021 | 09/22/2025 07:00 | 09/23/2025 15:00 | SWAN VALLEY: PCB B-1688 RELAY, CONTROL AND ALARM CKTS | SWAN VALLEY: PCB B-1688
25-00465 | 17133905 | 09/22/2025 07:00 | 09/26/2025 17:00 | DUTCH CANYON-WARREN SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE |  | LOAD, SOA, NOPE
25-00702 |  | 09/22/2025 07:00 | 09/25/2025 16:00 | ALVEY: 230KV SOUTH MAIN BUS INCLUDING PCB'S A-246, A-241, A-475, A-236, A-476 AND 230KV REACTOR NO 1 | ALVEY: PCB A-246, ALVEY: PCB A-241, ALVEY: PCB A-236, ALVEY: PCB A-476, MARCOLA A500-ALVEY SECTION OF SANTIAM-ALVEY NO 1&2 230KV LINE, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: 230KV REACTOR 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 1, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 2, ALVEY: 230KV REACTIVE GROUP 2 CAP SECTION 3, ALVEY: 230KV SOUTH MAIN BUS | EWEB, NWACI, SLAL, SCORC, PDCI
25-10108 | 18052799 | 09/22/2025 08:00 | 09/26/2025 15:00 | ALVEY: PCB 5084 |  | NWACI, EWEB
25-05676 | 17484919 | 09/22/2025 08:00 | 09/23/2025 15:00 | MONROE: PCB 4526 | MONROE: PCB 5505 | BCHT, BCHW, NOEL, SOC, NI, WOCN
25-05488 | 17491552 | 09/22/2025 08:00 | 09/25/2025 16:30 | VANTAGE: PCB 5351 |  | NOH
25-03095 | 17294370 | 09/22/2025 08:00 | 09/22/2025 15:00 | VANTAGE-COLUMBIA NO 1 230KV LINE |  | GEN, NOH, CI, SIG
25-07571 | 17799372 | 09/22/2025 08:00 | 09/25/2025 15:00 | FAIRVIEW-NORWAY SECTION OF FAIRVIEW-BANDON NO 1 115KV LINE | FAIRVIEW: PCB B-1160 | SWORE
25-00555 | 16842203 | 09/22/2025 08:00 | 10/02/2025 15:00 | ASHE: 500KV REACTOR 2 INCLUDING PCB 4909 | ASHE: 500KV REACTOR 2, ASHE: PCB 4909 | NWACI, FCRPS, NOH
25-08642 |  | 09/22/2025 08:00 | 09/25/2025 15:00 | HOT SPRINGS: A-284 TERMINAL OF HOTSPRINGS- (NWE) PLACID LAKE NO 1 230KV LINE | HOT SPRINGS-NWE PLACID LAKE NO 1 230KV LINE | MT-NW
25-08348 |  | 09/22/2025 08:00 | 09/25/2025 15:00 | SANTIAM-ALBANY NO 1 230KV LINE INCLUDING SANTIAM: PACW 230/69KV TRANSFORMER 2 AND LBD A-538 | ALBANY: 230/115KV TRANSFORMER 1, SANTIAM: PACW 230/69KV TRANSFORMER 2, SANTIAM: PCB A-514, SANTIAM: 69KV PCB L-1114, SANTIAM: LBD A-538, SANTIAM-ALBANY NO 1 230KV LINE | SLAL, SCORC, NWACI
25-03006 | 17246233 | 09/22/2025 08:00 | 09/25/2025 16:00 | BIG EDDY: 500/230KV TRANSFORMER 5 INCLUDING 500/230KV TIE NO. 2 500KV LINE | BIG EDDY: 500/230KV TRANSFORMER 5, BIG EDDY 500/230KV TIE NO 2 500KV LINE | GEN, PDCI, SIG, WOJD, FCRPS, BGEDY, NWACI
25-07620 | 17739522 | 09/22/2025 08:00 | 09/24/2025 12:00 | SLATT: PCB 5018 BFR AND DIFF RELAY | SLATT: PCB 5018 | WOJD, NWACI
25-07285 | 17662986 | 09/22/2025 08:30 | 09/25/2025 17:00 | BIG EDDY-DE MOSS NO 1 115KV LINE | DE MOSS: PCB B-2072, DE MOSS: PCB B-2081, BIG EDDY: PCB B-1048 | GEN, BGEDY
25-01386 | 17305416 | 09/22/2025 09:00 | 09/24/2025 16:00 | LAPINE-CHILOQUIN NO 1 230KV LINE |  | LOAD, COR, NWACI
25-01614 | 17089078 | 09/22/2025 09:00 | 09/25/2025 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | FORT ROCK: PCB 4265, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | NWACI
25-05880 |  | 09/22/2025 16:30 | 09/22/2025 17:00 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
25-04148 | 17330744 | 09/23/2025 07:00 | 09/24/2025 16:00 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | GARRISON: PCB 4468 | MT-NW
25-03090 | 17255708 | 09/23/2025 07:00 | 09/24/2025 16:00 | GRAND COULEE-BELL NO 6 500KV LINE | BELL: PCB 5313, BELL: PCB 5316, GRAND COULEE: PCB 1896, GRAND COULEE: PCB 8596, GRAND COULEE: PCB 8592, GRAND COULEE: 500KV REACTOR 1 | GEN, MT-NW, SIG, WOH, NOH, WOCN
25-04385 | 17418118 | 09/23/2025 08:00 | 09/23/2025 11:00 | TAFT: PCB 4148 |  | MT-NW, WOH
25-05100 | 17418062 | 09/23/2025 11:00 | 09/23/2025 14:00 | TAFT: PCB 4111 |  | GEN, MT-NW, NOH, WOH
25-05101 | 17418049 | 09/23/2025 15:00 | 09/23/2025 17:00 | TAFT: PCB 4122 |  | MT-NW, WOH
24-05321 | 17412844 | 09/24/2025 07:00 | 10/15/2025 14:00 | HUNGRY HORSE - CONKELLEY #1 230KV LINE INCLUING COLUMBIA FALLS - CONKELLEY #1 230KV LINE, TRUMBULL CREEK - CONKELLEY SECTION OF THE FLATHEAD - CONKELLEY #1 230KV LINE AND CONKELLEY SUBSTATION | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE, COLUMBIA FALLS-CONKELLEY NO 1 230KV LINE, CONKELLEY: 230KV WEST MAIN BUS, CONKELLEY: 230KV WEST AUX BUS, CONKELLEY: 230KV EAST MAIN BUS, CONKELLEY: 230KV EAST AUX BUS, CONKELLEY: PCB A-478, CONKELLEY: PCB A-1208, CONKELLEY: PCB A-1282, CONKELLEY: PCB A-1284, CONKELLEY: 230/13.8KV TRANSFORMER 4, TRUMBULL CREEK-CONKELLEY SECTION OF FLATHEAD-CONKELLEY NO 1 230KV LINE | GEN, MT-NW, FLAT, LOAD, FCRPS
25-04347 | 17420533 | 09/24/2025 07:30 | 09/24/2025 15:00 | TAFT-HOT SPRINGS NO 1 500KV LINE INCLUDING HOT SPRINGS: 500/230KV TRANSFORMER 1, PCB'S 4478, 4562, A-1478 AND TAFT: PCB'S 4148, 4111, 4122 | HOT SPRINGS: 500/230KV TRANSFORMER 1, HOT SPRINGS: 500KV REACTOR 1, HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB 4478, HOT SPRINGS: PCB A-1478, TAFT: PCB 4111, TAFT: PCB 4122, TAFT: PCB 4148, TAFT: 500KV BUS 1, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, NOH, SIG
25-03830 |  | 09/24/2025 08:00 | 10/12/2025 15:00 | -PGE- BETHEL-ROUND BUTTE 230KV LINE |  | NWACI, WOCS
25-07359 | 17678520 | 09/24/2025 08:00 | 10/12/2025 18:00 | MAPLE VALLEY: A-1116 TERMINAL OF MAPLE VALLEY-EAST PINE 1 230KV LINE | MAPLE VALLEY-EAST PINE NO 1 230KV LINE | NOEL, SOC
25-05678 | 17484933 | 09/24/2025 08:00 | 09/25/2025 15:00 | MONROE: PCB 4516 |  | BCHT, BCHW, NOEL, SOC, NI, WOCN
25-07828 | 18113542 | 09/24/2025 12:00 | 09/24/2025 16:00 | SLATT: PCB 5021 |  | WOJD, NWACI
25-03509 | 17287809 | 09/25/2025 08:00 | 09/25/2025 12:00 | SCHULTZ: PCB 5179 |  | NOH, WOCN
25-03510 | 17287783 | 09/25/2025 12:00 | 09/25/2025 16:00 | SCHULTZ: PCB 5182 |  | WOCN, NOEL
25-09926 | 18011078 | 09/26/2025 07:00 | 09/28/2025 17:00 | PGE - PEARL-SHERWOOD 1 & 2 500KV LINE |  | SOA, NOPE, WOCS
25-09792 | 18011374 | 09/26/2025 07:00 | 09/28/2025 17:00 | PEARL: A-1166 TERMINAL OF PEARL-SHERWOOD NO 1&2 230KV LINE | PEARL-SHERWOOD NO 1&2 230KV LINE, PEARL: PCB A-1166 | LOAD, SOA, WOCS, NOPE
25-00745 | 16732540 | 09/26/2025 08:00 | 09/29/2025 15:00 | SCHULTZ-ECHO LAKE NO 1 500KV LINE |  | IROL, NOEL, NOH, SIG, SOC, WOCN
25-00744 | 16731508 | 09/26/2025 08:00 | 09/29/2025 15:00 | SCHULTZ-RAVER NO 1 500KV LINE | SCHULTZ: RAVER 1 500KV LINE SERIES CAP GROUP 1 | IROL, NOEL, NOH, SIG, SOC, WOCN
25-02678 | 17212797 | 09/29/2025 06:00 | 10/10/2025 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
25-00695 | 16847866 | 09/29/2025 06:00 | 10/02/2025 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | LOWER GRANITE PH: 500/13.8KV TRANSFORMER T1, LOWER GRANITE PH: 500/13.8KV TRANSFORMER T2, LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
25-04271 | 17481861 | 09/29/2025 07:00 | 10/02/2025 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: PCB A-880 | MT-NW
25-01402 | 17037296 | 09/29/2025 07:00 | 10/10/2025 18:00 | WAUTOMA-ROCK CREEK NO 1 500KV LINE, INCLUDING ROCK CREEK: PCB 5288 |  | BCHT, BCHW, NI, NOH, SIG, WOJD, WOM
25-09627 | 17979287 | 09/29/2025 07:00 | 09/29/2025 17:00 | ALLSTON-CLATSOP NO 1 230KV LINE RELAYS | ALLSTON-CLATSOP NO 1 230KV LINE, ALLSTON: PCB A-1364, DRISCOLL: PCB A-1264, CLATSOP: 230/115KV TRANSFORMER 1, CLATSOP: PACIFICORP (PACW) 115KV FEEDER 1 | LOAD, SOA, NOPE
25-00799 | 17305586 | 09/29/2025 07:00 | 10/03/2025 17:00 | LOST RIVER-SPAR CANYON NO 1 230KV LINE | SPAR CANYON: SALMON RIVER COOP 230KV FEEDER 1, ROUND VALLEY: 230/69KV TRANSFORMER 1, ROUND VALLEY: SALMON RIVER COOP 69KV FEEDER 1, SPAR CANYON: 230KV MAIN BUS, SPAR CANYON-ROUND VALLEY NO 1 230KV LINE, SPAR CANYON-SOUTH BUTTE NO 1 230KV LINE, SPAR CANYON: 230KV REACTOR 1 | GEN, LOAD
25-06441 | 17576079 | 09/29/2025 07:00 | 09/29/2025 16:00 | RAVER: PCB 4919 INCLUDING 500KV CAP GRP 1 SECTION 2 | RAVER: PCB 4919, RAVER: 500KV CAP GROUP 1 SECTION 2 | NOEL, RP, SOC, IROL, WOCN
25-09470 | 17947792 | 09/29/2025 07:30 | 10/05/2025 16:00 | OXBOW-NASELLE SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE |  | LOAD
25-10107 | 18052898 | 09/29/2025 08:00 | 10/03/2025 15:00 | ALVEY: PCB 5087 |  | NWACI, EWEB
25-05446 | 17456826 | 09/29/2025 08:00 | 10/24/2025 16:30 | SICKLER: 500/230KV TRANSFORMER 1 | SICKLER-DOUGLAS SWITCHYARD NO 1 230KV LINE, SICKLER: PCB 4336, SICKLER: PCB 4340 | CI, GEN, SIG, NOH, WOCN
25-03463 | 17725402 | 09/29/2025 08:00 | 10/01/2025 15:30 | CAPTAIN JACK: PCB 4928 INCLUDING 500KV CAP GROUP 3 | CAPTAIN JACK: 500KV CAP GROUP 3, CAPTAIN JACK: PCB 4928 | COI, NWACI
25-03630 | 17305697 | 09/29/2025 08:00 | 10/28/2025 17:00 | BIG EDDY-SPRING CREEK NO 1 230KV LINE INCLUDING SPRING CREEK PCB A-1690 AND PCB A-1697 | BIG EDDY-SPRING CREEK NO 1 230KV LINE, SPRING CREEK: PCB A-1690, SPRING CREEK: PCB A-1697 | PDCI, WOJD, GEN, NWACI, NOH
25-05399 | 17536412 | 09/29/2025 08:00 | 12/19/2025 16:00 | MCNARY: 230KV MAIN BUS SECTION 2 INCLUDING PCBs A-425 AND A-428 | MCNARY PH-MCNARY 3&4 NO 4 230KV LINE, MCNARY-MORROW FLAT NO 2 230KV LINE, MCNARY: 500/230KV TRANSFORMER 2 | FCRPS, GEN, WOM, NWACI
25-00400 | 16903559 | 09/29/2025 08:00 | 10/10/2025 15:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK 1-500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAP GROUPS | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE, SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: PCB 4264, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: PCB 4265, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SYCAN: PCB 4266 | BCHT, BCHW, NI, NWACI, SIG, COR
25-08374 | 17030319 | 09/29/2025 08:00 | 10/14/2025 15:00 | PGE - SHERWOOD (PGE): 230/115KV TRANSFORMER 2 (VWR2) |  | NOPE, SOA
25-03916 | 17305706 | 09/29/2025 08:00 | 10/28/2025 15:00 | WINE COUNTRY: PCB A-1741 |  | WOJD, NOH
25-07034 | 17642479 | 09/29/2025 08:00 | 10/03/2025 16:00 | MIDWAY-PRIEST RAPIDS NO 1 230KV LINE |  | GEN, NOH, CI, WI
25-00450 | 16903562 | 09/29/2025 08:00 | 09/29/2025 09:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | PONDEROSA: 500/230KV TRANSFORMER 2, PONDEROSA TAP TO GRIZZLY-CAPTAIN JACK NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, COI, COR
25-07621 | 17724217 | 09/29/2025 08:00 | 10/01/2025 14:30 | SLATT: PCB 5021 BFR AND BREAKER DIFF RELAY | SLATT: PCB 5021 | WOJD, NWACI
25-09594 | 17972728 | 09/29/2025 08:30 | 10/02/2025 17:00 | BIG EDDY-DE MOSS NO 1 115KV LINE | DE MOSS: PCB B-2072, DE MOSS: PCB B-2081, BIG EDDY: PCB B-1048 | GEN, BGEDY
25-07573 | 17758463 | 09/29/2025 09:00 | 10/02/2025 16:30 | ROGUE-GOLD BEACH NO 2 115KV LINE | ROGUE: PCB B-1860, GOLD BEACH: B-2168 LINE SECTION DISCONNECT, GOLD BEACH: B-2167 LINE SECTION DISCONNECT | SCORC
25-02224 | 18230451 | 09/29/2025 10:00 | 10/02/2025 15:00 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4264 | SAND SPRINGS: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, SAND SPRINGS: PCB 4264 | NWACI
25-01457 | 17893372 | 09/30/2025 08:00 | 09/30/2025 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | DWORSHAK: PCB 4765 | MT-NW, WOH, WOLM
25-00746 | 16732820 | 09/30/2025 08:00 | 10/02/2025 15:00 | TACOMA-COVINGTON NO 4 230KV LINE INCLUDING COVINGTON: PCB A-1006 AND 230KV A/B SECTION 3 | TACOMA-COVINGTON NO 4 230KV LINE, COVINGTON: PCB A-852, COVINGTON: PCB A-1006, TACOMA: PCB A-1073 | NOEL, RP, SOC, BCHT, BCHW
25-00747 | 16732819 | 09/30/2025 08:00 | 10/02/2025 15:00 | TACOMA-COVINGTON NO 3 230KV LINE |  | NOEL, RP, SOC