## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Path Affected
1 | 18-00033 |  | 09/26/2018 13:00 | 09/25/2025 15:30 | ROGUE: 115/23KV TRANSFORMERS 2
2 | 20-00283 | 11219795 | 12/31/2020 15:00 | 12/15/2031 23:59 | PAUL: 4569 TERMINAL OF PAUL-CENTRALIA THERMAL PH NO 1 500KV LINE | GEN, PA
3 | 21-01581 |  | 04/30/2021 16:15 | 03/31/2023 18:00 | BCH - BURRARD SYNCHRONOUS CONDENSER STATION G2 | BCHT, BCHW, NI
4 | 21-01767 | 10359382 | 06/30/2021 10:00 | 04/28/2023 16:00 | PAUL: 4805 TERMINAL OF PAUL-PSE TONO NO 1 500KV LINE | LOAD, RP, SIG, PA
5 | 22-06836 | 11597875 | 04/06/2022 12:25 | 05/31/2023 15:00 | OSTRANDER-TROUTDALE 1 500KV LINE INCLUDING TROUTDALE: 500/230KV TRANSFORMER BANK 8 | SIG, SOA, WOCS, SIG, WOCS, SOA
6 | 22-06835 | 12752148 | 04/06/2022 13:00 | 05/31/2023 15:01 | TROUTDALE: A-1416 TERMINAL | WOCS
7 | 22-07667 | 11668432 | 04/21/2022 13:00 | 05/31/2023 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8 | SIG, WOCS, SOA
8 | 22-08171 |  | 05/03/2022 11:00 | 12/31/2025 15:00 | CLATSOP: A-1256 LINE DISC
9 | 22-07562 | 12651113 | 06/01/2022 00:01 | 05/31/2023 23:59 | COVINGTON: 500/230KV TRANSFORMER 5, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
10 | 22-07563 | 12651099 | 06/01/2022 00:01 | 05/31/2023 23:59 | COVINGTON: 500/230KV TRANSFORMER 4, DERATED | NOEL, RP, SIG, SOC, NI, WOCN
11 | 22-11353 |  | 06/28/2022 11:35 | 05/31/2023 23:55 | MCNARY: PCB A-431 PACW WALLULA #2 230KV MWTT SET 1
12 | 22-11261 | 12057655 | 07/09/2022 06:00 | 08/31/2023 15:00 | MARCOLA: A-497 LINE SECTIONALIZING DISC
13 | 22-12866 |  | 08/11/2022 15:30 | 12/28/2023 16:00 | BELLINGHAM: 230/115KV TRANSFORMER 2 | LOAD, NOEL, SOC
14 | 22-13128 | 12651062 | 08/17/2022 08:00 | 05/31/2023 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) | IROL, NOEL, SIG, SOC, WOCN
15 | 22-14468 |  | 09/20/2022 17:00 | 01/15/2024 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
16 | 22-14593 |  | 09/22/2022 08:00 | 09/22/2025 15:00 | CELILO-SYLMAR 100KV DC LINE, JOHN DAY-GRIZZLY 1 & 2 500KV LINES, AND BUCKLEY-GRIZZLY 1 500KV LINE
17 | 22-16102 |  | 10/23/2022 12:00 | 05/01/2023 12:00 | HATWAI: 500/230KV TRANSFORMER 1 | ID-NW, MT-NW
18 | 22-15672 | 12565152 | 10/24/2022 08:00 | 03/24/2023 16:00 | -CLARK PUD- 115KV PIONEER-CLARK SECTION OF PIONEER-ALCOA NO 1 115KV LINE
19 | 22-16301 | 12637406 | 10/31/2022 00:00 | 03/17/2023 23:59 | MARTIN CREEK-DRAIN NO 1 115KV LINE, -DERATE- | EWEB, SLAL
20 | 22-16302 |  | 10/31/2022 00:00 | 03/17/2023 23:59 | ZIMMERMAN-CENTRALIA SECTION OF CHEHALIS-CENTRALIA NO 2 69KV LINE, -DERATE-
21 | 22-16300 | 12637365 | 10/31/2022 00:00 | 03/17/2023 23:59 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE, -DERATE-
22 | 22-16303 | 12637747 | 10/31/2022 00:00 | 03/17/2023 23:59 | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
23 | 22-15848 | 12589036 | 10/31/2022 00:00 | 03/31/2023 23:59 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, -DERATE- | LOAD, PA, SOA
24 | 22-15846 | 12589097 | 10/31/2022 00:00 | 03/31/2023 23:59 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA
25 | 22-16262 | 12632314 | 11/01/2022 00:00 | 03/31/2023 23:59 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE, -DERATE- | LOAD, SI, PA, RP
26 | 22-16314 | 12638795 | 11/01/2022 00:00 | 03/17/2023 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
27 | 22-15952 | 12589118 | 11/01/2022 00:00 | 03/31/2023 23:59 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, -DERATE- | PA, RP
28 | 22-16315 | 12638803 | 11/01/2022 00:00 | 03/17/2023 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
29 | 22-16316 | 12660845 | 11/01/2022 00:00 | 03/17/2023 23:59 | BOUNDARY-SACHEEN NO 1 230KV LINE, -DERATE-
30 | 22-16460 | 12662216 | 11/02/2022 15:00 | 03/17/2023 23:58 | CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | TCLA
31 | 22-16461 | 12662227 | 11/02/2022 15:00 | 03/17/2023 23:58 | MESA-CONNELL SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | TCLA
32 | 22-16462 | 12662245 | 11/02/2022 15:00 | 03/17/2023 23:58 | RINGOLD-MESA SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | TCLA
33 | 22-16463 | 12662288 | 11/02/2022 15:00 | 03/17/2023 23:58 | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE, -DERATE- | TCLA
34 | 22-16466 | 12662359 | 11/02/2022 15:00 | 03/17/2023 23:58 | DIXON-RATTLESNAKE SECTION OF HOT SPRINGS-RATTLESNAKE NO 1 230KV LINE | MT-NW
35 | 22-16468 | 12662365 | 11/02/2022 15:00 | 03/17/2023 23:58 | ABERDEEN: 230/115KV TRANSFORMER 4, -DERATE- | PA, LOAD
36 | 22-16471 | 12662371 | 11/02/2022 15:00 | 03/17/2023 23:58 | ABERDEEN: 230/115KV TRANSFORMER 5, -DERATE- | PA, LOAD
37 | 22-16740 |  | 11/08/2022 15:43 | 05/31/2023 15:00 | VILLAGE GREEN-DORENA SECTION OF ALVEY-MARTIN CREEK NO 1 115KV LINE
38 | 22-17044 | 12730571 | 11/16/2022 14:00 | 11/16/2023 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | NWACI, PDCI, COI
39 | 22-17110 | 12740969 | 11/18/2022 13:00 | 03/31/2023 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 LINE RUNNING AT 230KV | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
40 | 22-17108 | 12740983 | 11/18/2022 13:00 | 03/31/2023 23:59 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 | NOEL, SOC, WOCN, IROL
41 | 22-17286 |  | 12/06/2022 17:01 | 03/31/2023 12:00 | RICHLAND: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING LBDS B-311 AND B-287 AND THE 115KV REACTIVE BUS | TCLA, LOAD
42 | 22-10815 | 12083103 | 12/12/2022 06:30 | 12/28/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 11
43 | 22-17106 |  | 12/16/2022 15:01 | 03/30/2023 15:00 | BETTAS ROAD: NEW DISC'S A-3051 AND A-3052
44 | 23-00056 | 11238932 | 01/09/2023 08:00 | 03/03/2023 17:00 | HANFORD: MODS 4082 & 4084 CONTROL & INDICATION CIRCUITS | NOH, NWACI, PDCI, WOM, WOS
45 | 23-01570 | 12684663 | 01/09/2023 16:00 | 03/04/2023 15:00 | JOHN DAY: PCB 4134, INCLUDING MOD 4133 | NWACI, PDCI, WOJD, COI
46 | 23-00057 | 11238963 | 01/09/2023 18:00 | 03/02/2023 07:30 | HANFORD: PCB 4083 INCLUDING MODS 4082 & 4084 | NOH, NWACI, PDCI, WOM, WOS
47 | 23-01339 | 12694861 | 01/17/2023 06:30 | 05/03/2023 12:30 | THE DALLES PH: 230/13.2KV BANK 11
48 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/10/2023 09:00 | PG&E - TABLE MOUNTAIN SERIES CAP 1 (ROUND MOUNTAIN-TABLE MOUNTAIN #1 500KV LINE) | COI, NWACI
49 | 23-00392 |  | 02/06/2023 08:00 | 03/20/2023 18:00 | SCL - BROAD ST 115KV BUS 2 (BROAD ST-UNION TAP , MASSACHUSETTS ST-UNION TAP, UNION ST-UNION ST TAP 115KV CALBES & BROAD ST BANKS 66A & B) | SOC, NOEL
50 | 22-01168 | 9556188 | 02/13/2023 06:30 | 03/05/2023 23:00 | GRAND COULEE: PCB 2192, PCB 2196 | GEN, NOH, WOCN
51 | 23-00103 |  | 02/18/2023 09:00 | 03/31/2023 18:30 | -IPC- QUARTZ-WEST JOHN DAY(IPC) LINE
52 | 23-01079 |  | 02/20/2023 07:30 | 03/02/2023 15:00 | MARION: BUCKLEY 1 500KV LINE RELAYS SETS 1 & 2 -OAT-
53 | 23-00999 |  | 02/20/2023 08:00 | 03/02/2023 15:00 | DE MOSS: BIG EDDY #1 115 KV LINE RELAY SET #1 & #2
54 | 23-00615 | 12347620 | 02/20/2023 08:00 | 03/02/2023 15:00 | BELL: PCB 5316, BFR | MT-NW, WOH
55 | 23-01222 |  | 02/21/2023 08:00 | 03/02/2023 15:00 | FOREST GROVE: 115KV BUS DIFFERENTIAL RELAYS
56 | 23-00071 | 11095411 | 02/26/2023 22:00 | 03/30/2023 17:00 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
57 | 23-00416 | 12150227 | 02/27/2023 07:00 | 03/02/2023 16:00 | RAVER: PCB 4876 | NOEL, RP, SOC
58 | 23-00734 | 12593749 | 02/27/2023 07:00 | 03/01/2023 15:30 | SNO-KING: 115kV Snohomish County PUD 3 Line Relays and B-1582 BFR
59 | 23-01465 | 12662660 | 02/27/2023 07:30 | 03/23/2023 08:30 | LONGVIEW: PCB A-98 INCLUDING LONGVIEW-CHEMICAL #1 230KV LINE AND 230KV SOUTH AUX BUS | SOA
60 | 23-01698 |  | 02/27/2023 08:00 | 03/08/2023 15:00 | TROUTDALE: 230KV WEST BUS DIFFERENTIAL RELAYS
61 | 23-00384 | 12192013 | 02/27/2023 08:00 | 03/02/2023 16:00 | LOWER GRANITE: PCB 4772, BFR | GEN, MT-NW, WOH, WOLM
62 | 23-00225 | 11873003 | 02/27/2023 08:00 | 03/01/2023 15:00 | HILLTOP: PCB A-1539 INCLUDING 230KV REACTOR 1 | COI, PDCI, RATS, NWACI
63 | 23-00829 | 12460906 | 02/27/2023 08:00 | 03/02/2023 16:00 | PEARL: 230KV MAIN BUS SECTIONALIZING PCB A-1192 | SOA
64 | 23-01066 | 12525767 | 02/27/2023 08:00 | 03/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
65 | 23-00595 |  | 02/27/2023 08:00 | 03/02/2023 15:00 | BELL: PCB A-570 AVA BEACON NO 5 RELAYS
66 | 23-00266 | 12105207 | 02/27/2023 08:00 | 03/02/2023 15:00 | CHIEF JOSEPH: PCB 4728 BFR | NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
67 | 23-01425 |  | 02/27/2023 09:00 | 03/02/2023 16:00 | CARLTON: PCB B-131 RELAYS
68 | 23-00133 | 12690435 | 02/28/2023 08:00 | 03/01/2023 15:00 | HARNEY: PCB B-1709 INCLUDING 115KV REACTIVE GROUP 1 REACTOR 1
69 | 23-00478 | 12220043 | 03/01/2023 07:00 | 03/02/2023 16:00 | PAUL: PCB 4808, INCLUDING 500KV REACTOR 1
70 | 23-01542 | 12731222 | 03/01/2023 07:00 | 03/01/2023 17:00 | LEXINGTON: PCB B-1472 INCLUDING LEXINGTON-COWLITZ CO PUD 115KV FEEDER 4 AND THE LEXINGTON 115KV AUX BUS | SOA
71 | 23-00942 | 12525767 | 03/01/2023 07:00 | 03/01/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
72 | 23-00343 | 12515358 | 03/01/2023 08:00 | 03/02/2023 15:00 | HILLTOP: PCB A-1529 | COI, PDCI, RATS, NWACI
73 | 23-00691 | 12570333 | 03/01/2023 08:00 | 03/02/2023 16:00 | VANTAGE: PCB 5351, BFR | NOH
74 | 23-01006 |  | 03/01/2023 08:00 | 03/01/2023 15:00 | DE MOSS: DE MOSS-FOSSIL #1 115KV LINE RELAYS SET 1 AND 2 O.A.T. INCLUDING DE MOSS MWTT CKT 7662 AND FOSSIL LLTT CKT 7663
75 | 23-00735 |  | 03/01/2023 11:00 | 03/01/2023 11:30 | SNO-KING: 115kV Main Bus Section 1 Set 1 and Set 2 LORs O.A.T.
76 | 23-00546 | 12269462 | 03/01/2023 21:00 | 03/02/2023 06:00 | Ringold to B-301 section of the Benton Scooteney No 1 115 Kv line including Mesa Tap and Mesa 115Kv and 13.8 kv Busses | TCLA
77 | 23-00943 | 12525767 | 03/02/2023 07:00 | 03/02/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
78 | 23-00058 | 11238985 | 03/02/2023 07:30 | 03/02/2023 16:00 | GRAND COULEE-HANFORD NO 1 500KV LINE, INCLUDING HANFORD PCB 4083 | NOH, NWACI, PDCI, WOM, WOS, BCHT, BCHW, GEN, NI, SIG, COI, WOCN
79 | 23-00795 | 12489468 | 03/02/2023 08:00 | 03/02/2023 16:00 | SANTIAM: 230KV EAST MAIN BUS | COI, PDCI, NWACI, GEN, FCRPS, WOCS, SWORE, SIG
80 | 23-00596 | 12346005 | 03/02/2023 08:00 | 03/02/2023 15:00 | BELL-AVA BEACON NO 5 230KV LINE INCLUDING BELL PCB A-570 | WOH, MT-NW
81 | 23-01080 | 12570175 | 03/02/2023 08:00 | 03/02/2023 10:00 | MARION: PCB 4386 | NWACI, PDCI, WOCS, COI
82 | 23-01543 | 12666637 | 03/02/2023 08:00 | 03/02/2023 15:00 | LEXINGTON: PCB B-1471 INCLUDING THE 115KV AUX BUS
83 | 23-00134 | 12731003 | 03/02/2023 08:00 | 03/02/2023 15:00 | HARNEY: PCB B-1710 | NWACI
84 | 23-01003 |  | 03/02/2023 09:00 | 03/02/2023 10:30 | DE MOSS: PCB B-2081
85 | 23-01426 | 12794083 | 03/02/2023 09:00 | 03/02/2023 16:00 | CARLTON: PCB B-131
86 | 23-01124 | 12570184 | 03/02/2023 10:00 | 03/02/2023 12:00 | MARION: PCB 4389 | NWACI, PDCI, WOCS, COI
87 | 23-00502 | 12232085 | 03/02/2023 10:15 | 03/02/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
88 | 23-01004 |  | 03/02/2023 10:30 | 03/02/2023 12:30 | DE MOSS: PCB B-2072
89 | 23-00503 | 12232259 | 03/02/2023 11:15 | 03/02/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
90 | 23-00504 | 12289796 | 03/02/2023 12:45 | 03/02/2023 13:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
91 | 23-00505 | 12289968 | 03/02/2023 13:45 | 03/02/2023 14:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
92 | 23-00506 | 12290117 | 03/02/2023 14:45 | 03/02/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
93 | 23-00885 | 12570341 | 03/02/2023 15:45 | 03/02/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
94 | 23-00076 |  | 03/02/2023 16:00 | 03/03/2023 07:30 | HANFORD: MOD 4084
95 | 23-00944 | 12525767 | 03/03/2023 07:00 | 03/03/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
96 | 23-00059 | 11239058 | 03/03/2023 07:30 | 03/03/2023 16:00 | HANFORD: 500KV SOUTH BUS INCLUDING PCB 4083 | COI, NOH, NWACI, PDCI, WOS, WOM
97 | 23-00075 | 11220278 | 03/04/2023 07:00 | 03/05/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS
98 | 23-01571 | 12684681 | 03/04/2023 08:00 | 03/04/2023 15:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING JOHN DAY PCB 4134 AND BAKEOVEN: 500KV SERIES CAP GROUP 2 - UNGROUNDED | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
99 | 23-01660 | 12734989 | 03/05/2023 13:00 | 03/09/2023 17:00 | -USBR- GRAND COULEE 230KV MAIN BUS SECTION 1B SECTIONALIZING PCB 6084 AND M/B SECT LOR'S | NOH, WOCN, COI, NWACI, PDCI
100 | 23-01674 | 12729777 | 03/06/2023 06:30 | 03/14/2023 17:00 | GRAND COULEE: PCB 1272
101 | 23-00775 | 12536976 | 03/06/2023 06:30 | 03/10/2023 17:30 | WAUTOMA: 500KV EAST BUS INCLUDING 500KV REACTOR 1 AND PCB 5236 | WOCN, NWACI, COI
102 | 23-00945 | 12525803 | 03/06/2023 07:00 | 03/06/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
103 | 23-00526 | 12231513 | 03/06/2023 07:00 | 03/07/2023 16:00 | RAVER: PCB 4293 | NOEL, RP, SOC, WOCN
104 | 23-01075 | 12570350 | 03/06/2023 07:30 | 03/07/2023 15:00 | MARION: PCB 4368 | NWACI, PDCI, WOCS, COI
105 | 23-00752 | 12489702 | 03/06/2023 07:30 | 03/06/2023 15:00 | ROSS: PCB B-10
106 | 23-00434 | 12156053 | 03/06/2023 08:00 | 03/08/2023 15:00 | BIG EDDY: PCB 4860 | NWACI, PDCI, WOJD, COI, BGEDY
107 | 22-12601 | 12212487 | 03/06/2023 08:00 | 03/09/2023 15:00 | KEELER: PCB 4394 | SOA
108 | 23-00402 | 12143727 | 03/06/2023 08:00 | 04/06/2023 15:00 | MIDWAY: 115KV EAST MAIN BUS INCLUDING MIDWAY 115KV AUX BUS, PCB B-146 AND MIDWAY-RATTLESNAKE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA, LOAD
109 | 23-00386 | 12191969 | 03/06/2023 08:00 | 03/09/2023 16:00 | LOWER GRANITE: PCB 4770 | GEN, MT-NW, NOH, WOH, WOLM
110 | 23-00226 | 12105220 | 03/06/2023 08:00 | 03/09/2023 15:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | NWACI, PDCI, COI
111 | 23-00802 | 12570453 | 03/06/2023 08:00 | 03/09/2023 16:00 | PEARL: PCB 4283 | SOA
112 | 23-01067 | 12525803 | 03/06/2023 08:00 | 03/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
113 | 23-01043 | 12559513 | 03/06/2023 08:30 | 03/09/2023 16:00 | GREEN PETER: B-1342 LEBANON #1 115KV LINE RELAYS
114 | 23-01480 | 12668078 | 03/07/2023 07:00 | 03/07/2023 15:00 | KITSAP: PCB B-969 | PA, LOAD
115 | 23-00762 | 12650724 | 03/07/2023 07:00 | 03/07/2023 16:00 | ASHE: 500KV NORTH BUS INCLUDING PCBS 4940, 4888, 4901 | NWACI, WOCS, WOJD, WOM, COI, FCRPS, GEN, WOS, PDCI, NOH, WOLM
116 | 23-00946 | 12525803 | 03/07/2023 07:00 | 03/07/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
117 | 23-00753 | 12490426 | 03/07/2023 07:30 | 03/07/2023 15:00 | ROSS: PCB B-16
118 | 22-15865 | 12588315 | 03/07/2023 10:00 | 03/07/2023 13:00 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 6 500KV LINE, INCLUDING CHIEF JOSEPH: PCB 4598, PCB 4730 | GEN, FCRPS, NOH, NOEL, SOC, WOCN, NWACI, PDCI, COI
119 | 23-00764 | 12650869 | 03/08/2023 07:00 | 03/09/2023 16:00 | ASHE: 500KV SOUTH BUS, INCLUDING PCB'S 4937,4885,5463,4898,5324, 4909 & REACTOR #2 | NOH, NWACI, PDCI, COI, FCRPS, GEN
120 | 23-00480 | 12220059 | 03/08/2023 07:00 | 03/09/2023 16:00 | PAUL: PCB 4536 | RP, WOCS, SOA
121 | 23-00947 | 12525803 | 03/08/2023 07:00 | 03/08/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
122 | 23-00729 | 12537950 | 03/08/2023 07:30 | 03/08/2023 12:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | WOLM, WOH
123 | 23-01077 | 12570472 | 03/08/2023 07:30 | 03/09/2023 15:00 | MARION: PCB 4331 | NWACI, PDCI, COI, WOCS
124 | 23-00754 | 12490724 | 03/08/2023 07:30 | 03/08/2023 15:00 | ROSS: PCB B-2
125 | 23-01631 | 12731256 | 03/08/2023 08:00 | 03/08/2023 15:00 | ROCK CREEK: A-1704 BFR | RKCR
126 | 23-01044 |  | 03/08/2023 08:00 | 03/08/2023 12:00 | GREEN PETER: PCB B-1342
127 | 23-00207 | 12118140 | 03/08/2023 09:00 | 03/09/2023 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | COI, NWACI, PDCI
128 | 23-00789 | 12425619 | 03/08/2023 09:00 | 03/08/2023 10:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1
129 | 23-00790 | 12425621 | 03/08/2023 10:00 | 03/08/2023 11:00 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2
130 | 23-01632 | 12735131 | 03/08/2023 13:00 | 03/08/2023 15:00 | ROCK CREEK: PCB A-1737 | RKCR, SIG
131 | 23-00457 |  | 03/08/2023 13:00 | 03/08/2023 13:30 | Monroe: 500kV North Bus LOR Set 1 and Set 2 O.A.T.
132 | 23-00948 | 12525803 | 03/09/2023 07:00 | 03/09/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
133 | 23-00755 | 12490743 | 03/09/2023 07:30 | 03/09/2023 15:00 | ROSS: PCB B-4
134 | 23-01633 | 12735143 | 03/09/2023 08:00 | 03/09/2023 15:00 | ROCK CREEK: PCB A-1711 BFR | RKCR
135 | 23-01699 | 12792475 | 03/09/2023 08:00 | 03/09/2023 15:00 | TROUTDALE: PCB A-130 | WOCS
136 | 23-00801 |  | 03/09/2023 10:00 | 03/09/2023 11:00 | CLATSOP: 230/115KV TRANSFORMER 1 | LOAD, PA, SOA
137 | 23-01634 | 12735442 | 03/09/2023 13:00 | 03/09/2023 15:00 | ROCK CREEK: PCB A-1708
138 | 23-01650 | 12761834 | 03/09/2023 13:00 | 03/09/2023 15:00 | FOSSIL: PCB B-1370
139 | 23-00949 | 12525803 | 03/10/2023 07:00 | 03/10/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
140 | 23-00458 | 12623337 | 03/10/2023 07:00 | 03/10/2023 12:00 | HAY MILL-ADELAIDE SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE INCLUDING ROE'S CORNER TAP
141 | 23-01402 | 12691536 | 03/13/2023 06:00 | 05/25/2023 16:00 | -USBR- HUNGRY HORSE: PCB'S 2182 AND 2382 | WOH
142 | 23-01683 | 12730172 | 03/13/2023 06:30 | 03/14/2023 17:00 | GRAND COULEE: B-212 TERMINAL INCLUDING GCPUD GB-17 TERMINAL OF THE GRAND COULEE-B-212 SECTION OF THE GRAND COULEE-CRESTON NO 1 115KV LINE | OKLA
143 | 23-01207 | 12598731 | 03/13/2023 07:00 | 03/17/2023 15:00 | LANE: A-1460 T/S AND A/B DISCONNECTS | COI, PDCI, NWACI
144 | 23-00231 | 11925518 | 03/13/2023 07:00 | 03/24/2023 14:00 | HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE | SEIL
145 | 22-14984 | 12594229 | 03/13/2023 07:00 | 03/17/2023 15:00 | LANE: 500/230KV TRANSFORMER 3 | NWACI, PDCI, SIG, COI
146 | 23-00603 | 12454247 | 03/13/2023 07:30 | 03/13/2023 12:30 | COLUMBIA: PCB B-314
147 | 23-01215 | 12604369 | 03/13/2023 08:00 | 03/13/2023 10:00 | ASHE: 230KV CAP GROUP 1 | COI, NOH, PDCI, TCLA, NWACI
148 | 23-01068 | 12525849 | 03/13/2023 08:00 | 03/17/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
149 | 23-01635 | 12762295 | 03/13/2023 08:00 | 03/13/2023 15:00 | ROCK CREEK: PCB A-1714 BFR | RKCR
150 | 23-00736 | 12537427 | 03/13/2023 08:00 | 03/14/2023 15:00 | BELL: PCB 5301, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
151 | 23-00834 | 12443519 | 03/13/2023 08:00 | 03/13/2023 16:00 | VANTAGE: PCB A-1152 | NOH
152 | 23-00444 | 12182239 | 03/13/2023 08:00 | 03/15/2023 15:00 | JOHN DAY: PCB 4167 | JDAY, NWACI, WOCS, WOJD, COI
153 | 23-01344 | 12667411 | 03/13/2023 08:00 | 03/31/2023 17:00 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GEN, TCLA, LOAD
154 | 23-00105 | 11412380 | 03/13/2023 08:00 | 04/07/2023 16:00 | SANTIAM: PCB A-516 TERMINAL OF THE SANTIAM-PGE BETHEL NO 1 230KV LINE | COI, PDCI, NWACI, NWACI, PDCI, WOCS, COI, LOAD
155 | 23-00950 | 12525849 | 03/13/2023 08:00 | 03/13/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
156 | 23-00208 | 12118091 | 03/13/2023 09:00 | 03/16/2023 16:00 | FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062 | COI, NWACI, PDCI
157 | 23-01216 | 12604373 | 03/13/2023 10:00 | 03/13/2023 12:00 | ASHE: 230KV CAP GROUP 2 | COI, NOH, PDCI, TCLA, NWACI
158 | 23-01051 | 12560155 | 03/13/2023 12:00 | 03/13/2023 15:00 | WHITE BLUFFS: 115KV CAP GROUP 1 | LOAD
159 | 23-00604 | 12454253 | 03/13/2023 12:30 | 03/13/2023 17:30 | COLUMBIA: PCB B-400 | CI
160 | 23-01637 | 12762298 | 03/13/2023 13:00 | 03/13/2023 15:00 | ROCK CREEK: PCB A-1711 | RKCR
161 | 23-01053 | 12570485 | 03/14/2023 07:30 | 03/14/2023 11:00 | HANFORD: 500KV CAP GROUP 1 | COI, NOH, PDCI, WOM, WOS, NWACI
162 | 23-00835 | 12443571 | 03/14/2023 08:00 | 03/14/2023 16:00 | VANTAGE: PCB A-1164 | NOH
163 | 23-00951 | 12525849 | 03/14/2023 08:00 | 03/14/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
164 | 23-01574 | 12684684 | 03/14/2023 08:00 | 03/14/2023 15:00 | JONES CANYON: PCB A-1678 | WOCS
165 | 23-00605 | 12667347 | 03/14/2023 08:00 | 03/15/2023 17:00 | COLUMBIA: PCB B-398
166 | 23-01272 | 12618666 | 03/14/2023 12:00 | 03/14/2023 14:00 | BENTON: 115KV CAP GROUP 1 | TCLA
167 | 23-01679 | 12735308 | 03/15/2023 06:30 | 03/23/2023 17:00 | GRAND COULEE: PCB 1472
168 | 23-00339 | 12117820 | 03/15/2023 07:00 | 03/16/2023 16:00 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB'S 4971 & 4972 | NWACI, PDCI, COI
169 | 23-01137 | 12593779 | 03/15/2023 07:00 | 03/15/2023 15:30 | COVINGTON: PCB A-850 BFR | NOEL, SOC
170 | 23-00265 | 12538047 | 03/15/2023 07:00 | 03/16/2023 16:00 | CRESTON: 115KV STRAIN BUS INCLUDING PCB B-437, PCB L-668, 115/34.5KV TRANSFORMER 1, THE CRESTON-EGYPT SECTION OF CRESTON-BELL NO 1 115KV LINE AND WILBUR-CRESTON SECTION OF GRAND COULEE-CRESTON NO 1 115KV LINE | LOAD
171 | 23-00692 | 12538028 | 03/15/2023 08:00 | 03/15/2023 16:00 | CENTRAL FERRY: PCB 5388 | GEN, WOLM
172 | 23-00952 | 12525849 | 03/15/2023 08:00 | 03/15/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
173 | 23-00737 | 12537431 | 03/15/2023 08:00 | 03/16/2023 15:00 | BELL: PCB 5304, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
174 | 23-00807 |  | 03/15/2023 08:00 | 03/15/2023 15:00 | PEARL: MOD'S 4284, 4286, & 5456 -OAT- (DECOUPLED)
175 | 23-01575 | 12730156 | 03/15/2023 08:00 | 03/15/2023 15:00 | JONES CANYON: PCB A-1675 | WOCS
176 | 23-01136 |  | 03/15/2023 13:00 | 03/15/2023 13:30 | COVINGTON: 230KV MAIN BUS SECTION 3 LOR SETS 1 AND 2
177 | 23-01056 | 12638456 | 03/16/2023 07:00 | 03/16/2023 09:00 | GRANDVIEW: 115KV CAP GROUP 1 | TCLA
178 | 23-01587 | 12695925 | 03/16/2023 08:00 | 03/16/2023 15:00 | JONES CANYON: PCB A-1682 | WOCS
179 | 23-00953 | 12525849 | 03/16/2023 08:00 | 03/16/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
180 | 23-00507 | 12293387 | 03/16/2023 10:15 | 03/16/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
181 | 23-00508 | 12293395 | 03/16/2023 11:15 | 03/16/2023 11:45 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
182 | 23-00509 | 12293430 | 03/16/2023 12:30 | 03/16/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
183 | 23-00510 | 12293489 | 03/16/2023 13:45 | 03/16/2023 14:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
184 | 23-00886 | 12538133 | 03/16/2023 14:45 | 03/16/2023 15:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
185 | 23-00887 | 12570509 | 03/16/2023 15:45 | 03/16/2023 16:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
186 | 22-05800 | 11537529 | 03/17/2023 07:00 | 03/31/2023 17:00 | GRIZZLY-PONDEROSA SECTION OF GRIZZLY-SUMMER LAKE NO.1 500KV LINE INCLUDING GRIZZLY: PCB'S 5025 & 5028 | SIG, COI, NWACI, PDCI, BCHT, BCHW, NI, WOJD
187 | 23-00954 | 12525849 | 03/17/2023 08:00 | 03/17/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
188 | 23-00073 | 11220280 | 03/18/2023 07:00 | 03/19/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | SIG, COI, NOH, NWACI, PDCI, WOM, WOS
189 | 23-00206 | 11752207 | 03/20/2023 06:00 | 03/20/2023 17:00 | BELL: 230KV MAIN BUS SECT 4 INCLUDING 230KV MAIN BUS RING SECT AND PCBS A-377, A-571, A-573, A-574, AND A-577 | MT-NW, WOH, WHO
190 | 23-00014 | 11242211 | 03/20/2023 06:30 | 03/20/2023 12:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | NOH, NWACI, PDCI, SIG, COI, WOLM, WOM
191 | 23-00155 | 11756897 | 03/20/2023 07:00 | 03/20/2023 17:00 | GRAND COULEE-CHIEF JOSEPH NO 3 500KV LINE | GEN, NOH, SIG, COI, FCRPS, MT-NW, NWACI, PDCI, WOCN, WOH, WOLM, NOEL, SOC, SOA
192 | 23-01777 |  | 03/20/2023 07:30 | 03/20/2023 16:30 | ROSS: 115KV MAIN BUS | LOAD, SOA, WOCS
193 | 22-09483 | 12263920 | 03/20/2023 08:00 | 03/23/2023 17:00 | LAPINE: 230KV REACTOR 1 INCLUDING PCB A-1491 | COR
194 | 23-01109 |  | 03/20/2023 08:00 | 03/20/2023 15:00 | DWORSHAK: MOD'S 4657, 4658, 4663, 4664 -O.A.T- (DECOUPLED)
195 | 23-01588 | 12730185 | 03/20/2023 08:00 | 03/20/2023 15:00 | JONES CANYON: PCB A-1685 | WOCS
196 | 23-00812 | 12638988 | 03/20/2023 08:00 | 03/20/2023 16:00 | CHEMAWA: PCB A-672 INCLUDING 230KV CAP GROUP 2 SECTION 1 | WOCS
197 | 23-00777 | 12649424 | 03/20/2023 08:00 | 03/22/2023 15:00 | COLVILLE: PCB B-1769 INCLUDING 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND PCB'S B-1771, B-1773, & B-1780
198 | 23-01639 |  | 03/20/2023 08:00 | 03/23/2023 15:00 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 1 RELAY SET 1 AND 2, INCLIDING PCB A-1719 BFR
199 | 23-00955 | 12525880 | 03/20/2023 08:00 | 03/20/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
200 | 23-01069 | 12525880 | 03/20/2023 08:00 | 03/24/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
201 | 23-00010 | 11242214 | 03/20/2023 12:00 | 03/20/2023 17:30 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | NOH, NWACI, PDCI, SIG, WOLM, COI, WOM
202 | 23-00009 |  | 03/20/2023 13:00 | 05/12/2023 17:00 | HANFORD: MOD'S 4094 & 4096
203 | 23-00011 | 11242268 | 03/20/2023 17:30 | 05/11/2023 07:30 | HANFORD: PCB 4095 INCLUDING MODS 4094 & 4096 | NWACI, PDCI, WOLM, COI, NOH, WOM
204 | 23-00152 | 11706375 | 03/21/2023 07:00 | 03/22/2023 17:00 | ASHE-HANFORD NO 1 500KV LINE | NOH, NWACI, PDCI, SIG, COI, FCRPS, WOM, WOS
205 | 23-00772 | 12538099 | 03/21/2023 07:00 | 03/22/2023 16:00 | CUSTER: 500KV REACTOR 1 INCLUDING PCB 4274 | NOEL, SOC, BCHT, BCHW, NI
206 | 23-01814 | 12782541 | 03/21/2023 07:30 | 03/21/2023 15:30 | ROSS: 230KV WEST MAIN BUS | SOA, LOAD, GEN, WOCS
207 | 23-00340 | 12117971 | 03/21/2023 08:00 | 03/23/2023 16:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, INCLUDING PCB'S 4188 & 4189 | COI, NWACI, PDCI
208 | 23-00956 | 12525880 | 03/21/2023 08:00 | 03/21/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
209 | 23-01112 |  | 03/21/2023 08:00 | 03/21/2023 15:00 | DWORSHAK: MOD 4651, DWORSHAK: MOD 4653
210 | 23-00813 | 12638982 | 03/21/2023 08:00 | 03/21/2023 16:00 | CHEMAWA: PCB A-673 INCLUDING 230KV CAP GROUP 2 SECTION 2 | WOCS
211 | 23-00394 |  | 03/21/2023 08:00 | 04/30/2023 18:00 | SCL - BROAD ST 115KV BUS 1 (UNIVERSITY-BROAD ST 115KV LINE AND BROAD ST BANKS 65A & B) | SOC, NOEL
212 | 23-01591 | 12719203 | 03/22/2023 08:00 | 03/22/2023 15:00 | JONES CANYON: PACIFICORP (PACW) 230KV FEEDER 1 TO LEANING JUNIPER 1 AND PEBBLE SPRINGS | WOM
213 | 23-00957 | 12525880 | 03/22/2023 08:00 | 03/22/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
214 | 23-00778 | 12650797 | 03/23/2023 07:00 | 03/23/2023 15:00 | COLVILLE: 115KV MAIN BUS INCLUDING PCB'S B-1766, B-1768, B-1770, B-1769, B-1771, B-1773, & B-1780 AND 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 | LOAD, SOB
215 | 23-01592 | 12719374 | 03/23/2023 08:00 | 03/23/2023 15:00 | JONES CANYON: HORIZON WIND ENGY 230KV FEEDER 1 TO WHEAT FIELD AND RATTLESNAKE INCLUDING THE JONES CANYON 203KV SOUTH BUS | WOCS
216 | 23-01274 | 12684939 | 03/23/2023 08:00 | 03/23/2023 11:00 | MAPLE VALLEY: PCB A-1132 | NOEL, SOC
217 | 23-01088 |  | 03/23/2023 08:00 | 03/23/2023 15:00 | SANTIAM: 69KV PCB L-1110
218 | 23-00958 | 12525880 | 03/23/2023 08:00 | 03/23/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
219 | 23-01511 | 12666211 | 03/23/2023 08:30 | 03/23/2023 16:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-98 | SOA, PA, LOAD
220 | 23-01669 |  | 03/23/2023 08:30 | 03/23/2023 15:00 | ROCK CREEK: PCB A-1719 INCLUDING 230KV CAP GROUP 1 SECTION 1 | RKCR
221 | 23-00151 | 11706378 | 03/24/2023 07:00 | 03/27/2023 17:00 | GRAND COULEE-HANFORD NO 1 500KV LINE | BCHT, BCHW, GEN, NI, NOH, SIG, COI, NWACI, PDCI, WOCN,WOM, WOS
222 | 23-00959 | 12525880 | 03/24/2023 08:00 | 03/24/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
223 | 23-00074 | 11220281 | 03/25/2023 07:00 | 03/26/2023 23:59 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE) | SIG, COI, NOH, NWACI, PDCI, WOM, WOS
224 | 23-01680 | 12735502 | 03/27/2023 06:30 | 03/31/2023 17:00 | GRAND COULEE: 115KV MAIN BUS SECTION 1 | OKLA, LOAD
225 | 23-00319 |  | 03/27/2023 06:30 | 03/27/2023 07:00 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
226 | 23-00318 | 12495520 | 03/27/2023 06:30 | 04/06/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 8
227 | 23-00530 | 12570534 | 03/27/2023 08:00 | 04/21/2023 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | NOH, NWACI, PDCI, SIG, COI
228 | 23-01070 | 12526123 | 03/27/2023 08:00 | 03/31/2023 15:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE | WOH
229 | 23-01603 | 12717960 | 03/27/2023 08:00 | 03/28/2023 15:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | WOCS
230 | 23-00275 | 12118410 | 03/27/2023 08:00 | 03/30/2023 15:00 | CHIEF JOSEPH: PCB 4598, BFR | NOEL, SOC, WOCN
231 | 23-01641 |  | 03/27/2023 08:00 | 03/30/2023 15:00 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 RELAY SET 1 AND 2 , INCLUDING PCB A-1720 BFR
232 | 23-00683 |  | 03/27/2023 08:00 | 03/27/2023 15:00 | BRINCKEN'S CORNER: 115/69KV TRANSFORMER 1
233 | 23-00960 | 12526123 | 03/27/2023 08:00 | 03/27/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
234 | 23-00247 | 12735107 | 03/27/2023 09:00 | 03/29/2023 15:00 | HARNEY: PCB B-1713, INCLUDING 115KV REACTIVE GROUP 1 REACTOR 2 | NWACI
235 | 23-00150 | 11706397 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 1 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, SIG, FCRPS
236 | 23-00153 | 11706405 | 03/28/2023 07:00 | 04/03/2023 17:00 | GRAND COULEE-SCHULTZ NO 2 500KV LINE | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI, GEN, FCRPS, SIG
237 | 23-01076 | 12570537 | 03/28/2023 07:30 | 03/29/2023 15:00 | MARION: PCB 4371 | NWACI, PDCI, WOCS, COI
238 | 23-00771 | 12538009 | 03/28/2023 08:00 | 03/28/2023 16:00 | CENTRAL FERRY: 500KV CAP GROUP 1, INCLUDING PCB 5430 | WOLM, WOH
239 | 23-00826 | 12623109 | 03/28/2023 08:00 | 03/28/2023 16:00 | OREGON CITY: PCB B-266 INCLUDING CAP GRP NO. 1, SECT 1
240 | 23-00961 | 12526123 | 03/28/2023 08:00 | 03/28/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
241 | 23-01337 |  | 03/29/2023 07:00 | 03/29/2023 16:00 | MCNARY: MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE INCLUDING PLYMOUTH TAP TO BC-187, MCNARY 115KV AUX BUS AND PCB B-980
242 | 23-00612 | 12538041 | 03/29/2023 07:30 | 03/29/2023 17:30 | COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 4693 | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
243 | 23-01210 |  | 03/29/2023 08:00 | 03/29/2023 15:00 | LITTLE GOOSE: MOD 4352, LITTLE GOOSE: MOD 4353, LITTLE GOOSE: MOD 4628
244 | 23-00962 | 12526123 | 03/29/2023 08:00 | 03/29/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
245 | 23-00827 | 12570546 | 03/29/2023 08:30 | 03/29/2023 16:00 | PEARL: PCB 5452 | SOA
246 | 23-01642 | 12793235 | 03/30/2023 08:00 | 03/30/2023 15:00 | ROCK CREEK: PCB A-1720 INCLUDING 230KV CAP GROUP 1 SECTION 2 | RKCR
247 | 23-00613 | 12537979 | 03/30/2023 08:00 | 03/30/2023 15:00 | COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4694 | IROL, NOEL, NOH, NWACI, PDCI, SOC, WOCN, COI
248 | 23-00963 | 12526123 | 03/30/2023 08:00 | 03/30/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
249 | 23-00814 | 12490684 | 03/30/2023 08:30 | 03/30/2023 16:00 | DETROIT: PCB A-320 | GEN, FCRPS
250 | 23-01827 | 12782970 | 03/30/2023 09:00 | 03/30/2023 14:00 | ROSS: PCB A-20 (ROSS-RIVERGATE NO 1 230KV LINE) | SOA, LOAD
251 | 23-00511 | 12293499 | 03/30/2023 10:15 | 03/30/2023 10:45 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
252 | 23-00512 | 12293522 | 03/30/2023 11:15 | 03/30/2023 11:45 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
253 | 23-00513 | 12218237 | 03/30/2023 12:45 | 03/30/2023 13:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
254 | 23-00514 | 12293531 | 03/30/2023 13:45 | 03/30/2023 14:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
255 | 23-00515 | 12293558 | 03/30/2023 14:45 | 03/30/2023 15:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
256 | 23-00888 | 12538126 | 03/30/2023 15:45 | 03/30/2023 16:15 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
257 | 23-01200 | 12691483 | 03/30/2023 22:30 | 03/31/2023 03:30 | WEST BURLEY-HEYBURN NO 1 138KV LINE
258 | 23-00964 | 12526123 | 03/31/2023 08:00 | 03/31/2023 16:00 | HATWAI: A-113 TERMINAL OF THE HATWAI-AVA MOSCOW NO 3 230KV LINE
259 | 23-00368 | 12107228 | 03/31/2023 22:00 | 04/01/2023 07:00 | GRANDVIEW-SNIPES SECTION OF THE GRANDVIEW-REDMOUNTAIN NO 1 115KV LINE INCLUDING THE PROSSER TAP | GEN, TCLA, LOAD, NWACI
260 | 23-00321 | 12495533 | 04/03/2023 06:30 | 04/13/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 5
261 | 23-00322 | 12011686 | 04/03/2023 06:30 | 04/03/2023 07:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
262 | 23-01681 | 12735694 | 04/03/2023 06:30 | 04/18/2023 17:00 | GRAND COULEE: PCB 5286 | NOH, WOCN, COI, NWACI, PDCI
263 | 23-00072 | 12595264 | 04/03/2023 08:00 | 04/20/2023 12:00 | HATWAI: 500/230KV TRANSFORMER 1 | ID-NW, MT-NW, NOH, WOH, WOLM
264 | 23-01435 | 12672724 | 04/03/2023 08:00 | 04/06/2023 16:00 | SANTIAM-TOLEDO NO 1 230KV LINE INCLUDING WREN TAP, WREN SUB, AND THE CPI 69KV FEEDER #1 | SWORE, LOAD
265 | 22-12274 | 12192488 | 04/03/2023 08:00 | 04/28/2023 16:00 | GRIZZLY: PCB 5040 | NWACI, WOJD, COI
266 | 23-01700 | 12735585 | 04/03/2023 08:00 | 04/03/2023 15:00 | BOARDMAN: 115KV MAIN BUS | GEN, LOAD, NWACI, WOM
267 | 23-00111 | 11597532 | 04/03/2023 22:00 | 04/03/2023 22:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
268 | 22-01225 | 9562507 | 04/04/2023 06:30 | 04/04/2023 15:30 | CARLTON: 115KV MAIN BUS | LOAD, SOA
269 | 23-00528 | 12252175 | 04/04/2023 08:00 | 04/28/2023 15:00 | BOARDMAN: 230/115KV TRANSFORMER 1 | GEN, LOAD, WOM, NWACI
270 | 23-00237 | 12118506 | 04/04/2023 08:00 | 04/04/2023 15:00 | OSTRANDER: PCB 4448 | WOCS
271 | 23-00462 | 12289653 | 04/04/2023 22:00 | 05/16/2023 19:00 | GRAND COULEE: 500/230KV CSY TIE BANK, INCLUDING 500KV PCB'S 8692,1996 & 230KV PCB 6582 | GEN, NOH, WOCN, PDCI, SIG, COI, FCRPS, NWACI
272 | 23-00154 | 11756890 | 04/05/2023 07:00 | 04/06/2023 17:00 | GRAND COULEE-BELL NO 6 500KV LINE | GEN, MT-NW, SIG, WOH, COI, NOH, NWACI, PDCI, WHO
273 | 23-00828 | 12690883 | 04/05/2023 08:30 | 04/05/2023 16:00 | PEARL: PCB 5455 | SOA
274 | 23-00112 | 11597544 | 04/05/2023 17:30 | 04/05/2023 18:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
275 | 23-00320 |  | 04/06/2023 16:30 | 04/06/2023 17:00 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS
276 | 23-00391 |  | 04/07/2023 22:00 | 06/03/2023 07:00 | PROSSER: B-695 REMOVED JUMPERS AND B-696 REMOVED JUMPERS
277 | 23-00229 | 12118376 | 04/08/2023 07:00 | 06/02/2023 21:00 | PROSSER FROM REMOVED JUMPERS ON GRANDVIEW SIDE OF B-695 -SNIPES SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE INCLUDING B-695, B-696, B-697 DISCONNECTS AND INCLUDING THE PROSSER TAP TO REMOVED JUMPERS ON FEEDER SIDE OF B-696 DISCONNECT | GEN, TCLA, LOAD
278 | 23-00464 |  | 04/10/2023 03:30 | 04/13/2023 16:00 | DAVIS CREEK TAP OF THE (PACW) MILE HI-ALTURAS 115KV LINE INCLUDING DAVIS CREEK: 115/12.5KV TRANSFORMER 1
279 | 23-00313 | 12118700 | 04/10/2023 05:00 | 04/20/2023 17:00 | CHIEF JOSEPH: A-602 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 4 230KV LINE | GEN, NOH, FCRPS
280 | 23-00156 | 11694133 | 04/10/2023 07:00 | 04/10/2023 17:00 | OLYMPIA-GRAND COULEE NO 1 287KV LINE | NOEL, NOH, RP, SOC, WOCN, IROL, PA,COI, NWACI, PDCI, OKLA
281 | 23-00859 | 12454457 | 04/10/2023 08:00 | 04/13/2023 17:00 | BIG EDDY-CHEMAWA NO 1 230KV LINE | NWACI, PDCI, WOCS, COI, WOJD
282 | 23-00678 |  | 04/10/2023 08:00 | 04/10/2023 10:30 | LA GRANDE: 230KV CAP GROUP 1 INCLUDING PCB A-267 | ID-NW, NWACI
283 | 23-00213 | 12690973 | 04/10/2023 08:00 | 04/10/2023 16:00 | GRIZZLY: PCB 4720, INCLUDING 500KV REACTOR 2 | COI, NWACI, PDCI
284 | 23-00403 | 12143754 | 04/10/2023 08:00 | 04/21/2023 15:00 | RATTLESNAKE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE | TCLA
285 | 23-00082 | 12691383 | 04/10/2023 08:00 | 04/14/2023 19:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | NWACI, PDCI, COI, LOAD
286 | 23-01670 |  | 04/10/2023 08:00 | 04/10/2023 17:00 | JONES CANYON: AVANGRID RENEWABLES 230KV FEEDER 1 TO LEANING JUNIPER 2 A & B INCLUDING THE 230KV NORTH BUS | WOCS
287 | 23-00062 | 10922641 | 04/10/2023 09:00 | 04/13/2023 16:00 | MCMINNVILLE: PCB B-666, WALNUT CITY-MCMINNVILLE SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
288 | 23-00844 | 12691367 | 04/11/2023 06:30 | 04/11/2023 09:00 | MCNARY; 230KV CAP GROUP #1 SECT 1 INCLUDING PCB A-3024
289 | 23-00157 | 11756938 | 04/11/2023 07:00 | 04/11/2023 17:00 | SICKLER-SCHULTZ NO 1 500KV LINE | COI, IROL, NI, NOH, NWACI, PDCI, WOCN, CI, GEN,BCHT, BCHW,GEN
290 | 23-00524 |  | 04/11/2023 08:00 | 04/11/2023 12:00 | OSTRANDER: 500/230KV TRANSFORMER 1
291 | 23-01785 |  | 04/11/2023 08:00 | 04/11/2023 10:00 | ROSS: PCB A-134 INCLUDING LBD'S A-23, A-25, A-27 AND 230KV CAP GROUP 2 SECTIONS 1, 2, AND 3. | SOA
292 | 23-00847 | 12454621 | 04/11/2023 09:30 | 04/11/2023 11:00 | MCNARY: 230KV CAP GROUP #1 SECT 2 INCLUDING PCB A-3025 | LOAD
293 | 23-01139 |  | 04/12/2023 08:00 | 04/12/2023 15:00 | ECHO LAKE: TRIP CHECKS AND IN SERVICE PCBS 5072 AND 5121
294 | 23-01273 | 12690615 | 04/12/2023 09:00 | 04/12/2023 11:00 | ECHO LAKE: PCB 5072 | BCHT, BCHW, NOEL, SOC, NI, WOCN
295 | 23-01128 | 12559952 | 04/12/2023 11:00 | 04/12/2023 12:00 | MORROW FLAT: 115KV CAP GROUP 1 INCLUDING PCB B-2251 | WOM
296 | 23-01275 | 12690650 | 04/12/2023 12:00 | 04/12/2023 14:00 | ECHO LAKE: PCB 5121 | BCHT, BCHW, NOEL, SOC, WOCN, NI
297 | 23-00158 | 11685280 | 04/13/2023 07:00 | 04/13/2023 16:00 | KELLER TAP TO GRAND COULEE-OKANOGAN NO 2 115KV LINE | LOAD, OKLA
298 | 23-00993 | 12690947 | 04/13/2023 08:00 | 04/13/2023 12:00 | JOHN DAY: PCB 4140 | NWACI, PDCI, WOJD, COI
299 | 23-01129 | 12691084 | 04/13/2023 08:00 | 04/13/2023 09:30 | SLATT: 500KV CAP GROUP 1 INCLUDING PCB 5330 | COI, PDCI, WOS, NWACI, WOJD
300 | 23-01368 | 12690777 | 04/13/2023 09:00 | 04/13/2023 10:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
301 | 23-01130 | 12691099 | 04/13/2023 09:30 | 04/13/2023 11:00 | SLATT: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1796 | GEN, NWACI, PDCI, WOJD, COI
302 | 23-01608 |  | 04/13/2023 09:30 | 04/13/2023 14:30 | SLATT: 230KV CAP GROUP 2 SECTIONS 1 &2, CAP GROUP 3 SECTION 1
303 | 23-01369 | 12690929 | 04/13/2023 10:00 | 04/13/2023 11:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
304 | 23-01370 | 12690950 | 04/13/2023 11:00 | 04/13/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
305 | 23-01131 | 12691118 | 04/13/2023 11:30 | 04/13/2023 13:00 | SLATT: 230KV CAP GROUP 2 SECTION 2 INCLUDING PCB A-1798 | GEN, NWACI, PDCI, WOJD, COI
306 | 23-00994 | 12690952 | 04/13/2023 12:00 | 04/13/2023 15:00 | JOHN DAY: PCB 4137 | NWACI, PDCI, WOJD, COI
307 | 23-01372 | 12691153 | 04/13/2023 12:30 | 04/13/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
308 | 23-01132 | 12691126 | 04/13/2023 13:00 | 04/13/2023 14:30 | SLATT: 230KV CAP GROUP 3 SECTION 1 INCLUDING PCB A-1799 | COI, NWACI, PDCI, WOJD
309 | 23-01371 | 12691159 | 04/13/2023 13:30 | 04/13/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
310 | 23-01373 | 12691166 | 04/13/2023 14:30 | 04/13/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
311 | 23-00323 | 12011687 | 04/13/2023 16:30 | 04/13/2023 17:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
312 | 23-01133 | 12584037 | 04/14/2023 07:30 | 04/14/2023 09:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | WOCS
313 | 23-00160 | 11688371 | 04/14/2023 08:00 | 04/14/2023 15:00 | ICE HARBOR-FRANKLIN NO 2 115KV LINE INCLUDING THE SACAJAWEA TAP | TCLA, TCLA, GEN, TCLA, FCRPS, LOAD
314 | 23-00159 | 11685399 | 04/14/2023 08:00 | 04/14/2023 15:00 | ICE HARBOR-FRANKLIN NO 1 115KV LINE | GEN, TCLA
315 | 23-01134 | 12584045 | 04/14/2023 09:30 | 04/14/2023 11:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 2 INCLUDING PCB A-1689 | WOCS
316 | 23-00328 | 12495548 | 04/17/2023 06:30 | 04/27/2023 17:00 | THE DALLES PH: 115/13.2KV BANK 2
317 | 23-01682 | 12736001 | 04/17/2023 06:30 | 04/19/2023 17:00 | -USBR- GRAND COULEE- BELL #3 230KV LINE INCLUDING GRAND COULEE PCB 5286 AND 230KV AUX BUS SECTION 1 | NOH, WOCN, COI, NWACI, PDCI, WOH
318 | 23-00354 | 12014388 | 04/17/2023 06:30 | 04/17/2023 07:00 | BIG EDDY: PCB B-1050 OF THE DALLES PH-BIG EDDY NO 2 115KV LINE | GEN, FCRPS
319 | 23-00161 | 11756959 | 04/17/2023 07:00 | 04/18/2023 17:00 | WAUTOMA-KNIGHT NO 1 500KV LINE | BCHT, BCHW, NI, NOH, NWACI, PDCI, SIG, WOCN, WOCS, WOJD, COI
320 | 22-14993 | 12724487 | 04/17/2023 07:00 | 04/17/2023 16:00 | TAFT: PCB 4028 | MT-NW, NOH, WOH
321 | 23-01433 |  | 04/17/2023 07:00 | 04/20/2023 17:00 | HOLD:, SLATT-BUCKLEY NO 1 500KV LINE | NWACI, PDCI, SIG, WOJD, WOM, WOS, COI
322 | 23-01217 | 12667458 | 04/17/2023 07:30 | 04/20/2023 16:00 | ALLSTON-DRISCOLL NO 1 230KV LINE | LOAD, SOA
323 | 23-01728 |  | 04/17/2023 08:00 | 04/19/2023 15:00 | BELL: A-558 TERMINAL OF THE GRAND COULEE-BELL#3 230KV LINE | MT-NW, WOH
324 | 23-00855 |  | 04/17/2023 08:00 | 04/20/2023 15:00 | CANBY: 230/69KV TRANSFORMER 1 | RATS, LOAD, NWACI
325 | 23-00739 | 12690366 | 04/17/2023 08:00 | 04/18/2023 15:00 | BELL: PCB 5307, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
326 | 23-00034 | 10044811 | 04/17/2023 08:00 | 04/21/2023 18:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | NWACI, PDCI, COI, COI, PDCI, NWACI
327 | 22-10183 | 12036167 | 04/17/2023 09:00 | 04/17/2023 18:00 | BEST LANE TAP TO BRASADA-HARNEY NO 1 115KV LINE | NWACI, ID-NW
328 | 23-00597 | 12690729 | 04/18/2023 06:30 | 04/18/2023 19:00 | ECHO LAKE-MONROE NO 1 500KV LINE, ECHO LAKE: PCB 5111, ECHO LAKE: PCB 5114, MONROE: PCB 4522, MONROE: PCB 4526, SNO-KING: PCB 4815, SNO-KING: 500/230KV TRANSFORMER 4 | IROL, NI, NOEL, SIG, SOC, WOCN, COI, NWACI, PDCI, BCHT, BCHW, LOAD
329 | 23-00726 | 12380736 | 04/18/2023 07:00 | 04/18/2023 09:00 | COLVILLE: 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 INCLUDING PCB'S B-1769, B-1771, B-1773, & B-1780
330 | 22-14994 | 12691204 | 04/18/2023 07:00 | 04/18/2023 16:00 | TAFT: PCB 4125 | MT-NW, WOH
331 | 23-01447 | 12690344 | 04/18/2023 07:30 | 04/18/2023 16:00 | ALVEY: PCB 5091
332 | 22-10180 | 12076115 | 04/18/2023 09:00 | 04/18/2023 18:00 | STARVATION RIDGE TAP TO BRASADA-HARNEY NO 1 115KV LINE | ID-NW, NWACI/PDCI
333 | 23-00727 | 12380710 | 04/18/2023 10:30 | 04/18/2023 11:30 | ADDY: 230KV CAP GROUP 1 INCLUDING PCB A-147 | SOB
334 | 23-00716 | 12379309 | 04/18/2023 12:00 | 04/18/2023 15:00 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913
335 | 22-14995 | 12691269 | 04/19/2023 07:00 | 04/19/2023 16:00 | TAFT: PCB 4145, INCLUDING 500KV REACTOR 1 | MT-NW, WOH
336 | 23-00717 | 12690388 | 04/19/2023 07:00 | 04/19/2023 13:00 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 5320 | WOH, MT-NW
337 | 23-00718 | 12379595 | 04/19/2023 07:00 | 04/19/2023 09:00 | BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBDS A-925 AND A-926 | MT-NW, WOH
338 | 23-01448 | 12691282 | 04/19/2023 07:30 | 04/19/2023 16:00 | ALVEY: PCB 5099 INCLUDING 500KV REACTOR #2 | COI, NWACI, PDCI, SLAL
339 | 23-00740 | 12690371 | 04/19/2023 08:00 | 04/20/2023 15:00 | BELL: PCB 5310, BFR AND DIFFERENTIAL RELAY | MT-NW, WOH
340 | 23-01864 | 12792344 | 04/19/2023 08:00 | 04/19/2023 18:00 | BRASADA-CHRISTMAS VALLEY SECT. OF BRASADA-HARNEY NO.1, 115KV LINE | ID-NW, NWACI
341 | 23-01430 | 12691294 | 04/19/2023 09:00 | 04/19/2023 16:00 | SLATT-BUCKLEY NO 1 500KV LINE | NWACI, PDCI, SIG, WOJD, WOM, WOS, COI
342 | 23-01527 | 12690348 | 04/19/2023 09:00 | 04/19/2023 16:00 | ASHE-MARION NO 2 500KV LINE | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOCS, WOJD, WOM, COI
343 | 23-00719 | 12379756 | 04/19/2023 09:00 | 04/19/2023 11:00 | BELL: 230KV CAP GROUP 9 SECTIONS 1, 2, AND 3 INCLUDING PCBS A-931, A-932, AND A-933 | MT-NW, WOH
344 | 23-00720 | 12379762 | 04/19/2023 11:00 | 04/19/2023 13:00 | BELL: 230KV CAP GROUP 1 | MT-NW, WOH
345 | 23-01686 | 12735737 | 04/20/2023 06:30 | 05/12/2023 17:00 | GRAND COULEE: PCB 5782 | NOH, WOCN, COI, NWACI, PDCI
346 | 23-00429 | 12691354 | 04/20/2023 07:00 | 04/22/2023 16:00 | MALIN-HILLTOP NO 1 230KV LINE INCLUDING CANBY TAP | COI, PDCI, RATS, NWACI, SWORE
347 | 23-00745 | 12408619 | 04/20/2023 08:00 | 04/20/2023 12:00 | TRENTWOOD: 115KV CAP GROUP 1 SECTIONS 1 AND 2 INCLUDING PCB'S B-1937 AND B-1938 AND 115KV REACTIVE BUS | LOAD
348 | 23-00370 | 12794215 | 04/21/2023 21:00 | 04/22/2023 07:00 | GRANDVIEW-SNIPES SECTION OF THE GRANDVIEW-REDMOUNTAIN NO 1 115KV LINE INCLUDING THE PROSSER TAP | GEN, TCLA, LOAD
349 | 23-00079 | 11292157 | 04/22/2023 07:00 | 04/22/2023 13:00 | -USBR- GRAND COULEE: PCB 6782 | NOH, WOCN, COI, NWACI, PDCI
350 | 23-01170 | 12690378 | 04/24/2023 07:00 | 04/27/2023 16:00 | BELL: PCB 5313 | MT-NW, WOH
351 | 23-01330 | 12691389 | 04/24/2023 07:00 | 06/16/2023 17:00 | ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE INCLUDING ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN, CI
352 | 23-00371 |  | 04/24/2023 07:00 | 04/27/2023 16:30 | SATSOP: A-623 & A-624 DISCONNECTS
353 | 23-00276 | 12394681 | 04/24/2023 07:00 | 04/27/2023 16:30 | SATSOP: 500/230KV TRANSFORMER 1, (FORCES OUT THE PAUL-SATSOP 1 500KV LINE) | PA, RP, LOAD, SI, SIG
354 | 23-01549 | 12691325 | 04/24/2023 08:00 | 04/26/2023 15:00 | LOWER GRANITE: PCB 4775, INCLUDING 500KV SOUTH BUS | MT-NW, WOH, WOLM, GEN
355 | 23-00821 | 12649670 | 04/24/2023 08:00 | 04/27/2023 16:00 | CHEMAWA: 230/115KV TRANSFORMER 2 | WOCS, LOAD
356 | 23-00529 | 12236138 | 04/24/2023 08:00 | 05/12/2023 07:30 | HANFORD-WAUTOMA NO 1 500KV LINE | NOH, NWACI, PDCI, SIG, COI
357 | 23-01312 | 12623367 | 04/24/2023 08:00 | 04/26/2023 15:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1 | NWACI, PDCI, COI, BCHT, BCHW, NI, SIG
358 | 23-00031 | 10031031 | 04/24/2023 08:00 | 04/28/2023 18:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | NWACI, PDCI, COI, COI, PDCI, NWACI
359 | 22-13780 | 12672725 | 04/24/2023 08:00 | 04/24/2023 11:30 | LONGVIEW: PCB A-1378
360 | 23-01263 | 12623352 | 04/24/2023 08:00 | 04/26/2023 15:00 | MARION-ALVEY NO 1 500KV LINE | NWACI, PDCI, COI, BCHT, BCHW, NI, SIG
361 | 23-00336 | 12118791 | 04/24/2023 08:00 | 04/27/2023 17:00 | CHIEF JOSEPH: PCB A-578 | WOCN
362 | 22-14567 | 12465455 | 04/26/2023 06:00 | 04/26/2023 14:00 | SWAN VALLEY - TETON #2 115KV LINE INCLUDING SWAN VALLEY PCB B-1675 AND 115KV AUX BUS | SEIL, GEN
363 | 23-01336 | 12690663 | 04/27/2023 08:00 | 04/27/2023 16:00 | GRIZZLY-PGE ROUND BUTTE NO 1 500KV LINE | NWACI, PDCI, SIG, COI
364 | 23-01374 | 12690752 | 04/27/2023 09:00 | 04/27/2023 10:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
365 | 23-01375 | 12690801 | 04/27/2023 10:00 | 04/27/2023 11:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
366 | 23-01376 | 12690942 | 04/27/2023 11:00 | 04/27/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
367 | 23-01378 | 12691297 | 04/27/2023 12:30 | 04/27/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
368 | 23-01377 | 12691317 | 04/27/2023 13:30 | 04/27/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
369 | 23-01002 | 12495566 | 04/27/2023 14:00 | 04/27/2023 15:00 | BIG EDDY: PCB B-1050 OF THE DALLES PH-BIG EDDY NO 2 115KV LINE | GEN, FCRPS
370 | 23-01379 | 12691326 | 04/27/2023 14:30 | 04/27/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
371 | 23-01345 | 12690748 | 04/28/2023 08:00 | 04/28/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
372 | 23-01018 |  | 05/01/2023 00:01 | 05/01/2023 01:00 | MCNARY 230 AND 115KV SEASON VOLTAGE SCHEDULE CHANGE
373 | 23-01703 |  | 05/01/2023 06:00 | 05/26/2023 17:00 | ROCK CREEK: PCB'S A-1704, A1714. A-1711 AND PACIFICORP 230KV FEEDER 1 TO IMRIE | RKCR, GEN
374 | 23-01241 | 12734923 | 05/01/2023 06:00 | 05/26/2023 17:00 | ROCK CREEK: 500/230KV TRANSFORMER 1, INCLUDING 500KV WEST BUS, 500/230 TRANSFORMER SPARE PHASE, PCB'S A-1704, A-1711, A-1714 AND PACIFICORP 230KV FEEDER #1 TO IMRIE | GEN, RKCR
375 | 23-01202 | 12694963 | 05/01/2023 06:30 | 05/25/2023 14:00 | GARRISON: PCB 4457, INCLUDING 500KV REACTOR 4 | MT-NW
376 | 23-01389 | 12694988 | 05/01/2023 07:00 | 05/01/2023 15:30 | CUSTER: PCB 4482 | BCHT, BCHW, NOEL, SOC, NI
377 | 23-01744 | 12757892 | 05/01/2023 07:00 | 05/09/2023 14:00 | GARRISON: RAS WM-A CONTROLLER | MT-NW, GEN, SIG, WOH
378 | 23-01171 | 12695240 | 05/01/2023 07:00 | 05/03/2023 16:00 | BELL: PCB 5316 | MT-NW, WOH
379 | 23-01178 | 12695006 | 05/01/2023 07:00 | 05/06/2023 16:00 | MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING HORSE RANCH TAP | NOEL, SOC, BCHT, BCHW, SIG
380 | 23-01558 |  | 05/01/2023 08:00 | 05/01/2023 09:30 | HARVALUM: 230KV CAP GROUP 1 | WOM
381 | 23-00784 | 12695352 | 05/01/2023 08:00 | 05/04/2023 16:00 | MARION: PCB 4380 | NWACI, PDCI, COI
382 | 23-01291 | 12695258 | 05/01/2023 08:00 | 05/04/2023 15:00 | MALIN: PCB 4582 | NWACI, PDCI, COI
383 | 23-00445 | 12182162 | 05/01/2023 08:00 | 05/02/2023 16:00 | JOHN DAY-GRIZZLY NO 1 500KV LINE, INCLUDING GRIZZLY: PCB 4058 | BCHT, BCHW, NI, NWACI, PDCI, SIG, WOJD, COI
384 | 23-00204 | 12105329 | 05/01/2023 08:00 | 05/01/2023 16:30 | FREDERICKSON-SOUTH TACOMA NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCB A-1092 AND PCB A-1098 (UNGROUNDED) | GEN, NOEL, SOC, RP
385 | 23-00732 | 12380742 | 05/01/2023 08:00 | 05/25/2023 15:00 | CARDWELL: B-1542 TERMINAL OF THE SOUTH KELSO-CARDWELL #1 115KV LINE | LOAD, SOA
386 | 23-00234 | 12118758 | 05/01/2023 08:30 | 05/02/2023 15:00 | OSTRANDER: PCB 5134 | WOCS
387 | 23-01089 | 12622881 | 05/02/2023 07:00 | 05/02/2023 16:00 | ABERDEEN: 230/115KV TRANSFORMER 4 AND THE 115KV AUX BUS | LOAD, PA, SI
388 | 23-01384 | 12695541 | 05/02/2023 07:30 | 05/03/2023 15:00 | MONROE: PCB 5053 | BCHT, BCHW, NOEL, SOC, WOCN, NI
389 | 23-01863 |  | 05/02/2023 09:30 | 05/02/2023 11:00 | FOSSIL: 69KV CAP GROUP 1
390 | 23-01865 |  | 05/02/2023 11:00 | 05/02/2023 12:30 | FOSSIL: 69KV CAP GROUP 2
391 | 23-01866 |  | 05/02/2023 12:30 | 05/02/2023 14:00 | FOSSIL: 69KV REACTOR 1, INCLUDING PCB L-1375
392 | 23-01146 | 12695674 | 05/03/2023 07:30 | 05/03/2023 15:00 | TACOMA: PCB A-1074 BFR | BCHT, BCHW, NOEL, RP, SOC
393 | 23-01340 | 12638840 | 05/03/2023 12:00 | 05/03/2023 12:30 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | GEN, FCRPS
394 | 23-01409 | 12690849 | 05/03/2023 16:00 | 06/14/2023 16:00 | GRIZZLY: PCB 4058, GRIZZLY: MOD 4057 | NWACI, WOJD, COI
395 | 23-00742 | 12735472 | 05/04/2023 08:00 | 05/04/2023 15:00 | BELL: 500/230KV TRANSFORMER 1 INCLUDING PCB'S 5307, 5310, A-577, AND A-552 | GEN, MT-NW, WOH
396 | 23-01712 |  | 05/05/2023 08:00 | 06/09/2023 20:00 | CGS-ASHE 1 500KV LINE (R26 REFUEL ESTIMATED DATES) | NOH, NWACI, SIG, STCON, COI
397 | 23-00329 |  | 05/08/2023 06:30 | 05/18/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 6
398 | 23-00330 | 12011700 | 05/08/2023 06:30 | 05/08/2023 07:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
399 | 23-00481 | 12220066 | 05/08/2023 07:00 | 05/10/2023 16:00 | PAUL: PCB 4540 | NWACI, PDCI, COI, WOCS, SOA
400 | 23-01177 | 12695738 | 05/08/2023 07:00 | 05/13/2023 16:00 | SNOHOMISH-BOTHELL NO 1 230KV LINE | NOEL, SOC
401 | 23-01348 | 12695763 | 05/08/2023 07:00 | 05/11/2023 15:00 | BELL: 500/230KV TRANSFORMER 1 | GEN, MT-NW, WOH
402 | 23-01614 | 12729060 | 05/08/2023 07:30 | 05/09/2023 15:00 | ECHO LAKE: PCB 5072 | BCHT, BCHW, NOEL, SOC, NI, WOCN
403 | 22-13081 | 12264072 | 05/08/2023 08:00 | 05/26/2023 15:00 | DIAMOND LAKE-ALBENI FALLS SECTION OF THE SACHEEN-ALBENI FALLS NO 1 115KV LINE INCLUDING ALBENI FALLS 115KV AUX BUS, AND PCB B-960 | SOB, GEN
404 | 23-01403 | 12695959 | 05/08/2023 08:00 | 05/11/2023 15:00 | CAPTAIN JACK: PCB 4983 | NWACI, PDCI, COI
405 | 23-00054 | 10083760 | 05/08/2023 08:00 | 05/18/2023 16:30 | KEELER: PCB A-872
406 | 23-00036 | 10031105 | 05/08/2023 08:00 | 05/12/2023 18:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | NWACI, PDCI, COI, COI, PDCI, NWACI
407 | 23-01387 | 12736322 | 05/08/2023 11:30 | 05/09/2023 15:00 | MONROE: PCB 4715, MONROE: 500KV CAP GROUP 2 | WOCN, NI, NOEL, SOC, IROL
408 | 23-01584 |  | 05/09/2023 08:00 | 05/09/2023 12:00 | BIG EDDY: 230KV CAP GROUP 1 SECTIONS 1&2 INCLUDING LBD'S A-837 AND A-841 | COI, PDCI, NWACI, WOJD
409 | 23-01585 | 12685834 | 05/09/2023 12:00 | 05/09/2023 15:00 | BIG EDDY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-818 | COI, PDCI, NWACI, WOJD
410 | 23-01615 | 12736418 | 05/10/2023 07:00 | 05/11/2023 15:00 | RAVER: 500KV CAP GROUP 1 SECTION 2, INCLUDING PCB 4919 | IROL, WOCN, NOEL, RP, SOC
411 | 23-01390 | 12718082 | 05/10/2023 07:00 | 05/10/2023 15:00 | CUSTER: PCB 4486 | BCHT, BCHW, NOEL, SOC, NI
412 | 23-01745 | 12757897 | 05/10/2023 07:00 | 05/16/2023 16:00 | GARRISON: RAS WM-B CONTROLLER | MT-NW, GEN, SIG, WOH
413 | 23-01553 | 12736452 | 05/10/2023 08:00 | 05/10/2023 12:00 | JOHN DAY: 500KV CAP GROUP 1 | COI, NWACI, PDCI, WOJD
414 | 23-01766 | 12761655 | 05/10/2023 12:00 | 05/10/2023 13:30 | JOHN DAY: 230KV CAP GROUP 2 SECTION 1 INCLUDING PCB A-1734 | COI, JDAY, PDCI, WOJD, NWACI
415 | 23-01767 | 12761828 | 05/10/2023 13:00 | 05/10/2023 14:00 | JOHN DAY: 230KV CAP GROUP 2 SECTION 2 INCLUDING PCB A-1735 | COI, JDAY, PDCI, WOJD, NWACI
416 | 23-01768 |  | 05/10/2023 14:00 | 05/10/2023 15:00 | JOHN DAY: 230KV CAP GROUP 2 SECTION 1 | COI, JDAY, PDCI, WOJD, NWACI
417 | 23-01769 |  | 05/10/2023 14:00 | 05/10/2023 16:00 | JOHN DAY: 230KV CAP GROUP 2 SECTION 3 INCLUDING PCB A-1736
418 | 23-00012 | 11242303 | 05/11/2023 07:30 | 05/11/2023 15:00 | LOWER MONUMENTAL-HANFORD NO 1 500KV LINE INCLUDING HANFORD: PCB 4095 | NWACI, PDCI, WOLM, COI, NOH, WOM, SIG
419 | 23-01564 |  | 05/11/2023 08:00 | 05/11/2023 10:00 | DE MOSS: 69KV REACTOR 1
420 | 23-01796 | 12782135 | 05/11/2023 08:30 | 05/11/2023 12:00 | BAKEOVEN: JOHN DAY-GRIZZLY 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5363 | NWACI, PDCI, COI, WOJD
421 | 23-01452 | 12736469 | 05/11/2023 09:00 | 05/11/2023 10:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
422 | 23-01565 |  | 05/11/2023 10:00 | 05/11/2023 13:00 | DE MOSS: 69KV REACTOR 2
423 | 23-01453 | 12736473 | 05/11/2023 10:00 | 05/11/2023 11:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
424 | 23-01454 | 12736479 | 05/11/2023 11:00 | 05/11/2023 12:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
425 | 23-01816 | 12782062 | 05/11/2023 12:00 | 05/11/2023 15:00 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2, INCLUDING PCB 5367 | NWACI, PDCI, COI, WOJD
426 | 23-01455 | 12736600 | 05/11/2023 12:30 | 05/11/2023 13:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
427 | 23-01566 |  | 05/11/2023 13:00 | 05/11/2023 16:00 | DE MOSS 69 KV: CAP GRP #1
428 | 23-01456 | 12736651 | 05/11/2023 13:30 | 05/11/2023 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
429 | 23-01457 | 12736655 | 05/11/2023 14:30 | 05/11/2023 15:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
430 | 23-00013 | 11242330 | 05/12/2023 07:30 | 05/26/2023 15:00 | HANFORD-WAUTOMA NO 1 500KV LINE, INCLUDING HANFORD: PCB 4095 | NWACI, PDCI, WOLM, COI, NOH, WOM, SIG
431 | 23-01665 | 12736670 | 05/14/2023 22:00 | 05/19/2023 17:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
432 | 23-01613 | 12735859 | 05/15/2023 07:00 | 05/16/2023 15:00 | RAVER: PCB 4789 | NOEL, RP, SOC, WOCN
433 | 23-01704 | 12736212 | 05/15/2023 07:00 | 06/02/2023 17:00 | -USBR- COULMBIA-GRAND COULEE NO 1 230KV LINE INCLUDING GRAND COULEE PCB 5686 | NOH, WOCN, COI, NWACI, PDCI, CI
434 | 23-01163 | 12753937 | 05/15/2023 08:00 | 06/04/2023 17:00 | CHIEF JOSEPH: 500/230KV TRANSFORMER 3 | NOEL, NOH, SOC, FCRPS, GEN, NWACI, PDCI, WOCN, COI, BCHT, BCHW
435 | 23-00033 | 10044825 | 05/15/2023 08:00 | 05/19/2023 18:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | NWACI, PDCI, COI, COI, PDCI, NWACI
436 | 23-00695 | 12593780 | 05/15/2023 08:00 | 05/25/2023 16:00 | CENTRAL FERRY: PCB 5432, INCLUDING 500KV REACTOR 1 | WOH, WOLM, SOA
437 | 23-00406 |  | 05/15/2023 09:00 | 06/16/2023 15:00 | -IPCO- HINES-WEST JOHN DAY 115KV LINE | ID-NW
438 | 23-00418 | 12730315 | 05/15/2023 09:00 | 05/26/2023 17:00 | PONDEROSA-CAPTAIN JACK SECTION OF GRIZZLY-CAPTAIN JACK NO 1 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK AND SYCAN SERIES CAPS (UNGROUNDED) | COI, NWACI, PDCI, BCHT, BCHW, NI, SIG
439 | 23-00331 | 12011716 | 05/18/2023 16:30 | 05/18/2023 17:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
440 | 23-00127 | 11597819 | 05/21/2023 22:00 | 05/21/2023 22:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
441 | 23-00681 | 12751723 | 05/22/2023 07:00 | 05/22/2023 11:30 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | NOEL, SOC, WOCN, LOAD, RP
442 | 23-00333 | 12011721 | 05/22/2023 07:00 | 05/22/2023 07:30 | BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | GEN, FCRPS, BGEDY
443 | 23-00332 | 12113155 | 05/22/2023 07:00 | 06/01/2023 17:00 | THE DALLES PH: 230/13.2KV BANK 7
444 | 23-00520 | 12219187 | 05/22/2023 07:00 | 05/23/2023 18:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
445 | 23-00239 | 12118767 | 05/22/2023 08:00 | 05/23/2023 15:00 | OSTRANDER: 500KV CAP GROUP 3 INCLUDING PCB 5097 | NWACI, PDCI, WOCS, COI
446 | 23-01288 |  | 05/22/2023 08:00 | 05/25/2023 15:00 | WARNER: 230/115KV TRANSFORMER 1 | NWACI
447 | 23-00038 | 10044832 | 05/22/2023 08:00 | 05/25/2023 18:30 | PILOT BUTTE-LAPINE NO 1 230KV LINE | NWACI, PDCI, COI, COI, PDCI, NWACI
448 | 23-00482 | 12220068 | 05/23/2023 07:00 | 05/25/2023 16:00 | PAUL: PCB 4542 | GEN, NWACI, PDCI, COI, WOCS, SOA
449 | 23-00680 | 12752594 | 05/23/2023 07:30 | 05/23/2023 12:00 | TACOMA: 230KV CAP GROUP 3 SECTION 1, & 2 INCLUDING LBD A-1078, LBD 1079 | NOEL, RP, SOC, WOCN
450 | 23-01483 | 12752577 | 05/24/2023 07:00 | 05/24/2023 15:00 | BELL: 500KV REACTOR 1 INCLUDING PCB 4559 | MT-NW, WOH
451 | 23-00682 | 12752642 | 05/24/2023 08:00 | 05/24/2023 15:00 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | NOEL, SOC, WOCN, NI
452 | 23-01523 | 12667380 | 05/25/2023 07:00 | 05/25/2023 15:00 | PORT ANGELES: 115KV CAP GROUP 1 INCLUDING PCB B-648 & LBD'S B-1883 & B-645 | WOCN
453 | 23-00684 | 12752713 | 05/25/2023 07:30 | 05/25/2023 12:00 | Raver: PCBs 4914 and 4921 including 500kV Cap Group 1 Sections 1, 2, 3 and 500kV Reactive Bus | NOEL, RP, SOC, IROL, WOCN
454 | 23-00128 | 11597829 | 05/26/2023 16:30 | 05/26/2023 17:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
455 | 23-00592 | 12782204 | 05/29/2023 07:00 | 05/29/2023 08:30 | MONROE: 500KV CAP GROUP 2, INCLUDING PCB 4715 | IROL, NI, NOEL, SOC, WOCN
456 | 23-00593 | 12782218 | 05/29/2023 08:30 | 05/29/2023 10:00 | MONROE: 500KV CAP GROUP 3, INCLUDING PCB 5047 | IROL, NOEL, SOC, WOCN, NI
457 | 23-00594 | 12782229 | 05/29/2023 10:00 | 05/29/2023 11:30 | MONROE: 500KV CAP GROUP 4, INCLUDING PCB 4508 | IROL, NI, NOEL, SOC, WOCN
458 | 23-01183 | 12782267 | 05/29/2023 12:00 | 05/29/2023 13:00 | SNO-KING: 230KV CAP GROUP 1 SECTIONS 1 & 2 INCLUDING LBD'S A-1197, A-1199 AND 230KV REACTIVE BUS | NOEL, SOC, WOCN
459 | 23-01706 | 12736687 | 05/29/2023 22:00 | 06/30/2023 19:00 | -USBR- GRAND COULEE: 230/115KV TRANSFORMER KX2A INCLUDING PCB'S 5182 AND 2372 | NOH, OKLA, LOAD, WOCN, COI, NWACI, PDCI
460 | 23-01404 | 12719760 | 05/30/2023 06:00 | 06/02/2023 16:00 | COLUMBIA FALLS: A-311 TERMINAL OF THE HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | WOH, GEN, MT-NW
461 | 23-01705 |  | 05/30/2023 06:30 | 06/02/2023 17:00 | -USBR-, GRAND COULEE: 230KV AUX BUS SECTION 1
462 | 23-01218 | 12685390 | 05/30/2023 07:00 | 06/16/2023 17:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
463 | 23-00130 | 11575566 | 05/30/2023 07:00 | 06/04/2023 17:00 | ASHE-MARION NO 2 500KV LINE | PDCI, COI, NWACI, BCHT, BCHW, NI, SIG, WOCS, WOJD, WOM,FCRPS, NOH
464 | 23-00129 | 11575538 | 05/30/2023 07:00 | 06/04/2023 17:00 | ASHE-SLATT NO 1 500KV LINE | BCHT, BCHW, NI, NOH, NWACI, PDCI, SIG, WOM, WOS, COI
465 | 23-01184 | 12777119 | 05/30/2023 10:00 | 05/30/2023 11:00 | MURRAY: 115KV CAP GROUP 1 SECTIONS 1 & 2 INCLUDING LBD'S B-1755, B-1756 AND 115KV REACTIVE BUS
466 | 23-01740 | 12782517 | 05/31/2023 08:00 | 06/01/2023 18:00 | BIG EDDY: 500/230KV TIE NO 1 500KV LINE RELAYS (FORCES OUT TIE 1, BANK 2 & PCB'S ) | GEN, NWACI, PDCI, WOJD, COI, SIG, FCRPS, BGEDY, SOA
467 | 23-01825 |  | 05/31/2023 08:00 | 06/01/2023 18:00 | BIG EDDY: PCB A-848, A-848 M/B, T/S AND A/B DISCONNECTS